## Sheet1
Report date: | 19:09:49, 09/19/2024
Sample: | 1
File name:
Run date: | 19:04:23, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/305.0 | 5401
2 | 250.0/275.0 | 550
3 | 275.0/305.0 | 5725
4 | 310.0/350.0 | 456.8
5 | 315.0/355.0 | 422.9
6 | 320.0/360.0 | 393.2
7 | 320.0/420.0 | 545.2
8 | 325.0/365.0 | 352
9 | 325.0/425.0 | 543.5
10 | 330.0/375.0 | 380.1
11 | 335.0/380.0 | 394.7
12 | 340.0/385.0 | 385
13 | 345.0/395.0 | 394.3
14 | 350.0/400.0 | 412.7
15 | 355.0/405.0 | 387.4
16 | 365.0/420.0 | 319.2
17 | 385.0/445.0 | 158.9
18 | 390.0/275.0 | 8.333
19 | 390.0/450.0 | 133.8
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 170.8 | 189 | 202.8 | 245.9 | 201.6 | 112.5 | 53.6 | 45.38 | 83.95 | 408.5 | 281.4 | 116.9 | 311.8 | 9999.9 | 9999.9 | 9999.9 | 69.84 | 29.68 | 20.05 | 14.6 | 12.31 | 9.479 | 7.962 | 8.149 | 6.483 | 7.038 | 6.359 | 5.737 | 5.704 | 6.122 | 5.131 | 5.004 | 5.408 | 5.018 | 5.045 | 5.313 | 7.484 | 8.198 | 6.997 | 5.857 | 4.705
275 | 303 | 307.6 | 465.3 | 583.2 | 525.7 | 353.8 | 135.3 | 68.42 | 70.32 | 196.2 | 550 | 335.2 | 264.1 | 1060 | 9999.9 | 9999.9 | 9701 | 69.54 | 28.64 | 19 | 15.14 | 11.19 | 9.849 | 8.636 | 7.156 | 6.94 | 6.491 | 6.26 | 6.003 | 5.545 | 5.506 | 5.247 | 5.103 | 5.609 | 5.215 | 5.156 | 5.507 | 6.932 | 8.333 | 7.277 | 5.9
280 | 395.3 | 456.6 | 653 | 906.7 | 967.5 | 751.3 | 316 | 122 | 101.6 | 153.6 | 374.6 | 743.5 | 499.4 | 493.4 | 1204 | 9999.9 | 9999.9 | 9361 | 71.13 | 29.95 | 19.19 | 14.29 | 11.78 | 9.867 | 8.325 | 7.807 | 7.159 | 7.27 | 6.314 | 6.514 | 5.651 | 5.637 | 5.406 | 5.498 | 5.057 | 5.282 | 4.937 | 5.608 | 6.641 | 7.269 | 6.773
285 | 513.6 | 615.8 | 889.2 | 1375 | 1660 | 1542 | 961.8 | 432.5 | 213.3 | 219.5 | 345.4 | 773 | 1089 | 955.3 | 1066 | 1720 | 9999.9 | 9999.9 | 8636 | 66.66 | 28.45 | 20.95 | 14.74 | 12.14 | 10.33 | 8.769 | 8.216 | 7.253 | 6.899 | 6.586 | 6.399 | 5.457 | 5.967 | 5.977 | 5.616 | 5.009 | 4.815 | 4.901 | 5.298 | 6.474 | 7.044
290 | 739.5 | 795.3 | 1173 | 1828 | 2606 | 2882 | 2153 | 1047 | 443.9 | 338.4 | 482.4 | 826.5 | 1553 | 2035 | 2163 | 2210 | 2539 | 9999.9 | 9999.9 | 7974 | 57.2 | 28.98 | 20.75 | 16.48 | 13.04 | 11.17 | 9.56 | 8.093 | 7.638 | 7.223 | 6.55 | 6.349 | 6.003 | 6.103 | 5.817 | 5.943 | 4.804 | 4.868 | 4.799 | 5.297 | 6.324
295 | 857.5 | 998.2 | 1439 | 2153 | 3322 | 4124 | 3442 | 1687 | 728.4 | 507.4 | 691.3 | 1121 | 1761 | 2978 | 3606 | 3540 | 3021 | 2357 | 9999.9 | 9999.9 | 7454 | 58.54 | 29.66 | 21.69 | 15.55 | 12.76 | 10.75 | 10.76 | 8.718 | 7.724 | 7.18 | 6.74 | 6.718 | 6.441 | 6.353 | 5.61 | 5.556 | 5.086 | 4.921 | 4.687 | 5.306
300 | 927.7 | 1101 | 1470 | 2363 | 3893 | 5064 | 4401 | 2252 | 1033 | 812.5 | 983.4 | 1451 | 2124 | 3235 | 4760 | 4785 | 3943 | 2214 | 1459 | 9999.9 | 9999.9 | 7102 | 57.02 | 29.6 | 22.43 | 16.59 | 13.27 | 11.57 | 9.562 | 8.74 | 8.205 | 7.967 | 6.801 | 6.915 | 6.837 | 5.588 | 5.559 | 5.618 | 5.104 | 5.05 | 4.617
305 | 1052 | 1085 | 1505 | 2515 | 4055 | 5401 | 4812 | 2667 | 1414 | 1162 | 1380 | 1783 | 2457 | 3510 | 4864 | 5725 | 4591 | 2559 | 944.6 | 1119 | 9999.9 | 9999.9 | 6691 | 54.51 | 31.67 | 22.05 | 17.51 | 14.2 | 11.42 | 9.956 | 9.588 | 8.822 | 7.719 | 7.378 | 6.693 | 6.388 | 5.832 | 5.828 | 5.266 | 5.228 | 4.847
310 | 1020 | 1170 | 1443 | 2449 | 3819 | 5220 | 4803 | 2874 | 1749 | 1600 | 1807 | 2136 | 2613 | 3571 | 4723 | 5496 | 5145 | 2882 | 1138 | 486.1 | 974.7 | 9999.9 | 9999.9 | 6864 | 56.27 | 32.88 | 24.19 | 17.72 | 14.12 | 11.27 | 10.56 | 9.296 | 8.509 | 8.154 | 7.311 | 7.161 | 6.381 | 5.465 | 5.437 | 5.015 | 4.798
315 | 853.8 | 1066 | 1412 | 2116 | 3521 | 4837 | 4544 | 2995 | 2044 | 2022 | 2199 | 2473 | 2797 | 3563 | 4571 | 5122 | 4956 | 3330 | 1403 | 584.1 | 292.8 | 923.1 | 9999.9 | 9999.9 | 6501 | 53.76 | 33.13 | 25.02 | 18.08 | 14.3 | 11.09 | 9.943 | 10.11 | 9.253 | 8.548 | 7.485 | 6.885 | 6.003 | 5.235 | 5.041 | 5.037
320 | 796.4 | 972 | 1365 | 1946 | 3189 | 4441 | 4199 | 2983 | 2306 | 2365 | 2595 | 2712 | 2915 | 3535 | 4437 | 4884 | 4543 | 3503 | 1923 | 753.9 | 313.5 | 195.5 | 880.2 | 9999.9 | 9999.9 | 6797 | 54.4 | 33.66 | 24.91 | 18.22 | 14.21 | 12.67 | 10.76 | 9.823 | 8.739 | 8.026 | 7.048 | 6.34 | 5.884 | 5.494 | 4.877
325 | 758 | 990.1 | 1293 | 1870 | 2924 | 4078 | 3947 | 2920 | 2439 | 2585 | 2812 | 2945 | 3038 | 3435 | 4235 | 4668 | 4412 | 3254 | 2276 | 1060 | 384.2 | 182 | 151 | 884.3 | 9999.9 | 9999.9 | 6854 | 57 | 35.48 | 26.86 | 18.24 | 15.12 | 12.21 | 10.9 | 9.667 | 8.182 | 7.47 | 6.484 | 6.162 | 5.661 | 5.162
330 | 689.6 | 969.7 | 1273 | 1842 | 2768 | 3710 | 3531 | 2773 | 2496 | 2738 | 2974 | 3065 | 3091 | 3475 | 4112 | 4510 | 4313 | 3311 | 2162 | 1413 | 552.9 | 203 | 117 | 136.8 | 879 | 9999.9 | 9999.9 | 7092 | 57.47 | 36.34 | 26.6 | 18.83 | 14.61 | 12.71 | 11.18 | 9.392 | 7.964 | 7.391 | 6.553 | 6.005 | 5.564
335 | 625.6 | 903.4 | 1203 | 1693 | 2710 | 3476 | 3281 | 2623 | 2491 | 2748 | 3003 | 3073 | 3156 | 3420 | 4036 | 4377 | 4239 | 3352 | 2204 | 1264 | 862.9 | 300.1 | 128.6 | 91.55 | 124.7 | 879.7 | 9999.9 | 9999.9 | 7370 | 59.43 | 36.41 | 26.46 | 18.84 | 15.37 | 12.33 | 10.45 | 8.816 | 7.689 | 7.042 | 6.516 | 5.514
340 | 611.5 | 785.2 | 1110 | 1661 | 2563 | 3118 | 3013 | 2443 | 2391 | 2670 | 2916 | 3050 | 3105 | 3390 | 3894 | 4240 | 4119 | 3364 | 2277 | 1196 | 756.8 | 562.7 | 178.6 | 99.59 | 76.52 | 116.6 | 889.7 | 9999.9 | 9999.9 | 7838 | 58.3 | 37.15 | 28.6 | 19.33 | 14.87 | 11.58 | 10.04 | 8.493 | 7.44 | 6.701 | 6.133
345 | 573.9 | 783.3 | 1034 | 1560 | 2339 | 2855 | 2708 | 2241 | 2190 | 2517 | 2749 | 2888 | 2992 | 3277 | 3730 | 4032 | 3933 | 3287 | 2310 | 1201 | 621.3 | 546.1 | 392 | 125.2 | 80.86 | 71.3 | 117.1 | 896.3 | 9999.9 | 9999.9 | 7952 | 57.74 | 37.29 | 26.89 | 19.9 | 13.41 | 11.72 | 8.951 | 7.98 | 7.214 | 6.439
350 | 539.1 | 715 | 1019 | 1445 | 2180 | 2629 | 2417 | 2009 | 1978 | 2290 | 2551 | 2733 | 2817 | 3085 | 3517 | 3803 | 3703 | 3126 | 2246 | 1203 | 609.5 | 363.8 | 456.8 | 280.8 | 101.1 | 75.89 | 72.15 | 117.6 | 871.8 | 9999.9 | 9999.9 | 8298 | 60.83 | 37.14 | 28.44 | 18.53 | 13.3 | 10.56 | 9.272 | 8.144 | 6.921
355 | 461.8 | 643.3 | 942 | 1303 | 1932 | 2426 | 2159 | 1813 | 1828 | 2085 | 2335 | 2519 | 2620 | 2883 | 3257 | 3517 | 3436 | 2949 | 2145 | 1177 | 614.6 | 346.9 | 285.3 | 422.9 | 209.9 | 96.13 | 80.95 | 77.42 | 121 | 914.9 | 9999.9 | 9999.9 | 8285 | 61.58 | 37.09 | 26.41 | 17.55 | 12.26 | 9.801 | 8.73 | 7.613
360 | 490.1 | 632.4 | 881.6 | 1278 | 1823 | 2195 | 1945 | 1608 | 1653 | 1886 | 2105 | 2292 | 2445 | 2652 | 3013 | 3258 | 3137 | 2733 | 1998 | 1121 | 605.3 | 355.2 | 247.9 | 282.1 | 393.2 | 174.7 | 101.5 | 90.88 | 81.56 | 130.1 | 877.6 | 9999.9 | 9999.9 | 8903 | 60.11 | 34.56 | 25.51 | 17.02 | 12.22 | 10.23 | 7.962
365 | 447.3 | 558.4 | 743.7 | 1128 | 1674 | 1917 | 1688 | 1445 | 1485 | 1721 | 1918 | 2069 | 2215 | 2451 | 2759 | 2916 | 2883 | 2478 | 1850 | 1062 | 600.8 | 371.6 | 263.1 | 218 | 311 | 352 | 156.2 | 111.7 | 92.73 | 91.38 | 135.9 | 915.4 | 9999.9 | 9999.9 | 8555 | 56.28 | 33.17 | 24.06 | 15.51 | 11.34 | 8.502
370 | 438.4 | 478.6 | 694.2 | 1050 | 1505 | 1718 | 1494 | 1271 | 1381 | 1533 | 1737 | 1899 | 1990 | 2209 | 2476 | 2637 | 2576 | 2230 | 1703 | 999.1 | 578.5 | 384.7 | 286.1 | 239.5 | 230.9 | 345.7 | 315.7 | 151 | 113.1 | 104 | 103.4 | 132.3 | 937 | 9999.9 | 9999.9 | 8036 | 53.66 | 31.99 | 21.52 | 15.02 | 10.4
375 | 408.1 | 463.5 | 650.7 | 960.9 | 1375 | 1584 | 1364 | 1202 | 1245 | 1396 | 1610 | 1700 | 1798 | 1989 | 2194 | 2337 | 2292 | 2002 | 1544 | 926 | 563.1 | 395 | 305.6 | 266.4 | 241.4 | 243.7 | 380.1 | 283 | 146 | 127.7 | 115.1 | 90.79 | 125.7 | 942.1 | 9999.9 | 9999.9 | 7765 | 50.45 | 30.43 | 20.32 | 14.32
380 | 361.3 | 425.1 | 573 | 832.5 | 1200 | 1403 | 1242 | 1050 | 1127 | 1275 | 1414 | 1544 | 1617 | 1752 | 1936 | 2062 | 2015 | 1787 | 1380 | 865.3 | 555.6 | 409 | 334.1 | 297.6 | 275.1 | 251.1 | 285.3 | 394.7 | 245.3 | 156.6 | 138.4 | 102.2 | 78.52 | 120.3 | 940.4 | 9999.9 | 9999.9 | 7144 | 46.99 | 27.86 | 19.28
385 | 335 | 456.4 | 554.8 | 751 | 1078 | 1258 | 1105 | 994.8 | 1029 | 1163 | 1263 | 1375 | 1426 | 1550 | 1703 | 1805 | 1781 | 1574 | 1249 | 818.7 | 550.3 | 424.8 | 364.9 | 334.3 | 316.6 | 288.1 | 282.5 | 334.1 | 385 | 229 | 169.8 | 127 | 92.81 | 74.05 | 116.9 | 952.5 | 9999.9 | 9999.9 | 6837 | 43.94 | 25.48
390 | 441.5 | 378.6 | 453.2 | 640.9 | 947.1 | 1131 | 989.5 | 922.9 | 959.9 | 1066 | 1156 | 1218 | 1254 | 1366 | 1509 | 1571 | 1567 | 1403 | 1125 | 780.1 | 553.5 | 444.4 | 392.1 | 379.7 | 357.7 | 338.5 | 320.1 | 308.5 | 364.7 | 370.7 | 225.8 | 156.5 | 115 | 87.94 | 70.66 | 114.4 | 892.5 | 9999.9 | 9999.9 | 6644 | 40.47
395 | 736 | 389.7 | 453.5 | 631.1 | 855 | 1005 | 948.9 | 839.1 | 873.1 | 987.4 | 1057 | 1120 | 1134 | 1185 | 1329 | 1386 | 1385 | 1272 | 1040 | 736.9 | 554.9 | 470 | 428 | 417.9 | 408.4 | 394.5 | 375.2 | 352.2 | 321.1 | 394.3 | 345 | 195.8 | 143.5 | 108 | 79.65 | 63.92 | 105.1 | 936.8 | 9999.9 | 9999.9 | 5974
400 | 1111 | 487.8 | 398.7 | 634.9 | 796.2 | 932.1 | 854.7 | 783.7 | 836.1 | 891.9 | 965.7 | 993.2 | 1007 | 1044 | 1138 | 1201 | 1222 | 1134 | 944.9 | 701.8 | 558.8 | 494.4 | 467.1 | 456.2 | 458 | 443.1 | 421.2 | 399.6 | 352.8 | 351.3 | 412.7 | 296.7 | 178.2 | 129.8 | 97.59 | 71.24 | 55.69 | 102.6 | 873.7 | 9999.9 | 9999.9
405 | 808.3 | 1053 | 368 | 543.7 | 761.2 | 832.1 | 803.6 | 747.5 | 778.3 | 828.4 | 886.8 | 914.3 | 904.3 | 925.4 | 1002 | 1069 | 1092 | 1013 | 875 | 675.8 | 558.6 | 510.2 | 494.7 | 492.7 | 493.1 | 483.9 | 463.2 | 432.9 | 392.2 | 356.7 | 361 | 387.4 | 248.5 | 160.6 | 116.7 | 82.3 | 60.3 | 50.61 | 94.03 | 825.7 | 9999.9
410 | 402.2 | 1491 | 590.7 | 478.7 | 666.7 | 775.7 | 756.7 | 688.4 | 719.6 | 774.5 | 820.1 | 825.6 | 809.7 | 825.6 | 882.5 | 940.1 | 979.4 | 918.9 | 816 | 657.5 | 553 | 514.1 | 518.4 | 519.1 | 524.2 | 514 | 495.1 | 461.6 | 423.8 | 385 | 349.1 | 360.1 | 345.1 | 209.7 | 136.4 | 97.48 | 68.44 | 51.52 | 43.32 | 87.67 | 822.1
415 | 233.9 | 1107 | 1316 | 473.1 | 603.3 | 745.6 | 729 | 647.4 | 699 | 726.3 | 764.2 | 765.6 | 737.3 | 755.3 | 792.6 | 847.3 | 874.9 | 830.6 | 750.5 | 616.6 | 548.2 | 525.8 | 523 | 530.3 | 540.9 | 531.2 | 517.7 | 488.9 | 450.3 | 405.7 | 369.1 | 323 | 340.9 | 293 | 165.6 | 114.3 | 81.57 | 58.29 | 44.39 | 39.03 | 83.15
420 | 202.9 | 408.3 | 2036 | 682.2 | 624.1 | 727.7 | 656.1 | 632.3 | 629 | 684 | 699.1 | 728.1 | 669.8 | 672.9 | 718.2 | 763.7 | 796.3 | 749.1 | 685.9 | 586.7 | 536.2 | 520 | 526.3 | 541.9 | 545.2 | 542.3 | 528.4 | 497.9 | 459.2 | 419.5 | 377.7 | 328 | 294.4 | 319.2 | 233 | 131.7 | 91.26 | 65.6 | 49.21 | 37.18 | 34.62
425 | 206.2 | 295 | 1606 | 1604 | 547.2 | 623.6 | 633.9 | 594.4 | 601 | 629.9 | 662.2 | 662.1 | 632.1 | 618.3 | 644.3 | 689 | 709.9 | 685.8 | 634.3 | 552.8 | 510.1 | 504.2 | 513.6 | 524.6 | 542.4 | 543.5 | 527.7 | 503.3 | 465.9 | 427.8 | 380.6 | 332 | 287.5 | 266.4 | 279.7 | 176.9 | 103.6 | 74.8 | 53.94 | 39.96 | 32.66
430 | 195.1 | 243.9 | 590.7 | 2725 | 805.7 | 546.3 | 567.3 | 542.1 | 577.9 | 580 | 605 | 613.5 | 590.4 | 561.7 | 582.1 | 622.3 | 649.4 | 620.6 | 576.5 | 517.3 | 485.4 | 480.4 | 498.9 | 523.1 | 533.2 | 533.6 | 521.3 | 499.1 | 460.7 | 424.6 | 380.2 | 338.8 | 291 | 247.8 | 238.9 | 228.9 | 132.5 | 80.62 | 59.71 | 46.72 | 36.33
435 | 195 | 253.4 | 282.8 | 2192 | 2065 | 517.3 | 528.8 | 527.3 | 545.3 | 557 | 585.7 | 582.9 | 546.8 | 530.3 | 538.9 | 567.6 | 599.7 | 574.6 | 539.9 | 481.4 | 465.5 | 474.9 | 486.8 | 501.4 | 516.5 | 522.4 | 507.6 | 485.4 | 457.1 | 420 | 380.9 | 335.5 | 289.7 | 242.3 | 203.5 | 210.9 | 181.3 | 98.73 | 66.27 | 49.87 | 39.17
440 | 208 | 206.7 | 263.6 | 735.5 | 3959 | 928.9 | 496.9 | 494.3 | 487.3 | 527.7 | 553.7 | 536.7 | 526.5 | 486.1 | 497.7 | 518.4 | 535.1 | 522.7 | 496.7 | 449.7 | 439.8 | 444.2 | 457.4 | 479.5 | 494.2 | 494.9 | 483.7 | 470.5 | 439 | 403.7 | 367.1 | 329.9 | 288.6 | 246.2 | 202.2 | 170.8 | 184.8 | 138.9 | 75.72 | 54.06 | 43.31
445 | 237.5 | 237.8 | 266.1 | 340 | 3466 | 2887 | 491.4 | 437.8 | 464.1 | 508.4 | 508.8 | 500 | 480.4 | 445.5 | 449.2 | 470.1 | 490.4 | 476.6 | 449.8 | 420.5 | 413.7 | 416.2 | 434.3 | 454.2 | 463.4 | 470 | 467.3 | 452.2 | 421.3 | 391.6 | 358.7 | 320.5 | 282.7 | 240.2 | 196.8 | 159.8 | 144.2 | 158.9 | 103.3 | 61.64 | 46.97
450 | 254.4 | 205.2 | 249.7 | 258.1 | 1153 | 5867 | 1076 | 420.8 | 439.5 | 443.8 | 464.7 | 474.5 | 441.7 | 431.4 | 418.9 | 428.4 | 437.4 | 431.2 | 411.5 | 392.8 | 373.1 | 381.6 | 399.3 | 420.2 | 434.5 | 445.1 | 431.8 | 428.3 | 400.2 | 372.8 | 337.2 | 303.6 | 267.4 | 232.4 | 193.2 | 156.6 | 128.8 | 129.4 | 133.8 | 79.82 | 51.96
455 | 190.5 | 191.8 | 243.8 | 284.2 | 405.5 | 5477 | 3982 | 416.2 | 398.1 | 408.8 | 436 | 436.1 | 422.7 | 385.2 | 374.7 | 387 | 398.9 | 385.1 | 370.4 | 353.8 | 340 | 352.3 | 362.3 | 384.9 | 398.7 | 404.3 | 404.7 | 392.2 | 371.4 | 344.7 | 311.7 | 283.9 | 252.1 | 218.6 | 186.8 | 154 | 123.6 | 106.1 | 118.8 | 108.4 | 63.83
460 | 151.3 | 207.8 | 203.4 | 259.7 | 296.7 | 1769 | 8741 | 1248 | 368.4 | 387.9 | 401.9 | 392.8 | 386.5 | 351.6 | 334.5 | 354.2 | 354.9 | 352.6 | 335 | 317.8 | 310.3 | 320.4 | 335.9 | 353.5 | 369.6 | 379.3 | 374.1 | 363 | 347.5 | 318 | 295.1 | 269.7 | 238.1 | 208.9 | 177.3 | 147.2 | 119.8 | 102.2 | 91.13 | 108.7 | 87.28
465 | 180.5 | 169.7 | 200.5 | 258.6 | 288.2 | 405.9 | 8253 | 5244 | 378.2 | 356.8 | 363.3 | 363.3 | 354.4 | 327.8 | 318 | 328.6 | 325.5 | 309.9 | 306.3 | 279.2 | 278.7 | 293.1 | 310.8 | 321.7 | 333.3 | 344.2 | 344.4 | 336.5 | 316.8 | 295.8 | 273.3 | 246.9 | 217.9 | 195.5 | 167.7 | 141.1 | 117.2 | 99.38 | 83.57 | 83.75 | 99.38
470 | 128.1 | 147.6 | 197.3 | 234.8 | 283.4 | 277.2 | 2367 | 9999.9 | 1488 | 323.4 | 331.9 | 344.5 | 321.6 | 307.3 | 295.9 | 294.4 | 293.2 | 281.1 | 265.9 | 253.2 | 254.4 | 261.6 | 276.7 | 289 | 305.8 | 310.2 | 309.8 | 303.9 | 289.6 | 270.9 | 247.6 | 226.9 | 204.1 | 181.5 | 159.7 | 136.1 | 116.5 | 97.9 | 83.78 | 73.88 | 82.02
475 | 146.3 | 159 | 150.2 | 225.4 | 280.9 | 254.2 | 419.6 | 9999.9 | 6345 | 340.3 | 306.2 | 308.8 | 302.1 | 286.9 | 272.5 | 269.6 | 263.5 | 254.4 | 242.2 | 230.4 | 234.1 | 233.3 | 250.3 | 261 | 272.1 | 279.8 | 278.8 | 277.9 | 261.1 | 246.6 | 225.7 | 208.5 | 190.7 | 172.5 | 154.4 | 131.7 | 112.8 | 96.47 | 84.16 | 72.34 | 67.28
480 | 92.39 | 132.1 | 133.4 | 164 | 232.8 | 258.1 | 267.2 | 3082 | 9999.9 | 1548 | 292.8 | 297.8 | 288.3 | 289.1 | 253 | 253.8 | 256.4 | 237.8 | 216.9 | 207.5 | 206.3 | 213.9 | 223.6 | 236.1 | 246.6 | 256.3 | 258.3 | 252 | 242.3 | 229.2 | 211.1 | 195.3 | 177.9 | 164.6 | 150.1 | 130.1 | 115 | 98.85 | 84.58 | 75.17 | 68.02
485 | 121.1 | 128.8 | 158.8 | 157.8 | 215.7 | 264 | 254.7 | 454.1 | 9999.9 | 6602 | 315.3 | 289.4 | 287.9 | 286.1 | 273.9 | 254.8 | 249.7 | 228.9 | 206.6 | 191.3 | 190.2 | 197.5 | 205.8 | 216.6 | 230.7 | 236.4 | 237.9 | 237.9 | 229.1 | 217.9 | 204.7 | 188.9 | 178.7 | 167.5 | 151.3 | 131.6 | 116.5 | 101.9 | 89.87 | 79.32 | 71.49
490 | 157 | 124.1 | 135.9 | 170.6 | 209.1 | 253.5 | 247.7 | 236.4 | 3237 | 9999.9 | 1442 | 293.5 | 302.6 | 307.5 | 297.5 | 278 | 259.5 | 228.2 | 196.8 | 178.5 | 175.9 | 183.1 | 191.4 | 201.5 | 213.3 | 219 | 226.9 | 225.2 | 221.3 | 211.5 | 196.8 | 189 | 180 | 172.3 | 156.6 | 143.4 | 126.6 | 111.1 | 99.34 | 88.05 | 79.76
495 | 127.9 | 122.1 | 140.7 | 140.4 | 198.3 | 233.6 | 276.8 | 227.2 | 463 | 9999.9 | 6188 | 326.2 | 321.6 | 334.7 | 338 | 303.9 | 268.1 | 230.7 | 191.9 | 166.9 | 160.7 | 168.2 | 172.4 | 186.8 | 199.2 | 205.1 | 212.1 | 215.6 | 210.7 | 207.1 | 197.4 | 189.7 | 183.8 | 179 | 169.8 | 153.5 | 138 | 124.2 | 108.6 | 96.24 | 89.18
500 | 147.1 | 93.28 | 117.5 | 127.4 | 163.7 | 197 | 282.6 | 220 | 253 | 3639 | 9999.9 | 1322 | 349 | 370.2 | 371.6 | 334.1 | 295 | 241.6 | 182.5 | 153.9 | 152.3 | 155.2 | 162.4 | 171.5 | 184.3 | 195.6 | 204.2 | 205.8 | 207.5 | 203.1 | 198.8 | 197.8 | 191.3 | 190.7 | 184.3 | 169.6 | 151.9 | 136.3 | 119 | 108 | 95.81