## Sheet1
Report date: | 19:15:24, 09/19/2024
Sample: | 1
File name:
Run date: | 19:09:47, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/305.0 | 5286
2 | 225.0/490.0 | 270.9
3 | 250.0/275.0 | 545.8
4 | 275.0/305.0 | 5653
5 | 310.0/350.0 | 447.5
6 | 315.0/355.0 | 420.1
7 | 320.0/360.0 | 393.1
8 | 320.0/420.0 | 536.5
9 | 325.0/365.0 | 347.6
10 | 330.0/375.0 | 370
11 | 335.0/380.0 | 389.6
12 | 340.0/385.0 | 377.2
13 | 345.0/395.0 | 393.4
14 | 350.0/400.0 | 405
15 | 355.0/405.0 | 384.7
16 | 365.0/420.0 | 316
17 | 385.0/445.0 | 159.6
18 | 390.0/275.0 | 7.351
19 | 390.0/450.0 | 132.6
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 154.3 | 186.7 | 210 | 245.8 | 191 | 107.4 | 61.54 | 43.43 | 82.77 | 408.4 | 275.1 | 114.8 | 311.9 | 9999.9 | 9999.9 | 9999.9 | 69.96 | 27 | 20.58 | 15.57 | 11.21 | 9.574 | 7.786 | 7.981 | 6.803 | 6.493 | 6.241 | 5.457 | 5.826 | 5.145 | 5.057 | 4.961 | 5.443 | 5.242 | 4.824 | 5.469 | 6.741 | 7.771 | 7.25 | 5.552 | 5.02
275 | 246.4 | 329.9 | 434.9 | 621.3 | 526 | 347 | 132 | 62.4 | 77.98 | 198 | 545.8 | 331.5 | 250.6 | 1060 | 9999.9 | 9999.9 | 9627 | 67.05 | 28.41 | 19.69 | 14.76 | 12.28 | 9.997 | 8.536 | 7.667 | 7.123 | 6.781 | 6.509 | 6.282 | 5.202 | 5.241 | 5.117 | 5.405 | 5.306 | 4.796 | 5.538 | 5.365 | 7.067 | 7.351 | 6.562 | 5.259
280 | 457.3 | 431.1 | 661.4 | 919.2 | 971.4 | 733.9 | 331.5 | 132.6 | 98.36 | 151.3 | 377.4 | 741.6 | 482.8 | 488.3 | 1179 | 9999.9 | 9999.9 | 9258 | 66.11 | 28.33 | 19.56 | 15.22 | 11.61 | 10.11 | 8.708 | 7.739 | 7.124 | 6.592 | 5.445 | 5.964 | 5.181 | 5.238 | 5.475 | 5.153 | 5.118 | 4.958 | 5.356 | 5.247 | 6.547 | 7.454 | 6.444
285 | 552.9 | 607.9 | 923.3 | 1328 | 1611 | 1490 | 947.9 | 439.3 | 215.7 | 216.3 | 334.8 | 744.4 | 1088 | 925.7 | 1035 | 1704 | 9999.9 | 9999.9 | 8543 | 69.57 | 27.26 | 20.27 | 15.02 | 11.59 | 10 | 9.494 | 8.011 | 7.03 | 6.949 | 6.072 | 5.71 | 5.653 | 5.959 | 5.193 | 5.189 | 4.758 | 4.668 | 4.711 | 5.36 | 6.213 | 6.831
290 | 842.4 | 757.2 | 1180 | 1775 | 2419 | 2849 | 2153 | 1026 | 441.3 | 345.7 | 473.4 | 796.5 | 1552 | 2025 | 2143 | 2204 | 2510 | 9999.9 | 9999.9 | 7916 | 59.4 | 29.14 | 19.79 | 15.44 | 12.05 | 10.6 | 8.559 | 8.632 | 7.638 | 7.088 | 6.209 | 5.69 | 6.244 | 6.502 | 5.275 | 5.165 | 5.066 | 5.092 | 4.932 | 4.822 | 6.441
295 | 950 | 977.9 | 1381 | 2118 | 3293 | 4058 | 3421 | 1653 | 717.7 | 507.7 | 687.2 | 1092 | 1730 | 2959 | 3585 | 3542 | 2971 | 2316 | 9999.9 | 9999.9 | 7436 | 57.69 | 29.89 | 21.13 | 15.59 | 12.83 | 10.34 | 9.154 | 8.737 | 7.824 | 7.257 | 6.743 | 6.337 | 5.789 | 5.856 | 5.887 | 5.38 | 5.169 | 4.711 | 4.755 | 5.498
300 | 1015 | 1066 | 1558 | 2393 | 3854 | 5042 | 4395 | 2269 | 1072 | 807.2 | 987.2 | 1434 | 2106 | 3214 | 4737 | 4794 | 3886 | 2196 | 1432 | 9999.9 | 9999.9 | 6993 | 53.91 | 28.89 | 20.83 | 16.63 | 12.87 | 11.49 | 9.753 | 8.678 | 7.719 | 7.225 | 7.034 | 6.97 | 6.54 | 5.792 | 5.449 | 5.31 | 5.034 | 4.871 | 4.39
305 | 884.4 | 1090 | 1507 | 2461 | 3911 | 5286 | 4814 | 2610 | 1422 | 1169 | 1334 | 1761 | 2439 | 3489 | 4787 | 5653 | 4541 | 2514 | 912.9 | 1107 | 9999.9 | 9999.9 | 6575 | 55.14 | 29.94 | 22.37 | 16.09 | 13.56 | 11.86 | 10.07 | 9.042 | 8.147 | 7.913 | 7.413 | 6.67 | 6.072 | 5.574 | 5.617 | 5.166 | 5 | 5.102
310 | 905.5 | 1068 | 1490 | 2186 | 3738 | 5187 | 4810 | 2861 | 1757 | 1598 | 1792 | 2121 | 2620 | 3557 | 4693 | 5443 | 5048 | 2795 | 1088 | 469.7 | 959.2 | 9999.9 | 9999.9 | 6691 | 52.68 | 30.93 | 23.32 | 17.25 | 13.42 | 11.87 | 9.787 | 9.068 | 8.343 | 8.113 | 7.171 | 6.884 | 6.17 | 5.516 | 5.588 | 5.342 | 4.788
315 | 877.2 | 1146 | 1450 | 2051 | 3387 | 4680 | 4552 | 2993 | 2074 | 2008 | 2191 | 2430 | 2780 | 3527 | 4526 | 5049 | 4832 | 3250 | 1332 | 559.4 | 281.3 | 920.6 | 9999.9 | 9999.9 | 6285 | 52.3 | 32.27 | 23.14 | 17.39 | 13.32 | 11.4 | 10.68 | 8.896 | 8.583 | 7.616 | 6.765 | 6.435 | 5.983 | 5.607 | 4.936 | 5.153
320 | 880.3 | 1021 | 1283 | 1992 | 3105 | 4484 | 4302 | 2946 | 2248 | 2326 | 2544 | 2704 | 2894 | 3439 | 4286 | 4765 | 4394 | 3330 | 1795 | 693.6 | 293.1 | 191.1 | 866.8 | 9999.9 | 9999.9 | 6514 | 53.8 | 32.46 | 24 | 18.22 | 14.94 | 12.37 | 10.54 | 8.902 | 8.459 | 7.419 | 6.727 | 5.967 | 5.489 | 5.031 | 5.184
325 | 785.5 | 944.2 | 1295 | 1871 | 2905 | 4027 | 3916 | 2810 | 2373 | 2556 | 2797 | 2852 | 2958 | 3354 | 4040 | 4481 | 4176 | 3046 | 2133 | 1004 | 347.6 | 164.4 | 147.1 | 870.1 | 9999.9 | 9999.9 | 6556 | 55.61 | 33.17 | 25.55 | 18.19 | 14.83 | 12.02 | 11.09 | 8.928 | 8.054 | 7.668 | 6.37 | 5.867 | 5.445 | 5.169
330 | 743 | 908.4 | 1213 | 1786 | 2706 | 3620 | 3581 | 2674 | 2428 | 2672 | 2861 | 2974 | 2954 | 3307 | 3909 | 4272 | 3988 | 3003 | 1935 | 1305 | 507.9 | 181.3 | 106.3 | 130.6 | 867.1 | 9999.9 | 9999.9 | 6879 | 55.62 | 33.25 | 25.59 | 18.3 | 14.66 | 12.65 | 10.32 | 8.534 | 8.392 | 6.837 | 6.817 | 5.745 | 5.46
335 | 636.6 | 863.1 | 1255 | 1638 | 2552 | 3359 | 3232 | 2517 | 2400 | 2688 | 2926 | 2986 | 2988 | 3219 | 3738 | 4105 | 3873 | 3012 | 1944 | 1140 | 807.4 | 270.2 | 116.9 | 86.93 | 120.7 | 870.8 | 9999.9 | 9999.9 | 7140 | 55.55 | 36.34 | 25.8 | 18.22 | 14.55 | 11.62 | 10.13 | 8.695 | 7.646 | 6.765 | 6.34 | 5.05
340 | 621.5 | 795.8 | 1184 | 1619 | 2448 | 3066 | 2927 | 2399 | 2318 | 2570 | 2814 | 2915 | 2940 | 3176 | 3614 | 3886 | 3694 | 2938 | 1981 | 1057 | 696 | 532.4 | 167.9 | 91.76 | 75.72 | 114.1 | 877.1 | 9999.9 | 9999.9 | 7383 | 56.36 | 35.53 | 27.01 | 19.39 | 14.53 | 11.84 | 9.858 | 7.857 | 7.744 | 6.763 | 5.712
345 | 571 | 787.7 | 1038 | 1572 | 2311 | 2689 | 2631 | 2167 | 2148 | 2424 | 2685 | 2788 | 2830 | 3043 | 3448 | 3675 | 3482 | 2866 | 1968 | 1055 | 547.1 | 516.9 | 373.1 | 120.5 | 80.27 | 67.15 | 114.1 | 885.7 | 9999.9 | 9999.9 | 7671 | 54.94 | 35.46 | 26.64 | 18.53 | 13.79 | 10.97 | 9.491 | 8.221 | 6.47 | 5.863
350 | 522 | 682.4 | 996.5 | 1419 | 2113 | 2538 | 2299 | 1948 | 1939 | 2228 | 2461 | 2605 | 2671 | 2865 | 3180 | 3412 | 3250 | 2711 | 1906 | 1044 | 539.8 | 335.6 | 447.5 | 273.1 | 100.1 | 72.19 | 71.54 | 113.8 | 867.9 | 9999.9 | 9999.9 | 8002 | 56.62 | 36.59 | 26.22 | 18.2 | 13.52 | 11.27 | 9.013 | 7.845 | 6.353
355 | 473.2 | 593 | 937.8 | 1250 | 1980 | 2300 | 2093 | 1727 | 1760 | 1995 | 2253 | 2392 | 2487 | 2681 | 2953 | 3125 | 2996 | 2523 | 1818 | 1002 | 539.3 | 317.6 | 272.3 | 420.1 | 208.4 | 90.73 | 79.43 | 76.38 | 119.5 | 905 | 9999.9 | 9999.9 | 8051 | 57.94 | 37.54 | 25.63 | 16.56 | 12.36 | 9.921 | 8.555 | 7.369
360 | 473.8 | 535.6 | 872.3 | 1201 | 1746 | 2062 | 1855 | 1527 | 1612 | 1851 | 2040 | 2174 | 2282 | 2483 | 2727 | 2864 | 2747 | 2321 | 1703 | 969.5 | 542.4 | 331.9 | 237.2 | 275.8 | 393.1 | 171.7 | 98.94 | 84.84 | 80.12 | 127.6 | 866.6 | 9999.9 | 9999.9 | 8520 | 57.03 | 34.6 | 23.45 | 15.85 | 11.07 | 9.28 | 7.925
365 | 422.8 | 521.8 | 791.9 | 1030 | 1528 | 1821 | 1617 | 1392 | 1436 | 1649 | 1859 | 1979 | 2074 | 2239 | 2476 | 2599 | 2493 | 2109 | 1575 | 921.5 | 537.5 | 341.3 | 248.6 | 211.9 | 304.4 | 347.6 | 154.1 | 105.2 | 90.2 | 86.98 | 134.1 | 903.2 | 9999.9 | 9999.9 | 8094 | 53.83 | 33.15 | 22.9 | 15.46 | 11.07 | 9.552
370 | 385.3 | 460.4 | 686.5 | 959.2 | 1384 | 1712 | 1482 | 1254 | 1296 | 1488 | 1687 | 1808 | 1881 | 1997 | 2213 | 2327 | 2208 | 1900 | 1454 | 862.6 | 526.5 | 354.6 | 270.2 | 231.7 | 217.1 | 341 | 310.9 | 149.4 | 111.5 | 101.5 | 97.99 | 129.3 | 909.9 | 9999.9 | 9999.9 | 7578 | 51.58 | 30.89 | 20.98 | 13.71 | 10.26
375 | 391.8 | 452.8 | 669.8 | 844 | 1281 | 1519 | 1311 | 1122 | 1191 | 1347 | 1528 | 1604 | 1723 | 1804 | 1996 | 2055 | 1998 | 1711 | 1300 | 806.6 | 519.6 | 366.4 | 292.9 | 259.2 | 232.6 | 238.3 | 370 | 278 | 142.5 | 122.8 | 112.7 | 87.99 | 120.7 | 934.8 | 9999.9 | 9999.9 | 7318 | 47.76 | 28.59 | 18.94 | 12.79
380 | 345.2 | 451.9 | 592.7 | 819.6 | 1207 | 1347 | 1147 | 1044 | 1058 | 1212 | 1351 | 1453 | 1511 | 1614 | 1753 | 1831 | 1765 | 1537 | 1195 | 763.7 | 513.8 | 380.1 | 317.5 | 287.3 | 266.8 | 244.3 | 280.5 | 389.6 | 241.7 | 153.4 | 136.6 | 101.1 | 75.45 | 119.5 | 933.9 | 9999.9 | 9999.9 | 6867 | 44.73 | 27.38 | 18.16
385 | 356.3 | 392.6 | 525.2 | 729.8 | 1041 | 1187 | 1065 | 938.1 | 987.7 | 1128 | 1243 | 1286 | 1329 | 1436 | 1555 | 1602 | 1566 | 1356 | 1085 | 730.4 | 507.4 | 396.4 | 343.8 | 325.1 | 308.3 | 282.6 | 272.5 | 328.1 | 377.2 | 226.8 | 167.7 | 123 | 89.15 | 72.84 | 116 | 943.8 | 9999.9 | 9999.9 | 6513 | 42.45 | 25.11
390 | 418.4 | 331.4 | 495.5 | 640.8 | 906.6 | 1080 | 966.6 | 873.1 | 914 | 1023 | 1118 | 1182 | 1187 | 1256 | 1354 | 1407 | 1392 | 1239 | 993.9 | 694.9 | 519.5 | 421.3 | 381.5 | 362.8 | 350.9 | 331.2 | 314.8 | 300 | 354.5 | 365.9 | 221.6 | 157 | 113.1 | 85.75 | 67.5 | 112.5 | 883.3 | 9999.9 | 9999.9 | 6406 | 38.78
395 | 749.9 | 371.4 | 449.7 | 660.6 | 866.5 | 960.2 | 867 | 809.9 | 874.4 | 949.2 | 1014 | 1074 | 1070 | 1115 | 1192 | 1248 | 1226 | 1113 | 920.8 | 673.9 | 524.8 | 444 | 420.7 | 404 | 394.1 | 378.7 | 363.9 | 340.6 | 319.1 | 393.4 | 338.9 | 198.2 | 140 | 106.4 | 79.23 | 63.11 | 103.6 | 929.7 | 9999.9 | 9999.9 | 5901
400 | 1054 | 505.3 | 406.7 | 595.7 | 775.4 | 915.4 | 812.5 | 743.9 | 796.4 | 884.6 | 922.1 | 969.6 | 949.4 | 982.7 | 1054 | 1091 | 1085 | 1005 | 860.9 | 655.9 | 525.8 | 471.4 | 455.2 | 446.4 | 441 | 425.5 | 408.8 | 385.2 | 345.1 | 340 | 405 | 293.2 | 175.9 | 129.6 | 96.83 | 69.62 | 55.84 | 102.8 | 864.9 | 9999.9 | 9999.9
405 | 916.3 | 995.2 | 397.1 | 531.4 | 694 | 797.4 | 756 | 701.7 | 759.9 | 832.9 | 842.9 | 886.1 | 854.3 | 883.3 | 920.4 | 974.8 | 982.3 | 910.9 | 808 | 633.4 | 534.9 | 491.1 | 481.2 | 481.3 | 479.3 | 475.8 | 452.1 | 428.8 | 384.7 | 349.7 | 354 | 384.7 | 245.8 | 157.7 | 114.3 | 81.36 | 61.16 | 48.86 | 91.77 | 822.1 | 9999.9
410 | 396.5 | 1567 | 621.5 | 507.8 | 661.4 | 796.5 | 734.6 | 673.6 | 721.2 | 762.9 | 792.8 | 807 | 790.7 | 801.8 | 829 | 888.6 | 881 | 847.1 | 749.4 | 616.5 | 537.6 | 501.3 | 504.4 | 507.3 | 509.9 | 499.6 | 486 | 456.4 | 414.6 | 376.9 | 349.1 | 352.4 | 342.6 | 206.8 | 136.4 | 95.7 | 68.09 | 50.02 | 42.82 | 85.37 | 814.3
415 | 207.1 | 1064 | 1329 | 446.7 | 594 | 735.4 | 662.4 | 666 | 651.3 | 731.4 | 752.6 | 743.7 | 710.4 | 717.3 | 753.6 | 782.3 | 804.6 | 772 | 695.3 | 584.6 | 528.6 | 508.3 | 507.2 | 523.4 | 524.9 | 517.2 | 509.3 | 477.8 | 432.6 | 394 | 359.8 | 318 | 336.4 | 295.9 | 165.2 | 111.7 | 81.11 | 57.66 | 43.54 | 39.25 | 83.57
420 | 213.2 | 393 | 2070 | 706.8 | 562.3 | 667.3 | 626.3 | 591.3 | 612.3 | 667.7 | 705 | 701.7 | 656.8 | 636.9 | 673.1 | 720.8 | 739.1 | 704.1 | 650.8 | 558.6 | 520 | 511 | 508.6 | 526.6 | 536.5 | 527 | 511.6 | 492.6 | 452 | 410.8 | 376.4 | 318.6 | 288.9 | 316 | 231.6 | 130.2 | 91.04 | 64.61 | 47.82 | 37.15 | 34.14
425 | 213.4 | 261.9 | 1484 | 1645 | 528.5 | 585.9 | 604.8 | 597.8 | 590.9 | 621.7 | 642.2 | 640 | 614.3 | 594.9 | 607.5 | 652.5 | 664 | 642.7 | 595.7 | 530.8 | 503.3 | 491.9 | 497 | 514.5 | 523.5 | 525.2 | 519.4 | 494.4 | 457.7 | 418.1 | 378.1 | 326.8 | 287.7 | 264.1 | 277.5 | 174.3 | 102.2 | 72.83 | 53.9 | 40.8 | 31.64
430 | 192.1 | 259.7 | 538 | 2705 | 879 | 531.1 | 556.6 | 532.1 | 562 | 588.1 | 610.3 | 607.3 | 574.4 | 550 | 553.3 | 597.8 | 609.7 | 597.6 | 556.9 | 503.5 | 482.9 | 478.9 | 487.7 | 505.1 | 517 | 520.4 | 516.2 | 488.4 | 455.7 | 415.6 | 380.5 | 330.6 | 287.4 | 240.5 | 237.4 | 230.4 | 130.1 | 81.22 | 60.07 | 45.35 | 34.57
435 | 243.4 | 234.1 | 311.1 | 2065 | 2131 | 519 | 528.5 | 514.3 | 522.6 | 560 | 587.1 | 571.9 | 538.8 | 509.8 | 525.6 | 540.7 | 557.5 | 552 | 519.1 | 479.7 | 454.1 | 456.9 | 472.4 | 490 | 501 | 508.4 | 502.5 | 480.9 | 449.1 | 410.5 | 374.9 | 332.7 | 289.5 | 244.5 | 204.3 | 213 | 178.1 | 95.42 | 65.27 | 50.94 | 39.48
440 | 184.9 | 214 | 243.7 | 761 | 3996 | 918.9 | 477.1 | 488.9 | 495.5 | 531 | 535.8 | 533.5 | 500.7 | 474.8 | 472 | 509.8 | 516.6 | 492.7 | 476.9 | 440.9 | 433 | 432.2 | 450.3 | 465 | 479.6 | 487.9 | 482.1 | 464.9 | 437.8 | 403 | 370.2 | 325.8 | 284.6 | 243 | 199.4 | 171.8 | 182.7 | 138.2 | 77.51 | 55.79 | 43.75
445 | 198.9 | 181.7 | 243.6 | 343.2 | 3464 | 2921 | 472 | 451.5 | 465.1 | 483.8 | 507.2 | 510.5 | 472.6 | 440.9 | 446.9 | 454.7 | 466.8 | 456.3 | 435.4 | 407 | 403.4 | 409 | 421.9 | 436.2 | 456.4 | 458.3 | 457.4 | 440.6 | 415.6 | 390.5 | 351.2 | 313 | 278.3 | 237.2 | 198 | 157.9 | 145.4 | 159.6 | 105.9 | 63.67 | 46.47
450 | 190.8 | 235.3 | 225 | 257.8 | 1097 | 5955 | 1085 | 431.8 | 416.7 | 454.6 | 475 | 464.6 | 441.8 | 418.5 | 406.6 | 418.5 | 422.5 | 417.2 | 397.5 | 374.8 | 369.8 | 381.7 | 389.8 | 411.1 | 427.5 | 430.6 | 429.9 | 418.5 | 395.5 | 365.5 | 333.2 | 300.8 | 267.5 | 233.2 | 192.8 | 158.1 | 129.6 | 130.2 | 132.6 | 81.5 | 53.28
455 | 206.5 | 206.6 | 211.6 | 275.6 | 400.9 | 5624 | 4002 | 410.2 | 395.5 | 417.4 | 438.6 | 426.8 | 415.6 | 385.6 | 375.6 | 380.2 | 386.9 | 371.3 | 363 | 343 | 343.6 | 347.4 | 358.4 | 373.6 | 391.3 | 404.3 | 397.6 | 385.5 | 369 | 343.5 | 313.3 | 284.4 | 251.5 | 220.6 | 185.5 | 152.2 | 123.8 | 105 | 119.2 | 110.2 | 64.12
460 | 159 | 161.7 | 205.6 | 243.7 | 309.1 | 1815 | 8705 | 1277 | 368.6 | 388.3 | 388.8 | 401.7 | 392.8 | 355.2 | 344 | 342.2 | 351.6 | 339.5 | 326.5 | 315.9 | 313.1 | 318.7 | 330.4 | 342.5 | 361.6 | 373 | 366.8 | 360.8 | 340.5 | 321 | 287.2 | 259.8 | 236.3 | 208.1 | 177.2 | 149.1 | 120.3 | 100.1 | 92.51 | 110.3 | 88.45
465 | 143.1 | 190.3 | 175.6 | 245.7 | 256.3 | 431.8 | 8146 | 5209 | 371.2 | 353.6 | 364.2 | 361.6 | 352.4 | 332.1 | 312.5 | 314.2 | 313 | 309.7 | 294.4 | 280.9 | 279.3 | 284.9 | 299.4 | 316.1 | 328.3 | 335.2 | 335.9 | 332.5 | 317.9 | 291.7 | 268.4 | 243.4 | 218.5 | 198.3 | 168 | 144.2 | 120.2 | 98.39 | 83.8 | 87.3 | 99.27
470 | 170.5 | 162.6 | 182.5 | 206 | 282.7 | 312.1 | 2401 | 9999.9 | 1509 | 330.1 | 339.6 | 337.6 | 330 | 315.3 | 295.5 | 288.1 | 287 | 277.5 | 261.3 | 250.2 | 248.2 | 258.2 | 268.9 | 278.5 | 293.8 | 304.4 | 303.1 | 304.7 | 289.6 | 266.7 | 247.3 | 225.3 | 203.3 | 183.4 | 157.1 | 134.7 | 116.6 | 99.12 | 83.25 | 75.14 | 83.56
475 | 160.8 | 164.9 | 159.9 | 220.8 | 263.6 | 241.4 | 437.8 | 9999.9 | 6382 | 350.2 | 304.8 | 324.6 | 299.6 | 289.8 | 264 | 272.7 | 260.4 | 250.2 | 242.5 | 227.2 | 227.4 | 231.1 | 242.9 | 254.3 | 268.4 | 274.4 | 280.6 | 273.9 | 260.7 | 246 | 227.1 | 205.8 | 189.6 | 170.8 | 150.3 | 130.1 | 113.9 | 97.59 | 83.95 | 73.18 | 67.57
480 | 144.5 | 147.9 | 155.5 | 186.3 | 261.7 | 252.4 | 257.1 | 2966 | 9999.9 | 1518 | 292 | 292.2 | 283 | 284 | 266.3 | 249.4 | 245.6 | 240.2 | 216.6 | 203.2 | 204.2 | 216.8 | 219.4 | 231.7 | 240.2 | 252.3 | 253.3 | 247.6 | 241.3 | 228 | 211.4 | 192.3 | 179.3 | 163.8 | 147.1 | 129.3 | 114 | 99.35 | 85.05 | 75.83 | 68.48
485 | 137.5 | 135 | 176.4 | 181 | 201.3 | 266.2 | 228.1 | 448.4 | 9999.9 | 6571 | 310.9 | 290.6 | 291.7 | 284.5 | 273.9 | 258.3 | 244.2 | 224.4 | 201 | 189.4 | 187.6 | 191.6 | 204.6 | 212.4 | 221.8 | 232.5 | 236.9 | 235.8 | 225.7 | 214.3 | 203.8 | 186.6 | 176.6 | 162.9 | 150.6 | 133.4 | 119 | 103.1 | 92.34 | 81.1 | 72.27
490 | 125.1 | 136.7 | 162.4 | 180.3 | 181.3 | 270.9 | 247.7 | 239.9 | 3185 | 9999.9 | 1442 | 294.8 | 309.2 | 307 | 295 | 277.4 | 254.4 | 226.8 | 197.4 | 174 | 172.3 | 179.7 | 190.6 | 200.3 | 208 | 216.3 | 222.6 | 222.6 | 214.9 | 209.5 | 197.6 | 186.5 | 178.3 | 169.5 | 159 | 141.7 | 128.9 | 110.6 | 97.65 | 88.4 | 80.55
495 | 153 | 140.1 | 141 | 183 | 184.6 | 259.1 | 258.8 | 224.3 | 459 | 9999.9 | 6198 | 336.7 | 330.6 | 343.8 | 337 | 305 | 275.9 | 230.6 | 186.7 | 165 | 157.9 | 169.2 | 173.9 | 184.4 | 191.7 | 206.7 | 207.6 | 215.9 | 213.8 | 203.8 | 198.9 | 190.4 | 180.4 | 178.1 | 167.9 | 158.6 | 140.8 | 121.8 | 107.9 | 95.73 | 89
500 | 103.9 | 132.5 | 139.2 | 122.9 | 159.2 | 218.8 | 288.3 | 243.8 | 231.1 | 3685 | 9999.9 | 1342 | 337.4 | 374.5 | 364.3 | 335.4 | 296.3 | 234.8 | 183.6 | 159.5 | 148.1 | 153.8 | 162.7 | 173 | 184 | 192.8 | 199 | 205.7 | 207.8 | 202 | 194.3 | 191.1 | 194.4 | 187.6 | 182.9 | 169 | 152.6 | 136.1 | 120.8 | 105.7 | 97.5