## Sheet1
Report date: | 19:20:56, 09/19/2024
Sample: | 1
File name:
Run date: | 19:15:22, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/305.0 | 5358
2 | 225.0/490.0 | 264.9
3 | 250.0/275.0 | 539
4 | 275.0/305.0 | 5712
5 | 310.0/350.0 | 450.4
6 | 315.0/355.0 | 418.6
7 | 320.0/360.0 | 385.7
8 | 320.0/425.0 | 526.7
9 | 325.0/365.0 | 345.5
10 | 325.0/420.0 | 528.4
11 | 330.0/375.0 | 373.1
12 | 335.0/380.0 | 391.4
13 | 340.0/385.0 | 377.2
14 | 345.0/395.0 | 391.5
15 | 350.0/400.0 | 402.3
16 | 355.0/405.0 | 381
17 | 365.0/420.0 | 314.4
18 | 385.0/445.0 | 162.6
19 | 390.0/275.0 | 7.634
20 | 390.0/450.0 | 136.1
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 128.5 | 140.7 | 214.3 | 221.1 | 196 | 110.3 | 58.79 | 47.64 | 85.31 | 431.5 | 268.2 | 116.2 | 306.1 | 9999.9 | 9999.9 | 9999.9 | 70.05 | 28.79 | 21.21 | 13.99 | 11.08 | 8.834 | 7.624 | 8.093 | 6.265 | 6.602 | 5.993 | 5.624 | 5.647 | 5.014 | 5.368 | 5.014 | 5.253 | 5.06 | 4.796 | 5.579 | 6.927 | 7.859 | 7.594 | 5.631 | 5.043
275 | 253.5 | 309.9 | 408.2 | 576.3 | 548 | 335 | 142 | 61.84 | 67.32 | 186 | 539 | 324.3 | 250.2 | 1053 | 9999.9 | 9999.9 | 9477 | 68.59 | 29.46 | 18.75 | 12.96 | 11.12 | 9.458 | 8.555 | 6.806 | 6.162 | 6.39 | 6.306 | 5.332 | 5.959 | 5.278 | 4.789 | 5.23 | 4.63 | 4.839 | 5.007 | 5.471 | 6.646 | 7.634 | 6.551 | 5.543
280 | 431.9 | 481.5 | 636.5 | 869.8 | 916.5 | 681.3 | 331.2 | 130.1 | 107.9 | 156.8 | 372.1 | 736.6 | 486.9 | 487.7 | 1184 | 9999.9 | 9999.9 | 9104 | 68.75 | 27.98 | 18.16 | 14.83 | 11.91 | 9.874 | 8.32 | 6.756 | 7.607 | 6.332 | 5.904 | 5.633 | 5.343 | 4.911 | 5.192 | 5.317 | 5.192 | 4.597 | 4.637 | 5.249 | 6.076 | 6.596 | 6.319
285 | 586.9 | 609.4 | 974.3 | 1358 | 1533 | 1496 | 956.6 | 439.4 | 221.8 | 209.9 | 329.9 | 746 | 1094 | 945.1 | 1042 | 1709 | 9999.9 | 9999.9 | 8476 | 68.83 | 27.64 | 19 | 14.97 | 12.52 | 10.03 | 8.516 | 7.636 | 7.064 | 6.637 | 6.706 | 6.292 | 5.484 | 5.629 | 5.667 | 5.381 | 4.729 | 4.799 | 4.507 | 5.438 | 6.141 | 7.092
290 | 710.5 | 851.8 | 1097 | 1776 | 2589 | 2773 | 2132 | 1033 | 436.8 | 335.3 | 484 | 790.4 | 1544 | 2036 | 2139 | 2226 | 2514 | 9999.9 | 9999.9 | 7783 | 56.38 | 28.27 | 21.23 | 14.33 | 12.42 | 10.72 | 8.918 | 8.295 | 7.571 | 7.254 | 6.828 | 6.214 | 5.842 | 6.071 | 5.685 | 5.105 | 4.897 | 4.684 | 4.798 | 4.845 | 5.92
295 | 799.4 | 1029 | 1408 | 2145 | 3231 | 4157 | 3391 | 1701 | 716.9 | 537.2 | 697.2 | 1084 | 1773 | 2983 | 3594 | 3564 | 3020 | 2332 | 9999.9 | 9999.9 | 7293 | 56.33 | 29.63 | 21.22 | 15.73 | 12.57 | 10.95 | 9.643 | 9.047 | 7.786 | 6.687 | 7.157 | 6.784 | 6.075 | 5.889 | 5.202 | 4.865 | 4.782 | 4.632 | 4.781 | 4.799
300 | 984.4 | 1072 | 1472 | 2342 | 3853 | 5030 | 4419 | 2282 | 1052 | 818.9 | 991.9 | 1449 | 2144 | 3256 | 4771 | 4826 | 3920 | 2201 | 1429 | 9999.9 | 9999.9 | 6844 | 54.39 | 29.74 | 21.15 | 16.42 | 12.79 | 11.58 | 9.562 | 8.49 | 8.027 | 7.477 | 7.498 | 6.498 | 5.876 | 5.967 | 5.714 | 5.422 | 4.485 | 4.67 | 4.582
305 | 960.8 | 1138 | 1508 | 2414 | 3925 | 5358 | 4897 | 2693 | 1420 | 1153 | 1372 | 1779 | 2434 | 3484 | 4843 | 5712 | 4567 | 2537 | 912.7 | 1109 | 9999.9 | 9999.9 | 6507 | 53.28 | 29.55 | 22.32 | 16.36 | 13.1 | 11.51 | 9.763 | 8.444 | 8.155 | 7.879 | 7.464 | 6.688 | 6.645 | 5.493 | 5.581 | 5.158 | 4.717 | 4.631
310 | 928.4 | 1107 | 1466 | 2256 | 3702 | 5148 | 4954 | 2916 | 1753 | 1581 | 1806 | 2095 | 2638 | 3544 | 4725 | 5463 | 5072 | 2815 | 1081 | 468.9 | 958.7 | 9999.9 | 9999.9 | 6637 | 55.03 | 31.47 | 23.2 | 17.7 | 13.5 | 11.2 | 10.31 | 9.147 | 8.803 | 7.79 | 7.478 | 6.803 | 6.079 | 5.163 | 4.987 | 4.702 | 4.848
315 | 873.6 | 1055 | 1380 | 2113 | 3472 | 4738 | 4576 | 2981 | 2035 | 1985 | 2190 | 2436 | 2787 | 3530 | 4531 | 5035 | 4844 | 3238 | 1335 | 551.1 | 275.9 | 920.9 | 9999.9 | 9999.9 | 6309 | 54.42 | 30.5 | 25.03 | 16.79 | 14.05 | 11.47 | 11.17 | 9.111 | 8.392 | 8.281 | 7.384 | 6.201 | 5.699 | 5.02 | 5.028 | 4.952
320 | 862.6 | 962.7 | 1364 | 2030 | 3136 | 4272 | 4194 | 2939 | 2218 | 2344 | 2520 | 2681 | 2852 | 3417 | 4253 | 4756 | 4371 | 3306 | 1782 | 690 | 290 | 189.9 | 871.1 | 9999.9 | 9999.9 | 6515 | 52.64 | 32.62 | 24.34 | 17.81 | 14.37 | 12.2 | 10.07 | 9.49 | 8.565 | 8.073 | 6.848 | 5.787 | 5.392 | 5.291 | 4.497
325 | 776.4 | 962 | 1240 | 1766 | 2713 | 3801 | 3857 | 2850 | 2356 | 2590 | 2761 | 2852 | 2889 | 3335 | 4043 | 4488 | 4156 | 3029 | 2097 | 984.7 | 349.3 | 159.9 | 145.4 | 876.3 | 9999.9 | 9999.9 | 6534 | 54.26 | 32.58 | 24.8 | 18.25 | 14.55 | 12.03 | 10.16 | 9.704 | 7.648 | 7.487 | 6.597 | 5.569 | 5.329 | 4.827
330 | 672.4 | 893.4 | 1169 | 1612 | 2561 | 3567 | 3444 | 2687 | 2409 | 2665 | 2896 | 2920 | 2951 | 3286 | 3893 | 4238 | 3973 | 2973 | 1924 | 1303 | 499.9 | 183 | 107.4 | 130.6 | 866.3 | 9999.9 | 9999.9 | 6765 | 55.26 | 35.05 | 25.74 | 17.52 | 14.91 | 11.99 | 11 | 8.727 | 7.995 | 7.085 | 6.243 | 5.973 | 4.806
335 | 643.3 | 842.7 | 1137 | 1554 | 2434 | 3213 | 3099 | 2512 | 2349 | 2682 | 2870 | 2953 | 2927 | 3185 | 3712 | 4022 | 3816 | 2954 | 1924 | 1133 | 795.1 | 272.6 | 115.8 | 87.9 | 121.5 | 870.2 | 9999.9 | 9999.9 | 7046 | 55.83 | 34.23 | 25.96 | 18.01 | 14.55 | 11.51 | 10.48 | 8.218 | 7.638 | 6.457 | 5.897 | 5.563
340 | 584.6 | 776.1 | 1027 | 1473 | 2291 | 2946 | 2810 | 2312 | 2276 | 2534 | 2804 | 2867 | 2882 | 3102 | 3529 | 3833 | 3621 | 2922 | 1943 | 1030 | 692.9 | 531.2 | 168.4 | 91.36 | 75.44 | 112.7 | 880.1 | 9999.9 | 9999.9 | 7220 | 56.26 | 35.69 | 26.71 | 19.6 | 14.09 | 11.48 | 9.544 | 8.068 | 6.895 | 6.311 | 5.955
345 | 488.1 | 797.1 | 975.8 | 1417 | 2128 | 2602 | 2524 | 2088 | 2089 | 2364 | 2616 | 2715 | 2748 | 2972 | 3357 | 3574 | 3439 | 2817 | 1933 | 1034 | 539 | 515.3 | 373.5 | 122.1 | 77.97 | 70.19 | 115.2 | 886.3 | 9999.9 | 9999.9 | 7513 | 57.56 | 35.85 | 27.1 | 18.6 | 13.44 | 10.52 | 8.89 | 7.765 | 6.586 | 5.997
350 | 506.3 | 640.6 | 918 | 1268 | 1845 | 2380 | 2244 | 1848 | 1899 | 2170 | 2416 | 2527 | 2569 | 2743 | 3120 | 3321 | 3197 | 2662 | 1877 | 1022 | 531.3 | 328 | 450.4 | 277 | 99.38 | 75.66 | 69.92 | 114.8 | 863.4 | 9999.9 | 9999.9 | 7891 | 57.3 | 36.06 | 26.63 | 18.37 | 12.57 | 10.19 | 8.642 | 7.585 | 6.772
355 | 416.5 | 638.1 | 811.4 | 1222 | 1774 | 2066 | 1980 | 1690 | 1721 | 1959 | 2204 | 2351 | 2397 | 2600 | 2896 | 3080 | 2937 | 2475 | 1768 | 1001 | 530.5 | 314.2 | 272.1 | 418.6 | 207 | 94.88 | 78.72 | 76.8 | 119.1 | 899.5 | 9999.9 | 9999.9 | 7837 | 57.11 | 36 | 24.91 | 16.31 | 11.3 | 9.713 | 8.245 | 7.428
360 | 430.6 | 604.3 | 775.2 | 1050 | 1610 | 1963 | 1767 | 1485 | 1550 | 1760 | 2002 | 2130 | 2232 | 2392 | 2648 | 2786 | 2681 | 2268 | 1651 | 954.9 | 533.4 | 326.4 | 231.9 | 273.8 | 385.7 | 171.7 | 98.92 | 87.57 | 77.88 | 126.4 | 869.2 | 9999.9 | 9999.9 | 8353 | 57.61 | 35.1 | 24.03 | 16.24 | 11.35 | 9.582 | 7.682
365 | 400.1 | 507.1 | 703.7 | 975.8 | 1446 | 1693 | 1530 | 1323 | 1406 | 1598 | 1802 | 1955 | 2014 | 2179 | 2413 | 2518 | 2432 | 2063 | 1538 | 894.1 | 526.6 | 339.1 | 248 | 210.1 | 306.7 | 345.5 | 152.4 | 109.7 | 90.74 | 86.81 | 133.1 | 906.7 | 9999.9 | 9999.9 | 8091 | 54.73 | 32.22 | 21.91 | 15.18 | 11.15 | 8.923
370 | 391.9 | 499.7 | 660.4 | 870.2 | 1295 | 1488 | 1346 | 1195 | 1272 | 1480 | 1629 | 1738 | 1831 | 1950 | 2163 | 2239 | 2169 | 1863 | 1403 | 850.3 | 515.9 | 347.4 | 268.6 | 228.8 | 217.1 | 340.3 | 308.8 | 149 | 110.7 | 99.03 | 96.93 | 129.7 | 915.8 | 9999.9 | 9999.9 | 7711 | 50.44 | 30.77 | 20.27 | 14.28 | 9.796
375 | 393.4 | 449 | 630.1 | 780.9 | 1189 | 1351 | 1215 | 1080 | 1132 | 1325 | 1486 | 1572 | 1633 | 1750 | 1917 | 2008 | 1935 | 1677 | 1287 | 793.6 | 512.9 | 362.6 | 292.4 | 255.5 | 236 | 239.8 | 373.1 | 275.7 | 141.8 | 124.8 | 111.4 | 87.68 | 121 | 936.1 | 9999.9 | 9999.9 | 7233 | 49.33 | 29.08 | 19.83 | 13.39
380 | 380.7 | 401.3 | 510.1 | 769.8 | 1020 | 1188 | 1105 | 974.9 | 1075 | 1209 | 1313 | 1403 | 1464 | 1572 | 1702 | 1770 | 1720 | 1489 | 1159 | 747.3 | 507.9 | 377.7 | 318.8 | 289 | 265.9 | 244 | 280.2 | 391.4 | 236.1 | 153.4 | 135.6 | 100.4 | 76.29 | 120 | 919.6 | 9999.9 | 9999.9 | 6791 | 45.71 | 26.47 | 18
385 | 334 | 406.6 | 463.8 | 702.2 | 947.7 | 1108 | 1009 | 892 | 970.9 | 1113 | 1197 | 1285 | 1316 | 1392 | 1487 | 1573 | 1513 | 1335 | 1064 | 718.2 | 504 | 391.9 | 343.8 | 320.3 | 301.7 | 281.1 | 271.8 | 323.1 | 377.2 | 222.4 | 164.5 | 123.3 | 88.79 | 72.84 | 115.2 | 942.5 | 9999.9 | 9999.9 | 6449 | 41.3 | 26.02
390 | 378.4 | 362.5 | 449.5 | 603.6 | 833.5 | 985 | 899.3 | 830.7 | 904 | 996.8 | 1135 | 1151 | 1155 | 1230 | 1325 | 1381 | 1350 | 1200 | 978.5 | 681.5 | 505.5 | 420.5 | 380.3 | 362.9 | 350.9 | 324 | 314.9 | 297.6 | 354 | 365.3 | 221.4 | 153.7 | 113.5 | 85.16 | 67.78 | 111.5 | 880.4 | 9999.9 | 9999.9 | 6299 | 39.89
395 | 822.9 | 353.9 | 456.2 | 584.8 | 797.5 | 864.8 | 874 | 826.1 | 846.2 | 935 | 1029 | 1028 | 1037 | 1073 | 1163 | 1208 | 1210 | 1094 | 905.3 | 657.5 | 514.4 | 448.5 | 414.6 | 406.2 | 400.8 | 379.1 | 357.2 | 336.2 | 321.3 | 391.5 | 337.4 | 193.4 | 141.8 | 104.1 | 78.11 | 61.67 | 103.2 | 927.1 | 9999.9 | 9999.9 | 5719
400 | 1127 | 495.4 | 359.5 | 557.9 | 736.1 | 811.1 | 796.5 | 762.5 | 784.3 | 874 | 941.3 | 934.9 | 928.2 | 961.9 | 1028 | 1070 | 1076 | 996.4 | 839.7 | 644.1 | 526.8 | 469.5 | 447.9 | 446.7 | 438.6 | 427.1 | 408.5 | 379.9 | 342.7 | 338.7 | 402.3 | 289.9 | 175.8 | 128.8 | 94.62 | 69.75 | 55.37 | 102.6 | 868.3 | 9999.9 | 9999.9
405 | 817.2 | 1034 | 364.9 | 481.3 | 646.4 | 788.4 | 730.1 | 711.2 | 742.8 | 801 | 851.5 | 865.9 | 847.4 | 854.8 | 899.2 | 955.5 | 966.7 | 908.7 | 780 | 631.8 | 533.4 | 487.7 | 483.2 | 482.7 | 474.2 | 467.7 | 453.1 | 422.9 | 377.7 | 343.9 | 356.4 | 381 | 245.9 | 155.2 | 117.2 | 81.74 | 60.45 | 49.47 | 92.96 | 822.8 | 9999.9
410 | 379.2 | 1446 | 578.3 | 428.4 | 651.9 | 719.9 | 709.5 | 683.5 | 701.3 | 737.6 | 799.1 | 807.8 | 762.4 | 763.5 | 804 | 860.4 | 868.5 | 823.1 | 737.1 | 608.1 | 538.5 | 498 | 499.5 | 500.9 | 507 | 498.2 | 478.1 | 455.8 | 415.5 | 373.2 | 339.2 | 345.9 | 341.4 | 203.1 | 134.3 | 96.51 | 69.75 | 52.36 | 43.3 | 86.76 | 814.1
415 | 242.3 | 1094 | 1290 | 433.7 | 581.1 | 667 | 674.6 | 627.7 | 691.2 | 703.7 | 734.8 | 732.3 | 709.1 | 692.5 | 733 | 775.9 | 782 | 762.7 | 681.6 | 594.1 | 524.7 | 507.4 | 511.2 | 514.8 | 520.9 | 521.3 | 498.3 | 475.7 | 439 | 393.8 | 355.3 | 317.7 | 335.4 | 292.8 | 162.7 | 112.6 | 80.64 | 59.96 | 45.01 | 38.98 | 82.84
420 | 220.3 | 392.8 | 1994 | 674.2 | 539.2 | 606.4 | 642.3 | 610.5 | 621.4 | 659 | 695 | 682.1 | 653.5 | 634 | 670.8 | 689.4 | 719.7 | 696.4 | 641.7 | 562.9 | 517.2 | 505.1 | 511.6 | 519.2 | 526.1 | 528.4 | 510.2 | 484.5 | 447.6 | 407.3 | 365.1 | 321.9 | 287.1 | 314.4 | 230.8 | 129.5 | 92.17 | 66.48 | 48.39 | 38.33 | 33.61
425 | 224.3 | 256.8 | 1611 | 1701 | 489.7 | 561.9 | 583.4 | 572.8 | 586.8 | 631.8 | 653.3 | 644.4 | 594.1 | 585.8 | 609.7 | 641.8 | 659 | 639.6 | 594.6 | 536.1 | 499 | 494 | 502.2 | 514.6 | 526.7 | 525.4 | 513.2 | 490.5 | 452.1 | 414.9 | 373.3 | 323.9 | 281 | 265.1 | 280.1 | 175.9 | 105.6 | 73.25 | 53.75 | 41.53 | 32.76
430 | 205.1 | 246.9 | 544.6 | 2695 | 791.3 | 540 | 554.5 | 545.9 | 559.4 | 594.2 | 593.8 | 594.7 | 561.8 | 551.8 | 547.4 | 578.8 | 603.9 | 580.6 | 556.8 | 498.6 | 486.4 | 477.5 | 486.6 | 501.9 | 516.3 | 513.2 | 508.1 | 488.3 | 451 | 414.1 | 374.4 | 329.1 | 279.1 | 244.8 | 237.8 | 227.6 | 129.7 | 82.65 | 59.33 | 46.32 | 36.92
435 | 167 | 216.4 | 293.7 | 2216 | 2213 | 530.6 | 527 | 505.2 | 528.8 | 561.5 | 577.3 | 572.4 | 539.1 | 509.4 | 515.2 | 540.2 | 560.8 | 549.3 | 514.8 | 475.6 | 458.1 | 460.5 | 467.2 | 484.3 | 499.3 | 498.5 | 492.9 | 478 | 443.5 | 408.9 | 372.8 | 333 | 286 | 247.2 | 206.8 | 213 | 181.1 | 99.51 | 67.98 | 51.69 | 41.12
440 | 160.4 | 200.9 | 266.9 | 802.6 | 3933 | 922 | 498.3 | 480.4 | 491.6 | 532.2 | 531.3 | 533.7 | 512.4 | 486.9 | 485.1 | 498.6 | 517 | 503.3 | 477.6 | 451.7 | 433.5 | 440.2 | 451.5 | 465.5 | 478.8 | 484.6 | 477.2 | 460.7 | 431.5 | 399 | 366.1 | 326.6 | 285.4 | 243 | 201.8 | 174.4 | 187.4 | 139.5 | 80.03 | 57.6 | 44.87
445 | 196.6 | 215.3 | 224.5 | 309.1 | 3296 | 2812 | 476.8 | 459.8 | 466.4 | 495.1 | 507.8 | 511.4 | 485.3 | 437.3 | 439.3 | 451.1 | 460.8 | 462.7 | 438.5 | 412.5 | 407.1 | 417 | 424.1 | 441.3 | 452 | 460.3 | 454.5 | 440.4 | 423 | 383.3 | 351.3 | 310.3 | 278.9 | 235.9 | 198.9 | 164.4 | 148.8 | 162.6 | 106.6 | 65.24 | 49.05
450 | 230.2 | 206.2 | 234 | 268.2 | 1151 | 5719 | 1046 | 417.9 | 427.8 | 457.5 | 480.1 | 490.5 | 449.3 | 420 | 406.7 | 416.6 | 419.8 | 413.2 | 398.6 | 379 | 375.7 | 381 | 390.7 | 415.1 | 423.6 | 430 | 428.4 | 414.2 | 390.8 | 363.6 | 333.2 | 299.4 | 268.6 | 231.8 | 195.5 | 160.5 | 132.3 | 134.2 | 136.1 | 83.22 | 53.8
455 | 185.2 | 175.5 | 217.9 | 276.1 | 359.5 | 5471 | 3989 | 416.8 | 404.6 | 429.7 | 431.8 | 437.9 | 410.8 | 383.7 | 379.2 | 386.8 | 388.5 | 384 | 364.5 | 344.9 | 349.2 | 350.9 | 362.7 | 378.9 | 390.3 | 398.7 | 395.4 | 384.4 | 365.1 | 343.2 | 316.6 | 283.5 | 250.3 | 218.3 | 192.2 | 156.9 | 128.1 | 110 | 121.9 | 112.4 | 66.37
460 | 158.6 | 167.2 | 231.7 | 291.2 | 295.2 | 1722 | 8713 | 1212 | 378.8 | 398 | 403 | 406.7 | 384.6 | 364.4 | 348.4 | 341.9 | 352.3 | 347.1 | 332.1 | 314.1 | 312.6 | 321.3 | 328.7 | 348.9 | 357.5 | 368.1 | 364.9 | 357.3 | 338.7 | 315.8 | 291.4 | 262.7 | 238.7 | 212.4 | 179.4 | 152.8 | 126.8 | 105.6 | 94.77 | 113.7 | 91.16
465 | 179.3 | 173 | 192.1 | 236.8 | 286.7 | 414.1 | 8140 | 5239 | 376.2 | 369 | 373.3 | 372.8 | 355.2 | 328.5 | 309.9 | 317.3 | 313.2 | 303.7 | 298.8 | 283.4 | 283 | 292.9 | 298.5 | 317.1 | 324 | 337.6 | 337.2 | 324.4 | 314 | 292 | 269.9 | 250.3 | 218.8 | 196.8 | 173.3 | 146.9 | 123.5 | 103.1 | 89.89 | 88.12 | 101.9
470 | 170.9 | 178.8 | 199.3 | 236.7 | 256.8 | 263.8 | 2365 | 9999.9 | 1486 | 343 | 344.7 | 351.1 | 338.6 | 320.2 | 289.6 | 285.8 | 291.1 | 280.8 | 261.7 | 257.6 | 255.5 | 263.9 | 273.8 | 279.3 | 296 | 301.7 | 305.1 | 297 | 284.3 | 268.6 | 246.1 | 223.7 | 206.6 | 188.9 | 163.6 | 140.7 | 120.4 | 101.5 | 88.45 | 78.78 | 84.56
475 | 164.4 | 139.3 | 177.6 | 201.6 | 265 | 258.3 | 425.8 | 9999.9 | 6313 | 354.8 | 314.7 | 310.2 | 307 | 291.9 | 265.5 | 262.6 | 262.3 | 245.4 | 238.3 | 226.6 | 228.1 | 236.5 | 246.6 | 253.5 | 267.9 | 273.8 | 275.7 | 272.5 | 261.6 | 247.8 | 228.3 | 205.4 | 192 | 174.8 | 155.3 | 136.1 | 117.2 | 101.5 | 87.77 | 77.76 | 70.04
480 | 127 | 117.4 | 170.5 | 185.8 | 249.3 | 269.1 | 252.3 | 2979 | 9999.9 | 1537 | 294.2 | 297.1 | 300.5 | 288.9 | 267.9 | 257 | 248.3 | 232.7 | 218.7 | 203.2 | 206.5 | 213.2 | 218.9 | 232.6 | 241.9 | 253.3 | 252.5 | 250.7 | 240.5 | 229.5 | 214 | 196.9 | 179.7 | 167.2 | 153.6 | 135.9 | 117.3 | 101.5 | 88.09 | 76.97 | 68.27
485 | 119.3 | 123.5 | 118.6 | 168.6 | 214.2 | 256.9 | 235 | 438.6 | 9999.9 | 6449 | 323.8 | 295 | 288.2 | 290 | 269.9 | 259.5 | 244.1 | 224.5 | 206.4 | 188.3 | 190.5 | 193.9 | 201.1 | 215.4 | 220.2 | 231.2 | 231.5 | 235.3 | 224.9 | 212.1 | 203.8 | 188.1 | 179.7 | 168 | 153.3 | 137.8 | 123.4 | 109 | 95.92 | 82.03 | 75.51
490 | 137 | 125.5 | 127.3 | 156.3 | 166.4 | 264.9 | 235.3 | 247 | 3189 | 9999.9 | 1425 | 302.5 | 306.3 | 304.2 | 296.2 | 277.9 | 252.4 | 221.6 | 195.8 | 180.8 | 177.2 | 183.5 | 186.1 | 200.7 | 210.6 | 220.7 | 220.1 | 222.4 | 217.5 | 209.2 | 198.4 | 187.6 | 181.4 | 172.4 | 160.8 | 147.7 | 131.9 | 115.6 | 100.3 | 91.07 | 81.82
495 | 112.4 | 120.6 | 120.1 | 145.2 | 182.1 | 252.5 | 251.4 | 236.3 | 454.8 | 9999.9 | 6102 | 331.2 | 332.1 | 348.8 | 327.2 | 297.9 | 272.9 | 222.1 | 187.8 | 167.8 | 161.3 | 167.3 | 174.2 | 186.3 | 194.3 | 205.3 | 210.6 | 211.1 | 207.9 | 204.5 | 197.3 | 192.2 | 186.5 | 181.9 | 173.2 | 156.9 | 142.2 | 130.5 | 111.9 | 100.5 | 90.78
500 | 148.2 | 127.6 | 132.7 | 138.8 | 155.5 | 203.8 | 280.3 | 246.8 | 248.6 | 3622 | 9999.9 | 1316 | 345.6 | 377.6 | 365.5 | 328.2 | 285.8 | 234.9 | 182.5 | 154 | 153.3 | 152.2 | 161.8 | 170.6 | 181.8 | 192.6 | 202.8 | 203.7 | 204.5 | 199.4 | 201.2 | 196.9 | 193.7 | 191.5 | 185.3 | 172.6 | 155.7 | 138.8 | 123.1 | 107.9 | 99.62