## Sheet1
Report date: | 18:45:39, 09/19/2024
Sample: | 1
File name:
Run date: | 18:40:06, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 230.0/330.0 | 2601
2 | 240.0/435.0 | 877.7
3 | 250.0/275.0 | 394.2
4 | 250.0/335.0 | 3029
5 | 255.0/280.0 | 461.7
6 | 275.0/435.0 | 1613
7 | 280.0/330.0 | 3673
8 | 315.0/355.0 | 464.5
9 | 320.0/360.0 | 445.5
10 | 325.0/370.0 | 446.3
11 | 330.0/375.0 | 491.1
12 | 330.0/430.0 | 1224
13 | 390.0/275.0 | 5.762
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 135.1 | 81.06 | 114.3 | 108.1 | 109.5 | 62.49 | 31.91 | 24.53 | 49.43 | 322.3 | 190 | 57.39 | 175.1 | 9999.9 | 9999.9 | 5984 | 43.53 | 18.52 | 12.95 | 9.554 | 7.37 | 6.567 | 6.091 | 5.14 | 4.913 | 4.5 | 4.751 | 4.406 | 4.188 | 4.386 | 3.862 | 3.708 | 4.113 | 3.768 | 3.989 | 3.912 | 5.279 | 6.107 | 5.168 | 4.236 | 3.626
275 | 253 | 207.5 | 204.4 | 315.9 | 329.2 | 208.5 | 83.64 | 31.27 | 31.57 | 118.4 | 394.2 | 184.8 | 112.2 | 848.2 | 9999.9 | 9999.9 | 5576 | 41.92 | 18.39 | 11.31 | 9.608 | 7.634 | 6.638 | 5.444 | 4.803 | 5.162 | 4.537 | 4.451 | 4.766 | 4.268 | 4.218 | 4.548 | 3.755 | 4.161 | 3.657 | 3.609 | 3.965 | 5.165 | 5.762 | 4.988 | 4.326
280 | 399.6 | 318.1 | 433.5 | 573.7 | 599.4 | 439.9 | 171.7 | 55.63 | 45.23 | 60.83 | 210.5 | 461.7 | 236.8 | 238 | 904 | 9999.9 | 9999.9 | 5359 | 39.11 | 17.5 | 11.24 | 10.01 | 7.916 | 6.541 | 5.782 | 5.32 | 5.323 | 5.047 | 4.589 | 4.572 | 4.209 | 4.382 | 4.388 | 4.221 | 4.044 | 3.781 | 3.785 | 4.062 | 4.991 | 5.803 | 5.118
285 | 615.3 | 477.4 | 593.8 | 802.1 | 959.7 | 676.1 | 297.5 | 120.9 | 68.87 | 74.73 | 135.4 | 384.5 | 604.7 | 371.6 | 399 | 1023 | 9999.9 | 9999.9 | 4940 | 37.68 | 15.4 | 12.21 | 9.633 | 7.748 | 6.776 | 6.623 | 5.546 | 5.499 | 4.905 | 4.612 | 4.828 | 4.582 | 4.374 | 4.607 | 3.78 | 4.065 | 3.876 | 3.647 | 4.198 | 4.952 | 5.292
290 | 722.3 | 622.5 | 665.9 | 1023 | 1218 | 1069 | 550.2 | 256.6 | 131.9 | 142.7 | 181.9 | 292.1 | 714.5 | 818.7 | 662.4 | 645.4 | 1172 | 9999.9 | 9999.9 | 4484 | 34.22 | 17.18 | 13.53 | 9.345 | 8.361 | 6.752 | 6.83 | 5.95 | 5.186 | 5.189 | 4.634 | 4.691 | 4.642 | 4.382 | 4.151 | 4.048 | 3.92 | 3.876 | 3.806 | 3.929 | 4.748
295 | 741.7 | 647 | 800.5 | 1142 | 1467 | 1285 | 856.2 | 457.1 | 291 | 254.8 | 319.6 | 425.9 | 618.2 | 1146 | 1181 | 984.7 | 852.4 | 1217 | 9999.9 | 9999.9 | 4163 | 34.12 | 17.62 | 12.95 | 10.4 | 8.905 | 7.275 | 6.671 | 5.786 | 6.012 | 5.285 | 4.833 | 5.315 | 4.874 | 4.64 | 4.437 | 3.943 | 3.598 | 3.558 | 3.409 | 4.021
300 | 918.4 | 785.6 | 940.8 | 1290 | 1541 | 1666 | 1227 | 772.3 | 565.2 | 539.2 | 598.4 | 681.9 | 849 | 1129 | 1766 | 1615 | 1279 | 932.8 | 1183 | 9999.9 | 9999.9 | 4048 | 34.47 | 18.73 | 13.62 | 10.62 | 9.48 | 7.858 | 6.694 | 6.594 | 5.541 | 5.447 | 5.206 | 4.657 | 4.585 | 4.445 | 3.975 | 4.002 | 3.631 | 3.871 | 3.505
305 | 932.1 | 942.6 | 1165 | 1348 | 1755 | 1864 | 1625 | 1181 | 984.9 | 991 | 1057 | 1164 | 1210 | 1431 | 1871 | 2413 | 1976 | 1442 | 934.7 | 1187 | 9999.9 | 9999.9 | 3829 | 34.14 | 19.45 | 14.3 | 11.51 | 9.454 | 7.72 | 7.113 | 6.246 | 6.132 | 5.602 | 5.495 | 5.354 | 4.927 | 4.227 | 3.98 | 4.162 | 3.689 | 3.752
310 | 1092 | 1066 | 1242 | 1438 | 1815 | 2099 | 1969 | 1638 | 1456 | 1538 | 1628 | 1644 | 1646 | 1772 | 2143 | 2676 | 2912 | 2121 | 1420 | 822 | 1035 | 9999.9 | 9999.9 | 3885 | 34.31 | 19.07 | 15.15 | 11.46 | 9.176 | 8.229 | 7.673 | 7.124 | 5.604 | 5.79 | 5.06 | 4.78 | 4.212 | 4.484 | 4.415 | 4.007 | 3.688
315 | 988.9 | 1218 | 1308 | 1528 | 1853 | 2243 | 2291 | 2005 | 1926 | 2045 | 2165 | 2140 | 2036 | 2093 | 2463 | 2910 | 3249 | 2928 | 1910 | 1081 | 496.6 | 878.3 | 9999.9 | 9999.9 | 3670 | 33.85 | 20.96 | 15.05 | 11.75 | 9.269 | 8.015 | 7.781 | 6.683 | 6.371 | 5.333 | 5.366 | 4.56 | 4.538 | 3.941 | 3.874 | 3.812
320 | 1020 | 1195 | 1390 | 1634 | 2003 | 2422 | 2486 | 2252 | 2265 | 2453 | 2600 | 2558 | 2379 | 2379 | 2764 | 3187 | 3418 | 3354 | 2502 | 1318 | 575 | 250 | 804.6 | 9999.9 | 9999.9 | 3868 | 34.65 | 21.28 | 15.98 | 12.05 | 9.516 | 8.021 | 7.428 | 6.832 | 6.032 | 5.34 | 5.342 | 4.381 | 4.427 | 4.117 | 3.997
325 | 1027 | 1243 | 1494 | 1693 | 2117 | 2432 | 2530 | 2388 | 2453 | 2735 | 2889 | 2843 | 2608 | 2598 | 2959 | 3396 | 3583 | 3361 | 2847 | 1632 | 659.1 | 247.4 | 161.9 | 792.5 | 9999.9 | 9999.9 | 4049 | 35.25 | 21.58 | 15.62 | 12.22 | 9.432 | 8.498 | 7.66 | 6.479 | 5.996 | 5.339 | 5.037 | 4.823 | 4.1 | 3.651
330 | 1017 | 1307 | 1525 | 1685 | 2082 | 2508 | 2601 | 2405 | 2499 | 2839 | 3002 | 2982 | 2761 | 2739 | 3046 | 3465 | 3673 | 3411 | 2711 | 1892 | 805.7 | 280.4 | 139.8 | 128 | 780.3 | 9999.9 | 9999.9 | 4070 | 36 | 22.46 | 16.22 | 12.25 | 9.895 | 8.696 | 6.895 | 6.723 | 5.869 | 5.472 | 4.827 | 4.491 | 4.34
335 | 928.8 | 1184 | 1358 | 1660 | 2056 | 2483 | 2520 | 2324 | 2488 | 2806 | 3029 | 3008 | 2807 | 2765 | 3063 | 3479 | 3659 | 3394 | 2640 | 1714 | 1049 | 375.6 | 164.1 | 101.2 | 110.9 | 778.5 | 9999.9 | 9999.9 | 4354 | 37.24 | 23.04 | 17.66 | 13.25 | 9.787 | 8.624 | 7.919 | 6.235 | 5.869 | 4.879 | 4.814 | 4.314
340 | 884.4 | 1185 | 1395 | 1593 | 2062 | 2385 | 2432 | 2246 | 2353 | 2636 | 2891 | 2927 | 2731 | 2774 | 3041 | 3372 | 3544 | 3297 | 2576 | 1567 | 943.8 | 610 | 226.2 | 120.4 | 83.42 | 106.4 | 799 | 9999.9 | 9999.9 | 4599 | 34.9 | 23.14 | 18.23 | 12.69 | 9.296 | 8.378 | 7.598 | 6.138 | 5.492 | 4.728 | 4.643
345 | 748 | 1079 | 1340 | 1613 | 1967 | 2262 | 2245 | 2041 | 2150 | 2470 | 2696 | 2774 | 2637 | 2665 | 2910 | 3221 | 3345 | 3103 | 2441 | 1499 | 805.1 | 617.8 | 423.9 | 163.5 | 102.3 | 81.82 | 111.8 | 795.6 | 9999.9 | 9999.9 | 4783 | 37.93 | 24.18 | 18.28 | 12.43 | 9.773 | 7.779 | 6.392 | 6.117 | 5.159 | 5.01
350 | 722.8 | 1009 | 1247 | 1462 | 1938 | 2126 | 2057 | 1842 | 1964 | 2183 | 2457 | 2568 | 2474 | 2499 | 2753 | 2988 | 3103 | 2861 | 2267 | 1410 | 779 | 466.6 | 510.8 | 318.9 | 142.2 | 101.2 | 86.07 | 115.7 | 794 | 9999.9 | 9999.9 | 5084 | 40.12 | 25.02 | 17.81 | 12 | 8.933 | 7.81 | 6.538 | 5.848 | 4.968
355 | 769.1 | 895.6 | 1135 | 1449 | 1809 | 2046 | 1862 | 1628 | 1701 | 1962 | 2178 | 2289 | 2271 | 2288 | 2548 | 2747 | 2814 | 2614 | 2077 | 1317 | 768.6 | 465.6 | 373.3 | 464.5 | 257.5 | 139 | 110.6 | 93.68 | 121.2 | 820.5 | 9999.9 | 9999.9 | 5064 | 39.99 | 22.62 | 16.94 | 11.35 | 9.152 | 7.031 | 6.547 | 5.475
360 | 596.4 | 813.6 | 1025 | 1266 | 1697 | 1917 | 1673 | 1454 | 1509 | 1732 | 1933 | 2056 | 2029 | 2096 | 2317 | 2494 | 2534 | 2336 | 1879 | 1214 | 737.2 | 489.5 | 365.5 | 368.4 | 445.5 | 229.5 | 151.5 | 120.2 | 99.29 | 129.3 | 793.4 | 9999.9 | 9999.9 | 5474 | 38.69 | 23.97 | 17.53 | 12.26 | 8.96 | 6.69 | 5.851
365 | 592.1 | 797.1 | 895.1 | 1190 | 1524 | 1738 | 1529 | 1310 | 1350 | 1542 | 1722 | 1797 | 1837 | 1921 | 2105 | 2246 | 2272 | 2094 | 1708 | 1123 | 726.3 | 512.8 | 399.9 | 341.6 | 404.3 | 422.4 | 221.8 | 160.5 | 128.9 | 102.6 | 124.6 | 816.4 | 9999.9 | 9999.9 | 5201 | 38.93 | 23.3 | 16.78 | 10.42 | 8.332 | 6.972
370 | 509.3 | 705.4 | 884.1 | 1170 | 1408 | 1548 | 1401 | 1161 | 1198 | 1357 | 1496 | 1591 | 1649 | 1724 | 1898 | 2013 | 2031 | 1888 | 1536 | 1056 | 717.2 | 540.1 | 442.1 | 381.3 | 356.5 | 446.3 | 395.3 | 223 | 169.1 | 137.1 | 102.6 | 124.2 | 841.7 | 9999.9 | 9999.9 | 5140 | 36.73 | 21.7 | 15.09 | 10.07 | 7.557
375 | 503.9 | 585.6 | 814.6 | 947.6 | 1272 | 1394 | 1231 | 1026 | 1059 | 1210 | 1338 | 1412 | 1450 | 1534 | 1695 | 1790 | 1811 | 1696 | 1394 | 1003 | 726.4 | 574 | 494.7 | 441.2 | 403.3 | 391.4 | 491.1 | 372.5 | 231.2 | 181.9 | 144.6 | 111.3 | 131.7 | 859 | 9999.9 | 9999.9 | 5059 | 34.32 | 20.61 | 14.52 | 9.801
380 | 466.2 | 587.1 | 728.2 | 884.1 | 1125 | 1267 | 1137 | 939.5 | 968.9 | 1070 | 1178 | 1243 | 1285 | 1365 | 1529 | 1616 | 1632 | 1531 | 1300 | 956.6 | 736.3 | 610.5 | 550.2 | 506.9 | 477.2 | 438.9 | 445 | 525.5 | 363.1 | 254.2 | 198.3 | 150.4 | 118 | 138.2 | 855.4 | 9999.9 | 9999.9 | 4749 | 32.8 | 18.87 | 13.51
385 | 404.6 | 563.4 | 678 | 889.4 | 1083 | 1167 | 1040 | 865.8 | 900.4 | 965.2 | 1014 | 1107 | 1138 | 1254 | 1367 | 1454 | 1497 | 1419 | 1236 | 953.7 | 760.2 | 656 | 618.6 | 585.1 | 555.7 | 530.2 | 495.7 | 516.4 | 540.5 | 368.3 | 277.2 | 217.9 | 167.3 | 127.6 | 137.6 | 862.1 | 9999.9 | 9999.9 | 4368 | 30.01 | 18.53
390 | 493.5 | 464.7 | 633.1 | 894.9 | 1036 | 1094 | 944.4 | 837.6 | 832.9 | 904.7 | 942.2 | 1017 | 1050 | 1127 | 1262 | 1352 | 1402 | 1350 | 1202 | 956.3 | 810.4 | 727.7 | 701.2 | 674.1 | 655.4 | 633.9 | 593.8 | 564.5 | 585.5 | 565.3 | 389.9 | 300.5 | 237.6 | 174.3 | 123.5 | 132.9 | 824.5 | 9999.9 | 9999.9 | 4321 | 28.71
395 | 825.2 | 486.7 | 612.2 | 721.9 | 927.5 | 1033 | 901.7 | 846.7 | 798.2 | 846.9 | 898.9 | 951.6 | 993.5 | 1070 | 1206 | 1302 | 1358 | 1325 | 1191 | 974.9 | 866.7 | 798 | 772.1 | 772 | 758.5 | 745.3 | 713.8 | 668.6 | 630 | 661.7 | 571.6 | 405.5 | 319 | 240.8 | 164.1 | 108.2 | 120.9 | 854.5 | 9999.9 | 9999.9 | 4012
400 | 1239 | 685.4 | 590.9 | 725.8 | 878.8 | 985.8 | 868.4 | 815.2 | 785.3 | 810.3 | 856.9 | 909.6 | 950.5 | 1026 | 1162 | 1298 | 1342 | 1318 | 1198 | 1018 | 912.6 | 869.9 | 860.8 | 867.5 | 867.1 | 849.9 | 829.3 | 787.3 | 734.4 | 698.2 | 711.1 | 571.4 | 414.7 | 317.7 | 224.6 | 147.5 | 95.24 | 114.4 | 809 | 9999.9 | 9999.9
405 | 1013 | 1321 | 593.8 | 757.5 | 895 | 971.1 | 895.6 | 801.6 | 791.5 | 800.6 | 852.3 | 854.4 | 939.7 | 1040 | 1195 | 1315 | 1375 | 1329 | 1212 | 1048 | 972 | 945.6 | 948.5 | 955.5 | 965.8 | 957.9 | 936.2 | 895.9 | 845.2 | 792.1 | 752.6 | 738.6 | 556.5 | 405.6 | 291.9 | 193 | 125.1 | 83.05 | 103.8 | 769.7 | 9999.9
410 | 511 | 1776 | 809.5 | 720.1 | 870.3 | 927 | 916.8 | 820.9 | 794.8 | 836.4 | 834.8 | 887.4 | 934.9 | 1064 | 1242 | 1354 | 1422 | 1348 | 1224 | 1077 | 1010 | 1004 | 1013 | 1025 | 1050 | 1052 | 1043 | 1008 | 952.7 | 887.2 | 825.6 | 783.6 | 717.8 | 516.5 | 363.9 | 250.6 | 162.9 | 103.1 | 70.74 | 94.85 | 773.8
415 | 356.1 | 1266 | 1554 | 728.8 | 866.3 | 923.7 | 914.7 | 844.6 | 814.5 | 832.3 | 831.5 | 875.2 | 957.2 | 1111 | 1305 | 1447 | 1478 | 1392 | 1243 | 1101 | 1052 | 1044 | 1055 | 1091 | 1117 | 1123 | 1117 | 1090 | 1043 | 981 | 902 | 821.2 | 789.6 | 664.3 | 448.7 | 307.2 | 207.2 | 131.9 | 87.64 | 62.17 | 91.34
420 | 427 | 626.1 | 2422 | 972.5 | 846.4 | 889.8 | 894.6 | 853 | 852.1 | 851.2 | 838.1 | 888.4 | 978.4 | 1151 | 1373 | 1505 | 1534 | 1405 | 1256 | 1107 | 1068 | 1062 | 1085 | 1122 | 1157 | 1173 | 1160 | 1150 | 1105 | 1052 | 973.7 | 887 | 798.8 | 747.7 | 569.2 | 370.1 | 250.5 | 167.8 | 111.5 | 76.33 | 56.57
425 | 348.9 | 424.2 | 1749 | 1970 | 879.9 | 869.7 | 884.8 | 858.2 | 862.6 | 838.5 | 856.5 | 911.9 | 991.8 | 1190 | 1406 | 1545 | 1553 | 1420 | 1238 | 1100 | 1062 | 1071 | 1100 | 1136 | 1177 | 1201 | 1198 | 1183 | 1148 | 1100 | 1023 | 949.9 | 838.4 | 746.4 | 653 | 458.8 | 295.2 | 199.3 | 135.5 | 93.41 | 66.16
430 | 325.6 | 412.3 | 776.9 | 3098 | 1122 | 858.9 | 869.5 | 859.4 | 860.7 | 860.4 | 865.8 | 900.8 | 1016 | 1199 | 1451 | 1605 | 1601 | 1415 | 1210 | 1091 | 1040 | 1061 | 1091 | 1148 | 1186 | 1209 | 1224 | 1202 | 1170 | 1120 | 1056 | 980.2 | 885.3 | 761.9 | 660.9 | 543.8 | 355 | 231.5 | 160.5 | 113.8 | 81.65
435 | 281.6 | 438.4 | 527.6 | 2553 | 2546 | 841.8 | 862.2 | 873.4 | 877.7 | 871.8 | 864 | 916.9 | 1025 | 1215 | 1452 | 1613 | 1593 | 1396 | 1191 | 1059 | 1032 | 1048 | 1080 | 1132 | 1174 | 1202 | 1216 | 1199 | 1169 | 1133 | 1070 | 999.1 | 903.3 | 789.3 | 648.7 | 556.1 | 423.4 | 270.3 | 183.9 | 135 | 97.6
440 | 291.9 | 363.8 | 547.7 | 1071 | 4004 | 1221 | 818.4 | 859.7 | 850.9 | 865.2 | 855.1 | 905.4 | 1010 | 1222 | 1458 | 1591 | 1556 | 1358 | 1136 | 1022 | 982 | 1019 | 1049 | 1096 | 1148 | 1173 | 1184 | 1175 | 1157 | 1120 | 1067 | 995.8 | 912.8 | 807.2 | 671 | 532.8 | 446.4 | 328.4 | 207.8 | 151.1 | 114.1
445 | 302.1 | 369.4 | 530.6 | 547.4 | 3410 | 2996 | 838.5 | 836.7 | 824.4 | 834.9 | 821.2 | 882.7 | 986.1 | 1169 | 1404 | 1546 | 1511 | 1301 | 1089 | 969.2 | 935.8 | 961.5 | 996.1 | 1045 | 1091 | 1129 | 1139 | 1134 | 1109 | 1089 | 1028 | 973.6 | 896.9 | 795.4 | 667.7 | 534.1 | 423 | 352.4 | 251.8 | 171.5 | 128.1
450 | 319.8 | 356.9 | 478.6 | 511.8 | 1340 | 5206 | 1277 | 808.2 | 798.3 | 808.7 | 804.3 | 836.7 | 940.3 | 1129 | 1332 | 1457 | 1432 | 1228 | 1012 | 898.1 | 879 | 909 | 932 | 987.4 | 1026 | 1055 | 1072 | 1081 | 1057 | 1025 | 983.8 | 923.5 | 855.6 | 768.6 | 655.5 | 525.4 | 407.8 | 335.5 | 285.2 | 194.8 | 142.3
455 | 253.9 | 323.8 | 430.5 | 520.8 | 622.9 | 4535 | 3461 | 739.9 | 745.7 | 742 | 738.6 | 796.3 | 895.2 | 1058 | 1249 | 1364 | 1324 | 1133 | 932.2 | 823.1 | 809.2 | 828.5 | 861.5 | 917 | 957.8 | 984.4 | 1001 | 999 | 979.1 | 955 | 919.6 | 868.5 | 803.5 | 732.9 | 621.3 | 509.5 | 396.8 | 310 | 275.4 | 231.6 | 156.7
460 | 259.5 | 312.7 | 407.1 | 460.3 | 590.2 | 1606 | 6386 | 1290 | 678.2 | 691.9 | 706.8 | 732.5 | 826.7 | 978.1 | 1142 | 1249 | 1203 | 1038 | 849.5 | 751.3 | 732.9 | 756.7 | 789.1 | 831 | 872.5 | 899.8 | 915.6 | 925.1 | 902.7 | 881.4 | 844.5 | 802.3 | 748.2 | 680.2 | 591.9 | 480.4 | 383.2 | 300.4 | 246 | 234.3 | 184.2
465 | 222.8 | 261.7 | 335.8 | 467.5 | 473.3 | 597 | 5538 | 3668 | 658.5 | 623.4 | 645.5 | 669.1 | 764.2 | 893.1 | 1036 | 1142 | 1094 | 933.5 | 767.3 | 674.1 | 661.4 | 687.4 | 720 | 745 | 783.8 | 817.2 | 832.9 | 827.7 | 822.9 | 795.1 | 771.6 | 728.4 | 689.9 | 627.9 | 550.8 | 454.9 | 366.2 | 292.9 | 237.7 | 210 | 197.9
470 | 215.4 | 247.9 | 315 | 397.9 | 460.6 | 509.6 | 1730 | 7024 | 1281 | 597.1 | 594.5 | 610.2 | 697.8 | 810.3 | 922.5 | 1016 | 979 | 838.6 | 685.2 | 613.8 | 595.6 | 617.2 | 639.4 | 675.2 | 699 | 731.9 | 741.9 | 754.8 | 742.4 | 720.1 | 695 | 657.6 | 628.2 | 570.4 | 503.6 | 416.7 | 344.7 | 277.7 | 227.7 | 194.3 | 180.6
475 | 205.3 | 237.9 | 273.5 | 351.7 | 452.4 | 457.6 | 590.5 | 6216 | 3962 | 557.9 | 531.7 | 566.3 | 626.4 | 718.1 | 834 | 893.4 | 860.3 | 745.4 | 602.1 | 539.8 | 529.8 | 538.9 | 570.6 | 594 | 628.1 | 646 | 661.7 | 664.4 | 652.7 | 644.6 | 614 | 592.3 | 560.5 | 516.7 | 457.4 | 387 | 318.7 | 262.7 | 219.3 | 184.4 | 159.9
480 | 202.2 | 206 | 235.9 | 282.5 | 407.3 | 435.2 | 446.1 | 1942 | 7475 | 1194 | 498 | 516.8 | 563.7 | 651.5 | 744.6 | 797.6 | 776.3 | 659.2 | 534.8 | 479.1 | 473 | 484.3 | 506.9 | 530.3 | 557.6 | 578.9 | 586.7 | 594.3 | 591.9 | 570.4 | 552.6 | 531.4 | 503.5 | 464.1 | 414.8 | 355.8 | 299.3 | 247.6 | 208.6 | 178 | 154.5
485 | 204.6 | 187.4 | 212 | 284.8 | 349.9 | 423.6 | 383.5 | 535.1 | 6610 | 3971 | 470.2 | 471.1 | 522.7 | 607 | 691.6 | 722.5 | 701.1 | 598.9 | 478.7 | 429.4 | 416.3 | 436.5 | 454.3 | 482.3 | 503.4 | 523.4 | 533.1 | 535.5 | 530.3 | 517.2 | 501.9 | 478.9 | 459.9 | 430 | 386.3 | 336.7 | 284.4 | 237 | 202.9 | 178.1 | 153.9
490 | 166.8 | 181.5 | 205.5 | 243 | 294.9 | 396.8 | 372.2 | 391.1 | 2056 | 7630 | 1067 | 456.4 | 495.6 | 554 | 638.3 | 653.1 | 637.7 | 546.8 | 434.6 | 386.7 | 376.6 | 392.5 | 407.4 | 433 | 459.3 | 469.2 | 484.9 | 479.9 | 481.5 | 476.9 | 457.5 | 440.2 | 421.3 | 399.8 | 359.4 | 315 | 271.3 | 229.4 | 197.2 | 171.8 | 153.4
495 | 180.2 | 173.1 | 184.4 | 257.9 | 265 | 341.7 | 383.5 | 343.5 | 478.6 | 7030 | 3704 | 457.6 | 461.9 | 536.6 | 584.9 | 612.3 | 585.7 | 487.7 | 398.5 | 345.6 | 337.8 | 352 | 367.1 | 387.9 | 402.2 | 425 | 436.7 | 435.6 | 436.8 | 427.9 | 413.6 | 403.9 | 392.5 | 370.3 | 336.2 | 300.8 | 259.3 | 222.4 | 193.2 | 170.6 | 155.2
500 | 130.6 | 142.7 | 165.7 | 223.2 | 255.1 | 304.9 | 366.7 | 329.9 | 344.5 | 2301 | 7503 | 1004 | 457.2 | 505.2 | 546.8 | 575.2 | 530 | 448.6 | 356.9 | 314.4 | 300.9 | 306.6 | 328.2 | 341 | 358.5 | 372 | 387 | 389.4 | 396.7 | 384.9 | 377.1 | 368.6 | 362.3 | 348.2 | 318.3 | 285.5 | 247.9 | 217 | 188.4 | 166.2 | 151