## Sheet1
Report date: | 18:52:19, 09/19/2024
Sample: | 1
File name:
Run date: | 18:46:36, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 230.0/330.0 | 2582
2 | 230.0/420.0 | 923.8
3 | 235.0/435.0 | 883.8
4 | 245.0/425.0 | 886.4
5 | 250.0/275.0 | 383.7
6 | 250.0/335.0 | 3013
7 | 255.0/280.0 | 475.3
8 | 275.0/435.0 | 1584
9 | 280.0/330.0 | 3578
10 | 315.0/355.0 | 468.1
11 | 320.0/360.0 | 441.6
12 | 325.0/370.0 | 441.8
13 | 330.0/375.0 | 485.6
14 | 330.0/430.0 | 1209
15 | 390.0/275.0 | 5.682
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 108.5 | 108.9 | 113.5 | 105.3 | 86.21 | 69.5 | 36.19 | 28.65 | 58.66 | 330.8 | 194.7 | 53.05 | 163.1 | 9999.9 | 9999.9 | 5990 | 42.52 | 18.17 | 12.61 | 8.877 | 8.329 | 7.033 | 6.054 | 5.153 | 4.624 | 4.659 | 4.939 | 4.478 | 4.258 | 4.226 | 3.865 | 4.265 | 3.608 | 3.709 | 3.635 | 4.305 | 4.578 | 5.723 | 5.324 | 3.973 | 3.631
275 | 288.5 | 226.4 | 260.7 | 333.2 | 316.8 | 247.4 | 91.02 | 29.34 | 34.08 | 112.9 | 383.7 | 188.9 | 115.3 | 833.7 | 9999.9 | 9999.9 | 5637 | 40.5 | 17.86 | 11.74 | 9.763 | 7.548 | 6.945 | 5.934 | 5.114 | 5.231 | 4.756 | 4.31 | 4.463 | 4.209 | 4.167 | 4.158 | 3.948 | 3.919 | 3.755 | 4.021 | 3.922 | 4.966 | 5.682 | 5.26 | 3.752
280 | 416.7 | 336.1 | 419.5 | 583.8 | 596.1 | 443.5 | 157.7 | 59.38 | 37.04 | 61.78 | 214.8 | 475.3 | 237.5 | 238.2 | 901.9 | 9999.9 | 9999.9 | 5347 | 38.62 | 16.51 | 12.47 | 10.15 | 7.597 | 6.941 | 6.335 | 5.465 | 5.003 | 4.983 | 4.62 | 4.501 | 4.416 | 3.875 | 4.362 | 4.265 | 4.245 | 3.617 | 3.557 | 4.066 | 4.623 | 5.456 | 4.883
285 | 611.6 | 446.9 | 616.1 | 834.5 | 886.8 | 713.6 | 302.2 | 114.8 | 70.78 | 85.94 | 126.8 | 384.9 | 591.9 | 365.1 | 408.3 | 1035 | 9999.9 | 9999.9 | 4969 | 37.58 | 16.99 | 12.36 | 9.695 | 8.607 | 7.389 | 6.132 | 5.625 | 5.319 | 4.734 | 4.848 | 4.654 | 4.507 | 4.593 | 3.799 | 4.261 | 3.656 | 3.552 | 3.727 | 4.036 | 4.755 | 5.22
290 | 622.9 | 593.4 | 689.2 | 978.8 | 1220 | 1050 | 563.5 | 254.7 | 128.6 | 138.2 | 182.7 | 293.4 | 697.5 | 809.3 | 658.1 | 660.8 | 1185 | 9999.9 | 9999.9 | 4439 | 35.32 | 17.54 | 13.25 | 9.84 | 8.201 | 6.84 | 6.904 | 5.919 | 5.618 | 5.3 | 4.661 | 4.806 | 4.468 | 4.474 | 3.947 | 4.189 | 3.326 | 3.625 | 3.861 | 4.012 | 4.405
295 | 751.3 | 676.8 | 833.5 | 1157 | 1473 | 1391 | 896.4 | 464.9 | 300.6 | 266.2 | 313.2 | 420.7 | 614.6 | 1161 | 1177 | 993.5 | 863.2 | 1215 | 9999.9 | 9999.9 | 4113 | 35.05 | 17.25 | 13.8 | 10.63 | 8.712 | 7.279 | 6.528 | 6.599 | 5.177 | 5.442 | 4.93 | 4.623 | 4.442 | 4.409 | 4.164 | 3.972 | 3.619 | 3.973 | 3.571 | 3.366
300 | 845.6 | 786.8 | 951 | 1323 | 1555 | 1677 | 1213 | 782.7 | 573.1 | 554.6 | 603.3 | 715.6 | 840.1 | 1149 | 1780 | 1622 | 1302 | 929.6 | 1174 | 9999.9 | 9999.9 | 3949 | 34.36 | 18.6 | 13.89 | 10.63 | 8.876 | 7.372 | 7.242 | 6.545 | 5.813 | 5.308 | 5.066 | 5.116 | 4.96 | 4.292 | 3.834 | 4.155 | 3.827 | 3.826 | 3.46
305 | 948.5 | 915.7 | 1170 | 1380 | 1800 | 1968 | 1608 | 1197 | 987.4 | 1005 | 1074 | 1142 | 1207 | 1415 | 1878 | 2436 | 1989 | 1456 | 925.7 | 1191 | 9999.9 | 9999.9 | 3789 | 33.07 | 18.54 | 15.38 | 11.29 | 9.466 | 8.308 | 7.086 | 6.737 | 5.704 | 5.591 | 5.72 | 5.231 | 4.722 | 4.238 | 3.7 | 4.038 | 3.829 | 3.563
310 | 1039 | 1024 | 1223 | 1541 | 1888 | 2109 | 1968 | 1621 | 1452 | 1546 | 1606 | 1633 | 1629 | 1764 | 2163 | 2667 | 2906 | 2097 | 1389 | 830.6 | 1026 | 9999.9 | 9999.9 | 3864 | 34.78 | 20.33 | 14.41 | 11.06 | 8.765 | 8.05 | 7.029 | 6.311 | 6.089 | 5.437 | 5.488 | 4.509 | 4.442 | 4.253 | 4.217 | 4.088 | 3.578
315 | 978.1 | 1220 | 1286 | 1531 | 1897 | 2298 | 2242 | 1996 | 1907 | 2060 | 2176 | 2141 | 2000 | 2101 | 2460 | 2906 | 3274 | 2889 | 1871 | 1063 | 496.8 | 873.3 | 9999.9 | 9999.9 | 3718 | 34.95 | 20.33 | 15.01 | 11.31 | 9.482 | 8.431 | 7.181 | 6.8 | 6.361 | 5.42 | 5.493 | 4.848 | 4.448 | 4.457 | 4.009 | 3.765
320 | 931.7 | 1219 | 1340 | 1633 | 1921 | 2346 | 2418 | 2270 | 2230 | 2490 | 2592 | 2539 | 2338 | 2376 | 2719 | 3151 | 3364 | 3319 | 2456 | 1307 | 560.3 | 240.8 | 795.9 | 9999.9 | 9999.9 | 4025 | 33.45 | 20.62 | 15.7 | 11.77 | 9.285 | 8.049 | 7.295 | 6.537 | 6.413 | 5.074 | 5.075 | 4.383 | 4.156 | 4.098 | 4.129
325 | 968 | 1335 | 1403 | 1646 | 2019 | 2398 | 2549 | 2364 | 2440 | 2710 | 2865 | 2849 | 2603 | 2549 | 2897 | 3353 | 3510 | 3286 | 2793 | 1590 | 642 | 234.9 | 154.7 | 792.2 | 9999.9 | 9999.9 | 3849 | 34.87 | 21.01 | 16.33 | 12.08 | 9.953 | 8.08 | 7.865 | 6.678 | 5.339 | 5.325 | 4.935 | 4.759 | 4.278 | 3.921
330 | 828.9 | 1245 | 1553 | 1650 | 2053 | 2514 | 2582 | 2424 | 2528 | 2807 | 2984 | 2955 | 2689 | 2675 | 2966 | 3389 | 3578 | 3302 | 2632 | 1859 | 777.3 | 266.4 | 129.8 | 125.2 | 780 | 9999.9 | 9999.9 | 4010 | 36.54 | 23 | 16.77 | 12.47 | 9.917 | 8.445 | 7.673 | 6.184 | 5.723 | 5.284 | 4.737 | 4.256 | 4.181
335 | 911 | 1234 | 1444 | 1648 | 1999 | 2418 | 2490 | 2373 | 2475 | 2801 | 3013 | 2947 | 2736 | 2701 | 2976 | 3371 | 3520 | 3278 | 2543 | 1667 | 1033 | 356.9 | 153.8 | 98.93 | 114 | 785.2 | 9999.9 | 9999.9 | 4227 | 34.75 | 22.79 | 16.95 | 12.19 | 10.09 | 9.013 | 7.488 | 6.548 | 5.46 | 5.045 | 4.948 | 4.149
340 | 914.6 | 1187 | 1394 | 1508 | 1958 | 2347 | 2378 | 2215 | 2369 | 2653 | 2871 | 2876 | 2688 | 2659 | 2928 | 3274 | 3395 | 3126 | 2449 | 1517 | 919.7 | 595.9 | 213.2 | 116.1 | 83.71 | 108.1 | 789 | 9999.9 | 9999.9 | 4519 | 37.49 | 23.41 | 17.52 | 12.41 | 10.19 | 8.48 | 6.986 | 5.777 | 5.45 | 4.455 | 4.566
345 | 886.8 | 1084 | 1349 | 1539 | 1959 | 2227 | 2177 | 2025 | 2150 | 2421 | 2684 | 2717 | 2606 | 2575 | 2782 | 3097 | 3204 | 2940 | 2317 | 1431 | 777.3 | 595.5 | 416.8 | 162.1 | 102.9 | 81.67 | 109.8 | 795.4 | 9999.9 | 9999.9 | 4720 | 37.29 | 23.83 | 17.32 | 12.97 | 9.318 | 7.767 | 6.62 | 6.292 | 5.124 | 4.908
350 | 698.4 | 901.8 | 1177 | 1469 | 1798 | 2114 | 2032 | 1823 | 1923 | 2188 | 2389 | 2511 | 2389 | 2414 | 2624 | 2858 | 2924 | 2691 | 2151 | 1339 | 745.7 | 448.4 | 502.6 | 320.7 | 139.9 | 101.5 | 86.08 | 113.9 | 788.6 | 9999.9 | 9999.9 | 4947 | 37.34 | 25.27 | 18.02 | 12.18 | 9.472 | 8.203 | 6.319 | 5.999 | 4.777
355 | 696.3 | 911.6 | 1089 | 1354 | 1744 | 1895 | 1792 | 1633 | 1700 | 1976 | 2166 | 2238 | 2184 | 2189 | 2405 | 2605 | 2653 | 2453 | 1941 | 1241 | 729.8 | 445.1 | 366.6 | 468.1 | 256 | 139.7 | 107.6 | 91.66 | 117.8 | 817.3 | 9999.9 | 9999.9 | 4899 | 38.55 | 24.88 | 16.92 | 11.99 | 8.994 | 7.21 | 6.153 | 5.374
360 | 628.9 | 804.1 | 952.1 | 1225 | 1632 | 1754 | 1616 | 1458 | 1504 | 1715 | 1930 | 1996 | 1992 | 2031 | 2197 | 2370 | 2373 | 2178 | 1759 | 1145 | 716.8 | 465.5 | 352.8 | 365.6 | 441.6 | 229.7 | 148.3 | 119.2 | 99.2 | 126.9 | 791.8 | 9999.9 | 9999.9 | 5303 | 38.4 | 23.56 | 16.24 | 10.96 | 8.984 | 6.724 | 5.907
365 | 515.1 | 764.4 | 925.6 | 1138 | 1448 | 1658 | 1496 | 1282 | 1327 | 1512 | 1683 | 1750 | 1783 | 1825 | 1996 | 2127 | 2133 | 1964 | 1591 | 1066 | 703.7 | 492.6 | 389.9 | 332.1 | 403.9 | 420.8 | 219.1 | 157.8 | 125.5 | 103.3 | 123.2 | 814.8 | 9999.9 | 9999.9 | 5097 | 38.03 | 22.82 | 15.9 | 11.07 | 8.196 | 6.728
370 | 527.1 | 636 | 784.9 | 990.8 | 1372 | 1478 | 1297 | 1149 | 1207 | 1341 | 1487 | 1588 | 1597 | 1661 | 1781 | 1874 | 1919 | 1765 | 1438 | 993.3 | 691.9 | 522.9 | 428.8 | 373 | 348.6 | 441.8 | 388.3 | 220.2 | 165.4 | 131.9 | 104.8 | 125.1 | 823.7 | 9999.9 | 9999.9 | 5000 | 35.53 | 21.38 | 14.96 | 9.771 | 8.057
375 | 421.5 | 563.6 | 812.5 | 905.4 | 1298 | 1306 | 1192 | 1040 | 1051 | 1192 | 1322 | 1394 | 1404 | 1499 | 1599 | 1698 | 1702 | 1582 | 1314 | 940.6 | 695.7 | 552.3 | 477 | 429.1 | 395.5 | 381 | 485.6 | 368.8 | 231.2 | 178.4 | 143.5 | 108.3 | 129.4 | 845.4 | 9999.9 | 9999.9 | 4807 | 33.92 | 20.13 | 13.97 | 9.973
380 | 472 | 552.2 | 712.2 | 871.4 | 1137 | 1201 | 1057 | 899.2 | 945.1 | 1069 | 1165 | 1211 | 1243 | 1319 | 1425 | 1522 | 1538 | 1435 | 1228 | 928.9 | 706.5 | 591.7 | 535.8 | 501.9 | 468.6 | 429.2 | 441.1 | 522.3 | 360.6 | 248 | 196.8 | 152.1 | 118.8 | 135.9 | 848.5 | 9999.9 | 9999.9 | 4579 | 31.7 | 19.58 | 13.06
385 | 440.5 | 526.8 | 639.2 | 844.2 | 1093 | 1100 | 1016 | 864.7 | 873.9 | 968.9 | 1034 | 1083 | 1125 | 1195 | 1306 | 1388 | 1401 | 1349 | 1150 | 914.6 | 733.7 | 646.3 | 598.7 | 569.4 | 548.9 | 513.8 | 482.7 | 513.4 | 536.7 | 365.7 | 273.5 | 214.6 | 167.1 | 124.1 | 138.1 | 854.2 | 9999.9 | 9999.9 | 4261 | 30.29 | 17.51
390 | 503.9 | 476.2 | 640.7 | 763.5 | 949.4 | 1047 | 973.8 | 798.7 | 829.7 | 883.1 | 955.2 | 1003 | 1032 | 1097 | 1206 | 1300 | 1334 | 1285 | 1141 | 919.7 | 783.5 | 716.5 | 678.6 | 662.4 | 644.8 | 615.1 | 586 | 551.3 | 584.8 | 558.3 | 387.8 | 298.8 | 237 | 173.5 | 121.5 | 131.1 | 811.3 | 9999.9 | 9999.9 | 4243 | 28.64
395 | 903.9 | 449.7 | 611.9 | 768.2 | 912.8 | 1050 | 918.3 | 808 | 802.7 | 841.3 | 880.6 | 916.2 | 960.7 | 1023 | 1144 | 1258 | 1291 | 1278 | 1152 | 953.9 | 841.7 | 785.4 | 764.9 | 755.6 | 750.1 | 732.8 | 704.6 | 663.7 | 620.2 | 661.5 | 570.7 | 406.6 | 321.1 | 241.5 | 165.9 | 111.2 | 119 | 840.5 | 9999.9 | 9999.9 | 3895
400 | 1222 | 630.7 | 601.7 | 741.2 | 909.4 | 970.5 | 855.6 | 799.4 | 802.1 | 815.9 | 835.1 | 882.9 | 921.4 | 1010 | 1152 | 1253 | 1295 | 1266 | 1151 | 993.9 | 903.5 | 859.3 | 850.4 | 845.4 | 855.5 | 846.5 | 816.7 | 777.2 | 723.4 | 689.2 | 701.1 | 565.7 | 415.3 | 316 | 220.5 | 147.1 | 94.97 | 113.4 | 798.7 | 9999.9 | 9999.9
405 | 972.3 | 1276 | 581.3 | 734.1 | 870.9 | 979.4 | 865.8 | 810.9 | 781 | 810.5 | 832.4 | 879.7 | 891.5 | 1027 | 1162 | 1278 | 1332 | 1290 | 1182 | 1035 | 958.3 | 927.1 | 934.5 | 943.9 | 949.3 | 946.4 | 932.5 | 899.8 | 843.1 | 781.8 | 747.2 | 727.8 | 560.1 | 404.5 | 292.8 | 193.9 | 123.9 | 82.95 | 103.4 | 767.4 | 9999.9
410 | 464.7 | 1780 | 778.7 | 729 | 831.2 | 938.1 | 883.2 | 831.3 | 794.3 | 817.3 | 826.2 | 868.4 | 927 | 1057 | 1202 | 1341 | 1385 | 1339 | 1223 | 1075 | 998.9 | 983.9 | 1004 | 1015 | 1033 | 1046 | 1025 | 999.6 | 941.5 | 875.8 | 812.8 | 777.3 | 716.4 | 511.5 | 364.2 | 250.3 | 160.5 | 104.3 | 71.43 | 94.32 | 765.6
415 | 350.1 | 1277 | 1582 | 716.8 | 839.4 | 933.6 | 902 | 824.4 | 836 | 823.9 | 829.3 | 879.7 | 943.2 | 1081 | 1266 | 1407 | 1440 | 1367 | 1233 | 1098 | 1036 | 1027 | 1042 | 1074 | 1104 | 1117 | 1106 | 1080 | 1036 | 972.2 | 900.7 | 813.8 | 776.3 | 665.6 | 449 | 310.2 | 205.6 | 136.2 | 90.46 | 62.63 | 91.35
420 | 340.3 | 652.7 | 2442 | 965.8 | 836 | 890.9 | 923.8 | 838.8 | 871.4 | 839.7 | 847.1 | 887.9 | 961.7 | 1134 | 1347 | 1471 | 1496 | 1403 | 1241 | 1109 | 1057 | 1053 | 1076 | 1110 | 1147 | 1159 | 1166 | 1133 | 1099 | 1042 | 973.1 | 880.3 | 796.5 | 746.9 | 565 | 368.6 | 252.2 | 167.9 | 112.1 | 74.96 | 56.9
425 | 336.9 | 409.8 | 1821 | 2015 | 827.7 | 877.8 | 891.8 | 866.7 | 876.7 | 886.4 | 862.4 | 913.1 | 999.9 | 1164 | 1404 | 1529 | 1537 | 1421 | 1239 | 1098 | 1058 | 1065 | 1088 | 1126 | 1171 | 1196 | 1196 | 1182 | 1137 | 1090 | 1021 | 936.6 | 835 | 740.2 | 657.5 | 452 | 293.8 | 198.1 | 136.2 | 95.83 | 66.47
430 | 297.9 | 455.7 | 789.3 | 3248 | 1172 | 880.6 | 863 | 881.4 | 859.8 | 880.8 | 865.7 | 911.9 | 1016 | 1196 | 1417 | 1567 | 1560 | 1403 | 1226 | 1096 | 1039 | 1054 | 1079 | 1132 | 1178 | 1190 | 1209 | 1204 | 1168 | 1119 | 1062 | 976.6 | 871.4 | 762.5 | 659.8 | 544.7 | 353.3 | 232.7 | 163.7 | 117 | 84.84
435 | 285.9 | 377.6 | 540.3 | 2559 | 2599 | 824.7 | 880.1 | 883.8 | 876.6 | 877.4 | 877 | 910.7 | 1031 | 1205 | 1446 | 1584 | 1574 | 1393 | 1184 | 1071 | 1020 | 1041 | 1069 | 1113 | 1168 | 1191 | 1196 | 1203 | 1169 | 1131 | 1074 | 990.1 | 901.4 | 790.5 | 651.1 | 555.3 | 427 | 274.4 | 186.5 | 137.2 | 100.5
440 | 278.5 | 399.9 | 521.7 | 1103 | 4068 | 1253 | 857.3 | 855.5 | 858.1 | 849.3 | 868.5 | 912.8 | 1002 | 1210 | 1437 | 1569 | 1536 | 1356 | 1151 | 1032 | 998 | 1003 | 1038 | 1090 | 1135 | 1172 | 1181 | 1178 | 1149 | 1110 | 1062 | 996.9 | 899.6 | 795.8 | 665.4 | 535.3 | 451.6 | 327.2 | 213.6 | 154.2 | 118.6
445 | 310.3 | 354.8 | 489.9 | 571.4 | 3467 | 2964 | 825.5 | 828.7 | 844.3 | 847.6 | 833.1 | 889.6 | 993.6 | 1171 | 1396 | 1531 | 1491 | 1309 | 1098 | 976.3 | 944.1 | 950.4 | 994 | 1041 | 1088 | 1126 | 1132 | 1124 | 1112 | 1078 | 1027 | 972.7 | 893.8 | 796 | 668.7 | 531.8 | 425.4 | 358.8 | 254.6 | 174.5 | 132.2
450 | 303.8 | 340.1 | 451.6 | 561.1 | 1278 | 5174 | 1287 | 769.7 | 814.8 | 799.6 | 798.5 | 840.3 | 967.2 | 1126 | 1334 | 1452 | 1402 | 1225 | 1030 | 907.5 | 873.8 | 896.1 | 935.8 | 978.7 | 1019 | 1058 | 1060 | 1067 | 1048 | 1016 | 987.7 | 921.6 | 856.2 | 761.1 | 647.9 | 523.5 | 409.6 | 340.7 | 290.2 | 201.8 | 145.2
455 | 275.7 | 296.2 | 375.6 | 531.5 | 636.1 | 4484 | 3420 | 743.2 | 763.9 | 768.3 | 752.3 | 805.2 | 896.8 | 1040 | 1251 | 1348 | 1303 | 1135 | 944.2 | 835.8 | 814 | 829 | 856.6 | 904.6 | 947.2 | 977.7 | 991.5 | 991.6 | 986.3 | 952.1 | 913.5 | 873.9 | 808.6 | 723.6 | 623.3 | 510.6 | 399.7 | 312.8 | 278.4 | 236.2 | 162
460 | 229.8 | 300.4 | 391.8 | 479.2 | 564.4 | 1596 | 6449 | 1267 | 703.8 | 704.2 | 695.8 | 725.9 | 837 | 973.1 | 1150 | 1240 | 1208 | 1050 | 863.6 | 761.9 | 737.5 | 744.9 | 781.7 | 820.2 | 870.7 | 897.2 | 914.7 | 905.6 | 896.4 | 879 | 847.5 | 796.1 | 742 | 680.9 | 592.7 | 483.9 | 383.6 | 303.7 | 250.1 | 238.9 | 188.1
465 | 231.3 | 284.7 | 342.1 | 443.6 | 503.8 | 633.2 | 5550 | 3759 | 653.4 | 659.4 | 656.5 | 678.9 | 786.8 | 892.7 | 1055 | 1120 | 1098 | 942.4 | 785.2 | 687.3 | 667.6 | 689.2 | 710 | 745.6 | 787.3 | 820.3 | 831.4 | 826.6 | 819.5 | 795.1 | 766.3 | 734.5 | 690.6 | 628.5 | 546.9 | 456.4 | 369.1 | 294.6 | 237.5 | 211.6 | 204.5
470 | 190.5 | 265.4 | 318.6 | 434.3 | 504.4 | 516.6 | 1812 | 7105 | 1283 | 588 | 606.9 | 624.2 | 696.6 | 808.4 | 933 | 1007 | 988.2 | 854 | 701.6 | 614 | 597.9 | 612.3 | 627.9 | 666.7 | 696.7 | 727.3 | 743.5 | 741.4 | 731.8 | 715.8 | 691.3 | 657.7 | 626.5 | 571.9 | 501.5 | 422.2 | 345.3 | 284.4 | 230.5 | 196.9 | 182.1
475 | 199.8 | 228.5 | 296.1 | 335 | 430.9 | 443.4 | 579.2 | 6330 | 3965 | 533.1 | 524 | 572.2 | 641.1 | 729.8 | 834.3 | 897 | 878 | 752.3 | 620.6 | 545.5 | 534 | 536.7 | 569.6 | 595.8 | 623.3 | 653.4 | 663.9 | 661.7 | 650.7 | 637.3 | 618.8 | 583.2 | 553.8 | 515.1 | 457.6 | 391.2 | 325.6 | 263.6 | 221.4 | 189.7 | 166.3
480 | 233.8 | 223.2 | 235.5 | 305.9 | 415.8 | 412.2 | 458.7 | 1985 | 7585 | 1197 | 485.2 | 513.2 | 579.4 | 650.1 | 753.6 | 801.3 | 774.3 | 662.6 | 550.7 | 489.6 | 469.9 | 487.4 | 497.3 | 533.7 | 556.3 | 576.4 | 592.3 | 591.1 | 582.3 | 570 | 552.5 | 529.7 | 502 | 466.1 | 422.1 | 360.6 | 296.4 | 249.8 | 210.8 | 181.9 | 159.6
485 | 173.2 | 180.9 | 201.1 | 282.7 | 327.8 | 408.9 | 382.5 | 536.2 | 6681 | 3970 | 472.9 | 482.6 | 538.1 | 603.2 | 692.3 | 728.9 | 694.7 | 603.1 | 498.2 | 436.2 | 426.7 | 433.7 | 454.3 | 476.9 | 500.2 | 520.2 | 528.2 | 534.9 | 529.6 | 517 | 501.3 | 483.8 | 461.9 | 430.6 | 389.8 | 336.4 | 283.7 | 237.1 | 203 | 179.7 | 157.1
490 | 166.2 | 150.2 | 212.1 | 250.9 | 291.9 | 369 | 372.7 | 365.3 | 2056 | 7690 | 1113 | 453.5 | 503.3 | 566.1 | 641.6 | 663.1 | 634 | 549.6 | 449 | 388.3 | 384.1 | 392.8 | 407.2 | 425.8 | 455 | 471.2 | 473.8 | 485.7 | 483.4 | 470.7 | 459.5 | 441.8 | 419.5 | 399.8 | 358.3 | 319.3 | 268.6 | 228.1 | 200.1 | 175.6 | 152.9
495 | 153.5 | 142.2 | 199 | 257.6 | 270.3 | 355.3 | 365.5 | 354.9 | 489.9 | 7039 | 3771 | 440.2 | 466.3 | 534.9 | 589.2 | 613.2 | 581.5 | 500 | 403.9 | 354.3 | 341 | 356.4 | 366.5 | 386.1 | 406.6 | 426.6 | 435.9 | 434.2 | 432.7 | 428.3 | 416.6 | 397.8 | 389.1 | 370.9 | 341.9 | 299.5 | 257.8 | 224.4 | 194.9 | 173.6 | 153.1
500 | 136.7 | 172.5 | 201.8 | 220 | 255.9 | 302.9 | 350.3 | 332.3 | 340.7 | 2315 | 7660 | 995.5 | 445.8 | 504.7 | 569.2 | 571.9 | 543.8 | 452.7 | 360.7 | 311.2 | 299.7 | 310 | 326.5 | 342.2 | 364.2 | 371.6 | 384.9 | 392.1 | 391.2 | 387.7 | 378.7 | 370.1 | 358.1 | 342.9 | 316.1 | 283.8 | 247.4 | 218.8 | 190.8 | 168.8 | 154.1