## Sheet1
Report date: | 18:57:47, 09/19/2024
Sample: | 1
File name:
Run date: | 18:52:17, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 210.0/420.0 | 2381
2 | 215.0/430.0 | 3235
3 | 225.0/410.0 | 864.3
4 | 230.0/330.0 | 2577
5 | 230.0/420.0 | 899.2
6 | 235.0/430.0 | 884.7
7 | 245.0/420.0 | 833
8 | 250.0/275.0 | 391.7
9 | 250.0/330.0 | 2996
10 | 255.0/280.0 | 471.1
11 | 275.0/435.0 | 1522
12 | 280.0/330.0 | 3526
13 | 280.0/430.0 | 1512
14 | 315.0/355.0 | 464.6
15 | 320.0/360.0 | 435.1
16 | 325.0/370.0 | 433.3
17 | 330.0/375.0 | 475.4
18 | 330.0/430.0 | 1193
19 | 390.0/275.0 | 5.538
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 107.3 | 84.88 | 112.4 | 123.8 | 103.2 | 58.06 | 30.66 | 21.95 | 51.58 | 307.8 | 200.3 | 53.66 | 164.3 | 9999.9 | 9999.9 | 6089 | 45.7 | 18.1 | 13.43 | 10.1 | 8.422 | 6.663 | 5.72 | 5.086 | 5.255 | 4.175 | 4.73 | 4.131 | 4.167 | 4.025 | 3.637 | 3.978 | 3.878 | 3.763 | 4.188 | 4.41 | 4.897 | 5.939 | 5.4 | 4.501 | 3.785
275 | 241.8 | 195.1 | 257.2 | 302.3 | 334 | 216.1 | 82.53 | 35.79 | 33.92 | 111.6 | 391.7 | 199.8 | 115.5 | 837.1 | 9999.9 | 9999.9 | 5672 | 42.4 | 17.49 | 13.27 | 9.958 | 7.657 | 6.596 | 5.67 | 5.593 | 4.826 | 4.795 | 4.286 | 4.38 | 4.477 | 3.907 | 3.765 | 4.012 | 4.016 | 4.199 | 3.893 | 4.173 | 5.251 | 5.538 | 4.991 | 3.929
280 | 375.8 | 300.6 | 382.2 | 563.6 | 630.4 | 442.2 | 158.3 | 64.29 | 42.75 | 59.21 | 214.4 | 471.1 | 242 | 244.8 | 914.5 | 9999.9 | 9999.9 | 5397 | 40.27 | 17.28 | 13.07 | 9.422 | 7.387 | 6.409 | 6.083 | 5.712 | 5.378 | 5.086 | 4.657 | 4.44 | 4.431 | 4.252 | 4.389 | 4.134 | 4.188 | 3.613 | 3.789 | 3.986 | 4.515 | 5.652 | 4.968
285 | 610.9 | 522 | 560.8 | 803 | 945.3 | 738.3 | 309.8 | 115.7 | 72.53 | 93.04 | 132.7 | 410.1 | 600.7 | 381.6 | 408.9 | 1024 | 9999.9 | 9999.9 | 4984 | 39.89 | 16.99 | 12.67 | 9.015 | 8.384 | 6.646 | 6.475 | 5.306 | 5.28 | 4.703 | 4.363 | 4.842 | 4.52 | 4.505 | 4.173 | 4.195 | 3.633 | 3.796 | 3.692 | 3.882 | 4.554 | 5.423
290 | 674.6 | 605.2 | 750.8 | 1027 | 1193 | 1057 | 590.4 | 255.7 | 142.3 | 140.1 | 182.2 | 298.8 | 702.6 | 813.8 | 667.5 | 664.5 | 1190 | 9999.9 | 9999.9 | 4514 | 35.02 | 17.06 | 12.06 | 9.526 | 7.486 | 6.925 | 6.035 | 6.522 | 5.541 | 5.433 | 5.067 | 4.693 | 4.564 | 4.387 | 4.303 | 4.108 | 3.658 | 4.126 | 3.943 | 3.857 | 4.122
295 | 777.3 | 621 | 868.1 | 1175 | 1414 | 1398 | 906.4 | 489.4 | 294.2 | 276.4 | 340.5 | 432.4 | 614.6 | 1170 | 1195 | 1032 | 876.4 | 1222 | 9999.9 | 9999.9 | 4172 | 35.53 | 18.2 | 12.54 | 9.667 | 8.519 | 7.301 | 6.609 | 6.077 | 5.543 | 4.951 | 4.748 | 4.888 | 5.015 | 4.233 | 4.473 | 4.185 | 3.557 | 3.746 | 3.729 | 3.616
300 | 766.7 | 845.2 | 979.8 | 1259 | 1623 | 1712 | 1250 | 801.4 | 597.4 | 569.5 | 632.2 | 715.4 | 841.4 | 1145 | 1807 | 1631 | 1321 | 930.3 | 1178 | 9999.9 | 9999.9 | 4002 | 35.58 | 18.58 | 14.13 | 10.39 | 9.031 | 7.814 | 6.5 | 6.233 | 5.6 | 5.255 | 5.127 | 5.287 | 5.125 | 4.431 | 4.058 | 3.838 | 4.052 | 3.606 | 3.271
305 | 937.2 | 1020 | 1128 | 1396 | 1743 | 1958 | 1661 | 1210 | 1002 | 1009 | 1099 | 1142 | 1228 | 1450 | 1914 | 2433 | 1990 | 1432 | 925.1 | 1180 | 9999.9 | 9999.9 | 3785 | 33.3 | 18.49 | 14.69 | 11.33 | 9.38 | 8.48 | 6.412 | 6.306 | 6.103 | 5.605 | 5.901 | 5.457 | 4.635 | 4.414 | 4.013 | 4.026 | 3.348 | 3.619
310 | 990.9 | 1063 | 1237 | 1433 | 1843 | 2094 | 1980 | 1641 | 1496 | 1535 | 1651 | 1656 | 1629 | 1769 | 2163 | 2673 | 2867 | 2086 | 1379 | 802.7 | 1025 | 9999.9 | 9999.9 | 3879 | 34.57 | 19.69 | 15.74 | 11.03 | 9.231 | 7.683 | 7.439 | 6.281 | 6.633 | 5.838 | 5.351 | 4.774 | 4.31 | 4.068 | 3.968 | 4.267 | 3.575
315 | 884.4 | 1169 | 1309 | 1518 | 1901 | 2253 | 2285 | 1996 | 1915 | 2108 | 2183 | 2138 | 2012 | 2095 | 2475 | 2891 | 3241 | 2889 | 1864 | 1050 | 481.5 | 870.4 | 9999.9 | 9999.9 | 3674 | 32.42 | 20.9 | 14.93 | 11.48 | 8.971 | 7.425 | 7.489 | 7.08 | 6.625 | 5.785 | 5.226 | 4.879 | 4.124 | 4.509 | 4.024 | 3.703
320 | 1028 | 1258 | 1388 | 1484 | 1850 | 2358 | 2469 | 2261 | 2286 | 2462 | 2609 | 2557 | 2348 | 2357 | 2702 | 3139 | 3353 | 3285 | 2401 | 1281 | 545.1 | 233.2 | 794.6 | 9999.9 | 9999.9 | 3833 | 34.62 | 20.28 | 15.32 | 12.13 | 9.529 | 7.96 | 7.682 | 6.779 | 6.097 | 5.603 | 5.047 | 4.661 | 4.361 | 4.264 | 3.938
325 | 955.4 | 1278 | 1381 | 1611 | 1925 | 2395 | 2551 | 2395 | 2467 | 2724 | 2917 | 2810 | 2585 | 2518 | 2866 | 3319 | 3502 | 3246 | 2751 | 1571 | 619.3 | 224.2 | 147.6 | 784.8 | 9999.9 | 9999.9 | 3817 | 35.07 | 21.48 | 15.79 | 11.49 | 9.326 | 8.664 | 7.781 | 6.727 | 6.176 | 5.152 | 4.741 | 4.744 | 4.248 | 3.886
330 | 919.7 | 1261 | 1373 | 1563 | 1943 | 2391 | 2577 | 2436 | 2554 | 2792 | 2996 | 2940 | 2674 | 2604 | 2915 | 3327 | 3526 | 3236 | 2574 | 1819 | 761 | 251.8 | 124.1 | 123.9 | 781.1 | 9999.9 | 9999.9 | 3983 | 34.61 | 21.75 | 16.44 | 12.31 | 9.63 | 9.247 | 7.473 | 7.142 | 5.518 | 5.624 | 4.903 | 4.277 | 4.219
335 | 874.1 | 1241 | 1500 | 1537 | 1883 | 2363 | 2401 | 2338 | 2488 | 2754 | 2966 | 2925 | 2724 | 2628 | 2906 | 3280 | 3457 | 3174 | 2464 | 1610 | 1002 | 342.9 | 146.8 | 94.41 | 115 | 777.8 | 9999.9 | 9999.9 | 4207 | 36.93 | 22.12 | 16.68 | 13.47 | 10.33 | 9.135 | 6.951 | 6.282 | 5.783 | 4.92 | 4.662 | 4.211
340 | 800.2 | 1118 | 1314 | 1493 | 1919 | 2324 | 2307 | 2225 | 2313 | 2628 | 2850 | 2868 | 2634 | 2605 | 2848 | 3155 | 3296 | 3038 | 2361 | 1463 | 896 | 583.5 | 206.8 | 114.7 | 80.96 | 106.2 | 784.3 | 9999.9 | 9999.9 | 4381 | 35.68 | 22.2 | 16.91 | 14.1 | 9.749 | 8.515 | 7.35 | 6.276 | 5.28 | 4.712 | 4.447
345 | 719.8 | 964.4 | 1301 | 1336 | 1834 | 2155 | 2111 | 1983 | 2120 | 2400 | 2668 | 2665 | 2511 | 2471 | 2706 | 2967 | 3070 | 2829 | 2218 | 1375 | 735.6 | 580.5 | 406.4 | 155.5 | 102.3 | 81.91 | 108 | 796.5 | 9999.9 | 9999.9 | 4629 | 37.07 | 23.84 | 18.52 | 12.77 | 9.462 | 8.359 | 6.634 | 5.971 | 5.403 | 5.041
350 | 665 | 968.8 | 1219 | 1303 | 1723 | 1994 | 1941 | 1810 | 1883 | 2195 | 2411 | 2443 | 2330 | 2324 | 2505 | 2726 | 2805 | 2590 | 2030 | 1270 | 705.5 | 429.8 | 490.4 | 312.7 | 139 | 102.4 | 84.17 | 116.2 | 787.5 | 9999.9 | 9999.9 | 4919 | 38.66 | 24.41 | 18.34 | 12.46 | 9.329 | 7.891 | 6.005 | 5.769 | 5.222
355 | 620.8 | 886.3 | 1084 | 1227 | 1681 | 1859 | 1793 | 1597 | 1686 | 1962 | 2144 | 2194 | 2125 | 2128 | 2318 | 2491 | 2544 | 2323 | 1829 | 1177 | 684.9 | 421.3 | 355.1 | 464.6 | 253.7 | 137.7 | 106.2 | 90.77 | 117.4 | 811 | 9999.9 | 9999.9 | 4885 | 38.38 | 23.53 | 16.7 | 12.45 | 8.733 | 7.3 | 5.874 | 5.563
360 | 608.2 | 723.8 | 978.3 | 1177 | 1478 | 1657 | 1552 | 1412 | 1474 | 1684 | 1874 | 1947 | 1911 | 1950 | 2093 | 2240 | 2269 | 2077 | 1662 | 1083 | 675.9 | 447.4 | 339.3 | 360.2 | 435.1 | 226.3 | 146.1 | 114.9 | 96.52 | 121.8 | 788.2 | 9999.9 | 9999.9 | 5411 | 38.01 | 24.75 | 16.56 | 11.6 | 8.371 | 7.351 | 6.052
365 | 505.6 | 698.5 | 837.7 | 1050 | 1352 | 1573 | 1423 | 1231 | 1309 | 1497 | 1648 | 1699 | 1730 | 1778 | 1892 | 2015 | 2028 | 1840 | 1485 | 1008 | 668.6 | 473.4 | 372.6 | 327.3 | 389.2 | 411.2 | 212.1 | 155.4 | 123.9 | 99.26 | 124.1 | 816.1 | 9999.9 | 9999.9 | 5266 | 37.19 | 23.57 | 16.29 | 10.71 | 8.678 | 6.46
370 | 471 | 677.6 | 753.7 | 1008 | 1208 | 1430 | 1225 | 1113 | 1170 | 1336 | 1450 | 1527 | 1528 | 1580 | 1691 | 1781 | 1790 | 1644 | 1345 | 935.4 | 652.6 | 497 | 420.3 | 362.9 | 337.4 | 433.3 | 379.6 | 214 | 162.8 | 129.1 | 105 | 123.6 | 835.8 | 9999.9 | 9999.9 | 4990 | 34.58 | 21.84 | 15.06 | 10.67 | 7.702
375 | 508.5 | 557 | 745.3 | 903 | 1080 | 1225 | 1150 | 993 | 1039 | 1176 | 1258 | 1355 | 1358 | 1433 | 1507 | 1596 | 1607 | 1470 | 1236 | 898.2 | 659.3 | 534.2 | 462.6 | 422.6 | 385 | 373.2 | 475.4 | 362.1 | 219.6 | 176.3 | 139.3 | 106.5 | 131 | 846.3 | 9999.9 | 9999.9 | 4819 | 34.39 | 20.61 | 14.61 | 9.716
380 | 443.1 | 586.5 | 619.9 | 865 | 1100 | 1154 | 1043 | 911.6 | 944.7 | 1048 | 1129 | 1198 | 1210 | 1268 | 1356 | 1430 | 1445 | 1349 | 1152 | 872.4 | 677 | 566.5 | 517 | 488 | 449.4 | 419.7 | 434.5 | 505.9 | 350.9 | 244.3 | 195.4 | 150.6 | 116.6 | 137.5 | 846 | 9999.9 | 9999.9 | 4685 | 31.87 | 18.89 | 13.88
385 | 423 | 464.5 | 622.6 | 788.6 | 940 | 1022 | 965.6 | 866.9 | 853.6 | 950.5 | 1017 | 1069 | 1093 | 1142 | 1233 | 1327 | 1335 | 1251 | 1090 | 861.1 | 709.3 | 628.5 | 584.5 | 556.5 | 537.2 | 508.6 | 479.5 | 504.2 | 532.4 | 360.4 | 271.1 | 216.1 | 164.9 | 123.4 | 136.4 | 859.6 | 9999.9 | 9999.9 | 4395 | 29.75 | 18.52
390 | 439.8 | 486.6 | 595.9 | 763.7 | 928.2 | 960.1 | 876.2 | 803.3 | 828.8 | 867.7 | 933.1 | 972.6 | 1005 | 1065 | 1149 | 1246 | 1267 | 1214 | 1093 | 884.5 | 758.5 | 698.5 | 663.1 | 643 | 634 | 603.7 | 576.7 | 548.3 | 578.1 | 557.6 | 385.1 | 297.4 | 236.2 | 174.9 | 122.2 | 131.8 | 817.5 | 9999.9 | 9999.9 | 4246 | 28.53
395 | 856 | 494.1 | 592.9 | 724.3 | 903.4 | 948.8 | 856.3 | 783.8 | 782.3 | 822.7 | 876.6 | 903.4 | 910.6 | 995.1 | 1108 | 1200 | 1237 | 1205 | 1101 | 919.6 | 811.6 | 769.4 | 742.9 | 735.9 | 725.6 | 718.4 | 686.6 | 645.2 | 613.7 | 649 | 563.1 | 399.2 | 314 | 239.3 | 165.8 | 110.9 | 122.2 | 847.8 | 9999.9 | 9999.9 | 3887
400 | 1237 | 602.7 | 554.7 | 698.4 | 853.5 | 906.7 | 837.8 | 763.6 | 766.6 | 808.9 | 848.4 | 857.9 | 887.7 | 963.4 | 1074 | 1187 | 1231 | 1222 | 1132 | 966.4 | 870 | 842.9 | 831.8 | 829.5 | 839.4 | 822.9 | 800 | 770.6 | 722.8 | 677 | 702.2 | 561.3 | 412.4 | 316.6 | 220.8 | 147.6 | 96.19 | 113.6 | 802.7 | 9999.9 | 9999.9
405 | 1060 | 1226 | 520.2 | 672.6 | 802.2 | 837.9 | 843.3 | 800.3 | 785.3 | 796.4 | 833.4 | 846.8 | 872.1 | 985.2 | 1124 | 1225 | 1264 | 1259 | 1158 | 1022 | 935.2 | 906.7 | 905.9 | 918.4 | 930.1 | 936.8 | 910.6 | 879.4 | 831.8 | 773.9 | 739.2 | 730.3 | 557.5 | 402.7 | 287.9 | 194.2 | 125.6 | 83.87 | 103.2 | 773.1 | 9999.9
410 | 504.7 | 1746 | 838 | 679 | 834.1 | 864.3 | 832.2 | 793.6 | 799.7 | 814.2 | 805.1 | 831.3 | 884.2 | 992.1 | 1168 | 1294 | 1344 | 1290 | 1191 | 1056 | 998.5 | 966.4 | 973.9 | 995 | 1013 | 1024 | 1007 | 981.5 | 936.4 | 869.9 | 807.4 | 775.3 | 716.2 | 514.3 | 364.1 | 248.7 | 162 | 106.3 | 73.09 | 97.26 | 769.2
415 | 344.4 | 1345 | 1582 | 649.2 | 792.5 | 848.8 | 872.5 | 811.7 | 814.5 | 825.5 | 826.9 | 857.9 | 905.8 | 1044 | 1203 | 1351 | 1392 | 1329 | 1223 | 1086 | 1022 | 995.4 | 1025 | 1056 | 1074 | 1090 | 1084 | 1056 | 1027 | 964.3 | 897 | 816.2 | 782.5 | 663 | 446.9 | 314.3 | 208.4 | 136 | 91.54 | 65.9 | 94.35
420 | 329.6 | 606.1 | 2381 | 985 | 833.2 | 856.8 | 899.2 | 824.2 | 830.7 | 833 | 824.6 | 866.8 | 964.1 | 1073 | 1273 | 1406 | 1445 | 1372 | 1231 | 1113 | 1044 | 1038 | 1061 | 1094 | 1118 | 1138 | 1137 | 1116 | 1086 | 1030 | 960.8 | 882.7 | 795.9 | 743.9 | 566.4 | 374.4 | 250.2 | 169.5 | 116.6 | 78.99 | 59.53
425 | 316.8 | 436.5 | 1796 | 2033 | 741.5 | 856.6 | 898.3 | 851.3 | 845.1 | 816.6 | 851.5 | 883.3 | 954.9 | 1110 | 1323 | 1457 | 1489 | 1381 | 1242 | 1104 | 1044 | 1038 | 1064 | 1101 | 1138 | 1168 | 1173 | 1159 | 1125 | 1080 | 1014 | 930.8 | 835.1 | 741 | 661.7 | 458 | 300.1 | 204.6 | 142 | 98.59 | 71.79
430 | 320.8 | 396.4 | 785.5 | 3235 | 1108 | 871.8 | 855.6 | 884.7 | 824.3 | 860.9 | 851.8 | 890.5 | 973.5 | 1135 | 1348 | 1503 | 1512 | 1389 | 1218 | 1094 | 1036 | 1035 | 1071 | 1105 | 1142 | 1174 | 1193 | 1178 | 1150 | 1097 | 1046 | 968.2 | 875.3 | 763.4 | 659.2 | 546.2 | 358.6 | 239 | 167.7 | 122 | 89.72
435 | 266 | 383.5 | 472.6 | 2561 | 2532 | 850.8 | 867.5 | 861.3 | 843 | 856.3 | 858 | 882.2 | 984.4 | 1167 | 1375 | 1522 | 1508 | 1388 | 1200 | 1064 | 1018 | 1023 | 1050 | 1093 | 1144 | 1179 | 1183 | 1173 | 1152 | 1113 | 1059 | 985.8 | 892.6 | 782.5 | 650.2 | 561.2 | 433.8 | 276.1 | 195.4 | 143.9 | 107.2
440 | 266.1 | 339.8 | 508.4 | 1049 | 4202 | 1185 | 815 | 841.7 | 836.1 | 849.7 | 839.2 | 863 | 981.2 | 1173 | 1361 | 1500 | 1473 | 1347 | 1159 | 1032 | 988 | 990.6 | 1011 | 1063 | 1112 | 1147 | 1164 | 1157 | 1143 | 1093 | 1046 | 980 | 898.6 | 802.5 | 668.2 | 541.3 | 461.3 | 335.3 | 223.2 | 164.8 | 124.2
445 | 284.3 | 372.2 | 461.2 | 600 | 3437 | 3002 | 827.7 | 832 | 812.1 | 817.2 | 819.5 | 849.7 | 948.6 | 1128 | 1335 | 1455 | 1442 | 1291 | 1099 | 981.4 | 939.5 | 945.4 | 971.5 | 1019 | 1066 | 1096 | 1109 | 1111 | 1095 | 1061 | 1019 | 955.1 | 890.8 | 790.9 | 668 | 536.8 | 434.1 | 370.3 | 265.9 | 183.8 | 139.4
450 | 286.9 | 349.8 | 425.8 | 524.8 | 1362 | 5248 | 1287 | 763.4 | 798.5 | 778.8 | 772.1 | 826.7 | 905.3 | 1070 | 1259 | 1382 | 1359 | 1218 | 1031 | 919.9 | 870.5 | 881.1 | 910.3 | 951.8 | 1007 | 1024 | 1041 | 1049 | 1040 | 1010 | 967.9 | 912.5 | 848.6 | 762.1 | 647.2 | 527.6 | 419.4 | 351.7 | 296.8 | 210.9 | 152.6
455 | 238.9 | 327.6 | 429.4 | 512.3 | 601.9 | 4744 | 3412 | 759.9 | 743.6 | 752.3 | 734.5 | 772.3 | 856.1 | 1019 | 1184 | 1295 | 1261 | 1130 | 953.6 | 846 | 805 | 809 | 840.4 | 879.1 | 931.5 | 954.4 | 981.4 | 981.6 | 967.2 | 940.8 | 908.3 | 852.8 | 798 | 721.3 | 632.4 | 517.8 | 408.8 | 326.2 | 290.5 | 243.9 | 173.9
460 | 261.3 | 304.4 | 420.7 | 437.4 | 522.3 | 1631 | 6417 | 1311 | 661.9 | 679.5 | 673 | 724.7 | 788.6 | 948.3 | 1092 | 1197 | 1161 | 1028 | 862.4 | 766.9 | 749.1 | 745.2 | 767.6 | 803.5 | 848.9 | 876.7 | 891.9 | 899.7 | 882.4 | 870.5 | 830.9 | 794 | 749.1 | 678.3 | 593.7 | 489.1 | 392 | 313.8 | 262.5 | 245.6 | 202.2
465 | 220.1 | 272.9 | 342.5 | 448.2 | 501.4 | 599.2 | 5580 | 3750 | 658.1 | 634.7 | 654.5 | 679.7 | 729.3 | 862.2 | 1005 | 1092 | 1052 | 919.2 | 780.5 | 695.1 | 667.7 | 672.6 | 687.6 | 727.7 | 767.5 | 799.3 | 812.9 | 813.6 | 803.6 | 785.7 | 758.8 | 724.1 | 679.6 | 627.2 | 553.4 | 464.3 | 376.4 | 303.8 | 252.8 | 221.9 | 210.9
470 | 226.8 | 249.7 | 356.2 | 397.3 | 449.9 | 468.1 | 1769 | 7126 | 1288 | 600.2 | 566.7 | 602.5 | 667.4 | 766.9 | 892.9 | 974.8 | 947.7 | 827.3 | 694.3 | 621.6 | 590.6 | 594.4 | 622 | 651.9 | 686.6 | 712.3 | 725 | 728 | 720.3 | 710 | 680.3 | 652.8 | 621.7 | 569.9 | 506.2 | 427.9 | 352.7 | 285.2 | 238.8 | 205.5 | 189.1
475 | 184.2 | 218.3 | 299.7 | 343.4 | 416.5 | 442.6 | 576.4 | 6270 | 4041 | 550.1 | 521.7 | 536.5 | 602.4 | 706.7 | 798 | 866.1 | 843.3 | 731.4 | 617.2 | 549.2 | 528.5 | 527.1 | 552.1 | 575.5 | 614.5 | 637 | 645.9 | 649.4 | 647 | 629.4 | 614.8 | 582.1 | 552.8 | 516.7 | 461.9 | 394.1 | 328.4 | 272.1 | 231.5 | 195.2 | 170.4
480 | 163.3 | 191.5 | 249.5 | 327.4 | 394.6 | 420.6 | 420.6 | 1909 | 7562 | 1235 | 478.7 | 503.8 | 565.1 | 628.9 | 717.2 | 772.3 | 745.7 | 657.5 | 548.4 | 483.6 | 466.7 | 472 | 488.8 | 515.4 | 547.6 | 565.1 | 577.3 | 581.1 | 576.8 | 565.8 | 550.5 | 525.5 | 498.5 | 468.4 | 420.3 | 365 | 308 | 257 | 216.4 | 186.8 | 161.5
485 | 189.6 | 197.8 | 195.5 | 308 | 360.5 | 416.9 | 402 | 541.7 | 6712 | 3998 | 465 | 458.5 | 513.1 | 574.9 | 657.8 | 695.2 | 672.8 | 587.7 | 489.1 | 433.6 | 423.8 | 423.3 | 440.8 | 466.6 | 490.5 | 513.1 | 516.6 | 523.6 | 524.8 | 514.3 | 495.7 | 479 | 453.1 | 424.8 | 389.7 | 336.6 | 290.3 | 245.5 | 209.1 | 181.5 | 160.9
490 | 189.8 | 169.9 | 192.7 | 224 | 318.2 | 382.8 | 381.2 | 383.5 | 2044 | 7755 | 1092 | 433.9 | 481.6 | 550.4 | 616.1 | 641.9 | 616.7 | 544.3 | 449.4 | 395.5 | 380.2 | 382.4 | 400.4 | 418.3 | 437.3 | 458.5 | 472.1 | 479.5 | 477.2 | 465 | 451.1 | 435.2 | 418.7 | 395.6 | 366.4 | 319.1 | 275.6 | 234.2 | 202 | 179.9 | 158.3
495 | 137.9 | 193.8 | 178.5 | 202.6 | 254.9 | 364.7 | 372.2 | 345.1 | 486.7 | 7106 | 3750 | 427.9 | 454.9 | 526.8 | 579.6 | 594.6 | 565.9 | 494.8 | 400.9 | 353.7 | 337.7 | 343.1 | 355 | 378.9 | 392.6 | 409.2 | 424.9 | 430.7 | 424.4 | 423.1 | 413.4 | 396.9 | 386.4 | 366.3 | 335.6 | 296.6 | 261.8 | 226.4 | 196.9 | 172.1 | 156.4
500 | 145.9 | 159.7 | 158.9 | 207.7 | 231.4 | 294.9 | 345.2 | 324.8 | 333.6 | 2273 | 7531 | 982 | 456.8 | 494.9 | 550.8 | 552.4 | 518.4 | 450.4 | 356.4 | 315.1 | 300.7 | 308.5 | 321.1 | 336 | 352.3 | 369.7 | 380.3 | 385.5 | 384.3 | 379.7 | 373.9 | 365.6 | 353.4 | 343.1 | 316.4 | 285.9 | 249 | 215.8 | 192.2 | 171.4 | 154.7