## Sheet1
Report date: | 15:01:24, 09/18/2024
Sample: | 1
File name:
Run date: | 14:55:55, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/310.0 | 2697
2 | 230.0/390.0 | 1374
3 | 235.0/400.0 | 1369
4 | 250.0/275.0 | 321.5
5 | 275.0/310.0 | 4506
6 | 275.0/345.0 | 4772
7 | 280.0/315.0 | 4493
8 | 280.0/340.0 | 4768
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 34.99 | 40.86 | 47.07 | 52.01 | 39.91 | 32.97 | 16.97 | 14.66 | 39.11 | 251.8 | 151 | 38.38 | 67.45 | 5087 | 9999.9 | 2164 | 18.51 | 9.515 | 6.659 | 5.62 | 4.451 | 3.704 | 2.952 | 2.665 | 2.338 | 2.232 | 2.038 | 2.013 | 1.797 | 1.829 | 2.041 | 1.828 | 2.002 | 1.689 | 1.902 | 2.136 | 1.913 | 2.079 | 1.746 | 1.422 | 1.407
275 | 58.79 | 80.06 | 81.32 | 126.2 | 145.9 | 101.8 | 37.79 | 23.16 | 22.88 | 89.87 | 321.5 | 152 | 82.87 | 426 | 6002 | 9999.9 | 1904 | 19.16 | 7.787 | 6.48 | 4.799 | 3.373 | 2.998 | 2.677 | 2.418 | 2.602 | 2.062 | 1.992 | 2.13 | 1.965 | 2.066 | 2.084 | 1.904 | 2.03 | 1.796 | 1.75 | 2.018 | 1.909 | 2.007 | 1.505 | 1.426
280 | 79.61 | 120.9 | 142.4 | 246 | 260 | 212.8 | 99.7 | 45.66 | 35.71 | 50.1 | 181.3 | 397.4 | 198.5 | 193.6 | 557.7 | 5544 | 9999.9 | 1686 | 19.15 | 7.687 | 4.807 | 3.858 | 3.606 | 3.152 | 2.633 | 2.482 | 2.449 | 2.183 | 2.103 | 2.021 | 1.941 | 1.914 | 1.663 | 1.899 | 1.902 | 1.627 | 1.713 | 1.768 | 1.564 | 2.066 | 1.695
285 | 156.6 | 148 | 236.2 | 389.3 | 514.6 | 534.1 | 371.5 | 190.7 | 96.19 | 89.5 | 144.9 | 405.1 | 616.4 | 494.6 | 569.3 | 902 | 6356 | 9970 | 1542 | 18.04 | 6.396 | 4.968 | 4.157 | 3.733 | 3.11 | 2.861 | 2.455 | 2.571 | 2.197 | 1.734 | 2.043 | 2.145 | 1.912 | 1.843 | 1.824 | 1.629 | 1.761 | 1.679 | 1.671 | 1.579 | 2.005
290 | 209.8 | 254.5 | 380.5 | 601.2 | 917.8 | 1183 | 1015 | 505.9 | 234.8 | 191.1 | 255.7 | 452.9 | 965.1 | 1267 | 1380 | 1482 | 1643 | 6819 | 9829 | 1413 | 13.13 | 6.685 | 4.562 | 4.277 | 3.269 | 3.566 | 2.606 | 2.766 | 2.242 | 2.068 | 2.014 | 1.765 | 2.088 | 2.042 | 1.968 | 1.898 | 1.768 | 1.563 | 1.749 | 1.68 | 1.996
295 | 259 | 325.1 | 513.1 | 831.7 | 1356 | 1880 | 1671 | 961.3 | 429.3 | 315.2 | 420.5 | 677.1 | 1139 | 2006 | 2487 | 2571 | 2269 | 1703 | 6535 | 9999.9 | 1242 | 11.97 | 5.742 | 4.525 | 3.928 | 3.138 | 2.888 | 2.7 | 2.468 | 2.625 | 2.05 | 2.147 | 2.299 | 2.061 | 1.849 | 1.893 | 1.98 | 1.649 | 1.618 | 1.636 | 1.719
300 | 290.4 | 429.7 | 565.2 | 958.7 | 1680 | 2361 | 2248 | 1290 | 644.9 | 506.7 | 633.3 | 931.2 | 1478 | 2324 | 3476 | 3610 | 3112 | 1899 | 1026 | 6890 | 9604 | 1122 | 11.95 | 6.419 | 4.535 | 3.671 | 3.447 | 2.857 | 2.848 | 2.718 | 2.203 | 2.025 | 2.437 | 2.629 | 1.925 | 1.669 | 1.756 | 1.876 | 2.011 | 1.731 | 1.87
305 | 324.3 | 368.7 | 671.8 | 1127 | 1852 | 2644 | 2540 | 1609 | 886.9 | 737.7 | 882.8 | 1211 | 1770 | 2604 | 3656 | 4434 | 3779 | 2353 | 937 | 749.4 | 6290 | 9900 | 1078 | 10.76 | 5.992 | 4.628 | 3.99 | 3.648 | 2.853 | 2.868 | 2.696 | 2.495 | 2.204 | 2.345 | 2.009 | 2.071 | 1.965 | 1.811 | 1.752 | 1.923 | 1.836
310 | 353.7 | 420 | 634.8 | 1152 | 1842 | 2697 | 2695 | 1724 | 1112 | 987.8 | 1174 | 1498 | 1996 | 2780 | 3729 | 4506 | 4418 | 2772 | 1240 | 513.5 | 579.1 | 6294 | 9999.9 | 1042 | 9.868 | 5.653 | 4.828 | 3.755 | 3.289 | 3.131 | 2.772 | 2.682 | 2.635 | 2.393 | 2.362 | 2.204 | 1.864 | 1.869 | 1.88 | 1.702 | 1.852
315 | 308.8 | 431.7 | 622.7 | 1107 | 1812 | 2608 | 2658 | 1821 | 1314 | 1262 | 1455 | 1774 | 2206 | 2929 | 3824 | 4443 | 4493 | 3314 | 1605 | 692.6 | 294.8 | 512.2 | 6971 | 9916 | 951.1 | 10.04 | 5.738 | 5.171 | 4 | 3.518 | 2.967 | 2.926 | 2.718 | 2.421 | 2.023 | 2.132 | 2.136 | 1.784 | 2.101 | 1.773 | 1.904
320 | 320 | 420.4 | 594.2 | 1059 | 1689 | 2377 | 2581 | 1874 | 1479 | 1496 | 1732 | 2027 | 2412 | 3048 | 3890 | 4470 | 4378 | 3653 | 2147 | 934.4 | 384.9 | 178.2 | 520.7 | 6060 | 9675 | 1005 | 9.873 | 6.199 | 5.03 | 4.164 | 3.113 | 3.055 | 2.897 | 2.58 | 2.335 | 2.261 | 2.262 | 2.033 | 2.169 | 1.675 | 1.817
325 | 301.5 | 405.2 | 687.8 | 944.4 | 1711 | 2471 | 2387 | 1892 | 1585 | 1705 | 1957 | 2276 | 2616 | 3206 | 3968 | 4506 | 4450 | 3607 | 2614 | 1292 | 510.3 | 217.8 | 128.7 | 446.5 | 5779 | 9999.9 | 970.4 | 10.11 | 6.265 | 5.347 | 3.751 | 3.373 | 3.597 | 3.089 | 2.785 | 2.573 | 2.553 | 1.571 | 1.971 | 1.915 | 1.689
330 | 291 | 420.9 | 645.6 | 963.8 | 1701 | 2251 | 2270 | 1886 | 1634 | 1842 | 2153 | 2475 | 2862 | 3389 | 4092 | 4596 | 4582 | 3785 | 2664 | 1689 | 719.3 | 285.7 | 138.7 | 93.2 | 423.3 | 6537 | 9999.9 | 1059 | 10.43 | 6.39 | 4.844 | 3.708 | 3.723 | 2.901 | 3.001 | 2.315 | 2.111 | 2.063 | 2.03 | 1.854 | 1.795
335 | 205.7 | 408.9 | 603.2 | 967 | 1639 | 2241 | 2175 | 1808 | 1669 | 1928 | 2283 | 2651 | 3053 | 3568 | 4223 | 4700 | 4711 | 4010 | 2852 | 1685 | 1076 | 420.3 | 187.9 | 105.9 | 89.59 | 475.6 | 6185 | 9999.9 | 1059 | 10.02 | 5.748 | 4.823 | 4.212 | 3.549 | 3.046 | 2.505 | 2.658 | 2.318 | 2.044 | 1.886 | 1.816
340 | 243 | 306 | 565.2 | 965.3 | 1582 | 2145 | 2105 | 1731 | 1654 | 1922 | 2324 | 2739 | 3153 | 3710 | 4340 | 4754 | 4768 | 4157 | 3089 | 1745 | 1069 | 714.2 | 284.1 | 158.3 | 108.1 | 100.7 | 460.6 | 6628 | 9999.9 | 1067 | 9.718 | 6.672 | 5.119 | 4.228 | 3.518 | 3.017 | 2.589 | 2.312 | 2.189 | 1.786 | 1.928
345 | 273.6 | 347.4 | 562.8 | 927.6 | 1555 | 2050 | 1940 | 1635 | 1648 | 1910 | 2316 | 2788 | 3222 | 3763 | 4362 | 4772 | 4758 | 4213 | 3173 | 1868 | 1040 | 775.7 | 523.7 | 234 | 159.9 | 118.4 | 101.3 | 488.7 | 6363 | 9999.9 | 1049 | 9.521 | 6.839 | 5.346 | 4.183 | 3.101 | 3.13 | 2.707 | 2.492 | 2.015 | 1.785
350 | 220.9 | 344.7 | 533.2 | 875.7 | 1509 | 1941 | 1833 | 1551 | 1530 | 1855 | 2285 | 2735 | 3206 | 3765 | 4267 | 4638 | 4685 | 4210 | 3199 | 1934 | 1116 | 685.5 | 647.6 | 429.7 | 224.4 | 162.6 | 112.4 | 99.28 | 463.5 | 6332 | 9999.9 | 1063 | 10.71 | 7.051 | 5.463 | 4.117 | 2.995 | 2.815 | 2.471 | 2.004 | 1.94
355 | 211.5 | 302.9 | 474.7 | 852.8 | 1389 | 1856 | 1669 | 1465 | 1460 | 1769 | 2149 | 2609 | 3104 | 3659 | 4168 | 4503 | 4510 | 4072 | 3194 | 1978 | 1184 | 749.5 | 564.2 | 607 | 370.3 | 221 | 152.1 | 101.6 | 90.07 | 465.2 | 5901 | 9999.9 | 1107 | 9.947 | 6.402 | 4.906 | 3.581 | 3.178 | 2.678 | 2.001 | 2.178
360 | 227.6 | 274 | 443.8 | 801.8 | 1302 | 1682 | 1587 | 1343 | 1380 | 1659 | 2041 | 2500 | 2983 | 3481 | 3970 | 4258 | 4313 | 3925 | 3141 | 2018 | 1283 | 837.3 | 597.2 | 534.7 | 573.6 | 322.9 | 197.1 | 132.9 | 88.34 | 83.63 | 427.3 | 6034 | 9999.9 | 1128 | 11.41 | 6.204 | 5.046 | 3.523 | 2.855 | 2.335 | 2.25
365 | 218.1 | 284.2 | 428.1 | 814.1 | 1256 | 1575 | 1528 | 1283 | 1326 | 1576 | 1903 | 2336 | 2809 | 3283 | 3737 | 4001 | 4070 | 3764 | 3047 | 2063 | 1374 | 941.4 | 680.2 | 537.6 | 548.2 | 512.4 | 269.9 | 170 | 115.3 | 79.66 | 75.88 | 437.7 | 6572 | 9999.9 | 1167 | 10.3 | 6.01 | 4.458 | 3.364 | 2.502 | 2.46
370 | 185.6 | 314.1 | 477.7 | 736.4 | 1110 | 1494 | 1397 | 1246 | 1249 | 1522 | 1789 | 2177 | 2602 | 3073 | 3456 | 3753 | 3841 | 3621 | 3023 | 2139 | 1494 | 1076 | 789.7 | 615.5 | 507.3 | 537.1 | 429.3 | 224 | 145.3 | 104.9 | 74.69 | 72.89 | 473.5 | 6466 | 9999.9 | 1075 | 9.506 | 6.161 | 4.234 | 3.155 | 2.617
375 | 204.9 | 328.8 | 466.5 | 723.6 | 1122 | 1334 | 1395 | 1227 | 1265 | 1402 | 1686 | 2033 | 2410 | 2817 | 3199 | 3496 | 3659 | 3506 | 3050 | 2261 | 1671 | 1248 | 927.7 | 711.5 | 565.1 | 477 | 516.8 | 363.9 | 193.6 | 138.2 | 100.2 | 68.76 | 71.61 | 470.2 | 6943 | 9999.9 | 1024 | 8.849 | 5.849 | 4.266 | 3.234
380 | 232.5 | 309.5 | 439.6 | 611.7 | 1079 | 1303 | 1341 | 1292 | 1263 | 1371 | 1564 | 1839 | 2185 | 2584 | 2961 | 3260 | 3502 | 3462 | 3094 | 2418 | 1879 | 1443 | 1080 | 823.3 | 649.4 | 522 | 457.7 | 488.1 | 299.8 | 181 | 133.4 | 96.13 | 68.48 | 73.67 | 498.1 | 6520 | 9999.9 | 921.1 | 8.659 | 5.083 | 3.728
385 | 219.3 | 372.8 | 462 | 675.6 | 1001 | 1269 | 1360 | 1321 | 1307 | 1313 | 1466 | 1710 | 1983 | 2314 | 2744 | 3066 | 3355 | 3410 | 3182 | 2595 | 2084 | 1643 | 1256 | 944.1 | 737.2 | 588.8 | 483.7 | 455.2 | 450.1 | 266.2 | 180.7 | 132.4 | 96.04 | 66.37 | 74.2 | 475.6 | 6006 | 9262 | 869.5 | 7.942 | 5.234
390 | 502.6 | 356.3 | 523.6 | 662.8 | 975.3 | 1213 | 1374 | 1361 | 1324 | 1278 | 1372 | 1538 | 1791 | 2105 | 2497 | 2879 | 3215 | 3395 | 3237 | 2773 | 2299 | 1839 | 1427 | 1075 | 839.9 | 680.8 | 564.5 | 469.2 | 459 | 419 | 249.9 | 175.3 | 134.2 | 94.93 | 65.59 | 69.67 | 431.7 | 5467 | 8799 | 806 | 8.102
395 | 1705 | 374.9 | 511.4 | 725.4 | 938.8 | 1217 | 1356 | 1347 | 1321 | 1230 | 1286 | 1415 | 1632 | 1896 | 2285 | 2701 | 3053 | 3315 | 3269 | 2883 | 2444 | 2000 | 1560 | 1192 | 941.4 | 771.9 | 641.6 | 539.4 | 451 | 470.7 | 384.1 | 234.4 | 172 | 130.1 | 87.74 | 59.9 | 62.64 | 404.7 | 5142 | 7936 | 829.8
400 | 2601 | 899.8 | 495.7 | 625.6 | 935 | 1215 | 1313 | 1369 | 1323 | 1199 | 1185 | 1293 | 1467 | 1742 | 2105 | 2509 | 2929 | 3236 | 3220 | 2934 | 2558 | 2121 | 1668 | 1291 | 1039 | 862.1 | 717.7 | 612.9 | 510.4 | 443.5 | 466.7 | 345.9 | 227.7 | 166.9 | 121.2 | 80.78 | 53.32 | 59.21 | 370.3 | 4767 | 8133
405 | 1570 | 2532 | 534.5 | 622.9 | 856.1 | 1114 | 1299 | 1340 | 1268 | 1146 | 1128 | 1182 | 1324 | 1565 | 1918 | 2330 | 2768 | 3067 | 3142 | 2901 | 2578 | 2178 | 1731 | 1360 | 1105 | 924.1 | 783.4 | 677.8 | 560.2 | 475.8 | 437.4 | 449 | 309.1 | 211.3 | 150.1 | 104 | 71.03 | 49.26 | 53.01 | 340.8 | 4425
410 | 477.7 | 3234 | 1042 | 597.1 | 786.4 | 1061 | 1305 | 1292 | 1223 | 1102 | 1059 | 1095 | 1204 | 1429 | 1756 | 2139 | 2587 | 2916 | 2982 | 2824 | 2541 | 2157 | 1743 | 1393 | 1144 | 973.4 | 842.3 | 726.2 | 612.8 | 514.8 | 445.3 | 436.2 | 419.5 | 268.7 | 183.6 | 130.8 | 89.14 | 60.75 | 42.24 | 48.13 | 317
415 | 252.8 | 1835 | 2660 | 586.6 | 781.7 | 917.1 | 1202 | 1212 | 1173 | 1056 | 995.2 | 1031 | 1111 | 1298 | 1599 | 1955 | 2382 | 2704 | 2813 | 2689 | 2427 | 2106 | 1711 | 1391 | 1150 | 998.5 | 859.5 | 751 | 637.3 | 547 | 472.2 | 418 | 424.7 | 366.9 | 228.1 | 157.4 | 112.8 | 76.23 | 52.38 | 35.32 | 43.02
420 | 224.7 | 566.5 | 3387 | 996.7 | 702.9 | 921.7 | 1104 | 1135 | 1131 | 991.5 | 937.6 | 949.4 | 1013 | 1167 | 1439 | 1793 | 2148 | 2467 | 2579 | 2474 | 2279 | 1985 | 1651 | 1345 | 1135 | 979.8 | 873 | 762.9 | 655.7 | 567.8 | 495.3 | 431.1 | 392 | 402.6 | 304.7 | 186.1 | 131 | 93.45 | 63.29 | 45.11 | 30.41
425 | 225.4 | 289 | 2115 | 2573 | 666.7 | 816.5 | 1004 | 1083 | 1033 | 933.2 | 841.9 | 880.6 | 928.4 | 1048 | 1308 | 1619 | 1947 | 2243 | 2353 | 2270 | 2091 | 1840 | 1551 | 1285 | 1096 | 962.9 | 859.2 | 756.7 | 658.1 | 579.4 | 505.3 | 449.2 | 397.3 | 362.6 | 357.3 | 241 | 152.5 | 107.2 | 76.36 | 52.54 | 37.85
430 | 154.9 | 297.9 | 740.2 | 3302 | 1023 | 759.5 | 914.2 | 1003 | 949.9 | 862 | 799.8 | 831.6 | 853.2 | 982.1 | 1191 | 1470 | 1770 | 2004 | 2122 | 2074 | 1929 | 1702 | 1447 | 1207 | 1041 | 926.4 | 835.6 | 743.3 | 652.4 | 582.2 | 513.1 | 460 | 407.1 | 349.6 | 328.7 | 299.3 | 186.4 | 123.6 | 89.48 | 63.77 | 44.98
435 | 171.2 | 232.1 | 358.8 | 1991 | 2396 | 700.1 | 834.8 | 907.6 | 888.6 | 802.6 | 750.8 | 781 | 796.8 | 899.4 | 1100 | 1327 | 1605 | 1811 | 1897 | 1852 | 1747 | 1558 | 1340 | 1142 | 991.7 | 887.7 | 813.7 | 720.5 | 643.4 | 570.5 | 510.3 | 463.1 | 413.2 | 355.5 | 302.6 | 290.1 | 242.5 | 144.5 | 101.6 | 72.15 | 53.88
440 | 171 | 210.1 | 300.6 | 695.2 | 3196 | 1004 | 748.2 | 836.7 | 832.1 | 760.7 | 706.2 | 737.7 | 735.4 | 832.9 | 985.8 | 1209 | 1442 | 1628 | 1700 | 1668 | 1579 | 1409 | 1228 | 1043 | 935.8 | 843.1 | 762.2 | 694.5 | 622.8 | 557.4 | 504.2 | 454.7 | 411.2 | 360.4 | 304.7 | 258 | 252.4 | 186.5 | 114.3 | 82.18 | 61.85
445 | 171.6 | 225.4 | 274.7 | 324.7 | 2082 | 2230 | 686 | 767.3 | 742.8 | 690.1 | 668.1 | 678.1 | 692.8 | 739.9 | 880.7 | 1082 | 1279 | 1423 | 1497 | 1474 | 1392 | 1266 | 1108 | 968.2 | 858.5 | 781.2 | 725.2 | 664.1 | 591.9 | 542.5 | 487.1 | 446.2 | 406 | 355.9 | 306.9 | 251.8 | 218.6 | 210.8 | 146.8 | 92.13 | 70.41
450 | 137.4 | 162.8 | 256 | 312.2 | 689.9 | 3361 | 993.5 | 674.4 | 684.2 | 643.2 | 619.5 | 619.9 | 635.5 | 675.2 | 799.3 | 967.6 | 1136 | 1267 | 1315 | 1291 | 1219 | 1124 | 990.7 | 865.8 | 783.9 | 727.1 | 672 | 620.1 | 567.2 | 509.2 | 467.5 | 427.8 | 389.5 | 349.9 | 303.5 | 252.1 | 204.2 | 188.1 | 179.1 | 115.4 | 80.54
455 | 103.9 | 156.4 | 195.7 | 244.9 | 352.7 | 2369 | 2246 | 597.7 | 605.9 | 572 | 569.9 | 582.2 | 583.5 | 627.6 | 737 | 854.8 | 987.5 | 1090 | 1139 | 1110 | 1069 | 979.9 | 877.7 | 785.8 | 715.7 | 667.3 | 619.4 | 580.5 | 528.1 | 481.5 | 440.9 | 408.5 | 372.3 | 338.8 | 298.7 | 247.4 | 204.4 | 168.7 | 169.7 | 147.6 | 94.09
460 | 132.5 | 186.4 | 199.8 | 236.6 | 287.9 | 768.2 | 3306 | 846 | 549.9 | 517.5 | 523.3 | 521 | 535.6 | 565.7 | 637.3 | 756.4 | 872.9 | 954.4 | 987.4 | 971.8 | 935.7 | 866.6 | 776.1 | 698 | 643.4 | 606.8 | 569.1 | 532.2 | 492.6 | 453.4 | 413.2 | 386.7 | 356.7 | 322.5 | 287.5 | 243.6 | 202.8 | 167.6 | 147 | 153.3 | 126.5
465 | 126.3 | 132.7 | 182.2 | 223.9 | 268.5 | 371.8 | 2377 | 2018 | 501.9 | 479.3 | 466.2 | 478.1 | 483.2 | 522.1 | 582.1 | 664.8 | 758.3 | 827.9 | 854.1 | 833.5 | 799.9 | 752.8 | 685.7 | 619.3 | 580.4 | 548.5 | 520.5 | 489.9 | 458.6 | 419.2 | 387.4 | 359.3 | 333.2 | 307.5 | 274.4 | 237.6 | 201 | 169 | 145.7 | 137.8 | 143.5
470 | 81.02 | 119.2 | 164.2 | 206.6 | 218.1 | 275.2 | 780.8 | 3186 | 796.8 | 447.4 | 433.4 | 440.8 | 454.9 | 470 | 519.9 | 593.7 | 670.6 | 707.8 | 728.4 | 711.9 | 695.5 | 658.9 | 604.8 | 552.7 | 524.2 | 495.5 | 479.1 | 445.8 | 417.6 | 391.8 | 358.8 | 338.2 | 314.1 | 294.8 | 264.9 | 228.2 | 197.7 | 168.1 | 145.9 | 127.7 | 129.1
475 | 108.9 | 109.9 | 124.2 | 140.1 | 214.6 | 245.3 | 358.1 | 2421 | 1991 | 404.1 | 400.7 | 406.7 | 411.7 | 432.4 | 466.1 | 520.4 | 583.4 | 617 | 625 | 611.8 | 592.1 | 571.9 | 528 | 487 | 471.9 | 449.5 | 429.8 | 410.9 | 385.6 | 357.9 | 329.9 | 307.8 | 289.3 | 273.9 | 254 | 221.9 | 192.7 | 165.7 | 144.2 | 126.6 | 117.3
480 | 91.08 | 88.09 | 117.9 | 144.3 | 179 | 229 | 288.5 | 804.8 | 3210 | 670.5 | 371.3 | 369.1 | 377.6 | 398.1 | 422.3 | 464.9 | 516.2 | 544.4 | 556.9 | 529.7 | 521.7 | 502.2 | 463.9 | 442.1 | 423.9 | 408.4 | 396.4 | 379.3 | 355.5 | 332.8 | 308.9 | 290.5 | 276.9 | 259.1 | 239 | 212.4 | 186.9 | 163.4 | 144.8 | 128.7 | 116.6
485 | 83.83 | 83.13 | 116.9 | 145.7 | 148.3 | 220.1 | 252.3 | 337.5 | 2483 | 1839 | 354.1 | 359.1 | 360.8 | 370.3 | 389.7 | 441.6 | 470.4 | 483.3 | 481.6 | 464.9 | 457.7 | 446.3 | 423.2 | 406.4 | 388.6 | 378.2 | 372.4 | 353.9 | 339.8 | 318.3 | 291.6 | 275.4 | 262.6 | 251.8 | 233.5 | 209.3 | 184.9 | 164.7 | 146.9 | 130.7 | 116.7
490 | 94.53 | 74.41 | 99.39 | 123 | 148.5 | 220.3 | 247.3 | 290.4 | 812.7 | 3101 | 590.2 | 350.9 | 346.3 | 365.2 | 386.3 | 407.1 | 437 | 443.9 | 432.7 | 413.8 | 411.2 | 399.2 | 385 | 374.6 | 362.7 | 357.1 | 349.3 | 336.1 | 317.7 | 303 | 283.7 | 267.6 | 257.4 | 245.3 | 230.6 | 209.7 | 183.9 | 164.4 | 146 | 132.4 | 119.5
495 | 92.4 | 81.17 | 97.47 | 103.9 | 128.5 | 191.3 | 229.3 | 241.8 | 316.2 | 2486 | 1609 | 347.5 | 347.9 | 357.9 | 380.6 | 391.9 | 405.4 | 402.8 | 382.6 | 372.6 | 364.2 | 361.6 | 354.1 | 343.1 | 338.9 | 331.1 | 329.6 | 315.1 | 300.4 | 291.4 | 267.4 | 259.3 | 251.4 | 240.4 | 224.2 | 207.2 | 184.8 | 164.8 | 147.5 | 134.6 | 123.1
500 | 60.27 | 87.74 | 67.58 | 98.59 | 105.4 | 175.8 | 225 | 243.5 | 257.7 | 856.7 | 2894 | 558.3 | 352.5 | 371.6 | 373.1 | 372.3 | 382.6 | 365.6 | 346.4 | 329.5 | 330.2 | 323.7 | 318.8 | 310.3 | 311.2 | 308.3 | 306.8 | 293.9 | 285.2 | 271.6 | 260.1 | 249.2 | 246.1 | 234 | 223.8 | 205.5 | 182.1 | 165.1 | 146.9 | 133.9 | 122