## Sheet1
Report date: | 15:19:30, 09/18/2024
Sample: | 1
File name:
Run date: | 15:14:03, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/305.0 | 2379
2 | 230.0/310.0 | 2430
3 | 230.0/375.0 | 1258
4 | 230.0/385.0 | 1221
5 | 235.0/400.0 | 1271
6 | 250.0/275.0 | 313.9
7 | 275.0/305.0 | 4381
8 | 275.0/335.0 | 4312
9 | 280.0/315.0 | 4321
10 | 280.0/340.0 | 4319
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 36.14 | 46.59 | 44.28 | 49.07 | 30.7 | 27.04 | 23.12 | 17.33 | 40.22 | 250.1 | 147 | 41.08 | 65.28 | 4656 | 9999.9 | 2156 | 20.84 | 9.42 | 7.13 | 4.902 | 4.497 | 3.538 | 3.495 | 2.64 | 2.577 | 2.469 | 2.34 | 2.211 | 2.268 | 1.76 | 2.051 | 1.636 | 1.707 | 1.861 | 2.031 | 1.586 | 1.756 | 1.959 | 1.887 | 1.388 | 1.491
275 | 40.81 | 80.13 | 71.84 | 80.24 | 98.87 | 94.68 | 41.73 | 19.69 | 22.99 | 85.88 | 313.9 | 152.2 | 76.84 | 389.9 | 5121 | 9999.9 | 1861 | 20.43 | 7.693 | 5.221 | 4.451 | 3.517 | 3.182 | 2.439 | 2.434 | 2.784 | 2.3 | 2.415 | 2.107 | 2.238 | 2.108 | 2.014 | 1.712 | 1.916 | 1.888 | 1.686 | 1.728 | 1.971 | 1.894 | 1.533 | 1.695
280 | 91.94 | 73.15 | 130.2 | 158.4 | 227.5 | 190.2 | 94.18 | 41.74 | 30.27 | 45.36 | 183.3 | 393 | 199.5 | 179.5 | 492.5 | 5798 | 9789 | 1731 | 21.07 | 8.373 | 4.983 | 3.906 | 4.041 | 3.349 | 3.411 | 2.804 | 2.29 | 2.499 | 1.946 | 1.925 | 2.136 | 2.113 | 1.927 | 1.863 | 2.147 | 2.062 | 1.847 | 1.695 | 1.827 | 1.85 | 1.847
285 | 127.6 | 139.5 | 197.7 | 302.7 | 459 | 461.7 | 352 | 192.4 | 85.98 | 82.53 | 132.9 | 384.3 | 597.7 | 455.3 | 551.4 | 895.1 | 5903 | 9755 | 1566 | 18.32 | 7.615 | 4.854 | 4.401 | 4.074 | 3.078 | 2.966 | 2.43 | 2.437 | 2.363 | 1.903 | 2.132 | 2.247 | 2.012 | 1.811 | 1.838 | 1.856 | 1.812 | 1.759 | 1.57 | 1.711 | 1.859
290 | 193.1 | 184.5 | 265.1 | 502.2 | 821 | 1022 | 902.1 | 474.8 | 220.1 | 168.3 | 237 | 410.5 | 932.7 | 1222 | 1331 | 1445 | 1584 | 6544 | 9752 | 1358 | 13.82 | 7.124 | 5.373 | 4.138 | 3.713 | 3.002 | 2.737 | 2.878 | 2.5 | 2.2 | 2.289 | 2.358 | 2.475 | 2.071 | 2.066 | 1.761 | 1.816 | 1.644 | 1.655 | 1.548 | 1.636
295 | 279.6 | 286.7 | 380.6 | 704.3 | 1170 | 1621 | 1551 | 867.5 | 395.8 | 303.1 | 394.2 | 638.7 | 1091 | 1969 | 2418 | 2476 | 2195 | 1659 | 6516 | 9619 | 1224 | 12.26 | 6.789 | 4.647 | 4.212 | 3.561 | 3.199 | 3.146 | 2.664 | 2.201 | 2.262 | 2.199 | 2.262 | 1.991 | 2.116 | 1.913 | 1.686 | 1.679 | 1.759 | 1.74 | 1.629
300 | 284.6 | 335 | 490.9 | 839.8 | 1527 | 2106 | 2031 | 1198 | 621.2 | 470 | 598.7 | 913.9 | 1394 | 2202 | 3370 | 3528 | 3047 | 1856 | 1017 | 6150 | 9268 | 1152 | 11.69 | 6.339 | 5.135 | 4.244 | 3.447 | 3.059 | 2.856 | 2.286 | 2.384 | 2.239 | 2.432 | 2.26 | 2.354 | 1.952 | 2.07 | 1.929 | 1.983 | 1.479 | 1.673
305 | 344.4 | 348.3 | 554.9 | 890.9 | 1637 | 2379 | 2347 | 1479 | 858.9 | 701.4 | 853.1 | 1167 | 1701 | 2488 | 3557 | 4381 | 3710 | 2291 | 919.9 | 698.7 | 6031 | 9528 | 1057 | 10.72 | 6.528 | 4.456 | 3.891 | 3.541 | 3.251 | 2.627 | 2.616 | 2.598 | 2.585 | 2.237 | 1.928 | 2.124 | 1.952 | 2.002 | 1.691 | 1.759 | 1.628
310 | 275.5 | 387.8 | 614.9 | 936.9 | 1621 | 2348 | 2430 | 1615 | 1047 | 948.4 | 1114 | 1415 | 1900 | 2669 | 3632 | 4371 | 4284 | 2687 | 1199 | 502.5 | 561.6 | 5841 | 9999.9 | 1061 | 10.85 | 5.531 | 5.116 | 3.859 | 3.293 | 3.28 | 2.772 | 2.656 | 2.737 | 2.288 | 2.193 | 2.168 | 2.025 | 2.036 | 1.813 | 1.848 | 1.636
315 | 308.1 | 386.2 | 547.4 | 945 | 1566 | 2308 | 2403 | 1729 | 1275 | 1211 | 1390 | 1651 | 2086 | 2791 | 3684 | 4269 | 4321 | 3239 | 1535 | 674.8 | 288.6 | 479 | 6224 | 9888 | 992.5 | 10.4 | 5.957 | 4.927 | 3.712 | 3.558 | 2.987 | 2.763 | 2.836 | 2.244 | 2.427 | 2.259 | 2.086 | 2.247 | 1.788 | 1.623 | 1.836
320 | 284.7 | 380.5 | 614.5 | 919 | 1494 | 2199 | 2389 | 1728 | 1394 | 1432 | 1648 | 1909 | 2288 | 2896 | 3683 | 4247 | 4180 | 3481 | 2049 | 892.6 | 372.6 | 174.1 | 471.1 | 5908 | 9999.9 | 1009 | 10.28 | 6.658 | 4.727 | 4.167 | 3.694 | 3.225 | 2.759 | 2.567 | 2.464 | 2.437 | 1.832 | 1.951 | 1.948 | 1.75 | 2.167
325 | 287.3 | 346.5 | 520.7 | 859.3 | 1449 | 2104 | 2258 | 1707 | 1477 | 1587 | 1848 | 2133 | 2431 | 3006 | 3701 | 4258 | 4200 | 3390 | 2474 | 1241 | 490 | 211.8 | 121 | 438.1 | 6044 | 9999.9 | 983 | 10.01 | 6.145 | 4.707 | 3.599 | 3.433 | 2.91 | 2.852 | 2.374 | 2.371 | 2.208 | 1.967 | 1.869 | 1.983 | 1.904
330 | 273 | 318 | 510.3 | 847.5 | 1395 | 1995 | 2142 | 1723 | 1536 | 1723 | 1972 | 2284 | 2593 | 3101 | 3800 | 4272 | 4242 | 3521 | 2471 | 1625 | 690.9 | 283.6 | 136.9 | 98.15 | 441.8 | 6083 | 9999.9 | 1012 | 10.08 | 6.045 | 4.454 | 3.771 | 3.353 | 2.96 | 2.79 | 2.508 | 2.473 | 2.024 | 1.884 | 2.082 | 1.839
335 | 209.8 | 346.6 | 513.1 | 835.9 | 1401 | 1936 | 1981 | 1696 | 1586 | 1785 | 2108 | 2423 | 2748 | 3257 | 3856 | 4312 | 4308 | 3668 | 2622 | 1598 | 1044 | 417.6 | 187.2 | 111.6 | 96.49 | 448.9 | 6295 | 9999.9 | 1005 | 10.09 | 6.255 | 4.82 | 4.243 | 3.441 | 3.161 | 2.894 | 2.403 | 2.351 | 2.11 | 1.973 | 1.931
340 | 173.9 | 283.8 | 441.5 | 836.6 | 1254 | 1792 | 1896 | 1576 | 1557 | 1841 | 2165 | 2497 | 2882 | 3340 | 3934 | 4310 | 4319 | 3765 | 2780 | 1619 | 1031 | 714.7 | 286.6 | 164.2 | 116.1 | 106.3 | 470 | 6031 | 9999.9 | 1001 | 10.15 | 5.793 | 4.987 | 4.206 | 3.372 | 2.787 | 2.641 | 2.353 | 2.147 | 1.977 | 1.856
345 | 212.8 | 299.9 | 469.7 | 766 | 1270 | 1743 | 1746 | 1505 | 1482 | 1757 | 2143 | 2529 | 2931 | 3379 | 3918 | 4250 | 4297 | 3785 | 2879 | 1721 | 1004 | 779.7 | 539.4 | 244.7 | 166.9 | 122.4 | 107.9 | 451.3 | 5974 | 9999.9 | 1026 | 9.778 | 6.608 | 4.944 | 4.158 | 3.443 | 2.7 | 2.487 | 2.233 | 2.097 | 2.29
350 | 169.1 | 293.3 | 451.1 | 688.2 | 1148 | 1577 | 1631 | 1380 | 1435 | 1696 | 2048 | 2439 | 2886 | 3328 | 3829 | 4111 | 4202 | 3756 | 2906 | 1793 | 1064 | 697.5 | 678.9 | 447.5 | 238 | 171.3 | 121.4 | 101.3 | 439.6 | 5711 | 9999.9 | 1054 | 10.68 | 6.121 | 5.02 | 4.028 | 3.101 | 2.506 | 2.333 | 2.03 | 2.135
355 | 180.3 | 260.9 | 470.5 | 714.9 | 1120 | 1521 | 1501 | 1295 | 1332 | 1620 | 1957 | 2398 | 2779 | 3233 | 3691 | 3982 | 4001 | 3648 | 2876 | 1835 | 1150 | 744.7 | 584.8 | 643.3 | 387 | 231.5 | 162.3 | 106 | 89.72 | 424.1 | 5631 | 9999.9 | 995 | 9.841 | 6.041 | 4.816 | 3.797 | 2.848 | 2.631 | 2.585 | 2.05
360 | 172.2 | 245.1 | 388.7 | 661.7 | 1071 | 1402 | 1416 | 1210 | 1287 | 1537 | 1854 | 2274 | 2686 | 3101 | 3521 | 3776 | 3843 | 3514 | 2835 | 1885 | 1234 | 843 | 613.2 | 568.2 | 600.5 | 341.1 | 205 | 138.8 | 94.63 | 81.45 | 410 | 5701 | 9999.9 | 1077 | 10.21 | 6.783 | 5.005 | 3.394 | 2.664 | 2.39 | 2.15
365 | 167 | 268.3 | 393.4 | 607.5 | 1018 | 1311 | 1314 | 1188 | 1224 | 1474 | 1764 | 2151 | 2538 | 2936 | 3325 | 3580 | 3672 | 3363 | 2812 | 1935 | 1330 | 951.7 | 707.9 | 564.5 | 569.6 | 538.1 | 280 | 176.9 | 117 | 79.36 | 76.89 | 415.5 | 5900 | 9999.9 | 1058 | 10.1 | 5.646 | 3.872 | 3.095 | 2.602 | 2.442
370 | 161.2 | 240.7 | 353.4 | 581.9 | 932 | 1308 | 1220 | 1129 | 1184 | 1374 | 1641 | 1975 | 2330 | 2748 | 3080 | 3336 | 3456 | 3285 | 2792 | 2038 | 1464 | 1083 | 815.2 | 647.1 | 531.3 | 561.6 | 448 | 230.3 | 148.1 | 105.4 | 74.43 | 72.08 | 425.9 | 5989 | 9999.9 | 1031 | 9.284 | 5.627 | 3.696 | 3.077 | 2.707
375 | 149.9 | 292.1 | 359.5 | 587.3 | 898 | 1199 | 1258 | 1172 | 1179 | 1327 | 1534 | 1807 | 2161 | 2529 | 2910 | 3155 | 3301 | 3202 | 2828 | 2161 | 1629 | 1252 | 949.4 | 737.8 | 584.5 | 500.2 | 538 | 369.9 | 195.6 | 137 | 99.77 | 69.72 | 70.31 | 435.3 | 6035 | 9999.9 | 940.1 | 8.342 | 5.186 | 4.006 | 3.212
380 | 148 | 287.3 | 395.8 | 625.1 | 872.4 | 1142 | 1206 | 1175 | 1197 | 1254 | 1424 | 1672 | 1948 | 2323 | 2677 | 2959 | 3189 | 3191 | 2888 | 2344 | 1850 | 1436 | 1107 | 847.6 | 667.8 | 533.5 | 470.5 | 499.3 | 307.4 | 181.7 | 135.4 | 95.95 | 66.85 | 71.99 | 439.1 | 5900 | 9483 | 831 | 7.9 | 4.933 | 3.97
385 | 224.8 | 241.9 | 403.4 | 576.3 | 878.3 | 1185 | 1221 | 1210 | 1210 | 1234 | 1330 | 1528 | 1795 | 2101 | 2473 | 2775 | 3059 | 3195 | 3001 | 2525 | 2053 | 1651 | 1263 | 969.2 | 758.1 | 605.6 | 493.8 | 462.1 | 464.1 | 269.7 | 176.1 | 130.9 | 98.11 | 70.4 | 72.59 | 432.5 | 5611 | 8500 | 794.7 | 7.666 | 5.196
390 | 541.4 | 286.3 | 449.3 | 561.4 | 863.7 | 1110 | 1215 | 1262 | 1228 | 1189 | 1262 | 1420 | 1614 | 1913 | 2291 | 2651 | 2984 | 3181 | 3092 | 2692 | 2288 | 1845 | 1424 | 1096 | 857.3 | 694.8 | 569.1 | 477.5 | 465 | 420.5 | 250.3 | 178.1 | 134.3 | 97.3 | 67.79 | 68.88 | 405 | 4915 | 8081 | 840.4 | 7.704
395 | 1721 | 306.6 | 451.2 | 568 | 835.6 | 1116 | 1227 | 1267 | 1204 | 1166 | 1190 | 1311 | 1499 | 1750 | 2106 | 2509 | 2881 | 3163 | 3139 | 2828 | 2427 | 2014 | 1568 | 1209 | 956.4 | 786.6 | 658.2 | 539.4 | 452 | 474.4 | 385.7 | 238.9 | 177.9 | 130.1 | 91.42 | 61.76 | 61.85 | 365.6 | 4732 | 7887 | 807
400 | 2525 | 773.5 | 431.5 | 566.9 | 849.6 | 1078 | 1225 | 1271 | 1181 | 1123 | 1103 | 1205 | 1338 | 1607 | 1930 | 2328 | 2766 | 3091 | 3131 | 2878 | 2524 | 2115 | 1672 | 1312 | 1044 | 876.5 | 731.8 | 620.1 | 509 | 446.1 | 471.7 | 348.7 | 227.4 | 167.5 | 118.5 | 83.77 | 55 | 57.32 | 342.4 | 4536 | 7948
405 | 1667 | 2185 | 427.2 | 520.7 | 750.8 | 1031 | 1183 | 1230 | 1162 | 1088 | 1036 | 1118 | 1212 | 1435 | 1775 | 2189 | 2605 | 2944 | 3059 | 2867 | 2560 | 2174 | 1750 | 1378 | 1122 | 937.3 | 803 | 685.1 | 573.5 | 478.3 | 444.4 | 460.9 | 313.8 | 212.7 | 152.2 | 107.5 | 73.19 | 49.61 | 52.28 | 324.7 | 4370
410 | 497.9 | 3125 | 916.5 | 567.5 | 744.4 | 942.5 | 1186 | 1232 | 1151 | 1036 | 985.7 | 1024 | 1117 | 1329 | 1645 | 2030 | 2446 | 2777 | 2927 | 2784 | 2515 | 2164 | 1751 | 1404 | 1164 | 991.1 | 857.9 | 735.2 | 617.7 | 526.4 | 447.7 | 444.7 | 425.4 | 273.9 | 186.6 | 131.6 | 92.06 | 65.24 | 43.85 | 47.84 | 313.3
415 | 274.1 | 1826 | 2513 | 542.1 | 710.1 | 873.7 | 1072 | 1148 | 1128 | 994.1 | 926.4 | 955.6 | 1037 | 1217 | 1491 | 1864 | 2274 | 2604 | 2742 | 2642 | 2438 | 2104 | 1717 | 1388 | 1174 | 1010 | 873.8 | 754 | 647.9 | 555.4 | 480.9 | 419.3 | 436.3 | 373.9 | 231.2 | 162 | 116.9 | 79.5 | 54.39 | 37.32 | 44.3
420 | 172.6 | 535.2 | 3397 | 1020 | 622.8 | 818.2 | 1004 | 1072 | 1039 | 933.7 | 889.7 | 894.2 | 941.7 | 1089 | 1358 | 1719 | 2074 | 2395 | 2525 | 2464 | 2272 | 1991 | 1648 | 1361 | 1156 | 1003 | 883.7 | 768.9 | 661.7 | 576.6 | 499.9 | 439.2 | 396.9 | 413.3 | 313 | 193.5 | 136.3 | 95.75 | 67.18 | 46.69 | 33.1
425 | 183.6 | 298.1 | 1988 | 2559 | 577.4 | 735.7 | 933.4 | 989.7 | 981.3 | 878.8 | 817 | 808.1 | 874.5 | 1002 | 1248 | 1540 | 1881 | 2175 | 2302 | 2253 | 2093 | 1856 | 1563 | 1307 | 1116 | 987.8 | 876.6 | 769.6 | 674.1 | 586.6 | 512.4 | 454.7 | 398.3 | 370.1 | 368.5 | 245.6 | 157.5 | 112.2 | 80.52 | 55.28 | 38.61
430 | 136 | 244.7 | 606.5 | 3232 | 936.2 | 686.1 | 818.8 | 907 | 911.9 | 816 | 777.8 | 774.9 | 808.1 | 919.7 | 1111 | 1408 | 1709 | 1957 | 2084 | 2061 | 1919 | 1721 | 1459 | 1233 | 1068 | 944.7 | 848.9 | 757.4 | 670.6 | 590.4 | 520.6 | 462.6 | 412.6 | 356.1 | 333.9 | 312.2 | 193.9 | 127.7 | 92.23 | 67.1 | 48.8
435 | 134.2 | 224.1 | 288.6 | 1996 | 2312 | 642.5 | 768.9 | 851.3 | 819.7 | 773 | 726.7 | 751.4 | 779.9 | 863.3 | 1026 | 1284 | 1535 | 1763 | 1881 | 1861 | 1742 | 1570 | 1352 | 1149 | 1008 | 905.5 | 826.3 | 742.2 | 660.3 | 579.1 | 522.3 | 469.9 | 420 | 364.2 | 315.4 | 303.5 | 250.2 | 152 | 103.6 | 76 | 54.85
440 | 137.7 | 214.5 | 254.6 | 654.9 | 3297 | 935.9 | 711 | 761.5 | 774.3 | 722.5 | 690.6 | 708.7 | 705.7 | 789.6 | 945.2 | 1156 | 1371 | 1579 | 1675 | 1668 | 1581 | 1426 | 1232 | 1066 | 944.7 | 867.1 | 793.3 | 719.1 | 638.2 | 569.2 | 508.3 | 462.6 | 419.2 | 370.4 | 311.2 | 267 | 261.8 | 196 | 116.9 | 86.32 | 65.38
445 | 137.3 | 174.4 | 255.6 | 308.5 | 2151 | 2252 | 636.7 | 707.9 | 711.5 | 653.6 | 636.9 | 640.1 | 654.1 | 720.3 | 853.8 | 1035 | 1223 | 1387 | 1478 | 1468 | 1409 | 1281 | 1117 | 982.4 | 884.4 | 815.6 | 745.7 | 677.2 | 616.4 | 552.6 | 494.3 | 452.8 | 410.8 | 367.5 | 314.7 | 260 | 226 | 218.4 | 152.6 | 95.22 | 71.69
450 | 119.9 | 147.4 | 261.1 | 240.4 | 697.7 | 3330 | 935.8 | 621.8 | 646.9 | 602.3 | 597 | 586 | 621.7 | 660.5 | 766 | 924.4 | 1085 | 1230 | 1303 | 1286 | 1247 | 1139 | 1003 | 889.9 | 807 | 747.5 | 695.1 | 642.1 | 582.1 | 526 | 475.8 | 436.1 | 396.9 | 363.7 | 310.4 | 260.2 | 210.4 | 193.9 | 181.7 | 118.2 | 78.08
455 | 103 | 140.8 | 217.3 | 252.7 | 340.5 | 2307 | 2209 | 594.1 | 586.8 | 546.5 | 545.5 | 538 | 570.1 | 596.1 | 700.2 | 825.9 | 957.9 | 1060 | 1132 | 1115 | 1082 | 1013 | 899 | 801.4 | 736.9 | 688.3 | 640.6 | 594.1 | 542.7 | 500.6 | 446.1 | 416.1 | 381.3 | 345.3 | 302.7 | 252.2 | 206.5 | 173.3 | 170.8 | 151.3 | 96.21
460 | 91.28 | 121.3 | 150.1 | 230.2 | 254.4 | 754.9 | 3339 | 791.4 | 533.6 | 496.4 | 503 | 515.7 | 519.9 | 543.6 | 620.2 | 727.2 | 848.6 | 930.4 | 971.5 | 969.9 | 942.1 | 879.6 | 788.2 | 720.6 | 667.8 | 630.4 | 588 | 551 | 508.1 | 465.2 | 424.9 | 391.2 | 361.1 | 329.3 | 293.4 | 251.4 | 204.2 | 168.7 | 145.6 | 152.7 | 122.1
465 | 80.9 | 133.7 | 149.2 | 185.5 | 221.3 | 351.6 | 2297 | 1977 | 479.2 | 456.7 | 454.1 | 474 | 474.5 | 497.4 | 557.9 | 640.9 | 730.8 | 807.2 | 837.7 | 831.8 | 813.9 | 765.6 | 711 | 640.5 | 600 | 572.3 | 541.7 | 505.9 | 475.2 | 434.1 | 396.5 | 366.5 | 344.5 | 312.8 | 280 | 239.9 | 203.3 | 168.9 | 142.1 | 131.3 | 135.6
470 | 94.37 | 120.2 | 114.9 | 151.6 | 196.2 | 267.6 | 772.5 | 3229 | 743.7 | 417.1 | 417.1 | 426.9 | 436.1 | 447.8 | 498.9 | 569.2 | 642.3 | 705.5 | 727.6 | 714.3 | 700 | 665.1 | 614.1 | 572 | 532 | 513.4 | 492.1 | 462 | 435.6 | 397.7 | 366.4 | 342.7 | 320.4 | 295.8 | 266 | 230.3 | 197.9 | 165.1 | 140.5 | 121.5 | 122.9
475 | 95.17 | 94.42 | 130.1 | 148.1 | 204.2 | 252.2 | 329.7 | 2375 | 1906 | 385.3 | 374.4 | 400.2 | 392.5 | 401.7 | 451.2 | 503.2 | 564.5 | 613.5 | 620.4 | 616.2 | 607 | 576.5 | 543 | 510.7 | 480.6 | 469.4 | 443.8 | 424.9 | 398.8 | 368.7 | 339.9 | 315.3 | 297.2 | 279.6 | 252.7 | 220.8 | 189.4 | 164.8 | 141.6 | 121.3 | 108.2
480 | 58.7 | 99.13 | 111.7 | 134.1 | 193.4 | 231.8 | 261.6 | 763.7 | 3157 | 649.9 | 354 | 357.3 | 370.9 | 380.1 | 410.8 | 456.2 | 486.2 | 524.3 | 531.1 | 529.5 | 528.7 | 513 | 479.3 | 453.5 | 440.4 | 427.2 | 409.2 | 391.8 | 370.6 | 346.6 | 317.8 | 296 | 281.9 | 262.3 | 240 | 213.2 | 185.4 | 160 | 140 | 120.7 | 107.1
485 | 82.46 | 67.73 | 103.6 | 100.2 | 156.8 | 222.9 | 252.8 | 313.5 | 2449 | 1804 | 345.6 | 348.3 | 349.8 | 366.9 | 381.4 | 412.8 | 454.7 | 475.6 | 475.8 | 470.3 | 472 | 449.9 | 435.8 | 419 | 407.5 | 392.4 | 380 | 367.7 | 346.5 | 321.4 | 301.7 | 281.7 | 265.7 | 254.3 | 233.7 | 207.6 | 182.4 | 157.6 | 139.9 | 120.5 | 107.9
490 | 70.56 | 67.91 | 83.99 | 105.8 | 159.4 | 218 | 219.1 | 264.6 | 773.2 | 3058 | 588.6 | 340 | 347.4 | 339.5 | 365.8 | 389.8 | 421 | 434 | 428.7 | 421.5 | 421 | 407 | 395.5 | 381.4 | 375.7 | 371.3 | 360.7 | 347.9 | 324.5 | 310.2 | 291.4 | 274 | 257.1 | 248.5 | 226.9 | 207.7 | 182 | 160.3 | 139 | 125.9 | 112.6
495 | 63.02 | 77.49 | 84.63 | 108.1 | 125.6 | 191.8 | 222.9 | 243.1 | 298.1 | 2478 | 1619 | 332 | 336.6 | 343.2 | 368.6 | 371.5 | 388.2 | 388.2 | 376.2 | 370.2 | 370.4 | 366.7 | 360.7 | 352.4 | 343.5 | 348.4 | 339.3 | 326.3 | 314 | 296 | 277.3 | 264.2 | 252.4 | 240.2 | 223.3 | 202 | 182.9 | 162.3 | 141.5 | 124.5 | 113.4
500 | 52.54 | 76 | 78.21 | 90.48 | 114 | 155.4 | 199.1 | 221.1 | 235 | 818.5 | 2847 | 543.8 | 331.9 | 348 | 358.8 | 363.1 | 360.6 | 361.8 | 344.8 | 337.1 | 334.8 | 330.9 | 327.3 | 322.8 | 321.3 | 317.2 | 315.3 | 306.5 | 292.8 | 279.8 | 265 | 250 | 245.2 | 233 | 219.1 | 203 | 182.3 | 160 | 144.2 | 123.5 | 112.7