## Sheet1
Report date: | 15:40:08, 09/18/2024
Sample: | 1
File name:
Run date: | 15:33:17, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/335.0 | 3682
2 | 250.0/275.0 | 320.6
3 | 255.0/280.0 | 406.6
4 | 260.0/340.0 | 8867
5 | 330.0/430.0 | 1806
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 95.16 | 114.2 | 110.4 | 107.5 | 82.96 | 56.54 | 32.46 | 20.97 | 51.67 | 265 | 166.1 | 50.88 | 135.3 | 9999.9 | 9999.9 | 5079 | 37.85 | 16.71 | 12.78 | 9.011 | 7.359 | 6.536 | 5.118 | 4.511 | 4.091 | 4.527 | 4.126 | 3.914 | 3.845 | 4.027 | 4.026 | 3.721 | 3.826 | 3.389 | 3.917 | 4.124 | 4.654 | 4.907 | 4.867 | 3.714 | 3.17
275 | 185.5 | 178.7 | 163.9 | 277.3 | 273.4 | 184.5 | 68.38 | 34.47 | 32.94 | 98.31 | 320.6 | 165.1 | 110.4 | 812.3 | 9999.9 | 9999.9 | 4586 | 37.33 | 17.37 | 12.17 | 8.081 | 6.872 | 5.95 | 4.59 | 5.094 | 4.606 | 4.164 | 4.184 | 4.209 | 4.307 | 4.118 | 4.011 | 3.895 | 3.67 | 3.932 | 4.008 | 3.596 | 4.604 | 4.829 | 3.962 | 3.698
280 | 300.3 | 226.4 | 310.2 | 474.6 | 526 | 382.2 | 135.6 | 54.72 | 43.49 | 65.99 | 200.6 | 406.6 | 228 | 236.3 | 890.3 | 9999.9 | 9999.9 | 4262 | 35.45 | 15.17 | 10.5 | 8.615 | 6.975 | 5.577 | 5.391 | 5.894 | 4.685 | 5.1 | 4.276 | 4.121 | 4.393 | 4.147 | 4.47 | 3.782 | 3.563 | 3.73 | 3.541 | 4.113 | 4.375 | 4.598 | 4.046
285 | 395 | 375.9 | 483 | 675.4 | 799.4 | 697.7 | 357.7 | 167 | 96.33 | 98.44 | 149.6 | 378.5 | 581.1 | 454.3 | 537.4 | 1155 | 9999.9 | 9999.9 | 3766 | 35.64 | 15 | 11.17 | 8.439 | 6.797 | 6.132 | 5.814 | 5.379 | 4.925 | 5.126 | 3.871 | 4.245 | 4.388 | 4.394 | 4.397 | 3.977 | 3.695 | 3.5 | 3.568 | 4.001 | 3.94 | 4.565
290 | 567.8 | 455.9 | 614.9 | 904.4 | 1318 | 1247 | 876.6 | 433.2 | 236.9 | 186 | 246.6 | 374.3 | 838.3 | 1099 | 1162 | 1275 | 1700 | 9999.9 | 9999.9 | 3413 | 29.73 | 14.51 | 10.39 | 8.381 | 7.459 | 6.432 | 5.012 | 5.482 | 5.456 | 4.737 | 5.022 | 4.832 | 4.858 | 4.284 | 3.905 | 3.854 | 3.945 | 3.345 | 3.676 | 3.608 | 3.902
295 | 693.1 | 720.9 | 807.8 | 1184 | 1652 | 1902 | 1473 | 854.2 | 501.8 | 369.6 | 412.1 | 582.1 | 964.4 | 1773 | 2187 | 2244 | 1968 | 1816 | 9999.9 | 9999.9 | 3137 | 27.91 | 14.14 | 11.15 | 8.486 | 7.379 | 6.514 | 5.942 | 6.117 | 4.805 | 5.135 | 4.857 | 4.743 | 4.529 | 4.373 | 3.976 | 3.651 | 3.565 | 3.384 | 3.237 | 3.416
300 | 810.4 | 786.7 | 966.7 | 1343 | 2017 | 2460 | 2062 | 1327 | 855.2 | 633.8 | 675.9 | 883.3 | 1314 | 2033 | 3131 | 3265 | 2805 | 1776 | 1285 | 9999.9 | 9999.9 | 2848 | 27.66 | 14.15 | 10.55 | 8.932 | 7.457 | 7.216 | 6.123 | 5.769 | 5.619 | 4.953 | 5.505 | 4.793 | 4.194 | 4.11 | 3.93 | 3.937 | 3.912 | 3.615 | 3.165
305 | 916.8 | 909 | 1228 | 1513 | 2222 | 2771 | 2473 | 1741 | 1256 | 1060 | 1104 | 1332 | 1790 | 2502 | 3500 | 4211 | 3588 | 2282 | 936.4 | 982.2 | 9999.9 | 9999.9 | 2655 | 28.82 | 15.19 | 11.28 | 8.885 | 7.588 | 6.461 | 6.225 | 5.559 | 5.289 | 5.127 | 5.324 | 4.71 | 4.339 | 4.016 | 3.854 | 3.946 | 3.57 | 3.57
310 | 888 | 1075 | 1231 | 1668 | 2317 | 3020 | 2792 | 2140 | 1821 | 1740 | 1892 | 2191 | 2590 | 3228 | 3990 | 4546 | 4363 | 2808 | 1282 | 601.9 | 968.7 | 9999.9 | 9999.9 | 2731 | 30.88 | 15.43 | 12.1 | 8.959 | 7.816 | 6.982 | 6.127 | 6.389 | 5.377 | 5.469 | 4.733 | 4.484 | 3.947 | 4.112 | 3.896 | 3.608 | 3.323
315 | 1063 | 1246 | 1413 | 1807 | 2445 | 3113 | 3058 | 2549 | 2437 | 2680 | 3118 | 3600 | 3987 | 4393 | 4716 | 4860 | 4717 | 3576 | 1895 | 1067 | 742.8 | 1193 | 9999.9 | 9999.9 | 2542 | 29.21 | 15.96 | 11.96 | 9.682 | 8.132 | 6.906 | 7.131 | 6.55 | 6.085 | 5.21 | 5.104 | 4.181 | 4.382 | 3.804 | 3.767 | 3.688
320 | 986.1 | 1224 | 1594 | 2152 | 2717 | 3198 | 3189 | 2952 | 3107 | 3733 | 4533 | 5303 | 5655 | 5736 | 5584 | 5323 | 4957 | 4185 | 2762 | 1715 | 1284 | 1016 | 1339 | 9999.9 | 9999.9 | 2628 | 27.43 | 16.82 | 11.99 | 10.24 | 8.546 | 7.051 | 6.783 | 6.249 | 6.407 | 5.298 | 4.834 | 3.717 | 3.85 | 3.714 | 3.525
325 | 927.1 | 1395 | 1846 | 2287 | 2981 | 3406 | 3391 | 3259 | 3640 | 4543 | 5631 | 6691 | 7026 | 6829 | 6244 | 5675 | 5249 | 4443 | 3471 | 2411 | 1776 | 1368 | 996.7 | 1102 | 9999.9 | 9999.9 | 2674 | 27.15 | 17.21 | 13.24 | 9.883 | 8.684 | 7.487 | 6.717 | 6.196 | 5.348 | 4.951 | 4.588 | 4.328 | 3.768 | 3.774
330 | 963.2 | 1285 | 1830 | 2287 | 3179 | 3623 | 3509 | 3425 | 3928 | 5100 | 6461 | 7690 | 8075 | 7783 | 6814 | 5951 | 5498 | 4792 | 3782 | 3069 | 2272 | 1719 | 1193 | 583.4 | 862.8 | 9999.9 | 9999.9 | 2801 | 26.95 | 17.68 | 13.41 | 10.21 | 8.642 | 7.891 | 6.618 | 5.971 | 5.337 | 4.999 | 4.696 | 4.278 | 4.188
335 | 943.4 | 1309 | 1939 | 2632 | 3332 | 3682 | 3524 | 3471 | 4179 | 5448 | 7012 | 8271 | 8763 | 8446 | 7155 | 6177 | 5684 | 5070 | 4120 | 3289 | 2783 | 2016 | 1380 | 641.7 | 251.2 | 775.2 | 9999.9 | 9999.9 | 3004 | 27.78 | 17.6 | 14.8 | 10.48 | 9.08 | 8.172 | 6.524 | 5.498 | 5.287 | 4.851 | 4.466 | 4.346
340 | 890.4 | 1295 | 1810 | 2621 | 3271 | 3677 | 3473 | 3351 | 4047 | 5488 | 7033 | 8436 | 8867 | 8582 | 7328 | 6202 | 5764 | 5221 | 4335 | 3364 | 2840 | 2326 | 1507 | 703.1 | 246 | 141.2 | 765.3 | 9999.9 | 9999.9 | 3221 | 29.39 | 19.57 | 14.9 | 10.97 | 9.261 | 7.317 | 6.479 | 5.588 | 5.11 | 4.696 | 5.004
345 | 775.2 | 1208 | 1810 | 2519 | 3117 | 3609 | 3358 | 3141 | 3893 | 5215 | 6745 | 8053 | 8620 | 8336 | 7163 | 6106 | 5682 | 5176 | 4388 | 3380 | 2706 | 2293 | 1662 | 739.4 | 276.1 | 129.4 | 124.2 | 771 | 9999.9 | 9999.9 | 3571 | 30.72 | 20.58 | 15.69 | 11.4 | 8.716 | 6.937 | 6.43 | 5.38 | 5.134 | 4.629
350 | 768.3 | 1189 | 1628 | 2500 | 3138 | 3480 | 3136 | 2979 | 3542 | 4773 | 6186 | 7493 | 8072 | 7823 | 6840 | 5817 | 5456 | 5017 | 4240 | 3293 | 2606 | 2063 | 1655 | 869.8 | 321.7 | 161.6 | 112.2 | 125.8 | 766.6 | 9999.9 | 9999.9 | 3928 | 33.18 | 22.11 | 15.6 | 10.77 | 7.84 | 6.827 | 6.178 | 5.202 | 4.692
355 | 760 | 1042 | 1687 | 2273 | 2808 | 3301 | 2823 | 2693 | 3269 | 4340 | 5586 | 6745 | 7270 | 7151 | 6305 | 5502 | 5182 | 4726 | 4034 | 3099 | 2463 | 1921 | 1455 | 978.7 | 441.3 | 216.2 | 156.1 | 123.1 | 138.9 | 797.3 | 9999.9 | 9999.9 | 3994 | 33.86 | 20.62 | 15.43 | 10.01 | 7.668 | 6.888 | 5.273 | 5.116
360 | 698.3 | 904.8 | 1334 | 2052 | 2762 | 3001 | 2560 | 2368 | 2834 | 3816 | 4884 | 5920 | 6409 | 6395 | 5720 | 5071 | 4814 | 4420 | 3757 | 2869 | 2269 | 1791 | 1321 | 847.3 | 616.6 | 324.9 | 216 | 169.7 | 139.9 | 143.9 | 779.5 | 9999.9 | 9999.9 | 4344 | 33.37 | 20.96 | 14.55 | 10.48 | 7.492 | 5.839 | 5.318
365 | 648.1 | 804.7 | 1388 | 1840 | 2552 | 2732 | 2313 | 2124 | 2535 | 3311 | 4225 | 5093 | 5584 | 5677 | 5156 | 4622 | 4393 | 4048 | 3441 | 2635 | 2062 | 1640 | 1240 | 793.5 | 593.1 | 522.2 | 303.7 | 230.4 | 181.4 | 141.5 | 140.4 | 797.9 | 9999.9 | 9999.9 | 4244 | 31.96 | 18.97 | 13.32 | 9.284 | 7.14 | 6.226
370 | 550.3 | 762.3 | 1135 | 1663 | 2337 | 2468 | 2178 | 1908 | 2194 | 2830 | 3587 | 4357 | 4776 | 4879 | 4528 | 4181 | 3999 | 3665 | 3136 | 2387 | 1879 | 1506 | 1171 | 795.2 | 562.6 | 572.2 | 490.2 | 318.2 | 243.6 | 183 | 135.6 | 140.8 | 808.8 | 9999.9 | 9999.9 | 4107 | 30.93 | 19.16 | 13.28 | 8.745 | 6.936
375 | 503.7 | 710.2 | 1050 | 1529 | 2040 | 2196 | 1909 | 1704 | 1918 | 2429 | 3097 | 3694 | 4078 | 4180 | 3955 | 3708 | 3555 | 3293 | 2828 | 2170 | 1715 | 1399 | 1120 | 808 | 618.7 | 547.9 | 610.3 | 477.1 | 326.1 | 251.7 | 189.5 | 142.9 | 152.7 | 842.2 | 9999.9 | 9999.9 | 3791 | 31.41 | 18.46 | 12.74 | 8.635
380 | 452.1 | 597.5 | 941.9 | 1321 | 1810 | 2011 | 1720 | 1491 | 1675 | 2112 | 2653 | 3113 | 3429 | 3544 | 3453 | 3284 | 3206 | 2981 | 2561 | 1977 | 1584 | 1322 | 1099 | 859.4 | 702 | 623.3 | 611.1 | 664 | 490 | 357.8 | 284.7 | 222.9 | 180.3 | 185 | 855.4 | 9999.9 | 9999.9 | 3603 | 29.34 | 17.67 | 12.18
385 | 399.4 | 568.3 | 785 | 1119 | 1705 | 1827 | 1555 | 1344 | 1491 | 1808 | 2206 | 2619 | 2882 | 3037 | 2995 | 2900 | 2873 | 2708 | 2368 | 1845 | 1506 | 1272 | 1105 | 931.9 | 816.8 | 756.1 | 710 | 716.3 | 730.4 | 539.4 | 421.1 | 351.4 | 288.6 | 229.9 | 209.7 | 877.4 | 9999.9 | 9999.9 | 3451 | 26.7 | 15.86
390 | 721.3 | 522.2 | 803.2 | 1035 | 1578 | 1656 | 1453 | 1259 | 1369 | 1591 | 1931 | 2239 | 2479 | 2622 | 2644 | 2607 | 2608 | 2498 | 2223 | 1761 | 1462 | 1285 | 1147 | 1031 | 962.7 | 919.4 | 884 | 843.3 | 855.7 | 815 | 626.2 | 523 | 446.3 | 359.9 | 260.3 | 218.8 | 836.3 | 9999.9 | 9999.9 | 3340 | 24.57
395 | 1873 | 509 | 685.4 | 941.2 | 1370 | 1573 | 1296 | 1180 | 1235 | 1448 | 1701 | 1967 | 2163 | 2276 | 2348 | 2402 | 2427 | 2359 | 2126 | 1724 | 1467 | 1318 | 1232 | 1156 | 1113 | 1103 | 1081 | 1043 | 996.9 | 1021 | 910.8 | 735.9 | 630.1 | 509.4 | 373.2 | 244.8 | 189.2 | 844.7 | 9999.9 | 9999.9 | 2996
400 | 2833 | 1040 | 617.2 | 1008 | 1216 | 1379 | 1254 | 1130 | 1194 | 1370 | 1553 | 1725 | 1888 | 2015 | 2118 | 2204 | 2270 | 2270 | 2065 | 1713 | 1474 | 1364 | 1308 | 1291 | 1280 | 1282 | 1277 | 1239 | 1203 | 1148 | 1159 | 996.7 | 825.2 | 675.5 | 502.9 | 325 | 192.5 | 157.7 | 797.1 | 9999.9 | 9999.9
405 | 1883 | 2707 | 626.6 | 830.3 | 1210 | 1301 | 1195 | 1102 | 1125 | 1246 | 1391 | 1556 | 1695 | 1828 | 1926 | 2055 | 2155 | 2169 | 2018 | 1696 | 1502 | 1423 | 1427 | 1412 | 1433 | 1455 | 1471 | 1440 | 1399 | 1331 | 1273 | 1244 | 1040 | 840 | 624.1 | 408.6 | 246.3 | 146.1 | 133.4 | 765.3 | 9999.9
410 | 585.9 | 3352 | 1237 | 982.9 | 1143 | 1238 | 1113 | 1104 | 1113 | 1230 | 1332 | 1432 | 1548 | 1654 | 1767 | 1943 | 2050 | 2081 | 1976 | 1695 | 1519 | 1476 | 1485 | 1518 | 1560 | 1595 | 1606 | 1596 | 1545 | 1477 | 1401 | 1341 | 1251 | 984.1 | 731.1 | 481 | 298.6 | 180.8 | 116.2 | 120.7 | 760
415 | 328.7 | 1976 | 2911 | 924.1 | 967.9 | 1155 | 1116 | 1029 | 1091 | 1182 | 1239 | 1324 | 1417 | 1522 | 1634 | 1810 | 1970 | 2010 | 1922 | 1671 | 1536 | 1510 | 1551 | 1593 | 1653 | 1697 | 1720 | 1698 | 1652 | 1587 | 1500 | 1388 | 1327 | 1137 | 817.2 | 546.6 | 350.1 | 218.9 | 140.7 | 99.43 | 113.7
420 | 309.2 | 648.3 | 3811 | 1324 | 944.3 | 1046 | 1022 | 1041 | 1085 | 1146 | 1181 | 1255 | 1310 | 1386 | 1516 | 1696 | 1863 | 1912 | 1846 | 1639 | 1533 | 1529 | 1554 | 1616 | 1682 | 1743 | 1783 | 1767 | 1725 | 1651 | 1557 | 1442 | 1319 | 1205 | 908.7 | 605.7 | 390.8 | 250.4 | 169.4 | 116.1 | 86.43
425 | 263.6 | 389.7 | 2398 | 3136 | 958.4 | 1014 | 983.5 | 1021 | 1055 | 1135 | 1157 | 1200 | 1223 | 1311 | 1423 | 1608 | 1754 | 1827 | 1773 | 1599 | 1513 | 1512 | 1569 | 1633 | 1713 | 1773 | 1805 | 1797 | 1749 | 1678 | 1583 | 1460 | 1322 | 1165 | 977.2 | 668.8 | 423.9 | 284.9 | 198.9 | 142.4 | 103.7
430 | 252.6 | 391.8 | 834.1 | 4288 | 1403 | 968.7 | 979.8 | 1011 | 1035 | 1112 | 1122 | 1136 | 1173 | 1235 | 1331 | 1504 | 1663 | 1732 | 1678 | 1556 | 1478 | 1494 | 1558 | 1623 | 1711 | 1780 | 1806 | 1797 | 1764 | 1686 | 1570 | 1456 | 1322 | 1131 | 941 | 733.3 | 470.4 | 314 | 223.3 | 169 | 123.7
435 | 296 | 326.1 | 520.9 | 2818 | 3293 | 926.7 | 959.4 | 993.9 | 1020 | 1081 | 1100 | 1110 | 1141 | 1175 | 1274 | 1412 | 1570 | 1617 | 1605 | 1493 | 1441 | 1466 | 1538 | 1605 | 1698 | 1749 | 1780 | 1781 | 1728 | 1658 | 1551 | 1431 | 1296 | 1109 | 904.8 | 719 | 535.3 | 354.2 | 253.9 | 192.8 | 148.1
440 | 257.7 | 311.2 | 485.1 | 1048 | 4653 | 1380 | 882.1 | 949.2 | 1019 | 1043 | 1065 | 1083 | 1098 | 1116 | 1201 | 1338 | 1458 | 1525 | 1507 | 1427 | 1384 | 1417 | 1485 | 1561 | 1643 | 1716 | 1738 | 1737 | 1697 | 1611 | 1501 | 1388 | 1252 | 1087 | 889.3 | 686.6 | 554.9 | 414.7 | 293.9 | 226.5 | 178.7
445 | 266.7 | 318.7 | 391.8 | 659.3 | 3378 | 3307 | 871 | 902 | 980.7 | 1038 | 1047 | 1046 | 1046 | 1060 | 1125 | 1235 | 1364 | 1426 | 1404 | 1326 | 1314 | 1346 | 1430 | 1506 | 1585 | 1647 | 1675 | 1677 | 1626 | 1553 | 1437 | 1320 | 1198 | 1049 | 868.2 | 671.6 | 525.6 | 457.6 | 342.3 | 259.1 | 209.2
450 | 221.7 | 341.4 | 425.4 | 511.8 | 1244 | 5327 | 1334 | 860.3 | 933.4 | 1004 | 1019 | 1031 | 1022 | 1029 | 1056 | 1169 | 1261 | 1305 | 1295 | 1244 | 1240 | 1270 | 1340 | 1417 | 1497 | 1553 | 1585 | 1575 | 1532 | 1446 | 1345 | 1244 | 1125 | 993.4 | 837.4 | 666.2 | 526.9 | 446.2 | 401.9 | 310.4 | 245.8
455 | 215.2 | 267.7 | 371.2 | 497.1 | 635.6 | 4221 | 3506 | 828.6 | 875.5 | 950.3 | 979.1 | 990.8 | 991.9 | 1004 | 998.6 | 1083 | 1153 | 1193 | 1176 | 1131 | 1148 | 1173 | 1251 | 1318 | 1390 | 1446 | 1478 | 1469 | 1425 | 1350 | 1252 | 1163 | 1055 | 939.1 | 800.1 | 650.1 | 532.4 | 444.2 | 416.6 | 378.2 | 298.1
460 | 237.5 | 303.7 | 357.7 | 474.4 | 549 | 1401 | 5993 | 1366 | 844.7 | 939.1 | 950 | 966.4 | 973.9 | 955.7 | 949.5 | 1022 | 1071 | 1091 | 1064 | 1026 | 1050 | 1083 | 1149 | 1214 | 1287 | 1333 | 1367 | 1357 | 1320 | 1247 | 1162 | 1067 | 984.6 | 881.6 | 773.2 | 643.7 | 539.7 | 466.9 | 419.5 | 409.5 | 357.9
465 | 203.6 | 257.4 | 363.4 | 460 | 520.5 | 661.8 | 4838 | 3634 | 840.7 | 858.4 | 906.9 | 939.2 | 945.8 | 918 | 898.3 | 939.2 | 978.2 | 995.6 | 963.6 | 922.3 | 953.8 | 994.4 | 1044 | 1104 | 1168 | 1223 | 1251 | 1248 | 1205 | 1146 | 1064 | 978 | 909.9 | 823.7 | 734.5 | 633.4 | 551.5 | 482.9 | 442.9 | 416 | 405.7
470 | 201.5 | 249.3 | 269.2 | 379.4 | 479.6 | 555.9 | 1545 | 6381 | 1379 | 834.4 | 858.9 | 889.5 | 921.5 | 882.8 | 872.2 | 884.3 | 913 | 896.9 | 853 | 834.5 | 855.1 | 890.6 | 940.9 | 1002 | 1060 | 1104 | 1132 | 1126 | 1097 | 1041 | 967.2 | 894.7 | 837.8 | 772.5 | 696.5 | 610.5 | 543.7 | 498.9 | 457.5 | 429.8 | 412.1
475 | 177.9 | 205.1 | 306.9 | 339 | 444.7 | 511 | 630.2 | 5356 | 3763 | 782.9 | 824.7 | 841.9 | 886.5 | 846.3 | 810.9 | 825.5 | 842.8 | 820 | 773.9 | 742.1 | 751.1 | 793.2 | 843.9 | 893.3 | 946.6 | 995.7 | 1024 | 1019 | 990.9 | 939.1 | 873.1 | 819.1 | 766.3 | 715.6 | 662.3 | 599.6 | 544.8 | 496.1 | 471.1 | 443.6 | 412.9
480 | 163 | 200 | 275.5 | 349.7 | 394.8 | 463.8 | 499.2 | 1742 | 6624 | 1348 | 771.4 | 832.8 | 838.3 | 834.5 | 815.1 | 798.5 | 794.8 | 747.9 | 692.3 | 658.2 | 685 | 705 | 757 | 805.9 | 847.4 | 895.5 | 924.4 | 924.2 | 903.5 | 859 | 806.1 | 749.6 | 719.8 | 683.6 | 639.9 | 591 | 540.6 | 508 | 481.6 | 456.7 | 430
485 | 196.4 | 201.4 | 247 | 277 | 368.4 | 468.9 | 491.7 | 617.2 | 5719 | 3626 | 776.3 | 826.7 | 859.3 | 866.5 | 838.2 | 800.7 | 787 | 706.1 | 632.4 | 604.8 | 606.9 | 639.6 | 691.6 | 732.7 | 779.6 | 817.4 | 839.6 | 850 | 833.9 | 804.2 | 755.7 | 719.3 | 694.2 | 676.4 | 637.2 | 599.3 | 561.1 | 526.2 | 498.4 | 478.5 | 456.3
490 | 146.3 | 172.5 | 226.2 | 287 | 378.2 | 452.2 | 484.3 | 520 | 1908 | 6635 | 1305 | 845.7 | 913.3 | 936.4 | 909.4 | 866.1 | 798.5 | 697.1 | 592.1 | 544.2 | 553 | 587.5 | 618.4 | 664.2 | 707.1 | 754.2 | 778.8 | 787.9 | 790.8 | 759.2 | 726 | 702.5 | 694 | 681.5 | 660.5 | 624.3 | 589.7 | 556.4 | 526.1 | 499.1 | 477.2
495 | 179.9 | 159.9 | 210 | 272.1 | 341.6 | 459.2 | 499 | 518.7 | 662.9 | 5941 | 3533 | 894.5 | 970.5 | 1018 | 995.5 | 919.8 | 834 | 689.1 | 557.9 | 496.6 | 504.2 | 532.7 | 565.2 | 604.9 | 647.6 | 694.7 | 724.3 | 734.8 | 749 | 734.7 | 714.3 | 704.4 | 702.8 | 709.5 | 695.7 | 667 | 633.1 | 597.4 | 555.8 | 533.2 | 510.3
500 | 130.1 | 173.1 | 200.2 | 282.8 | 372 | 409.7 | 508.6 | 490.5 | 571.3 | 2153 | 6503 | 1401 | 1056 | 1100 | 1105 | 1011 | 885.8 | 712.3 | 538.5 | 452.1 | 460.3 | 477.9 | 502.5 | 540.1 | 591 | 629.4 | 671.6 | 692.4 | 705 | 708.9 | 707.5 | 708.5 | 724.3 | 742.4 | 736.9 | 712.6 | 681.4 | 634.4 | 590.9 | 560.3 | 540.6