## Sheet1
Report date: | 15:46:05, 09/18/2024
Sample: | 1
File name:
Run date: | 15:40:40, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/345.0 | 3591
2 | 250.0/275.0 | 333.2
3 | 255.0/280.0 | 406.9
4 | 260.0/340.0 | 8256
5 | 330.0/425.0 | 1785
6 | 390.0/275.0 | 5.317
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 96.25 | 82.21 | 114.2 | 115.3 | 86.29 | 56.69 | 32.26 | 22.8 | 48.22 | 262.4 | 157.1 | 53.58 | 139 | 9999.9 | 9999.9 | 4956 | 38.02 | 16.74 | 12.43 | 8.461 | 6.987 | 6.102 | 4.791 | 4.894 | 4.024 | 4.199 | 4.084 | 3.66 | 4.219 | 3.804 | 3.755 | 3.793 | 4.075 | 3.728 | 3.704 | 3.853 | 5.169 | 5.287 | 5.018 | 3.559 | 3.295
275 | 213.4 | 150.7 | 203.4 | 252.3 | 288.8 | 194.3 | 58.71 | 33.73 | 33.37 | 102.3 | 333.2 | 168.7 | 107.3 | 813.6 | 9999.9 | 9999.9 | 4611 | 36.73 | 17.04 | 10.08 | 7.803 | 7.165 | 5.49 | 4.915 | 4.805 | 4.893 | 4.307 | 4.175 | 4.11 | 3.962 | 4.271 | 4.358 | 4.198 | 3.813 | 4.085 | 3.69 | 4.09 | 4.317 | 5.317 | 4.193 | 3.975
280 | 316.8 | 274.5 | 325 | 455.6 | 476.7 | 365.9 | 132.9 | 56.45 | 44.04 | 65.55 | 200.2 | 406.9 | 235.1 | 245.6 | 884.6 | 9999.9 | 9999.9 | 4300 | 36.18 | 15.34 | 11.35 | 8.445 | 6.833 | 5.907 | 4.905 | 4.877 | 5.045 | 4.49 | 4.45 | 4.267 | 4.451 | 4.222 | 3.632 | 4.251 | 3.698 | 3.557 | 3.724 | 3.693 | 4.446 | 4.97 | 4.128
285 | 430.9 | 333.4 | 464.1 | 731.9 | 792.4 | 719.4 | 379.3 | 164.5 | 96.37 | 98.5 | 143 | 386.1 | 598.7 | 465.1 | 551.7 | 1156 | 9999.9 | 9999.9 | 3877 | 34.75 | 15.75 | 9.734 | 7.944 | 7.193 | 5.463 | 5.65 | 5.097 | 5.038 | 4.281 | 4.431 | 4.709 | 4.056 | 4.383 | 3.887 | 4.126 | 3.665 | 3.266 | 3.702 | 3.547 | 4.402 | 4.405
290 | 595.2 | 488.8 | 628.4 | 930.1 | 1266 | 1270 | 864.5 | 452.1 | 239.6 | 189.6 | 241.7 | 386.3 | 875 | 1113 | 1219 | 1285 | 1691 | 9999.9 | 9999.9 | 3438 | 30.78 | 14.32 | 10.75 | 8.346 | 7.053 | 6.592 | 5.619 | 5.611 | 5.007 | 4.677 | 4.733 | 4.942 | 4.263 | 4.828 | 4.586 | 3.629 | 3.875 | 3.379 | 3.259 | 3.678 | 4.154
295 | 658.6 | 642 | 858.9 | 1211 | 1790 | 1891 | 1507 | 863.5 | 507.9 | 376.1 | 400.5 | 578.8 | 977.6 | 1796 | 2227 | 2250 | 1976 | 1802 | 9999.9 | 9999.9 | 3101 | 28.51 | 14.61 | 11.06 | 8.399 | 7.506 | 6.583 | 6.116 | 5.618 | 5.387 | 4.919 | 5.047 | 4.543 | 4.507 | 4.466 | 3.999 | 3.909 | 3.394 | 3.569 | 3.742 | 3.729
300 | 885.8 | 896 | 981.5 | 1366 | 2061 | 2515 | 2055 | 1312 | 856.2 | 660.6 | 669.6 | 880.9 | 1330 | 2047 | 3143 | 3276 | 2812 | 1773 | 1284 | 9999.9 | 9999.9 | 2865 | 25.75 | 14.85 | 11.62 | 9.362 | 7.45 | 6.481 | 6.074 | 5.586 | 5.627 | 4.971 | 4.856 | 4.903 | 4.463 | 4.366 | 3.822 | 3.44 | 3.567 | 3.712 | 3.359
305 | 937.1 | 996.1 | 1133 | 1521 | 2340 | 2807 | 2469 | 1779 | 1272 | 1066 | 1115 | 1337 | 1799 | 2512 | 3494 | 4238 | 3554 | 2246 | 927.5 | 980.4 | 9999.9 | 9999.9 | 2635 | 26.68 | 14.09 | 11.36 | 8.767 | 7.703 | 7.037 | 6.579 | 5.927 | 5.387 | 5.696 | 5.221 | 5.119 | 4.045 | 3.92 | 4.176 | 3.774 | 3.663 | 3.465
310 | 1082 | 1051 | 1241 | 1704 | 2294 | 3015 | 2808 | 2153 | 1796 | 1705 | 1898 | 2147 | 2591 | 3173 | 3944 | 4514 | 4323 | 2781 | 1261 | 568.4 | 939.6 | 9999.9 | 9999.9 | 2655 | 30.42 | 15.59 | 12.09 | 8.768 | 7.795 | 6.81 | 6.082 | 5.738 | 5.61 | 5.299 | 4.718 | 4.511 | 4.111 | 4.21 | 3.933 | 3.678 | 3.453
315 | 1001 | 1090 | 1517 | 1842 | 2552 | 3249 | 2981 | 2578 | 2389 | 2570 | 3022 | 3468 | 3799 | 4219 | 4616 | 4806 | 4633 | 3478 | 1808 | 959.6 | 661.5 | 1120 | 9999.9 | 9999.9 | 2482 | 28.03 | 16.43 | 12.34 | 9.175 | 7.89 | 6.962 | 6.095 | 6.318 | 5.743 | 5.608 | 5.017 | 4.962 | 4.209 | 4.052 | 3.838 | 3.936
320 | 943.4 | 1228 | 1526 | 2080 | 2715 | 3255 | 3213 | 2918 | 3033 | 3561 | 4299 | 5013 | 5310 | 5439 | 5341 | 5173 | 4825 | 4009 | 2570 | 1546 | 1080 | 858.2 | 1220 | 9999.9 | 9999.9 | 2573 | 26.24 | 16.25 | 12.35 | 10.04 | 8.068 | 7.358 | 7.411 | 5.962 | 5.497 | 5.381 | 4.738 | 4.556 | 4.484 | 3.872 | 3.618
325 | 937.9 | 1238 | 1650 | 2315 | 2850 | 3432 | 3293 | 3170 | 3515 | 4310 | 5399 | 6228 | 6577 | 6442 | 5974 | 5458 | 5082 | 4193 | 3217 | 2137 | 1501 | 1151 | 825.2 | 1027 | 9999.9 | 9999.9 | 2635 | 27.26 | 16.87 | 12.93 | 9.647 | 8.216 | 7.741 | 7.397 | 6.437 | 5.764 | 4.375 | 4.589 | 4.127 | 3.921 | 3.598
330 | 888.1 | 1313 | 1841 | 2423 | 3060 | 3446 | 3321 | 3315 | 3853 | 4829 | 6094 | 7115 | 7498 | 7316 | 6437 | 5717 | 5274 | 4494 | 3444 | 2728 | 1930 | 1429 | 974.9 | 486.2 | 830.3 | 9999.9 | 9999.9 | 2826 | 27.52 | 17.11 | 13.66 | 9.863 | 8.583 | 8.242 | 6.759 | 5.991 | 5.096 | 4.8 | 4.668 | 4.16 | 3.915
335 | 894.2 | 1297 | 1798 | 2561 | 3185 | 3517 | 3314 | 3352 | 3958 | 5192 | 6536 | 7727 | 8091 | 7804 | 6770 | 5882 | 5402 | 4756 | 3729 | 2870 | 2392 | 1687 | 1145 | 519.9 | 221.3 | 766.9 | 9999.9 | 9999.9 | 3042 | 28.6 | 18.35 | 14.18 | 11.03 | 8.601 | 7.784 | 6.703 | 5.934 | 5.136 | 4.742 | 4.536 | 4.247
340 | 971.9 | 1175 | 1725 | 2468 | 3194 | 3575 | 3290 | 3279 | 3891 | 5142 | 6546 | 7830 | 8256 | 7993 | 6797 | 5865 | 5450 | 4863 | 3902 | 2959 | 2418 | 1973 | 1238 | 578 | 212.8 | 131.8 | 760.5 | 9999.9 | 9999.9 | 3238 | 29.23 | 19.14 | 15.3 | 10.44 | 8.743 | 7.603 | 6.271 | 5.468 | 4.924 | 4.853 | 4.442
345 | 870.1 | 1190 | 1673 | 2530 | 3084 | 3591 | 3169 | 3044 | 3718 | 4871 | 6327 | 7515 | 7951 | 7668 | 6675 | 5738 | 5371 | 4815 | 3934 | 2972 | 2318 | 1958 | 1401 | 619.7 | 241.7 | 121.3 | 121.4 | 767 | 9999.9 | 9999.9 | 3540 | 30.49 | 19.82 | 15.12 | 11.07 | 9.011 | 7.053 | 6.029 | 5.568 | 4.971 | 4.565
350 | 758.9 | 1137 | 1665 | 2292 | 3023 | 3377 | 2910 | 2794 | 3390 | 4530 | 5834 | 6892 | 7434 | 7199 | 6329 | 5536 | 5141 | 4680 | 3848 | 2901 | 2241 | 1761 | 1432 | 754.9 | 287.3 | 156.1 | 111.4 | 126.5 | 769.6 | 9999.9 | 9999.9 | 3848 | 31.75 | 20.54 | 15.03 | 11.4 | 8.596 | 7.198 | 6.193 | 4.919 | 4.648
355 | 708.9 | 1074 | 1391 | 2286 | 2865 | 3166 | 2747 | 2586 | 3030 | 4026 | 5210 | 6244 | 6735 | 6587 | 5869 | 5193 | 4882 | 4409 | 3678 | 2757 | 2131 | 1649 | 1232 | 869 | 404.9 | 209.8 | 149.4 | 119.5 | 136.1 | 794.1 | 9999.9 | 9999.9 | 3929 | 32.24 | 21.06 | 15.33 | 10.53 | 7.745 | 6.115 | 5.666 | 5.38
360 | 655.1 | 907.7 | 1390 | 1967 | 2638 | 2943 | 2473 | 2342 | 2668 | 3563 | 4570 | 5472 | 5965 | 5907 | 5378 | 4800 | 4508 | 4127 | 3461 | 2570 | 1983 | 1557 | 1142 | 756 | 592.6 | 317.5 | 211.5 | 167.5 | 134.4 | 144.3 | 780.1 | 9999.9 | 9999.9 | 4273 | 33.67 | 20.55 | 13.65 | 9.688 | 7.964 | 5.94 | 5.648
365 | 597.3 | 815.4 | 1254 | 1760 | 2430 | 2647 | 2337 | 2022 | 2389 | 3137 | 3990 | 4763 | 5185 | 5240 | 4817 | 4382 | 4176 | 3785 | 3206 | 2359 | 1834 | 1444 | 1095 | 713.9 | 573 | 513.3 | 302.4 | 224.7 | 179.3 | 136.6 | 140.4 | 797.8 | 9999.9 | 9999.9 | 4266 | 32.65 | 19.87 | 13.09 | 8.806 | 7.046 | 6.341
370 | 534.8 | 750.5 | 1163 | 1621 | 2232 | 2396 | 2103 | 1824 | 2073 | 2706 | 3423 | 4081 | 4447 | 4538 | 4279 | 3937 | 3756 | 3437 | 2910 | 2178 | 1692 | 1345 | 1045 | 729.2 | 537 | 559.4 | 485 | 304.6 | 234.3 | 181.4 | 131.7 | 138 | 812.5 | 9999.9 | 9999.9 | 4051 | 31.06 | 19.21 | 13.48 | 8.989 | 6.749
375 | 461.2 | 642.1 | 970.9 | 1418 | 1870 | 2149 | 1837 | 1568 | 1851 | 2317 | 2913 | 3474 | 3777 | 3922 | 3739 | 3492 | 3393 | 3112 | 2628 | 1992 | 1563 | 1272 | 1020 | 759.4 | 596.8 | 528.4 | 601.7 | 473 | 319.2 | 245.7 | 185.2 | 139.4 | 149.6 | 832.5 | 9999.9 | 9999.9 | 3922 | 30.16 | 18.31 | 12.07 | 8.766
380 | 435.3 | 615.3 | 911.1 | 1295 | 1724 | 1858 | 1664 | 1455 | 1618 | 2009 | 2486 | 2920 | 3197 | 3339 | 3251 | 3095 | 3013 | 2824 | 2401 | 1836 | 1459 | 1215 | 1013 | 816.2 | 682.4 | 614.1 | 596.9 | 653.8 | 480 | 351.3 | 273.2 | 217.5 | 171.7 | 179.7 | 845.2 | 9999.9 | 9999.9 | 3697 | 28.9 | 16.5 | 11.43
385 | 370.3 | 536.3 | 806 | 1185 | 1599 | 1742 | 1516 | 1320 | 1449 | 1752 | 2104 | 2458 | 2725 | 2882 | 2838 | 2788 | 2753 | 2569 | 2236 | 1728 | 1399 | 1191 | 1044 | 889 | 791.4 | 738.3 | 692.8 | 700 | 711.9 | 521.7 | 413.5 | 334.3 | 273.2 | 220.6 | 204.6 | 871.3 | 9999.9 | 9999.9 | 3502 | 25.49 | 15.71
390 | 655.8 | 535 | 711.8 | 1073 | 1376 | 1586 | 1352 | 1228 | 1307 | 1563 | 1852 | 2131 | 2360 | 2457 | 2504 | 2526 | 2501 | 2392 | 2112 | 1662 | 1386 | 1215 | 1101 | 999.8 | 930.6 | 904.6 | 861.2 | 822.4 | 841.4 | 795.1 | 604 | 503.5 | 423.9 | 339.2 | 250.9 | 211.8 | 832.1 | 9999.9 | 9999.9 | 3400 | 24.4
395 | 1864 | 470.5 | 650.2 | 986.6 | 1329 | 1461 | 1280 | 1173 | 1222 | 1403 | 1621 | 1861 | 2055 | 2154 | 2223 | 2302 | 2336 | 2269 | 2053 | 1653 | 1388 | 1266 | 1196 | 1127 | 1089 | 1073 | 1053 | 1014 | 964.1 | 993.3 | 880.8 | 708.8 | 599.1 | 490.3 | 360.6 | 231.2 | 184.5 | 840.5 | 9999.9 | 9999.9 | 3085
400 | 2540 | 911.6 | 617.7 | 928.6 | 1216 | 1360 | 1199 | 1149 | 1149 | 1304 | 1489 | 1662 | 1812 | 1925 | 2022 | 2129 | 2212 | 2190 | 1996 | 1658 | 1423 | 1330 | 1280 | 1262 | 1266 | 1265 | 1251 | 1219 | 1167 | 1113 | 1117 | 964.1 | 784 | 647 | 477.2 | 312.1 | 188.1 | 155.8 | 793.6 | 9999.9 | 9999.9
405 | 1671 | 2548 | 643.7 | 923.5 | 1141 | 1253 | 1131 | 1073 | 1131 | 1222 | 1371 | 1507 | 1609 | 1736 | 1839 | 1993 | 2096 | 2123 | 1983 | 1659 | 1468 | 1395 | 1384 | 1389 | 1402 | 1435 | 1422 | 1399 | 1355 | 1286 | 1237 | 1202 | 1004 | 801.8 | 598.7 | 394 | 237.5 | 143.2 | 132.4 | 759.8 | 9999.9
410 | 586.1 | 3450 | 1132 | 823.2 | 1085 | 1217 | 1131 | 1053 | 1097 | 1186 | 1298 | 1403 | 1479 | 1580 | 1716 | 1887 | 2004 | 2043 | 1938 | 1663 | 1500 | 1460 | 1467 | 1494 | 1531 | 1574 | 1581 | 1555 | 1502 | 1441 | 1355 | 1291 | 1200 | 943.7 | 694.2 | 474.7 | 293 | 177.8 | 112.3 | 119.9 | 755.7
415 | 345 | 2088 | 2839 | 827 | 1037 | 1133 | 1080 | 1041 | 1074 | 1181 | 1227 | 1302 | 1383 | 1464 | 1611 | 1763 | 1917 | 1969 | 1890 | 1668 | 1530 | 1484 | 1519 | 1577 | 1620 | 1672 | 1689 | 1666 | 1623 | 1555 | 1449 | 1352 | 1276 | 1108 | 787.3 | 531.9 | 345.3 | 215.1 | 140.7 | 99.69 | 112.8
420 | 325.3 | 621.8 | 3853 | 1470 | 974 | 1111 | 1030 | 1020 | 1040 | 1119 | 1163 | 1214 | 1297 | 1353 | 1474 | 1646 | 1811 | 1902 | 1832 | 1631 | 1519 | 1505 | 1552 | 1610 | 1677 | 1726 | 1751 | 1738 | 1694 | 1614 | 1511 | 1402 | 1269 | 1168 | 883 | 587.6 | 384.5 | 251.7 | 171.1 | 118.8 | 86.84
425 | 275.4 | 400.8 | 2356 | 3399 | 900.6 | 996.9 | 1007 | 1014 | 1071 | 1134 | 1138 | 1182 | 1227 | 1258 | 1402 | 1554 | 1712 | 1792 | 1762 | 1600 | 1500 | 1511 | 1564 | 1626 | 1692 | 1756 | 1785 | 1764 | 1716 | 1640 | 1540 | 1420 | 1283 | 1127 | 950.7 | 652.1 | 423.6 | 280.3 | 199.1 | 143.4 | 107.1
430 | 313 | 367.6 | 808 | 4408 | 1375 | 922.6 | 969 | 994.2 | 1051 | 1090 | 1121 | 1140 | 1172 | 1214 | 1321 | 1478 | 1636 | 1702 | 1678 | 1548 | 1484 | 1492 | 1548 | 1618 | 1699 | 1766 | 1780 | 1772 | 1711 | 1642 | 1543 | 1418 | 1280 | 1107 | 924.2 | 726.7 | 469.6 | 316.5 | 231 | 171.1 | 129.1
435 | 312 | 405.5 | 515.3 | 2823 | 3132 | 898.2 | 970.2 | 932.6 | 1038 | 1092 | 1099 | 1107 | 1123 | 1169 | 1259 | 1400 | 1533 | 1612 | 1593 | 1497 | 1455 | 1486 | 1522 | 1594 | 1680 | 1736 | 1763 | 1761 | 1704 | 1615 | 1515 | 1398 | 1260 | 1087 | 884 | 715.4 | 539 | 356 | 259.4 | 199.5 | 154.1
440 | 295.8 | 338 | 466.4 | 1059 | 4782 | 1355 | 870 | 939.6 | 1008 | 1088 | 1102 | 1085 | 1086 | 1116 | 1178 | 1311 | 1443 | 1515 | 1515 | 1416 | 1392 | 1441 | 1485 | 1552 | 1637 | 1702 | 1720 | 1704 | 1660 | 1578 | 1478 | 1356 | 1221 | 1068 | 866.3 | 679.6 | 564.7 | 418.8 | 291.8 | 229.8 | 181.2
445 | 231.2 | 321.4 | 459.5 | 615 | 3288 | 3358 | 884.3 | 915.3 | 954.4 | 1052 | 1061 | 1051 | 1067 | 1056 | 1103 | 1239 | 1353 | 1407 | 1407 | 1337 | 1328 | 1373 | 1425 | 1502 | 1571 | 1636 | 1655 | 1647 | 1599 | 1512 | 1410 | 1295 | 1175 | 1023 | 845.1 | 669.8 | 531.9 | 461.2 | 346.9 | 262.9 | 211.3
450 | 222.6 | 313.4 | 427.4 | 498.9 | 1283 | 5351 | 1414 | 844.5 | 946.2 | 1007 | 1024 | 1014 | 1029 | 1011 | 1051 | 1158 | 1239 | 1303 | 1281 | 1242 | 1243 | 1287 | 1338 | 1413 | 1482 | 1541 | 1569 | 1558 | 1507 | 1429 | 1329 | 1223 | 1112 | 977.5 | 824.2 | 656.6 | 521.1 | 450.1 | 400.6 | 309.5 | 243.7
455 | 251.8 | 275.8 | 362.2 | 475.3 | 638.2 | 4182 | 3557 | 842.6 | 891 | 954.9 | 990.6 | 991.6 | 993.9 | 977.6 | 995.6 | 1063 | 1163 | 1186 | 1182 | 1153 | 1153 | 1201 | 1245 | 1313 | 1386 | 1438 | 1467 | 1456 | 1407 | 1325 | 1242 | 1139 | 1037 | 923.2 | 788.1 | 646.3 | 524.7 | 443.5 | 409.8 | 364.1 | 284.1
460 | 202.5 | 251.9 | 375.4 | 497.7 | 577.1 | 1430 | 6022 | 1341 | 833.3 | 915.2 | 949.2 | 966.4 | 957.1 | 949 | 931.6 | 990.9 | 1062 | 1084 | 1068 | 1036 | 1052 | 1111 | 1144 | 1209 | 1272 | 1327 | 1359 | 1350 | 1314 | 1232 | 1141 | 1055 | 964.5 | 869.4 | 750.6 | 629.4 | 533.9 | 451.7 | 403.7 | 391.9 | 339.9
465 | 189.4 | 269.4 | 355.8 | 441.8 | 513.9 | 644.9 | 4764 | 3633 | 812.3 | 860 | 911.9 | 940.4 | 932.7 | 891.8 | 872.9 | 935.8 | 987.6 | 977.9 | 973.4 | 945.7 | 960.6 | 1002 | 1048 | 1109 | 1166 | 1213 | 1239 | 1232 | 1206 | 1135 | 1043 | 965.9 | 894.9 | 812.2 | 719.5 | 615.9 | 532.8 | 464.1 | 415.5 | 388.8 | 378
470 | 215.3 | 256.8 | 304.1 | 390.4 | 456.8 | 521.6 | 1544 | 6359 | 1382 | 815.8 | 860.5 | 872.4 | 898.3 | 867.2 | 839.7 | 856.7 | 888.1 | 886.7 | 870.4 | 837.4 | 864.8 | 907.3 | 945.4 | 1000 | 1050 | 1092 | 1126 | 1117 | 1084 | 1025 | 953.7 | 878.7 | 818.7 | 758 | 675.8 | 593.4 | 523.5 | 468 | 423.2 | 394.5 | 380.6
475 | 215.2 | 207.8 | 288.6 | 360.3 | 489.3 | 451 | 624.2 | 5298 | 3698 | 783.8 | 803.8 | 846.3 | 861 | 827.7 | 786.2 | 785.8 | 822.7 | 807.8 | 766.6 | 740.3 | 771.2 | 803.4 | 853.2 | 886.2 | 941.1 | 995.6 | 1013 | 1007 | 979.4 | 932 | 863.7 | 802.1 | 755.2 | 697.3 | 642.7 | 576.1 | 512.7 | 474.5 | 432.7 | 405.7 | 376
480 | 166.7 | 214.7 | 292.6 | 305 | 445.4 | 444.6 | 523.1 | 1744 | 6564 | 1333 | 763.6 | 811.6 | 837.8 | 820 | 772.1 | 768.8 | 762.5 | 740.8 | 691.1 | 668.8 | 688.6 | 720.6 | 751.4 | 800.1 | 846.3 | 887.9 | 920 | 922.7 | 897.6 | 853 | 791 | 740.5 | 700.8 | 664.2 | 618.3 | 564.8 | 514.7 | 476.1 | 442.5 | 419.9 | 387.7
485 | 145 | 202.9 | 235.8 | 310.1 | 364.7 | 429.1 | 462.6 | 630.4 | 5584 | 3663 | 778.7 | 809.8 | 832.4 | 836.3 | 799.3 | 769.2 | 763.9 | 706.6 | 626.3 | 609 | 620.7 | 654.1 | 687 | 724.6 | 778.3 | 814.3 | 841.1 | 845.1 | 826.3 | 796.1 | 744.8 | 704 | 671.6 | 645.7 | 612.4 | 572.4 | 530.6 | 487.1 | 461.3 | 431.1 | 408.3
490 | 190.5 | 169.6 | 230.4 | 303.5 | 355.7 | 431.5 | 486.2 | 516.8 | 1879 | 6631 | 1295 | 831.3 | 883 | 909.1 | 871 | 826.8 | 780.9 | 684.9 | 584.8 | 551.8 | 556.9 | 594.4 | 619 | 660.2 | 704.5 | 753.8 | 776.3 | 785.6 | 781.8 | 748.1 | 718.1 | 686.3 | 673.6 | 651 | 631.6 | 595.9 | 554 | 514.7 | 486.8 | 451.6 | 426.8
495 | 167.6 | 218.2 | 222.2 | 266.2 | 313.5 | 437.5 | 508.8 | 495.4 | 651.2 | 5998 | 3443 | 867.8 | 949.1 | 997.9 | 963.7 | 893.6 | 818 | 682.2 | 565.3 | 498.9 | 511 | 532.2 | 566.5 | 601.1 | 648.6 | 682.8 | 713.3 | 733.9 | 739.8 | 731.8 | 700.9 | 691.5 | 682.5 | 680.2 | 665.9 | 634.1 | 592.2 | 548.1 | 514.1 | 481.4 | 459.6
500 | 167.1 | 173.4 | 209.6 | 290.5 | 333.5 | 428 | 491.8 | 502.7 | 563 | 2136 | 6523 | 1358 | 1022 | 1097 | 1090 | 969.3 | 846.9 | 685.5 | 525.5 | 461.8 | 458.1 | 478.2 | 506.6 | 541.2 | 585.3 | 624.6 | 661.9 | 685.3 | 701.2 | 703.2 | 688.9 | 690.5 | 700.8 | 712.2 | 704.9 | 674.8 | 635.8 | 590.6 | 550.6 | 511 | 486.1