## Sheet1
Report date: | 15:52:52, 09/18/2024
Sample: | 1
File name:
Run date: | 15:47:25, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 210.0/495.0 | 210.3
2 | 225.0/310.0 | 3055
3 | 245.0/420.0 | 1028
4 | 245.0/440.0 | 1013
5 | 250.0/275.0 | 350.2
6 | 250.0/425.0 | 1028
7 | 250.0/435.0 | 1015
8 | 255.0/280.0 | 434.5
9 | 275.0/340.0 | 4583
10 | 315.0/435.0 | 1673
11 | 325.0/370.0 | 465.1
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 85.29 | 87.41 | 93.53 | 92.26 | 98.79 | 66.97 | 30.49 | 20.42 | 46.35 | 275.2 | 159.7 | 48.45 | 114.2 | 9999.9 | 9999.9 | 4071 | 31.71 | 12.09 | 9.847 | 7.665 | 5.326 | 4.397 | 4.325 | 3.82 | 3.704 | 3.76 | 3.53 | 3.426 | 3.198 | 3.016 | 3.281 | 3.207 | 3.363 | 2.934 | 2.96 | 3.277 | 3.664 | 4.073 | 3.351 | 3.064 | 2.601
275 | 298.1 | 187.3 | 271.3 | 288.9 | 323.5 | 228.4 | 76.42 | 28.27 | 29.83 | 101.6 | 350.2 | 184 | 111.2 | 791.7 | 9999.9 | 9999.9 | 3546 | 29.21 | 11.36 | 8.529 | 6.694 | 4.887 | 4.775 | 4.625 | 3.867 | 3.523 | 3.522 | 3.633 | 3.325 | 2.946 | 2.957 | 3.33 | 2.928 | 3.056 | 3.153 | 2.891 | 3.143 | 3.784 | 3.814 | 3.923 | 2.756
280 | 357.7 | 276.1 | 410.4 | 537.6 | 621.1 | 434.5 | 143.5 | 52.91 | 40.18 | 63.44 | 197.9 | 434.5 | 235.2 | 246.7 | 879.7 | 9999.9 | 9999.9 | 3235 | 27.23 | 10.81 | 7.472 | 6.496 | 5.148 | 5.189 | 4.809 | 4.046 | 3.902 | 3.907 | 3.657 | 3.508 | 3.363 | 3.214 | 2.868 | 3.481 | 3.07 | 2.736 | 3.008 | 3.017 | 3.722 | 3.872 | 3.798
285 | 520.3 | 433.8 | 557.6 | 833.1 | 1034 | 771.1 | 320.2 | 136.3 | 82.63 | 88.44 | 140.3 | 408 | 593.2 | 444.3 | 511.9 | 1068 | 9999.9 | 9999.9 | 2789 | 27 | 10.82 | 7.473 | 5.92 | 5.537 | 4.463 | 4.017 | 4.125 | 3.852 | 3.813 | 3.22 | 3.215 | 3.152 | 3.191 | 3.471 | 3.467 | 2.903 | 2.872 | 2.825 | 3.072 | 3.534 | 3.59
290 | 749.7 | 632.3 | 781.3 | 1108 | 1356 | 1285 | 738.9 | 370.9 | 213.1 | 171.3 | 229.1 | 386.3 | 843.7 | 1054 | 1064 | 1123 | 1534 | 9999.9 | 9999.9 | 2499 | 22.01 | 9.601 | 8.651 | 5.939 | 5.288 | 4.941 | 4.411 | 4.178 | 3.71 | 3.737 | 3.348 | 3.443 | 3.091 | 3.436 | 3.271 | 2.939 | 2.43 | 2.742 | 3.005 | 3.199 | 3.26
295 | 910.8 | 736.8 | 985.1 | 1382 | 1870 | 1928 | 1332 | 737.2 | 466.4 | 371.2 | 447.3 | 639.8 | 960.9 | 1700 | 2017 | 2010 | 1739 | 1706 | 9999.9 | 9999.9 | 2253 | 21.58 | 10.79 | 8.404 | 6.666 | 5.336 | 5.349 | 4.56 | 3.688 | 4.461 | 4.027 | 3.237 | 3.605 | 3.39 | 3.421 | 3.313 | 2.891 | 3.374 | 2.946 | 3.069 | 2.944
300 | 1169 | 1034 | 1229 | 1666 | 2341 | 2505 | 1915 | 1234 | 847.9 | 740.5 | 827.5 | 1065 | 1446 | 2067 | 3018 | 3049 | 2595 | 1735 | 1318 | 9999.9 | 9999.9 | 2089 | 18.28 | 11.13 | 8.426 | 6.875 | 5.935 | 4.842 | 4.854 | 4.103 | 4.047 | 3.981 | 3.478 | 3.769 | 3.454 | 3.229 | 3.427 | 3.109 | 3.197 | 3.061 | 3.064
305 | 1082 | 1230 | 1469 | 1944 | 2613 | 2921 | 2386 | 1651 | 1264 | 1173 | 1322 | 1588 | 1950 | 2534 | 3363 | 4017 | 3408 | 2307 | 1054 | 1011 | 9999.9 | 9999.9 | 1921 | 18.16 | 10.59 | 8.291 | 6.608 | 6.302 | 4.818 | 4.7 | 3.767 | 3.947 | 3.607 | 4.089 | 3.305 | 3.402 | 2.98 | 2.943 | 3.224 | 3.038 | 3.272
310 | 1253 | 1359 | 1672 | 2078 | 2706 | 3055 | 2704 | 2046 | 1705 | 1712 | 1919 | 2180 | 2471 | 2991 | 3694 | 4276 | 4187 | 2807 | 1352 | 563.6 | 836.6 | 9999.9 | 9999.9 | 1963 | 19.01 | 10.44 | 8.532 | 6.814 | 5.708 | 5.629 | 4.897 | 4.547 | 4.509 | 3.896 | 3.71 | 3.301 | 3.059 | 3.448 | 3.04 | 3.168 | 3.023
315 | 1205 | 1402 | 1731 | 2076 | 2578 | 3039 | 2783 | 2228 | 2053 | 2172 | 2489 | 2765 | 2983 | 3377 | 3967 | 4385 | 4349 | 3336 | 1674 | 728.3 | 317.7 | 783.3 | 9999.9 | 9999.9 | 1798 | 17.77 | 11.28 | 8.979 | 6.763 | 6.111 | 5.31 | 4.606 | 4.611 | 4.256 | 4.195 | 3.582 | 3.084 | 3.454 | 2.955 | 3.223 | 3.098
320 | 1196 | 1387 | 1597 | 2099 | 2600 | 3041 | 2824 | 2401 | 2312 | 2589 | 2975 | 3261 | 3449 | 3710 | 4161 | 4492 | 4314 | 3605 | 2138 | 942.1 | 406.1 | 239.1 | 772.5 | 9999.9 | 9999.9 | 1865 | 16.82 | 11.01 | 8.952 | 7.209 | 5.576 | 4.915 | 4.73 | 5.149 | 4.029 | 3.814 | 3.481 | 3.698 | 2.965 | 3.464 | 3.238
325 | 1031 | 1360 | 1740 | 2109 | 2647 | 2966 | 2774 | 2397 | 2472 | 2865 | 3289 | 3628 | 3777 | 3943 | 4327 | 4542 | 4388 | 3564 | 2491 | 1254 | 532.9 | 278.9 | 204.4 | 754.9 | 9999.9 | 9999.9 | 1847 | 18.54 | 11.44 | 9.085 | 7.628 | 6.57 | 5.674 | 5.056 | 4.517 | 3.939 | 4.039 | 3.169 | 3.213 | 3.091 | 3.155
330 | 1002 | 1330 | 1664 | 2035 | 2561 | 2909 | 2713 | 2376 | 2481 | 2943 | 3466 | 3913 | 4032 | 4158 | 4394 | 4578 | 4391 | 3630 | 2463 | 1569 | 717.9 | 353.1 | 210.3 | 154.8 | 720.8 | 9999.9 | 9999.9 | 1972 | 19.63 | 12.39 | 9.743 | 7.351 | 6.346 | 6.043 | 4.895 | 4.612 | 4.215 | 3.468 | 3.707 | 2.936 | 3.381
335 | 957.2 | 1205 | 1614 | 2044 | 2606 | 2871 | 2606 | 2348 | 2499 | 2972 | 3499 | 3973 | 4146 | 4279 | 4504 | 4580 | 4425 | 3703 | 2581 | 1567 | 1016 | 478.6 | 261.2 | 144.5 | 112.4 | 709.9 | 9999.9 | 9999.9 | 2146 | 20.12 | 12.82 | 10.44 | 8.482 | 6.304 | 5.917 | 5.04 | 4.211 | 3.891 | 3.614 | 3.594 | 3.374
340 | 848.9 | 1175 | 1534 | 2025 | 2510 | 2665 | 2459 | 2201 | 2402 | 2900 | 3427 | 3940 | 4150 | 4340 | 4531 | 4583 | 4441 | 3718 | 2690 | 1599 | 1020 | 716.8 | 331.7 | 174.7 | 91.68 | 92.99 | 715.7 | 9999.9 | 9999.9 | 2276 | 20.86 | 13.18 | 10.69 | 8.321 | 6.172 | 5.51 | 5.058 | 4.361 | 3.998 | 3.673 | 3.763
345 | 839.2 | 1156 | 1486 | 1949 | 2452 | 2630 | 2254 | 1989 | 2291 | 2761 | 3312 | 3821 | 4086 | 4233 | 4433 | 4535 | 4332 | 3731 | 2734 | 1655 | 976 | 753.1 | 506.1 | 217 | 111.2 | 72.46 | 93.36 | 723 | 9999.9 | 9999.9 | 2533 | 21.22 | 13.24 | 10.53 | 8.177 | 6.168 | 5.44 | 4.727 | 4.609 | 3.84 | 3.963
350 | 810.7 | 1095 | 1323 | 1849 | 2325 | 2455 | 2202 | 1847 | 2062 | 2500 | 3083 | 3600 | 3878 | 4116 | 4329 | 4396 | 4193 | 3629 | 2757 | 1714 | 1014 | 659.3 | 602.1 | 359 | 151.7 | 95.87 | 75.76 | 100.8 | 722.7 | 9999.9 | 9999.9 | 2765 | 22.09 | 15.22 | 11.45 | 8.294 | 5.759 | 5.14 | 4.783 | 3.965 | 4.049
355 | 693.4 | 965.3 | 1275 | 1795 | 2158 | 2323 | 1985 | 1728 | 1882 | 2294 | 2788 | 3318 | 3653 | 3935 | 4160 | 4189 | 4017 | 3517 | 2697 | 1716 | 1063 | 679.9 | 506.6 | 502.2 | 261.7 | 137.2 | 107.5 | 89.08 | 108.7 | 743.5 | 9999.9 | 9999.9 | 2895 | 23.61 | 15.44 | 11.67 | 7.778 | 6.327 | 4.937 | 4.47 | 4.36
360 | 586.1 | 839.1 | 1195 | 1602 | 2142 | 2155 | 1858 | 1562 | 1685 | 2067 | 2550 | 3027 | 3378 | 3656 | 3851 | 3935 | 3823 | 3338 | 2595 | 1712 | 1093 | 734.9 | 503.2 | 430.3 | 443.3 | 233.8 | 151.4 | 120.2 | 98.39 | 113.3 | 741.4 | 9999.9 | 9999.9 | 3145 | 23.87 | 15.38 | 10.2 | 7.48 | 5.51 | 4.645 | 4.503
365 | 593.2 | 779.8 | 1052 | 1410 | 1902 | 1991 | 1667 | 1414 | 1513 | 1850 | 2270 | 2721 | 3052 | 3371 | 3609 | 3659 | 3538 | 3138 | 2479 | 1669 | 1103 | 756.4 | 549.5 | 422.6 | 425.4 | 418.8 | 234 | 169.2 | 132.1 | 102.3 | 113.4 | 749.4 | 9999.9 | 9999.9 | 3111 | 24.47 | 14.44 | 9.206 | 6.998 | 5.63 | 4.895
370 | 532.5 | 716.3 | 943.7 | 1337 | 1729 | 1866 | 1544 | 1278 | 1345 | 1637 | 2023 | 2403 | 2757 | 3052 | 3308 | 3377 | 3270 | 2905 | 2329 | 1615 | 1106 | 796.6 | 599.6 | 475.5 | 400.7 | 465.1 | 396.9 | 240.4 | 177.4 | 135.5 | 99.72 | 110.4 | 752.7 | 9999.9 | 9999.9 | 3088 | 23.55 | 14.12 | 9.416 | 6.874 | 5.7
375 | 463 | 648 | 908.1 | 1143 | 1568 | 1725 | 1369 | 1189 | 1229 | 1486 | 1790 | 2150 | 2441 | 2759 | 2952 | 3055 | 2997 | 2674 | 2193 | 1556 | 1111 | 839.2 | 664.3 | 549.3 | 474 | 439.6 | 506.5 | 391.1 | 240.4 | 183.1 | 132.3 | 93.19 | 110.2 | 769.1 | 9999.9 | 9999.9 | 2952 | 21.87 | 13.93 | 9.625 | 6.678
380 | 442.6 | 544.3 | 840.5 | 1056 | 1475 | 1566 | 1245 | 1090 | 1114 | 1316 | 1607 | 1904 | 2173 | 2464 | 2654 | 2771 | 2709 | 2453 | 2048 | 1508 | 1132 | 892.6 | 738.4 | 635 | 571 | 514.9 | 493.5 | 544.8 | 371.5 | 245 | 181.9 | 130.3 | 94.31 | 113 | 765.5 | 9999.9 | 9999.9 | 2725 | 20.93 | 12.32 | 9.294
385 | 459.9 | 571.4 | 722.8 | 1020 | 1346 | 1382 | 1194 | 1010 | 1052 | 1169 | 1410 | 1685 | 1940 | 2169 | 2397 | 2511 | 2484 | 2271 | 1947 | 1489 | 1171 | 966.2 | 838.1 | 752.4 | 684.7 | 623.7 | 560.7 | 557.6 | 546.8 | 351.5 | 248.1 | 181 | 130.6 | 96.72 | 110.6 | 773.7 | 9999.9 | 9999.9 | 2715 | 19.6 | 12.74
390 | 574.5 | 505 | 688.9 | 891.4 | 1191 | 1319 | 1129 | 985 | 995.4 | 1111 | 1277 | 1492 | 1723 | 1932 | 2143 | 2268 | 2302 | 2142 | 1884 | 1507 | 1232 | 1064 | 954.4 | 882.7 | 823.7 | 761.5 | 691.1 | 621 | 602.8 | 537.6 | 349.7 | 252.6 | 185.8 | 133.4 | 92.6 | 107.1 | 750.9 | 9999.9 | 9999.9 | 2570 | 19.95
395 | 1471 | 523.5 | 689 | 910.5 | 1175 | 1219 | 1069 | 962.5 | 952.4 | 1041 | 1183 | 1355 | 1538 | 1742 | 1954 | 2101 | 2142 | 2054 | 1859 | 1543 | 1332 | 1191 | 1100 | 1032 | 971.1 | 921.1 | 829.5 | 743.6 | 648.9 | 639.5 | 513.3 | 342.1 | 248.4 | 181 | 124.2 | 83.21 | 98.2 | 761.2 | 9999.9 | 9999.9 | 2652
400 | 1839 | 868.5 | 645.3 | 861 | 1038 | 1149 | 1065 | 924.9 | 952.5 | 1008 | 1130 | 1254 | 1393 | 1587 | 1790 | 1948 | 2023 | 1982 | 1827 | 1592 | 1432 | 1322 | 1244 | 1188 | 1149 | 1071 | 987.8 | 884.2 | 766.8 | 664.6 | 642 | 480.7 | 325.3 | 237.9 | 163.3 | 105.9 | 68.63 | 89.13 | 734.2 | 9999.9 | 9999.9
405 | 1398 | 1799 | 642.7 | 838.6 | 1045 | 1092 | 1044 | 919.7 | 933.8 | 979.1 | 1077 | 1168 | 1286 | 1462 | 1646 | 1829 | 1931 | 1922 | 1831 | 1664 | 1537 | 1443 | 1383 | 1346 | 1299 | 1237 | 1135 | 1019 | 888.9 | 754.1 | 661.8 | 622.5 | 434.4 | 297.3 | 202.8 | 133.1 | 84.85 | 56.72 | 81.68 | 713 | 9999.9
410 | 539.4 | 2454 | 1083 | 796 | 958.7 | 1029 | 1045 | 948.1 | 951.8 | 988.4 | 1046 | 1108 | 1193 | 1353 | 1532 | 1718 | 1861 | 1886 | 1842 | 1691 | 1610 | 1534 | 1491 | 1464 | 1434 | 1368 | 1270 | 1141 | 1003 | 848.6 | 713.2 | 642.4 | 567.1 | 367.4 | 239 | 158.4 | 102.8 | 65.5 | 46.71 | 75.56 | 715.1
415 | 337 | 1590 | 2323 | 756.3 | 937.8 | 996.6 | 996.9 | 939.9 | 965.9 | 1005 | 1035 | 1060 | 1133 | 1258 | 1443 | 1632 | 1788 | 1851 | 1816 | 1722 | 1664 | 1614 | 1589 | 1563 | 1531 | 1473 | 1377 | 1246 | 1096 | 937.1 | 785.3 | 658.4 | 601.3 | 478.4 | 288.3 | 183.6 | 119.5 | 78.74 | 53.04 | 39.79 | 72.77
420 | 374.2 | 616.7 | 3076 | 1228 | 873 | 956.9 | 963.6 | 954.6 | 972.1 | 1028 | 1005 | 1043 | 1067 | 1185 | 1364 | 1559 | 1722 | 1782 | 1810 | 1731 | 1704 | 1671 | 1638 | 1635 | 1604 | 1551 | 1446 | 1315 | 1167 | 1004 | 841.9 | 699 | 577.6 | 524.5 | 367.8 | 214.6 | 136.4 | 92.86 | 64.72 | 44.79 | 36.24
425 | 351.5 | 400.8 | 2074 | 2762 | 812.9 | 894.7 | 901.1 | 965.6 | 974.8 | 1013 | 1028 | 1010 | 1015 | 1103 | 1290 | 1479 | 1650 | 1736 | 1727 | 1709 | 1691 | 1691 | 1672 | 1663 | 1650 | 1599 | 1505 | 1371 | 1220 | 1051 | 885.9 | 735.9 | 591.7 | 491.3 | 425.5 | 268.1 | 156.9 | 105.9 | 73.12 | 55.87 | 41.52
430 | 306.7 | 439.4 | 888.9 | 4023 | 1345 | 887.8 | 898.2 | 930.8 | 960.9 | 1007 | 980.3 | 982.5 | 985.6 | 1056 | 1208 | 1411 | 1580 | 1676 | 1695 | 1691 | 1690 | 1689 | 1677 | 1672 | 1656 | 1622 | 1533 | 1405 | 1254 | 1083 | 920.1 | 761.1 | 615.3 | 486.9 | 400.5 | 333.1 | 195.9 | 121.9 | 88.88 | 65.09 | 51.49
435 | 362 | 434.8 | 550.6 | 2445 | 3027 | 882.9 | 876.6 | 929.8 | 969.1 | 1007 | 1015 | 974 | 957 | 988 | 1148 | 1333 | 1502 | 1623 | 1639 | 1645 | 1665 | 1659 | 1663 | 1673 | 1669 | 1624 | 1535 | 1421 | 1264 | 1105 | 940.1 | 782.8 | 631.4 | 502.1 | 376.6 | 328.9 | 257.8 | 145.9 | 99.8 | 75.85 | 59
440 | 357.5 | 393.5 | 571.9 | 1017 | 4342 | 1315 | 837.2 | 897.6 | 966 | 1013 | 981.3 | 943.6 | 905 | 938.9 | 1084 | 1260 | 1398 | 1526 | 1583 | 1590 | 1613 | 1624 | 1629 | 1638 | 1631 | 1596 | 1520 | 1410 | 1259 | 1103 | 939.8 | 786.4 | 640.7 | 501.8 | 381.4 | 291.3 | 263.9 | 194.6 | 118.6 | 86.78 | 68.86
445 | 365 | 395.3 | 494.3 | 594.9 | 3098 | 2966 | 811.5 | 860.1 | 936.3 | 998.1 | 962 | 921.1 | 863.4 | 890.2 | 1014 | 1176 | 1328 | 1425 | 1489 | 1513 | 1527 | 1551 | 1560 | 1573 | 1575 | 1556 | 1476 | 1371 | 1239 | 1077 | 926.6 | 773 | 629.4 | 498.2 | 380.7 | 285.8 | 230.4 | 221.3 | 152.1 | 99.79 | 78
450 | 288.4 | 363.8 | 403.4 | 576.1 | 1124 | 4764 | 1266 | 823 | 904.2 | 948.6 | 934.7 | 886.6 | 804.1 | 838.7 | 946.9 | 1086 | 1224 | 1318 | 1370 | 1395 | 1438 | 1464 | 1477 | 1482 | 1495 | 1472 | 1405 | 1308 | 1173 | 1045 | 889.3 | 742.7 | 611.6 | 489 | 378.1 | 284.2 | 216.1 | 197.6 | 185.7 | 120.8 | 86.03
455 | 246.1 | 289.9 | 384.9 | 477.9 | 620.1 | 3618 | 3062 | 793.1 | 854.3 | 894.4 | 899.6 | 838.2 | 773.1 | 778.3 | 852.2 | 988.7 | 1123 | 1219 | 1259 | 1293 | 1327 | 1344 | 1360 | 1375 | 1395 | 1360 | 1313 | 1228 | 1109 | 972.2 | 842.6 | 709.3 | 591.5 | 474.4 | 366.5 | 279.3 | 211.9 | 175.7 | 175.7 | 158.1 | 102
460 | 253.4 | 297.4 | 365 | 471.9 | 523.6 | 1272 | 5202 | 1233 | 779.5 | 865.4 | 837 | 780.6 | 711.6 | 697.2 | 786.1 | 903.6 | 1015 | 1081 | 1137 | 1170 | 1211 | 1238 | 1256 | 1266 | 1278 | 1257 | 1219 | 1138 | 1033 | 918.8 | 791.1 | 665.7 | 555.6 | 450.6 | 355.2 | 273.4 | 212.8 | 172.4 | 153.1 | 162.7 | 131
465 | 240.2 | 287.7 | 321.2 | 433.9 | 452.1 | 572.2 | 4041 | 3130 | 753.7 | 777.6 | 777.7 | 734.6 | 663.2 | 645.2 | 706.5 | 801.9 | 915.1 | 978.7 | 1037 | 1060 | 1091 | 1116 | 1135 | 1159 | 1164 | 1151 | 1099 | 1042 | 941.2 | 840.5 | 732 | 615.3 | 514.7 | 423.4 | 334.5 | 265.2 | 207.4 | 171.5 | 145.2 | 137.2 | 145
470 | 248.7 | 213.1 | 299.5 | 363.5 | 439.9 | 467.4 | 1320 | 5264 | 1201 | 708.5 | 721.4 | 671.7 | 603.4 | 589.6 | 654.9 | 726.9 | 803.9 | 873.4 | 910.4 | 929.8 | 967.3 | 990.5 | 1016 | 1030 | 1036 | 1034 | 988.8 | 943.5 | 855 | 762.6 | 667.8 | 565.4 | 474 | 394.5 | 316.8 | 251.3 | 203.9 | 168.6 | 142.6 | 126.9 | 130.4
475 | 220.9 | 223.4 | 260.6 | 321.7 | 384.7 | 438.1 | 537.3 | 4200 | 3048 | 673.3 | 657.2 | 622.1 | 547 | 535.9 | 574 | 648.7 | 707.9 | 765.4 | 795.7 | 825.1 | 851.5 | 876.6 | 896.7 | 909.4 | 922 | 921 | 892 | 843.2 | 771.9 | 687.2 | 604.3 | 518.3 | 436.9 | 362.8 | 293.4 | 240.8 | 198.7 | 165.2 | 142 | 127 | 113.5
480 | 181.4 | 204.9 | 266.2 | 284.9 | 370.7 | 401.6 | 441.4 | 1403 | 5168 | 1127 | 605.2 | 577.1 | 517 | 494.3 | 519.7 | 589.1 | 642.5 | 687.5 | 709.4 | 731.3 | 756.3 | 776.4 | 799 | 803.3 | 826.5 | 819.6 | 796.3 | 756.7 | 697.3 | 623.8 | 542.4 | 469.2 | 401.6 | 339 | 279 | 231.6 | 190.3 | 163.3 | 142.3 | 127.4 | 113
485 | 152.7 | 176.4 | 195.7 | 263.3 | 323.1 | 357.3 | 430.8 | 508.8 | 4320 | 2945 | 580.9 | 548.3 | 496.4 | 477.1 | 503.6 | 539.8 | 584.6 | 614.9 | 632.5 | 653.5 | 667.4 | 696 | 707.6 | 727.9 | 736.5 | 736.9 | 719.9 | 684.4 | 638 | 570.1 | 507.4 | 440.8 | 382.4 | 324.2 | 275.1 | 229 | 193.2 | 167.5 | 146.4 | 131.7 | 118.6
490 | 180.4 | 192.7 | 200.8 | 262.9 | 279.9 | 397.2 | 386 | 409.1 | 1425 | 5178 | 998.2 | 516.8 | 478.1 | 470.7 | 485.3 | 526 | 557.9 | 567.1 | 571 | 585.7 | 606.9 | 626.3 | 633.4 | 650.4 | 658.7 | 665.6 | 652.8 | 620.7 | 580 | 527.5 | 472.5 | 413.5 | 361.1 | 318.1 | 273.6 | 234.2 | 200.8 | 175.2 | 152.2 | 137.9 | 125.5
495 | 158.8 | 173.3 | 210.3 | 189.7 | 261.9 | 346.6 | 374.1 | 389.3 | 511 | 4524 | 2764 | 505.5 | 482.5 | 475.3 | 498.6 | 517.6 | 539.1 | 523.9 | 516.8 | 519.1 | 534.6 | 554.3 | 562.8 | 572.3 | 591.8 | 590.8 | 589.6 | 559 | 526.1 | 484.3 | 442.1 | 392.7 | 354.4 | 312.9 | 278.7 | 242 | 209.5 | 185.9 | 163.1 | 148.2 | 136.8
500 | 133.8 | 149.8 | 159.1 | 260 | 237.7 | 295.2 | 360.9 | 346.6 | 412.2 | 1596 | 5177 | 899.7 | 481.6 | 499.6 | 496.2 | 503.7 | 505.1 | 491.7 | 457.5 | 449.6 | 470.5 | 481.3 | 494.3 | 503.9 | 517.8 | 523.3 | 519.1 | 505.1 | 475.1 | 449.2 | 409.6 | 370.9 | 343.8 | 313.9 | 287.2 | 250.7 | 224 | 194.3 | 175.7 | 156.9 | 148.1