## Sheet1
Report date: | 15:58:18, 09/18/2024
Sample: | 1
File name:
Run date: | 15:52:50, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/310.0 | 2763
2 | 250.0/275.0 | 347.4
3 | 250.0/435.0 | 813.6
4 | 255.0/280.0 | 425.6
5 | 275.0/325.0 | 4333
6 | 275.0/335.0 | 4334
7 | 300.0/425.0 | 1568
8 | 320.0/435.0 | 1580
9 | 325.0/370.0 | 443.8
10 | 390.0/275.0 | 4.199
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 111.2 | 75.33 | 91.73 | 81.14 | 77.05 | 61.08 | 27.73 | 19.29 | 44.55 | 274.9 | 171.5 | 42.88 | 109 | 9999.9 | 9999.9 | 4144 | 31.57 | 12.72 | 9.45 | 7.035 | 5.308 | 4.534 | 4.508 | 3.648 | 3.33 | 4.024 | 3.294 | 3.365 | 3.114 | 2.949 | 3.116 | 2.893 | 3.1 | 2.677 | 3.056 | 3.062 | 3.146 | 3.982 | 4.056 | 2.898 | 2.767
275 | 207.5 | 137.3 | 153.3 | 228.7 | 288.2 | 211.7 | 70.94 | 30.84 | 29.32 | 107.6 | 347.4 | 161.8 | 99.46 | 787.4 | 9999.9 | 9999.9 | 3666 | 29.86 | 12.49 | 8.614 | 6.656 | 4.985 | 4.746 | 4.69 | 3.704 | 4.24 | 3.372 | 3.509 | 3.326 | 2.943 | 3.201 | 2.998 | 3.06 | 2.828 | 2.929 | 2.802 | 2.946 | 3.566 | 4.199 | 3.842 | 2.897
280 | 329.1 | 245.6 | 347 | 382.4 | 536 | 377.6 | 137.5 | 44.31 | 41.63 | 59.38 | 198.9 | 425.6 | 226.7 | 231.2 | 870.5 | 9999.9 | 9999.9 | 3293 | 28.01 | 11.61 | 8.116 | 6.434 | 5.15 | 4.624 | 3.99 | 4.248 | 4.048 | 3.805 | 3.951 | 3.241 | 2.885 | 2.995 | 3.031 | 3.449 | 3.104 | 2.704 | 2.971 | 2.598 | 3.317 | 3.778 | 3.306
285 | 512.9 | 351.4 | 436.9 | 677.8 | 785.4 | 643.5 | 308 | 135.1 | 90.39 | 84.11 | 145.2 | 378.2 | 583.1 | 426.9 | 492.9 | 1068 | 9999.9 | 9999.9 | 2939 | 28.37 | 10.7 | 7.85 | 6.31 | 5.377 | 4.638 | 4.213 | 4.079 | 3.902 | 3.742 | 3.493 | 3.1 | 3.539 | 3.075 | 3.154 | 3.293 | 3.125 | 2.651 | 2.805 | 3.481 | 3.364 | 3.945
290 | 610.4 | 501 | 657.4 | 896.3 | 1235 | 1161 | 670.8 | 358.1 | 215.5 | 171.6 | 227.5 | 349.4 | 817.4 | 1027 | 1040 | 1075 | 1516 | 9999.9 | 9999.9 | 2631 | 23.85 | 11.13 | 8.102 | 6.83 | 5.04 | 4.672 | 4.338 | 4.161 | 3.796 | 3.668 | 3.292 | 3.607 | 3.259 | 3.54 | 3.127 | 3.104 | 3.169 | 2.694 | 2.897 | 3.15 | 3.606
295 | 797.1 | 675.3 | 842.2 | 1245 | 1649 | 1679 | 1195 | 692.9 | 454.2 | 360.4 | 424.9 | 591.7 | 934.4 | 1660 | 1941 | 1935 | 1707 | 1689 | 9999.9 | 9999.9 | 2348 | 20.74 | 11.85 | 8.352 | 6.622 | 5.778 | 5.707 | 4.66 | 4.144 | 3.994 | 3.81 | 3.8 | 3.898 | 3.651 | 3.414 | 2.993 | 3.027 | 3.022 | 3.143 | 3.083 | 3.111
300 | 857.5 | 922.8 | 1112 | 1405 | 2030 | 2180 | 1735 | 1151 | 804.9 | 695.3 | 766.7 | 980.6 | 1351 | 1954 | 2892 | 2972 | 2521 | 1698 | 1316 | 9999.9 | 9999.9 | 2171 | 19.27 | 10.5 | 8.444 | 6.894 | 5.464 | 5.449 | 4.308 | 3.754 | 4.294 | 3.769 | 4.224 | 3.533 | 3.56 | 3.438 | 2.781 | 2.968 | 3.266 | 3.15 | 2.892
305 | 999.9 | 955.3 | 1263 | 1665 | 2225 | 2567 | 2165 | 1540 | 1213 | 1128 | 1253 | 1468 | 1815 | 2395 | 3231 | 3897 | 3291 | 2225 | 1017 | 1002 | 9999.9 | 9999.9 | 1936 | 19.1 | 11.5 | 8.212 | 6.861 | 5.974 | 5.021 | 4.574 | 4.547 | 4.359 | 4.041 | 3.647 | 3.528 | 3.483 | 3.191 | 3.492 | 3.182 | 3.326 | 3.145
310 | 998.8 | 1086 | 1301 | 1703 | 2366 | 2763 | 2399 | 1847 | 1606 | 1631 | 1799 | 2068 | 2317 | 2833 | 3553 | 4127 | 4063 | 2701 | 1316 | 548.1 | 835.5 | 9999.9 | 9999.9 | 1946 | 18.81 | 11.69 | 8.481 | 6.549 | 5.842 | 4.975 | 4.406 | 4.494 | 4.452 | 3.975 | 3.681 | 3.483 | 2.991 | 3.251 | 3.247 | 3.089 | 3.009
315 | 996.2 | 1167 | 1465 | 1782 | 2351 | 2740 | 2554 | 2090 | 1912 | 2083 | 2318 | 2575 | 2801 | 3189 | 3797 | 4240 | 4223 | 3235 | 1624 | 694.4 | 308.8 | 781.9 | 9999.9 | 9999.9 | 1820 | 18.38 | 11.39 | 8.245 | 7.075 | 5.859 | 5.237 | 5.147 | 4.567 | 4.41 | 4.028 | 3.791 | 3.708 | 3.089 | 3.342 | 3.195 | 2.952
320 | 1052 | 1281 | 1430 | 1773 | 2325 | 2647 | 2520 | 2199 | 2166 | 2449 | 2786 | 3037 | 3183 | 3449 | 3905 | 4307 | 4139 | 3455 | 2049 | 896.5 | 387.2 | 230 | 763.4 | 9999.9 | 9999.9 | 1926 | 18.36 | 11.9 | 8.657 | 7.23 | 5.764 | 5.81 | 5.168 | 4.657 | 4.071 | 4.268 | 3.592 | 3.521 | 3.502 | 3.526 | 3.035
325 | 957.7 | 1234 | 1362 | 1808 | 2176 | 2630 | 2552 | 2229 | 2289 | 2660 | 3044 | 3336 | 3458 | 3701 | 4038 | 4333 | 4183 | 3404 | 2380 | 1197 | 502.5 | 264.9 | 189.8 | 747.7 | 9999.9 | 9999.9 | 1872 | 19.14 | 11.5 | 9.765 | 6.909 | 6.485 | 5.73 | 4.949 | 4.186 | 4.135 | 3.797 | 3.561 | 3.561 | 3.447 | 3.013
330 | 903 | 1135 | 1423 | 1691 | 2075 | 2525 | 2392 | 2211 | 2399 | 2765 | 3220 | 3547 | 3666 | 3840 | 4107 | 4312 | 4162 | 3422 | 2354 | 1527 | 691.6 | 333.8 | 193.6 | 144.5 | 720.3 | 9999.9 | 9999.9 | 2014 | 18.82 | 12.01 | 9.815 | 7.469 | 5.924 | 5.741 | 4.754 | 4.603 | 3.836 | 3.432 | 3.362 | 3.653 | 3.131
335 | 845.1 | 1126 | 1394 | 1698 | 2085 | 2431 | 2312 | 2150 | 2299 | 2746 | 3263 | 3595 | 3772 | 3867 | 4128 | 4334 | 4139 | 3502 | 2435 | 1481 | 985.7 | 451.4 | 239.4 | 137.6 | 110.4 | 712.6 | 9999.9 | 9999.9 | 2134 | 19.73 | 13.1 | 9.909 | 6.958 | 6.447 | 5.7 | 4.654 | 3.965 | 3.65 | 3.542 | 3.287 | 2.958
340 | 789.2 | 1030 | 1344 | 1710 | 2054 | 2357 | 2205 | 1993 | 2172 | 2672 | 3198 | 3541 | 3759 | 3891 | 4144 | 4265 | 4139 | 3535 | 2533 | 1522 | 984.6 | 688.2 | 309.8 | 162.4 | 90.58 | 94.03 | 713.9 | 9999.9 | 9999.9 | 2380 | 21.24 | 13.47 | 10.79 | 7.893 | 6.22 | 5.315 | 4.7 | 4.383 | 4.027 | 3.671 | 3.433
345 | 683.3 | 992.4 | 1234 | 1625 | 1892 | 2171 | 2045 | 1862 | 2038 | 2531 | 3043 | 3444 | 3668 | 3856 | 4093 | 4181 | 4070 | 3507 | 2587 | 1579 | 922.7 | 725.1 | 493.7 | 204.9 | 109.5 | 71.25 | 92.91 | 719.9 | 9999.9 | 9999.9 | 2537 | 21.63 | 14.39 | 11.43 | 8.17 | 6.269 | 5.157 | 4.562 | 4.154 | 4.053 | 3.789
350 | 654.4 | 918.5 | 1143 | 1398 | 1804 | 2040 | 1939 | 1698 | 1870 | 2298 | 2820 | 3252 | 3488 | 3710 | 3936 | 4035 | 3940 | 3418 | 2604 | 1608 | 965.9 | 629 | 580.9 | 351.9 | 149.4 | 96.91 | 76.19 | 99.47 | 723.4 | 9999.9 | 9999.9 | 2759 | 23.51 | 14.85 | 10.99 | 8.123 | 6.017 | 4.535 | 4.828 | 4.308 | 3.852
355 | 593.1 | 757.7 | 973.5 | 1387 | 1791 | 1918 | 1702 | 1524 | 1723 | 2104 | 2567 | 3003 | 3245 | 3504 | 3760 | 3859 | 3754 | 3286 | 2506 | 1628 | 1006 | 654.3 | 479.2 | 486.8 | 255.6 | 135.7 | 104.1 | 86.57 | 108.1 | 746.4 | 9999.9 | 9999.9 | 2831 | 22.83 | 14.35 | 11.31 | 7.818 | 6.175 | 4.872 | 4.685 | 3.832
360 | 579.4 | 758.7 | 870.5 | 1282 | 1607 | 1781 | 1610 | 1416 | 1515 | 1870 | 2275 | 2710 | 3011 | 3230 | 3527 | 3605 | 3492 | 3133 | 2426 | 1606 | 1035 | 684.7 | 476.8 | 417.4 | 432.3 | 224.7 | 145.4 | 118.3 | 94.68 | 113.8 | 733.1 | 9999.9 | 9999.9 | 3141 | 24.21 | 15.4 | 10.79 | 7.702 | 6.031 | 5.188 | 4.418
365 | 442.7 | 641.7 | 850.3 | 1129 | 1506 | 1726 | 1427 | 1285 | 1398 | 1676 | 2046 | 2424 | 2736 | 2977 | 3260 | 3347 | 3268 | 2927 | 2311 | 1557 | 1042 | 720.4 | 518 | 398.4 | 412.8 | 407.9 | 222.1 | 161.2 | 127.4 | 99.19 | 113.4 | 751.4 | 9999.9 | 9999.9 | 3039 | 22.8 | 14.05 | 10.21 | 7.596 | 5.588 | 4.723
370 | 429.7 | 606.3 | 767.7 | 1090 | 1369 | 1508 | 1255 | 1156 | 1228 | 1494 | 1809 | 2162 | 2461 | 2731 | 2976 | 3055 | 2997 | 2704 | 2184 | 1509 | 1048 | 755.2 | 571.2 | 451.3 | 384.8 | 443.8 | 389.4 | 228.6 | 171.1 | 129.7 | 96.33 | 110 | 756 | 9999.9 | 9999.9 | 2920 | 22.23 | 13.84 | 9.899 | 7.018 | 5.633
375 | 471.1 | 495.4 | 695.2 | 951.5 | 1260 | 1419 | 1244 | 1036 | 1102 | 1308 | 1615 | 1902 | 2190 | 2439 | 2680 | 2792 | 2755 | 2470 | 2027 | 1468 | 1046 | 797.7 | 626.5 | 520.9 | 441.3 | 412.7 | 488.8 | 374.1 | 234.5 | 174.7 | 128.7 | 92.66 | 108.1 | 762.7 | 9999.9 | 9999.9 | 2812 | 21.26 | 12.45 | 9.69 | 6.807
380 | 384.6 | 498.4 | 691.4 | 863.9 | 1186 | 1248 | 1094 | 957.2 | 1025 | 1181 | 1422 | 1685 | 1922 | 2170 | 2379 | 2515 | 2503 | 2285 | 1906 | 1420 | 1061 | 845.3 | 694.2 | 604.9 | 531.6 | 478.1 | 468.7 | 523.9 | 355.2 | 232.8 | 175.7 | 127.4 | 94.84 | 111.2 | 763.5 | 9999.9 | 9999.9 | 2720 | 20.85 | 13.15 | 9.051
385 | 366 | 467.4 | 567.2 | 852.2 | 1105 | 1183 | 1020 | 907.7 | 915.4 | 1054 | 1257 | 1485 | 1705 | 1918 | 2120 | 2255 | 2274 | 2104 | 1813 | 1405 | 1101 | 914.9 | 788 | 703.2 | 642.8 | 586.7 | 532.2 | 528.3 | 534.3 | 342.7 | 241.6 | 180.7 | 132.6 | 97.21 | 110.4 | 767.7 | 9999.9 | 9999.9 | 2665 | 19.87 | 12.04
390 | 607.3 | 415.2 | 571.5 | 763.7 | 942.5 | 1084 | 923.1 | 818.2 | 860.3 | 989.8 | 1150 | 1327 | 1510 | 1701 | 1910 | 2043 | 2057 | 1969 | 1739 | 1401 | 1161 | 1005 | 903.8 | 832.9 | 765.7 | 710.8 | 654.1 | 588.6 | 580.4 | 530.8 | 339.2 | 245.1 | 182.9 | 134.3 | 93 | 106.2 | 742.4 | 9999.9 | 9999.9 | 2723 | 18
395 | 1571 | 380.5 | 564 | 658.9 | 960.6 | 933.7 | 902.9 | 811.7 | 821.9 | 935.7 | 1042 | 1191 | 1337 | 1540 | 1722 | 1896 | 1939 | 1867 | 1709 | 1433 | 1246 | 1111 | 1037 | 975.8 | 923.5 | 864.9 | 794.1 | 704.3 | 626.5 | 620 | 503.5 | 329.6 | 248.4 | 180.4 | 124.3 | 85.3 | 96.7 | 759.2 | 9999.9 | 9999.9 | 2326
400 | 2397 | 851 | 533.4 | 650.3 | 859.3 | 942.3 | 878.6 | 791.9 | 826.8 | 871.4 | 962.2 | 1085 | 1195 | 1390 | 1568 | 1742 | 1818 | 1796 | 1701 | 1476 | 1329 | 1229 | 1161 | 1125 | 1080 | 1022 | 934.3 | 842.8 | 727.5 | 642.5 | 629.7 | 469.8 | 319.7 | 232.2 | 163.7 | 106.4 | 70.42 | 90.93 | 737.4 | 9999.9 | 9999.9
405 | 1447 | 2237 | 529.3 | 653.8 | 809.6 | 901.6 | 820.1 | 786.4 | 801 | 845.3 | 909.5 | 1010 | 1106 | 1254 | 1440 | 1620 | 1728 | 1749 | 1674 | 1524 | 1416 | 1348 | 1296 | 1256 | 1226 | 1163 | 1082 | 975.4 | 850.1 | 725.1 | 649.8 | 612.3 | 423.1 | 292.4 | 203.1 | 132 | 85.49 | 57.68 | 82.27 | 719.6 | 9999.9
410 | 541.8 | 2903 | 1020 | 627.3 | 767.5 | 820.2 | 821.2 | 773.9 | 801.5 | 821.8 | 873.4 | 937.9 | 1020 | 1169 | 1324 | 1525 | 1651 | 1703 | 1671 | 1564 | 1493 | 1438 | 1402 | 1376 | 1347 | 1288 | 1202 | 1089 | 957.8 | 821.2 | 691 | 625.1 | 561.2 | 368.2 | 239.9 | 159.8 | 104.9 | 67.32 | 47.11 | 76.16 | 711.2
415 | 331.3 | 1823 | 2537 | 610.8 | 710.1 | 783.9 | 815.8 | 772.3 | 790.6 | 808.9 | 850.9 | 892.2 | 968.9 | 1081 | 1254 | 1439 | 1582 | 1640 | 1636 | 1592 | 1538 | 1518 | 1484 | 1477 | 1454 | 1394 | 1298 | 1184 | 1049 | 903.2 | 764 | 640.5 | 588.4 | 474.7 | 289.6 | 186.8 | 121.8 | 80.32 | 54 | 39.98 | 72.72
420 | 333.7 | 620.6 | 3297 | 1058 | 688 | 800.6 | 788.7 | 784.7 | 760.5 | 805 | 825.6 | 872.2 | 904.6 | 999.5 | 1177 | 1356 | 1499 | 1592 | 1623 | 1586 | 1564 | 1559 | 1549 | 1529 | 1527 | 1465 | 1376 | 1257 | 1118 | 971.6 | 821.1 | 679.5 | 569.5 | 519.5 | 369.6 | 214.7 | 139.1 | 95.25 | 65.46 | 47.65 | 36.59
425 | 290.8 | 375.9 | 2206 | 2717 | 660.5 | 757.9 | 750.1 | 772.6 | 785.3 | 817.9 | 828.3 | 835.9 | 854.5 | 941.6 | 1106 | 1289 | 1429 | 1539 | 1576 | 1554 | 1568 | 1564 | 1565 | 1566 | 1558 | 1514 | 1428 | 1311 | 1165 | 1009 | 859.7 | 720.4 | 584.9 | 481.8 | 427.8 | 270.7 | 161 | 108.8 | 78.82 | 56.32 | 41.66
430 | 246.5 | 389.4 | 788.2 | 3838 | 1136 | 687.3 | 770.6 | 758.3 | 779.6 | 799.5 | 798.7 | 802 | 822.3 | 890.3 | 1026 | 1204 | 1368 | 1475 | 1529 | 1536 | 1565 | 1568 | 1569 | 1576 | 1572 | 1535 | 1454 | 1350 | 1195 | 1043 | 887 | 744.8 | 608 | 480.2 | 398.9 | 334.5 | 198.1 | 123.5 | 89.4 | 67.48 | 49.99
435 | 266.5 | 361.5 | 494.4 | 2589 | 2770 | 657.3 | 705.9 | 729.3 | 771 | 788.8 | 813.6 | 779.7 | 788.1 | 842.4 | 989.8 | 1151 | 1314 | 1411 | 1472 | 1483 | 1526 | 1542 | 1556 | 1579 | 1580 | 1531 | 1463 | 1351 | 1212 | 1066 | 902.6 | 758.4 | 619.8 | 489.1 | 376.1 | 327.4 | 260.3 | 148.7 | 102.3 | 79.09 | 59.15
440 | 230 | 308.3 | 436.4 | 862.9 | 4104 | 1141 | 660.3 | 705.3 | 733.8 | 777.6 | 795.7 | 765.5 | 762.9 | 798.6 | 929.5 | 1077 | 1236 | 1346 | 1402 | 1438 | 1483 | 1499 | 1525 | 1537 | 1545 | 1514 | 1447 | 1341 | 1215 | 1058 | 910.6 | 762.3 | 627.8 | 500.7 | 381.8 | 292.8 | 268.5 | 196.1 | 119.2 | 89.2 | 68.77
445 | 250.5 | 359.2 | 385.7 | 466.2 | 2943 | 2812 | 670.4 | 703.4 | 741.1 | 773.9 | 774.9 | 743.3 | 729.5 | 752.8 | 870.9 | 1015 | 1159 | 1254 | 1325 | 1352 | 1404 | 1432 | 1462 | 1484 | 1499 | 1476 | 1400 | 1311 | 1181 | 1035 | 895.9 | 750.8 | 627.3 | 494.4 | 381.2 | 287.5 | 235.2 | 225.8 | 152.9 | 98.11 | 78.32
450 | 237.1 | 303 | 387 | 451 | 1035 | 4574 | 1126 | 657.9 | 693 | 731.1 | 747.9 | 718.8 | 673.7 | 702.4 | 800.9 | 933.9 | 1049 | 1160 | 1227 | 1262 | 1310 | 1347 | 1375 | 1382 | 1403 | 1388 | 1333 | 1255 | 1131 | 996.8 | 861.4 | 731.3 | 605.2 | 489.9 | 380.5 | 285.8 | 217.4 | 199 | 186.8 | 121.3 | 87.17
455 | 247.8 | 267.7 | 352.3 | 400 | 491 | 3534 | 2981 | 636.6 | 644.9 | 699 | 707.5 | 686.4 | 641.6 | 660.4 | 734.2 | 840.7 | 969.3 | 1061 | 1118 | 1158 | 1200 | 1244 | 1271 | 1293 | 1304 | 1292 | 1252 | 1167 | 1064 | 942.1 | 812.5 | 690.4 | 579.3 | 473.5 | 369.9 | 281.7 | 218.3 | 175.7 | 176.4 | 156.3 | 103
460 | 216.8 | 250.7 | 307.3 | 393.8 | 425.9 | 1158 | 4968 | 1105 | 607.7 | 619.7 | 671.7 | 634.3 | 600.6 | 600.9 | 686.5 | 763.4 | 877.2 | 952.8 | 1013 | 1054 | 1099 | 1135 | 1168 | 1181 | 1200 | 1194 | 1154 | 1081 | 986.8 | 881.5 | 761.6 | 654.5 | 549.9 | 446.6 | 353.7 | 274.9 | 213.1 | 173.5 | 151.8 | 161 | 129.5
465 | 191.9 | 238.8 | 330.6 | 357.9 | 381.3 | 442.9 | 3800 | 2962 | 592.8 | 610.3 | 612.9 | 592.2 | 558.1 | 557 | 605.4 | 698.1 | 788.9 | 862.6 | 907 | 942.2 | 984.3 | 1024 | 1050 | 1072 | 1091 | 1088 | 1050 | 999.7 | 910.3 | 807 | 702.5 | 602.3 | 510.5 | 416.3 | 335.9 | 263.3 | 208.7 | 173.9 | 144.3 | 139.2 | 145.6
470 | 189.4 | 213.2 | 271.9 | 336 | 366.8 | 370.9 | 1196 | 5025 | 1070 | 565 | 572.5 | 555.5 | 508.7 | 510.9 | 549.5 | 623.3 | 701 | 769.7 | 813.6 | 836 | 882.9 | 914.5 | 938.7 | 956.9 | 978.5 | 978.2 | 945.6 | 900.4 | 826.2 | 730.5 | 648.4 | 552.3 | 469.9 | 388.4 | 312.4 | 249.4 | 201.4 | 168.4 | 142.9 | 127.1 | 129
475 | 159.5 | 165.4 | 213.6 | 302.3 | 318.7 | 344.9 | 422.2 | 4154 | 2936 | 522.4 | 511.9 | 515.6 | 473.5 | 459 | 493.5 | 549.4 | 619.8 | 676.4 | 715.5 | 733.6 | 781.2 | 814.6 | 827.9 | 851.5 | 863.6 | 871.8 | 844.2 | 805.3 | 739.1 | 666.7 | 583.2 | 501.4 | 428.6 | 360.2 | 294 | 238.7 | 192.2 | 164.6 | 144.3 | 124.7 | 114.8
480 | 161.7 | 162.5 | 189.4 | 243.4 | 315.7 | 336.2 | 346 | 1320 | 5072 | 977.7 | 467.8 | 463.8 | 440.7 | 438.1 | 461.8 | 507.7 | 560.1 | 606.2 | 627.8 | 654.2 | 686.1 | 711.6 | 735.2 | 757.8 | 770.9 | 776.2 | 754.1 | 724.7 | 668.4 | 599.7 | 533.9 | 461.4 | 394.7 | 336.1 | 279.8 | 227.9 | 191.1 | 161.7 | 143.8 | 123.7 | 111.9
485 | 149.6 | 160.6 | 205.2 | 206.7 | 274.2 | 332.6 | 334.6 | 416 | 4211 | 2875 | 466.8 | 452.9 | 416.7 | 422.4 | 439.2 | 478.8 | 521.1 | 554.7 | 559.7 | 588.3 | 609.5 | 640.8 | 658.7 | 679.1 | 693.6 | 699.6 | 680.2 | 658.2 | 608.3 | 550.7 | 488.5 | 425 | 374.9 | 318.8 | 271.3 | 228.7 | 192.6 | 165.9 | 147.7 | 130.9 | 117.6
490 | 130.9 | 152.8 | 158.7 | 197.3 | 254 | 333 | 325 | 351.7 | 1367 | 5089 | 868 | 428.9 | 421.2 | 417.8 | 441.3 | 470.2 | 487 | 509.4 | 516.7 | 527.6 | 547 | 569.7 | 589.7 | 613.2 | 619.4 | 622.1 | 617 | 597 | 558.3 | 510.1 | 452.4 | 404.2 | 358.7 | 313.6 | 273.8 | 233.5 | 198 | 172.4 | 152.9 | 136.9 | 122.3
495 | 153.5 | 138.6 | 170.2 | 168.7 | 194.7 | 272 | 326.6 | 298.2 | 415.5 | 4573 | 2639 | 445.7 | 423.2 | 438.1 | 441.1 | 451.3 | 468.5 | 470.4 | 460.2 | 463 | 486.8 | 510.2 | 526.5 | 545.2 | 551.6 | 561 | 558 | 538.8 | 512.7 | 468.9 | 425.7 | 387.4 | 343.1 | 310.2 | 275.5 | 243.9 | 208.6 | 183.5 | 160.1 | 147 | 134.6
500 | 119.7 | 102.7 | 137.8 | 195 | 202.6 | 271 | 316.9 | 298 | 318.4 | 1541 | 4976 | 827.4 | 428.7 | 446.6 | 468.5 | 467.3 | 455.3 | 434.7 | 417.4 | 409.6 | 425.6 | 445.6 | 455.7 | 474.6 | 492.6 | 499.1 | 500 | 484.8 | 463.9 | 431.7 | 399.9 | 367.7 | 338.1 | 310.6 | 280.5 | 248.7 | 221 | 193 | 172.9 | 155.9 | 144.9