## Sheet1
Report date: | 16:03:44, 09/18/2024
Sample: | 1
File name:
Run date: | 15:58:16, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/310.0 | 2762
2 | 245.0/440.0 | 788.9
3 | 250.0/275.0 | 339.2
4 | 250.0/435.0 | 790.2
5 | 255.0/280.0 | 421.8
6 | 275.0/330.0 | 4212
7 | 280.0/315.0 | 4137
8 | 310.0/425.0 | 1563
9 | 315.0/430.0 | 1566
10 | 320.0/435.0 | 1562
11 | 325.0/370.0 | 440.4
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 63.84 | 86.79 | 97.43 | 111.2 | 78.03 | 49.05 | 37.85 | 23.22 | 47.09 | 274.9 | 176.5 | 39.47 | 122.5 | 9999.9 | 9999.9 | 3983 | 30.75 | 13.34 | 9.986 | 6.723 | 5.348 | 5.204 | 4.497 | 3.98 | 3.668 | 3.351 | 3.301 | 3.333 | 3.007 | 3.298 | 3.124 | 3.447 | 2.839 | 3.243 | 2.889 | 3.034 | 3.7 | 3.73 | 3.338 | 2.586 | 2.583
275 | 226.4 | 166.7 | 214.4 | 251.4 | 250.9 | 203.9 | 77.7 | 28.84 | 32.17 | 101 | 339.2 | 176 | 107.3 | 790.4 | 9999.9 | 9999.9 | 3551 | 28.96 | 11.5 | 9.622 | 6.092 | 4.835 | 4.967 | 4.494 | 4.546 | 3.26 | 3.703 | 3.736 | 3.361 | 2.911 | 3.06 | 2.89 | 3.104 | 2.858 | 2.898 | 2.724 | 2.892 | 3.753 | 3.781 | 3.696 | 2.692
280 | 351.5 | 296.7 | 321.1 | 433.9 | 540.8 | 377.3 | 128 | 45.62 | 38.15 | 53.79 | 195.8 | 421.8 | 231.7 | 242.9 | 857.1 | 9999.9 | 9999.9 | 3238 | 26.79 | 11.4 | 8.151 | 6.433 | 5.368 | 5.213 | 4.316 | 4.105 | 3.824 | 4.226 | 3.641 | 3.275 | 3.267 | 3.19 | 3.368 | 2.795 | 2.883 | 2.749 | 2.694 | 2.902 | 3.654 | 3.686 | 3.37
285 | 414.2 | 353.3 | 465.9 | 694.5 | 812.7 | 662.2 | 294.9 | 129.8 | 89.15 | 79.57 | 139.2 | 376.5 | 595.8 | 433.3 | 478.5 | 1055 | 9999.9 | 9999.9 | 2907 | 27.56 | 10.22 | 7.55 | 6.657 | 5.006 | 4.938 | 4.094 | 3.61 | 3.877 | 3.656 | 3.386 | 3.222 | 3.251 | 3.17 | 2.668 | 3.394 | 2.642 | 2.764 | 2.715 | 3.027 | 3.641 | 3.836
290 | 543.9 | 502.1 | 625.8 | 902.9 | 1205 | 1180 | 721.2 | 338.8 | 204.6 | 170.7 | 220.1 | 355.9 | 819.3 | 1026 | 1005 | 1077 | 1501 | 9999.9 | 9999.9 | 2568 | 22.93 | 10.44 | 8.137 | 6.465 | 5.177 | 4.891 | 4.455 | 3.893 | 4.193 | 3.758 | 3.891 | 3.302 | 3.483 | 3.18 | 3.352 | 3.022 | 2.905 | 2.911 | 2.963 | 3.069 | 3.252
295 | 719.8 | 650.8 | 796 | 1186 | 1615 | 1698 | 1231 | 708.7 | 426.2 | 365.6 | 420 | 606.1 | 936.4 | 1638 | 1918 | 1925 | 1681 | 1669 | 9999.9 | 9999.9 | 2332 | 21.06 | 10.19 | 8.12 | 6.38 | 5.625 | 5.167 | 4.597 | 4.094 | 4.281 | 3.837 | 3.693 | 3.56 | 3.373 | 3.153 | 3.151 | 2.865 | 2.851 | 2.832 | 3.28 | 2.776
300 | 877 | 848.9 | 974 | 1326 | 2046 | 2160 | 1753 | 1122 | 760.1 | 687.1 | 769.1 | 1001 | 1344 | 1970 | 2883 | 2910 | 2484 | 1664 | 1293 | 9999.9 | 9999.9 | 2124 | 18.4 | 10.8 | 8.769 | 6.659 | 5.91 | 5.525 | 4.539 | 4.372 | 4.369 | 3.851 | 3.386 | 3.645 | 3.272 | 3.154 | 2.965 | 3.069 | 2.781 | 2.718 | 2.639
305 | 1082 | 1018 | 1148 | 1537 | 2207 | 2554 | 2158 | 1496 | 1175 | 1132 | 1251 | 1471 | 1826 | 2365 | 3212 | 3840 | 3265 | 2169 | 990 | 993.7 | 9999.9 | 9999.9 | 1964 | 19.07 | 10.8 | 8.758 | 6.699 | 6.395 | 5.65 | 4.366 | 4.001 | 4.051 | 3.649 | 3.818 | 3.24 | 3.059 | 3.402 | 3.139 | 3.362 | 3.111 | 2.817
310 | 1087 | 1158 | 1296 | 1605 | 2284 | 2762 | 2380 | 1855 | 1603 | 1623 | 1750 | 2009 | 2295 | 2784 | 3483 | 4064 | 3990 | 2648 | 1267 | 534.2 | 824.5 | 9999.9 | 9999.9 | 1937 | 18.95 | 11.09 | 7.983 | 6.598 | 5.676 | 5.145 | 4.771 | 4.464 | 4.248 | 4.09 | 3.533 | 3.339 | 3.102 | 3.158 | 3.001 | 3.076 | 3.076
315 | 918.6 | 1132 | 1403 | 1605 | 2216 | 2735 | 2510 | 2091 | 1905 | 2028 | 2295 | 2559 | 2751 | 3088 | 3704 | 4111 | 4137 | 3154 | 1567 | 666.1 | 296.8 | 775.9 | 9999.9 | 9999.9 | 1816 | 18.03 | 12.07 | 9.319 | 6.697 | 6.233 | 4.705 | 4.895 | 4.166 | 4.178 | 3.989 | 3.447 | 3.523 | 3.252 | 3.444 | 3.181 | 3.168
320 | 955.9 | 1173 | 1440 | 1732 | 2300 | 2694 | 2509 | 2161 | 2118 | 2425 | 2704 | 2970 | 3096 | 3367 | 3858 | 4174 | 4021 | 3393 | 1996 | 856.6 | 364.9 | 213.2 | 755 | 9999.9 | 9999.9 | 1868 | 18.38 | 12.23 | 9.277 | 7.554 | 6.145 | 5.321 | 4.607 | 4.262 | 3.822 | 3.752 | 3.727 | 2.962 | 3.248 | 3.353 | 3.07
325 | 795.4 | 1210 | 1497 | 1783 | 2219 | 2547 | 2490 | 2202 | 2277 | 2604 | 2993 | 3266 | 3367 | 3528 | 3944 | 4194 | 4037 | 3284 | 2328 | 1140 | 474.5 | 240.4 | 178.8 | 740.9 | 9999.9 | 9999.9 | 1915 | 19.25 | 11.76 | 9.948 | 7.153 | 6.588 | 5.64 | 4.663 | 4.358 | 3.977 | 3.863 | 3.516 | 3.317 | 3.554 | 2.892
330 | 858.4 | 1095 | 1394 | 1663 | 2196 | 2398 | 2362 | 2169 | 2323 | 2683 | 3108 | 3419 | 3532 | 3653 | 3976 | 4212 | 4052 | 3335 | 2261 | 1465 | 649.8 | 304 | 171.5 | 139.4 | 718.9 | 9999.9 | 9999.9 | 2041 | 19.09 | 12.16 | 10.06 | 7.252 | 6.263 | 5.693 | 5.254 | 4.431 | 3.474 | 3.648 | 3.242 | 3.181 | 3.051
335 | 799.7 | 1106 | 1292 | 1601 | 2076 | 2392 | 2257 | 2091 | 2281 | 2673 | 3161 | 3476 | 3643 | 3750 | 3993 | 4168 | 4026 | 3379 | 2339 | 1426 | 949.4 | 420.5 | 216.4 | 124.6 | 109.3 | 707.2 | 9999.9 | 9999.9 | 2197 | 20.59 | 13.02 | 9.908 | 7.629 | 6.47 | 5.304 | 4.614 | 3.791 | 3.896 | 3.465 | 3.143 | 3.498
340 | 670.5 | 944 | 1250 | 1550 | 1977 | 2278 | 2120 | 1971 | 2163 | 2623 | 3073 | 3474 | 3592 | 3734 | 3990 | 4134 | 3969 | 3400 | 2426 | 1446 | 929.1 | 671.5 | 287.4 | 153.4 | 87.89 | 92 | 714.9 | 9999.9 | 9999.9 | 2375 | 20.81 | 13.24 | 10.34 | 7.291 | 6.686 | 5.327 | 4.588 | 3.818 | 4.041 | 3.46 | 3.014
345 | 665 | 900.6 | 1202 | 1516 | 1955 | 2152 | 2005 | 1815 | 1981 | 2446 | 2921 | 3298 | 3535 | 3666 | 3918 | 4028 | 3905 | 3368 | 2479 | 1498 | 883.9 | 695 | 473.8 | 195.1 | 106.8 | 72.8 | 92.22 | 724 | 9999.9 | 9999.9 | 2503 | 21.38 | 13.75 | 10.4 | 7.619 | 5.889 | 4.943 | 4.124 | 4.118 | 3.354 | 3.255
350 | 584.7 | 827.2 | 1081 | 1345 | 1789 | 1994 | 1823 | 1672 | 1831 | 2255 | 2708 | 3085 | 3355 | 3564 | 3778 | 3896 | 3776 | 3288 | 2472 | 1550 | 922 | 606 | 560.4 | 342.9 | 146 | 92.01 | 76.03 | 99.81 | 723.7 | 9999.9 | 9999.9 | 2705 | 22.52 | 14.41 | 10.98 | 7.615 | 5.965 | 4.822 | 4.295 | 4.025 | 3.594
355 | 546.7 | 785.3 | 987.1 | 1319 | 1721 | 1826 | 1654 | 1507 | 1665 | 2024 | 2481 | 2858 | 3123 | 3396 | 3589 | 3722 | 3618 | 3169 | 2424 | 1570 | 956.5 | 625.6 | 469.7 | 484.8 | 257.8 | 129.4 | 100.8 | 84.72 | 105.6 | 743.4 | 9999.9 | 9999.9 | 2717 | 22.37 | 14.58 | 10.61 | 7.509 | 5.068 | 4.84 | 4.096 | 4.043
360 | 552.8 | 705.9 | 1007 | 1269 | 1604 | 1751 | 1515 | 1366 | 1487 | 1822 | 2236 | 2589 | 2882 | 3119 | 3389 | 3498 | 3420 | 3009 | 2345 | 1541 | 995.1 | 669.5 | 462 | 410.4 | 434.2 | 222 | 145.5 | 113.9 | 93.29 | 113 | 734 | 9999.9 | 9999.9 | 3001 | 22.41 | 14.38 | 9.908 | 6.995 | 5.745 | 4.927 | 4.114
365 | 441.7 | 652.6 | 877.6 | 1077 | 1510 | 1643 | 1385 | 1207 | 1316 | 1612 | 1962 | 2363 | 2645 | 2893 | 3136 | 3258 | 3163 | 2810 | 2247 | 1516 | 1020 | 703.1 | 507.8 | 391.3 | 405.5 | 403.2 | 218.6 | 158.6 | 124.9 | 97.22 | 108.2 | 741.7 | 9999.9 | 9999.9 | 2934 | 22.92 | 13.81 | 10.04 | 7.027 | 5.373 | 4.521
370 | 426.5 | 630.7 | 742.9 | 1036 | 1358 | 1481 | 1239 | 1123 | 1205 | 1449 | 1750 | 2095 | 2363 | 2624 | 2879 | 2971 | 2911 | 2599 | 2093 | 1470 | 1025 | 733.4 | 561.2 | 440 | 374 | 440.4 | 383.6 | 220.9 | 166.9 | 127.4 | 94.24 | 109.5 | 744.6 | 9999.9 | 9999.9 | 2776 | 21.81 | 13.04 | 9.472 | 6.59 | 5.189
375 | 403.2 | 516.8 | 699.3 | 943.8 | 1207 | 1342 | 1142 | 1006 | 1098 | 1288 | 1563 | 1851 | 2125 | 2366 | 2583 | 2691 | 2646 | 2411 | 1988 | 1427 | 1022 | 785.1 | 616.5 | 512.3 | 435 | 401.7 | 488 | 370.5 | 225.8 | 170 | 128.7 | 92.14 | 108.5 | 754.9 | 9999.9 | 9999.9 | 2715 | 21.48 | 12.77 | 8.544 | 6.438
380 | 306 | 425.5 | 642.8 | 899 | 1059 | 1162 | 1006 | 934.3 | 980.2 | 1142 | 1416 | 1643 | 1851 | 2090 | 2322 | 2444 | 2414 | 2213 | 1863 | 1392 | 1046 | 834.8 | 689 | 594.6 | 520.5 | 462.7 | 457.3 | 511.4 | 348.9 | 232.5 | 172.8 | 125.3 | 95.99 | 108.7 | 760.7 | 9999.9 | 9999.9 | 2573 | 19.59 | 11.56 | 8.522
385 | 314.8 | 448.3 | 607.3 | 862.9 | 995.9 | 1156 | 992.9 | 857.6 | 879.1 | 1030 | 1219 | 1451 | 1643 | 1872 | 2069 | 2192 | 2202 | 2045 | 1772 | 1372 | 1087 | 896.1 | 777.3 | 689.8 | 628.4 | 566.7 | 520.1 | 515.2 | 517.9 | 336.8 | 237.3 | 174.7 | 131 | 97.24 | 107 | 760.4 | 9999.9 | 9999.9 | 2440 | 17.67 | 11.63
390 | 577.8 | 393.7 | 596 | 751.2 | 909 | 1019 | 917.5 | 803.1 | 857.3 | 957.9 | 1085 | 1294 | 1459 | 1662 | 1852 | 2007 | 2032 | 1941 | 1702 | 1386 | 1148 | 996.8 | 895.1 | 808.7 | 758.7 | 705.2 | 631.6 | 572.6 | 569.2 | 516.8 | 329.8 | 244.3 | 185.2 | 135.1 | 91.02 | 105.7 | 735.9 | 9999.9 | 9999.9 | 2405 | 17.66
395 | 1464 | 358.4 | 525.5 | 676.7 | 904 | 977.1 | 858.6 | 779.7 | 803.5 | 893.1 | 994.9 | 1170 | 1309 | 1496 | 1683 | 1834 | 1891 | 1828 | 1675 | 1425 | 1232 | 1101 | 1014 | 950.9 | 903.6 | 842.5 | 767.8 | 688.8 | 609.7 | 604.2 | 501.6 | 330.9 | 249.1 | 179.5 | 125.2 | 81.53 | 97.19 | 753.2 | 9999.9 | 9999.9 | 2209
400 | 2113 | 821.8 | 499.2 | 650 | 813 | 872.2 | 834.5 | 762.7 | 784.1 | 857.7 | 951.9 | 1059 | 1185 | 1353 | 1537 | 1707 | 1787 | 1763 | 1658 | 1461 | 1323 | 1219 | 1154 | 1095 | 1053 | 1001 | 922.4 | 820 | 721.7 | 633.3 | 624.9 | 467 | 316.8 | 230.1 | 162.5 | 105 | 71.48 | 89.31 | 726.4 | 9999.9 | 9999.9
405 | 1453 | 1954 | 488 | 708.7 | 769.3 | 875.3 | 790.3 | 761.5 | 773.6 | 821.4 | 894 | 981.3 | 1091 | 1223 | 1439 | 1596 | 1701 | 1717 | 1659 | 1529 | 1410 | 1334 | 1287 | 1237 | 1200 | 1141 | 1055 | 956.1 | 835.7 | 711.4 | 638.4 | 608 | 428.5 | 287.8 | 199.4 | 134.9 | 85.22 | 57.95 | 81.08 | 706.6 | 9999.9
410 | 518.7 | 2853 | 991.3 | 594.5 | 723.9 | 842.8 | 791.1 | 742.2 | 768.9 | 815.5 | 860.2 | 926.2 | 1000 | 1156 | 1323 | 1505 | 1637 | 1677 | 1666 | 1569 | 1478 | 1432 | 1394 | 1357 | 1327 | 1280 | 1172 | 1078 | 943.3 | 810.9 | 683.1 | 625.5 | 558.9 | 366.2 | 241.7 | 159.3 | 102.6 | 67.49 | 46.99 | 75.09 | 704.3
415 | 286.5 | 1662 | 2558 | 643.1 | 738.6 | 740.9 | 780.3 | 751.4 | 762.5 | 796.4 | 854.6 | 885 | 939 | 1069 | 1223 | 1417 | 1544 | 1637 | 1632 | 1577 | 1540 | 1500 | 1484 | 1459 | 1426 | 1367 | 1276 | 1168 | 1036 | 887 | 749.3 | 633.5 | 585.6 | 472.1 | 290.9 | 189.1 | 123.5 | 82.34 | 56.25 | 40.63 | 72.45
420 | 284.6 | 631.8 | 3232 | 1113 | 701.6 | 722.7 | 746.3 | 761.5 | 758.1 | 785.2 | 807.4 | 842 | 891.2 | 998.7 | 1165 | 1334 | 1490 | 1576 | 1609 | 1577 | 1561 | 1533 | 1524 | 1519 | 1499 | 1451 | 1359 | 1243 | 1102 | 953.5 | 807.7 | 676.6 | 564.3 | 515.1 | 367.7 | 218.6 | 142 | 94.37 | 65.82 | 46.24 | 36.87
425 | 236 | 382.3 | 2073 | 2664 | 669.9 | 707.7 | 742.1 | 746.9 | 761.5 | 791.9 | 789.5 | 816.3 | 846.9 | 928.8 | 1086 | 1255 | 1421 | 1530 | 1561 | 1537 | 1550 | 1561 | 1563 | 1553 | 1540 | 1493 | 1407 | 1295 | 1146 | 997.6 | 852 | 707 | 579.4 | 485.8 | 427.1 | 275.7 | 160.8 | 110.6 | 77.16 | 57 | 42.42
430 | 262.4 | 361.2 | 718.3 | 3563 | 1115 | 681.5 | 715.8 | 705.9 | 759 | 784.9 | 782.6 | 783.8 | 814.8 | 879.7 | 1021 | 1201 | 1344 | 1462 | 1518 | 1525 | 1543 | 1561 | 1559 | 1566 | 1555 | 1520 | 1436 | 1328 | 1188 | 1034 | 890 | 739.9 | 601.2 | 480.5 | 401.7 | 337.7 | 198.7 | 124.5 | 91.69 | 67.93 | 49.77
435 | 237.1 | 292.8 | 440.8 | 2427 | 2689 | 648.7 | 680.9 | 724.1 | 742.6 | 781.2 | 790.2 | 779.3 | 791.5 | 835.1 | 969.8 | 1140 | 1299 | 1394 | 1476 | 1492 | 1526 | 1532 | 1548 | 1552 | 1562 | 1526 | 1443 | 1338 | 1203 | 1047 | 901.4 | 752.8 | 614 | 495.3 | 380.5 | 329.8 | 258.9 | 148.7 | 104.5 | 78.36 | 61.35
440 | 241.4 | 315.3 | 384.2 | 884.6 | 3925 | 1150 | 651.5 | 706.1 | 728 | 788.9 | 779.3 | 755.3 | 745.9 | 804.2 | 906.7 | 1089 | 1233 | 1332 | 1395 | 1431 | 1473 | 1486 | 1512 | 1530 | 1526 | 1507 | 1436 | 1324 | 1193 | 1047 | 900.8 | 758.6 | 626.5 | 502.1 | 384.5 | 293.4 | 271.8 | 194.7 | 120.2 | 91.29 | 71.55
445 | 235.5 | 291.1 | 379.5 | 443.7 | 2908 | 2850 | 630.5 | 664.2 | 692 | 746.3 | 758 | 735.8 | 727.7 | 737.6 | 858.2 | 1010 | 1127 | 1241 | 1313 | 1353 | 1386 | 1434 | 1446 | 1463 | 1469 | 1448 | 1382 | 1292 | 1168 | 1028 | 885.8 | 753.8 | 626.8 | 495.6 | 381.7 | 290.5 | 235.5 | 226 | 157.4 | 102.3 | 79.17
450 | 235 | 299.9 | 379 | 424.8 | 1096 | 4612 | 1117 | 636.9 | 690.3 | 703 | 727.9 | 715.1 | 680.3 | 699.2 | 787.4 | 927.8 | 1056 | 1158 | 1221 | 1260 | 1303 | 1342 | 1368 | 1385 | 1386 | 1376 | 1323 | 1232 | 1122 | 989.7 | 851.6 | 730.8 | 600.6 | 484 | 380.4 | 289.8 | 222.1 | 201.4 | 187.8 | 123.7 | 88.58
455 | 198.5 | 240.3 | 327.8 | 386.9 | 485.4 | 3464 | 2967 | 607.3 | 639.3 | 687.6 | 690.4 | 674.8 | 641.6 | 643.4 | 739.1 | 854 | 963.5 | 1062 | 1114 | 1155 | 1201 | 1241 | 1264 | 1282 | 1296 | 1278 | 1226 | 1152 | 1047 | 928.9 | 811.8 | 692.5 | 570.5 | 467.1 | 371.8 | 287 | 220.6 | 180.6 | 179.6 | 157.8 | 103.5
460 | 215.5 | 247.3 | 306.9 | 400.7 | 393.8 | 1193 | 4899 | 1070 | 598.8 | 644.4 | 657.4 | 643.9 | 600.6 | 601.8 | 659.4 | 765.3 | 867.1 | 955.6 | 1005 | 1058 | 1092 | 1137 | 1156 | 1177 | 1192 | 1183 | 1138 | 1068 | 983.4 | 873.6 | 759.7 | 646.2 | 545.3 | 448.6 | 358.9 | 276.2 | 215.7 | 176.9 | 152.7 | 162.7 | 129.6
465 | 197.6 | 232.8 | 287.4 | 358.4 | 366.6 | 453.2 | 3878 | 2913 | 572.8 | 593.6 | 595.5 | 584.2 | 567.5 | 547.3 | 594.2 | 696.4 | 777.8 | 863.8 | 907.8 | 945.1 | 993.7 | 1021 | 1046 | 1065 | 1078 | 1070 | 1043 | 977.7 | 902.3 | 799.8 | 700 | 599.6 | 504.9 | 423.9 | 337.6 | 266.6 | 212.1 | 176.7 | 144.8 | 137.6 | 145.6
470 | 161.4 | 188 | 258.8 | 323.5 | 377.9 | 352.1 | 1210 | 5000 | 1059 | 561.8 | 542.4 | 553.3 | 519.8 | 497.6 | 550.8 | 626.2 | 698.3 | 769.8 | 803.8 | 841.2 | 876.7 | 908.4 | 934.2 | 948.6 | 972 | 964 | 938 | 885.9 | 813.9 | 729.1 | 639.1 | 548.4 | 466.6 | 392.9 | 317.1 | 254.6 | 204 | 174.9 | 143.6 | 126.1 | 128.6
475 | 173.5 | 173.2 | 286.6 | 256.5 | 333.9 | 355.2 | 445.4 | 4072 | 2914 | 517.9 | 507.6 | 503.1 | 467.5 | 460 | 491 | 557.2 | 611.7 | 664.8 | 704.9 | 734.9 | 778.3 | 802 | 828.9 | 848.1 | 863.7 | 858 | 838.5 | 799.9 | 736.5 | 656 | 579.1 | 499.1 | 424.4 | 358.3 | 297 | 242.2 | 197.4 | 167.2 | 142.2 | 126.4 | 111.4
480 | 160.8 | 147.4 | 206.6 | 225.9 | 307.6 | 322.5 | 356.6 | 1285 | 5076 | 980.3 | 479 | 475.6 | 433 | 436.7 | 462.6 | 505.8 | 558.2 | 601.2 | 622.7 | 645.7 | 684.4 | 710.7 | 737.8 | 754.1 | 762.3 | 760.1 | 750.6 | 715.5 | 660.9 | 597.6 | 531 | 460.9 | 391.8 | 335.3 | 284.6 | 231.8 | 193.8 | 164.4 | 145.1 | 125.2 | 110.9
485 | 123.1 | 172.2 | 192.7 | 222.3 | 268.7 | 311.7 | 296 | 417.3 | 4142 | 2842 | 457 | 446.1 | 419.9 | 423.2 | 442.3 | 484.1 | 515.4 | 552 | 565.6 | 579.7 | 612 | 636.6 | 657.1 | 678.3 | 695.8 | 690 | 683.3 | 644.1 | 600 | 549.8 | 490.2 | 428.6 | 375.3 | 317.9 | 278 | 229.9 | 193.9 | 167.9 | 147.9 | 129.5 | 115.6
490 | 136.4 | 155.7 | 190.1 | 185.3 | 233.2 | 308.8 | 300.8 | 336 | 1326 | 5114 | 851.6 | 437.1 | 428.1 | 427.8 | 437.8 | 456.4 | 490 | 506.5 | 512.9 | 522.3 | 542.2 | 569.3 | 583.5 | 601.4 | 621.1 | 627.9 | 614.9 | 592.2 | 553.4 | 505.1 | 453 | 401.4 | 354.9 | 316.8 | 272.5 | 231.3 | 198.1 | 172.5 | 150.6 | 135.2 | 122.5
495 | 113.4 | 123 | 168.5 | 197.7 | 215.5 | 265 | 309.6 | 321.7 | 409.7 | 4584 | 2600 | 439.7 | 427.2 | 448.2 | 445.4 | 461.7 | 473.8 | 469.4 | 455.7 | 466.8 | 489.6 | 508.2 | 520.8 | 530.9 | 549.6 | 561 | 553.9 | 535.1 | 509.3 | 465.5 | 424.3 | 381.1 | 343.5 | 310.5 | 274.9 | 243.4 | 208.7 | 183.2 | 157.8 | 144.3 | 131.3
500 | 109.5 | 126.3 | 165.2 | 155.1 | 200.7 | 249.8 | 311.3 | 286.1 | 328.8 | 1496 | 4890 | 809.6 | 429.5 | 445.5 | 458 | 453.8 | 450.5 | 438.8 | 410.9 | 407.7 | 425.2 | 440.5 | 457 | 467.7 | 490.3 | 490.1 | 494.1 | 479.4 | 459 | 428 | 398.7 | 367.7 | 335 | 310.4 | 279 | 246.6 | 219.3 | 194.5 | 169.4 | 152.8 | 140.6