## Sheet1
Report date: | 16:16:57, 09/18/2024
Sample: | 1
File name:
Run date: | 16:10:29, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 220.0/340.0 | 1963
2 | 220.0/395.0 | 869.2
3 | 220.0/475.0 | 341.5
4 | 225.0/320.0 | 2181
5 | 225.0/335.0 | 2016
6 | 225.0/485.0 | 336.1
7 | 250.0/275.0 | 510.1
8 | 255.0/280.0 | 554.1
9 | 265.0/295.0 | 1211
10 | 270.0/300.0 | 1835
11 | 275.0/305.0 | 2317
12 | 275.0/335.0 | 2469
13 | 280.0/315.0 | 2485
14 | 310.0/350.0 | 509
15 | 315.0/355.0 | 446.1
16 | 320.0/360.0 | 384.3
17 | 325.0/365.0 | 332.2
18 | 330.0/375.0 | 344.8
19 | 335.0/380.0 | 354
20 | 340.0/385.0 | 335
21 | 345.0/395.0 | 324.9
22 | 350.0/400.0 | 326.7
23 | 355.0/405.0 | 311.3
24 | 360.0/410.0 | 284.7
25 | 365.0/420.0 | 252.7
26 | 370.0/425.0 | 220.2
27 | 375.0/430.0 | 178.6
28 | 380.0/440.0 | 145.5
29 | 385.0/445.0 | 129.3
30 | 390.0/450.0 | 110.7
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 117.4 | 105.2 | 113.8 | 94.73 | 76.52 | 40.93 | 27.68 | 18.71 | 63.76 | 451.8 | 263.3 | 44.77 | 88.81 | 7355 | 9999.9 | 3469 | 26.33 | 9.554 | 7.201 | 4.394 | 3.993 | 3.11 | 3.088 | 2.483 | 2.357 | 2.722 | 2.383 | 2.305 | 2.625 | 2.138 | 1.749 | 2.145 | 2.053 | 1.971 | 2.122 | 2.183 | 2.375 | 1.799 | 2.076 | 1.635 | 1.594
275 | 266.6 | 214.9 | 201.4 | 280.3 | 228.6 | 127.3 | 50.14 | 26.38 | 23.66 | 150.6 | 510.1 | 219.2 | 70.73 | 568.8 | 8117 | 9999.9 | 3140 | 24.14 | 9.468 | 6.341 | 4.324 | 3.645 | 3.136 | 3.215 | 2.532 | 2.667 | 2.354 | 2.43 | 2.372 | 2.527 | 2.204 | 1.999 | 2.196 | 1.876 | 2.228 | 1.708 | 2.11 | 2.16 | 2.24 | 1.931 | 1.776
280 | 423.2 | 313 | 336.4 | 441.6 | 395.4 | 267.4 | 93.65 | 38.61 | 26.66 | 43.69 | 247.7 | 554.1 | 206.4 | 152.3 | 659.5 | 7784 | 9999.9 | 2825 | 22.4 | 7.274 | 5.113 | 4.545 | 3.642 | 2.821 | 2.873 | 2.969 | 2.593 | 2.359 | 2.309 | 2.386 | 2.13 | 2.14 | 1.956 | 2.202 | 1.974 | 2.009 | 2.166 | 1.931 | 2.156 | 2.354 | 1.998
285 | 670.7 | 471.5 | 552.4 | 636.6 | 690.2 | 517 | 228.5 | 111.7 | 53.75 | 51.32 | 95.33 | 414 | 647.9 | 285.1 | 302.5 | 746.8 | 7626 | 9999.9 | 2535 | 20.52 | 6.992 | 5.374 | 3.923 | 3.705 | 3.264 | 2.916 | 2.604 | 2.794 | 2.768 | 2.454 | 2.023 | 2.372 | 2.432 | 2.358 | 2.027 | 2.101 | 2.002 | 1.99 | 2.118 | 2.162 | 2.062
290 | 894.4 | 634.9 | 721.9 | 871.6 | 1013 | 868.4 | 507.7 | 271.4 | 140 | 107.8 | 121.1 | 217.9 | 732.9 | 825 | 562.1 | 569.7 | 920.8 | 7668 | 9999.9 | 2191 | 15.92 | 7.098 | 4.94 | 4.513 | 3.664 | 2.896 | 3.104 | 3.038 | 2.666 | 2.557 | 2.28 | 2.549 | 2.512 | 2.378 | 2.321 | 2.462 | 2.046 | 2.237 | 2.261 | 2.42 | 2.267
295 | 1235 | 912 | 969.9 | 1128 | 1314 | 1270 | 926.1 | 487.6 | 277.8 | 191.8 | 182.5 | 275 | 505.8 | 1211 | 1192 | 959.4 | 826.8 | 974.9 | 7781 | 9999.9 | 1920 | 14.39 | 6.402 | 5.244 | 4.467 | 3.325 | 3.064 | 2.816 | 2.597 | 2.434 | 2.358 | 2.458 | 2.401 | 2.442 | 2.194 | 2.058 | 2.075 | 2.277 | 2.535 | 2.345 | 2.214
300 | 1347 | 1085 | 1142 | 1384 | 1626 | 1601 | 1256 | 751.6 | 460.8 | 324.3 | 315.7 | 436.8 | 627.2 | 1017 | 1835 | 1559 | 1191 | 807.6 | 856.8 | 6828 | 9999.9 | 1707 | 12.54 | 6.547 | 5.124 | 3.912 | 3.408 | 3.324 | 2.784 | 2.662 | 2.648 | 2.375 | 2.999 | 2.502 | 2.632 | 2.141 | 2.24 | 2.33 | 2.285 | 2.474 | 2.2
305 | 1379 | 1302 | 1258 | 1466 | 1866 | 1839 | 1513 | 995.7 | 655.4 | 501.3 | 505.6 | 625.7 | 845.3 | 1160 | 1709 | 2317 | 1707 | 1097 | 590.9 | 671.1 | 6835 | 9999.9 | 1482 | 11.5 | 6.937 | 5.409 | 4.214 | 3.695 | 3.165 | 2.931 | 2.672 | 2.594 | 2.708 | 2.622 | 2.434 | 2.483 | 2.229 | 1.978 | 2.28 | 2.627 | 2.41
310 | 1477 | 1428 | 1517 | 1599 | 1824 | 1958 | 1700 | 1188 | 859.6 | 689.2 | 719.3 | 862.2 | 1067 | 1421 | 1781 | 2249 | 2409 | 1453 | 782.4 | 369.9 | 577.4 | 6542 | 9999.9 | 1367 | 11.9 | 6.841 | 4.858 | 4.242 | 3.214 | 3.176 | 2.559 | 2.902 | 2.313 | 2.482 | 2.46 | 2.446 | 2.536 | 2.477 | 2.192 | 2.391 | 2.182
315 | 1494 | 1457 | 1520 | 1631 | 1939 | 2076 | 1811 | 1286 | 1015 | 897.1 | 965.7 | 1124 | 1352 | 1650 | 1942 | 2193 | 2485 | 2032 | 1029 | 482.8 | 230.9 | 519.1 | 6402 | 9999.9 | 1213 | 11.26 | 6.246 | 4.901 | 4.129 | 3.57 | 2.976 | 2.942 | 2.983 | 2.771 | 2.567 | 2.525 | 2.49 | 2.25 | 2.684 | 2.522 | 2.159
320 | 1286 | 1490 | 1542 | 1676 | 2054 | 2181 | 1892 | 1395 | 1144 | 1084 | 1168 | 1373 | 1617 | 1863 | 2143 | 2329 | 2316 | 2241 | 1473 | 635.2 | 289.7 | 171.6 | 498.4 | 5901 | 9999.9 | 1204 | 10.68 | 6.318 | 4.801 | 4.263 | 3.377 | 3.228 | 2.842 | 3.032 | 2.553 | 2.795 | 2.414 | 2.47 | 2.442 | 2.498 | 2.371
325 | 1369 | 1312 | 1600 | 1779 | 2005 | 2005 | 1796 | 1387 | 1182 | 1185 | 1341 | 1590 | 1823 | 2049 | 2267 | 2431 | 2355 | 2036 | 1781 | 917.5 | 378.6 | 198.3 | 138.5 | 452.6 | 6032 | 9999.9 | 1084 | 10.63 | 6.761 | 4.762 | 3.93 | 4.149 | 3.457 | 3.188 | 2.796 | 2.535 | 2.665 | 2.332 | 2.321 | 2.493 | 2.181
330 | 1163 | 1361 | 1490 | 1788 | 2012 | 2008 | 1751 | 1384 | 1229 | 1258 | 1477 | 1716 | 1971 | 2178 | 2354 | 2468 | 2411 | 2054 | 1554 | 1250 | 544.6 | 240.8 | 142.7 | 103.3 | 439.9 | 6212 | 9999.9 | 1115 | 9.15 | 6.216 | 4.894 | 4.271 | 3.789 | 3.238 | 3.208 | 2.775 | 2.538 | 2.565 | 2.499 | 2.506 | 2.132
335 | 1073 | 1380 | 1475 | 1741 | 1903 | 2016 | 1692 | 1345 | 1198 | 1303 | 1486 | 1787 | 2026 | 2245 | 2386 | 2469 | 2417 | 2069 | 1519 | 1064 | 861.2 | 344.9 | 168.4 | 96.19 | 74.46 | 439.4 | 5897 | 9999.9 | 1070 | 9.721 | 6.462 | 5.274 | 3.909 | 2.973 | 3.345 | 2.918 | 2.743 | 2.479 | 2.249 | 2.561 | 2.683
340 | 976.3 | 1237 | 1421 | 1653 | 1963 | 1856 | 1636 | 1269 | 1155 | 1245 | 1488 | 1772 | 2029 | 2242 | 2371 | 2435 | 2364 | 2048 | 1546 | 967.5 | 759.8 | 622 | 225.6 | 110.9 | 63.1 | 60.82 | 419.2 | 6236 | 9999.9 | 1113 | 9.974 | 6.37 | 5.625 | 4.153 | 3.479 | 3.254 | 2.925 | 2.904 | 2.743 | 2.498 | 2.403
345 | 972.5 | 1107 | 1327 | 1668 | 1902 | 1819 | 1485 | 1186 | 1089 | 1199 | 1439 | 1712 | 1984 | 2173 | 2306 | 2338 | 2263 | 1974 | 1504 | 950.2 | 598.3 | 605.4 | 432 | 137.4 | 71.6 | 45.67 | 57.62 | 440.4 | 5683 | 9999.9 | 1097 | 10.32 | 6.397 | 5.324 | 4.276 | 3.348 | 2.934 | 2.638 | 2.635 | 2.751 | 2.389
350 | 801.3 | 985.2 | 1193 | 1482 | 1794 | 1789 | 1364 | 1060 | 993.5 | 1106 | 1324 | 1576 | 1853 | 2067 | 2174 | 2217 | 2152 | 1873 | 1454 | 931 | 578.2 | 404.4 | 509 | 294.7 | 94.8 | 57.21 | 43.88 | 61.48 | 405.1 | 5817 | 9999.9 | 1166 | 10.85 | 6.401 | 5.423 | 4.244 | 3.508 | 3.022 | 3.183 | 2.379 | 2.726
355 | 674.8 | 820 | 1137 | 1390 | 1667 | 1617 | 1223 | 952.8 | 883.5 | 1004 | 1212 | 1484 | 1717 | 1911 | 2030 | 2056 | 2006 | 1742 | 1359 | 894.3 | 575.8 | 380.1 | 322.2 | 446.1 | 198.8 | 74.83 | 57.05 | 48.19 | 60.02 | 417.3 | 5760 | 9999.9 | 1115 | 9.973 | 6.301 | 5.091 | 3.614 | 3.328 | 2.988 | 2.776 | 2.361
360 | 604.6 | 755.6 | 979.9 | 1244 | 1459 | 1475 | 1129 | 863.2 | 820.4 | 905.6 | 1091 | 1331 | 1568 | 1726 | 1843 | 1894 | 1829 | 1626 | 1279 | 866.5 | 560 | 383.5 | 271.6 | 289.1 | 384.3 | 152.3 | 75.77 | 60.61 | 49.05 | 59.6 | 406.4 | 6114 | 9999.9 | 1150 | 10.47 | 6.31 | 5.036 | 4.042 | 3.193 | 2.809 | 2.651
365 | 564.5 | 747.9 | 872 | 1118 | 1346 | 1310 | 1034 | 791.6 | 761.5 | 845 | 965.9 | 1202 | 1393 | 1570 | 1678 | 1708 | 1668 | 1464 | 1172 | 812.8 | 555.9 | 390.7 | 282.5 | 218.8 | 299 | 332.2 | 127.6 | 78.76 | 59.83 | 46.66 | 56.53 | 435.8 | 6140 | 9999.9 | 1126 | 9.754 | 5.837 | 4.826 | 3.74 | 3.036 | 2.821
370 | 525.7 | 594 | 809.4 | 1026 | 1214 | 1201 | 905.4 | 711.4 | 679.3 | 753.4 | 868.6 | 1066 | 1242 | 1413 | 1495 | 1552 | 1501 | 1341 | 1086 | 773.6 | 546.7 | 395.2 | 295.2 | 235.2 | 205.5 | 329.2 | 283.7 | 114.5 | 78.42 | 56 | 43.33 | 55.46 | 436.1 | 6108 | 9999.9 | 1068 | 9.244 | 6.226 | 4.397 | 3.463 | 2.973
375 | 461.7 | 545.9 | 761.3 | 907.6 | 1050 | 1125 | 819.1 | 658.1 | 632.8 | 669.4 | 782.4 | 929.2 | 1099 | 1237 | 1356 | 1376 | 1355 | 1226 | 1013 | 736.1 | 541.5 | 420.2 | 321.5 | 260.2 | 219.3 | 216.4 | 344.8 | 238.6 | 104 | 73.78 | 55.54 | 41.51 | 56.1 | 436.3 | 6248 | 9999.9 | 1020 | 8.72 | 5.799 | 4.291 | 3.719
380 | 446.1 | 552.5 | 641 | 798.8 | 964.1 | 990 | 777.7 | 622.5 | 592.5 | 620.8 | 702.9 | 840.4 | 986.3 | 1099 | 1205 | 1232 | 1221 | 1109 | 946.3 | 710.6 | 545 | 441.1 | 355 | 293.5 | 250.1 | 219 | 245.4 | 354 | 194.7 | 98.63 | 71.11 | 53.51 | 43.01 | 55.11 | 442.7 | 5987 | 9841 | 932.9 | 8.569 | 5.48 | 3.925
385 | 399.8 | 512.3 | 596.8 | 750.4 | 871.8 | 933 | 722 | 587.1 | 565.4 | 563.6 | 632 | 749.7 | 853.5 | 983.8 | 1069 | 1119 | 1111 | 1031 | 893.6 | 710.1 | 562.2 | 461.1 | 387.9 | 336.5 | 285.7 | 259.7 | 233.2 | 278.7 | 335 | 166.2 | 96.61 | 74.13 | 55.25 | 40.99 | 55.06 | 430.4 | 5701 | 8993 | 910.3 | 7.896 | 4.92
390 | 701.4 | 522.5 | 551.6 | 748.1 | 842 | 872.2 | 689.4 | 578.5 | 512.1 | 533.4 | 595 | 664.6 | 757.8 | 854.4 | 956.8 | 1005 | 1017 | 950.4 | 844 | 700.2 | 583.3 | 496.6 | 436 | 386.7 | 342.3 | 311.2 | 272.7 | 248.8 | 305.9 | 304.9 | 146.4 | 96.61 | 72.59 | 53.81 | 39.77 | 51.64 | 401.2 | 5118 | 8952 | 904.2 | 7.605
395 | 1838 | 488.6 | 533.2 | 698.9 | 869.2 | 793.1 | 668.9 | 561.7 | 526.4 | 519.7 | 544.8 | 609.3 | 683.4 | 770.2 | 863.8 | 913.7 | 941.6 | 924.8 | 836.4 | 704.4 | 609.7 | 540.9 | 481.3 | 439.4 | 396.6 | 360.5 | 325.9 | 279.6 | 256.9 | 324.9 | 264.1 | 131.7 | 92.41 | 67.99 | 47.79 | 33.39 | 47.32 | 368.5 | 5216 | 8266 | 793.8
400 | 2429 | 1001 | 509.4 | 645.5 | 754.9 | 764.1 | 638.5 | 557.6 | 508.1 | 495.8 | 521.6 | 570 | 618.4 | 697.9 | 774.7 | 851 | 885.2 | 866.7 | 810 | 712.8 | 640.2 | 582.4 | 529.3 | 488.7 | 455.2 | 414.8 | 373 | 329.8 | 282.7 | 264.6 | 326.7 | 225.3 | 122.4 | 86.12 | 60.04 | 40.9 | 27.72 | 41.07 | 368.7 | 4795 | 7670
405 | 1796 | 2588 | 534.9 | 588.8 | 699.9 | 706.3 | 656.3 | 559.1 | 525.1 | 484.4 | 476.7 | 528.9 | 566.2 | 636.1 | 727.3 | 795.1 | 825.3 | 832.2 | 801.7 | 727.1 | 654.4 | 620.7 | 574.7 | 542.3 | 507.6 | 470 | 423.4 | 370.5 | 318.4 | 271.3 | 270.5 | 311.3 | 186.9 | 106.4 | 73.92 | 48.81 | 33.18 | 23.13 | 38.78 | 332.5 | 4162
410 | 636.2 | 3631 | 1166 | 557.3 | 670 | 671.5 | 625.3 | 561.1 | 521.7 | 480.9 | 467.7 | 499.3 | 524.3 | 588 | 660.6 | 737.2 | 782.7 | 802.9 | 777.8 | 724.5 | 683.6 | 650.7 | 621.9 | 588.3 | 549.4 | 512.4 | 462.7 | 414.2 | 358.5 | 301.5 | 257.3 | 272.4 | 284.7 | 149.3 | 86.38 | 57.85 | 38.45 | 25.98 | 19.72 | 35.74 | 294.2
415 | 365 | 2145 | 2893 | 544.6 | 660 | 640.3 | 604.7 | 566.3 | 519 | 492.3 | 469.5 | 477.2 | 484.4 | 541.6 | 619.9 | 694.6 | 751 | 767.6 | 752.5 | 720.8 | 692.1 | 675.9 | 649 | 617.8 | 586.1 | 549.1 | 505.1 | 445.9 | 386.6 | 326.9 | 274 | 235 | 273.2 | 233 | 110.6 | 67.88 | 46.05 | 31.37 | 22.79 | 17.64 | 31.6
420 | 359.6 | 731.5 | 4002 | 1191 | 585.4 | 609.3 | 597.5 | 545.2 | 515.8 | 496 | 469 | 470.2 | 469.7 | 504.9 | 573.4 | 646.2 | 700.7 | 738.4 | 739.5 | 724 | 701.7 | 684.7 | 664.6 | 641.1 | 607 | 568.6 | 522.6 | 468.3 | 406.3 | 351 | 291.5 | 243.2 | 216.7 | 252.7 | 174 | 81.43 | 54.23 | 35.85 | 26.41 | 19.89 | 15.74
425 | 354.3 | 409.1 | 2563 | 3176 | 622.9 | 583.5 | 558.7 | 528.1 | 496.8 | 488.8 | 453.6 | 444.8 | 440.3 | 481.4 | 523.3 | 601.4 | 668.7 | 701.4 | 717.2 | 708.4 | 684.6 | 677.2 | 662.9 | 648.6 | 622.1 | 581 | 540.2 | 483.8 | 424.3 | 359.1 | 306.1 | 250.7 | 210.3 | 193.4 | 220.2 | 127 | 60.64 | 42.23 | 31.01 | 23.35 | 18.92
430 | 332 | 449.6 | 927.1 | 4542 | 1215 | 535 | 553 | 551.1 | 501.1 | 489.8 | 454.2 | 432.7 | 422.1 | 444.2 | 504.8 | 573.5 | 638.8 | 664.5 | 692.6 | 676 | 672.1 | 673.1 | 665.1 | 646.1 | 622.4 | 602.4 | 546.7 | 486 | 432.3 | 369.7 | 314.1 | 261.8 | 217.9 | 170.4 | 177.9 | 178.6 | 90.19 | 50.3 | 36.24 | 26.84 | 21.56
435 | 354 | 363.2 | 484 | 2963 | 3518 | 578 | 566.4 | 523.2 | 500.1 | 475.7 | 445.9 | 427.2 | 414.6 | 432.8 | 473.6 | 549.2 | 591.1 | 625.8 | 664.1 | 650.2 | 652.9 | 654.2 | 656.6 | 643.3 | 626.1 | 593.3 | 554.3 | 492.3 | 435.7 | 374.2 | 318.3 | 264.5 | 218.3 | 174 | 142 | 159.5 | 139.2 | 64.34 | 40.53 | 32.37 | 24.91
440 | 294 | 375.7 | 414.1 | 1011 | 5224 | 1236 | 529.4 | 517.8 | 478.3 | 468.2 | 439.4 | 416.8 | 403.6 | 406.8 | 445.7 | 504.3 | 558.5 | 603.6 | 623.7 | 628.3 | 631.4 | 632.6 | 630.5 | 622.2 | 608.6 | 580.5 | 538.1 | 490.6 | 427.5 | 370.1 | 317.6 | 271.2 | 221.1 | 177 | 140 | 118.1 | 145.5 | 106.5 | 50.8 | 35.89 | 28.78
445 | 274 | 385.1 | 396.2 | 468.1 | 3505 | 3458 | 514.9 | 486.7 | 462.2 | 454.8 | 432.6 | 399.8 | 384.7 | 389 | 424.8 | 479.6 | 520.3 | 559 | 585.4 | 596.9 | 593.5 | 608 | 607.5 | 605.9 | 584.2 | 560.8 | 527.2 | 476.3 | 420.2 | 361.7 | 311.2 | 265.1 | 220.7 | 177.5 | 139.3 | 108.2 | 104.8 | 129.3 | 81.11 | 42.89 | 32.43
450 | 237.9 | 329.3 | 425.3 | 371.4 | 1081 | 5720 | 1176 | 456.3 | 442.5 | 433.5 | 406.1 | 384.9 | 360.4 | 360.1 | 398.5 | 441.2 | 481.8 | 517.7 | 541 | 547.2 | 555.3 | 566 | 569.5 | 571.3 | 554.5 | 528.5 | 492.4 | 451.1 | 402 | 349.3 | 301.7 | 257.8 | 211.7 | 176.5 | 139.8 | 108.9 | 87.33 | 98.58 | 110.7 | 60.18 | 36.61
455 | 250.4 | 280.8 | 385.1 | 403.4 | 411.9 | 3920 | 3535 | 456.3 | 436.8 | 410 | 404.9 | 371.8 | 346.7 | 342.1 | 361 | 406.8 | 437.6 | 476.9 | 496.1 | 507.4 | 516.5 | 520.5 | 529.8 | 518.9 | 518.5 | 496.5 | 462.2 | 426.9 | 382.8 | 337.1 | 287.2 | 249.3 | 208.7 | 170 | 136.5 | 108.4 | 85.76 | 76.17 | 96.23 | 92 | 47.27
460 | 239 | 285.7 | 325.6 | 373.3 | 373.9 | 1153 | 5699 | 1096 | 401.2 | 397.4 | 366.3 | 341.6 | 320.7 | 308 | 333.6 | 368.5 | 406.4 | 430.2 | 448.6 | 459.2 | 465.6 | 478.8 | 480.2 | 480 | 474.3 | 460.8 | 432.1 | 398.3 | 358.5 | 312.8 | 271.9 | 237.5 | 195.4 | 160.6 | 132.7 | 105.3 | 83.99 | 70.48 | 67.78 | 94.52 | 72.44
465 | 202.9 | 276 | 276.3 | 382.7 | 339.7 | 421.6 | 4098 | 3426 | 398.1 | 359.7 | 346.5 | 327.6 | 294.9 | 292.2 | 301.9 | 336.1 | 364.8 | 394.8 | 404.4 | 412 | 424.3 | 433.1 | 437.9 | 438.6 | 428.8 | 419.3 | 395.1 | 368 | 333.4 | 295 | 252.6 | 218.5 | 186.1 | 156 | 128.3 | 102.3 | 84.9 | 70.67 | 60.04 | 66.16 | 85.72
470 | 224.8 | 225.9 | 229.1 | 332.7 | 321.3 | 302.6 | 1121 | 5527 | 1013 | 343.7 | 337.3 | 312.6 | 287.1 | 264 | 276.4 | 301.1 | 332.9 | 352.4 | 357 | 370.1 | 381.8 | 387.2 | 391.4 | 395.5 | 388.1 | 379.9 | 360 | 336.9 | 301.1 | 268.1 | 233.7 | 205.2 | 178 | 146.5 | 121.7 | 100.7 | 83.2 | 69.64 | 60.24 | 53.67 | 66.29
475 | 202.1 | 195.8 | 231.7 | 248.3 | 341.5 | 294.7 | 363.3 | 4051 | 3238 | 336.2 | 302.2 | 281.4 | 260.1 | 244.6 | 258.7 | 277.8 | 300.2 | 314.1 | 325.2 | 321.2 | 328.3 | 340.7 | 349.7 | 354.4 | 352.2 | 344.8 | 330.6 | 302.5 | 277.5 | 246.7 | 217.8 | 190.1 | 167 | 143 | 120.5 | 97.4 | 82.9 | 69.72 | 60.88 | 52.91 | 51.14
480 | 154.8 | 186.9 | 212.8 | 209.5 | 337.7 | 273 | 270.4 | 1152 | 5312 | 883.5 | 296.2 | 268.3 | 254.4 | 240.5 | 246.7 | 264.1 | 271.5 | 281.1 | 286.1 | 286.5 | 300 | 306.7 | 310.4 | 320.5 | 314.9 | 307.2 | 296.9 | 280.5 | 255.8 | 226.9 | 203.4 | 181.7 | 159.7 | 136.7 | 115.6 | 101.2 | 84.19 | 72.45 | 64.53 | 54.75 | 50.69
485 | 137.2 | 161.9 | 197.9 | 203.5 | 258 | 336.1 | 247.7 | 324.2 | 3913 | 2963 | 297.2 | 271.5 | 253.4 | 237.5 | 239.9 | 257.3 | 257.4 | 268.1 | 267.5 | 266.3 | 276.6 | 280.8 | 288.6 | 294.4 | 286.6 | 281.2 | 272.3 | 258.2 | 239.2 | 218.2 | 195.6 | 179.3 | 159.3 | 138.3 | 119.5 | 102.1 | 88.61 | 76.39 | 67.98 | 58.46 | 52.81
490 | 173.9 | 158.5 | 172 | 227.6 | 247.1 | 318.3 | 274.6 | 263 | 1128 | 5003 | 791.1 | 267.8 | 255.6 | 255.4 | 258.4 | 256.9 | 253.5 | 250.3 | 242.9 | 246.2 | 251.4 | 259.3 | 267.9 | 265.1 | 264.3 | 263.5 | 256.3 | 244.7 | 229.3 | 213.6 | 192.1 | 174.5 | 160.5 | 145 | 127.5 | 111.6 | 95.3 | 86.05 | 72.93 | 65.76 | 58.51
495 | 153.6 | 141.9 | 167.8 | 220.3 | 230.1 | 289.8 | 293.8 | 249.4 | 312.6 | 3896 | 2646 | 282.5 | 263.3 | 271.2 | 273.9 | 259.6 | 257.8 | 242.8 | 226 | 225.4 | 225.9 | 231.2 | 239.2 | 241.5 | 246 | 243.6 | 241.4 | 230.6 | 219 | 204.7 | 194 | 176.3 | 165.8 | 149.8 | 136.4 | 120.7 | 104.8 | 92.54 | 82.34 | 72.87 | 67.06
500 | 133.6 | 126.2 | 172.8 | 169.9 | 221.9 | 240.4 | 314.5 | 236.2 | 239.2 | 1188 | 4709 | 720 | 293 | 291.9 | 296.1 | 288.1 | 268.3 | 232.8 | 205.8 | 201 | 200.7 | 213.4 | 218.3 | 222.5 | 224.3 | 224.7 | 224.5 | 218.8 | 211.3 | 199.5 | 191.5 | 180.6 | 171.2 | 159.5 | 146.5 | 132.9 | 117.4 | 102.7 | 89.82 | 81.66 | 75.54