## Sheet1
Report date: | 16:27:54, 09/18/2024
Sample: | 1
File name:
Run date: | 16:22:20, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 210.0/455.0 | 361.5
2 | 225.0/320.0 | 1810
3 | 225.0/490.0 | 319.6
4 | 250.0/275.0 | 505.9
5 | 255.0/280.0 | 564.8
6 | 265.0/295.0 | 1185
7 | 270.0/300.0 | 1769
8 | 275.0/305.0 | 2202
9 | 275.0/330.0 | 2191
10 | 280.0/315.0 | 2308
11 | 310.0/350.0 | 496.6
12 | 315.0/355.0 | 435.7
13 | 320.0/360.0 | 381.9
14 | 325.0/365.0 | 327.8
15 | 330.0/375.0 | 335.9
16 | 335.0/380.0 | 342.6
17 | 340.0/385.0 | 327.5
18 | 345.0/395.0 | 317.4
19 | 350.0/400.0 | 319.8
20 | 355.0/405.0 | 311
21 | 360.0/410.0 | 280.3
22 | 365.0/420.0 | 252.9
23 | 370.0/425.0 | 217.9
24 | 375.0/430.0 | 176.4
25 | 380.0/440.0 | 147.5
26 | 385.0/445.0 | 129.5
27 | 390.0/450.0 | 114.3
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 94.64 | 102.9 | 105.7 | 87.01 | 79.23 | 52.8 | 34.08 | 22.61 | 57.58 | 452.1 | 257.4 | 45.48 | 83.61 | 6737 | 9999.9 | 3184 | 25.23 | 9.467 | 5.853 | 5.047 | 3.641 | 3.268 | 2.924 | 2.891 | 2.6 | 2.601 | 2.254 | 2.223 | 2.441 | 2.075 | 1.96 | 1.816 | 2.217 | 1.847 | 1.942 | 2.085 | 2.063 | 1.87 | 1.786 | 1.911 | 1.644
275 | 260.1 | 152.4 | 219.6 | 202.3 | 194.5 | 130.6 | 52.63 | 21.13 | 23.4 | 142.3 | 505.9 | 207.4 | 70.02 | 527.3 | 7166 | 9999.9 | 2882 | 23.66 | 8.827 | 6.223 | 4.686 | 4.156 | 3.318 | 3.115 | 2.975 | 2.583 | 2.598 | 2.531 | 2.427 | 2.346 | 2.249 | 2.283 | 2.103 | 2.043 | 2.077 | 1.919 | 2.223 | 1.98 | 2.212 | 1.949 | 1.791
280 | 335 | 261.6 | 268.8 | 355.9 | 363.3 | 241.3 | 86.32 | 33.34 | 27.37 | 39.5 | 238 | 564.8 | 195.5 | 144.8 | 590.3 | 7265 | 9999.9 | 2640 | 22.39 | 7.644 | 5.432 | 4.662 | 3.567 | 3.4 | 3.359 | 3.113 | 2.533 | 2.364 | 2.316 | 2.167 | 2.199 | 1.997 | 1.957 | 2.316 | 2.139 | 1.867 | 1.946 | 2.026 | 2.255 | 2.346 | 2.012
285 | 547.8 | 413.9 | 413.1 | 517.5 | 598.5 | 472 | 190.5 | 84.78 | 54.24 | 54.08 | 86.31 | 419.5 | 628.2 | 278.2 | 286.6 | 700.3 | 7140 | 9999.9 | 2351 | 19.18 | 7.538 | 5.133 | 4.217 | 3.364 | 3.119 | 3.036 | 2.456 | 2.638 | 2.545 | 2.231 | 2.026 | 1.911 | 2.198 | 2.099 | 2.045 | 2.083 | 2.234 | 1.988 | 1.839 | 2.168 | 2.302
290 | 763.9 | 530.8 | 572 | 744.5 | 854 | 802.3 | 470.6 | 237.1 | 127.9 | 98.14 | 124.4 | 205 | 711.6 | 789.3 | 537.9 | 544.7 | 879.2 | 7383 | 9999.9 | 2040 | 14.68 | 6.652 | 4.971 | 3.823 | 3.718 | 3.344 | 2.793 | 2.753 | 2.426 | 2.29 | 2.209 | 2.007 | 2.204 | 2.419 | 2.548 | 2.17 | 2.145 | 1.941 | 2.388 | 2.262 | 2.297
295 | 884.8 | 745.3 | 746.2 | 915.6 | 1206 | 1153 | 811.4 | 445.9 | 263.2 | 173 | 180.3 | 261.9 | 473.7 | 1185 | 1142 | 911.9 | 794.9 | 929.6 | 7343 | 9999.9 | 1815 | 13.48 | 6.678 | 5.343 | 3.957 | 3.31 | 3.176 | 2.858 | 2.526 | 2.426 | 2.216 | 2.377 | 2.284 | 2.405 | 2.333 | 1.731 | 2.42 | 2.437 | 2.332 | 2.204 | 2.281
300 | 911.8 | 833.3 | 991.2 | 1175 | 1435 | 1421 | 1100 | 688.4 | 418.4 | 304.5 | 303.8 | 389.8 | 587.4 | 955.6 | 1769 | 1483 | 1133 | 761.6 | 799.8 | 7079 | 9999.9 | 1595 | 11.98 | 6.219 | 4.325 | 4.141 | 3.725 | 3.217 | 2.977 | 2.687 | 2.715 | 2.628 | 2.702 | 2.367 | 2.265 | 1.943 | 2.034 | 2.386 | 2.325 | 2.419 | 2.09
305 | 1178 | 995.4 | 1074 | 1310 | 1628 | 1698 | 1359 | 906.1 | 572.2 | 443.6 | 441.2 | 565.2 | 766.2 | 1082 | 1630 | 2202 | 1613 | 1031 | 548.9 | 675.6 | 6848 | 9999.9 | 1430 | 12.48 | 6.413 | 4.943 | 4.323 | 3.511 | 3.377 | 3.051 | 2.791 | 2.584 | 2.731 | 2.567 | 2.549 | 2.124 | 2.343 | 2.453 | 2.194 | 2.21 | 2.121
310 | 1082 | 1120 | 1215 | 1424 | 1566 | 1749 | 1470 | 1065 | 774.7 | 635.7 | 629.7 | 752.4 | 962.6 | 1276 | 1646 | 2137 | 2274 | 1343 | 726.7 | 344.9 | 570.3 | 6240 | 9999.9 | 1366 | 11.62 | 6.493 | 4.602 | 4.307 | 3.603 | 3.273 | 2.876 | 2.934 | 2.8 | 2.336 | 2.663 | 2.293 | 2.259 | 2.268 | 2.54 | 2.693 | 2.181
315 | 1180 | 1139 | 1302 | 1429 | 1615 | 1795 | 1571 | 1148 | 893.4 | 773.8 | 790.1 | 960.4 | 1172 | 1462 | 1816 | 2039 | 2308 | 1895 | 924.7 | 434.8 | 214.2 | 493.8 | 6325 | 9999.9 | 1181 | 10.75 | 6.237 | 4.867 | 4.098 | 3.398 | 2.838 | 3.338 | 2.609 | 2.859 | 2.49 | 2.379 | 2.299 | 2.538 | 2.541 | 2.713 | 2.338
320 | 1103 | 1119 | 1206 | 1490 | 1576 | 1810 | 1567 | 1187 | 990.2 | 904.8 | 964.9 | 1153 | 1370 | 1638 | 1891 | 2112 | 2109 | 2081 | 1359 | 568.9 | 261.9 | 153.3 | 483.9 | 5796 | 9999.9 | 1170 | 9.772 | 5.683 | 5.351 | 4.184 | 3.508 | 3.128 | 3.134 | 2.621 | 2.456 | 2.404 | 2.614 | 2.555 | 2.299 | 2.57 | 2.35
325 | 1008 | 1135 | 1205 | 1356 | 1554 | 1673 | 1563 | 1199 | 1032 | 1016 | 1105 | 1321 | 1532 | 1775 | 1996 | 2156 | 2134 | 1834 | 1652 | 855.7 | 337.5 | 172.9 | 126.4 | 439.5 | 5696 | 9999.9 | 1097 | 9.724 | 6.549 | 4.942 | 3.841 | 3.44 | 3.49 | 3.099 | 2.772 | 2.658 | 2.273 | 2.269 | 2.219 | 2.526 | 2.219
330 | 910.3 | 1031 | 1141 | 1345 | 1629 | 1681 | 1533 | 1190 | 1008 | 1061 | 1194 | 1419 | 1641 | 1838 | 2056 | 2191 | 2140 | 1839 | 1401 | 1168 | 502.1 | 214 | 122.6 | 95.18 | 415.4 | 5829 | 9999.9 | 1051 | 9.343 | 6.003 | 4.873 | 3.851 | 3.904 | 3.193 | 2.889 | 2.57 | 2.275 | 2.535 | 2.428 | 2.693 | 2.203
335 | 748.8 | 1035 | 1140 | 1276 | 1601 | 1620 | 1386 | 1162 | 1013 | 1069 | 1219 | 1477 | 1713 | 1901 | 2073 | 2186 | 2132 | 1846 | 1356 | 976.1 | 822.9 | 313.4 | 149.2 | 87.44 | 71.81 | 410.8 | 5804 | 9987 | 1060 | 10.41 | 6.02 | 5.06 | 4.093 | 3.442 | 3.539 | 2.882 | 2.426 | 2.379 | 2.698 | 2.536 | 2.355
340 | 806.1 | 956.9 | 1091 | 1294 | 1539 | 1629 | 1363 | 1041 | 973.2 | 1040 | 1216 | 1466 | 1674 | 1906 | 2045 | 2133 | 2092 | 1830 | 1348 | 869.6 | 710.5 | 586.8 | 199.3 | 102.9 | 60.45 | 58.89 | 410.8 | 5612 | 9999.9 | 1063 | 10.07 | 6.354 | 5.31 | 4.05 | 3.528 | 3.077 | 2.74 | 2.81 | 2.371 | 2.658 | 2.359
345 | 736 | 884.3 | 997.6 | 1195 | 1437 | 1498 | 1276 | 999.4 | 914 | 989.9 | 1185 | 1423 | 1642 | 1817 | 1967 | 2073 | 2005 | 1748 | 1339 | 848 | 537.7 | 571.1 | 421.4 | 130.8 | 68.17 | 44.21 | 57.26 | 399.4 | 5667 | 9951 | 1061 | 8.978 | 6.395 | 5.068 | 3.923 | 3.777 | 2.965 | 2.953 | 2.685 | 2.267 | 2.278
350 | 644 | 790.5 | 937.9 | 1166 | 1412 | 1375 | 1189 | 899.9 | 859.9 | 929 | 1101 | 1329 | 1559 | 1743 | 1879 | 1924 | 1890 | 1654 | 1283 | 836.2 | 526.9 | 378.3 | 496.6 | 291.7 | 90.18 | 54.91 | 42.57 | 57.9 | 402.6 | 5487 | 9949 | 1086 | 9.504 | 6.644 | 5.196 | 4.248 | 2.948 | 2.644 | 2.661 | 2.641 | 2.566
355 | 547.6 | 710.6 | 800.5 | 1026 | 1229 | 1227 | 1032 | 825 | 787.4 | 842.1 | 1005 | 1236 | 1441 | 1610 | 1730 | 1788 | 1761 | 1543 | 1218 | 809.9 | 529.1 | 353.4 | 305 | 435.7 | 195.7 | 74.06 | 52.11 | 45.4 | 58.91 | 394.8 | 5495 | 9970 | 1030 | 9.976 | 6.765 | 4.649 | 3.781 | 3.28 | 3.03 | 2.473 | 2.539
360 | 468 | 665.1 | 707.6 | 927.1 | 1132 | 1187 | 929.8 | 729.7 | 692.1 | 756.9 | 924 | 1115 | 1336 | 1472 | 1592 | 1650 | 1614 | 1433 | 1137 | 779.5 | 522.9 | 356.6 | 256.9 | 287.8 | 381.9 | 145.6 | 73.57 | 57.69 | 46.25 | 57.45 | 388.3 | 5520 | 9939 | 1073 | 10.15 | 6.391 | 4.411 | 3.695 | 3.221 | 2.773 | 2.855
365 | 464.9 | 547.6 | 664.3 | 779.4 | 1063 | 1078 | 859.1 | 666.7 | 632.1 | 690.5 | 814.4 | 998.3 | 1179 | 1335 | 1431 | 1495 | 1452 | 1310 | 1053 | 742.6 | 514.6 | 367.1 | 264.4 | 206.5 | 293.6 | 327.8 | 120 | 73.14 | 55.93 | 44.54 | 54.27 | 393.6 | 5562 | 9813 | 1036 | 9.826 | 6.053 | 3.975 | 3.687 | 3.006 | 2.752
370 | 376 | 482.8 | 624.5 | 763.5 | 986.7 | 961.2 | 767.8 | 597.4 | 580.6 | 643.3 | 750.2 | 889.2 | 1040 | 1195 | 1301 | 1362 | 1310 | 1193 | 989.8 | 702.2 | 506.5 | 373.9 | 285.3 | 218.2 | 193.5 | 318.1 | 277.2 | 107.4 | 70.83 | 53.2 | 41.05 | 52.62 | 397.9 | 5583 | 9800 | 1018 | 8.782 | 5.837 | 3.83 | 3.621 | 2.677
375 | 369.9 | 437.6 | 569.5 | 736.5 | 860.3 | 875.3 | 718.3 | 567.5 | 532.4 | 577.8 | 663.1 | 801.3 | 934.1 | 1060 | 1176 | 1207 | 1183 | 1103 | 904.1 | 676.3 | 502.5 | 388.3 | 301.7 | 244.9 | 204.4 | 206.2 | 335.9 | 230.4 | 98.41 | 70.33 | 53.56 | 39.73 | 52.48 | 398.7 | 5674 | 9539 | 949.7 | 8.716 | 5.042 | 4.098 | 3.164
380 | 345.7 | 430.5 | 509.6 | 629.3 | 817.6 | 838.6 | 649.6 | 525.5 | 501 | 521.8 | 616.5 | 712.2 | 837.5 | 950.6 | 1027 | 1097 | 1066 | 998.5 | 846.4 | 663.5 | 511 | 411.2 | 326.5 | 273.3 | 234.8 | 203.9 | 231.8 | 342.6 | 189.8 | 95.14 | 70.4 | 51.74 | 39.84 | 52.82 | 406.1 | 5531 | 9072 | 893.2 | 8.141 | 4.783 | 4.279
385 | 282.1 | 385.7 | 417.1 | 615.8 | 688.2 | 736.4 | 595.5 | 505.9 | 481.5 | 482.5 | 544.1 | 629.4 | 727.9 | 832.2 | 924.2 | 969.3 | 972.6 | 923.1 | 801.2 | 649.1 | 524.9 | 437.6 | 364 | 313.3 | 273.2 | 238.6 | 219.6 | 268.8 | 327.5 | 159.3 | 94.05 | 69.52 | 52.15 | 39.07 | 52.84 | 396.4 | 5248 | 8328 | 826.6 | 7.542 | 5.07
390 | 593 | 365 | 416.3 | 519.8 | 609.9 | 663.3 | 576 | 479.9 | 442.2 | 456.1 | 502.4 | 566.5 | 645.8 | 752.7 | 837.1 | 880.3 | 895.6 | 876.2 | 775.1 | 648.7 | 545.2 | 476.7 | 407.2 | 363.2 | 322.1 | 283.9 | 255.1 | 233.6 | 293.7 | 293.8 | 141.3 | 93.42 | 71.08 | 51.52 | 38.78 | 49.05 | 371.6 | 4796 | 7972 | 803.6 | 7.506
395 | 1655 | 410.4 | 406.5 | 500.7 | 590 | 628.6 | 564.6 | 492.5 | 438.2 | 436.8 | 450.7 | 517.3 | 593.9 | 676.1 | 745.1 | 819.5 | 841.5 | 823.6 | 749.3 | 655.2 | 568.1 | 509.2 | 452.7 | 409.9 | 375.1 | 336.3 | 301.1 | 263.6 | 243.3 | 317.4 | 258.7 | 128.7 | 91.01 | 68.04 | 48.03 | 34.15 | 44.51 | 348 | 4624 | 7434 | 759.7
400 | 2711 | 889 | 469.3 | 480.7 | 590.7 | 622.1 | 528.5 | 466.5 | 451.3 | 423.6 | 435.1 | 473.1 | 536.5 | 610.6 | 684.2 | 748.2 | 787.6 | 774.8 | 740.9 | 661.6 | 605.3 | 549.2 | 504.6 | 467.8 | 426.9 | 388 | 350.6 | 311.5 | 265.8 | 255.5 | 319.8 | 221.3 | 118 | 83 | 58.83 | 38.75 | 28.51 | 40.96 | 327.4 | 4355 | 7193
405 | 1673 | 2411 | 410 | 454.4 | 513.1 | 559.6 | 523 | 474.9 | 458.1 | 422.5 | 422 | 464.5 | 488.1 | 546.6 | 624.4 | 692.5 | 740.8 | 742.9 | 729.2 | 675.1 | 633.4 | 583.7 | 548.7 | 509.7 | 473.3 | 441.3 | 399.1 | 351.1 | 303.5 | 261.8 | 265.2 | 311 | 184.4 | 102.2 | 73.14 | 48.97 | 33.87 | 23.87 | 36.68 | 303.3 | 3852
410 | 603.4 | 3109 | 970.2 | 448.9 | 509.6 | 543.1 | 504 | 456.6 | 424.1 | 417 | 415.7 | 427.1 | 460.6 | 508.9 | 563.1 | 642.6 | 696.8 | 726 | 711 | 682.1 | 647.2 | 613.5 | 581.7 | 548.2 | 521 | 482.9 | 438.9 | 390.5 | 341.6 | 284.3 | 245.1 | 270.6 | 280.3 | 145.4 | 87.67 | 59.58 | 38.5 | 27.72 | 20.2 | 32.61 | 271.6
415 | 302 | 1995 | 2712 | 448.7 | 509.2 | 517.2 | 508.4 | 461 | 432.2 | 406.8 | 410.1 | 416.4 | 428 | 477.1 | 528.3 | 609 | 653.2 | 687.8 | 695.3 | 673 | 660.4 | 628.3 | 608.7 | 577.8 | 549.5 | 514.1 | 470.9 | 419.2 | 365.3 | 312.8 | 263.6 | 231.3 | 266.7 | 228.2 | 111.2 | 68.88 | 44.11 | 32.56 | 23.13 | 17.78 | 30
420 | 287.9 | 648.7 | 3642 | 1033 | 501.2 | 515.8 | 469.1 | 441.6 | 423.9 | 416.4 | 378.1 | 393.2 | 418.3 | 435.5 | 489.3 | 566.5 | 621.2 | 666 | 675.2 | 667.7 | 653.3 | 637.8 | 624 | 595.4 | 570.8 | 543.8 | 493.3 | 437.7 | 388.8 | 330.4 | 277.8 | 235.5 | 211.1 | 252.9 | 171.9 | 81.65 | 53.31 | 37.09 | 26.84 | 19.83 | 16.18
425 | 268.2 | 353.2 | 2406 | 3093 | 480 | 497 | 482.7 | 428.4 | 405.5 | 412 | 381.9 | 380.8 | 386.3 | 412.7 | 468.3 | 531.2 | 587.9 | 630.5 | 648.9 | 649.8 | 646.5 | 637.9 | 630.7 | 613.2 | 592.2 | 555.6 | 511.7 | 458.1 | 401.6 | 345.5 | 296.3 | 245.5 | 204.4 | 191.9 | 217.9 | 124.7 | 60.65 | 44.76 | 31.11 | 23.6 | 18.23
430 | 280 | 367.8 | 744.7 | 4263 | 1098 | 455.9 | 440.7 | 413 | 411.2 | 400.7 | 370.1 | 376.9 | 375.6 | 388 | 449.5 | 500.4 | 562 | 597.6 | 621.1 | 627.5 | 629.4 | 633.3 | 625.7 | 614.8 | 596.8 | 559 | 518.9 | 467.5 | 408.6 | 349.8 | 306.2 | 258.3 | 209 | 172.7 | 176.3 | 176.4 | 89 | 49.15 | 37.9 | 29.06 | 23.13
435 | 293.3 | 309.8 | 384.5 | 2817 | 3210 | 463.1 | 434.8 | 421.6 | 411 | 396.4 | 369.8 | 373.5 | 364.6 | 377.5 | 423.6 | 478.1 | 523.1 | 571.2 | 592.9 | 599.9 | 608.9 | 617.4 | 620.3 | 610 | 588.5 | 556.5 | 520.7 | 471.5 | 412.3 | 356 | 305.9 | 257.1 | 215.5 | 171.6 | 142 | 162.5 | 141.9 | 66.74 | 41.7 | 32.75 | 26.37
440 | 216.8 | 325.7 | 312.8 | 896.2 | 5134 | 1121 | 415.8 | 421.1 | 408 | 394.9 | 379.8 | 373.3 | 350.2 | 365.8 | 395.3 | 448.9 | 495.9 | 536.4 | 565.9 | 574.6 | 589.9 | 602.4 | 602 | 589 | 579.1 | 548.9 | 511.4 | 469.6 | 414.7 | 360.7 | 311.8 | 264.2 | 215.8 | 178.4 | 139.9 | 120.1 | 147.5 | 109 | 52.57 | 38.32 | 29.74
445 | 259.2 | 294.1 | 338 | 399.1 | 3380 | 3355 | 423.2 | 399.1 | 397.2 | 394 | 348.7 | 338.6 | 340.7 | 338.2 | 372 | 427.2 | 464.3 | 510.7 | 525.7 | 540.2 | 554.5 | 567.4 | 570 | 569.3 | 559.9 | 525.4 | 492.2 | 450.8 | 402.6 | 349.6 | 307.4 | 257.2 | 217.2 | 178.7 | 142 | 111 | 105.4 | 129.5 | 81.67 | 44.56 | 32.68
450 | 205.5 | 283.3 | 307.9 | 329.2 | 1024 | 5472 | 1036 | 379.6 | 360.3 | 359.1 | 347.1 | 333.3 | 316.8 | 328.8 | 345.1 | 386.6 | 432.6 | 468.6 | 498.8 | 508 | 519.5 | 530.6 | 537.8 | 530.8 | 524.2 | 505.5 | 469.1 | 430 | 390.1 | 339.7 | 292.6 | 251.2 | 211.3 | 173.7 | 140.8 | 110.6 | 91.17 | 101.9 | 114.3 | 62.15 | 37.7
455 | 219.3 | 261.5 | 361.5 | 312.1 | 400.6 | 3788 | 3337 | 383 | 349.5 | 344.3 | 336.1 | 313.6 | 304.6 | 296.1 | 322.6 | 359.1 | 395.3 | 429.8 | 449.8 | 469.5 | 482.9 | 496.7 | 498.5 | 495.9 | 489.5 | 470.3 | 441.2 | 409.6 | 359.7 | 322.4 | 282.9 | 240.7 | 200.1 | 169.6 | 139.2 | 109.5 | 88.33 | 77.08 | 97.71 | 93.73 | 48.91
460 | 183 | 242.5 | 265.8 | 320.8 | 316.8 | 1078 | 5410 | 956.8 | 316.7 | 323.2 | 315 | 305.4 | 286.3 | 282.8 | 295.5 | 333.3 | 356.5 | 390.6 | 407.4 | 425.7 | 438.6 | 447.4 | 452 | 453.3 | 447.3 | 433.1 | 411.8 | 379.9 | 343.6 | 301.6 | 264.7 | 227.3 | 194.6 | 163.3 | 133.7 | 107.9 | 88.06 | 74.82 | 69.66 | 92.21 | 73.37
465 | 199 | 204 | 218.3 | 291 | 279.6 | 328.9 | 3821 | 3166 | 329.5 | 304.1 | 302.3 | 285.3 | 276.2 | 255 | 272 | 295.9 | 322.6 | 354.1 | 368.7 | 376.9 | 394 | 405.2 | 414.6 | 409.5 | 406.9 | 403.7 | 379 | 351.4 | 315.9 | 283.2 | 244.6 | 214 | 182.5 | 156.9 | 128.7 | 107.5 | 86.28 | 71.51 | 61.62 | 66.43 | 86.46
470 | 144.1 | 184.7 | 215.7 | 258.1 | 335.5 | 281.4 | 1043 | 5242 | 906.3 | 284.1 | 287.6 | 268.1 | 254.3 | 237.6 | 246.1 | 267.2 | 293.9 | 313 | 322.5 | 336.9 | 352.7 | 368.1 | 367.9 | 372.1 | 373.9 | 365 | 347.7 | 318.5 | 289.6 | 259.2 | 226.2 | 203.6 | 172.1 | 147.5 | 123.6 | 104 | 85.5 | 72.1 | 62.28 | 55.65 | 66.08
475 | 204.4 | 201.5 | 190.1 | 226.2 | 306.8 | 235.4 | 290.9 | 3871 | 3012 | 291.3 | 263.4 | 254.5 | 232.6 | 223.7 | 232.9 | 247.8 | 263.9 | 280.9 | 292.5 | 303.8 | 312 | 323.3 | 329.9 | 335.1 | 333.9 | 330.8 | 313.6 | 289.5 | 267 | 238 | 212.1 | 185.6 | 162.8 | 139.4 | 120.3 | 98.69 | 83.92 | 70.04 | 61.08 | 54.8 | 50.18
480 | 168.6 | 200.4 | 174.9 | 193.4 | 290.4 | 244.3 | 227 | 1028 | 4970 | 809.9 | 251 | 243 | 225.9 | 215.5 | 229.4 | 228.4 | 240.7 | 255.4 | 259.3 | 268.8 | 280.8 | 291.4 | 300.2 | 301.9 | 299.4 | 297.3 | 285.9 | 267.7 | 243.6 | 223.7 | 199.1 | 175.7 | 160.1 | 138.9 | 119.1 | 100 | 85.11 | 72.18 | 62.26 | 57.14 | 49.43
485 | 111.2 | 157.4 | 169.5 | 206.5 | 230.5 | 288.8 | 227.7 | 278.2 | 3692 | 2769 | 257.4 | 242.5 | 233.9 | 218.5 | 226.4 | 231.3 | 235.3 | 243.3 | 241.6 | 241.4 | 249.3 | 261.2 | 276.6 | 273.9 | 275.7 | 272 | 264.2 | 244.6 | 234.1 | 211.9 | 189.1 | 173.4 | 154.6 | 139.9 | 119.6 | 104.7 | 90.59 | 77.16 | 66.75 | 61 | 53.56
490 | 119.8 | 141.8 | 155.8 | 173.1 | 187.2 | 319.6 | 225.8 | 231.2 | 1015 | 4659 | 743.7 | 248.2 | 234.3 | 231.6 | 236.8 | 232.3 | 235.3 | 232.1 | 223.9 | 227.2 | 232.2 | 242.8 | 249.8 | 252.5 | 254.1 | 252.5 | 245.6 | 234 | 222 | 204.8 | 188.3 | 173.1 | 157.2 | 141.3 | 128.2 | 109.8 | 96.78 | 83.91 | 72.01 | 64.63 | 58.67
495 | 121.7 | 174.9 | 153.2 | 176.6 | 178.6 | 252.8 | 272.4 | 217.5 | 270.3 | 3561 | 2473 | 271.9 | 257.2 | 253.7 | 258 | 247 | 241 | 217.2 | 205.3 | 203.7 | 211.9 | 217.9 | 224.2 | 232.5 | 233 | 237.3 | 229.8 | 225 | 215.3 | 198.3 | 188.3 | 174.1 | 162.3 | 151.7 | 137.2 | 121.5 | 107.3 | 92.96 | 80.78 | 72.88 | 66.44
500 | 131.1 | 142.3 | 130.1 | 152.6 | 175.7 | 217.5 | 287 | 213.1 | 218.3 | 1073 | 4374 | 664 | 262.8 | 276.6 | 287.2 | 260.4 | 247.8 | 223.2 | 192.5 | 186.4 | 193.8 | 196.6 | 203.4 | 209.9 | 215 | 220.4 | 217.6 | 210.9 | 204.6 | 199.3 | 186.5 | 176.5 | 167.5 | 159.4 | 147.7 | 132.4 | 115.5 | 101.7 | 87.91 | 79.99 | 73.52