## Sheet1
Report date: | 16:45:56, 09/18/2024
Sample: | 1
File name:
Run date: | 16:40:09, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/495.0 | 169.8
2 | 210.0/455.0 | 446.7
3 | 215.0/460.0 | 410.9
4 | 220.0/475.0 | 336.7
5 | 225.0/325.0 | 1509
6 | 225.0/400.0 | 570.7
7 | 225.0/490.0 | 318.5
8 | 250.0/275.0 | 600.5
9 | 255.0/280.0 | 639.4
10 | 265.0/295.0 | 1099
11 | 270.0/300.0 | 1544
12 | 275.0/305.0 | 1913
13 | 280.0/315.0 | 2110
14 | 280.0/330.0 | 1964
15 | 285.0/320.0 | 2107
16 | 310.0/350.0 | 489.4
17 | 315.0/355.0 | 454.4
18 | 320.0/360.0 | 388.5
19 | 325.0/365.0 | 320.6
20 | 330.0/375.0 | 317.6
21 | 335.0/380.0 | 314.8
22 | 340.0/385.0 | 293.3
23 | 345.0/395.0 | 269
24 | 350.0/400.0 | 280.3
25 | 355.0/405.0 | 270.9
26 | 360.0/410.0 | 249
27 | 365.0/420.0 | 228.7
28 | 370.0/425.0 | 207.8
29 | 375.0/430.0 | 176.8
30 | 380.0/440.0 | 148.4
31 | 385.0/445.0 | 131.1
32 | 390.0/450.0 | 111.5
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 101.6 | 114.4 | 125.9 | 105.2 | 65.32 | 49.15 | 28.72 | 22.75 | 71.8 | 527.3 | 297.5 | 49.14 | 92.19 | 7366 | 9999.9 | 3338 | 28.42 | 9.378 | 8.047 | 4.949 | 3.628 | 2.803 | 2.729 | 3.26 | 2.968 | 2.938 | 2.399 | 2.361 | 2.304 | 1.67 | 1.876 | 2.246 | 1.953 | 2.197 | 2.266 | 2.143 | 2.189 | 2.505 | 2.208 | 1.897 | 1.709
275 | 261 | 206 | 184.5 | 203.5 | 166.4 | 96.55 | 41.56 | 26.34 | 27.43 | 163.7 | 600.5 | 225.1 | 62.65 | 568 | 7815 | 9999.9 | 3039 | 24.19 | 8.055 | 5.82 | 5.312 | 3.828 | 3.541 | 2.95 | 2.819 | 2.84 | 2.246 | 2.58 | 2.401 | 2.561 | 2.111 | 2.298 | 2.441 | 1.87 | 2.416 | 2.129 | 2.06 | 1.905 | 2.153 | 1.964 | 1.781
280 | 389.3 | 294.4 | 312.2 | 378.6 | 278.5 | 191.3 | 77.77 | 30.68 | 28.5 | 41.31 | 267.2 | 639.4 | 202.1 | 130.3 | 617.4 | 7882 | 9999.9 | 2799 | 22.79 | 7.629 | 5.127 | 4.734 | 4.051 | 3.503 | 3.117 | 3.043 | 2.846 | 3.153 | 2.228 | 2.382 | 2.275 | 2.495 | 2.216 | 1.97 | 2.142 | 2.068 | 1.87 | 1.981 | 2.277 | 2.34 | 1.909
285 | 584.7 | 456.5 | 496.6 | 513 | 558.7 | 403.5 | 192.6 | 79.68 | 45.21 | 44.29 | 81.76 | 447.2 | 678.3 | 245.1 | 233.4 | 714.7 | 7711 | 9999.9 | 2404 | 18.67 | 7.936 | 5.702 | 4.546 | 3.357 | 3.643 | 3.03 | 3.366 | 2.763 | 2.408 | 2.431 | 2.186 | 2.289 | 2.223 | 2.443 | 1.985 | 2.522 | 2.167 | 1.957 | 2.101 | 2.332 | 2.035
290 | 777.9 | 573.5 | 591.2 | 688.3 | 762.5 | 655.7 | 409.3 | 191.3 | 92.59 | 75.46 | 100.5 | 182.1 | 740 | 773.5 | 426.8 | 425.4 | 824.7 | 7961 | 9999.9 | 2159 | 16.74 | 6.788 | 5.5 | 3.599 | 4.046 | 3.342 | 3.568 | 2.751 | 2.546 | 2.66 | 2.432 | 2.64 | 2.318 | 2.239 | 2.235 | 2.098 | 1.923 | 2.299 | 2.376 | 2.328 | 2.391
295 | 914.5 | 713.9 | 720.5 | 884.3 | 996.9 | 930.5 | 638.5 | 323.4 | 161.6 | 130.9 | 147.8 | 216.4 | 391.9 | 1099 | 979.5 | 670 | 568.9 | 833.9 | 7463 | 9999.9 | 1966 | 15.14 | 7.422 | 5.525 | 4.053 | 3.951 | 3.529 | 2.811 | 2.783 | 2.43 | 2.558 | 2.275 | 2.379 | 2.311 | 2.157 | 2.118 | 2.051 | 2.148 | 2.395 | 2.216 | 2.206
300 | 1071 | 812.1 | 786.6 | 944.8 | 1164 | 1195 | 904.1 | 466.3 | 257.3 | 204 | 223.2 | 293.7 | 448.2 | 759.8 | 1544 | 1179 | 818.7 | 547.7 | 731 | 6978 | 9999.9 | 1817 | 14.79 | 6.486 | 5.54 | 4.347 | 3.72 | 3.249 | 3.132 | 2.701 | 2.482 | 2.235 | 2.412 | 2.137 | 2.092 | 2.309 | 2.444 | 2.783 | 2.634 | 2.36 | 2.333
305 | 1134 | 1019 | 902.7 | 1035 | 1287 | 1344 | 1065 | 599.8 | 376.7 | 301 | 326.1 | 428.9 | 576.8 | 809.9 | 1281 | 1913 | 1265 | 804.7 | 478.2 | 705.6 | 7045 | 9999.9 | 1578 | 12.69 | 6.652 | 5.02 | 4.503 | 3.693 | 3.343 | 2.838 | 2.802 | 2.789 | 2.499 | 2.506 | 2.428 | 2.408 | 2.237 | 2.657 | 2.385 | 2.362 | 2.433
310 | 1238 | 986.5 | 945.1 | 1137 | 1317 | 1465 | 1185 | 766.1 | 488.4 | 392.4 | 422.2 | 518.1 | 696.9 | 941.1 | 1252 | 1782 | 2039 | 1184 | 710.1 | 433.7 | 635.7 | 6907 | 9999.9 | 1521 | 12.44 | 6.861 | 5.705 | 4.504 | 3.092 | 2.93 | 3.051 | 2.95 | 2.895 | 2.672 | 2.733 | 2.514 | 2.497 | 2.371 | 2.465 | 2.529 | 2.199
315 | 1095 | 1103 | 965.8 | 1170 | 1414 | 1487 | 1267 | 843.6 | 583.4 | 487.2 | 515.2 | 631.2 | 817.3 | 1049 | 1388 | 1664 | 2110 | 1868 | 992.9 | 564.5 | 281.6 | 548.4 | 6379 | 9999.9 | 1373 | 11.96 | 6.966 | 5.19 | 4.065 | 3.654 | 3.123 | 2.934 | 2.836 | 2.988 | 2.814 | 2.429 | 2.286 | 2.486 | 2.647 | 2.598 | 2.29
320 | 1064 | 1137 | 1007 | 1236 | 1394 | 1490 | 1306 | 922.4 | 680.4 | 567.3 | 611.7 | 748.2 | 916.9 | 1169 | 1494 | 1771 | 1891 | 2107 | 1505 | 723.3 | 332.9 | 164.3 | 486.6 | 6230 | 9999.9 | 1280 | 11.65 | 7.095 | 5.162 | 3.976 | 3.681 | 3.213 | 3.162 | 2.75 | 3.009 | 2.735 | 2.547 | 2.346 | 2.349 | 2.671 | 2.26
325 | 1141 | 946.9 | 1069 | 1162 | 1454 | 1509 | 1343 | 955.1 | 714 | 626.3 | 683.5 | 818.4 | 1005 | 1255 | 1555 | 1840 | 1950 | 1828 | 1825 | 1024 | 400.3 | 178.5 | 120.8 | 476.1 | 6097 | 9999.9 | 1256 | 10.98 | 6.794 | 5.081 | 3.915 | 3.652 | 3.42 | 2.782 | 2.979 | 2.685 | 2.551 | 2.136 | 2.499 | 2.659 | 2.39
330 | 874.6 | 1020 | 1039 | 1189 | 1457 | 1498 | 1262 | 904.9 | 709.8 | 674.7 | 729.1 | 863.7 | 1070 | 1317 | 1584 | 1855 | 1964 | 1801 | 1511 | 1353 | 554.6 | 204.4 | 114.4 | 104.6 | 450.7 | 5817 | 9999.9 | 1360 | 10.08 | 6.687 | 5.422 | 4.269 | 3.635 | 3.518 | 3.277 | 2.504 | 2.944 | 2.445 | 2.563 | 2.581 | 2.273
335 | 872.1 | 860.9 | 947.2 | 1194 | 1411 | 1476 | 1198 | 891.5 | 705.7 | 703.2 | 756.2 | 901.3 | 1091 | 1320 | 1626 | 1833 | 1935 | 1781 | 1396 | 1065 | 889.5 | 305.9 | 137.2 | 97.13 | 81.88 | 418.3 | 6377 | 9999.9 | 1137 | 9.818 | 5.995 | 5.073 | 4.498 | 3.588 | 3.081 | 3.025 | 2.882 | 2.582 | 2.64 | 2.283 | 2.407
340 | 721.4 | 850.1 | 982.7 | 1210 | 1422 | 1392 | 1159 | 853.7 | 698.3 | 684.2 | 766.1 | 917.6 | 1084 | 1322 | 1563 | 1775 | 1858 | 1714 | 1345 | 889.6 | 725.1 | 604.6 | 190.7 | 109.7 | 67.42 | 60.78 | 453.1 | 6643 | 9999.9 | 1094 | 9.708 | 5.839 | 5.003 | 4.042 | 3.669 | 3.002 | 2.824 | 2.903 | 2.536 | 2.677 | 2.415
345 | 702.4 | 809.3 | 901.7 | 1080 | 1363 | 1365 | 1047 | 762.2 | 652.5 | 639.8 | 731.4 | 883.7 | 1064 | 1269 | 1493 | 1673 | 1742 | 1617 | 1257 | 822.2 | 492.4 | 559.6 | 421 | 130.9 | 71.72 | 43.32 | 56.5 | 467.1 | 5825 | 9702 | 1086 | 10.39 | 6.247 | 4.992 | 3.822 | 3.694 | 3.1 | 2.859 | 2.886 | 2.695 | 2.513
350 | 661 | 718.7 | 824.1 | 1099 | 1261 | 1301 | 968.3 | 699.2 | 588.8 | 617.6 | 697.3 | 826.2 | 998.4 | 1193 | 1393 | 1550 | 1570 | 1463 | 1152 | 752.8 | 445.1 | 317.4 | 489.4 | 296.9 | 86.02 | 50.59 | 37.59 | 56 | 411.9 | 5367 | 9999.9 | 1105 | 9.551 | 6.194 | 5.018 | 4.286 | 3.341 | 3.288 | 2.805 | 2.596 | 2.554
355 | 565.8 | 668.3 | 749.4 | 1021 | 1215 | 1200 | 878.3 | 657.1 | 542.2 | 572.9 | 638.3 | 783.1 | 947.4 | 1090 | 1278 | 1397 | 1436 | 1316 | 1052 | 690.8 | 421 | 274.7 | 269.4 | 454.4 | 196.9 | 62.03 | 43.91 | 36.46 | 52.64 | 383.4 | 5610 | 9878 | 1032 | 8.773 | 6.214 | 4.535 | 3.661 | 3.421 | 2.737 | 2.629 | 2.709
360 | 507.4 | 642.4 | 730.1 | 862.6 | 1112 | 1040 | 803.5 | 575.8 | 495.9 | 503.7 | 583.9 | 696.4 | 860.5 | 1001 | 1146 | 1255 | 1286 | 1182 | 946.9 | 628.7 | 398.3 | 265.5 | 201.5 | 267.3 | 388.5 | 134.5 | 55.38 | 43.06 | 36.03 | 49.5 | 393.3 | 5425 | 9823 | 1053 | 9.825 | 5.971 | 4.372 | 3.673 | 3.233 | 2.988 | 2.732
365 | 444.3 | 582.4 | 627.6 | 809.1 | 970.6 | 986.6 | 679.7 | 508.7 | 458.8 | 469.5 | 538.3 | 643.4 | 763.2 | 910.2 | 1042 | 1120 | 1139 | 1040 | 846.4 | 573.4 | 374.8 | 262.1 | 196.2 | 169.2 | 277.9 | 320.6 | 99.26 | 53.14 | 41.75 | 34.34 | 49.49 | 383.5 | 5516 | 9590 | 986.8 | 8.66 | 5.47 | 4.408 | 3.706 | 3.282 | 2.617
370 | 429.8 | 489.6 | 557.2 | 716.9 | 932.4 | 856.8 | 619.4 | 461.8 | 418.6 | 437.8 | 478.1 | 585 | 696.1 | 805.8 | 932 | 990.1 | 1013 | 938.7 | 754.2 | 525.4 | 362.8 | 264.1 | 203.9 | 171.8 | 157.9 | 299.4 | 259.5 | 80.65 | 51.41 | 40.02 | 32.68 | 47.32 | 389.9 | 5497 | 9370 | 912 | 8.779 | 4.778 | 4.337 | 3.312 | 2.881
375 | 399.1 | 448.1 | 542.5 | 709.5 | 818.4 | 743.6 | 592.9 | 425.8 | 383.4 | 392 | 440.9 | 515.3 | 618.3 | 716.5 | 812.1 | 860.2 | 893.1 | 827.4 | 673.4 | 486.3 | 354.1 | 271.7 | 215.6 | 183.9 | 154.7 | 162.6 | 317.6 | 203.8 | 72.01 | 48.94 | 40.22 | 32.55 | 48.24 | 390.2 | 5397 | 8900 | 892.8 | 7.884 | 5.288 | 3.976 | 3.141
380 | 321.6 | 419.9 | 489.3 | 631.7 | 748.9 | 673.4 | 537.4 | 388.6 | 358.2 | 347.3 | 387.3 | 461.5 | 561 | 638.1 | 717.2 | 787.4 | 784.4 | 734.3 | 618.3 | 456.8 | 348.2 | 281.3 | 236 | 203.1 | 173 | 146.8 | 191 | 314.8 | 157 | 68.73 | 51.56 | 41.86 | 34.11 | 49.79 | 383.1 | 5146 | 8533 | 828.3 | 7.572 | 4.894 | 3.827
385 | 370.5 | 402.6 | 525.8 | 557 | 674.2 | 623.4 | 485.9 | 372.3 | 340.9 | 337.1 | 345.6 | 413.8 | 488.2 | 568.3 | 651.5 | 686 | 710.9 | 664 | 579.8 | 441.5 | 350.5 | 299.1 | 254.9 | 223.8 | 200.4 | 172.1 | 154.4 | 217.6 | 293.3 | 129.9 | 69.89 | 55.3 | 44.63 | 35.85 | 48.99 | 370.5 | 4992 | 8037 | 761.7 | 6.782 | 4.823
390 | 696.9 | 414.8 | 445.1 | 566.4 | 593.7 | 596.8 | 442.6 | 350 | 319.5 | 308.2 | 326.6 | 373.6 | 433.3 | 518.1 | 568 | 623.8 | 632.1 | 625.1 | 553.5 | 441 | 364.9 | 322.5 | 289.9 | 262.2 | 232.6 | 205.4 | 180.6 | 168.8 | 246.5 | 262.2 | 112.3 | 72.23 | 59.78 | 45.1 | 33.97 | 46.54 | 352.1 | 4632 | 7640 | 723.9 | 6.471
395 | 1914 | 412.9 | 462.3 | 498.5 | 613.9 | 516.5 | 460.7 | 373.2 | 311.5 | 300.5 | 307.1 | 343.7 | 395.3 | 454.6 | 513.9 | 559.1 | 589.9 | 576.4 | 531 | 443.8 | 392.4 | 352 | 322.2 | 303.8 | 271.2 | 242.5 | 213.8 | 184.6 | 178.3 | 269 | 224.8 | 100.8 | 74.81 | 58.56 | 43.34 | 30.95 | 43.19 | 333.9 | 4540 | 6907 | 656.7
400 | 2784 | 1007 | 492.2 | 501.6 | 549.1 | 570.7 | 444.3 | 359.6 | 317.1 | 286.4 | 301 | 328 | 359 | 415.6 | 477.9 | 520.1 | 555.4 | 550.2 | 517.4 | 448.9 | 411.6 | 380.7 | 360.9 | 334.6 | 307.4 | 276.5 | 247.4 | 212.7 | 186.6 | 190 | 280.3 | 191.6 | 98.23 | 72.2 | 53.57 | 36.36 | 26.75 | 38.99 | 320.8 | 4087 | 6499
405 | 1951 | 2663 | 459.3 | 521.8 | 547.1 | 511.9 | 431.7 | 347.6 | 314.6 | 289.4 | 290.3 | 315.3 | 342.6 | 382.6 | 446.5 | 492.1 | 520.7 | 528.2 | 514.3 | 460.2 | 435.8 | 414.3 | 397.9 | 368.6 | 346.2 | 314.2 | 274.9 | 240.1 | 208 | 182.7 | 204.6 | 270.9 | 161.6 | 90.32 | 65.59 | 44.79 | 31.17 | 22.56 | 35.27 | 285.8 | 3601
410 | 682.4 | 4110 | 1137 | 470.2 | 484.9 | 523.5 | 421.7 | 363.3 | 302 | 268.6 | 276.5 | 303.1 | 330.6 | 371.8 | 416.9 | 475.7 | 500.7 | 504.6 | 497.5 | 461.5 | 448.5 | 432.9 | 415.4 | 395.3 | 369.9 | 332.6 | 300.6 | 261.8 | 225.7 | 194.3 | 176.4 | 222.2 | 249 | 127.8 | 74.35 | 54.16 | 37.29 | 26.45 | 19.64 | 31.49 | 254.4
415 | 351.3 | 2337 | 3535 | 481.9 | 500.3 | 459.7 | 409.4 | 348.3 | 314.7 | 266.8 | 275.8 | 291 | 318.4 | 353.2 | 406.3 | 459.1 | 479.6 | 499.6 | 492.1 | 469.2 | 455.3 | 443.7 | 434.7 | 414 | 387.5 | 354.8 | 319.4 | 279.6 | 242.1 | 209.6 | 182.7 | 174 | 231.8 | 209.9 | 99.14 | 62.13 | 44 | 31.1 | 21.28 | 17.51 | 28.65
420 | 337.6 | 790.8 | 4622 | 1369 | 476.9 | 466 | 400 | 355.2 | 299.2 | 280.4 | 268.8 | 287.6 | 307 | 341.6 | 386.2 | 436.3 | 460.7 | 471.3 | 471.1 | 463.9 | 456.4 | 455.4 | 442 | 424.9 | 394.5 | 363.4 | 325 | 285.3 | 250.2 | 212.8 | 191.9 | 172.3 | 170.2 | 228.7 | 164.9 | 77.18 | 51.43 | 36.59 | 27.45 | 18.86 | 14.81
425 | 326.8 | 349.6 | 2890 | 3579 | 426.9 | 410.6 | 376.1 | 352.6 | 318 | 291.9 | 269.6 | 282.5 | 293.2 | 345.1 | 368.2 | 423.6 | 445.9 | 450.8 | 452.1 | 451.5 | 450.4 | 444.1 | 444.1 | 424.3 | 395.2 | 366.3 | 328.3 | 291.6 | 256.1 | 221.5 | 197.3 | 175.7 | 157.3 | 169.4 | 207.8 | 120.4 | 59.79 | 42.03 | 30.97 | 23.09 | 17.62
430 | 329.7 | 397.4 | 951.1 | 5335 | 1267 | 425.9 | 387 | 342.8 | 304.8 | 282.6 | 265 | 274.4 | 288.7 | 321.4 | 363.1 | 405.7 | 426.1 | 440.2 | 438.1 | 438.3 | 435.9 | 441.9 | 440.2 | 424.2 | 395.2 | 366.4 | 327.5 | 292 | 253.3 | 228 | 200.4 | 184.3 | 165.3 | 143.2 | 165.6 | 176.8 | 88.5 | 49.49 | 35.08 | 27.6 | 21.12
435 | 277.7 | 401 | 449.1 | 3470 | 3812 | 421.1 | 374.1 | 311 | 305.7 | 276.1 | 273.5 | 274.2 | 288.4 | 320.2 | 358.1 | 398.8 | 413.9 | 426.6 | 428.7 | 423.1 | 426 | 432.5 | 423.8 | 411.6 | 390.5 | 362.4 | 330.2 | 293.2 | 262.4 | 229.5 | 206.9 | 185.1 | 168.6 | 146.6 | 130 | 160.1 | 141.7 | 68.12 | 41.28 | 31.54 | 24.36
440 | 301.5 | 406.2 | 368.4 | 987.9 | 5854 | 1218 | 363.1 | 337.9 | 292.4 | 272.5 | 275.8 | 277 | 286.2 | 314 | 344.9 | 381.3 | 396.5 | 403.3 | 406 | 401.4 | 406.2 | 412.6 | 405.9 | 399.9 | 377.5 | 356.1 | 318.2 | 284 | 260.5 | 231.6 | 207 | 190.5 | 172.1 | 148.9 | 129.3 | 117.3 | 148.4 | 109.9 | 52.72 | 36 | 29.46
445 | 234.4 | 321.2 | 406.2 | 424 | 3986 | 3848 | 360.4 | 324.9 | 292.6 | 270.5 | 257.3 | 271.6 | 281.9 | 308 | 333 | 367.6 | 377.3 | 378.6 | 379.8 | 388.5 | 388.1 | 394 | 387.6 | 377.1 | 362.8 | 341.9 | 310.4 | 281.7 | 250.7 | 224.2 | 205.1 | 188.9 | 171.2 | 151.1 | 128.5 | 108.2 | 108.6 | 131.1 | 82.5 | 43.11 | 32.49
450 | 258.4 | 291.1 | 409.2 | 349 | 1155 | 6203 | 1120 | 306.8 | 274.9 | 259.8 | 256.3 | 258.6 | 274.9 | 294.7 | 322.7 | 343.3 | 349.7 | 351.7 | 358.9 | 359.5 | 364.9 | 363.7 | 360.6 | 353.3 | 340.2 | 319.8 | 295.4 | 270.2 | 240.9 | 218.5 | 203.7 | 184.9 | 169.6 | 151.5 | 130.4 | 107.6 | 90.37 | 101.6 | 111.5 | 61.54 | 35.69
455 | 227.7 | 307.7 | 446.7 | 340.9 | 333.7 | 4464 | 3908 | 303.7 | 265.1 | 236.6 | 238 | 250.4 | 263.4 | 274.7 | 294.3 | 313.4 | 328.7 | 324.2 | 324.7 | 325.1 | 334.6 | 334.4 | 329.7 | 323.5 | 313.6 | 293.9 | 276.6 | 254.3 | 229.3 | 207.4 | 194.2 | 178.5 | 161.6 | 146.1 | 127.2 | 107.1 | 86.58 | 76.12 | 96.71 | 91.03 | 46.3
460 | 221 | 287.4 | 333.5 | 410.9 | 282.8 | 1244 | 6376 | 1004 | 250 | 226.8 | 228.9 | 227.8 | 249 | 252.8 | 276.6 | 289.8 | 300.8 | 294.6 | 300.6 | 291.8 | 299.8 | 305.1 | 298.4 | 296 | 283.2 | 271.1 | 253.2 | 235.9 | 212.9 | 197.9 | 181.7 | 168.6 | 155 | 137.5 | 121.9 | 103.2 | 84.99 | 70.64 | 67.37 | 91.5 | 69.82
465 | 208.7 | 248.3 | 264.4 | 370 | 293.2 | 336.3 | 4502 | 3540 | 254.1 | 216.5 | 204.2 | 209.9 | 225.3 | 239 | 255.3 | 260.3 | 268 | 268.8 | 265 | 269.4 | 265.4 | 271.9 | 269.3 | 267 | 251.5 | 243.5 | 230.4 | 213.4 | 197.9 | 182.9 | 168.4 | 158.8 | 146.2 | 132.5 | 116.8 | 98.29 | 80.5 | 68.21 | 58.41 | 62.85 | 80.49
470 | 191.9 | 226.1 | 227.5 | 286.3 | 303 | 234.7 | 1162 | 5973 | 972 | 187.9 | 195.4 | 205.3 | 208.7 | 221.9 | 236.9 | 243.2 | 244.9 | 241.3 | 233 | 242.6 | 237.9 | 241.5 | 237.4 | 234.4 | 225.2 | 218.5 | 209 | 194.4 | 180 | 166.5 | 157.4 | 143.7 | 133.5 | 120.8 | 107.4 | 92.71 | 79.37 | 65.49 | 54.78 | 49.9 | 60.81
475 | 200.5 | 209 | 185.6 | 226.7 | 336.7 | 230.4 | 275.7 | 4351 | 3282 | 213 | 172.7 | 181.4 | 191.3 | 194.3 | 210.1 | 220 | 218.1 | 213.3 | 210.1 | 209.3 | 206.6 | 210.9 | 210.4 | 207.6 | 200.6 | 194 | 181.6 | 173.9 | 161.4 | 150.6 | 140.4 | 131.3 | 124.2 | 113 | 100.2 | 87.47 | 73.38 | 62.74 | 53.07 | 45.8 | 42.95
480 | 166.7 | 167.1 | 194.3 | 174.7 | 310.8 | 219.9 | 196.4 | 1131 | 5510 | 828.3 | 162.1 | 166.2 | 178.5 | 182 | 196.1 | 205.5 | 190.8 | 190 | 186.1 | 179.2 | 183.5 | 188 | 186.7 | 182.2 | 178.4 | 170.5 | 163.9 | 154.2 | 149.1 | 137.8 | 129.1 | 121.2 | 115.8 | 105.4 | 96.86 | 81.42 | 71.21 | 58.76 | 50.92 | 45.08 | 37.76
485 | 131.6 | 187.6 | 188.6 | 166.2 | 207.8 | 300.1 | 172.1 | 236.8 | 4013 | 2966 | 178 | 165 | 166.1 | 180.5 | 185.9 | 185.3 | 179.2 | 174.4 | 163.5 | 161.8 | 163.2 | 165.7 | 163.9 | 165.8 | 155.1 | 152.8 | 149 | 143.2 | 133.2 | 125 | 121.2 | 114.7 | 107.5 | 101.2 | 90.31 | 79.45 | 68.25 | 60.11 | 51.13 | 42.77 | 37.7
490 | 138.6 | 148.6 | 162.7 | 170.4 | 167.3 | 318.5 | 201.9 | 166.4 | 1067 | 5072 | 716.9 | 160.3 | 169.4 | 173.2 | 184.9 | 184.4 | 173 | 160.4 | 152 | 143.2 | 147.7 | 144.2 | 143.5 | 144.9 | 141.4 | 136.5 | 135.3 | 129.7 | 124.8 | 116.9 | 111 | 107 | 102.4 | 95.01 | 90.27 | 78.39 | 68.78 | 58.76 | 51.05 | 45.01 | 38.96
495 | 126.2 | 169.8 | 169.3 | 135.5 | 158.5 | 239.1 | 222.8 | 154.4 | 215.4 | 3814 | 2612 | 175.9 | 171.3 | 182.8 | 187.4 | 180.1 | 167.2 | 148.5 | 138.3 | 131.8 | 128.2 | 128.4 | 126.9 | 128.4 | 124.6 | 124.3 | 123.2 | 119.2 | 115.4 | 108.8 | 103.6 | 102.9 | 99.79 | 94.36 | 88.29 | 78.09 | 68.25 | 60.92 | 53.85 | 45.74 | 41.12
500 | 109.3 | 124.4 | 140.9 | 151.3 | 157.7 | 155.6 | 285.2 | 144 | 146.5 | 1082 | 4614 | 628.8 | 175.6 | 187.5 | 189.1 | 178.4 | 165.5 | 143.9 | 127.6 | 115.5 | 112.5 | 111.9 | 112.1 | 112 | 109.7 | 112 | 109.5 | 108.4 | 103.4 | 103.9 | 99.16 | 99.08 | 97.71 | 94.79 | 87.71 | 81.79 | 72.46 | 63.22 | 55.45 | 47.2 | 43.41