## Sheet1
Report date: | 17:04:00, 09/18/2024
Sample: | 1
File name:
Run date: | 16:58:11, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/310.0 | 5175
2 | 225.0/345.0 | 5329
3 | 250.0/275.0 | 321.1
4 | 260.0/340.0 | *****
5 | 265.0/335.0 | *****
6 | 320.0/425.0 | 1489
7 | 390.0/275.0 | 6.073
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 161.2 | 119 | 131.2 | 105 | 100.1 | 87.9 | 36.46 | 30.06 | 53.74 | 241.9 | 160.5 | 61.02 | 151.2 | 9999.9 | 9999.9 | 5599 | 43.92 | 20.53 | 14 | 10.52 | 9.266 | 7.301 | 5.969 | 5.737 | 5.52 | 4.646 | 4.301 | 4.462 | 4.434 | 4.681 | 4.168 | 4.075 | 4.21 | 4.262 | 4.331 | 4.827 | 5.39 | 6.144 | 5.575 | 4.545 | 3.895
275 | 217.3 | 197.1 | 233.9 | 319.6 | 312.8 | 196.9 | 84.69 | 40.55 | 38.15 | 104.6 | 321.1 | 173.8 | 128.6 | 823.6 | 9999.9 | 9999.9 | 5078 | 43.82 | 18.35 | 14.04 | 9.711 | 8.965 | 6.898 | 5.996 | 5.393 | 5.753 | 4.909 | 4.461 | 4.941 | 4.38 | 4.643 | 4.372 | 4.421 | 3.855 | 4.313 | 4.301 | 4.388 | 5.464 | 6.073 | 5.608 | 4.277
280 | 294.3 | 249.9 | 381.5 | 509.9 | 497.4 | 404.3 | 178.2 | 70.08 | 52.8 | 73.86 | 200.8 | 417.7 | 262.8 | 291.3 | 938.8 | 9999.9 | 9999.9 | 4911 | 49.19 | 18.55 | 12.81 | 9.39 | 7.983 | 6.847 | 5.82 | 5.833 | 5.513 | 5.126 | 4.792 | 4.637 | 4.756 | 4.207 | 4.422 | 4.577 | 4.334 | 3.885 | 4.078 | 4.279 | 5.231 | 5.742 | 5.512
285 | 421.1 | 391.1 | 553.5 | 749.2 | 956.6 | 967.3 | 610 | 263.4 | 136.8 | 128.4 | 196.9 | 473.7 | 724.5 | 687.3 | 863 | 1513 | 9999.9 | 9999.9 | 4663 | 44.81 | 19.07 | 12.99 | 9.454 | 8.193 | 7.531 | 6.576 | 5.026 | 5.93 | 5.236 | 5.388 | 5.06 | 4.693 | 5.084 | 4.672 | 4.572 | 3.967 | 3.77 | 3.9 | 4.054 | 4.967 | 5.504
290 | 622.9 | 554.1 | 830.8 | 1272 | 1739 | 2035 | 1494 | 737.4 | 353.2 | 256.9 | 363.9 | 633.6 | 1316 | 1874 | 2254 | 2506 | 2773 | 9999.9 | 9999.9 | 4255 | 36.99 | 16.67 | 12.1 | 9.883 | 8.793 | 7.824 | 6.188 | 5.918 | 5.643 | 5.087 | 5.211 | 4.989 | 5.151 | 4.878 | 4.708 | 4.103 | 3.693 | 3.557 | 3.861 | 3.958 | 4.758
295 | 857.1 | 919.1 | 1213 | 1807 | 2694 | 3379 | 2631 | 1402 | 676.1 | 511.4 | 656.7 | 1098 | 1877 | 3229 | 4251 | 4631 | 4093 | 3085 | 9999.9 | 9999.9 | 3947 | 34.98 | 16.85 | 12.91 | 10.41 | 8.956 | 7.63 | 7.017 | 6.04 | 5.589 | 5.94 | 4.981 | 5.576 | 4.953 | 5.186 | 4.451 | 4.015 | 3.988 | 4.251 | 3.914 | 4.228
300 | 1021 | 1106 | 1543 | 2270 | 3390 | 4377 | 3549 | 1967 | 1113 | 871.6 | 1053 | 1654 | 2619 | 4169 | 6082 | 6690 | 5886 | 3664 | 1835 | 9999.9 | 9999.9 | 3637 | 32.92 | 17.45 | 13.27 | 10.3 | 8.766 | 8.744 | 7.205 | 6.137 | 6.464 | 5.428 | 5.622 | 5.374 | 4.831 | 5.122 | 4.035 | 4.187 | 4.004 | 4.088 | 4.093
305 | 1183 | 1302 | 1642 | 2439 | 3894 | 4977 | 4230 | 2521 | 1564 | 1372 | 1627 | 2287 | 3321 | 5006 | 6963 | 8196 | 7159 | 4509 | 1637 | 1132 | 9999.9 | 9999.9 | 3376 | 32.09 | 19.02 | 14.28 | 10.77 | 8.939 | 8.037 | 7.341 | 6.729 | 5.692 | 6.071 | 6.076 | 5.498 | 4.9 | 4.77 | 4.485 | 4.234 | 4.332 | 3.894
310 | 1241 | 1353 | 1804 | 2622 | 3870 | 5175 | 4525 | 2973 | 2120 | 2046 | 2450 | 3178 | 4197 | 5747 | 7501 | 8630 | 8022 | 5188 | 2057 | 739.5 | 974.6 | 9999.9 | 9999.9 | 3454 | 37.85 | 20.29 | 14.8 | 11.4 | 9.089 | 8.095 | 7.415 | 6.859 | 6.871 | 5.928 | 5.732 | 5.631 | 4.739 | 4.754 | 4.661 | 4.493 | 3.957
315 | 1177 | 1415 | 1849 | 2625 | 3940 | 4955 | 4439 | 3201 | 2686 | 2879 | 3479 | 4286 | 5233 | 6536 | 7937 | 8697 | 8214 | 5866 | 2639 | 1102 | 596.1 | 1030 | 9999.9 | 9999.9 | 3477 | 36.59 | 19.08 | 15.83 | 11.11 | 9.361 | 8.333 | 8.143 | 6.97 | 6.53 | 6.302 | 5.503 | 4.865 | 4.76 | 4.92 | 4.714 | 4.564
320 | 1089 | 1498 | 2035 | 2658 | 3986 | 5012 | 4491 | 3516 | 3279 | 3781 | 4708 | 5704 | 6541 | 7506 | 8441 | 8889 | 8239 | 6376 | 3552 | 1717 | 985.7 | 693.7 | 1117 | 9999.9 | 9999.9 | 3729 | 32.69 | 21.04 | 15.64 | 11.82 | 9.703 | 7.977 | 8.113 | 7.39 | 6.689 | 6.338 | 5.479 | 4.791 | 4.812 | 3.944 | 4.328
325 | 1069 | 1364 | 2050 | 2971 | 4079 | 4844 | 4544 | 3748 | 3780 | 4666 | 5791 | 7044 | 7867 | 8559 | 9010 | 9044 | 8469 | 6680 | 4398 | 2482 | 1487 | 1016 | 716.3 | 1052 | 9999.9 | 9999.9 | 3391 | 34.9 | 21.07 | 15.81 | 12.41 | 10.11 | 8.763 | 8.15 | 7.358 | 6.263 | 5.478 | 5.665 | 4.556 | 4.771 | 4.421
330 | 1166 | 1504 | 2130 | 3123 | 4200 | 4988 | 4581 | 3986 | 4207 | 5289 | 6660 | 8079 | 8923 | 9461 | 9557 | 9333 | 8770 | 7272 | 5009 | 3229 | 2008 | 1335 | 901.3 | 519.4 | 892.8 | 9999.9 | 9999.9 | 3938 | 34.99 | 21.98 | 17.61 | 12.71 | 10.3 | 9.172 | 8.109 | 6.718 | 6.646 | 5.722 | 5.254 | 4.914 | 4.569
335 | 1110 | 1583 | 2244 | 3112 | 4319 | 5242 | 4621 | 4040 | 4445 | 5678 | 7313 | 8867 | 9827 | 9999.9 | 9999.9 | 9800 | 9265 | 7901 | 5688 | 3633 | 2593 | 1658 | 1101 | 578.6 | 258.4 | 806.8 | 9999.9 | 9999.9 | 4043 | 35.85 | 23.05 | 17.02 | 13.32 | 11.1 | 8.754 | 8.134 | 6.514 | 5.975 | 5.6 | 5.159 | 4.964
340 | 1031 | 1518 | 2224 | 3313 | 4565 | 5294 | 4665 | 4072 | 4521 | 5897 | 7576 | 9335 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9685 | 8477 | 6306 | 4037 | 2821 | 2046 | 1257 | 658.1 | 248.2 | 142.5 | 782.1 | 9999.9 | 9999.9 | 4429 | 38.54 | 24.25 | 17.9 | 14.04 | 9.84 | 8.712 | 7.247 | 6.924 | 5.566 | 5.346 | 5.405
345 | 978.5 | 1424 | 2310 | 3625 | 4640 | 5329 | 4655 | 3911 | 4504 | 5843 | 7534 | 9294 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9953 | 8778 | 6742 | 4322 | 2894 | 2160 | 1488 | 724 | 278.1 | 123.3 | 118.5 | 806.9 | 9999.9 | 9999.9 | 4871 | 38.21 | 25.18 | 19.42 | 13.62 | 9.956 | 8.426 | 7.364 | 6.291 | 5.619 | 5.47
350 | 862.9 | 1388 | 2169 | 3154 | 4709 | 5274 | 4460 | 3815 | 4238 | 5527 | 7274 | 8973 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 9999.9 | 8937 | 6981 | 4493 | 2968 | 2057 | 1568 | 869.5 | 328.1 | 156.2 | 107.9 | 130.5 | 799.2 | 9999.9 | 9999.9 | 5054 | 41.33 | 25.82 | 19.5 | 13.8 | 9.855 | 8.32 | 7.567 | 6.356 | 5.801
355 | 831.1 | 1399 | 2242 | 3376 | 4718 | 5130 | 4269 | 3594 | 4011 | 5176 | 6742 | 8433 | 9675 | 9999.9 | 9999.9 | 9999.9 | 9913 | 8890 | 6962 | 4530 | 2987 | 2034 | 1418 | 1004 | 453.5 | 215.3 | 153.1 | 127.6 | 147.7 | 840.7 | 9999.9 | 9999.9 | 5279 | 42.54 | 26.63 | 19.66 | 13 | 10.06 | 8.43 | 7.244 | 6.468
360 | 848.7 | 1266 | 2003 | 3061 | 4446 | 4867 | 4024 | 3287 | 3655 | 4698 | 6201 | 7759 | 9010 | 9849 | 9983 | 9872 | 9536 | 8626 | 6826 | 4415 | 2942 | 1992 | 1366 | 911.4 | 655.8 | 345.4 | 234.4 | 189.9 | 151.3 | 160.4 | 821.9 | 9999.9 | 9999.9 | 5607 | 41.49 | 25.47 | 18.79 | 13.43 | 8.986 | 7.426 | 6.759
365 | 825.8 | 1265 | 1804 | 2807 | 4011 | 4604 | 3699 | 3012 | 3293 | 4224 | 5507 | 6949 | 8179 | 9076 | 9403 | 9286 | 8983 | 8159 | 6522 | 4264 | 2833 | 1944 | 1353 | 885.6 | 662.5 | 569.2 | 348.9 | 266.8 | 209.5 | 157.1 | 155.3 | 838.1 | 9999.9 | 9999.9 | 5537 | 41.53 | 24.04 | 17.74 | 11.96 | 9.037 | 7.454
370 | 791.1 | 1073 | 1765 | 2572 | 3690 | 4234 | 3394 | 2761 | 2936 | 3702 | 4843 | 6151 | 7332 | 8159 | 8547 | 8500 | 8357 | 7492 | 6069 | 4002 | 2704 | 1887 | 1345 | 934.7 | 663.5 | 652.2 | 563.9 | 371.2 | 281.2 | 207.4 | 143.1 | 143.5 | 862.1 | 9999.9 | 9999.9 | 5436 | 37.6 | 23.84 | 16.93 | 11.03 | 9.126
375 | 672.4 | 1030 | 1535 | 2368 | 3379 | 3736 | 3072 | 2499 | 2605 | 3233 | 4230 | 5337 | 6401 | 7174 | 7627 | 7684 | 7518 | 6832 | 5570 | 3741 | 2561 | 1816 | 1346 | 991.7 | 754.1 | 650.8 | 712.6 | 553.7 | 371.9 | 273.8 | 188 | 127.5 | 137.6 | 863.2 | 9999.9 | 9999.9 | 5146 | 38.48 | 22.66 | 15.7 | 11.5
380 | 611.4 | 831.1 | 1396 | 2018 | 3018 | 3364 | 2769 | 2216 | 2315 | 2859 | 3679 | 4574 | 5530 | 6256 | 6663 | 6815 | 6721 | 6135 | 5051 | 3457 | 2409 | 1768 | 1358 | 1051 | 857.4 | 751.3 | 715.1 | 733.5 | 525.4 | 351.8 | 248.8 | 166.6 | 118.7 | 135.3 | 875.2 | 9999.9 | 9999.9 | 5073 | 34.09 | 20.47 | 15.42
385 | 583.1 | 830.8 | 1182 | 1845 | 2617 | 3019 | 2445 | 2052 | 2086 | 2475 | 3148 | 3891 | 4713 | 5407 | 5817 | 5962 | 5899 | 5450 | 4519 | 3160 | 2272 | 1724 | 1372 | 1129 | 965.5 | 868.9 | 789.4 | 754.6 | 714.6 | 468.2 | 315.3 | 224.1 | 160.7 | 112.9 | 130.5 | 872.7 | 9999.9 | 9999.9 | 4675 | 32.62 | 19.71
390 | 814.6 | 694.8 | 1059 | 1624 | 2354 | 2659 | 2196 | 1825 | 1805 | 2161 | 2683 | 3334 | 3998 | 4587 | 4965 | 5205 | 5160 | 4779 | 4053 | 2900 | 2131 | 1678 | 1396 | 1201 | 1077 | 993.1 | 907.7 | 806.9 | 765.9 | 657.5 | 423.2 | 294.4 | 211.6 | 150.8 | 104 | 123.8 | 822.9 | 9999.9 | 9999.9 | 4456 | 30.9
395 | 1655 | 653.2 | 1017 | 1503 | 2062 | 2297 | 1978 | 1632 | 1644 | 1902 | 2337 | 2859 | 3394 | 3909 | 4264 | 4494 | 4515 | 4234 | 3619 | 2661 | 2037 | 1669 | 1428 | 1281 | 1176 | 1110 | 1019 | 908.9 | 791.1 | 739 | 577.1 | 372.2 | 272.9 | 192.7 | 132.6 | 93.2 | 110.9 | 862.5 | 9999.9 | 9999.9 | 4279
400 | 2177 | 996.7 | 906 | 1264 | 1882 | 2025 | 1743 | 1490 | 1492 | 1672 | 2020 | 2422 | 2869 | 3324 | 3661 | 3850 | 3912 | 3703 | 3230 | 2465 | 1942 | 1654 | 1469 | 1358 | 1278 | 1212 | 1137 | 1021 | 877.3 | 747.4 | 692.4 | 511 | 336.7 | 245.7 | 168.7 | 112 | 74.81 | 105.7 | 812.8 | 9999.9 | 9999.9
405 | 1362 | 2102 | 879.6 | 1105 | 1496 | 1840 | 1563 | 1331 | 1339 | 1471 | 1733 | 2070 | 2420 | 2779 | 3086 | 3321 | 3418 | 3243 | 2878 | 2274 | 1874 | 1627 | 1502 | 1427 | 1366 | 1314 | 1227 | 1119 | 960.7 | 806.7 | 698.8 | 639 | 443.8 | 296.3 | 207 | 137.9 | 90.76 | 67.38 | 96.64 | 776.9 | 9999.9
410 | 550 | 2490 | 1210 | 1062 | 1396 | 1588 | 1436 | 1249 | 1249 | 1363 | 1535 | 1806 | 2068 | 2388 | 2636 | 2837 | 2936 | 2862 | 2582 | 2097 | 1786 | 1613 | 1526 | 1466 | 1434 | 1390 | 1308 | 1190 | 1041 | 876.6 | 722.6 | 639 | 566.9 | 365 | 243.4 | 165.7 | 110 | 76.57 | 57.14 | 90.67 | 777.6
415 | 370.4 | 1587 | 2511 | 922.8 | 1223 | 1331 | 1294 | 1210 | 1192 | 1274 | 1384 | 1566 | 1779 | 2026 | 2251 | 2470 | 2567 | 2531 | 2326 | 1956 | 1716 | 1588 | 1528 | 1497 | 1470 | 1436 | 1357 | 1244 | 1095 | 932.7 | 771.8 | 644.9 | 580.8 | 467.9 | 289.6 | 190.4 | 131.3 | 90.61 | 65.84 | 51.76 | 86.43
420 | 378.4 | 648.7 | 3052 | 1351 | 1042 | 1211 | 1202 | 1116 | 1080 | 1177 | 1257 | 1398 | 1567 | 1737 | 1936 | 2120 | 2227 | 2238 | 2117 | 1816 | 1632 | 1544 | 1516 | 1500 | 1481 | 1459 | 1388 | 1280 | 1132 | 972.4 | 810.4 | 669.6 | 560.1 | 514.6 | 365.9 | 222.6 | 153 | 108 | 78.1 | 57.32 | 45.82
425 | 318.7 | 428.1 | 1809 | 2590 | 945.8 | 1116 | 1080 | 1027 | 1054 | 1075 | 1167 | 1263 | 1357 | 1492 | 1672 | 1844 | 1946 | 1987 | 1900 | 1683 | 1551 | 1501 | 1485 | 1484 | 1489 | 1471 | 1402 | 1293 | 1150 | 996.1 | 834.6 | 690.7 | 562.9 | 471.9 | 428.5 | 276.2 | 174.5 | 125.8 | 92.76 | 68.44 | 52.26
430 | 303.2 | 390.2 | 777.3 | 3253 | 1343 | 945.5 | 1008 | 980 | 996.3 | 1038 | 1100 | 1144 | 1198 | 1311 | 1469 | 1613 | 1734 | 1765 | 1731 | 1570 | 1467 | 1455 | 1449 | 1459 | 1470 | 1457 | 1397 | 1297 | 1162 | 996.8 | 847.8 | 707.5 | 577.2 | 466.6 | 393.4 | 340.5 | 210.4 | 143.4 | 103.5 | 80.39 | 63
435 | 282.1 | 356.5 | 479.5 | 2080 | 2703 | 902.1 | 916.9 | 926 | 962.7 | 1000 | 1018 | 1073 | 1088 | 1162 | 1291 | 1425 | 1559 | 1618 | 1583 | 1460 | 1411 | 1405 | 1419 | 1430 | 1446 | 1435 | 1387 | 1292 | 1159 | 1005 | 859 | 718.9 | 591.2 | 474.3 | 366.1 | 331.5 | 271.2 | 165.3 | 120 | 92.39 | 70.42
440 | 264.6 | 354.9 | 433.3 | 851.6 | 3535 | 1202 | 849.4 | 866.6 | 933.3 | 953.5 | 968.7 | 977.4 | 978.7 | 1045 | 1143 | 1266 | 1390 | 1444 | 1446 | 1350 | 1336 | 1331 | 1361 | 1381 | 1399 | 1404 | 1345 | 1274 | 1146 | 993.8 | 852 | 716.7 | 586.2 | 479 | 369.5 | 299.7 | 284 | 217.1 | 136.7 | 102.4 | 81.88
445 | 274.6 | 340.6 | 412.8 | 550.8 | 2615 | 2752 | 811.1 | 816.7 | 872.8 | 916 | 914.5 | 906 | 894.8 | 930.3 | 1031 | 1146 | 1246 | 1312 | 1310 | 1259 | 1240 | 1259 | 1284 | 1316 | 1338 | 1336 | 1297 | 1214 | 1103 | 976.8 | 831.7 | 702 | 580.7 | 475.9 | 372.3 | 292.3 | 246 | 241.1 | 172.8 | 115.3 | 91.92
450 | 229.6 | 318.8 | 368.7 | 416 | 1017 | 4306 | 1224 | 775.6 | 832.4 | 865.7 | 868.7 | 861.9 | 830.6 | 831 | 895.2 | 1009 | 1114 | 1181 | 1188 | 1150 | 1155 | 1168 | 1191 | 1233 | 1259 | 1266 | 1221 | 1160 | 1060 | 930.8 | 799.9 | 680.5 | 566.6 | 468 | 371.9 | 293.1 | 236.3 | 219.5 | 209.8 | 140 | 104.1
455 | 289.9 | 271 | 326.1 | 393.9 | 507.8 | 3587 | 3042 | 744.2 | 775.8 | 802 | 799.9 | 782 | 757.8 | 756.6 | 801.4 | 900.2 | 979.6 | 1044 | 1055 | 1036 | 1048 | 1070 | 1105 | 1139 | 1171 | 1175 | 1148 | 1089 | 986.6 | 872.7 | 757.9 | 645.1 | 542.2 | 452.9 | 364 | 292.3 | 235.4 | 199.5 | 197 | 178.5 | 122.1
460 | 246.2 | 264.9 | 317.8 | 370.7 | 455.1 | 1289 | 5350 | 1249 | 713.7 | 747 | 746 | 741.9 | 689.9 | 679.9 | 722.1 | 778 | 888.7 | 930.8 | 942.3 | 940.4 | 954.5 | 967.8 | 1003 | 1049 | 1074 | 1084 | 1052 | 1001 | 923.5 | 808 | 712.8 | 608.1 | 509.4 | 428.8 | 351.8 | 287.4 | 234.1 | 196.8 | 179.1 | 187.3 | 155.4
465 | 235.9 | 256.3 | 298.9 | 340.9 | 393.8 | 512 | 4526 | 3445 | 690.1 | 689.1 | 682.1 | 665.7 | 635.9 | 608.3 | 651.5 | 718.4 | 780 | 831.5 | 843.6 | 833.8 | 856.7 | 873.3 | 917 | 944.7 | 970.9 | 980.3 | 962.8 | 911.2 | 846.5 | 749.5 | 656.5 | 564.5 | 476.9 | 408.5 | 337.7 | 283 | 235.8 | 199.7 | 172.3 | 166.3 | 174.7
470 | 211.2 | 232.9 | 274.1 | 295.4 | 374 | 410.8 | 1454 | 6128 | 1271 | 640.4 | 645 | 627.3 | 565.8 | 551.7 | 569.7 | 635 | 702.3 | 723.7 | 751 | 738.2 | 759.8 | 784.3 | 817.8 | 853.1 | 871 | 883.9 | 868.8 | 824.4 | 763.4 | 686 | 600.8 | 515.4 | 446.2 | 382.1 | 324 | 270.8 | 231 | 201.2 | 175.1 | 157.9 | 160.8
475 | 180.9 | 226.2 | 259.8 | 288.2 | 354.8 | 379.7 | 503.9 | 5342 | 3739 | 611.9 | 599.9 | 565.5 | 530.6 | 525 | 527.4 | 576.6 | 610.4 | 646.9 | 655.9 | 652.9 | 666.1 | 690.6 | 725.7 | 748.9 | 776.7 | 784.2 | 766.4 | 749 | 696.5 | 618.3 | 548.8 | 478.3 | 416.9 | 362.2 | 312.2 | 263.9 | 226.6 | 201.9 | 177 | 159.9 | 147.8
480 | 151.8 | 187.8 | 238.6 | 256.3 | 315.8 | 360.6 | 417.4 | 1690 | 6800 | 1190 | 556.5 | 533.1 | 505.7 | 498.3 | 492.3 | 519.8 | 554 | 583 | 572.7 | 573.5 | 589.2 | 611.4 | 643.9 | 672.8 | 699.2 | 706.2 | 700.4 | 673.6 | 633.1 | 569.2 | 497.5 | 448.6 | 395.6 | 348.8 | 299.3 | 265.1 | 228.4 | 205.1 | 181.6 | 167.3 | 151.2
485 | 198.6 | 167.9 | 250 | 248.8 | 262.7 | 344.7 | 384 | 525 | 5734 | 3662 | 555.5 | 512.3 | 507.3 | 497.1 | 487 | 522 | 530.1 | 537.3 | 518.2 | 515.1 | 531.1 | 554 | 584.5 | 602.2 | 632.3 | 638.4 | 636 | 618.8 | 580 | 531.6 | 477.2 | 428.2 | 384.8 | 349.5 | 309.5 | 274.9 | 241.7 | 216.3 | 191.6 | 178.8 | 161.7
490 | 131.4 | 163.6 | 211 | 248.2 | 237.9 | 321.1 | 363 | 396.7 | 1815 | 6756 | 1123 | 515.5 | 531.2 | 521.5 | 535.6 | 528.5 | 533.2 | 507.6 | 479 | 465.7 | 480.7 | 497.6 | 522.8 | 547.3 | 567.1 | 583.7 | 577.7 | 568.6 | 544.1 | 507.5 | 462.3 | 422.6 | 392.6 | 359.7 | 332.6 | 298 | 266.5 | 238.5 | 213.3 | 194.7 | 181.4
495 | 173.2 | 132 | 207.3 | 225.3 | 269.2 | 345.3 | 366.3 | 375.4 | 515.8 | 6012 | 3367 | 549.7 | 565.3 | 581.1 | 581.9 | 554.3 | 542.2 | 504.2 | 445.5 | 422.2 | 428.9 | 451.9 | 462.4 | 490.7 | 509.9 | 532.7 | 539.2 | 530.1 | 515.3 | 478.9 | 452.1 | 426.5 | 409 | 383.7 | 363 | 333.1 | 300.6 | 268.3 | 239.4 | 218.1 | 204.2
500 | 151.1 | 158.8 | 177 | 190.5 | 237.7 | 301.7 | 374.3 | 373.3 | 418.4 | 2073 | 6569 | 1073 | 604.4 | 637.7 | 653.3 | 612.6 | 558.7 | 485.9 | 412.9 | 378.7 | 380.2 | 398.2 | 422.1 | 438.2 | 453.8 | 475.3 | 491.3 | 490.3 | 481.7 | 467 | 448.6 | 430.4 | 422.9 | 415.5 | 399.7 | 369 | 338.3 | 304.3 | 269.6 | 243.7 | 226.8