## Sheet1
Report date: | 17:10:18, 09/18/2024
Sample: | 1
File name:
Run date: | 17:04:45, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/310.0 | 4809
2 | 225.0/345.0 | 4577
3 | 250.0/275.0 | 313.4
4 | 270.0/345.0 | 9641
5 | 390.0/275.0 | 5.878
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 87.11 | 140.6 | 108.7 | 127.9 | 95.64 | 62.44 | 37.71 | 32.41 | 51.1 | 244.4 | 164 | 54.38 | 140.5 | 9999.9 | 9999.9 | 5322 | 45.5 | 19.11 | 14.25 | 9.981 | 7.551 | 6.71 | 6.078 | 5.772 | 4.695 | 4.681 | 4.255 | 4.54 | 4.129 | 4.412 | 4.13 | 3.979 | 4.143 | 4.248 | 3.966 | 4.184 | 4.83 | 5.902 | 5.361 | 4.58 | 3.663
275 | 196.8 | 168.9 | 214.4 | 231.1 | 218.1 | 182.1 | 66.84 | 30.56 | 38.83 | 109.3 | 313.4 | 183.3 | 119.7 | 812.4 | 9999.9 | 9999.9 | 4813 | 43.33 | 18.61 | 11.58 | 9.131 | 8.251 | 6.645 | 6.323 | 5.777 | 5.065 | 4.828 | 4.923 | 4.207 | 4.637 | 4.107 | 4.096 | 3.956 | 4.089 | 4.214 | 3.786 | 4.196 | 5.15 | 5.878 | 5.051 | 4.138
280 | 249 | 237.4 | 317.9 | 425.2 | 474.7 | 373.3 | 175.4 | 67.95 | 58.04 | 80.29 | 205.2 | 397.8 | 253.5 | 285.8 | 933.2 | 9999.9 | 9999.9 | 4640 | 46.35 | 17.98 | 13.02 | 10.02 | 7.402 | 7.499 | 5.797 | 5.193 | 5.102 | 5.008 | 5.108 | 4.662 | 4.642 | 4.132 | 4.564 | 4.036 | 3.741 | 3.804 | 3.713 | 4.606 | 4.983 | 5.613 | 5.233
285 | 437 | 419.8 | 519.4 | 714.8 | 937.5 | 822.7 | 542.7 | 233.7 | 132 | 128.2 | 194.9 | 462.9 | 712.4 | 677.2 | 854.7 | 1484 | 9999.9 | 9999.9 | 4272 | 45.63 | 17.27 | 11.97 | 10.37 | 8.512 | 6.938 | 5.989 | 5.614 | 5.523 | 5.189 | 4.467 | 4.696 | 4.629 | 4.81 | 4.416 | 4.087 | 3.782 | 3.922 | 3.58 | 3.968 | 4.626 | 5.698
290 | 542.3 | 516 | 787.5 | 1120 | 1651 | 1888 | 1371 | 708.6 | 340.5 | 262.6 | 360.1 | 643.9 | 1261 | 1828 | 2235 | 2458 | 2730 | 9999.9 | 9999.9 | 3948 | 38.25 | 16.98 | 12.32 | 9.674 | 8.126 | 7.267 | 5.981 | 5.782 | 5.901 | 4.904 | 5.231 | 4.95 | 4.598 | 4.94 | 4.674 | 4.147 | 3.8 | 3.648 | 3.412 | 4.184 | 4.536
295 | 770 | 801.5 | 1018 | 1622 | 2496 | 3072 | 2481 | 1296 | 640.1 | 505.1 | 648.7 | 1064 | 1847 | 3175 | 4180 | 4523 | 4054 | 3065 | 9999.9 | 9999.9 | 3774 | 35.81 | 17.39 | 13.28 | 10.29 | 8.242 | 7.372 | 6.933 | 5.99 | 5.804 | 4.783 | 5.136 | 4.664 | 4.462 | 4.603 | 4.305 | 3.965 | 3.613 | 3.978 | 3.955 | 4.112
300 | 865.9 | 1056 | 1252 | 1969 | 3203 | 4058 | 3394 | 1880 | 1040 | 841.6 | 1042 | 1585 | 2553 | 4092 | 5982 | 6566 | 5751 | 3614 | 1812 | 9999.9 | 9999.9 | 3616 | 31.62 | 18.56 | 13.59 | 10.04 | 8.521 | 8.366 | 6.703 | 6.255 | 5.531 | 5.488 | 5.603 | 5.283 | 4.976 | 4.651 | 4.123 | 4.112 | 4.125 | 3.921 | 4.001
305 | 1063 | 1105 | 1426 | 2172 | 3506 | 4686 | 4054 | 2406 | 1494 | 1311 | 1596 | 2209 | 3246 | 4860 | 6824 | 8025 | 7005 | 4486 | 1619 | 1130 | 9999.9 | 9999.9 | 3493 | 32.82 | 17.97 | 13.73 | 10.05 | 9.034 | 7.814 | 6.782 | 6.218 | 6.251 | 5.751 | 5.454 | 4.857 | 4.869 | 4.619 | 4.179 | 4.136 | 4.224 | 3.892
310 | 1050 | 1268 | 1537 | 2403 | 3599 | 4809 | 4253 | 2789 | 2022 | 1999 | 2369 | 3031 | 4067 | 5551 | 7381 | 8490 | 7889 | 5076 | 2016 | 709.5 | 946.2 | 9999.9 | 9999.9 | 3554 | 34.45 | 18.53 | 14.49 | 10.73 | 9.429 | 7.506 | 7.038 | 6.558 | 5.897 | 6.309 | 5.177 | 5.039 | 4.69 | 4.273 | 4.401 | 4.247 | 4.295
315 | 982.5 | 1292 | 1661 | 2455 | 3517 | 4732 | 4299 | 3050 | 2501 | 2736 | 3233 | 4002 | 4936 | 6237 | 7692 | 8488 | 8052 | 5716 | 2540 | 1020 | 521.9 | 964.5 | 9999.9 | 9999.9 | 3280 | 32.98 | 17.63 | 14.58 | 11.08 | 8.935 | 7.671 | 7.236 | 7.081 | 6.444 | 5.643 | 5.436 | 4.568 | 4.454 | 4.264 | 4.458 | 4.087
320 | 1081 | 1273 | 1713 | 2440 | 3605 | 4587 | 4281 | 3257 | 3036 | 3508 | 4230 | 5144 | 5936 | 7004 | 7992 | 8538 | 7937 | 6104 | 3307 | 1501 | 808.1 | 531.2 | 1007 | 9999.9 | 9999.9 | 3312 | 33.08 | 19.36 | 14.77 | 11.24 | 9.573 | 8.536 | 7.672 | 6.933 | 5.928 | 5.67 | 5.212 | 4.795 | 4.662 | 4.304 | 4.152
325 | 993 | 1290 | 1720 | 2571 | 3514 | 4463 | 4228 | 3457 | 3460 | 4161 | 5140 | 6199 | 6900 | 7745 | 8336 | 8607 | 8044 | 6305 | 4030 | 2124 | 1175 | 743.3 | 520.4 | 964.3 | 9999.9 | 9999.9 | 3314 | 32.19 | 19.66 | 15.53 | 12.39 | 10.18 | 8.841 | 7.997 | 6.636 | 6.273 | 5.339 | 5.318 | 4.653 | 4.845 | 4.095
330 | 830.5 | 1261 | 1854 | 2713 | 3817 | 4550 | 4183 | 3585 | 3782 | 4667 | 5800 | 7005 | 7769 | 8375 | 8734 | 8779 | 8303 | 6705 | 4457 | 2794 | 1602 | 976.7 | 635.9 | 388 | 850.4 | 9999.9 | 9999.9 | 3673 | 31.92 | 20.46 | 16.09 | 12.63 | 10.48 | 9.004 | 7.745 | 6.512 | 5.66 | 5.274 | 4.883 | 4.725 | 4.58
335 | 860.9 | 1268 | 1842 | 2696 | 3881 | 4534 | 4094 | 3578 | 3874 | 4977 | 6281 | 7550 | 8397 | 8949 | 9104 | 9087 | 8599 | 7212 | 5040 | 3118 | 2111 | 1245 | 774.6 | 422.4 | 223 | 786.2 | 9999.9 | 9999.9 | 3908 | 33.63 | 22.43 | 17.45 | 13.02 | 9.952 | 8.849 | 7.802 | 6.115 | 5.814 | 5.198 | 5.109 | 4.497
340 | 829.3 | 1171 | 1902 | 2679 | 3866 | 4564 | 4099 | 3542 | 3946 | 5056 | 6529 | 7855 | 8746 | 9331 | 9434 | 9318 | 8897 | 7672 | 5567 | 3405 | 2288 | 1599 | 913.7 | 486 | 214.7 | 135 | 776.4 | 9999.9 | 9999.9 | 4073 | 36.85 | 22.96 | 18.51 | 13.13 | 9.946 | 8.018 | 7.007 | 6.12 | 5.26 | 5.268 | 4.701
345 | 762 | 1214 | 1920 | 2708 | 3826 | 4577 | 3971 | 3473 | 3889 | 5006 | 6418 | 7846 | 8765 | 9506 | 9641 | 9520 | 9095 | 7934 | 5942 | 3677 | 2340 | 1695 | 1138 | 540.1 | 233.4 | 113.4 | 114.3 | 795.7 | 9999.9 | 9999.9 | 4524 | 37.25 | 23.63 | 18.61 | 12.88 | 9.871 | 8.584 | 7.286 | 6.019 | 5.476 | 5.138
350 | 682.3 | 1130 | 1781 | 2671 | 3860 | 4526 | 3770 | 3277 | 3672 | 4699 | 6063 | 7511 | 8521 | 9363 | 9518 | 9419 | 9135 | 8023 | 6141 | 3842 | 2429 | 1615 | 1247 | 706.6 | 283.8 | 145.4 | 101.1 | 125.4 | 790.4 | 9999.9 | 9999.9 | 4998 | 40.02 | 24.48 | 18.46 | 12.73 | 9.6 | 7.516 | 7.028 | 6.058 | 5.158
355 | 700.7 | 1069 | 1770 | 2506 | 3747 | 4186 | 3632 | 3049 | 3388 | 4387 | 5712 | 7078 | 8168 | 8979 | 9302 | 9293 | 8978 | 7973 | 6192 | 3894 | 2491 | 1625 | 1116 | 854.2 | 418.7 | 207.6 | 148.4 | 121.2 | 139.4 | 819.7 | 9999.9 | 9999.9 | 4822 | 38.75 | 24.68 | 17.68 | 12.24 | 9.382 | 7.75 | 6.392 | 5.973
360 | 676.6 | 962.2 | 1676 | 2539 | 3429 | 4077 | 3407 | 2830 | 3100 | 4010 | 5151 | 6489 | 7551 | 8437 | 8851 | 8916 | 8627 | 7718 | 6077 | 3850 | 2497 | 1648 | 1099 | 781.4 | 619.3 | 327.4 | 215.1 | 174.5 | 140.5 | 151.5 | 808.9 | 9999.9 | 9999.9 | 5173 | 38.23 | 23.87 | 15.95 | 11.41 | 8.204 | 7.406 | 6.465
365 | 692.7 | 903.3 | 1438 | 2241 | 3384 | 3804 | 3179 | 2621 | 2847 | 3635 | 4582 | 5866 | 6959 | 7825 | 8240 | 8380 | 8163 | 7335 | 5816 | 3743 | 2429 | 1638 | 1117 | 758.3 | 620.4 | 541.8 | 319.7 | 241 | 190.9 | 144.3 | 147.4 | 830.9 | 9999.9 | 9999.9 | 5015 | 37.09 | 22.56 | 15.6 | 11.74 | 8.792 | 7.638
370 | 589 | 907.9 | 1290 | 2088 | 3055 | 3535 | 2937 | 2389 | 2551 | 3188 | 4104 | 5155 | 6141 | 7011 | 7482 | 7696 | 7568 | 6791 | 5437 | 3568 | 2364 | 1608 | 1145 | 815.2 | 608.4 | 616.4 | 530 | 334.9 | 255.8 | 190.7 | 134.8 | 136.4 | 849.9 | 9999.9 | 9999.9 | 4878 | 34.86 | 20.52 | 14.9 | 11.21 | 7.86
375 | 516.3 | 778.5 | 1195 | 1850 | 2678 | 3139 | 2640 | 2178 | 2269 | 2799 | 3617 | 4570 | 5464 | 6228 | 6757 | 6924 | 6822 | 6229 | 5001 | 3347 | 2259 | 1591 | 1162 | 880.3 | 685.2 | 598.4 | 648.1 | 512.4 | 336.3 | 248.4 | 177 | 123.4 | 132.7 | 848.2 | 9999.9 | 9999.9 | 4579 | 32.88 | 20.44 | 14.98 | 10.61
380 | 496 | 729.2 | 1202 | 1710 | 2470 | 2884 | 2365 | 1968 | 2008 | 2423 | 3121 | 3938 | 4711 | 5416 | 5933 | 6152 | 6107 | 5560 | 4582 | 3113 | 2155 | 1555 | 1200 | 944.3 | 775.2 | 681.9 | 644.2 | 679.7 | 476.9 | 321.4 | 234.8 | 162.6 | 114.2 | 132.4 | 848.5 | 9999.9 | 9999.9 | 4351 | 31.73 | 20.35 | 14.54
385 | 456.5 | 620.8 | 991.8 | 1496 | 2173 | 2496 | 2164 | 1758 | 1793 | 2107 | 2668 | 3331 | 4035 | 4714 | 5169 | 5396 | 5397 | 4961 | 4129 | 2878 | 2057 | 1544 | 1234 | 1023 | 873.3 | 784.7 | 710.6 | 686.5 | 665.5 | 437.2 | 303.4 | 216.7 | 153 | 110.6 | 127.2 | 850.4 | 9999.9 | 9999.9 | 4266 | 31.65 | 18.75
390 | 575.1 | 582.5 | 907.5 | 1356 | 1867 | 2206 | 1886 | 1545 | 1598 | 1871 | 2326 | 2873 | 3433 | 4022 | 4486 | 4675 | 4714 | 4396 | 3700 | 2669 | 1963 | 1534 | 1270 | 1102 | 979.7 | 898.8 | 815.3 | 735.4 | 709.3 | 617.9 | 397.8 | 282.7 | 205.9 | 144.9 | 103.8 | 120.8 | 807.3 | 9999.9 | 9999.9 | 4408 | 28.83
395 | 1477 | 559.3 | 762.2 | 1183 | 1664 | 1900 | 1684 | 1411 | 1427 | 1659 | 1991 | 2441 | 2920 | 3413 | 3855 | 4092 | 4116 | 3875 | 3312 | 2468 | 1882 | 1525 | 1317 | 1175 | 1078 | 1006 | 932.5 | 830.9 | 730.1 | 699.7 | 556.8 | 363.2 | 265.1 | 193.3 | 130.6 | 90.52 | 108.1 | 833.3 | 9999.9 | 9999.9 | 3947
400 | 1877 | 771.2 | 708.5 | 1070 | 1471 | 1693 | 1494 | 1308 | 1319 | 1458 | 1721 | 2089 | 2480 | 2920 | 3285 | 3494 | 3592 | 3388 | 2964 | 2276 | 1806 | 1522 | 1372 | 1261 | 1191 | 1129 | 1045 | 933 | 807.3 | 708 | 673.2 | 491.7 | 332.3 | 241.1 | 166.2 | 108.6 | 74.05 | 102.6 | 790.8 | 9999.9 | 9999.9
405 | 1079 | 1907 | 645.3 | 878.9 | 1234 | 1481 | 1390 | 1173 | 1200 | 1295 | 1516 | 1795 | 2110 | 2464 | 2780 | 3003 | 3119 | 2979 | 2658 | 2114 | 1727 | 1524 | 1397 | 1338 | 1280 | 1210 | 1135 | 1028 | 903.3 | 762.9 | 671 | 623.4 | 429.5 | 288.8 | 199 | 135.5 | 89.7 | 64.82 | 95.43 | 762.3 | 9999.9
410 | 470.6 | 2230 | 918.1 | 834.2 | 1110 | 1323 | 1221 | 1087 | 1058 | 1157 | 1338 | 1568 | 1820 | 2102 | 2375 | 2576 | 2706 | 2637 | 2392 | 1964 | 1673 | 1512 | 1422 | 1384 | 1343 | 1284 | 1220 | 1116 | 978.2 | 835 | 692.6 | 627.9 | 557 | 359.2 | 236.4 | 162.3 | 110.1 | 75.65 | 58.22 | 88.11 | 764.2
415 | 338.1 | 1324 | 2126 | 724.2 | 980.7 | 1133 | 1087 | 974 | 990.5 | 1054 | 1176 | 1348 | 1547 | 1780 | 2033 | 2209 | 2340 | 2346 | 2158 | 1828 | 1596 | 1501 | 1447 | 1414 | 1391 | 1353 | 1276 | 1172 | 1041 | 886.6 | 744.4 | 618.1 | 575.2 | 467.1 | 287.6 | 189.7 | 132.1 | 90.82 | 67.17 | 50.63 | 85.24
420 | 318.7 | 588 | 2759 | 1180 | 848.6 | 1058 | 974.8 | 945.4 | 916.5 | 986.7 | 1078 | 1204 | 1334 | 1537 | 1728 | 1935 | 2044 | 2064 | 1941 | 1699 | 1533 | 1457 | 1424 | 1410 | 1413 | 1380 | 1310 | 1217 | 1078 | 923.5 | 783.8 | 648.5 | 543.9 | 505.8 | 363.5 | 220.7 | 150.8 | 108.7 | 78.16 | 58.37 | 47.23
425 | 271.9 | 376.9 | 1653 | 2234 | 755.9 | 903.8 | 907.5 | 872.5 | 889.2 | 925.2 | 991.5 | 1082 | 1162 | 1326 | 1513 | 1675 | 1796 | 1841 | 1743 | 1567 | 1468 | 1420 | 1400 | 1398 | 1409 | 1401 | 1323 | 1240 | 1102 | 953.8 | 806.1 | 670.7 | 549 | 463.4 | 420.3 | 274.8 | 175.1 | 123.6 | 92.05 | 69.2 | 52.76
430 | 279.1 | 321 | 606.4 | 2883 | 1129 | 855.4 | 854.9 | 832.5 | 828.9 | 879.2 | 924.5 | 987.9 | 1069 | 1158 | 1313 | 1469 | 1596 | 1634 | 1595 | 1468 | 1398 | 1374 | 1376 | 1393 | 1400 | 1386 | 1334 | 1240 | 1106 | 967.2 | 826.1 | 689.9 | 569.4 | 451.7 | 392.6 | 338.3 | 209.3 | 139.9 | 105.1 | 79.94 | 61.41
435 | 197.5 | 336.7 | 428.2 | 1982 | 2384 | 722 | 805.9 | 777.7 | 825.5 | 848.4 | 873.6 | 914.9 | 967.1 | 1031 | 1164 | 1293 | 1419 | 1480 | 1461 | 1375 | 1337 | 1320 | 1344 | 1373 | 1376 | 1378 | 1328 | 1234 | 1117 | 973 | 833.1 | 691.5 | 577 | 462.6 | 369.1 | 330 | 270.2 | 164.2 | 119.5 | 90.99 | 72.27
440 | 279.2 | 289.6 | 339.8 | 811.8 | 3327 | 1090 | 703.3 | 737.5 | 787.1 | 799.6 | 811.8 | 846.1 | 864.2 | 914.8 | 1025 | 1148 | 1262 | 1325 | 1335 | 1267 | 1258 | 1252 | 1284 | 1316 | 1337 | 1333 | 1289 | 1215 | 1094 | 960.8 | 827 | 696 | 579.9 | 471.9 | 371.3 | 299.5 | 284.2 | 211.7 | 137.3 | 103.6 | 81.39
445 | 282.1 | 293.6 | 379.5 | 457.2 | 2428 | 2403 | 685.7 | 692.4 | 725.3 | 754.9 | 779.2 | 790.9 | 779.1 | 834.4 | 905 | 1024 | 1124 | 1192 | 1216 | 1171 | 1171 | 1188 | 1219 | 1253 | 1289 | 1275 | 1238 | 1175 | 1059 | 937.1 | 807.4 | 682.1 | 565.9 | 472.8 | 370.6 | 293 | 251.1 | 241.6 | 170.9 | 116 | 91.32
450 | 225.3 | 271.1 | 329.6 | 375.6 | 962.7 | 3894 | 1072 | 636 | 669.5 | 725.3 | 728.8 | 732.2 | 712.1 | 733.1 | 811.1 | 901.4 | 1014 | 1078 | 1089 | 1069 | 1085 | 1103 | 1142 | 1181 | 1210 | 1206 | 1187 | 1108 | 1021 | 897.7 | 776.6 | 661 | 557 | 462.1 | 369.9 | 290.4 | 234.1 | 218.9 | 205.1 | 140.3 | 101.3
455 | 220.5 | 262.2 | 316.2 | 350 | 476.6 | 3204 | 2770 | 637.4 | 634.6 | 670.7 | 679.4 | 673.6 | 664.7 | 665.3 | 727.9 | 809.2 | 898.2 | 954.1 | 969 | 979.8 | 989.4 | 1016 | 1051 | 1090 | 1112 | 1119 | 1098 | 1044 | 956.2 | 841.1 | 738.1 | 633.5 | 529.9 | 444.6 | 364.5 | 292.7 | 233 | 196.1 | 196.3 | 173.7 | 117.3
460 | 241.1 | 234.2 | 342.3 | 335.2 | 382 | 1108 | 4889 | 1077 | 590.8 | 617.6 | 631.7 | 620.1 | 603.7 | 610 | 652.6 | 716.2 | 801.9 | 846.2 | 858.8 | 865.9 | 891.7 | 936.4 | 962 | 998.8 | 1027 | 1033 | 1020 | 968 | 883.4 | 788.3 | 687.5 | 594.1 | 504.4 | 423.8 | 352.7 | 283.5 | 234.2 | 194.5 | 174.1 | 181.6 | 149.2
465 | 187.3 | 235.6 | 230 | 296.2 | 359.2 | 445.2 | 4212 | 3106 | 589.7 | 596.6 | 588 | 579.4 | 568.2 | 556.8 | 580.2 | 649.3 | 695.1 | 755.8 | 773.6 | 773.3 | 803.1 | 835.2 | 868.1 | 904.1 | 933.3 | 941.6 | 934.8 | 891.6 | 814.5 | 727.9 | 641.6 | 550.6 | 468.7 | 406.1 | 339 | 280.1 | 229.4 | 194.8 | 167.9 | 160.6 | 164
470 | 195.7 | 184.3 | 261.2 | 259 | 326.4 | 382.5 | 1355 | 5742 | 1161 | 542.9 | 536.8 | 534.2 | 512.4 | 499.8 | 519.3 | 572 | 629.1 | 664.5 | 681.1 | 691.4 | 710.7 | 742.1 | 773.5 | 810.3 | 832.6 | 848.1 | 835.1 | 804.3 | 746.2 | 665.7 | 588.5 | 508 | 441 | 376.4 | 320.6 | 266.7 | 227.4 | 192.2 | 168.7 | 149.5 | 148.3
475 | 163.2 | 226.8 | 241.7 | 240.2 | 322 | 329.8 | 452 | 4900 | 3344 | 505.2 | 499.7 | 483.7 | 478.4 | 472.1 | 479.4 | 514.2 | 555.3 | 581.6 | 604.7 | 603.2 | 630.8 | 656.6 | 689.8 | 719.4 | 745.7 | 753.2 | 750.2 | 720.1 | 670.8 | 607.1 | 534.6 | 470 | 407.9 | 351.4 | 307.5 | 260.9 | 221.5 | 193.4 | 170.6 | 150.3 | 135.8
480 | 181 | 193.8 | 189.8 | 229.5 | 270.1 | 301.6 | 351.6 | 1564 | 6146 | 1095 | 458 | 474.2 | 457.2 | 445 | 451.7 | 481.7 | 512.9 | 522.7 | 530.7 | 524.3 | 554.5 | 584.2 | 613.6 | 643.5 | 669.2 | 679 | 678.3 | 652.4 | 614.3 | 555.2 | 493.8 | 438.1 | 386.6 | 342.1 | 302.3 | 259.5 | 224.8 | 197.3 | 174.3 | 154.1 | 141.6
485 | 166.6 | 166.3 | 183.2 | 204 | 259 | 291.3 | 322.4 | 441.8 | 5340 | 3359 | 458.6 | 466 | 458.7 | 457.6 | 449.9 | 479.3 | 487.1 | 490 | 484.8 | 475.6 | 499.1 | 526 | 549.6 | 579.1 | 603.8 | 618.7 | 619.6 | 600.1 | 564.3 | 520.4 | 465.1 | 418.2 | 381.2 | 341.2 | 305.5 | 268.5 | 235.1 | 210.1 | 185.7 | 167.6 | 151
490 | 169.5 | 155.7 | 173.2 | 202.5 | 226.6 | 320.6 | 301.9 | 348 | 1661 | 6260 | 1005 | 465.7 | 475.4 | 506.8 | 488.2 | 485.8 | 490.2 | 468.1 | 450.5 | 437.1 | 448.7 | 476.5 | 499.3 | 521.4 | 548 | 561.6 | 569.1 | 556.5 | 532.4 | 497.8 | 453.5 | 415.2 | 380.7 | 352.7 | 325.6 | 290.2 | 259.6 | 231.9 | 204.5 | 179.8 | 168.9
495 | 144.8 | 156 | 177.7 | 199 | 251.4 | 288.5 | 319.1 | 350.4 | 464.9 | 5529 | 3144 | 497.5 | 516.3 | 545.8 | 544.2 | 528.9 | 506.2 | 462.8 | 413.2 | 394 | 400 | 423 | 452.3 | 470 | 490.4 | 508.8 | 520 | 514.6 | 499.7 | 477.3 | 447 | 422.8 | 398.9 | 377.1 | 355.7 | 326.1 | 288.6 | 260.5 | 230.3 | 203.4 | 189.5
500 | 180.8 | 162.4 | 172.8 | 208.2 | 240.9 | 265.9 | 342.4 | 330.5 | 358.7 | 1862 | 6082 | 977.5 | 573.4 | 620 | 614.1 | 577 | 530.8 | 455.7 | 390.1 | 354.9 | 354.8 | 373.7 | 400.3 | 425.1 | 442.4 | 462.4 | 481.7 | 480.3 | 476.4 | 457.9 | 442.8 | 423.6 | 417.9 | 404.7 | 389.6 | 362.9 | 324.4 | 288.6 | 257 | 230.5 | 214.7