## Sheet1
Report date: | 17:15:43, 09/18/2024
Sample: | 1
File name:
Run date: | 17:10:15, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/310.0 | 4805
2 | 225.0/335.0 | 4316
3 | 225.0/345.0 | 4331
4 | 250.0/275.0 | 312.3
5 | 270.0/345.0 | 9012
6 | 275.0/310.0 | 8500
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 136.4 | 91.53 | 97.59 | 129.2 | 87.49 | 58.69 | 30.63 | 30.73 | 46.54 | 258.4 | 158.7 | 54.27 | 137.3 | 9999.9 | 9999.9 | 4887 | 42.52 | 17.64 | 14.09 | 9.535 | 8.012 | 5.802 | 5.502 | 5.581 | 4.448 | 3.958 | 4.913 | 4.49 | 4.283 | 3.968 | 4.109 | 3.892 | 4.211 | 4.043 | 4.145 | 4.737 | 5.046 | 5.675 | 5.592 | 4.306 | 3.501
275 | 195.7 | 148.2 | 224.6 | 263 | 230.8 | 165.2 | 73.49 | 40.76 | 35.53 | 97.49 | 312.3 | 169 | 117.2 | 816.5 | 9999.9 | 9999.9 | 4558 | 39.86 | 15.97 | 11.82 | 8.814 | 7.545 | 6.939 | 5.898 | 5.272 | 4.774 | 4.767 | 4.466 | 4.391 | 4.636 | 3.994 | 4.229 | 4.066 | 4.269 | 3.956 | 4.264 | 4.145 | 5.009 | 5.341 | 4.729 | 3.665
280 | 298.1 | 230.1 | 341.2 | 417.4 | 489.7 | 374.2 | 157.6 | 71.58 | 54.42 | 75.51 | 199.3 | 413.9 | 252.8 | 284.6 | 923.8 | 9999.9 | 9999.9 | 4428 | 42.94 | 16.3 | 11.61 | 8.788 | 8.049 | 6.041 | 5.225 | 5.526 | 5.291 | 4.679 | 5.051 | 4.754 | 4.339 | 4.12 | 4.601 | 4.372 | 3.876 | 3.527 | 4.083 | 4.209 | 4.941 | 5.299 | 4.639
285 | 370.2 | 363.5 | 486.8 | 719.4 | 851.7 | 897.7 | 537.9 | 239.8 | 124.7 | 124.2 | 184.3 | 454.8 | 714.8 | 682.7 | 841.7 | 1484 | 9999.9 | 9999.9 | 4204 | 42.56 | 17.39 | 11.59 | 8.973 | 7.398 | 6.517 | 5.727 | 6.142 | 5.735 | 4.829 | 4.705 | 4.359 | 4.599 | 4.429 | 4.882 | 4.195 | 3.885 | 3.95 | 3.796 | 4.29 | 4.63 | 5.081
290 | 589.2 | 522.3 | 765.2 | 1079 | 1597 | 1888 | 1360 | 717 | 326.2 | 269.1 | 357.7 | 631.8 | 1262 | 1818 | 2226 | 2455 | 2722 | 9999.9 | 9999.9 | 3898 | 35.53 | 16.04 | 10.82 | 8.745 | 7.755 | 6.604 | 6.363 | 5.493 | 5.017 | 5.143 | 4.874 | 4.304 | 4.557 | 5.102 | 4.772 | 4.097 | 3.715 | 3.89 | 4.247 | 3.732 | 4.549
295 | 721.8 | 760.5 | 1031 | 1635 | 2398 | 3035 | 2454 | 1298 | 650.2 | 483.8 | 642.1 | 1060 | 1823 | 3193 | 4217 | 4560 | 4002 | 3033 | 9999.9 | 9999.9 | 3656 | 32.46 | 15.91 | 12.08 | 9.422 | 7.786 | 6.72 | 6.36 | 6.357 | 5.415 | 5.203 | 4.77 | 4.793 | 5.003 | 4.405 | 3.931 | 3.778 | 4.105 | 3.84 | 4.189 | 3.86
300 | 937.6 | 1001 | 1249 | 2169 | 3100 | 3995 | 3457 | 1930 | 1070 | 879.7 | 1064 | 1590 | 2587 | 4089 | 5981 | 6527 | 5741 | 3564 | 1789 | 9999.9 | 9999.9 | 3388 | 31.08 | 17.09 | 12.95 | 9.913 | 8.539 | 7.931 | 6.682 | 6.185 | 6.055 | 5.574 | 5.305 | 5.484 | 4.93 | 4.511 | 4.293 | 4.308 | 4.026 | 3.673 | 4.216
305 | 968.4 | 1092 | 1508 | 2206 | 3685 | 4481 | 3961 | 2387 | 1493 | 1341 | 1576 | 2199 | 3239 | 4898 | 6856 | 8081 | 7004 | 4395 | 1576 | 1108 | 9999.9 | 9999.9 | 3187 | 29.42 | 16.4 | 13.21 | 10.49 | 8.592 | 7.834 | 6.671 | 5.98 | 5.901 | 5.309 | 5.032 | 4.838 | 4.848 | 4.762 | 4.446 | 4.04 | 3.837 | 3.498
310 | 1042 | 1198 | 1645 | 2411 | 3685 | 4805 | 4317 | 2815 | 1969 | 1945 | 2307 | 3036 | 4034 | 5571 | 7337 | 8500 | 7842 | 5019 | 1965 | 687.8 | 930.1 | 9999.9 | 9999.9 | 3237 | 32.98 | 17.81 | 13.54 | 11.23 | 9.28 | 7.428 | 6.735 | 6.547 | 6.321 | 5.895 | 5.232 | 4.944 | 4.601 | 4.353 | 4.233 | 3.72 | 3.913
315 | 1003 | 1239 | 1744 | 2311 | 3627 | 4715 | 4267 | 3045 | 2436 | 2659 | 3160 | 3909 | 4782 | 6160 | 7645 | 8482 | 7959 | 5575 | 2431 | 942.6 | 466.5 | 915.2 | 9999.9 | 9999.9 | 3062 | 31.3 | 18.71 | 14.92 | 11.47 | 8.719 | 7.556 | 6.809 | 7.047 | 5.693 | 5.627 | 5.837 | 5.08 | 4.855 | 4.433 | 4.191 | 3.782
320 | 978.4 | 1279 | 1742 | 2342 | 3357 | 4570 | 4205 | 3243 | 2899 | 3388 | 4062 | 4844 | 5686 | 6765 | 7802 | 8358 | 7813 | 5912 | 3097 | 1318 | 663.3 | 406.5 | 897.7 | 9999.9 | 9999.9 | 3242 | 30.36 | 20.38 | 14.7 | 10.62 | 8.828 | 7.649 | 7.148 | 6.928 | 6.22 | 5.555 | 4.947 | 4.773 | 4.075 | 4.486 | 4.076
325 | 917.6 | 1260 | 1640 | 2347 | 3506 | 4372 | 4047 | 3356 | 3296 | 3908 | 4833 | 5718 | 6433 | 7297 | 8080 | 8391 | 7810 | 6027 | 3748 | 1861 | 937.5 | 538.1 | 348.3 | 860.4 | 9999.9 | 9999.9 | 3313 | 32.56 | 19.45 | 15.47 | 11.12 | 10.06 | 8.662 | 7.796 | 6.487 | 6.091 | 6.079 | 5.038 | 4.628 | 3.935 | 4.162
330 | 804.8 | 1218 | 1824 | 2537 | 3606 | 4309 | 3917 | 3351 | 3526 | 4347 | 5378 | 6417 | 7151 | 7831 | 8298 | 8477 | 7960 | 6361 | 4056 | 2439 | 1274 | 710.8 | 415.9 | 254.4 | 795.4 | 9999.9 | 9999.9 | 3476 | 31.67 | 20.25 | 15.77 | 12.53 | 9.514 | 8.604 | 7.897 | 6.757 | 5.836 | 5.357 | 4.737 | 4.338 | 4.193
335 | 854 | 1222 | 1790 | 2654 | 3528 | 4316 | 3879 | 3438 | 3667 | 4609 | 5787 | 6882 | 7664 | 8270 | 8620 | 8693 | 8232 | 6773 | 4535 | 2662 | 1716 | 921.8 | 512.6 | 267 | 165.5 | 777 | 9999.9 | 9999.9 | 3678 | 33.35 | 21.37 | 16.49 | 12.59 | 10.05 | 8.849 | 7.025 | 6.423 | 5.88 | 5.28 | 4.907 | 4.301
340 | 778.6 | 1156 | 1824 | 2579 | 3653 | 4310 | 3888 | 3369 | 3659 | 4608 | 5885 | 7039 | 7938 | 8532 | 8876 | 8916 | 8430 | 7143 | 5016 | 2902 | 1863 | 1244 | 626.4 | 317.2 | 150.7 | 123.2 | 789.1 | 9999.9 | 9999.9 | 3933 | 34.26 | 21.79 | 17.7 | 12.43 | 10.36 | 8.151 | 7.029 | 6.22 | 5.562 | 4.818 | 4.532
345 | 792.3 | 1106 | 1610 | 2598 | 3700 | 4331 | 3768 | 3276 | 3529 | 4548 | 5765 | 7007 | 7976 | 8664 | 9012 | 9007 | 8590 | 7395 | 5383 | 3160 | 1891 | 1332 | 853.5 | 380.1 | 181.6 | 101.9 | 117.9 | 792 | 9999.9 | 9999.9 | 4273 | 36.56 | 23.93 | 17.95 | 13.42 | 9.877 | 7.803 | 7.149 | 6.008 | 5.473 | 5.184
350 | 758.7 | 1036 | 1592 | 2433 | 3534 | 4162 | 3581 | 3003 | 3373 | 4300 | 5564 | 6740 | 7771 | 8538 | 8915 | 8962 | 8610 | 7484 | 5561 | 3321 | 2005 | 1264 | 953.8 | 546.2 | 228.7 | 137.5 | 104.1 | 125.3 | 786.6 | 9999.9 | 9999.9 | 4646 | 37.95 | 24.3 | 18.98 | 12.72 | 9.278 | 8.161 | 6.746 | 6.109 | 5.515
355 | 647.2 | 1017 | 1662 | 2508 | 3416 | 4016 | 3356 | 2903 | 3109 | 4000 | 5161 | 6385 | 7390 | 8229 | 8702 | 8759 | 8441 | 7391 | 5611 | 3391 | 2086 | 1310 | 873.7 | 714.9 | 366.6 | 195.2 | 149.1 | 120.1 | 138 | 816.6 | 9999.9 | 9999.9 | 4840 | 37.92 | 24.64 | 16.97 | 12.32 | 8.841 | 7.612 | 6.256 | 5.624
360 | 659 | 887.8 | 1433 | 2344 | 3404 | 3840 | 3155 | 2639 | 2876 | 3667 | 4720 | 5857 | 6882 | 7794 | 8305 | 8381 | 8138 | 7176 | 5535 | 3424 | 2129 | 1354 | 879.7 | 644.6 | 576.5 | 315.7 | 215.6 | 171.4 | 136.3 | 147.7 | 798.6 | 9999.9 | 9999.9 | 5205 | 38.05 | 23.23 | 16.73 | 12.39 | 8.629 | 6.768 | 6.536
365 | 606.2 | 913.6 | 1303 | 2031 | 3046 | 3540 | 2911 | 2392 | 2609 | 3292 | 4234 | 5324 | 6330 | 7149 | 7754 | 7856 | 7667 | 6838 | 5268 | 3335 | 2104 | 1385 | 921.4 | 640.2 | 572.9 | 530.5 | 317.7 | 233.1 | 183.3 | 139.2 | 143 | 823 | 9999.9 | 9999.9 | 5030 | 37.45 | 22.33 | 16.33 | 10.92 | 8.395 | 7.035
370 | 574.9 | 782.8 | 1270 | 1993 | 2884 | 3228 | 2737 | 2218 | 2338 | 2905 | 3756 | 4722 | 5621 | 6482 | 7095 | 7302 | 7101 | 6362 | 4977 | 3205 | 2081 | 1404 | 976.7 | 707.1 | 561.5 | 591.3 | 509.1 | 321.1 | 240.9 | 180.5 | 129.2 | 133.9 | 826.8 | 9999.9 | 9999.9 | 4862 | 35.5 | 21.54 | 14.95 | 10.68 | 7.778
375 | 576.9 | 753.3 | 1177 | 1743 | 2591 | 2889 | 2432 | 2005 | 2095 | 2603 | 3304 | 4142 | 5026 | 5761 | 6356 | 6562 | 6468 | 5791 | 4639 | 3049 | 2027 | 1415 | 1034 | 787.3 | 637.7 | 569.4 | 630.7 | 488.1 | 317.8 | 236.3 | 168.8 | 117.1 | 128 | 849.9 | 9999.9 | 9999.9 | 4639 | 33.37 | 20.46 | 13.79 | 9.722
380 | 461.8 | 689.2 | 1000 | 1565 | 2308 | 2641 | 2215 | 1811 | 1907 | 2276 | 2871 | 3612 | 4373 | 5104 | 5616 | 5846 | 5820 | 5247 | 4252 | 2868 | 1965 | 1423 | 1083 | 860.3 | 733.3 | 642.8 | 621.5 | 654.1 | 454.4 | 304.8 | 220 | 152.8 | 112.6 | 130.2 | 849.5 | 9999.9 | 9999.9 | 4376 | 30.51 | 18.2 | 13.23
385 | 426.9 | 586.7 | 1027 | 1400 | 2145 | 2387 | 1988 | 1630 | 1695 | 2012 | 2480 | 3142 | 3771 | 4425 | 4921 | 5134 | 5118 | 4679 | 3834 | 2663 | 1887 | 1433 | 1139 | 955.2 | 825.3 | 755 | 676.6 | 654.1 | 634.9 | 418.3 | 285.6 | 207.2 | 149.6 | 109.4 | 127.3 | 851.5 | 9999.9 | 9999.9 | 4101 | 28.51 | 16.81
390 | 583.4 | 533.9 | 855.3 | 1183 | 1812 | 2065 | 1758 | 1508 | 1519 | 1769 | 2172 | 2679 | 3202 | 3755 | 4246 | 4477 | 4464 | 4167 | 3475 | 2477 | 1831 | 1450 | 1196 | 1035 | 939.3 | 862.9 | 780.5 | 700 | 678.9 | 598.1 | 385.6 | 271 | 200.7 | 145.6 | 99.85 | 117.5 | 809.4 | 9999.9 | 9999.9 | 3879 | 26.99
395 | 1378 | 535.6 | 768.6 | 1158 | 1596 | 1813 | 1574 | 1356 | 1364 | 1527 | 1899 | 2267 | 2754 | 3261 | 3636 | 3887 | 3940 | 3696 | 3136 | 2336 | 1779 | 1460 | 1264 | 1136 | 1040 | 976 | 890.7 | 804.7 | 699.8 | 676.6 | 542.8 | 350.7 | 259 | 186.6 | 126.9 | 87.82 | 107.8 | 839.4 | 9999.9 | 9999.9 | 3569
400 | 1830 | 822.5 | 635.6 | 1040 | 1353 | 1550 | 1432 | 1231 | 1222 | 1381 | 1626 | 1965 | 2378 | 2776 | 3116 | 3350 | 3438 | 3259 | 2843 | 2198 | 1734 | 1480 | 1313 | 1218 | 1152 | 1086 | 994.8 | 895.8 | 785 | 686.3 | 647.3 | 480 | 323.7 | 236 | 162.5 | 109.1 | 74.73 | 103.3 | 794 | 9999.9 | 9999.9
405 | 1093 | 1747 | 611.4 | 927.7 | 1260 | 1397 | 1239 | 1148 | 1130 | 1238 | 1438 | 1691 | 2019 | 2346 | 2666 | 2880 | 2967 | 2874 | 2550 | 2040 | 1701 | 1503 | 1368 | 1293 | 1244 | 1180 | 1097 | 1004 | 877.6 | 742.8 | 654.9 | 608.3 | 422 | 285 | 199.2 | 134.5 | 90.18 | 65.11 | 95.18 | 762.4 | 9999.9
410 | 533.6 | 2030 | 905 | 771.8 | 1167 | 1292 | 1169 | 1047 | 1027 | 1156 | 1266 | 1471 | 1734 | 1989 | 2280 | 2503 | 2620 | 2551 | 2314 | 1922 | 1652 | 1488 | 1404 | 1346 | 1309 | 1261 | 1190 | 1082 | 946.3 | 807.8 | 673.7 | 609.5 | 543.1 | 351.7 | 237.4 | 160.7 | 109.7 | 76.44 | 56.4 | 87.53 | 755.4
415 | 358 | 1363 | 2055 | 723.5 | 958.2 | 1122 | 1072 | 972.3 | 1016 | 1031 | 1140 | 1316 | 1486 | 1696 | 1961 | 2158 | 2266 | 2273 | 2098 | 1804 | 1590 | 1479 | 1420 | 1390 | 1359 | 1313 | 1241 | 1139 | 1012 | 860.2 | 728.3 | 608 | 565.4 | 453.7 | 282 | 189.5 | 131.9 | 92.44 | 66.48 | 50.79 | 84.89
420 | 288.7 | 569.1 | 2552 | 1059 | 846.8 | 1015 | 999.8 | 931.1 | 933.3 | 974.6 | 1042 | 1170 | 1288 | 1491 | 1696 | 1880 | 2003 | 2019 | 1905 | 1680 | 1529 | 1453 | 1417 | 1397 | 1377 | 1351 | 1279 | 1177 | 1055 | 905.8 | 765.7 | 629.1 | 539.4 | 498.4 | 363.4 | 219.9 | 153.2 | 109 | 79.82 | 59.24 | 45.23
425 | 302.4 | 391.2 | 1628 | 2061 | 813.2 | 862.9 | 890.1 | 878.6 | 901.1 | 916.7 | 962.6 | 1034 | 1147 | 1273 | 1457 | 1624 | 1742 | 1800 | 1731 | 1561 | 1446 | 1409 | 1391 | 1389 | 1383 | 1361 | 1303 | 1208 | 1082 | 929.4 | 789.1 | 653.3 | 544.1 | 458.7 | 421.3 | 280.4 | 175.9 | 126.3 | 93.6 | 71.65 | 53.44
430 | 284.6 | 304.7 | 687.1 | 2811 | 1082 | 768.3 | 814.6 | 814.7 | 855.4 | 874.8 | 901.3 | 950.6 | 1037 | 1119 | 1281 | 1436 | 1550 | 1604 | 1578 | 1455 | 1391 | 1370 | 1369 | 1370 | 1383 | 1357 | 1312 | 1217 | 1090 | 949 | 806 | 678 | 559.3 | 453.7 | 396.9 | 343 | 214.2 | 143 | 110 | 83.16 | 63.97
435 | 276.1 | 316.2 | 395.7 | 1854 | 2173 | 735.9 | 744.7 | 786.2 | 820.6 | 831.2 | 850.3 | 886.3 | 933.7 | 993.2 | 1134 | 1277 | 1390 | 1457 | 1453 | 1370 | 1324 | 1315 | 1320 | 1346 | 1358 | 1347 | 1295 | 1212 | 1089 | 960 | 820.7 | 690.9 | 571.2 | 465.1 | 367.7 | 338.8 | 273 | 169.7 | 122.4 | 93.68 | 73.54
440 | 233.3 | 276.7 | 335.4 | 743.1 | 3160 | 1042 | 717.5 | 739.6 | 785.3 | 793.6 | 807.2 | 834.2 | 856.2 | 906.6 | 1014 | 1141 | 1244 | 1325 | 1324 | 1273 | 1257 | 1261 | 1270 | 1310 | 1316 | 1311 | 1278 | 1192 | 1075 | 943.3 | 810.3 | 689.9 | 571.5 | 468.8 | 371.6 | 302.7 | 289.4 | 216.7 | 140.4 | 103.7 | 82.69
445 | 260 | 248 | 314.9 | 439.8 | 2307 | 2341 | 702.7 | 690.1 | 723.3 | 768.1 | 757.1 | 769.3 | 782 | 815.3 | 901.4 | 1013 | 1120 | 1191 | 1203 | 1174 | 1168 | 1189 | 1217 | 1250 | 1259 | 1262 | 1221 | 1165 | 1048 | 921.7 | 800.2 | 681.6 | 570.9 | 470.6 | 376.3 | 300.3 | 251 | 247.1 | 173.2 | 117.7 | 93.39
450 | 205.7 | 207.4 | 345.3 | 388.2 | 930.4 | 3725 | 1039 | 650.6 | 703.3 | 715.3 | 742.5 | 722.3 | 723.8 | 743.1 | 797.4 | 896.8 | 994.2 | 1058 | 1083 | 1070 | 1091 | 1099 | 1131 | 1171 | 1189 | 1189 | 1157 | 1098 | 1001 | 883.3 | 767.7 | 654.7 | 558.1 | 457.6 | 369.6 | 297 | 237.3 | 221 | 209.3 | 142.3 | 103.5
455 | 214.9 | 252.8 | 327.1 | 348.3 | 440.7 | 3211 | 2722 | 609.8 | 638.9 | 673.2 | 667.3 | 661.9 | 657.2 | 658.2 | 710.5 | 790.5 | 885.9 | 942.6 | 968.2 | 971.5 | 983.6 | 1021 | 1047 | 1079 | 1109 | 1114 | 1085 | 1029 | 942.4 | 843 | 726.7 | 621.5 | 532.8 | 443 | 360.9 | 291.7 | 239.4 | 201 | 198.3 | 174.4 | 117.1
460 | 193.4 | 231.9 | 293.7 | 313.6 | 366.5 | 1100 | 4817 | 1057 | 612.4 | 622.6 | 616.9 | 617.9 | 597.2 | 606.7 | 632.4 | 702.6 | 784.9 | 835.2 | 868.5 | 877.1 | 903.8 | 917.7 | 958.8 | 984.2 | 1012 | 1026 | 1006 | 952.1 | 873 | 781.6 | 686 | 582.5 | 496.6 | 421.7 | 354.4 | 287.2 | 237 | 195.7 | 174.3 | 181.7 | 147.3
465 | 207.7 | 210.8 | 262.5 | 312.5 | 356.7 | 460.2 | 3976 | 3013 | 565.3 | 569.9 | 580.1 | 563 | 562.6 | 554.1 | 575.4 | 626.1 | 690.5 | 742.9 | 766.9 | 780.3 | 806.2 | 835 | 873.5 | 888.1 | 924.7 | 937.6 | 926.4 | 873.2 | 806.2 | 720.3 | 631.3 | 549.4 | 467.9 | 404.5 | 336 | 280 | 232.3 | 197.8 | 168.2 | 157.6 | 164.7
470 | 204.6 | 243.1 | 258.8 | 279.8 | 325.8 | 338.1 | 1286 | 5616 | 1084 | 508.6 | 543.7 | 537.6 | 507 | 496.3 | 506.5 | 557.1 | 616.6 | 651.5 | 689.9 | 687.3 | 708.9 | 736.7 | 774.2 | 805.3 | 826.3 | 838.8 | 830 | 794 | 731.9 | 659.8 | 579.3 | 504.2 | 436.6 | 379.7 | 321.3 | 268.3 | 225.2 | 194.3 | 167.2 | 146 | 147.7
475 | 209 | 163.3 | 223.4 | 272.6 | 311.9 | 297.5 | 433.7 | 4864 | 3236 | 495.6 | 489.4 | 499.1 | 480.1 | 461.9 | 469.4 | 499.3 | 549 | 582.3 | 598.3 | 604.8 | 625.8 | 659.2 | 684.6 | 713 | 735.1 | 758 | 748.6 | 715.8 | 664.7 | 601.9 | 530.1 | 468.5 | 408.1 | 353.8 | 305.1 | 262.1 | 219.3 | 189.3 | 167 | 146.6 | 132.2
480 | 154.5 | 170.6 | 182.2 | 236.3 | 253.5 | 305.5 | 355.9 | 1557 | 5861 | 1039 | 457.3 | 454.5 | 453.5 | 435.4 | 441.8 | 469.8 | 497.9 | 529.7 | 531.6 | 532.2 | 554.1 | 587.7 | 614.9 | 639.7 | 656.2 | 677.5 | 679.5 | 645.8 | 602.8 | 554.2 | 485.2 | 437.6 | 384.6 | 342.1 | 296.6 | 257.5 | 221.4 | 194.7 | 172.4 | 149.1 | 134
485 | 148 | 189.9 | 186.2 | 211 | 224.4 | 310.1 | 325.1 | 443.6 | 4971 | 3177 | 457.4 | 451.1 | 448.6 | 448.7 | 438.7 | 468.6 | 479.8 | 486.1 | 480.7 | 477.8 | 504.9 | 523 | 549.8 | 575 | 604.3 | 616.6 | 613.2 | 597.9 | 564 | 512.4 | 465.5 | 417.5 | 375.8 | 338.3 | 299.7 | 262.7 | 231.6 | 205 | 181.7 | 161.3 | 145
490 | 198.6 | 148.2 | 162.3 | 195.9 | 226 | 287 | 315.7 | 344.6 | 1581 | 5889 | 973.6 | 448.4 | 482.4 | 473.3 | 469.6 | 478.6 | 480.9 | 464 | 445.2 | 441.7 | 448.7 | 475.5 | 494.1 | 517.7 | 542.7 | 557.8 | 568.5 | 552.2 | 528.9 | 491.4 | 450.4 | 413.1 | 383.9 | 350.7 | 317.3 | 284.9 | 252.3 | 222.9 | 195.7 | 177.3 | 162.3
495 | 153.9 | 143.1 | 154.7 | 190.7 | 236.1 | 311 | 337.3 | 325.6 | 461 | 5223 | 2995 | 486.9 | 515.5 | 536.4 | 518 | 512.3 | 491.3 | 453.1 | 413.8 | 388.1 | 404.1 | 425.4 | 448.5 | 467.8 | 490 | 514.1 | 521.8 | 513.9 | 496.7 | 472.4 | 442.7 | 413.4 | 397.5 | 372.5 | 350.6 | 318.1 | 282.2 | 250.3 | 220 | 196.7 | 184.8
500 | 148.7 | 135.4 | 190.1 | 161.1 | 208.1 | 266.8 | 346.3 | 330.5 | 346.8 | 1760 | 5764 | 988.1 | 544.5 | 587.1 | 587.6 | 553.5 | 502.1 | 445.8 | 384.4 | 351.9 | 357.8 | 377.3 | 400 | 414.3 | 445.5 | 464.7 | 474.5 | 481.4 | 471.8 | 453.7 | 429.9 | 421.2 | 408.6 | 395.9 | 380.8 | 352.5 | 314.5 | 281 | 247.6 | 223.4 | 203.5