## Sheet1
Report date: | 17:21:10, 09/18/2024
Sample: | 1
File name:
Run date: | 17:15:39, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/310.0 | 4800
2 | 250.0/275.0 | 311.4
3 | 275.0/310.0 | 8407
4 | 275.0/345.0 | 8462
5 | 390.0/275.0 | 5.659
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 94.57 | 115.2 | 142.5 | 137.2 | 92.29 | 67.22 | 36.25 | 24.97 | 47.96 | 248.2 | 166 | 52.51 | 135.5 | 9999.9 | 9999.9 | 4883 | 42.17 | 19.89 | 13.58 | 9.43 | 6.572 | 5.975 | 5.544 | 5.482 | 4.83 | 4.537 | 4.526 | 4.34 | 4.293 | 3.557 | 3.98 | 3.403 | 4.245 | 4.06 | 4.3 | 4.079 | 4.8 | 5.364 | 5.101 | 4.14 | 3.86
275 | 153 | 175.9 | 202.3 | 228.3 | 266.1 | 191.4 | 75.02 | 40.76 | 34.49 | 99.79 | 311.4 | 175.9 | 113.9 | 818.2 | 9999.9 | 9999.9 | 4632 | 43 | 16.72 | 11.71 | 8.686 | 7.623 | 6.88 | 5.846 | 5.432 | 4.741 | 5.127 | 4.469 | 4.173 | 4.14 | 4.152 | 3.878 | 3.869 | 3.756 | 4.055 | 4.039 | 4.215 | 4.924 | 5.659 | 4.89 | 4.236
280 | 255.6 | 243.5 | 358.4 | 392.7 | 452.3 | 368.7 | 166.3 | 75.18 | 55.09 | 72.95 | 199.7 | 400.9 | 253.7 | 278.1 | 910.6 | 9999.9 | 9999.9 | 4456 | 45.65 | 17.47 | 11.68 | 9.075 | 6.92 | 6.588 | 6.12 | 5.274 | 5.252 | 4.966 | 4.418 | 4.001 | 4.193 | 3.686 | 4.376 | 3.878 | 3.897 | 3.618 | 3.479 | 4.267 | 4.834 | 5.157 | 5.042
285 | 389.5 | 356 | 530.9 | 656.2 | 896.6 | 829.7 | 545.1 | 243.6 | 137.5 | 124.4 | 188.1 | 452.6 | 709.1 | 679.9 | 845.6 | 1469 | 9999.9 | 9999.9 | 4155 | 43.84 | 16.79 | 11.91 | 9.933 | 7.866 | 6.641 | 6.396 | 5.286 | 5.093 | 4.424 | 4.38 | 4.469 | 4.401 | 4.205 | 4.379 | 4.241 | 3.893 | 3.703 | 3.37 | 4.025 | 4.658 | 5.068
290 | 588.9 | 560.2 | 808 | 1164 | 1667 | 1879 | 1390 | 681.4 | 341.2 | 260 | 353.7 | 613 | 1278 | 1846 | 2217 | 2472 | 2717 | 9999.9 | 9999.9 | 3839 | 34.11 | 15.6 | 12.11 | 9.939 | 7.37 | 6.276 | 6.396 | 5.786 | 4.911 | 4.676 | 4.776 | 4.535 | 4.354 | 4.562 | 4.208 | 3.843 | 3.363 | 3.782 | 3.669 | 3.782 | 4.383
295 | 810.6 | 852.5 | 1082 | 1635 | 2504 | 3157 | 2475 | 1308 | 653.1 | 495.9 | 633.4 | 1077 | 1820 | 3175 | 4155 | 4547 | 4021 | 3029 | 9999.9 | 9999.9 | 3578 | 31.67 | 16.73 | 12.32 | 9.486 | 7.519 | 7.449 | 6.273 | 6.333 | 5.823 | 5.01 | 4.82 | 4.725 | 4.209 | 4.467 | 4.334 | 4.153 | 3.919 | 3.943 | 4.039 | 4.07
300 | 904.1 | 963.1 | 1318 | 2148 | 3322 | 4191 | 3426 | 1892 | 1053 | 848.3 | 1036 | 1587 | 2573 | 4074 | 5966 | 6574 | 5741 | 3554 | 1795 | 9999.9 | 9999.9 | 3359 | 30.82 | 15.75 | 13.2 | 9.409 | 8.37 | 7.175 | 6.593 | 6.395 | 5.551 | 5.29 | 5.486 | 5.217 | 4.644 | 4.096 | 4.165 | 4.452 | 3.958 | 4.386 | 4.277
305 | 1040 | 1061 | 1580 | 2294 | 3673 | 4686 | 4069 | 2417 | 1494 | 1315 | 1573 | 2195 | 3229 | 4837 | 6783 | 8002 | 6932 | 4392 | 1563 | 1102 | 9999.9 | 9999.9 | 3221 | 30.87 | 17.22 | 13.17 | 9.994 | 8.673 | 7.533 | 6.062 | 6.011 | 5.937 | 5.157 | 5.474 | 5.093 | 4.47 | 4.229 | 4.332 | 3.846 | 3.838 | 3.986
310 | 1031 | 1195 | 1628 | 2432 | 3597 | 4800 | 4258 | 2765 | 1981 | 1934 | 2264 | 2927 | 3956 | 5480 | 7291 | 8407 | 7824 | 4967 | 1934 | 667.3 | 926.3 | 9999.9 | 9999.9 | 3303 | 32.64 | 18.09 | 14.1 | 10.85 | 9.165 | 7.535 | 7.382 | 6.131 | 5.915 | 5.929 | 5.449 | 4.657 | 4.5 | 4.306 | 3.92 | 3.827 | 4.047
315 | 960.5 | 1172 | 1641 | 2522 | 3749 | 4656 | 4188 | 2976 | 2410 | 2534 | 3040 | 3750 | 4639 | 5950 | 7483 | 8286 | 7862 | 5481 | 2364 | 899.1 | 432.2 | 896 | 9999.9 | 9999.9 | 3103 | 30.34 | 18.92 | 13.92 | 10.83 | 8.224 | 7.516 | 6.86 | 6.229 | 6.233 | 5.725 | 4.853 | 4.882 | 4.961 | 4.055 | 3.87 | 3.819
320 | 1038 | 1175 | 1650 | 2390 | 3576 | 4499 | 4100 | 3135 | 2840 | 3144 | 3785 | 4542 | 5340 | 6409 | 7555 | 8200 | 7607 | 5804 | 2996 | 1255 | 599.6 | 364.5 | 869 | 9999.9 | 9999.9 | 3210 | 30.73 | 17.99 | 14.33 | 10.4 | 8.934 | 7.823 | 6.712 | 6.574 | 6.409 | 5.374 | 5.2 | 4.627 | 4.465 | 4.287 | 3.769
325 | 888.7 | 1304 | 1619 | 2397 | 3491 | 4258 | 4004 | 3196 | 3112 | 3628 | 4420 | 5208 | 5964 | 6848 | 7692 | 8094 | 7636 | 5820 | 3574 | 1726 | 831.8 | 464.6 | 299.9 | 836 | 9999.9 | 9999.9 | 3278 | 31.27 | 18.4 | 14.02 | 11.23 | 9.115 | 8.139 | 7.116 | 6.721 | 6.435 | 5.025 | 4.762 | 4.408 | 4.461 | 3.819
330 | 889.9 | 1271 | 1670 | 2465 | 3519 | 4264 | 3900 | 3192 | 3327 | 3939 | 4844 | 5768 | 6488 | 7236 | 7866 | 8115 | 7659 | 6093 | 3865 | 2255 | 1149 | 601.5 | 337.5 | 219.6 | 791.7 | 9999.9 | 9999.9 | 3398 | 30.08 | 19.36 | 14.74 | 11.89 | 9.447 | 7.692 | 7.305 | 6.433 | 5.385 | 5.114 | 5.012 | 4.56 | 3.879
335 | 795.3 | 1222 | 1805 | 2421 | 3441 | 4168 | 3711 | 3212 | 3364 | 4136 | 5127 | 6095 | 6863 | 7607 | 8107 | 8301 | 7846 | 6444 | 4295 | 2445 | 1567 | 796.3 | 426.2 | 225.5 | 154 | 780.7 | 9999.9 | 9999.9 | 3583 | 31.2 | 20.56 | 16.58 | 12.6 | 9.821 | 8.088 | 6.939 | 6.029 | 5.917 | 4.909 | 4.918 | 4.249
340 | 876.2 | 1226 | 1736 | 2478 | 3477 | 4043 | 3662 | 3070 | 3334 | 4160 | 5174 | 6260 | 7018 | 7760 | 8267 | 8399 | 8070 | 6759 | 4692 | 2667 | 1661 | 1111 | 528 | 271.3 | 138.6 | 122.4 | 784 | 9999.9 | 9999.9 | 3815 | 33.73 | 21.45 | 16.23 | 12.63 | 9.271 | 8.534 | 6.721 | 5.71 | 5.258 | 4.876 | 4.395
345 | 772.6 | 1116 | 1737 | 2414 | 3567 | 4044 | 3486 | 2961 | 3231 | 4032 | 5102 | 6177 | 7088 | 7885 | 8354 | 8462 | 8144 | 6984 | 5005 | 2917 | 1699 | 1193 | 750.3 | 326.6 | 167.7 | 106.8 | 118.4 | 789.6 | 9999.9 | 9999.9 | 4113 | 34.6 | 20.62 | 16.85 | 12.62 | 10.04 | 7.86 | 6.282 | 5.899 | 5.067 | 5.168
350 | 718.6 | 989.9 | 1605 | 2414 | 3403 | 3956 | 3360 | 2820 | 3029 | 3826 | 4832 | 5925 | 6901 | 7750 | 8300 | 8403 | 8112 | 7025 | 5194 | 3068 | 1807 | 1124 | 879.2 | 495.7 | 221 | 137.9 | 104.5 | 124.2 | 779.1 | 9999.9 | 9999.9 | 4437 | 35.86 | 23.54 | 18.08 | 12.21 | 9.282 | 7.138 | 6.289 | 5.658 | 5.051
355 | 632.2 | 992.2 | 1502 | 2413 | 3355 | 3800 | 3178 | 2648 | 2848 | 3540 | 4516 | 5597 | 6554 | 7470 | 8056 | 8193 | 7941 | 6962 | 5237 | 3163 | 1890 | 1179 | 781.1 | 667.3 | 352.4 | 196.3 | 145.2 | 119.8 | 135.6 | 812.8 | 9999.9 | 9999.9 | 4502 | 36.75 | 22.48 | 16.03 | 11.93 | 8.553 | 7.229 | 6.513 | 5.408
360 | 657.2 | 936.8 | 1344 | 2294 | 3213 | 3526 | 3009 | 2489 | 2631 | 3286 | 4179 | 5180 | 6134 | 7092 | 7646 | 7867 | 7670 | 6755 | 5161 | 3156 | 1958 | 1241 | 802.4 | 600.4 | 565.6 | 314.9 | 211.1 | 169.4 | 133 | 145.6 | 792.6 | 9999.9 | 9999.9 | 5016 | 36.3 | 22.56 | 15.53 | 11.13 | 8.344 | 7.022 | 5.815
365 | 506 | 831.7 | 1340 | 2134 | 3029 | 3286 | 2790 | 2216 | 2413 | 2941 | 3748 | 4696 | 5647 | 6538 | 7149 | 7399 | 7247 | 6421 | 4968 | 3124 | 1965 | 1282 | 862.4 | 612.7 | 558.5 | 527 | 306.6 | 228.7 | 175.3 | 135.2 | 140.4 | 813.6 | 9999.9 | 9999.9 | 4870 | 35.6 | 22.2 | 15.61 | 10.81 | 7.719 | 6.581
370 | 504 | 817.2 | 1126 | 1772 | 2703 | 2948 | 2567 | 2050 | 2180 | 2641 | 3343 | 4193 | 5094 | 5940 | 6574 | 6804 | 6681 | 5989 | 4706 | 3014 | 1949 | 1310 | 920 | 672.9 | 545.1 | 580.1 | 499.2 | 306.3 | 230.6 | 174.5 | 127.5 | 130.6 | 815.4 | 9999.9 | 9999.9 | 4733 | 33.77 | 21.13 | 15.33 | 9.685 | 7.839
375 | 523.1 | 716.5 | 1071 | 1729 | 2471 | 2823 | 2307 | 1866 | 1961 | 2324 | 2968 | 3750 | 4502 | 5329 | 5932 | 6157 | 6065 | 5499 | 4384 | 2898 | 1918 | 1338 | 972.8 | 747.5 | 616.2 | 562.7 | 619.7 | 476.6 | 309.7 | 224.3 | 162.4 | 114.8 | 126.5 | 837.3 | 9999.9 | 9999.9 | 4512 | 33.17 | 18.99 | 13.13 | 9.253
380 | 536.7 | 614.5 | 995.7 | 1462 | 2221 | 2473 | 2101 | 1687 | 1730 | 2111 | 2613 | 3279 | 3946 | 4666 | 5257 | 5508 | 5447 | 4961 | 4018 | 2710 | 1879 | 1352 | 1038 | 833.8 | 713.3 | 628.1 | 601.6 | 636.8 | 443.8 | 293.6 | 215.6 | 149.8 | 108.6 | 128.8 | 840 | 9999.9 | 9999.9 | 4216 | 30.64 | 18.29 | 12.79
385 | 453.3 | 635 | 916.2 | 1355 | 1981 | 2232 | 1887 | 1547 | 1586 | 1843 | 2278 | 2843 | 3455 | 4081 | 4558 | 4871 | 4853 | 4458 | 3653 | 2579 | 1837 | 1386 | 1101 | 916.7 | 806.1 | 722.2 | 657.8 | 637.7 | 623 | 407.3 | 278.1 | 201.2 | 147.6 | 107.5 | 123.5 | 839.6 | 9999.9 | 9999.9 | 3982 | 28.15 | 17.48
390 | 580 | 564.3 | 926.5 | 1200 | 1702 | 1901 | 1692 | 1428 | 1424 | 1641 | 1978 | 2466 | 2991 | 3520 | 3963 | 4226 | 4258 | 3971 | 3345 | 2411 | 1791 | 1414 | 1165 | 1013 | 913.5 | 839.6 | 758.6 | 683.2 | 664.6 | 583.4 | 376.6 | 267.2 | 196.5 | 139.4 | 99.41 | 117.1 | 799.8 | 9999.9 | 9999.9 | 3875 | 27.1
395 | 1246 | 507.8 | 821.3 | 1084 | 1509 | 1711 | 1518 | 1295 | 1329 | 1464 | 1718 | 2114 | 2525 | 3013 | 3426 | 3710 | 3777 | 3538 | 3043 | 2258 | 1764 | 1436 | 1230 | 1101 | 1018 | 947.9 | 867.4 | 773.9 | 681.9 | 659.8 | 533.3 | 344.4 | 252.5 | 183.8 | 126.3 | 87.82 | 107.6 | 827.6 | 9999.9 | 9999.9 | 3568
400 | 1809 | 724.3 | 660.9 | 912.3 | 1247 | 1505 | 1369 | 1186 | 1203 | 1291 | 1535 | 1841 | 2195 | 2574 | 2949 | 3176 | 3289 | 3167 | 2761 | 2165 | 1726 | 1472 | 1290 | 1194 | 1120 | 1061 | 980.4 | 880.2 | 763.6 | 669.4 | 642.4 | 477 | 316.4 | 229.8 | 160.6 | 106.4 | 74.01 | 102 | 787.8 | 9999.9 | 9999.9
405 | 1140 | 1819 | 668.5 | 838.2 | 1144 | 1324 | 1275 | 1122 | 1117 | 1194 | 1370 | 1594 | 1869 | 2204 | 2523 | 2761 | 2861 | 2812 | 2504 | 2015 | 1697 | 1481 | 1353 | 1271 | 1213 | 1158 | 1074 | 980.1 | 858.6 | 720.2 | 635.9 | 601.4 | 416.9 | 278.7 | 199 | 131 | 89.96 | 63.68 | 93.52 | 758.7 | 9999.9
410 | 512.7 | 1970 | 947 | 795.3 | 1022 | 1223 | 1121 | 1039 | 1055 | 1080 | 1223 | 1397 | 1611 | 1886 | 2170 | 2395 | 2522 | 2500 | 2300 | 1910 | 1647 | 1487 | 1388 | 1330 | 1291 | 1238 | 1167 | 1058 | 928.6 | 781.8 | 663.2 | 599.6 | 538.4 | 351.4 | 230.9 | 159.8 | 108.9 | 76.44 | 56.37 | 86.34 | 753.4
415 | 299.5 | 1287 | 1878 | 736.2 | 945.4 | 1096 | 1028 | 983.5 | 967.5 | 999.8 | 1087 | 1239 | 1405 | 1625 | 1898 | 2087 | 2213 | 2217 | 2077 | 1786 | 1581 | 1472 | 1410 | 1364 | 1338 | 1296 | 1220 | 1116 | 990 | 848.7 | 707.4 | 596.3 | 553.3 | 456.9 | 280.8 | 190.1 | 131.4 | 91.4 | 65.81 | 51.9 | 84.03
420 | 246.1 | 567.9 | 2388 | 1014 | 855.3 | 981.5 | 966.5 | 903.3 | 922.5 | 944.9 | 1021 | 1109 | 1245 | 1419 | 1636 | 1812 | 1960 | 1970 | 1888 | 1686 | 1542 | 1449 | 1407 | 1372 | 1358 | 1324 | 1263 | 1160 | 1031 | 890.7 | 753.9 | 621.6 | 526.2 | 495.5 | 357.1 | 220.1 | 152.4 | 111.6 | 79.59 | 58.76 | 46.98
425 | 235.2 | 353.8 | 1672 | 1945 | 785.4 | 859.5 | 861.1 | 844 | 898.8 | 904.3 | 956.8 | 1005 | 1098 | 1227 | 1413 | 1596 | 1731 | 1785 | 1721 | 1574 | 1468 | 1419 | 1393 | 1382 | 1364 | 1341 | 1277 | 1181 | 1055 | 914.5 | 777.7 | 642 | 538 | 457.2 | 418.9 | 277.5 | 178.2 | 130.8 | 94.57 | 68.18 | 53.76
430 | 250 | 346.8 | 601.4 | 2828 | 1086 | 782 | 851.7 | 830.1 | 859.9 | 837.1 | 917.3 | 925.7 | 996.3 | 1084 | 1260 | 1399 | 1534 | 1607 | 1581 | 1470 | 1408 | 1369 | 1357 | 1357 | 1350 | 1338 | 1291 | 1190 | 1074 | 926.8 | 798.4 | 665.2 | 553 | 448.7 | 394.8 | 342.7 | 217.5 | 145.6 | 108.9 | 83.32 | 64.32
435 | 281.3 | 280.3 | 396.8 | 1925 | 2133 | 736.2 | 772.1 | 781.5 | 823.6 | 843.7 | 860.9 | 872.3 | 910.1 | 987.4 | 1122 | 1241 | 1382 | 1451 | 1451 | 1383 | 1332 | 1324 | 1326 | 1332 | 1337 | 1331 | 1273 | 1190 | 1077 | 939.8 | 801.4 | 676.4 | 567.1 | 457.8 | 367.2 | 336.4 | 276.1 | 171.9 | 125.6 | 95.59 | 73.67
440 | 277.7 | 290.9 | 365.6 | 806.5 | 3113 | 1048 | 722.2 | 742 | 800 | 816.9 | 787.5 | 827.6 | 836.6 | 890.4 | 979.5 | 1119 | 1242 | 1316 | 1324 | 1283 | 1261 | 1270 | 1270 | 1290 | 1303 | 1294 | 1255 | 1172 | 1066 | 929.6 | 800.8 | 682.9 | 570.4 | 464.8 | 373.2 | 301.3 | 290.9 | 221.2 | 141.7 | 106.5 | 84.74
445 | 219.5 | 292.4 | 385.2 | 413.7 | 2366 | 2315 | 678.7 | 697.2 | 729.7 | 775.6 | 770.9 | 768.1 | 775 | 809 | 875.5 | 997.3 | 1117 | 1184 | 1204 | 1175 | 1183 | 1199 | 1202 | 1225 | 1254 | 1245 | 1207 | 1126 | 1028 | 909.8 | 788.6 | 670 | 565.1 | 465.7 | 373.1 | 295.1 | 256.8 | 250.5 | 173.3 | 117.8 | 95.68
450 | 212.4 | 243.1 | 355.3 | 397.7 | 904.8 | 3738 | 1048 | 655.5 | 706.5 | 697.8 | 715.7 | 730.5 | 726.1 | 727.2 | 792.8 | 889.6 | 990.1 | 1064 | 1094 | 1078 | 1093 | 1103 | 1131 | 1150 | 1167 | 1184 | 1145 | 1074 | 989.4 | 873 | 754.3 | 643.8 | 548.9 | 456.6 | 372.5 | 296.3 | 242.2 | 224.4 | 210.9 | 142.7 | 103.4
455 | 214 | 234.8 | 271.3 | 326.5 | 470.5 | 3226 | 2699 | 618.1 | 635.1 | 681.7 | 685.1 | 679.3 | 660.2 | 664.9 | 709.4 | 781.1 | 878.8 | 936.9 | 978.2 | 987.1 | 993.5 | 1013 | 1038 | 1063 | 1097 | 1098 | 1073 | 1016 | 934.1 | 829.2 | 714.6 | 619.1 | 524.8 | 439.1 | 364 | 292.2 | 236.1 | 201.7 | 200.5 | 173.7 | 120
460 | 221 | 190.7 | 282.6 | 308.8 | 369.6 | 1167 | 4732 | 1081 | 600.7 | 617.4 | 632.5 | 629.6 | 603.8 | 606 | 629.8 | 702.6 | 777.6 | 841.8 | 871.1 | 883.1 | 911.1 | 928.2 | 954.7 | 974.7 | 999.9 | 1015 | 993 | 944.7 | 871 | 771.8 | 675.1 | 581.1 | 500.7 | 423.4 | 353.2 | 287.9 | 237.1 | 196 | 176.6 | 182.2 | 147.8
465 | 215.3 | 216 | 289.1 | 300.5 | 324.1 | 448.4 | 4070 | 3012 | 569.4 | 590 | 587.1 | 572.2 | 554.3 | 541.1 | 571.5 | 621.7 | 692.8 | 747.4 | 781.6 | 778.9 | 813.4 | 836.9 | 866.2 | 889.7 | 913.3 | 924.7 | 906.7 | 870.3 | 797.8 | 715.2 | 626.4 | 544.9 | 466.8 | 403.8 | 337.6 | 282.2 | 233.9 | 198.4 | 168.6 | 159.8 | 161.6
470 | 192.3 | 203.9 | 222 | 272.4 | 309.7 | 384.1 | 1268 | 5519 | 1135 | 549.4 | 532.2 | 546 | 504.5 | 506.3 | 507.3 | 556.1 | 612.9 | 653.9 | 684.6 | 695.3 | 713.6 | 754.5 | 775.8 | 795 | 818.3 | 834 | 817.1 | 782.1 | 731.2 | 654.2 | 575.6 | 502.4 | 436.9 | 375.6 | 315.4 | 272.2 | 226.2 | 192.6 | 168.8 | 145.9 | 147.2
475 | 205 | 195.2 | 209.8 | 234.7 | 289 | 351 | 428.8 | 4748 | 3211 | 517.9 | 494.7 | 496.4 | 467.2 | 458.3 | 454 | 495.7 | 547.2 | 579.2 | 600.7 | 611.6 | 636.8 | 657.5 | 684.6 | 704.1 | 731.9 | 749.8 | 738 | 705 | 659.2 | 591.7 | 522.7 | 462.1 | 403 | 350.4 | 305 | 258.5 | 222.3 | 190.7 | 166.3 | 143.2 | 131.6
480 | 160.6 | 173.3 | 175.7 | 218.1 | 287.6 | 326.1 | 336.2 | 1461 | 5769 | 1067 | 464.2 | 472.3 | 453.5 | 432.6 | 436.6 | 462.2 | 490 | 526.7 | 529 | 530.3 | 566 | 590.3 | 609.7 | 627.8 | 654.2 | 670 | 666.1 | 639.7 | 600.3 | 547.5 | 486 | 431.4 | 379.8 | 335.7 | 294 | 258.6 | 223.9 | 193.3 | 169.7 | 149.1 | 133.5
485 | 180.5 | 166.1 | 173.7 | 190.6 | 254.3 | 318.7 | 317.1 | 453.9 | 4983 | 3217 | 462.7 | 460.6 | 452 | 441.2 | 440.2 | 444.8 | 479.2 | 485.9 | 478.3 | 477.5 | 506.9 | 528.5 | 553.5 | 570.2 | 591.7 | 604 | 614.1 | 587.7 | 560.7 | 512.1 | 460.1 | 413.7 | 368.1 | 337.6 | 298.4 | 263.6 | 231.4 | 200.1 | 177.9 | 159.6 | 141.1
490 | 159 | 130.5 | 167.7 | 212.4 | 224.3 | 315.6 | 314.6 | 358 | 1593 | 5867 | 975.8 | 458.7 | 466.3 | 474.4 | 457 | 467.8 | 468.6 | 458.1 | 439.5 | 439.8 | 454.4 | 475.8 | 491.8 | 514.9 | 539.4 | 555.7 | 558.2 | 545.7 | 523.8 | 484 | 442.3 | 406.8 | 375.9 | 347.4 | 317.5 | 283.3 | 249.7 | 220.4 | 194.2 | 171.9 | 157.4
495 | 174.7 | 164.8 | 157.8 | 182.4 | 238.8 | 286.5 | 334.8 | 327.2 | 449.2 | 5204 | 2967 | 482.1 | 492.1 | 512 | 513.5 | 494 | 476.1 | 450 | 412 | 398.6 | 408.9 | 426.2 | 436.5 | 459.7 | 484.8 | 500.9 | 508.2 | 507.1 | 491.6 | 463.8 | 427.3 | 407.6 | 388.1 | 364.7 | 340.3 | 308.7 | 277.9 | 248.8 | 216.6 | 192.7 | 177.6
500 | 136.7 | 151.6 | 141.8 | 177.2 | 213.4 | 294 | 332.9 | 323.9 | 354.4 | 1771 | 5666 | 991.5 | 537.5 | 572 | 576 | 534.9 | 490.7 | 438.5 | 382.6 | 352.3 | 356.1 | 373.5 | 392.8 | 414 | 434.2 | 456.7 | 472.3 | 471.2 | 463.2 | 450.2 | 427.5 | 406.6 | 400.4 | 389.3 | 366.1 | 341.8 | 306.8 | 272.7 | 241.8 | 217.3 | 198.4