## Sheet1
Report date: | 17:46:57, 09/18/2024
Sample: | 1
File name:
Run date: | 17:41:34, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 215.0/430.0 | 2232
2 | 225.0/315.0 | 1376
3 | 225.0/350.0 | 1153
4 | 250.0/275.0 | 185.3
5 | 250.0/440.0 | 1152
6 | 255.0/280.0 | 234.4
7 | 275.0/315.0 | 3270
8 | 325.0/435.0 | 2325
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 105.5 | 65.53 | 68.42 | 56.1 | 59.45 | 37.88 | 26.93 | 16.08 | 27.54 | 163.1 | 99.28 | 30.02 | 72.16 | 7206 | 9999.9 | 2794 | 24.18 | 10.87 | 7.082 | 6.235 | 3.746 | 3.746 | 3.376 | 3.043 | 3.141 | 2.839 | 2.89 | 2.769 | 3.126 | 2.961 | 2.893 | 2.812 | 2.793 | 2.806 | 2.922 | 3.374 | 3.111 | 3.754 | 3.417 | 3.178 | 2.734
275 | 123.4 | 85.93 | 95.95 | 104.1 | 95.53 | 74.38 | 30.08 | 21.3 | 18.88 | 59.76 | 185.3 | 92.31 | 42.27 | 528.1 | 7646 | 9999.9 | 2365 | 20.55 | 8.364 | 7.098 | 5.324 | 3.995 | 3.923 | 3.683 | 3.331 | 3.142 | 2.825 | 3.235 | 2.943 | 3.134 | 3.337 | 3.054 | 2.727 | 2.944 | 3.086 | 2.936 | 2.796 | 3.253 | 3.578 | 3.425 | 2.875
280 | 114.3 | 93.84 | 116.1 | 107.6 | 125.4 | 93.63 | 45.02 | 30.32 | 17.4 | 28.37 | 97.04 | 234.4 | 102.5 | 107.8 | 580.7 | 7729 | 9999.9 | 2107 | 19.37 | 8.387 | 5.833 | 5.515 | 4.379 | 4.405 | 3.342 | 3.58 | 2.975 | 3.484 | 3.209 | 3.329 | 3.265 | 3.007 | 3.068 | 3.015 | 2.914 | 2.897 | 2.732 | 2.87 | 2.938 | 3.69 | 3.276
285 | 132.1 | 140.3 | 144.3 | 177.2 | 243 | 221.7 | 123.8 | 63.16 | 47.25 | 38.89 | 57.89 | 209.8 | 322.9 | 219.8 | 278.6 | 756 | 7948 | 9999.9 | 1864 | 20.65 | 7.493 | 5.45 | 4.794 | 4.5 | 3.401 | 3.533 | 3.625 | 3.109 | 3.51 | 3.342 | 3.244 | 3.084 | 3.462 | 3.381 | 3.214 | 2.952 | 2.903 | 2.494 | 3.272 | 3.011 | 3.532
290 | 150.4 | 186 | 177.1 | 328 | 399.6 | 448.8 | 336.2 | 202.4 | 111.2 | 89.08 | 114 | 197.6 | 495.2 | 668.3 | 685.9 | 779.1 | 1147 | 8470 | 9999.9 | 1645 | 17.21 | 6.81 | 5.712 | 4.848 | 4.442 | 3.855 | 3.365 | 3.361 | 3.32 | 3.577 | 3.021 | 3.564 | 3.472 | 3.373 | 3.107 | 3.073 | 3.006 | 2.845 | 2.52 | 2.692 | 3.048
295 | 252.4 | 197 | 294.2 | 423.8 | 654.5 | 767.6 | 615.3 | 370.8 | 231.3 | 179.6 | 212.1 | 359.9 | 617.4 | 1161 | 1424 | 1472 | 1330 | 1370 | 8443 | 9999.9 | 1427 | 13.12 | 7.644 | 6.152 | 5.21 | 4.076 | 4.238 | 3.373 | 3.54 | 3.33 | 3.494 | 3.854 | 3.389 | 3.411 | 3.434 | 3.244 | 2.918 | 2.844 | 2.45 | 2.675 | 2.432
300 | 283.6 | 276.4 | 387.1 | 575.1 | 868 | 1069 | 927.1 | 605.5 | 397.9 | 330.1 | 372.1 | 569.3 | 917.8 | 1460 | 2130 | 2274 | 1995 | 1369 | 1047 | 8122 | 9999.9 | 1239 | 12.24 | 7.493 | 5.8 | 4.609 | 4.196 | 4.391 | 3.812 | 3.937 | 3.7 | 3.599 | 3.51 | 3.462 | 3.472 | 3.038 | 2.922 | 2.526 | 2.442 | 2.525 | 2.551
305 | 321.9 | 365.2 | 482.8 | 626.7 | 997 | 1233 | 1158 | 780.7 | 540.3 | 495 | 600.4 | 842.2 | 1253 | 1796 | 2473 | 3002 | 2586 | 1758 | 787.2 | 763.4 | 7966 | 9999.9 | 1091 | 10.99 | 7.134 | 6.128 | 5.246 | 4.591 | 3.906 | 3.641 | 3.79 | 3.671 | 3.751 | 3.709 | 3.546 | 3.336 | 2.962 | 2.752 | 2.736 | 2.745 | 2.668
310 | 367.3 | 409.8 | 530.7 | 737.8 | 1057 | 1364 | 1248 | 916 | 735.6 | 698.6 | 873.1 | 1177 | 1630 | 2163 | 2759 | 3222 | 3114 | 2117 | 993.5 | 397 | 634.7 | 7296 | 9999.9 | 1025 | 11.72 | 7.097 | 5.601 | 4.795 | 4.663 | 4.41 | 3.903 | 4.026 | 4.048 | 3.807 | 3.771 | 2.996 | 3.212 | 3.234 | 2.576 | 2.53 | 2.311
315 | 372.8 | 366.1 | 477.4 | 743.2 | 1047 | 1376 | 1262 | 983.4 | 834 | 857.4 | 1137 | 1513 | 1961 | 2463 | 2954 | 3270 | 3197 | 2424 | 1188 | 492.4 | 226.9 | 554.6 | 7117 | 9999.9 | 910 | 9.842 | 7.431 | 6.199 | 5.511 | 4.416 | 4.237 | 4.101 | 4.087 | 4.379 | 3.692 | 3.509 | 3.466 | 2.997 | 2.858 | 2.373 | 2.468
320 | 353.1 | 339.7 | 509.4 | 757 | 1106 | 1296 | 1291 | 1005 | 924.2 | 1020 | 1344 | 1773 | 2232 | 2655 | 3054 | 3248 | 3118 | 2565 | 1443 | 620.7 | 267 | 152.8 | 520.9 | 6742 | 9999.9 | 899.3 | 11.03 | 7.094 | 6.585 | 5.031 | 4.541 | 4.611 | 4.275 | 4.361 | 3.731 | 3.71 | 3.066 | 3.026 | 2.749 | 2.771 | 2.371
325 | 303 | 396.5 | 532.1 | 786.7 | 1053 | 1310 | 1235 | 1021 | 934.3 | 1097 | 1497 | 1964 | 2445 | 2761 | 3070 | 3234 | 3061 | 2435 | 1600 | 781 | 333.9 | 162 | 114.9 | 474.4 | 6686 | 9999.9 | 901.4 | 10.38 | 7.574 | 6.834 | 5.326 | 5.048 | 4.775 | 4.628 | 4.358 | 3.474 | 3.488 | 2.982 | 3.064 | 2.491 | 2.549
330 | 320.2 | 396.1 | 498.9 | 721.6 | 1052 | 1229 | 1191 | 963.5 | 957.5 | 1168 | 1562 | 2084 | 2562 | 2860 | 3055 | 3171 | 3012 | 2438 | 1577 | 956.7 | 440.9 | 203.8 | 108.6 | 81.26 | 463.6 | 6791 | 9999.9 | 964 | 11.63 | 8.057 | 7.1 | 5.672 | 5.014 | 4.605 | 4.212 | 3.482 | 3.393 | 3.172 | 3.172 | 2.982 | 2.637
335 | 309.8 | 305.5 | 491.7 | 657.5 | 1023 | 1170 | 1109 | 969.6 | 947 | 1180 | 1628 | 2139 | 2617 | 2899 | 3090 | 3119 | 2955 | 2432 | 1639 | 955.1 | 600.2 | 269.8 | 136 | 73.72 | 65.03 | 468.9 | 7191 | 9999.9 | 1095 | 12.51 | 8.954 | 6.979 | 6.232 | 5.263 | 4.591 | 4.259 | 4.188 | 3.311 | 3.214 | 3.159 | 2.646
340 | 303.5 | 354.5 | 459.5 | 671.1 | 960.9 | 1163 | 1071 | 908 | 909.9 | 1164 | 1585 | 2187 | 2660 | 2944 | 3052 | 3075 | 2953 | 2463 | 1699 | 981.8 | 606.8 | 415.3 | 181.2 | 90.74 | 56.59 | 65.39 | 499.3 | 7686 | 9999.9 | 1251 | 13.25 | 9.512 | 8.314 | 6.668 | 5.116 | 4.559 | 3.911 | 3.607 | 2.955 | 3.515 | 3.015
345 | 210.1 | 339.4 | 413.4 | 746.3 | 943.1 | 1089 | 1016 | 857.5 | 895.6 | 1143 | 1588 | 2121 | 2620 | 2944 | 3056 | 3051 | 2882 | 2454 | 1769 | 1039 | 590.6 | 436.8 | 287.6 | 118.1 | 68.55 | 53.46 | 68.55 | 535.3 | 8443 | 9999.9 | 1456 | 15.57 | 11.29 | 8.951 | 7.113 | 5.525 | 4.334 | 4.114 | 3.239 | 3.126 | 3.219
350 | 227.8 | 330.6 | 479.6 | 675.1 | 1003 | 1153 | 1004 | 811.7 | 837.2 | 1067 | 1522 | 2059 | 2569 | 2862 | 3003 | 2986 | 2855 | 2441 | 1785 | 1075 | 628.9 | 399.8 | 350.8 | 208.8 | 97.31 | 71.57 | 58.96 | 72.49 | 584 | 9106 | 9999.9 | 1776 | 17.24 | 11.97 | 9.053 | 6.416 | 4.817 | 4.306 | 3.717 | 3.605 | 3.168
355 | 259.7 | 308.6 | 419.5 | 677.3 | 948.5 | 1115 | 950.5 | 777.4 | 813.7 | 1043 | 1452 | 1986 | 2450 | 2795 | 2907 | 2917 | 2770 | 2405 | 1792 | 1118 | 668.7 | 420.1 | 304.3 | 306.1 | 172.1 | 97.99 | 77.41 | 61.68 | 78.16 | 640.5 | 9999.9 | 9999.9 | 2017 | 19.42 | 12.78 | 9.384 | 6.323 | 5.312 | 4.586 | 3.97 | 3.638
360 | 259.1 | 297.2 | 452.3 | 609.7 | 869.5 | 996.8 | 896.2 | 725 | 783.2 | 991.6 | 1358 | 1838 | 2323 | 2633 | 2797 | 2781 | 2672 | 2315 | 1754 | 1130 | 704.3 | 458.5 | 316.5 | 270.1 | 286.5 | 163.2 | 108.1 | 85.14 | 70.78 | 88.36 | 700.1 | 9999.9 | 9999.9 | 2412 | 21.09 | 13 | 9.436 | 6.822 | 5.359 | 4.263 | 3.322
365 | 257.2 | 313.1 | 388.6 | 587 | 863.4 | 988.6 | 871.7 | 704.3 | 709.6 | 910.6 | 1262 | 1697 | 2160 | 2483 | 2601 | 2630 | 2528 | 2229 | 1709 | 1128 | 727.4 | 495.6 | 360.1 | 272.8 | 285.8 | 283.8 | 162.8 | 122.6 | 100.3 | 83.45 | 102.9 | 724.7 | 9999.9 | 9999.9 | 2501 | 21.75 | 12.8 | 9.095 | 6.656 | 5.002 | 4.751
370 | 228.6 | 270.9 | 355.7 | 562 | 782.2 | 920.7 | 807.1 | 632 | 673.2 | 847.5 | 1145 | 1548 | 1941 | 2291 | 2432 | 2452 | 2377 | 2108 | 1651 | 1113 | 750.9 | 545.6 | 411.3 | 327.5 | 284.7 | 328.2 | 293.1 | 184.5 | 148.1 | 121.7 | 101.8 | 116.8 | 747.2 | 9999.9 | 9999.9 | 2515 | 20.8 | 12.71 | 9.386 | 6.376 | 5.126
375 | 272 | 243.6 | 361.9 | 577.2 | 765.1 | 887.1 | 744.7 | 621.3 | 623.6 | 779.4 | 1040 | 1396 | 1769 | 2044 | 2216 | 2265 | 2183 | 1968 | 1596 | 1117 | 796.7 | 605.7 | 483.8 | 408.3 | 364.4 | 346.1 | 401 | 321.1 | 226.9 | 190.4 | 158.4 | 126.3 | 134.6 | 769.8 | 9999.9 | 9999.9 | 2570 | 20.44 | 12.82 | 8.651 | 6.703
380 | 257.8 | 221.8 | 361.4 | 528.6 | 720.8 | 777.6 | 703.2 | 595.5 | 600.3 | 733.1 | 945.4 | 1246 | 1570 | 1844 | 2032 | 2096 | 2056 | 1880 | 1550 | 1138 | 863 | 685.7 | 583.4 | 518.7 | 475.2 | 448.3 | 441.6 | 483.8 | 380.3 | 293 | 241 | 196.9 | 152 | 147.6 | 774.1 | 9999.9 | 9999.9 | 2487 | 20.21 | 12.16 | 8.295
385 | 260.1 | 251.1 | 324.9 | 408.1 | 640.4 | 752.3 | 671.9 | 573.6 | 579.8 | 705.5 | 893.3 | 1133 | 1408 | 1657 | 1839 | 1889 | 1921 | 1806 | 1540 | 1201 | 970.4 | 816.8 | 720.1 | 660.6 | 622.3 | 597.2 | 573.3 | 579.7 | 589 | 450.2 | 360.4 | 297.3 | 227.1 | 159.5 | 142.6 | 775.5 | 9999.9 | 9999.9 | 2407 | 17.89 | 11.74
390 | 382.3 | 272.8 | 336.2 | 465 | 662.3 | 752.2 | 673.5 | 585.9 | 601.6 | 681.1 | 841.2 | 1051 | 1274 | 1518 | 1691 | 1796 | 1845 | 1776 | 1585 | 1303 | 1111 | 973.1 | 906.9 | 854.9 | 819.7 | 798.7 | 763.3 | 731.9 | 733 | 691.1 | 530.8 | 423.5 | 327.1 | 227.8 | 144.3 | 129.2 | 746.7 | 9999.9 | 9999.9 | 2392 | 17.76
395 | 977.4 | 256.2 | 350.3 | 507.7 | 633.7 | 740.4 | 657.6 | 593.1 | 633.4 | 701.4 | 827.4 | 995.5 | 1177 | 1383 | 1576 | 1724 | 1808 | 1770 | 1655 | 1431 | 1262 | 1157 | 1103 | 1069 | 1040 | 1026 | 989.8 | 940.8 | 887.4 | 870.2 | 764 | 571.6 | 444.4 | 310.8 | 192.9 | 114.5 | 108.6 | 758.3 | 9999.9 | 9999.9 | 2219
400 | 1357 | 443.1 | 318.1 | 532.1 | 595 | 696.2 | 670.3 | 619.2 | 655.6 | 755.1 | 852.1 | 982.1 | 1124 | 1302 | 1501 | 1657 | 1772 | 1796 | 1742 | 1581 | 1448 | 1363 | 1325 | 1286 | 1287 | 1267 | 1231 | 1177 | 1096 | 1010 | 968.7 | 782.6 | 570.5 | 401.6 | 250.5 | 148.7 | 85.36 | 94.66 | 727.8 | 9999.9 | 9999.9
405 | 946.7 | 1161 | 323.7 | 495 | 599.1 | 688.6 | 674.2 | 666.1 | 712.6 | 791.6 | 865.9 | 949.7 | 1075 | 1231 | 1432 | 1630 | 1761 | 1850 | 1852 | 1727 | 1619 | 1586 | 1537 | 1525 | 1532 | 1520 | 1479 | 1409 | 1324 | 1203 | 1091 | 994.7 | 731.8 | 497.7 | 320.5 | 189.3 | 105.2 | 63.07 | 81.45 | 706.5 | 9999.9
410 | 401.7 | 1675 | 645.6 | 488.6 | 607.1 | 666 | 705.3 | 715.8 | 767 | 844.5 | 917.8 | 986.2 | 1052 | 1205 | 1374 | 1589 | 1768 | 1898 | 1910 | 1858 | 1801 | 1748 | 1736 | 1737 | 1758 | 1734 | 1701 | 1630 | 1532 | 1398 | 1227 | 1091 | 914.3 | 609.7 | 385.3 | 227.5 | 129.6 | 75.09 | 47.67 | 73.6 | 703.6
415 | 233.9 | 1233 | 1457 | 475.5 | 617.5 | 705.5 | 697.6 | 755.6 | 802.3 | 934.8 | 969.6 | 993.7 | 1038 | 1151 | 1343 | 1556 | 1785 | 1939 | 1981 | 1959 | 1934 | 1921 | 1903 | 1926 | 1932 | 1925 | 1900 | 1829 | 1715 | 1571 | 1377 | 1176 | 998.5 | 753.4 | 452.2 | 267.2 | 155 | 91.6 | 55.29 | 37.84 | 68.76
420 | 263 | 461.6 | 2103 | 769.9 | 605.7 | 645.1 | 708 | 791.7 | 855.3 | 953 | 1009 | 1020 | 1034 | 1120 | 1303 | 1533 | 1767 | 1935 | 2033 | 2025 | 2039 | 2030 | 2049 | 2060 | 2090 | 2088 | 2052 | 1962 | 1858 | 1698 | 1508 | 1270 | 1030 | 840.3 | 554.6 | 310 | 184.3 | 108.6 | 66.12 | 41.9 | 33.34
425 | 206.9 | 293.3 | 1430 | 1621 | 584.7 | 651.5 | 703.4 | 794.7 | 899.9 | 1013 | 1048 | 1055 | 1032 | 1072 | 1279 | 1472 | 1727 | 1934 | 2045 | 2064 | 2079 | 2105 | 2133 | 2163 | 2181 | 2196 | 2159 | 2102 | 1974 | 1812 | 1604 | 1359 | 1087 | 840.8 | 639 | 386.7 | 212.8 | 128.8 | 79.51 | 52.15 | 35.8
430 | 220.4 | 268.1 | 517.5 | 2232 | 862.6 | 677.7 | 749.3 | 786.3 | 943.2 | 1067 | 1093 | 1073 | 1028 | 1065 | 1238 | 1448 | 1690 | 1891 | 2007 | 2089 | 2120 | 2151 | 2184 | 2221 | 2252 | 2276 | 2246 | 2189 | 2066 | 1890 | 1680 | 1432 | 1147 | 858.8 | 634.4 | 455.2 | 256 | 146.5 | 93.86 | 61.52 | 43.41
435 | 228 | 272 | 392.8 | 1589 | 1735 | 643.3 | 729.4 | 805.9 | 951.1 | 1080 | 1130 | 1095 | 1037 | 1042 | 1171 | 1387 | 1642 | 1863 | 2002 | 2068 | 2117 | 2167 | 2215 | 2250 | 2282 | 2325 | 2285 | 2226 | 2114 | 1941 | 1728 | 1471 | 1186 | 897.7 | 629.3 | 463.8 | 321.7 | 175.1 | 109.5 | 71.84 | 50.64
440 | 209.9 | 260.9 | 367 | 700.5 | 2498 | 919.8 | 720.8 | 833.8 | 958.8 | 1107 | 1152 | 1101 | 1014 | 1014 | 1139 | 1350 | 1580 | 1797 | 1966 | 2025 | 2097 | 2151 | 2195 | 2255 | 2283 | 2303 | 2297 | 2226 | 2120 | 1950 | 1742 | 1482 | 1212 | 920.3 | 648.1 | 437.8 | 343.7 | 225.7 | 126.2 | 84.98 | 60.99
445 | 226.4 | 219.5 | 317.5 | 501.3 | 1827 | 1750 | 697.4 | 797.4 | 942.8 | 1082 | 1149 | 1102 | 1007 | 965.4 | 1081 | 1293 | 1507 | 1715 | 1874 | 1943 | 2030 | 2085 | 2134 | 2183 | 2223 | 2259 | 2240 | 2183 | 2074 | 1926 | 1723 | 1482 | 1199 | 916.3 | 652 | 441.6 | 316 | 260.2 | 166.6 | 97.21 | 70.19
450 | 241.4 | 240.4 | 318.7 | 419.4 | 799.1 | 2698 | 942.6 | 765.7 | 895.1 | 1062 | 1133 | 1062 | 962.5 | 913.3 | 1009 | 1190 | 1399 | 1601 | 1744 | 1840 | 1915 | 1975 | 2018 | 2093 | 2136 | 2160 | 2144 | 2095 | 2003 | 1848 | 1662 | 1432 | 1171 | 899.2 | 648.8 | 445.9 | 305.6 | 236.6 | 202 | 121.1 | 79.2
455 | 259.5 | 239.6 | 295.2 | 378.7 | 466.4 | 2158 | 1914 | 750.6 | 857.4 | 1006 | 1071 | 1018 | 928.2 | 863.3 | 926.7 | 1121 | 1302 | 1470 | 1621 | 1695 | 1786 | 1865 | 1902 | 1961 | 2003 | 2021 | 2028 | 1985 | 1887 | 1759 | 1578 | 1359 | 1125 | 873.3 | 633.2 | 443.1 | 304.4 | 219.2 | 193.9 | 156.6 | 95.59
460 | 213.5 | 254.6 | 275.4 | 344.9 | 404.5 | 866.3 | 2927 | 974.1 | 807.1 | 961.8 | 1019 | 972 | 888.2 | 809.6 | 848.9 | 1020 | 1182 | 1348 | 1497 | 1571 | 1651 | 1708 | 1758 | 1801 | 1853 | 1885 | 1883 | 1852 | 1765 | 1651 | 1477 | 1282 | 1061 | 840.8 | 613.8 | 432.6 | 300.8 | 214.6 | 167.8 | 161.8 | 122.9
465 | 176.6 | 209.2 | 246.8 | 360 | 377.6 | 472.2 | 2307 | 1939 | 756.2 | 875.6 | 973.2 | 908.6 | 814.7 | 752.9 | 779.6 | 911.2 | 1054 | 1224 | 1331 | 1415 | 1499 | 1560 | 1616 | 1652 | 1702 | 1724 | 1725 | 1706 | 1632 | 1522 | 1379 | 1200 | 996 | 785.1 | 587.8 | 418.4 | 295.9 | 217.3 | 162.4 | 139.8 | 139.2
470 | 202.1 | 218.4 | 234.4 | 316.9 | 353.7 | 405.9 | 915.1 | 3023 | 1023 | 839 | 893.7 | 865.6 | 758.5 | 686.3 | 702.7 | 812 | 962.1 | 1094 | 1194 | 1275 | 1340 | 1403 | 1439 | 1486 | 1529 | 1564 | 1566 | 1538 | 1485 | 1383 | 1262 | 1098 | 925.5 | 738.5 | 555.8 | 399.6 | 290.2 | 215.1 | 161.8 | 132.8 | 124.3
475 | 206.2 | 193 | 200.7 | 321.9 | 332.1 | 377.4 | 495.4 | 2513 | 2014 | 763.6 | 802.8 | 793 | 688 | 625 | 631 | 739.2 | 847.3 | 979.1 | 1059 | 1141 | 1199 | 1249 | 1288 | 1324 | 1370 | 1390 | 1413 | 1385 | 1341 | 1253 | 1144 | 1003 | 852.1 | 685.4 | 523.2 | 378.6 | 278.2 | 210.2 | 161.1 | 128.7 | 113.7
480 | 188.5 | 171.7 | 198 | 247.3 | 277 | 343.6 | 399.6 | 982.6 | 3166 | 982.3 | 754.5 | 741 | 652.3 | 581.7 | 590 | 667.4 | 763.4 | 869.8 | 942.3 | 1008 | 1066 | 1116 | 1149 | 1195 | 1237 | 1255 | 1268 | 1252 | 1212 | 1141 | 1050 | 919.7 | 789.1 | 641.8 | 497.6 | 372.1 | 273.4 | 210.5 | 162.8 | 133.1 | 113.1
485 | 150.6 | 176 | 154.5 | 226.6 | 265.7 | 336.6 | 361.6 | 479.9 | 2667 | 2010 | 717 | 680.9 | 619.1 | 562.7 | 562 | 619.7 | 705.9 | 790.3 | 851.8 | 899.5 | 962.3 | 1003 | 1041 | 1082 | 1109 | 1140 | 1147 | 1141 | 1102 | 1046 | 967.9 | 864 | 740.9 | 613.1 | 483 | 368.9 | 279.8 | 216.4 | 172.5 | 141.2 | 122.6
490 | 160.8 | 136.2 | 195.6 | 182.8 | 240.6 | 312.5 | 361 | 420.2 | 1048 | 3340 | 950.8 | 660.2 | 607.9 | 557.5 | 555.1 | 599.6 | 653 | 719.3 | 771.3 | 813.9 | 867.6 | 912.6 | 948.1 | 976.9 | 1002 | 1030 | 1044 | 1039 | 1013 | 965.2 | 893 | 807.4 | 707.7 | 594.2 | 471.1 | 370.5 | 287.9 | 229.3 | 183.7 | 150.2 | 133.4
495 | 155.7 | 166.6 | 177.4 | 206.9 | 257.6 | 275 | 347.6 | 391.4 | 521.6 | 2961 | 1946 | 648.8 | 594.9 | 554.9 | 550.3 | 576.8 | 621.5 | 652 | 693.4 | 728.8 | 766.5 | 809.6 | 846.3 | 878.4 | 901.9 | 925 | 935.8 | 940.9 | 921.2 | 882.9 | 826.6 | 758.1 | 667.3 | 572.8 | 473.7 | 378 | 301.9 | 237.4 | 198.1 | 164.7 | 144.1
500 | 144.3 | 154.4 | 172.9 | 183.8 | 246.2 | 266.2 | 346.2 | 363.4 | 439.7 | 1194 | 3388 | 878.9 | 590.4 | 563.1 | 554.2 | 557.8 | 576.5 | 599.1 | 616.9 | 644.9 | 673.3 | 710.5 | 750.2 | 766.3 | 801.1 | 821 | 835.8 | 841.7 | 833.9 | 803.2 | 759.9 | 704.1 | 639.3 | 555.1 | 467 | 384.4 | 313.3 | 254 | 210.9 | 178.1 | 157