## Sheet1
Report date: | 18:19:02, 09/18/2024
Sample: | 1
File name:
Run date: | 18:13:33, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/335.0 | 4385
2 | 230.0/315.0 | 4423
3 | 250.0/275.0 | 318.8
4 | 260.0/340.0 | 8377
5 | 390.0/275.0 | 5.625
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 134.2 | 120.6 | 164 | 156.4 | 123.8 | 72.25 | 36.51 | 31.28 | 48.17 | 256.3 | 175.9 | 65.71 | 163.5 | 9999.9 | 9999.9 | 5538 | 40.95 | 17.52 | 14.43 | 10.04 | 7.807 | 6.783 | 6.581 | 5.286 | 5.069 | 5.104 | 4.504 | 4.914 | 4.263 | 4.316 | 4.072 | 4.163 | 4.056 | 4.004 | 3.664 | 4.365 | 4.851 | 5.324 | 5.274 | 4.269 | 3.459
275 | 216.9 | 199 | 247.9 | 292 | 312.3 | 184.3 | 84.83 | 37.65 | 44.13 | 112.5 | 318.8 | 194.9 | 135.5 | 825.9 | 9999.9 | 9999.9 | 4887 | 39.99 | 17.8 | 12.46 | 8.967 | 8.138 | 7.037 | 6.021 | 5.886 | 4.765 | 4.716 | 4.392 | 4.425 | 4.041 | 4.301 | 3.958 | 4.391 | 3.876 | 3.889 | 3.8 | 4.078 | 4.587 | 5.625 | 4.897 | 3.861
280 | 302.3 | 259.6 | 327 | 472.1 | 485.5 | 364.8 | 167.7 | 87.5 | 62.66 | 77.66 | 197.7 | 428.9 | 274.7 | 276.6 | 925.2 | 9999.9 | 9999.9 | 4551 | 41.57 | 15.16 | 10.99 | 9.859 | 7.628 | 6.413 | 5.859 | 5.7 | 5.141 | 5.068 | 4.683 | 4.334 | 3.831 | 4.631 | 3.903 | 4.192 | 3.723 | 3.733 | 3.421 | 3.795 | 4.75 | 4.789 | 4.607
285 | 447 | 376.6 | 501.1 | 718.7 | 908.6 | 888 | 586.8 | 265.4 | 144.8 | 130.2 | 195.5 | 448.4 | 692.5 | 601.4 | 722.1 | 1361 | 9999.9 | 9999.9 | 4255 | 40.6 | 16.99 | 11.74 | 9.288 | 8.157 | 6.742 | 5.949 | 5.759 | 5.64 | 5.047 | 4.625 | 4.679 | 5.044 | 4.046 | 4.554 | 3.706 | 3.45 | 3.733 | 3.594 | 4.029 | 4.382 | 4.621
290 | 577.1 | 506.7 | 782.5 | 1108 | 1564 | 1718 | 1368 | 737.7 | 368.3 | 261.7 | 335.8 | 541.3 | 1094 | 1476 | 1682 | 1820 | 2158 | 9999.9 | 9999.9 | 4095 | 34.55 | 15.86 | 12.81 | 9.764 | 8.306 | 7.025 | 6.385 | 6.249 | 4.915 | 5.269 | 4.897 | 4.505 | 4.227 | 4.607 | 4.248 | 3.852 | 3.468 | 3.393 | 3.38 | 3.682 | 4.15
295 | 810.2 | 769.2 | 914.9 | 1517 | 2249 | 2783 | 2389 | 1406 | 753.9 | 557.3 | 631 | 912.9 | 1460 | 2408 | 3051 | 3199 | 2793 | 2279 | 9999.9 | 9999.9 | 3734 | 32.03 | 16.8 | 12.75 | 9.744 | 7.8 | 6.919 | 6.464 | 6.121 | 5.633 | 5.079 | 5.202 | 4.511 | 4.572 | 4.683 | 3.879 | 3.628 | 3.872 | 3.725 | 3.622 | 3.714
300 | 905.1 | 939.3 | 1252 | 1699 | 2683 | 3591 | 3291 | 2018 | 1269 | 1025 | 1104 | 1436 | 2057 | 2973 | 4296 | 4591 | 3967 | 2482 | 1512 | 9999.9 | 9999.9 | 3501 | 32.14 | 17.55 | 13.92 | 10.33 | 8.271 | 7.87 | 6.969 | 6.173 | 5.52 | 5.357 | 5.275 | 4.916 | 4.824 | 4.326 | 4.408 | 3.679 | 3.785 | 3.865 | 3.317
305 | 902.2 | 1088 | 1377 | 2075 | 2917 | 4137 | 3858 | 2605 | 1839 | 1596 | 1742 | 2084 | 2708 | 3580 | 4860 | 5758 | 4901 | 3101 | 1244 | 1117 | 9999.9 | 9999.9 | 3352 | 33.7 | 17.61 | 13.58 | 10.52 | 8.988 | 7.744 | 6.574 | 6.11 | 5.296 | 5.82 | 5.298 | 4.567 | 4.65 | 4.309 | 4.146 | 4.206 | 3.97 | 3.941
310 | 1049 | 1180 | 1346 | 2041 | 3050 | 4236 | 4209 | 3159 | 2482 | 2450 | 2686 | 3061 | 3542 | 4269 | 5338 | 6107 | 5782 | 3719 | 1705 | 773 | 1039 | 9999.9 | 9999.9 | 3437 | 35.32 | 17.39 | 13.64 | 10.81 | 8.668 | 7.866 | 6.409 | 6.143 | 5.687 | 5.393 | 4.893 | 4.677 | 4.038 | 4.298 | 4.024 | 3.413 | 3.789
315 | 1101 | 1244 | 1621 | 2254 | 3192 | 4379 | 4423 | 3551 | 3187 | 3415 | 3851 | 4263 | 4639 | 5115 | 5787 | 6283 | 6076 | 4497 | 2327 | 1207 | 730.5 | 1147 | 9999.9 | 9999.9 | 3330 | 32.24 | 18.83 | 13.88 | 10.47 | 8.913 | 7.494 | 7.383 | 6.477 | 5.916 | 5.482 | 5.066 | 4.92 | 4.297 | 4.23 | 4.577 | 3.702
320 | 1116 | 1396 | 1681 | 2294 | 3061 | 4276 | 4338 | 3832 | 3775 | 4286 | 4984 | 5554 | 5814 | 6007 | 6336 | 6520 | 6215 | 5059 | 3188 | 1784 | 1125 | 813.6 | 1144 | 9999.9 | 9999.9 | 3391 | 31.91 | 18.52 | 14.65 | 10.85 | 8.757 | 8.255 | 7.212 | 6.501 | 5.756 | 5.363 | 4.855 | 4.896 | 3.968 | 4.134 | 3.559
325 | 981.9 | 1433 | 1846 | 2473 | 3369 | 4342 | 4345 | 3983 | 4212 | 4993 | 5926 | 6582 | 6874 | 6846 | 6853 | 6843 | 6502 | 5302 | 3934 | 2460 | 1579 | 1085 | 715.2 | 998 | 9999.9 | 9999.9 | 3399 | 31.12 | 19.76 | 15.86 | 11.72 | 9.124 | 8.116 | 6.889 | 6.692 | 5.807 | 5.415 | 4.644 | 4.139 | 4.519 | 3.757
330 | 1042 | 1386 | 1932 | 2652 | 3608 | 4249 | 4268 | 4016 | 4441 | 5445 | 6551 | 7377 | 7592 | 7535 | 7289 | 7140 | 6827 | 5749 | 4306 | 3157 | 2046 | 1364 | 857.3 | 440.6 | 856.9 | 9999.9 | 9999.9 | 3600 | 31.33 | 20.2 | 15.36 | 11.41 | 9.769 | 7.936 | 7.662 | 6.573 | 5.312 | 4.946 | 4.594 | 4.18 | 4.298
335 | 891.6 | 1280 | 1817 | 2546 | 3564 | 4385 | 4191 | 3991 | 4482 | 5574 | 6842 | 7807 | 8147 | 8040 | 7691 | 7423 | 7089 | 6196 | 4771 | 3411 | 2573 | 1656 | 1017 | 487.5 | 231.6 | 798 | 9999.9 | 9999.9 | 3788 | 33.08 | 20.92 | 16.04 | 11.95 | 9.478 | 8.585 | 7.027 | 6.08 | 5.193 | 4.686 | 4.795 | 4.581
340 | 956 | 1235 | 1916 | 2594 | 3659 | 4338 | 4103 | 3879 | 4392 | 5532 | 6822 | 7936 | 8377 | 8317 | 7909 | 7623 | 7333 | 6500 | 5129 | 3623 | 2688 | 2018 | 1157 | 565.1 | 237.5 | 155.1 | 794.5 | 9999.9 | 9999.9 | 3972 | 34.56 | 21.36 | 15.56 | 12.54 | 9.666 | 8.139 | 6.885 | 5.819 | 5.106 | 5.154 | 4.658
345 | 881.8 | 1223 | 1786 | 2537 | 3689 | 4319 | 3904 | 3588 | 4182 | 5288 | 6581 | 7635 | 8194 | 8301 | 7996 | 7697 | 7453 | 6654 | 5383 | 3779 | 2695 | 2086 | 1385 | 653.1 | 296.6 | 155.6 | 144 | 802.8 | 9999.9 | 9999.9 | 4169 | 35.14 | 21.02 | 16.53 | 12.36 | 9.212 | 7.734 | 6.521 | 5.534 | 5.358 | 5.12
350 | 886.3 | 1189 | 1631 | 2531 | 3563 | 4067 | 3763 | 3400 | 3845 | 4881 | 6136 | 7209 | 7876 | 8008 | 7881 | 7611 | 7372 | 6668 | 5447 | 3854 | 2740 | 1961 | 1500 | 845.4 | 371.9 | 221.3 | 153.9 | 156.6 | 805.8 | 9999.9 | 9999.9 | 4507 | 34.88 | 22.83 | 16.57 | 11.32 | 8.716 | 7.048 | 6.501 | 5.797 | 4.982
355 | 819.9 | 1038 | 1642 | 2316 | 3479 | 3942 | 3519 | 3120 | 3505 | 4467 | 5601 | 6649 | 7312 | 7636 | 7589 | 7382 | 7200 | 6538 | 5410 | 3829 | 2750 | 1966 | 1391 | 1027 | 555.5 | 317.4 | 231.4 | 177.3 | 176.1 | 838 | 9999.9 | 9999.9 | 4432 | 36.41 | 21.75 | 16.71 | 11.05 | 8.513 | 6.892 | 6.039 | 5.631
360 | 757.6 | 1080 | 1564 | 2316 | 3268 | 3697 | 3305 | 2883 | 3163 | 4034 | 4999 | 6019 | 6677 | 7134 | 7152 | 7035 | 6908 | 6309 | 5243 | 3767 | 2712 | 1966 | 1388 | 990.9 | 808 | 486.5 | 339.4 | 261.2 | 195.4 | 184 | 810.8 | 9999.9 | 9999.9 | 4820 | 35.14 | 21.69 | 15.65 | 11.45 | 7.703 | 7.057 | 5.899
365 | 699.1 | 924 | 1412 | 2194 | 3134 | 3513 | 3071 | 2641 | 2847 | 3526 | 4471 | 5376 | 6040 | 6478 | 6653 | 6600 | 6489 | 5948 | 4985 | 3635 | 2648 | 1965 | 1431 | 1014 | 845.5 | 746.5 | 485.2 | 359.8 | 273.8 | 191.5 | 169.4 | 825.1 | 9999.9 | 9999.9 | 4698 | 32.96 | 20.93 | 14.59 | 10.03 | 8.065 | 6.48
370 | 564 | 896.6 | 1275 | 1922 | 2844 | 3256 | 2777 | 2393 | 2577 | 3132 | 3902 | 4690 | 5355 | 5831 | 6101 | 6118 | 6044 | 5541 | 4704 | 3427 | 2542 | 1929 | 1473 | 1097 | 873.7 | 847.5 | 726.3 | 475.6 | 356.4 | 253.2 | 168.6 | 151.2 | 826.3 | 9999.9 | 9999.9 | 4433 | 31.1 | 19.91 | 13.47 | 10.04 | 7.226
375 | 588.4 | 752.7 | 1163 | 1733 | 2551 | 2857 | 2511 | 2173 | 2325 | 2757 | 3436 | 4122 | 4744 | 5167 | 5452 | 5516 | 5501 | 5108 | 4357 | 3249 | 2445 | 1909 | 1494 | 1183 | 976.8 | 861.6 | 874.4 | 680.8 | 459.4 | 328.3 | 222.8 | 144.2 | 139.3 | 828.6 | 9999.9 | 9999.9 | 4247 | 31.45 | 17.95 | 13.05 | 9.374
380 | 519.1 | 749.2 | 1061 | 1587 | 2407 | 2663 | 2371 | 1970 | 2061 | 2457 | 2970 | 3537 | 4081 | 4533 | 4828 | 4955 | 4949 | 4601 | 3950 | 3026 | 2341 | 1865 | 1532 | 1257 | 1081 | 960.6 | 874.6 | 865.7 | 625.1 | 416.8 | 289.8 | 192.4 | 132 | 136.8 | 824.3 | 9999.9 | 9999.9 | 4127 | 28.52 | 16.77 | 12.63
385 | 455.2 | 670.8 | 877.5 | 1404 | 2182 | 2393 | 2109 | 1801 | 1883 | 2183 | 2609 | 3056 | 3545 | 3939 | 4232 | 4409 | 4390 | 4127 | 3617 | 2806 | 2221 | 1824 | 1533 | 1312 | 1177 | 1062 | 953.4 | 875 | 811.4 | 538.9 | 368.1 | 257.1 | 177.5 | 127.9 | 134.3 | 840.1 | 9999.9 | 9999.9 | 3732 | 26.95 | 16.22
390 | 614.9 | 640.9 | 921 | 1279 | 1883 | 2192 | 1922 | 1659 | 1672 | 1951 | 2268 | 2638 | 3062 | 3398 | 3662 | 3857 | 3908 | 3706 | 3290 | 2602 | 2101 | 1788 | 1554 | 1376 | 1267 | 1166 | 1054 | 927.3 | 858.7 | 732 | 477.3 | 332.2 | 242.8 | 173.6 | 119.8 | 127.1 | 797.3 | 9999.9 | 9999.9 | 3711 | 24.87
395 | 919.4 | 569.3 | 753.4 | 1190 | 1665 | 1903 | 1773 | 1499 | 1568 | 1718 | 1974 | 2308 | 2635 | 2959 | 3199 | 3371 | 3456 | 3308 | 2998 | 2433 | 2016 | 1740 | 1566 | 1426 | 1337 | 1248 | 1137 | 1017 | 865.8 | 811.1 | 640.3 | 419.6 | 308.2 | 222.8 | 151.4 | 102.5 | 116.1 | 823.2 | 9999.9 | 9999.9 | 3357
400 | 1215 | 705.3 | 648.8 | 1003 | 1474 | 1713 | 1623 | 1444 | 1420 | 1532 | 1777 | 2041 | 2273 | 2540 | 2798 | 2934 | 3058 | 2958 | 2699 | 2248 | 1929 | 1720 | 1555 | 1464 | 1396 | 1312 | 1224 | 1093 | 942.7 | 808.9 | 749.2 | 554.7 | 381.2 | 275.4 | 192.6 | 128.2 | 86.19 | 108.7 | 781.9 | 9999.9 | 9999.9
405 | 1034 | 1254 | 598.5 | 888.8 | 1321 | 1550 | 1481 | 1317 | 1331 | 1438 | 1585 | 1797 | 1971 | 2198 | 2408 | 2580 | 2679 | 2631 | 2448 | 2098 | 1824 | 1670 | 1556 | 1488 | 1429 | 1369 | 1280 | 1157 | 1010 | 856 | 741.6 | 684.4 | 485.8 | 337.1 | 236.4 | 158.6 | 107.2 | 75.9 | 98.66 | 753.1 | 9999.9
410 | 474.3 | 1571 | 835.9 | 806.4 | 1157 | 1449 | 1379 | 1257 | 1268 | 1330 | 1432 | 1566 | 1712 | 1924 | 2110 | 2251 | 2358 | 2353 | 2217 | 1943 | 1737 | 1614 | 1534 | 1491 | 1445 | 1409 | 1319 | 1203 | 1057 | 912.6 | 758.2 | 687.3 | 608.8 | 406.2 | 278.9 | 190 | 129.8 | 90.14 | 65.91 | 90.85 | 748.5
415 | 353.4 | 1158 | 1418 | 796.4 | 1049 | 1256 | 1250 | 1192 | 1199 | 1243 | 1323 | 1408 | 1540 | 1673 | 1844 | 1976 | 2110 | 2101 | 2021 | 1798 | 1655 | 1560 | 1514 | 1475 | 1452 | 1416 | 1346 | 1234 | 1092 | 948.1 | 795 | 671.3 | 619.7 | 512 | 328.7 | 222.8 | 155.2 | 106.9 | 75.75 | 56.27 | 85.11
420 | 395.1 | 551.3 | 1903 | 888.2 | 950.3 | 1148 | 1158 | 1093 | 1144 | 1177 | 1209 | 1283 | 1358 | 1471 | 1625 | 1784 | 1878 | 1886 | 1833 | 1670 | 1556 | 1501 | 1466 | 1453 | 1442 | 1416 | 1342 | 1243 | 1110 | 970 | 825.7 | 691.9 | 587.6 | 558.6 | 406.6 | 256.5 | 177.2 | 125.9 | 89.99 | 64.15 | 49.52
425 | 274.2 | 437.4 | 1413 | 1705 | 894.2 | 1039 | 1059 | 1044 | 1063 | 1110 | 1133 | 1174 | 1233 | 1321 | 1450 | 1573 | 1666 | 1692 | 1661 | 1547 | 1471 | 1443 | 1420 | 1417 | 1422 | 1383 | 1331 | 1239 | 1123 | 983.8 | 842.6 | 712 | 596.9 | 508.8 | 467.8 | 314.1 | 200.2 | 145.5 | 103.1 | 75.93 | 55.66
430 | 287.3 | 359 | 629.3 | 2391 | 1064 | 944.8 | 1011 | 1017 | 1020 | 1047 | 1079 | 1115 | 1123 | 1190 | 1286 | 1420 | 1502 | 1528 | 1525 | 1442 | 1384 | 1366 | 1367 | 1372 | 1380 | 1355 | 1311 | 1226 | 1123 | 984.9 | 853.6 | 726 | 612.7 | 497.2 | 435.3 | 375.8 | 237.8 | 161.9 | 119.4 | 88.08 | 62.56
435 | 278.4 | 372 | 451.8 | 1774 | 2017 | 883.2 | 941.2 | 948.4 | 995.4 | 1015 | 1035 | 1036 | 1058 | 1083 | 1156 | 1269 | 1354 | 1399 | 1382 | 1347 | 1306 | 1301 | 1310 | 1338 | 1346 | 1328 | 1292 | 1214 | 1114 | 981.9 | 857.7 | 732.1 | 616 | 506.7 | 409.6 | 367.6 | 300.3 | 185.3 | 134.6 | 97.86 | 74.58
440 | 263.6 | 310.3 | 396.9 | 794.4 | 3020 | 1095 | 874.6 | 889.3 | 953.3 | 962.5 | 981.1 | 981.2 | 969.1 | 995 | 1055 | 1153 | 1235 | 1263 | 1283 | 1242 | 1224 | 1233 | 1260 | 1274 | 1295 | 1278 | 1245 | 1181 | 1091 | 964 | 843.5 | 732.6 | 619 | 513.4 | 413.3 | 332.9 | 313.5 | 235.6 | 152.5 | 113.1 | 85.04
445 | 231.1 | 265.2 | 376.3 | 516.9 | 2491 | 2205 | 833.5 | 842.1 | 869.3 | 918.1 | 923.4 | 914.8 | 912.7 | 925.1 | 959.1 | 1058 | 1115 | 1153 | 1174 | 1142 | 1146 | 1167 | 1185 | 1202 | 1223 | 1230 | 1204 | 1140 | 1050 | 938.2 | 831.6 | 716 | 606 | 504.8 | 417.1 | 331 | 282.3 | 263.9 | 185.9 | 125.8 | 96.56
450 | 260.6 | 242.3 | 387.6 | 445.1 | 1020 | 3744 | 1100 | 796.3 | 823.2 | 872.9 | 883.9 | 870.6 | 841 | 852.6 | 882 | 943.7 | 1003 | 1043 | 1067 | 1053 | 1052 | 1080 | 1097 | 1129 | 1155 | 1157 | 1138 | 1077 | 998.4 | 899.7 | 794.7 | 696.3 | 596.4 | 497 | 410 | 329.5 | 265.9 | 242.7 | 223.7 | 151.3 | 109
455 | 233.1 | 277.6 | 354.7 | 398.9 | 519.8 | 3371 | 2714 | 769.1 | 772 | 809.4 | 793.2 | 792.8 | 784 | 771.3 | 806.8 | 854.9 | 904.4 | 939.9 | 953.5 | 949.4 | 960.9 | 996.9 | 1020 | 1049 | 1076 | 1083 | 1064 | 1017 | 942.7 | 855.3 | 749 | 663.5 | 567.1 | 485.2 | 403.4 | 329.2 | 265.3 | 220 | 217.3 | 187.2 | 127.4
460 | 200.8 | 210.9 | 307.3 | 372.4 | 464.8 | 1319 | 4865 | 1184 | 707.5 | 739.6 | 764.8 | 740.6 | 730.1 | 718 | 736.7 | 754.6 | 813.1 | 838.2 | 850.4 | 857.3 | 877.5 | 907 | 933.2 | 957.1 | 977.9 | 990.6 | 981.3 | 942.3 | 876.3 | 795.1 | 713.7 | 622 | 538 | 462.9 | 389.7 | 318.4 | 265.9 | 220.4 | 191.1 | 194.7 | 160.5
465 | 205 | 247.8 | 263.2 | 333.8 | 440.9 | 549.3 | 4388 | 3029 | 652.2 | 709 | 706.3 | 695.1 | 670.9 | 659.9 | 650.7 | 695.4 | 731.6 | 758.9 | 762.5 | 762.4 | 784.7 | 815.9 | 842.1 | 865.8 | 892.8 | 898.8 | 892.7 | 857.1 | 813.2 | 737.2 | 657.5 | 576.2 | 501 | 438.2 | 372.1 | 312 | 262.2 | 219.3 | 192.3 | 175.9 | 177.6
470 | 184.5 | 208.6 | 274.9 | 311.8 | 407.1 | 417.2 | 1488 | 5558 | 1191 | 659.2 | 651.9 | 630.9 | 636 | 613 | 595.5 | 629.2 | 654.8 | 681.9 | 677.8 | 679.3 | 696.6 | 729.7 | 757.9 | 783.2 | 808.7 | 816.6 | 818.5 | 786 | 739.9 | 670 | 601.6 | 534.3 | 466.5 | 412.4 | 354.5 | 299.8 | 254.9 | 220.5 | 188 | 168 | 165.6
475 | 237.4 | 184 | 230.3 | 282.3 | 343.7 | 406.5 | 544.7 | 4942 | 3344 | 615.6 | 598.6 | 593.5 | 580.9 | 567 | 553.8 | 569.8 | 594.9 | 605.6 | 591.6 | 603.5 | 618.2 | 646.4 | 667.4 | 697.2 | 722.4 | 735.7 | 730 | 710.3 | 675.6 | 616.8 | 554.6 | 490.3 | 440 | 384.4 | 339.2 | 293.2 | 249.5 | 217.8 | 192.9 | 166.7 | 155.3
480 | 160.1 | 187.8 | 228.6 | 229.8 | 325.6 | 358 | 441.6 | 1630 | 6099 | 1149 | 532.3 | 556.1 | 560.5 | 535.6 | 533.9 | 545.6 | 545.3 | 552.8 | 535.8 | 537.6 | 551.3 | 577.4 | 600.8 | 627.4 | 645.8 | 661.9 | 668.6 | 645.9 | 609.7 | 561.4 | 506.5 | 462.1 | 417.7 | 375.5 | 330.7 | 292.3 | 251.7 | 223.5 | 194.2 | 176.1 | 158
485 | 165.5 | 184.3 | 189.8 | 259.6 | 288 | 369.1 | 387.7 | 518.4 | 5389 | 3446 | 543.1 | 541.5 | 564.1 | 547.5 | 541.7 | 538 | 538.9 | 521.6 | 491.3 | 489.8 | 496.4 | 523.3 | 545.8 | 564.8 | 593.9 | 601.6 | 606.4 | 604.6 | 568.4 | 530.5 | 486.6 | 443.2 | 411 | 375.5 | 337.9 | 304.2 | 265.5 | 236.4 | 208.7 | 187.3 | 169.5
490 | 177 | 173.6 | 183.1 | 252.8 | 286.3 | 344.3 | 395.7 | 415.5 | 1792 | 6331 | 1089 | 562.3 | 581.7 | 584.2 | 582 | 562.8 | 543 | 494.5 | 456 | 442.6 | 455.2 | 478.6 | 495.1 | 511.7 | 538.7 | 553.4 | 563.8 | 557 | 540.6 | 511 | 474.1 | 441.1 | 415 | 389.4 | 358.2 | 327.8 | 289.7 | 256.8 | 230.5 | 206.1 | 190.2
495 | 178 | 216.6 | 179.8 | 244.7 | 275 | 345.1 | 404.5 | 389.8 | 532.2 | 5828 | 3320 | 579.7 | 631.8 | 645.6 | 646.4 | 608.5 | 561.2 | 494.6 | 430.2 | 402.1 | 405.3 | 429 | 449.8 | 469.9 | 486.2 | 515.1 | 524.5 | 525.5 | 512.6 | 492.5 | 472.4 | 448.8 | 432.8 | 415.9 | 390.3 | 361.2 | 326.7 | 289 | 261.2 | 235.1 | 219.2
500 | 154.4 | 174.7 | 169 | 236.5 | 266.5 | 342.9 | 380.8 | 379.2 | 413.9 | 2003 | 6380 | 1115 | 664.4 | 742.5 | 719.9 | 663.7 | 589.6 | 502.6 | 408 | 372.8 | 371.2 | 391.9 | 399.2 | 419.2 | 451.6 | 471.6 | 480.6 | 491.8 | 493.4 | 482.2 | 470 | 459.4 | 451 | 444.2 | 429 | 405.3 | 369.1 | 324.1 | 291 | 261.3 | 241.6