## Sheet1
Report date: | 18:25:10, 09/18/2024
Sample: | 1
File name:
Run date: | 18:19:43, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 230.0/320.0 | 3932
2 | 265.0/340.0 | 7237
3 | 390.0/275.0 | 5.107
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 132 | 127.3 | 124.6 | 129.8 | 112.8 | 60.88 | 35.84 | 27.9 | 50.06 | 260.8 | 175.7 | 56.77 | 152.2 | 9999.9 | 9999.9 | 5138 | 40.91 | 18.59 | 11.82 | 10.9 | 7.829 | 6.574 | 6.017 | 5.541 | 4.833 | 5.115 | 4.638 | 4.431 | 3.797 | 3.719 | 3.754 | 3.763 | 4.217 | 3.772 | 3.621 | 4.216 | 4.521 | 5.308 | 4.96 | 3.998 | 3.265
275 | 212.9 | 165.5 | 229.7 | 265 | 263.7 | 159.6 | 72.26 | 40.72 | 39.84 | 106.7 | 330.7 | 178.2 | 113.5 | 820.6 | 9999.9 | 9999.9 | 4732 | 37.7 | 17.16 | 12.78 | 9.165 | 7.107 | 6.985 | 5.211 | 5.264 | 5.218 | 4.669 | 4.53 | 4.219 | 4.196 | 3.909 | 4.081 | 4.344 | 3.489 | 4.242 | 3.762 | 3.881 | 4.263 | 5.107 | 4.688 | 4.064
280 | 252.5 | 232.2 | 353.9 | 422.8 | 433.2 | 330.8 | 156.6 | 77.65 | 53.58 | 76.41 | 202.8 | 416.3 | 247.4 | 267.8 | 912.4 | 9999.9 | 9999.9 | 4503 | 38.87 | 18.87 | 10.93 | 8.852 | 7.205 | 6.217 | 5.829 | 5.12 | 5.089 | 4.908 | 4.464 | 4.173 | 4.216 | 3.964 | 4.049 | 3.829 | 4.181 | 3.956 | 3.485 | 3.709 | 4.424 | 4.669 | 4.707
285 | 370 | 379.4 | 440.9 | 596.1 | 764.4 | 756.8 | 503.5 | 249.5 | 131.6 | 121.7 | 176.6 | 417.7 | 639.3 | 554.6 | 672.5 | 1312 | 9999.9 | 9999.9 | 4213 | 40.22 | 16.21 | 11.15 | 8.922 | 7.393 | 6.4 | 5.769 | 5.401 | 5.565 | 5.003 | 4.644 | 4.142 | 4.18 | 3.895 | 3.863 | 3.902 | 3.791 | 3.237 | 3.595 | 3.989 | 4.311 | 4.809
290 | 538.7 | 453.9 | 607.5 | 915.2 | 1333 | 1532 | 1223 | 672.3 | 342.2 | 249.4 | 307.1 | 502.7 | 1025 | 1390 | 1559 | 1703 | 2093 | 9999.9 | 9999.9 | 3869 | 34.02 | 16.11 | 11.93 | 8.989 | 7.145 | 7.299 | 6.421 | 5.577 | 5.705 | 4.738 | 4.73 | 4.574 | 4.43 | 4.339 | 4.237 | 3.853 | 3.729 | 3.384 | 3.68 | 3.842 | 4.458
295 | 629.9 | 631 | 836.6 | 1206 | 1935 | 2369 | 2108 | 1270 | 698.2 | 485.5 | 579.4 | 852.7 | 1324 | 2263 | 2855 | 3023 | 2664 | 2204 | 9999.9 | 9999.9 | 3694 | 32.24 | 16.56 | 12.61 | 9.737 | 8.334 | 7.072 | 6.747 | 5.287 | 5.446 | 5.214 | 4.767 | 4.744 | 4.711 | 4.539 | 3.742 | 3.667 | 3.851 | 3.516 | 3.726 | 3.667
300 | 790.4 | 822.5 | 990.4 | 1570 | 2389 | 3234 | 2989 | 1864 | 1170 | 937.4 | 1034 | 1329 | 1880 | 2809 | 4070 | 4371 | 3787 | 2352 | 1493 | 9999.9 | 9999.9 | 3475 | 30.86 | 17.35 | 12.81 | 9.226 | 8.99 | 7.583 | 6.034 | 5.81 | 5.58 | 4.706 | 4.962 | 4.753 | 4.951 | 4.457 | 3.992 | 3.793 | 3.763 | 3.633 | 3.267
305 | 841.8 | 894.1 | 1234 | 1650 | 2615 | 3677 | 3460 | 2430 | 1674 | 1483 | 1626 | 1947 | 2478 | 3380 | 4571 | 5437 | 4661 | 2943 | 1193 | 1086 | 9999.9 | 9999.9 | 3288 | 31.74 | 17.29 | 12.4 | 10.19 | 8.824 | 7.688 | 6.702 | 5.707 | 5.747 | 5.18 | 5.089 | 4.979 | 4.246 | 4.345 | 4.031 | 3.77 | 3.963 | 3.64
310 | 963.4 | 958.5 | 1335 | 1728 | 2680 | 3752 | 3745 | 2908 | 2294 | 2220 | 2477 | 2775 | 3262 | 3988 | 4969 | 5748 | 5494 | 3550 | 1617 | 710.6 | 998.7 | 9999.9 | 9999.9 | 3390 | 33.12 | 17.3 | 13.2 | 11.32 | 8.407 | 7.586 | 6.622 | 6.324 | 6.058 | 5.418 | 5.092 | 4.531 | 4.066 | 4.436 | 3.976 | 4.001 | 3.627
315 | 923.6 | 981 | 1405 | 1869 | 2777 | 3873 | 3925 | 3211 | 2904 | 3101 | 3487 | 3851 | 4199 | 4672 | 5383 | 5896 | 5744 | 4256 | 2140 | 1084 | 635.6 | 1076 | 9999.9 | 9999.9 | 3217 | 31.03 | 18.68 | 14.34 | 10.54 | 8.128 | 7.22 | 6.938 | 6.603 | 5.836 | 5.288 | 4.895 | 4.752 | 4.265 | 3.916 | 3.822 | 3.811
320 | 861 | 1086 | 1395 | 1956 | 2936 | 3684 | 3932 | 3426 | 3378 | 3865 | 4500 | 4868 | 5152 | 5389 | 5792 | 6099 | 5767 | 4697 | 2909 | 1573 | 958.5 | 680.9 | 1067 | 9999.9 | 9999.9 | 3298 | 31.21 | 18.65 | 13.25 | 10.85 | 8.897 | 7.769 | 7.434 | 6.279 | 5.276 | 5.534 | 4.675 | 4.314 | 3.961 | 3.92 | 3.936
325 | 887.1 | 1229 | 1512 | 2073 | 2806 | 3780 | 3872 | 3602 | 3743 | 4460 | 5206 | 5779 | 6020 | 6031 | 6160 | 6285 | 5986 | 4867 | 3551 | 2169 | 1339 | 906.2 | 596.3 | 959.8 | 9999.9 | 9999.9 | 3381 | 30.86 | 18.96 | 14.83 | 11.25 | 8.982 | 8.433 | 6.977 | 6.315 | 5.479 | 5.128 | 4.94 | 4.091 | 4.234 | 4.074
330 | 819.7 | 1189 | 1571 | 2200 | 3015 | 3774 | 3777 | 3631 | 3965 | 4784 | 5754 | 6442 | 6662 | 6636 | 6507 | 6455 | 6203 | 5196 | 3835 | 2765 | 1747 | 1154 | 722.9 | 386.7 | 839.3 | 9999.9 | 9999.9 | 3536 | 30.57 | 19.87 | 15.33 | 11.24 | 9.327 | 8.073 | 6.512 | 6.038 | 5.619 | 5.162 | 4.585 | 4.16 | 3.909
335 | 737 | 1115 | 1500 | 2231 | 2986 | 3686 | 3689 | 3594 | 4023 | 4941 | 6031 | 6791 | 7092 | 7044 | 6821 | 6766 | 6422 | 5541 | 4186 | 2958 | 2241 | 1424 | 867.9 | 431.5 | 221.3 | 797.6 | 9999.9 | 9999.9 | 3679 | 32.55 | 19.87 | 15.1 | 11.47 | 9.08 | 8.123 | 6.718 | 5.921 | 5.071 | 5.086 | 4.607 | 4.245
340 | 821.2 | 1098 | 1476 | 2103 | 3057 | 3720 | 3594 | 3370 | 3908 | 4837 | 5963 | 6855 | 7193 | 7237 | 7022 | 6831 | 6535 | 5793 | 4532 | 3149 | 2340 | 1762 | 1017 | 504.4 | 223 | 155.3 | 791.2 | 9999.9 | 9999.9 | 3905 | 34.61 | 19.73 | 16.15 | 12.45 | 9.1 | 7.424 | 6.191 | 5.638 | 5.35 | 4.326 | 4.48
345 | 676 | 988.4 | 1405 | 2230 | 2915 | 3519 | 3346 | 3215 | 3712 | 4638 | 5703 | 6604 | 7105 | 7229 | 7071 | 6833 | 6588 | 5918 | 4707 | 3293 | 2337 | 1829 | 1246 | 587.6 | 277.4 | 153.8 | 144.2 | 799.4 | 9999.9 | 9999.9 | 4149 | 35.25 | 21.65 | 15.95 | 12.22 | 8.801 | 7.335 | 5.923 | 5.654 | 5.039 | 4.381
350 | 639.2 | 984.7 | 1339 | 2036 | 2680 | 3471 | 3214 | 2995 | 3340 | 4303 | 5303 | 6226 | 6768 | 6970 | 6940 | 6723 | 6536 | 5913 | 4785 | 3382 | 2386 | 1726 | 1356 | 781.3 | 362.3 | 213.6 | 150.4 | 150.4 | 798.5 | 9999.9 | 9999.9 | 4430 | 34.46 | 20.97 | 15.96 | 11.56 | 8.595 | 7.102 | 5.906 | 5.766 | 4.759
355 | 614 | 886.9 | 1233 | 1873 | 2744 | 3304 | 2966 | 2709 | 3133 | 3970 | 4881 | 5787 | 6334 | 6647 | 6675 | 6557 | 6349 | 5798 | 4746 | 3383 | 2426 | 1749 | 1260 | 971.8 | 531.9 | 304.4 | 218 | 166.1 | 166.5 | 826.3 | 9999.9 | 9999.9 | 4369 | 35.34 | 21.42 | 15.69 | 11.23 | 8.143 | 6.673 | 5.86 | 5.323
360 | 562.8 | 871.9 | 1265 | 1805 | 2536 | 3101 | 2771 | 2497 | 2820 | 3549 | 4384 | 5215 | 5804 | 6202 | 6305 | 6225 | 6096 | 5557 | 4608 | 3334 | 2410 | 1774 | 1258 | 926.3 | 783.4 | 463.7 | 317.5 | 239.3 | 186.1 | 175 | 806.8 | 9999.9 | 9999.9 | 4667 | 33.47 | 22.33 | 15.58 | 11.1 | 7.756 | 6.212 | 6.205
365 | 561.3 | 725 | 1114 | 1735 | 2442 | 2958 | 2609 | 2252 | 2507 | 3123 | 3919 | 4657 | 5277 | 5626 | 5842 | 5853 | 5761 | 5261 | 4446 | 3226 | 2372 | 1779 | 1305 | 944.6 | 800.1 | 710 | 448 | 332.4 | 248.1 | 178 | 163.5 | 814.1 | 9999.9 | 9999.9 | 4488 | 33.15 | 20.22 | 14.34 | 10.23 | 7.49 | 6.292
370 | 519.4 | 696.7 | 995.4 | 1472 | 2190 | 2560 | 2401 | 2100 | 2269 | 2767 | 3454 | 4115 | 4710 | 5081 | 5333 | 5416 | 5307 | 4900 | 4166 | 3091 | 2293 | 1754 | 1347 | 1010 | 815.1 | 802.4 | 674 | 440.6 | 329.4 | 239.4 | 157.3 | 147.8 | 816 | 9999.9 | 9999.9 | 4333 | 31.46 | 18.84 | 13.33 | 9.847 | 7.499
375 | 477.8 | 674 | 831.9 | 1391 | 2139 | 2428 | 2199 | 1920 | 2020 | 2465 | 2981 | 3606 | 4122 | 4542 | 4816 | 4878 | 4860 | 4515 | 3838 | 2904 | 2211 | 1737 | 1381 | 1094 | 905.3 | 797.7 | 822 | 633.6 | 418.3 | 308.4 | 209.7 | 137.7 | 140 | 826.7 | 9999.9 | 9999.9 | 4098 | 29.26 | 17.59 | 12.84 | 9.213
380 | 454 | 611.6 | 801.7 | 1269 | 1854 | 2199 | 2036 | 1740 | 1876 | 2164 | 2634 | 3144 | 3570 | 3936 | 4281 | 4364 | 4359 | 4089 | 3558 | 2713 | 2121 | 1716 | 1407 | 1167 | 995.8 | 885.4 | 803.5 | 813.8 | 576.4 | 386.4 | 272.7 | 184.6 | 126.1 | 135.6 | 827 | 9999.9 | 9999.9 | 3873 | 27.07 | 17.37 | 12.42
385 | 425.4 | 572.8 | 758.3 | 1209 | 1683 | 1976 | 1839 | 1574 | 1676 | 1932 | 2296 | 2727 | 3107 | 3469 | 3754 | 3888 | 3893 | 3683 | 3247 | 2536 | 2032 | 1665 | 1425 | 1229 | 1089 | 976.4 | 872.6 | 818.3 | 764.8 | 509.7 | 348.3 | 248.4 | 174.1 | 123 | 135 | 827.2 | 9999.9 | 9999.9 | 3661 | 25.18 | 16.17
390 | 532.4 | 480.8 | 694.7 | 1069 | 1473 | 1731 | 1623 | 1467 | 1537 | 1741 | 2003 | 2369 | 2683 | 3018 | 3265 | 3413 | 3450 | 3292 | 2943 | 2383 | 1943 | 1646 | 1433 | 1284 | 1167 | 1072 | 965.2 | 858.6 | 801.7 | 695.6 | 450.5 | 319.3 | 230 | 165.5 | 114 | 124.8 | 794.7 | 9999.9 | 9999.9 | 3537 | 25.6
395 | 848.1 | 454.9 | 650.1 | 920.9 | 1337 | 1589 | 1521 | 1373 | 1361 | 1546 | 1766 | 2051 | 2315 | 2617 | 2859 | 2993 | 3087 | 2972 | 2688 | 2203 | 1860 | 1620 | 1448 | 1328 | 1229 | 1154 | 1055 | 937.5 | 811.8 | 771.3 | 607.8 | 401.6 | 299.7 | 214.5 | 149.9 | 98.32 | 112.2 | 811.6 | 9999.9 | 9999.9 | 3271
400 | 1054 | 613.9 | 632.3 | 863.8 | 1271 | 1445 | 1324 | 1231 | 1279 | 1397 | 1562 | 1788 | 1994 | 2240 | 2457 | 2633 | 2705 | 2667 | 2460 | 2055 | 1775 | 1589 | 1446 | 1364 | 1294 | 1217 | 1126 | 1019 | 881.4 | 763.9 | 720.4 | 534 | 364.8 | 266.6 | 185.8 | 122.9 | 83.08 | 106.3 | 776.8 | 9999.9 | 9999.9
405 | 847.3 | 1114 | 563.6 | 783.9 | 1071 | 1294 | 1235 | 1157 | 1191 | 1305 | 1390 | 1565 | 1740 | 1954 | 2143 | 2299 | 2401 | 2363 | 2217 | 1925 | 1704 | 1554 | 1450 | 1386 | 1340 | 1266 | 1190 | 1085 | 946.3 | 812.8 | 702.5 | 663 | 465.4 | 320.5 | 228.6 | 153.8 | 103.3 | 72.73 | 99.09 | 747.6 | 9999.9
410 | 419 | 1340 | 678.8 | 735.4 | 979.2 | 1196 | 1180 | 1102 | 1089 | 1178 | 1257 | 1414 | 1535 | 1690 | 1888 | 2015 | 2128 | 2130 | 2015 | 1785 | 1624 | 1504 | 1436 | 1400 | 1367 | 1309 | 1236 | 1129 | 998.3 | 861.5 | 724.7 | 656.2 | 588.9 | 391.1 | 269.2 | 185.7 | 128.2 | 87.22 | 65.29 | 89.78 | 742.3
415 | 282.3 | 999.4 | 1307 | 633 | 846.2 | 1048 | 1073 | 1040 | 1056 | 1107 | 1176 | 1252 | 1367 | 1498 | 1625 | 1787 | 1880 | 1899 | 1833 | 1672 | 1545 | 1459 | 1414 | 1379 | 1364 | 1331 | 1252 | 1158 | 1034 | 893.3 | 763.5 | 642 | 605.2 | 498.9 | 316.4 | 216.1 | 153.2 | 106.3 | 76.13 | 56.53 | 85.11
420 | 285.6 | 470.9 | 1647 | 820.6 | 799.9 | 957.8 | 1012 | 957.4 | 996.8 | 1060 | 1094 | 1140 | 1232 | 1326 | 1431 | 1574 | 1690 | 1705 | 1670 | 1544 | 1445 | 1395 | 1379 | 1355 | 1349 | 1313 | 1264 | 1171 | 1049 | 923.1 | 790.9 | 664.1 | 567.9 | 530.6 | 392.4 | 246.1 | 174.1 | 125.9 | 88.27 | 61.89 | 48.46
425 | 235.4 | 294.7 | 1324 | 1577 | 762.9 | 901.6 | 951.6 | 906.1 | 968.2 | 995.1 | 1017 | 1049 | 1093 | 1176 | 1285 | 1400 | 1506 | 1534 | 1526 | 1435 | 1373 | 1348 | 1334 | 1328 | 1323 | 1301 | 1247 | 1168 | 1057 | 938.4 | 809.6 | 686.4 | 573.1 | 495.4 | 454.4 | 304.2 | 195.9 | 142.7 | 102.4 | 75.33 | 52.33
430 | 207.2 | 298.9 | 599.9 | 2094 | 943.5 | 823.3 | 891.9 | 854.8 | 895.3 | 936.2 | 951.1 | 986.9 | 1003 | 1069 | 1146 | 1258 | 1365 | 1395 | 1391 | 1334 | 1294 | 1284 | 1279 | 1285 | 1295 | 1290 | 1239 | 1158 | 1061 | 936.8 | 815.4 | 698.9 | 594.5 | 481.5 | 421.1 | 369.2 | 232.7 | 159.4 | 116.1 | 88.53 | 64.02
435 | 197.7 | 283.1 | 386.9 | 1734 | 1771 | 733.9 | 805.4 | 853.3 | 864 | 900 | 924.3 | 931.4 | 933.6 | 982 | 1041 | 1145 | 1228 | 1275 | 1278 | 1246 | 1226 | 1218 | 1242 | 1247 | 1265 | 1250 | 1216 | 1146 | 1049 | 934.6 | 821.8 | 706.3 | 593.7 | 493.6 | 397.3 | 358.1 | 297.6 | 182.7 | 130.6 | 97.28 | 74.4
440 | 217.4 | 302.4 | 373.4 | 685.9 | 2765 | 1024 | 767.7 | 776 | 813.4 | 866.2 | 854.7 | 881.1 | 881.2 | 896.5 | 942.1 | 1040 | 1112 | 1167 | 1189 | 1158 | 1153 | 1161 | 1185 | 1201 | 1209 | 1210 | 1183 | 1124 | 1032 | 915.2 | 817.2 | 704.5 | 595.4 | 496.8 | 397.2 | 328.7 | 307.7 | 232.5 | 150.7 | 108.8 | 84.27
445 | 229 | 273.2 | 317.5 | 420.3 | 2234 | 2035 | 728.4 | 737.7 | 783.5 | 824.2 | 835 | 820.6 | 818.1 | 832.5 | 878.4 | 932.3 | 1009 | 1033 | 1068 | 1065 | 1068 | 1091 | 1115 | 1133 | 1150 | 1174 | 1132 | 1085 | 1000 | 902.2 | 791.3 | 683.8 | 589.9 | 497.8 | 407 | 319.5 | 275.9 | 261.6 | 185.8 | 123.5 | 95.31
450 | 202.8 | 264.5 | 323 | 380.9 | 885.6 | 3464 | 1019 | 679 | 761.2 | 778.1 | 797.9 | 776 | 779.8 | 768.5 | 788.7 | 845.1 | 909.5 | 953.6 | 980.3 | 970 | 986.5 | 1017 | 1039 | 1071 | 1079 | 1090 | 1068 | 1025 | 955.4 | 865.5 | 761.8 | 668.8 | 576.4 | 483.2 | 400.4 | 321 | 263.8 | 236.6 | 222.2 | 146.4 | 105.3
455 | 211 | 243 | 304 | 355.8 | 472.1 | 3062 | 2490 | 678.1 | 685 | 726.9 | 738.5 | 724.3 | 730.6 | 714.6 | 729.8 | 759.6 | 834.6 | 858.3 | 874.1 | 891.9 | 911.1 | 929.7 | 964.2 | 982.9 | 1008 | 1011 | 1003 | 964.9 | 905.8 | 817.1 | 724.8 | 632.2 | 545.6 | 469.8 | 393.9 | 317 | 264 | 216.6 | 210.5 | 180.9 | 123.2
460 | 185.2 | 223.9 | 248.1 | 323.2 | 399.5 | 1225 | 4546 | 1047 | 639.2 | 667.1 | 682.8 | 683 | 664.2 | 659.8 | 663.7 | 692.6 | 737.3 | 765.4 | 781.9 | 796.6 | 819.8 | 846.7 | 880.1 | 906 | 922.7 | 939.5 | 928.8 | 898.7 | 842.3 | 766.1 | 684.5 | 594.8 | 520.7 | 452.8 | 379.5 | 312 | 259.3 | 214.4 | 186.4 | 190.1 | 152.9
465 | 209.1 | 217.5 | 246.9 | 336.6 | 393.5 | 480.8 | 3945 | 2804 | 591.8 | 623.3 | 646.3 | 630.7 | 626.5 | 602.9 | 603.6 | 626.6 | 652.9 | 695.4 | 704.8 | 717.9 | 740.8 | 772.1 | 798.8 | 820.8 | 848.2 | 859.7 | 858.2 | 825.9 | 772.1 | 705.1 | 633.1 | 551.3 | 487.7 | 422.9 | 362.7 | 302 | 255 | 210.7 | 179.8 | 168.9 | 171.2
470 | 189.5 | 197.7 | 223.3 | 300.8 | 369 | 382.5 | 1370 | 5223 | 1097 | 583.6 | 594.8 | 587 | 582.8 | 557.4 | 552.6 | 569.1 | 598.7 | 616.2 | 615.1 | 628.4 | 655.4 | 683.4 | 710.4 | 737.7 | 764.9 | 778 | 774.3 | 747.8 | 704.5 | 646.5 | 582.7 | 514 | 454.2 | 400.1 | 343.2 | 293.6 | 245.5 | 209.9 | 182 | 160.9 | 155.3
475 | 170.7 | 174.1 | 225.9 | 265.8 | 305.1 | 352.1 | 486.5 | 4716 | 3182 | 543.5 | 544.8 | 543.8 | 544.3 | 532.1 | 503 | 525 | 547.5 | 562.9 | 559 | 562.8 | 587 | 614.9 | 637.3 | 663.5 | 686.4 | 697.6 | 698.6 | 683 | 636.5 | 594.5 | 530.4 | 480.6 | 423.6 | 378.7 | 330.3 | 284.3 | 245.7 | 207.8 | 181.9 | 162.5 | 144.9
480 | 172.9 | 161.5 | 220.8 | 248.9 | 278.9 | 333.7 | 392.8 | 1557 | 5866 | 1069 | 513.1 | 518.6 | 518.5 | 503.5 | 490.4 | 491 | 508.4 | 502.9 | 498.2 | 509.9 | 525.4 | 551.1 | 572.7 | 597.8 | 618 | 628.6 | 636.5 | 618.3 | 586.9 | 546.8 | 496.4 | 448.5 | 407 | 366.2 | 318.9 | 283.7 | 244.2 | 213.1 | 186.8 | 170.2 | 149.3
485 | 152.4 | 150.2 | 160.7 | 219.1 | 280.4 | 341 | 355 | 488.9 | 5082 | 3280 | 504.3 | 500.1 | 511.8 | 524.4 | 505.8 | 495.2 | 497.6 | 469.4 | 459.2 | 452.5 | 468.9 | 499.6 | 518.4 | 537.9 | 556.7 | 573.6 | 584.5 | 574.8 | 546 | 513.9 | 472 | 431.1 | 391.2 | 362.9 | 329 | 291.9 | 258.5 | 225.3 | 202.2 | 177 | 159.7
490 | 157.7 | 175.7 | 198.4 | 210.9 | 267.9 | 324.9 | 340.3 | 384.5 | 1655 | 6146 | 1033 | 500.7 | 548.5 | 555.2 | 552.5 | 525.9 | 509.7 | 456.4 | 432.9 | 418.9 | 426 | 448.3 | 466.2 | 492.6 | 511.4 | 533.9 | 541.3 | 541.2 | 513.5 | 491.7 | 459.6 | 431.6 | 400.9 | 379.2 | 348.4 | 319.2 | 283.5 | 247.4 | 219.8 | 196.5 | 178.3
495 | 135.7 | 136.7 | 188.7 | 213.3 | 242.7 | 302.3 | 349.5 | 366.4 | 487 | 5646 | 3170 | 553.2 | 582.8 | 609.2 | 612.4 | 579.2 | 524.6 | 470.4 | 408.7 | 376.5 | 387.5 | 402.5 | 429 | 448.7 | 468.6 | 489.7 | 502.5 | 509.4 | 496.8 | 474.2 | 453.4 | 436.5 | 420.7 | 400.7 | 382 | 348.2 | 317.2 | 277.9 | 246.6 | 219.3 | 204.9
500 | 136.1 | 139 | 179.6 | 204.5 | 225.9 | 302 | 383.2 | 360.8 | 396.8 | 1956 | 6138 | 1062 | 628.8 | 701.6 | 684.8 | 637.4 | 553.5 | 471.1 | 388.7 | 342.5 | 347.6 | 368.2 | 381.3 | 405.3 | 431.9 | 452.9 | 468.2 | 475.8 | 476.5 | 463.1 | 454.4 | 446.1 | 441.6 | 438.9 | 421.9 | 390.7 | 356.2 | 315.3 | 275.3 | 250.8 | 232.2