## Sheet1
Report date: | 18:37:48, 09/18/2024
Sample: | 1
File name:
Run date: | 18:32:10, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/310.0 | 3694
2 | 230.0/320.0 | 3714
3 | 250.0/275.0 | 322.7
4 | 265.0/345.0 | 6136
5 | 390.0/275.0 | 4.862
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 107.3 | 115.4 | 110 | 110.8 | 115.3 | 70.99 | 53.84 | 33.1 | 48.85 | 262.9 | 161.5 | 57.44 | 145 | 9999.9 | 9999.9 | 5174 | 38.53 | 17.69 | 12.55 | 9.479 | 7.689 | 6.114 | 5.999 | 5.15 | 4.734 | 4.255 | 5.06 | 4.187 | 4.182 | 3.726 | 3.597 | 4.127 | 3.843 | 3.907 | 3.825 | 4.234 | 4.628 | 5.212 | 4.566 | 3.708 | 3.534
275 | 178.5 | 155.5 | 198.9 | 272.6 | 251.4 | 171.1 | 65.21 | 39.81 | 45.65 | 105.5 | 322.7 | 179.4 | 117.7 | 818.2 | 9999.9 | 9999.9 | 4799 | 40.67 | 16.05 | 11.04 | 9.963 | 8.067 | 6.885 | 5.902 | 5.467 | 4.793 | 5.038 | 4.029 | 4.083 | 3.873 | 4.065 | 4.103 | 3.865 | 3.74 | 3.848 | 3.593 | 3.671 | 3.997 | 4.862 | 4.585 | 3.77
280 | 239.2 | 247.4 | 293.2 | 389.4 | 416.8 | 298.8 | 152.5 | 72.91 | 61.24 | 70.97 | 197.9 | 413.8 | 244.3 | 262.4 | 910.2 | 9999.9 | 9999.9 | 4578 | 40.39 | 16.08 | 11.45 | 9.248 | 7.135 | 6.757 | 5.46 | 4.969 | 5.23 | 4.932 | 4.113 | 4.363 | 3.572 | 4.075 | 3.668 | 3.85 | 3.663 | 3.823 | 3.707 | 3.884 | 4.418 | 4.782 | 4.06
285 | 401.3 | 331.6 | 426.9 | 655.6 | 805.6 | 753.9 | 454.8 | 250.5 | 134.5 | 116.6 | 165.9 | 417.1 | 647.7 | 552.3 | 677.5 | 1315 | 9999.9 | 9999.9 | 4188 | 39.5 | 16.16 | 11.1 | 8.977 | 8.04 | 6.555 | 6.377 | 5.257 | 5.332 | 4.588 | 4.221 | 4.213 | 4.428 | 3.953 | 4.405 | 3.881 | 3.739 | 3.509 | 3.48 | 3.733 | 4.614 | 4.417
290 | 563.6 | 451.1 | 603.2 | 825.6 | 1317 | 1465 | 1206 | 663.4 | 317.1 | 234.1 | 293.6 | 483.3 | 997.5 | 1360 | 1540 | 1688 | 2064 | 9999.9 | 9999.9 | 3947 | 32.9 | 15.87 | 11.39 | 9.245 | 7.776 | 6.989 | 5.999 | 5.493 | 4.757 | 5.043 | 4.597 | 4.913 | 4.331 | 4.373 | 3.599 | 3.337 | 3.736 | 3.317 | 3.214 | 3.727 | 4.48
295 | 599.7 | 651.2 | 718.6 | 1191 | 1825 | 2378 | 2026 | 1213 | 674.4 | 478 | 567.3 | 829.2 | 1298 | 2229 | 2852 | 2931 | 2599 | 2150 | 9999.9 | 9999.9 | 3745 | 32.13 | 15.7 | 12.74 | 9.31 | 8.108 | 6.676 | 6.7 | 5.204 | 5.181 | 5.096 | 5.023 | 4.54 | 4.274 | 4.719 | 4.127 | 3.791 | 3.851 | 3.655 | 3.604 | 3.965
300 | 749.4 | 813.3 | 1002 | 1439 | 2311 | 3096 | 2772 | 1792 | 1116 | 870 | 1000 | 1290 | 1818 | 2716 | 3995 | 4269 | 3648 | 2260 | 1445 | 9999.9 | 9999.9 | 3558 | 31.46 | 16.37 | 13.22 | 10.54 | 7.845 | 7.398 | 6.107 | 5.505 | 5.121 | 5.064 | 4.942 | 4.433 | 4.165 | 4.068 | 4.089 | 4.038 | 3.841 | 3.741 | 3.378
305 | 921.6 | 841.1 | 1063 | 1558 | 2621 | 3507 | 3374 | 2345 | 1636 | 1412 | 1504 | 1820 | 2368 | 3222 | 4453 | 5327 | 4522 | 2817 | 1128 | 1057 | 9999.9 | 9999.9 | 3324 | 30.26 | 16.42 | 12.6 | 9.714 | 9.224 | 6.931 | 6.064 | 5.185 | 5.498 | 5.271 | 4.743 | 4.675 | 4.562 | 4.314 | 4.002 | 3.619 | 3.855 | 3.411
310 | 803 | 927.3 | 1302 | 1807 | 2671 | 3694 | 3616 | 2743 | 2165 | 2041 | 2264 | 2548 | 3027 | 3739 | 4743 | 5504 | 5241 | 3314 | 1454 | 631.4 | 940.7 | 9999.9 | 9999.9 | 3425 | 31.84 | 17.98 | 12.32 | 10.65 | 8.646 | 7.396 | 6.557 | 5.527 | 5.592 | 5.082 | 4.924 | 4.608 | 4.282 | 3.794 | 3.819 | 3.857 | 3.82
315 | 872.2 | 1041 | 1326 | 1788 | 2584 | 3650 | 3689 | 3026 | 2693 | 2779 | 3127 | 3437 | 3755 | 4238 | 5054 | 5576 | 5405 | 3904 | 1882 | 893.5 | 492.3 | 964 | 9999.9 | 9999.9 | 3225 | 29.58 | 18.06 | 13.79 | 10.85 | 8.287 | 7.453 | 7.091 | 6.102 | 6.031 | 5.192 | 5.015 | 4.557 | 4.235 | 4.01 | 3.456 | 3.776
320 | 777.6 | 1013 | 1282 | 1803 | 2691 | 3514 | 3714 | 3223 | 3055 | 3427 | 3857 | 4267 | 4427 | 4817 | 5283 | 5628 | 5317 | 4201 | 2500 | 1238 | 707 | 484 | 950 | 9999.9 | 9999.9 | 3318 | 30.35 | 17.74 | 14.06 | 10.44 | 8.577 | 7.608 | 6.867 | 6.144 | 5.352 | 5.009 | 4.449 | 4.222 | 4.308 | 3.756 | 3.766
325 | 756.9 | 1068 | 1459 | 1814 | 2682 | 3431 | 3530 | 3261 | 3350 | 3860 | 4475 | 4931 | 5087 | 5205 | 5497 | 5687 | 5384 | 4272 | 3008 | 1719 | 977.3 | 632.7 | 425.4 | 888 | 9999.9 | 9999.9 | 3334 | 30.05 | 17.79 | 14.07 | 11.66 | 8.508 | 7.781 | 7.111 | 6.611 | 5.513 | 5.144 | 4.545 | 4.324 | 4.051 | 3.855
330 | 741.1 | 1047 | 1396 | 1843 | 2719 | 3394 | 3449 | 3249 | 3535 | 4137 | 4900 | 5403 | 5565 | 5650 | 5695 | 5781 | 5468 | 4469 | 3157 | 2232 | 1315 | 822.6 | 520.4 | 310 | 834.6 | 9999.9 | 9999.9 | 3471 | 30.62 | 18.54 | 14.27 | 10.99 | 8.938 | 7.619 | 6.987 | 6.18 | 5.547 | 5.444 | 4.437 | 4.231 | 3.647
335 | 657.5 | 1028 | 1486 | 1931 | 2738 | 3403 | 3408 | 3149 | 3528 | 4219 | 5110 | 5693 | 5950 | 5956 | 5925 | 5862 | 5548 | 4705 | 3416 | 2319 | 1751 | 1040 | 637.2 | 341.7 | 211.9 | 797.7 | 9999.9 | 9999.9 | 3651 | 31.23 | 19.8 | 16.16 | 11.48 | 8.923 | 7.965 | 6.6 | 5.747 | 5.157 | 4.43 | 4.429 | 4.137
340 | 677.7 | 933.9 | 1264 | 1847 | 2674 | 3359 | 3147 | 3008 | 3373 | 4228 | 5074 | 5718 | 6029 | 6118 | 6041 | 5918 | 5616 | 4898 | 3686 | 2458 | 1820 | 1373 | 771.2 | 420.3 | 217.4 | 158.2 | 788 | 9999.9 | 9999.9 | 3799 | 31.2 | 21.35 | 15.22 | 12.06 | 8.978 | 7.622 | 6.695 | 5.108 | 5.206 | 4.466 | 4.362
345 | 636.1 | 924 | 1253 | 1829 | 2775 | 3213 | 3061 | 2818 | 3181 | 3985 | 4862 | 5587 | 5998 | 6136 | 6066 | 5930 | 5661 | 4928 | 3842 | 2611 | 1825 | 1463 | 1019 | 501.2 | 271.6 | 158.1 | 139.1 | 787.5 | 9999.9 | 9999.9 | 3969 | 32.82 | 20.95 | 16.07 | 11.07 | 9.074 | 7.369 | 6.088 | 5.402 | 5.01 | 4.144
350 | 528.7 | 799.4 | 1177 | 1848 | 2586 | 3106 | 2833 | 2625 | 2962 | 3700 | 4541 | 5296 | 5715 | 5941 | 5903 | 5810 | 5561 | 4936 | 3895 | 2710 | 1899 | 1385 | 1142 | 698.2 | 350.8 | 211.4 | 143.1 | 145.5 | 788.2 | 9999.9 | 9999.9 | 4204 | 34.18 | 21.47 | 15.49 | 11.27 | 7.829 | 6.588 | 5.924 | 5.188 | 4.216
355 | 614.2 | 869.9 | 1116 | 1752 | 2530 | 2930 | 2690 | 2452 | 2728 | 3417 | 4169 | 4955 | 5373 | 5656 | 5708 | 5608 | 5410 | 4858 | 3883 | 2757 | 1954 | 1432 | 1060 | 895.6 | 516 | 294.3 | 207.4 | 153.2 | 158.9 | 815.6 | 9999.9 | 9999.9 | 4188 | 33.45 | 20.88 | 15.54 | 10.53 | 8.347 | 6.609 | 5.792 | 5.303
360 | 530.1 | 730 | 1108 | 1605 | 2487 | 2732 | 2446 | 2265 | 2480 | 3067 | 3796 | 4500 | 4932 | 5285 | 5356 | 5350 | 5212 | 4669 | 3795 | 2742 | 1991 | 1468 | 1071 | 840 | 750.7 | 440.9 | 292.1 | 223.2 | 170.1 | 164.8 | 791.4 | 9999.9 | 9999.9 | 4538 | 34.02 | 20.43 | 14.26 | 9.839 | 7.36 | 6.051 | 4.928
365 | 484.4 | 747.7 | 969.1 | 1448 | 2101 | 2607 | 2340 | 2049 | 2233 | 2757 | 3369 | 4000 | 4497 | 4894 | 5060 | 5009 | 4901 | 4415 | 3665 | 2688 | 1989 | 1497 | 1138 | 858.8 | 758.6 | 675.3 | 416 | 299 | 225.2 | 165.9 | 152.5 | 809.3 | 9999.9 | 9999.9 | 4365 | 32.17 | 18.87 | 13.86 | 9.861 | 7.206 | 6.385
370 | 448.7 | 616.7 | 858.5 | 1435 | 2044 | 2355 | 2153 | 1886 | 2052 | 2479 | 3014 | 3599 | 4065 | 4397 | 4616 | 4629 | 4557 | 4145 | 3495 | 2585 | 1956 | 1517 | 1181 | 927.2 | 749 | 746.7 | 627.8 | 403.4 | 298.1 | 212.5 | 148.2 | 141.3 | 810.2 | 9999.9 | 9999.9 | 4171 | 29.83 | 18.09 | 12.69 | 9.837 | 6.94
375 | 473.7 | 601.2 | 766.3 | 1318 | 1802 | 2135 | 1944 | 1737 | 1867 | 2214 | 2678 | 3160 | 3595 | 3935 | 4166 | 4237 | 4150 | 3848 | 3260 | 2481 | 1915 | 1528 | 1233 | 999.3 | 824.6 | 734.9 | 756.6 | 578.1 | 383.4 | 277.1 | 195.4 | 130.3 | 133.2 | 816.5 | 9999.9 | 9999.9 | 3955 | 28.53 | 17.72 | 12.3 | 8.772
380 | 433.3 | 505.6 | 763 | 1160 | 1714 | 1960 | 1764 | 1601 | 1662 | 1970 | 2344 | 2734 | 3114 | 3446 | 3698 | 3790 | 3745 | 3530 | 3049 | 2382 | 1875 | 1530 | 1271 | 1059 | 915.7 | 801.8 | 740.6 | 752.8 | 525.2 | 353.1 | 254.2 | 175.8 | 120 | 131.9 | 820.5 | 9999.9 | 9999.9 | 3781 | 26.74 | 15.63 | 11.65
385 | 398.9 | 538.4 | 696.6 | 1103 | 1532 | 1792 | 1599 | 1474 | 1529 | 1779 | 2038 | 2394 | 2727 | 3030 | 3264 | 3397 | 3381 | 3210 | 2818 | 2254 | 1834 | 1522 | 1299 | 1125 | 996 | 887.9 | 785.1 | 747.6 | 714.4 | 470.2 | 323.8 | 230.3 | 162.5 | 119.7 | 128.9 | 821.9 | 9999.9 | 9999.9 | 3513 | 24.15 | 14.57
390 | 427.5 | 484.1 | 685.1 | 1052 | 1359 | 1659 | 1496 | 1359 | 1400 | 1566 | 1826 | 2092 | 2385 | 2645 | 2862 | 2992 | 3035 | 2914 | 2616 | 2137 | 1791 | 1533 | 1326 | 1183 | 1077 | 983 | 877.8 | 777.4 | 748.3 | 651.8 | 423.6 | 305.8 | 222 | 158.7 | 109.3 | 121.5 | 788.2 | 9999.9 | 9999.9 | 3424 | 24.52
395 | 784.5 | 464.8 | 630.6 | 832.7 | 1217 | 1479 | 1407 | 1287 | 1295 | 1436 | 1619 | 1820 | 2053 | 2286 | 2543 | 2666 | 2717 | 2652 | 2411 | 2033 | 1735 | 1526 | 1351 | 1231 | 1141 | 1059 | 969.5 | 859.5 | 749.8 | 728.1 | 587.6 | 382.1 | 287.1 | 205.9 | 145.5 | 98.31 | 111.8 | 807.9 | 9999.9 | 9999.9 | 3120
400 | 1065 | 564 | 509.9 | 788.4 | 1150 | 1342 | 1297 | 1203 | 1212 | 1318 | 1439 | 1627 | 1797 | 1991 | 2214 | 2338 | 2454 | 2413 | 2235 | 1919 | 1688 | 1510 | 1382 | 1271 | 1205 | 1131 | 1040 | 937.8 | 810.8 | 706.9 | 690.3 | 512.4 | 353.4 | 259.4 | 180.9 | 119.6 | 84.38 | 106.6 | 770.9 | 9999.9 | 9999.9
405 | 922.2 | 1173 | 479.4 | 700.8 | 1066 | 1202 | 1196 | 1104 | 1129 | 1204 | 1331 | 1424 | 1583 | 1761 | 1931 | 2077 | 2183 | 2171 | 2053 | 1819 | 1632 | 1486 | 1376 | 1313 | 1248 | 1187 | 1105 | 1003 | 883.7 | 757.1 | 674.5 | 639 | 450.9 | 310 | 224.3 | 151.8 | 104.3 | 73.95 | 97.04 | 743.8 | 9999.9
410 | 424.6 | 1331 | 627.4 | 671.7 | 913.1 | 1103 | 1105 | 1036 | 1089 | 1119 | 1219 | 1309 | 1413 | 1533 | 1696 | 1848 | 1960 | 1968 | 1892 | 1721 | 1580 | 1457 | 1382 | 1321 | 1275 | 1224 | 1151 | 1057 | 942.1 | 811.4 | 688.9 | 630.3 | 571.3 | 382.7 | 264 | 185.2 | 128.2 | 88.03 | 66.41 | 90.67 | 738.4
415 | 298.4 | 967.5 | 1238 | 641 | 828.7 | 1026 | 1036 | 998.1 | 1059 | 1066 | 1110 | 1192 | 1277 | 1360 | 1500 | 1649 | 1732 | 1788 | 1752 | 1629 | 1505 | 1427 | 1364 | 1320 | 1288 | 1245 | 1185 | 1091 | 975.4 | 857.6 | 730.8 | 622.2 | 587.3 | 486.7 | 312.7 | 215 | 155 | 109.9 | 77.38 | 56.73 | 84.59
420 | 318.2 | 461.5 | 1791 | 807.2 | 781.3 | 907.4 | 972.3 | 958.2 | 982.8 | 1008 | 1056 | 1089 | 1148 | 1222 | 1341 | 1476 | 1582 | 1626 | 1606 | 1516 | 1439 | 1390 | 1318 | 1312 | 1277 | 1236 | 1189 | 1108 | 1001 | 879.9 | 758.3 | 652.9 | 555 | 526.3 | 393.9 | 249.5 | 177.1 | 127.9 | 88.94 | 64.49 | 50.14
425 | 290.4 | 343.5 | 1315 | 1408 | 717.5 | 810.6 | 904.8 | 892.3 | 931.8 | 957.6 | 978.5 | 1013 | 1042 | 1102 | 1209 | 1329 | 1422 | 1474 | 1478 | 1416 | 1360 | 1319 | 1301 | 1280 | 1266 | 1244 | 1185 | 1111 | 1002 | 892.3 | 776.3 | 662 | 564.5 | 490.2 | 453.2 | 308 | 200.6 | 146.5 | 107.7 | 77.27 | 54.79
430 | 241.8 | 323.2 | 558 | 2064 | 946.1 | 772 | 836.8 | 830.1 | 900.6 | 919.2 | 942.2 | 944 | 986.8 | 1010 | 1084 | 1194 | 1292 | 1359 | 1374 | 1332 | 1300 | 1290 | 1252 | 1252 | 1237 | 1228 | 1178 | 1117 | 1012 | 902.2 | 792.5 | 677.2 | 579.5 | 482.4 | 423.4 | 374.5 | 241.1 | 162.1 | 121.3 | 91.07 | 65.92
435 | 262.4 | 320.6 | 339.1 | 1722 | 1787 | 713.7 | 776 | 816.7 | 853.1 | 889.9 | 919.2 | 908.6 | 928.7 | 938.4 | 1004 | 1086 | 1180 | 1239 | 1262 | 1244 | 1242 | 1227 | 1215 | 1210 | 1208 | 1198 | 1160 | 1102 | 1007 | 909.6 | 789.8 | 687.9 | 588.2 | 489.9 | 404.9 | 365.8 | 302.3 | 190.8 | 137.1 | 102.2 | 76.7
440 | 236.7 | 268.7 | 331.3 | 683.5 | 2828 | 962.6 | 735.2 | 766.6 | 837.9 | 859.6 | 868.7 | 885.9 | 874.6 | 864.2 | 903.7 | 1007 | 1083 | 1140 | 1164 | 1168 | 1170 | 1157 | 1169 | 1155 | 1167 | 1162 | 1137 | 1081 | 1001 | 895.8 | 793 | 682.8 | 586.6 | 498.4 | 403.4 | 334.5 | 319.3 | 241.4 | 154.9 | 113.8 | 85.73
445 | 205.4 | 263.5 | 312.9 | 398 | 2361 | 2152 | 695.6 | 751.2 | 796.2 | 835.6 | 844.1 | 835.3 | 843.8 | 802.6 | 845.4 | 905.7 | 984.1 | 1038 | 1072 | 1087 | 1090 | 1100 | 1095 | 1101 | 1119 | 1125 | 1088 | 1040 | 969.2 | 872.2 | 772.9 | 676.9 | 583.7 | 497.7 | 408.8 | 333 | 282.1 | 271.2 | 191.9 | 127.7 | 99.82
450 | 247 | 231.1 | 326.5 | 374.1 | 911.1 | 3479 | 1024 | 705.2 | 745.2 | 771.6 | 786.5 | 797.8 | 794.1 | 764.5 | 766.1 | 833.9 | 904.3 | 929.8 | 967.4 | 982 | 1014 | 1012 | 1026 | 1033 | 1052 | 1052 | 1039 | 994.5 | 923.4 | 831.9 | 741.4 | 648.4 | 564.6 | 482.2 | 402.9 | 331.6 | 266.7 | 247.5 | 227.7 | 154.9 | 108.1
455 | 192 | 265.7 | 270.2 | 340.7 | 454.6 | 3094 | 2491 | 647.5 | 683.8 | 728.6 | 743.4 | 741 | 719.6 | 700.5 | 707.9 | 754.1 | 809.9 | 834.8 | 876.1 | 898.5 | 919.2 | 947.1 | 951.7 | 962.7 | 980.2 | 990.2 | 971.5 | 929.3 | 874.2 | 794.8 | 705.1 | 621.7 | 545.6 | 468.2 | 399 | 327.7 | 266.8 | 225.6 | 217.1 | 185.7 | 125.9
460 | 209.9 | 228.9 | 280.1 | 335.1 | 405.3 | 1159 | 4434 | 1084 | 628.8 | 686.8 | 709.3 | 694.3 | 682.2 | 652.2 | 645.4 | 682.9 | 718.1 | 762.7 | 786.9 | 809.2 | 837 | 859.4 | 865.6 | 886.5 | 910.4 | 912.7 | 902.6 | 865.5 | 817.3 | 749.5 | 664.3 | 591.6 | 516.3 | 448.6 | 387.1 | 320.4 | 265.6 | 220.2 | 191.5 | 190.9 | 154.6
465 | 206.2 | 185 | 230.3 | 314.6 | 392.6 | 501.9 | 3934 | 2868 | 601.3 | 629.9 | 654.9 | 646.4 | 625.4 | 618.7 | 581.5 | 607.5 | 659.5 | 680.3 | 703.4 | 725.7 | 755.2 | 767.3 | 786.5 | 804.3 | 827.9 | 835.6 | 826.8 | 801 | 756.5 | 688.1 | 617.7 | 552.4 | 484.2 | 424.8 | 372 | 309.9 | 259.2 | 219.6 | 183.9 | 170.9 | 170.1
470 | 170.8 | 192 | 237.2 | 328.4 | 325.2 | 394.9 | 1383 | 5311 | 1092 | 569.7 | 597.8 | 593.5 | 583.3 | 565.1 | 541.2 | 563.8 | 570.1 | 609.8 | 625.3 | 646.7 | 664.6 | 691.3 | 706.7 | 722 | 744.4 | 761 | 750.3 | 730.7 | 687.3 | 631.1 | 568.3 | 511.8 | 455.6 | 402.1 | 349.5 | 301.2 | 252.8 | 216.3 | 184.2 | 161.6 | 157.4
475 | 152.3 | 183.9 | 192.5 | 262.6 | 275.9 | 374.7 | 482.1 | 4675 | 3137 | 534.8 | 560 | 556.2 | 548.6 | 523.1 | 505.1 | 503.4 | 533.5 | 542.6 | 559.3 | 577.8 | 594.6 | 611.2 | 636.2 | 651.4 | 668 | 679.7 | 680.6 | 660.7 | 633 | 575.7 | 529.2 | 470 | 418.9 | 381.2 | 333.8 | 288.4 | 248.2 | 213.4 | 183.9 | 161 | 144.6
480 | 132.1 | 173.7 | 180.2 | 246 | 278.8 | 326 | 377.5 | 1553 | 5794 | 1094 | 505.9 | 515.2 | 535.6 | 502.4 | 476.8 | 488.3 | 486.9 | 494.3 | 498.4 | 509.5 | 527.6 | 545.5 | 567.2 | 584.4 | 606.3 | 617.1 | 617.7 | 602.4 | 576.9 | 533.8 | 484.7 | 437.4 | 400.1 | 363.2 | 325 | 280.6 | 250.6 | 218.4 | 189.5 | 165.8 | 147.9
485 | 164 | 155 | 193.6 | 196.3 | 282.6 | 334.1 | 335.6 | 481.8 | 5062 | 3308 | 494.7 | 512.6 | 525.6 | 517.7 | 494 | 479 | 482.8 | 472.6 | 459.1 | 459.3 | 478.9 | 502.5 | 517.5 | 529.6 | 548.8 | 565.8 | 574 | 567.7 | 536.1 | 508.3 | 459.9 | 424.9 | 392.2 | 363.9 | 327.4 | 295.2 | 257.9 | 227.1 | 200.3 | 176.4 | 157.5
490 | 123.5 | 130.2 | 157.8 | 209.8 | 250.6 | 299.9 | 354.6 | 381.3 | 1671 | 6104 | 1046 | 523.4 | 549.9 | 547 | 528.4 | 504.3 | 486.7 | 457.6 | 431.5 | 424.4 | 435.3 | 449.6 | 471.9 | 481.2 | 501.8 | 521.4 | 526.8 | 527 | 506.6 | 485.2 | 450.6 | 421.2 | 397.1 | 376.5 | 345.2 | 313.7 | 282.8 | 246.4 | 218.7 | 191.2 | 175.7
495 | 151.3 | 146.2 | 151.1 | 203.8 | 259.6 | 319.9 | 361.6 | 372.3 | 479.7 | 5441 | 3183 | 551.8 | 573.5 | 588.7 | 584.7 | 548.7 | 505.8 | 450.6 | 401.4 | 385 | 392 | 405.4 | 419.2 | 445.5 | 459.9 | 479.2 | 487.2 | 492.7 | 490.5 | 469 | 449.7 | 426.5 | 408.1 | 394.2 | 373.7 | 345 | 310.1 | 276.4 | 240.3 | 218 | 196.9
500 | 140.1 | 148.2 | 159.8 | 182.7 | 243.3 | 284.1 | 362.4 | 354.8 | 397.7 | 1887 | 6067 | 1051 | 618 | 656.8 | 664.8 | 593.2 | 534.2 | 460.1 | 382.3 | 344.4 | 352.8 | 367 | 379.7 | 396.3 | 421 | 441 | 452.8 | 461.6 | 469.9 | 453 | 447.1 | 432.4 | 429 | 423.2 | 408.5 | 379.9 | 346.1 | 306 | 267.2 | 243.9 | 220.5