## Sheet1
Report date: | 18:44:40, 09/18/2024
Sample: | 1
File name:
Run date: | 18:39:11, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/410.0 | 2238
2 | 225.0/340.0 | 3453
3 | 225.0/350.0 | 3541
4 | 235.0/335.0 | 3662
5 | 250.0/275.0 | 390.8
6 | 255.0/280.0 | 528
7 | 265.0/345.0 | 5256
8 | 280.0/345.0 | 4405
9 | 305.0/420.0 | 1261
10 | 320.0/360.0 | 440.7
11 | 325.0/370.0 | 418.2
12 | 330.0/375.0 | 450.4
13 | 390.0/275.0 | 5.314
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 166.6 | 184.8 | 152.2 | 164.5 | 124.5 | 84.85 | 52.67 | 44.89 | 52.89 | 322.9 | 198.2 | 58.17 | 169.1 | 9999.9 | 9999.9 | 6522 | 54.8 | 19.94 | 14.58 | 9.085 | 7.983 | 15.54 | 6.74 | 5.54 | 5.5 | 4.522 | 4.85 | 4.556 | 4.025 | 3.55 | 4.103 | 6.954 | 6.602 | 4.037 | 3.892 | 3.704 | 5.279 | 5.031 | 5.096 | 3.789 | 3.236
275 | 384.9 | 361.3 | 400.4 | 420.3 | 409.9 | 299.8 | 94.39 | 57.65 | 39.2 | 131.2 | 390.8 | 214.8 | 151.3 | 936.7 | 9999.9 | 9999.9 | 6103 | 46.88 | 19.39 | 13.2 | 9.934 | 19.33 | 7.819 | 6.007 | 6.156 | 5.134 | 4.746 | 4.91 | 4.4 | 4.002 | 4.235 | 7.163 | 6.129 | 4.342 | 3.772 | 3.758 | 3.653 | 5.192 | 5.314 | 4.829 | 3.904
280 | 584.5 | 496.4 | 577.9 | 860.9 | 829.3 | 536.4 | 174.8 | 75.8 | 62.36 | 88.29 | 242.4 | 528 | 326.3 | 348.3 | 1129 | 9999.9 | 9999.9 | 5774 | 45.6 | 16.6 | 12.3 | 25.85 | 8.103 | 6.851 | 6.633 | 5.523 | 5.137 | 4.935 | 4.991 | 4.554 | 4.691 | 7.876 | 6.69 | 4.248 | 4.115 | 3.695 | 3.553 | 4.286 | 4.95 | 5.089 | 4.585
285 | 808.7 | 753.6 | 838.6 | 1186 | 1249 | 866 | 364.7 | 185.5 | 94.5 | 107 | 170.5 | 470.4 | 709.2 | 519 | 588.8 | 1130 | 9999.9 | 9999.9 | 5408 | 39.62 | 16.66 | 35.09 | 10.24 | 7.655 | 7.853 | 6.076 | 5.623 | 5.825 | 4.63 | 4.826 | 4.515 | 8.11 | 7.089 | 4.359 | 4.237 | 3.933 | 4.131 | 3.644 | 4.131 | 4.435 | 4.572
290 | 1017 | 772.5 | 999.9 | 1374 | 1606 | 1277 | 686.1 | 412.4 | 172.2 | 161.4 | 221.4 | 375.2 | 829.2 | 1016 | 910.5 | 789.3 | 1227 | 9999.9 | 9999.9 | 4490 | 32.62 | 51.31 | 13.95 | 9.681 | 9.47 | 6.969 | 6.521 | 6.238 | 4.981 | 5.312 | 4.701 | 10.07 | 7.104 | 4.876 | 4.536 | 4.252 | 3.794 | 3.663 | 4.067 | 4.181 | 4.356
295 | 1027 | 1003 | 1052 | 1403 | 1767 | 1715 | 1055 | 793.8 | 336 | 293.3 | 356 | 491.9 | 730.1 | 1461 | 1551 | 1187 | 962.6 | 1252 | 9999.9 | 9999.9 | 4110 | 101.5 | 18.56 | 12.67 | 11.59 | 8.785 | 7.742 | 7.251 | 5.843 | 5.532 | 5.418 | 10.47 | 6.988 | 5.099 | 4.436 | 4.51 | 4.196 | 4.202 | 4.295 | 3.58 | 3.914
300 | 1177 | 1095 | 1207 | 1510 | 1870 | 1925 | 1475 | 1245 | 582 | 538.3 | 605.9 | 732.9 | 926 | 1491 | 2235 | 1774 | 1375 | 921.9 | 1123 | 9999.9 | 9999.9 | 9999.9 | 33.63 | 17.34 | 15.63 | 11.38 | 8.913 | 8.263 | 6.423 | 5.808 | 5.389 | 11.66 | 8.122 | 5.097 | 4.386 | 4.92 | 4.106 | 4.138 | 3.986 | 4.038 | 3.12
305 | 1240 | 1336 | 1216 | 1536 | 2046 | 2165 | 1772 | 1803 | 928.2 | 896.1 | 963.7 | 1069 | 1214 | 1830 | 2347 | 2499 | 1896 | 1242 | 696.3 | 972.1 | 9999.9 | 9999.9 | 3712 | 30.92 | 20.17 | 13.97 | 11.51 | 9.245 | 7.705 | 6.764 | 6.023 | 13.01 | 8.569 | 5.31 | 4.921 | 4.484 | 4.475 | 4.158 | 4.115 | 4.298 | 3.478
310 | 1159 | 1344 | 1334 | 1694 | 2128 | 2429 | 2127 | 2310 | 1295 | 1334 | 1428 | 1488 | 1596 | 2324 | 2642 | 2603 | 2661 | 1649 | 952.7 | 452.5 | 859.9 | 9999.9 | 9999.9 | 3636 | 36.46 | 18.84 | 14.99 | 11.98 | 8.601 | 7.769 | 6.885 | 14.81 | 9.815 | 5.776 | 5.383 | 4.816 | 4.823 | 4.202 | 4.554 | 3.909 | 3.924
315 | 1170 | 1531 | 1444 | 1751 | 2163 | 2638 | 2392 | 2785 | 1643 | 1743 | 1892 | 1917 | 1944 | 2893 | 3032 | 2755 | 2917 | 2321 | 1308 | 584.1 | 281.2 | 1440 | 9999.9 | 9999.9 | 3821 | 33.08 | 20.57 | 16.12 | 11.2 | 9 | 7.404 | 16.85 | 9.866 | 5.822 | 5.8 | 5.323 | 4.98 | 4.35 | 4.355 | 4.188 | 3.718
320 | 1278 | 1581 | 1498 | 1817 | 2343 | 2773 | 2570 | 3182 | 1911 | 2087 | 2262 | 2325 | 2274 | 3490 | 3402 | 3122 | 3072 | 2727 | 1904 | 807.1 | 351.2 | 439.4 | 799.8 | 9999.9 | 9999.9 | 3819 | 33.93 | 20.3 | 14.56 | 11.01 | 9.176 | 21.97 | 11.92 | 6.719 | 6.412 | 5.721 | 5.716 | 4.759 | 4.862 | 4.061 | 3.735
325 | 1142 | 1558 | 1607 | 2064 | 2607 | 2997 | 2830 | 3471 | 2109 | 2356 | 2553 | 2643 | 2616 | 4079 | 3745 | 3467 | 3433 | 2827 | 2384 | 1167 | 469.7 | 464.1 | 172 | 790.4 | 9999.9 | 9999.9 | 3870 | 35.08 | 18.74 | 15.01 | 11 | 25.48 | 12.98 | 7.654 | 6.667 | 6.256 | 5.707 | 5.037 | 4.69 | 4.402 | 4.208
330 | 1110 | 1617 | 1750 | 2238 | 2856 | 3203 | 2868 | 3605 | 2257 | 2490 | 2759 | 2850 | 2846 | 4610 | 3984 | 3805 | 3814 | 3127 | 2448 | 1562 | 667.2 | 536.5 | 163.1 | 145.1 | 801.5 | 9999.9 | 9999.9 | 3946 | 31.7 | 21.01 | 15.96 | 36.38 | 15.01 | 8.454 | 7.545 | 7.25 | 5.606 | 5.662 | 5.382 | 4.719 | 4.236
335 | 1087 | 1558 | 1771 | 2283 | 2835 | 3416 | 2977 | 3662 | 2275 | 2545 | 2808 | 2975 | 3071 | 4986 | 4223 | 4113 | 4119 | 3444 | 2641 | 1547 | 1025 | 679.1 | 203.1 | 125.3 | 127.8 | 785.6 | 9999.9 | 9999.9 | 3832 | 32.14 | 20.84 | 55.15 | 19.64 | 9.775 | 8.251 | 7.775 | 7.314 | 5.633 | 5.431 | 5.08 | 4.043
340 | 1207 | 1559 | 1771 | 2342 | 3144 | 3453 | 3006 | 3549 | 2184 | 2508 | 2786 | 3027 | 3175 | 5240 | 4354 | 4262 | 4345 | 3645 | 2843 | 1568 | 997 | 950.6 | 277.8 | 146.6 | 98.83 | 115.4 | 781 | 9999.9 | 9999.9 | 4004 | 33.92 | 79.28 | 29 | 13.08 | 9.962 | 8.682 | 7.442 | 6.806 | 5.795 | 5.223 | 4.3
345 | 1092 | 1397 | 1714 | 2322 | 3026 | 3423 | 2965 | 3373 | 2136 | 2379 | 2679 | 2943 | 3148 | 5256 | 4360 | 4351 | 4405 | 3759 | 2928 | 1658 | 901.2 | 964.1 | 486.2 | 190.8 | 116.7 | 85.26 | 109.1 | 796.1 | 9999.9 | 9999.9 | 4314 | 130.9 | 36.26 | 18.26 | 13.1 | 9.915 | 8.933 | 6.685 | 6.816 | 5.197 | 4.79
350 | 1136 | 1392 | 1681 | 2186 | 2886 | 3541 | 2820 | 3138 | 1959 | 2208 | 2548 | 2777 | 3040 | 5080 | 4226 | 4304 | 4335 | 3747 | 2953 | 1700 | 940.2 | 811.9 | 578.4 | 347.9 | 147.5 | 101.2 | 80.93 | 108.6 | 778 | 9999.9 | 9999.9 | 9999.9 | 57.76 | 23.48 | 17.39 | 13.09 | 9.524 | 7.901 | 7.157 | 5.978 | 4.882
355 | 903.7 | 1295 | 1558 | 2178 | 2953 | 3282 | 2710 | 2859 | 1820 | 2027 | 2324 | 2614 | 2890 | 4825 | 4052 | 4173 | 4189 | 3632 | 2898 | 1702 | 959.4 | 798 | 434.5 | 493.3 | 260.9 | 130.2 | 102 | 84.32 | 110.7 | 799.4 | 9999.9 | 9999.9 | 6119 | 38.46 | 24.44 | 17.6 | 11.94 | 9.818 | 8.026 | 6.649 | 5.067
360 | 771.3 | 1160 | 1490 | 2068 | 2728 | 3161 | 2562 | 2580 | 1622 | 1860 | 2100 | 2420 | 2697 | 4408 | 3809 | 3974 | 3967 | 3472 | 2778 | 1685 | 972 | 799.1 | 415.1 | 379.7 | 440.7 | 216.2 | 130.8 | 104.4 | 88.2 | 116.4 | 782 | 9999.9 | 9999.9 | 5040 | 38.07 | 23.58 | 16.53 | 11.55 | 9.764 | 6.796 | 6.255
365 | 815.4 | 1086 | 1333 | 1928 | 2588 | 2856 | 2362 | 2270 | 1484 | 1652 | 1916 | 2181 | 2510 | 4026 | 3521 | 3670 | 3691 | 3254 | 2607 | 1614 | 978.3 | 804.2 | 445 | 337 | 385.2 | 402.4 | 194.7 | 138.4 | 109.5 | 89.48 | 118.3 | 1359 | 9999.9 | 9999.9 | 4908 | 35.27 | 20.84 | 14.8 | 11.24 | 8.197 | 6.221
370 | 692.4 | 915.4 | 1147 | 1793 | 2365 | 2648 | 2134 | 2001 | 1332 | 1492 | 1726 | 2006 | 2259 | 3579 | 3175 | 3361 | 3388 | 2993 | 2434 | 1543 | 957.7 | 800.3 | 471.1 | 373.9 | 318.2 | 418.2 | 367 | 194.4 | 144.4 | 116.4 | 96.91 | 208.7 | 911.5 | 9999.9 | 9999.9 | 4431 | 33.76 | 20.27 | 14.81 | 9.902 | 7.387
375 | 572.4 | 827.4 | 1147 | 1595 | 2149 | 2372 | 1942 | 1805 | 1232 | 1338 | 1545 | 1797 | 2054 | 3140 | 2836 | 3018 | 3061 | 2753 | 2230 | 1458 | 949.3 | 806.5 | 516.8 | 425 | 360.4 | 346.1 | 450.4 | 337.9 | 197.5 | 154.5 | 125.8 | 139.2 | 134.6 | 841.3 | 9999.9 | 9999.9 | 4366 | 30.46 | 20.17 | 13.62 | 9.173
380 | 592.1 | 783.2 | 1005 | 1420 | 2048 | 2168 | 1739 | 1538 | 1110 | 1225 | 1390 | 1601 | 1850 | 2764 | 2530 | 2705 | 2740 | 2449 | 2054 | 1381 | 941.4 | 824.8 | 570 | 484.9 | 423.1 | 381.2 | 394.1 | 478.2 | 319.6 | 212.2 | 173 | 169.5 | 107.3 | 126 | 854.6 | 9999.9 | 9999.9 | 3958 | 29.81 | 18.71 | 12.32
385 | 623 | 737 | 951.9 | 1322 | 1755 | 1937 | 1576 | 1377 | 1026 | 1091 | 1248 | 1427 | 1656 | 2412 | 2256 | 2406 | 2442 | 2239 | 1901 | 1331 | 955.1 | 861.4 | 639.7 | 564.2 | 506.9 | 468.2 | 431.6 | 458.1 | 493.7 | 317.9 | 237.1 | 216.4 | 146.3 | 110.4 | 130.2 | 828.8 | 9999.9 | 9999.9 | 3720 | 28.46 | 15.46
390 | 661.4 | 678.4 | 823.6 | 1211 | 1588 | 1762 | 1400 | 1248 | 957 | 1016 | 1119 | 1274 | 1469 | 2087 | 1975 | 2140 | 2199 | 2048 | 1767 | 1299 | 992.5 | 916.9 | 724.1 | 663.8 | 613.8 | 574.6 | 529.2 | 488.4 | 522.5 | 505.5 | 332.2 | 287.2 | 202.9 | 152 | 110.6 | 122.2 | 798.9 | 9999.9 | 9999.9 | 3761 | 25.02
395 | 1192 | 636.7 | 791.3 | 1162 | 1505 | 1566 | 1279 | 1140 | 883.9 | 933.7 | 1044 | 1155 | 1324 | 1823 | 1781 | 1933 | 1988 | 1885 | 1673 | 1291 | 1038 | 991.3 | 824.1 | 774.9 | 727.4 | 689.5 | 636 | 593.7 | 532.5 | 577.7 | 497.5 | 369.2 | 268.3 | 198.7 | 143.7 | 96.03 | 113 | 818 | 9999.9 | 9999.9 | 3220
400 | 1599 | 876.3 | 798.8 | 1081 | 1322 | 1459 | 1221 | 1052 | 844.2 | 865.9 | 939.6 | 1039 | 1157 | 1593 | 1577 | 1748 | 1835 | 1747 | 1599 | 1285 | 1094 | 1072 | 931.5 | 885 | 857 | 812.2 | 756.8 | 696.9 | 617 | 578.7 | 619.3 | 512.9 | 342.3 | 260.3 | 184.2 | 120.1 | 83.24 | 102.5 | 779.3 | 9999.9 | 9999.9
405 | 1134 | 1692 | 804.9 | 942.5 | 1264 | 1331 | 1131 | 976.1 | 801.7 | 823.1 | 889.4 | 941.1 | 1059 | 1424 | 1416 | 1560 | 1665 | 1652 | 1537 | 1302 | 1137 | 1142 | 1025 | 1003 | 967.7 | 919.8 | 862.9 | 787.3 | 706.4 | 629.6 | 607.4 | 642.9 | 450.5 | 313.8 | 227.8 | 149.4 | 96.04 | 65.18 | 92.61 | 752 | 9999.9
410 | 681.8 | 2238 | 997 | 982.1 | 1131 | 1218 | 1064 | 909.7 | 779.7 | 785.1 | 828.1 | 874 | 962.2 | 1262 | 1294 | 1435 | 1557 | 1557 | 1490 | 1295 | 1186 | 1204 | 1116 | 1099 | 1069 | 1017 | 952.4 | 873.3 | 788.2 | 696.4 | 628.4 | 643.6 | 576.8 | 382.9 | 263 | 175.9 | 116.6 | 74.87 | 53.94 | 84.68 | 742.7
415 | 482.9 | 1581 | 1844 | 913.4 | 1038 | 1149 | 996.8 | 884.2 | 754.6 | 750.3 | 760.1 | 815.9 | 891.9 | 1128 | 1162 | 1316 | 1432 | 1457 | 1434 | 1281 | 1209 | 1244 | 1178 | 1165 | 1135 | 1088 | 1017 | 927.2 | 842.1 | 749.6 | 672.2 | 631.2 | 583.7 | 488 | 310.5 | 201.6 | 134.5 | 88.51 | 61.13 | 48.32 | 79.25
420 | 435.2 | 777.5 | 2844 | 1193 | 965.7 | 1079 | 950.2 | 857.3 | 724.1 | 718.1 | 737.5 | 761 | 816.2 | 1035 | 1065 | 1199 | 1312 | 1373 | 1359 | 1259 | 1200 | 1261 | 1208 | 1199 | 1178 | 1128 | 1058 | 970.5 | 878.1 | 783.6 | 703.8 | 656.4 | 546 | 525.2 | 383.1 | 227.5 | 152 | 103.4 | 71.5 | 51.89 | 40.55
425 | 379.7 | 524 | 2174 | 2468 | 889.1 | 935.7 | 912.5 | 806.3 | 697.7 | 695.2 | 691.5 | 725.8 | 761.1 | 929.5 | 980.4 | 1112 | 1218 | 1294 | 1284 | 1223 | 1191 | 1253 | 1208 | 1219 | 1190 | 1157 | 1076 | 987.3 | 888.2 | 800.6 | 717.4 | 665.3 | 544.9 | 476.5 | 437.5 | 279.5 | 170.8 | 117 | 86.31 | 62.51 | 47.51
430 | 412 | 522 | 996 | 3661 | 1354 | 843.9 | 792.6 | 767.4 | 691.8 | 670.9 | 664.8 | 683.4 | 708.2 | 861.5 | 900 | 1022 | 1131 | 1193 | 1212 | 1170 | 1166 | 1228 | 1201 | 1213 | 1193 | 1158 | 1083 | 998.7 | 900 | 807.4 | 726.2 | 673.6 | 552.7 | 456.6 | 401.2 | 341.1 | 208.4 | 135.6 | 98.06 | 76.43 | 57.54
435 | 365 | 475.7 | 582.8 | 2903 | 2781 | 833.1 | 769.9 | 727.6 | 661.1 | 652.6 | 660.5 | 654.4 | 665.6 | 793 | 825.5 | 955.1 | 1047 | 1116 | 1145 | 1119 | 1130 | 1201 | 1182 | 1198 | 1187 | 1142 | 1075 | 986.7 | 896.2 | 801.2 | 723.7 | 670.7 | 551.3 | 459.3 | 371.6 | 332.3 | 265.7 | 160 | 114.5 | 87.88 | 67.38
440 | 308.1 | 487.9 | 532.5 | 1155 | 4625 | 1292 | 775 | 691.4 | 630.5 | 628.3 | 623.3 | 628.4 | 650.9 | 752.3 | 769.7 | 884.1 | 971.3 | 1045 | 1064 | 1062 | 1087 | 1153 | 1141 | 1154 | 1150 | 1105 | 1057 | 963.5 | 876.9 | 781.9 | 704.4 | 661 | 543.6 | 457.5 | 373.2 | 295.2 | 278.7 | 209.7 | 133.6 | 100.7 | 79.13
445 | 350.8 | 415.7 | 528.8 | 653.2 | 3793 | 3189 | 708.6 | 665.8 | 624.6 | 608.4 | 596.9 | 602.2 | 609.5 | 690.8 | 706.2 | 802.7 | 892 | 948.6 | 978.8 | 985 | 1012 | 1091 | 1083 | 1099 | 1099 | 1062 | 1004 | 923.4 | 842.2 | 758.3 | 686.8 | 634.6 | 533.4 | 452 | 364.2 | 288.2 | 243.7 | 240.6 | 168.8 | 115 | 90.03
450 | 401.7 | 419.2 | 498.4 | 587.3 | 1401 | 5501 | 1425 | 602.1 | 579.4 | 577.4 | 565 | 577.1 | 577.4 | 647.9 | 655.7 | 731.7 | 809.8 | 870.5 | 904.8 | 910.1 | 947.1 | 1007 | 1005 | 1024 | 1036 | 1002 | 950.6 | 877.5 | 797.5 | 718.7 | 655.7 | 608.9 | 508.1 | 435.5 | 358.2 | 286.3 | 229.8 | 215.7 | 205 | 140 | 101.2
455 | 325.5 | 372.9 | 478.5 | 479.2 | 613.6 | 4635 | 4609 | 616.6 | 545.2 | 532.4 | 529.9 | 540.2 | 545.5 | 594.9 | 595 | 677.1 | 728.9 | 779.3 | 814 | 821.4 | 862 | 925.3 | 930.1 | 947.4 | 946.9 | 931.9 | 871.8 | 818.5 | 737.3 | 672.1 | 613.6 | 570.2 | 484.2 | 417.5 | 351.7 | 281.5 | 232.5 | 195.6 | 194.2 | 172.8 | 118.7
460 | 311.2 | 385.2 | 398.5 | 515.5 | 520.6 | 1581 | 9385 | 1329 | 504.1 | 507.7 | 509.5 | 508.9 | 494.7 | 557.4 | 546.2 | 601.3 | 665.2 | 701.7 | 739.6 | 747.5 | 788.5 | 833.6 | 839.9 | 869.3 | 869 | 847.7 | 809.5 | 752.2 | 684 | 624.6 | 574.5 | 536.7 | 454.4 | 395.5 | 336.1 | 276 | 224.1 | 191.9 | 174 | 178.5 | 148.5
465 | 321.7 | 346.5 | 365.1 | 476.9 | 470.9 | 542.5 | 8882 | 4420 | 503.7 | 462.9 | 483.4 | 469.7 | 483.6 | 512 | 504 | 545.4 | 600.6 | 625.4 | 648.7 | 668.6 | 704.3 | 757.2 | 761 | 780.1 | 782.6 | 770.5 | 729.7 | 691.5 | 635.9 | 573.2 | 526.6 | 495.1 | 420.8 | 371.2 | 318.8 | 267.1 | 228.1 | 189.8 | 168 | 157.5 | 163.5
470 | 304.7 | 298.1 | 418.3 | 420 | 442.3 | 429.5 | 2790 | 8553 | 1206 | 431.3 | 433.1 | 449.4 | 439.3 | 480 | 454 | 494.9 | 532 | 559.6 | 578.7 | 594.4 | 624.7 | 666.5 | 676 | 696.2 | 699.3 | 692.7 | 659.6 | 624.5 | 571.8 | 526 | 486.2 | 450.3 | 390.7 | 347.6 | 306.2 | 260.4 | 219.2 | 189.9 | 166.8 | 146.8 | 150.6
475 | 292.6 | 278.7 | 316.4 | 350.3 | 421.8 | 395.4 | 600.5 | 7625 | 3837 | 437 | 413.2 | 401.9 | 414.6 | 446.5 | 428.5 | 456.7 | 480.7 | 497 | 509.4 | 520.9 | 550.3 | 589.7 | 596.8 | 614.8 | 621.6 | 615 | 596 | 560.1 | 519.1 | 471.8 | 440.8 | 418.1 | 361.9 | 325.6 | 289 | 246.7 | 217 | 190 | 168.4 | 151.7 | 138.3
480 | 307.2 | 259.2 | 311.1 | 274.6 | 376.3 | 358.8 | 380.8 | 2197 | 7018 | 1224 | 384 | 393.5 | 397.5 | 417 | 407.6 | 426.9 | 447.1 | 446.6 | 454.4 | 462.6 | 496 | 528.9 | 526.6 | 543.1 | 555.4 | 545.1 | 539 | 508.4 | 472.1 | 435.7 | 407 | 385 | 337.2 | 310.7 | 280.5 | 244.6 | 217.4 | 192.9 | 172.7 | 153.7 | 142.3
485 | 246.5 | 248.6 | 255.1 | 300 | 341.3 | 377.9 | 370.5 | 464.3 | 5935 | 4131 | 397.6 | 379.7 | 389.9 | 431.5 | 403.4 | 417.3 | 426.4 | 420.2 | 412.5 | 413.4 | 445.9 | 469.3 | 476.4 | 495.8 | 501.1 | 500.4 | 487.8 | 468.1 | 435.4 | 405.1 | 384.7 | 368.2 | 326 | 307.2 | 277.8 | 249.5 | 221 | 197.1 | 181.7 | 161.6 | 147.4
490 | 272.7 | 242.2 | 241 | 248.8 | 278.3 | 356.1 | 353 | 346.1 | 1765 | 7805 | 1020 | 388.3 | 397.8 | 453.4 | 423 | 428.9 | 414.4 | 399.2 | 380.8 | 376.3 | 407.2 | 422.1 | 431.3 | 451.2 | 452.6 | 456.8 | 448.7 | 431.6 | 410.6 | 382.9 | 373.3 | 359.5 | 328.9 | 310.2 | 289.9 | 258.5 | 234 | 210.5 | 193 | 176.5 | 157.6
495 | 238 | 211 | 220.8 | 255.4 | 315.2 | 331.4 | 379.5 | 315.4 | 433.8 | 7050 | 3417 | 414.7 | 433.7 | 486 | 463.6 | 454.5 | 432.5 | 390.2 | 354.7 | 343.8 | 369.7 | 374.7 | 388.8 | 403.5 | 411.2 | 416.1 | 416.1 | 403 | 386.1 | 367.7 | 364.1 | 357.3 | 330.2 | 321.3 | 300.4 | 278.9 | 251.5 | 227.7 | 206.2 | 189.7 | 173.5
500 | 246.2 | 224.1 | 206.6 | 256.3 | 272.2 | 321.9 | 375.4 | 321.7 | 328.9 | 2221 | 6776 | 1013 | 469.6 | 519.5 | 510.2 | 488.7 | 451.1 | 386.9 | 331.4 | 306.9 | 326.8 | 331.4 | 345.3 | 361.4 | 369.1 | 377.4 | 378.2 | 375.6 | 368 | 355 | 354.2 | 357.7 | 335.1 | 330.1 | 320.2 | 295.7 | 270.7 | 244.7 | 224.7 | 206.5 | 190.3