## Sheet1
Report date: | 18:50:10, 09/18/2024
Sample: | 1
File name:
Run date: | 18:44:37, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/335.0 | 3961
2 | 225.0/490.0 | 384
3 | 250.0/275.0 | 394.8
4 | 255.0/280.0 | 509
5 | 280.0/345.0 | 3957
6 | 310.0/420.0 | 1170
7 | 315.0/355.0 | 494.5
8 | 315.0/425.0 | 1184
9 | 320.0/360.0 | 442.8
10 | 325.0/370.0 | 408
11 | 330.0/375.0 | 447.9
12 | 390.0/275.0 | 5.111
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 125.2 | 125.6 | 146.7 | 143.3 | 147.2 | 94.73 | 53.53 | 31.77 | 60.45 | 310.8 | 200.7 | 54.66 | 173.6 | 9999.9 | 9999.9 | 6184 | 46.7 | 19.38 | 12.73 | 8.861 | 7.178 | 6.445 | 5.902 | 5.135 | 5.361 | 4.383 | 5.068 | 4.458 | 4.288 | 4.268 | 4.159 | 3.457 | 4.358 | 3.905 | 4.085 | 4.708 | 4.727 | 6.082 | 4.718 | 3.888 | 3.448
275 | 285.7 | 274.8 | 273.8 | 383.1 | 404.7 | 278.3 | 96.09 | 40.2 | 41.5 | 128 | 394.8 | 206.2 | 138.6 | 878.9 | 9999.9 | 9999.9 | 5873 | 48.19 | 17.65 | 13.84 | 8.96 | 7.673 | 6.407 | 6.208 | 5.326 | 5.428 | 5.406 | 4.581 | 4.24 | 4.257 | 4.336 | 4.336 | 4.432 | 3.876 | 4.097 | 3.53 | 4.115 | 4.401 | 5.111 | 4.774 | 4.104
280 | 512.3 | 398.1 | 531.8 | 616.6 | 729.9 | 497.9 | 176.1 | 64.85 | 51.38 | 72.86 | 240.3 | 509 | 303.4 | 333.2 | 982.6 | 9999.9 | 9999.9 | 5529 | 42.58 | 16.97 | 12.9 | 8.684 | 8.605 | 7.585 | 6.057 | 6.039 | 5.04 | 4.962 | 4.864 | 4.234 | 4.262 | 4.369 | 4.487 | 4.277 | 4.042 | 3.714 | 3.743 | 3.95 | 4.944 | 5.029 | 5.113
285 | 681.7 | 509.8 | 706.6 | 961.5 | 1033 | 803.8 | 333.4 | 133 | 84.03 | 96.54 | 166.8 | 463.3 | 659 | 493.9 | 524.1 | 1097 | 9999.9 | 9999.9 | 5002 | 41.19 | 17.1 | 13.22 | 9.22 | 7.838 | 6.542 | 6.353 | 5.572 | 5.487 | 4.885 | 4.749 | 4.54 | 4.713 | 4.739 | 4.159 | 4.101 | 3.667 | 3.778 | 3.79 | 4.068 | 4.506 | 5.098
290 | 877.8 | 613.2 | 767.8 | 991.4 | 1344 | 1202 | 643.3 | 290.2 | 168.4 | 152.4 | 223.2 | 349 | 780.2 | 966.6 | 790.8 | 744.5 | 1197 | 9999.9 | 9999.9 | 4600 | 34.18 | 17.64 | 12.97 | 9.761 | 8.408 | 7.195 | 6.58 | 5.72 | 5.156 | 5.363 | 4.927 | 4.707 | 5.182 | 4.568 | 3.904 | 4.234 | 3.722 | 3.645 | 3.866 | 4.081 | 4.286
295 | 903.4 | 786.2 | 971.8 | 1233 | 1656 | 1662 | 1046 | 518.1 | 309.6 | 279.6 | 335.7 | 469.6 | 694.5 | 1334 | 1363 | 1119 | 910.3 | 1248 | 9999.9 | 9999.9 | 4248 | 35.47 | 17.19 | 13.09 | 9.612 | 8.763 | 7.276 | 7.201 | 6.298 | 5.882 | 4.86 | 4.769 | 5.579 | 5.063 | 4.723 | 4.47 | 3.863 | 3.94 | 3.552 | 4.089 | 3.956
300 | 1003 | 895.4 | 960.7 | 1301 | 1814 | 2065 | 1430 | 811 | 565.5 | 504.6 | 580.8 | 697.6 | 868.5 | 1258 | 1938 | 1690 | 1288 | 889 | 1090 | 9999.9 | 9999.9 | 4097 | 32.48 | 17.49 | 13.89 | 10.53 | 8.196 | 7.97 | 6.308 | 6.1 | 5.671 | 5.351 | 5.431 | 5.123 | 4.668 | 4.934 | 4.089 | 4.079 | 3.758 | 3.859 | 3.609
305 | 1007 | 1039 | 1055 | 1474 | 2089 | 2423 | 1867 | 1156 | 860.7 | 823.9 | 933.9 | 1029 | 1154 | 1455 | 1930 | 2402 | 1805 | 1200 | 649.5 | 980.1 | 9999.9 | 9999.9 | 3621 | 31.86 | 19.05 | 13.81 | 10.39 | 8.721 | 7.554 | 7.187 | 6.232 | 5.754 | 5.616 | 5.818 | 5.29 | 4.469 | 4.296 | 4.279 | 4.193 | 3.548 | 3.813
310 | 1043 | 1062 | 1245 | 1441 | 2244 | 2843 | 2237 | 1457 | 1213 | 1251 | 1345 | 1405 | 1487 | 1732 | 2080 | 2486 | 2496 | 1606 | 871.7 | 444.9 | 860.2 | 9999.9 | 9999.9 | 3643 | 32.92 | 18.38 | 13.6 | 11.07 | 8.816 | 8.12 | 6.231 | 6.43 | 6.973 | 5.624 | 5.242 | 5.268 | 4.45 | 4.058 | 4.246 | 4.095 | 4.05
315 | 1035 | 1194 | 1330 | 1491 | 2415 | 3126 | 2462 | 1774 | 1531 | 1643 | 1809 | 1804 | 1855 | 2036 | 2367 | 2599 | 2734 | 2245 | 1196 | 569.1 | 277 | 823 | 9999.9 | 9999.9 | 3524 | 32.21 | 17.99 | 14.59 | 10.98 | 9.226 | 7.281 | 7.567 | 6.775 | 6.187 | 5.931 | 4.694 | 4.638 | 4.216 | 4.403 | 4.098 | 3.643
320 | 984.3 | 1190 | 1267 | 1565 | 2554 | 3422 | 2740 | 1966 | 1801 | 1974 | 2176 | 2173 | 2154 | 2328 | 2691 | 2926 | 2832 | 2626 | 1746 | 781.6 | 332.9 | 201.6 | 793.6 | 9999.9 | 9999.9 | 3666 | 31.13 | 19.54 | 14.85 | 11.37 | 9.205 | 8.192 | 8.229 | 6.884 | 5.807 | 5.69 | 4.887 | 4.484 | 4.59 | 4.108 | 4.012
325 | 967.8 | 1187 | 1366 | 1674 | 2712 | 3685 | 2892 | 2120 | 1996 | 2204 | 2429 | 2452 | 2451 | 2637 | 2983 | 3233 | 3135 | 2700 | 2192 | 1129 | 447.3 | 219.5 | 163.8 | 793.5 | 9999.9 | 9999.9 | 3576 | 32.6 | 19.64 | 15.23 | 12.2 | 9.542 | 8.817 | 7.972 | 6.116 | 6.818 | 4.953 | 4.636 | 4.628 | 4.135 | 4.392
330 | 1017 | 1172 | 1409 | 1825 | 2942 | 3724 | 3065 | 2185 | 2070 | 2331 | 2592 | 2646 | 2665 | 2852 | 3229 | 3481 | 3470 | 2948 | 2195 | 1520 | 645.9 | 281.7 | 160.6 | 142.8 | 787.8 | 9999.9 | 9999.9 | 3744 | 33.9 | 22.09 | 15.39 | 11.87 | 9.837 | 9.127 | 7.178 | 6.829 | 5.68 | 4.973 | 4.965 | 4.331 | 4.43
335 | 988.4 | 1239 | 1560 | 1922 | 3217 | 3961 | 3085 | 2177 | 2110 | 2396 | 2661 | 2763 | 2803 | 3085 | 3475 | 3770 | 3727 | 3219 | 2367 | 1458 | 987 | 404.6 | 195.6 | 123.5 | 125.7 | 781.1 | 9999.9 | 9999.9 | 3970 | 34.26 | 21.25 | 17.36 | 12.92 | 10.4 | 8.774 | 7.575 | 5.995 | 5.571 | 4.899 | 4.754 | 4.441
340 | 877.3 | 1240 | 1526 | 1865 | 3179 | 3956 | 2977 | 2164 | 2066 | 2338 | 2618 | 2762 | 2869 | 3194 | 3611 | 3935 | 3891 | 3386 | 2532 | 1481 | 938.5 | 679.6 | 266 | 146.7 | 96.78 | 112.7 | 778.1 | 9999.9 | 9999.9 | 4252 | 33.45 | 22.29 | 18.54 | 13.38 | 9.847 | 8.48 | 6.755 | 6.024 | 5.597 | 5.258 | 4.801
345 | 841.2 | 1135 | 1420 | 1873 | 3128 | 3786 | 2858 | 2015 | 1926 | 2204 | 2512 | 2663 | 2855 | 3226 | 3682 | 3953 | 3957 | 3468 | 2629 | 1543 | 853 | 695.2 | 471.5 | 184.4 | 110.8 | 82.2 | 107.2 | 786.9 | 9999.9 | 9999.9 | 4208 | 36.57 | 25.85 | 18.61 | 13.36 | 9.953 | 7.37 | 6.575 | 6.353 | 5.379 | 5.086
350 | 830.8 | 1072 | 1317 | 1894 | 3061 | 3573 | 2592 | 1928 | 1826 | 2050 | 2306 | 2535 | 2729 | 3149 | 3631 | 3896 | 3886 | 3410 | 2640 | 1572 | 875.8 | 557.5 | 564.2 | 343 | 142.1 | 97.96 | 78.64 | 107.1 | 773.6 | 9999.9 | 9999.9 | 4819 | 40 | 23.89 | 18.43 | 12.67 | 8.783 | 7.003 | 6.661 | 5.748 | 5.226
355 | 829.5 | 916.6 | 1235 | 1723 | 2998 | 3280 | 2521 | 1760 | 1644 | 1895 | 2145 | 2374 | 2608 | 3014 | 3499 | 3763 | 3741 | 3319 | 2561 | 1573 | 902 | 559.2 | 419.2 | 494.5 | 256.6 | 125.8 | 99.7 | 82.35 | 110.7 | 803.8 | 9999.9 | 9999.9 | 4968 | 38.29 | 23.66 | 17.01 | 12.09 | 7.975 | 7.04 | 6.017 | 5.789
360 | 699.1 | 879.8 | 1174 | 1681 | 2512 | 3107 | 2272 | 1615 | 1523 | 1716 | 1935 | 2181 | 2439 | 2835 | 3289 | 3536 | 3546 | 3145 | 2468 | 1536 | 917.3 | 575.7 | 396.5 | 375.9 | 442.8 | 207.5 | 126 | 101.7 | 85.13 | 118 | 780.2 | 9999.9 | 9999.9 | 5085 | 37.92 | 23.63 | 14.84 | 11.49 | 8.598 | 6.865 | 5.866
365 | 606.5 | 815.3 | 1066 | 1497 | 2384 | 2804 | 2052 | 1436 | 1376 | 1536 | 1751 | 1974 | 2229 | 2632 | 3031 | 3287 | 3278 | 2933 | 2323 | 1476 | 907.6 | 598.5 | 425.1 | 322.6 | 380.2 | 390.4 | 188.8 | 133.6 | 108.9 | 93.63 | 117.4 | 805.8 | 9999.9 | 9999.9 | 4817 | 35.99 | 20.17 | 15.32 | 10.54 | 7.746 | 6.646
370 | 612.3 | 714.3 | 947.4 | 1344 | 2234 | 2543 | 1860 | 1307 | 1209 | 1382 | 1592 | 1775 | 2032 | 2385 | 2780 | 2976 | 3019 | 2705 | 2154 | 1408 | 900.2 | 620.3 | 454.1 | 360.3 | 313.4 | 408 | 357.6 | 184.1 | 141.5 | 114.3 | 97.81 | 118.2 | 844.2 | 9999.9 | 9999.9 | 4804 | 31.79 | 19.42 | 14.12 | 9.859 | 7.556
375 | 542.4 | 635.1 | 913.6 | 1211 | 1964 | 2235 | 1623 | 1156 | 1105 | 1252 | 1400 | 1586 | 1827 | 2154 | 2497 | 2691 | 2711 | 2448 | 1998 | 1337 | 890.8 | 638.1 | 498.4 | 403.9 | 349.3 | 334.1 | 447.9 | 325.4 | 190.1 | 152.1 | 125.3 | 95.67 | 122.3 | 853.9 | 9999.9 | 9999.9 | 4130 | 30.33 | 18.41 | 12.57 | 9.107
380 | 485.1 | 609.1 | 748.8 | 1232 | 1731 | 1973 | 1444 | 1074 | 1024 | 1113 | 1264 | 1404 | 1614 | 1928 | 2221 | 2424 | 2441 | 2223 | 1830 | 1265 | 881.7 | 684.1 | 545.9 | 466.4 | 410.5 | 369.3 | 384.7 | 472.7 | 307.4 | 209.2 | 171.1 | 131.7 | 103.9 | 128.2 | 844.6 | 9999.9 | 9999.9 | 3952 | 29.36 | 17.14 | 12.8
385 | 471 | 651.5 | 708.6 | 1103 | 1487 | 1764 | 1256 | 950.6 | 919.3 | 1007 | 1119 | 1261 | 1424 | 1717 | 1985 | 2154 | 2187 | 2021 | 1698 | 1233 | 900 | 725.7 | 605.5 | 545.4 | 492.5 | 449.3 | 426.3 | 450.7 | 485.9 | 313.1 | 229.6 | 182.4 | 142 | 107.4 | 128.6 | 863.9 | 9999.9 | 9999.9 | 3831 | 26.92 | 16.64
390 | 556.4 | 596.6 | 712.6 | 995.8 | 1433 | 1584 | 1187 | 920.3 | 861 | 927.7 | 1013 | 1124 | 1283 | 1507 | 1755 | 1936 | 1968 | 1853 | 1590 | 1205 | 926.8 | 788.5 | 699.7 | 639.8 | 600.2 | 550.4 | 512.3 | 475.1 | 511.4 | 491.4 | 326.5 | 248 | 198 | 149.7 | 107.9 | 125.9 | 793.1 | 9999.9 | 9999.9 | 3731 | 27.11
395 | 1104 | 517 | 678.3 | 881.6 | 1310 | 1421 | 1087 | 863.6 | 788.5 | 855.9 | 922.8 | 1017 | 1157 | 1362 | 1583 | 1719 | 1787 | 1719 | 1525 | 1196 | 978.6 | 866.8 | 792.2 | 749.1 | 713.2 | 664.2 | 618.2 | 566.6 | 521.5 | 570.8 | 492 | 333.7 | 262.6 | 199.2 | 141.3 | 98.56 | 111.6 | 818 | 9999.9 | 9999.9 | 3485
400 | 1601 | 844.8 | 696.1 | 882.1 | 1292 | 1273 | 1037 | 821.3 | 755.9 | 788.8 | 839.9 | 922.6 | 1037 | 1217 | 1406 | 1544 | 1645 | 1601 | 1465 | 1219 | 1037 | 938.7 | 891.9 | 867.3 | 827.7 | 798.5 | 730.4 | 671.6 | 607.1 | 574 | 602 | 467.1 | 332.9 | 256.4 | 184.8 | 121.6 | 80.48 | 104 | 781.5 | 9999.9 | 9999.9
405 | 1132 | 1596 | 658.7 | 825.3 | 1100 | 1196 | 959.1 | 760.8 | 713.7 | 726 | 782.2 | 848.2 | 932.3 | 1080 | 1259 | 1414 | 1517 | 1507 | 1427 | 1216 | 1080 | 1038 | 996.2 | 970.7 | 941 | 897.8 | 838.7 | 764.3 | 689.5 | 627.2 | 593.2 | 602.7 | 435.8 | 313.4 | 225.4 | 150.7 | 97.12 | 65.58 | 92.81 | 747.5 | 9999.9
410 | 605.3 | 2178 | 892.4 | 788.8 | 1071 | 1069 | 892.5 | 741.2 | 684.1 | 676.5 | 722.3 | 767.8 | 851.6 | 991.1 | 1153 | 1298 | 1417 | 1435 | 1376 | 1227 | 1129 | 1089 | 1084 | 1063 | 1048 | 985.9 | 928.8 | 849.9 | 773.9 | 686.6 | 615.8 | 599.8 | 565 | 384 | 264.6 | 180.9 | 114.9 | 75.74 | 54.93 | 85.06 | 749.8
415 | 405.9 | 1696 | 1962 | 760.3 | 969.6 | 1006 | 814.5 | 703.3 | 668.6 | 675.9 | 684.4 | 728.1 | 782.7 | 902.4 | 1038 | 1196 | 1317 | 1339 | 1330 | 1230 | 1152 | 1140 | 1142 | 1132 | 1112 | 1062 | 997 | 909.6 | 820.3 | 740.6 | 659.2 | 588.3 | 578.4 | 486.7 | 309.6 | 204.2 | 135.4 | 89.76 | 62.07 | 46.79 | 82.86
420 | 320.9 | 667.2 | 2850 | 1097 | 906.7 | 898.1 | 797.9 | 705.1 | 659.7 | 650.3 | 669.6 | 676.4 | 731.7 | 836.2 | 957.9 | 1101 | 1219 | 1278 | 1287 | 1199 | 1157 | 1150 | 1170 | 1167 | 1157 | 1107 | 1038 | 959.7 | 862.4 | 772.6 | 688.7 | 610.7 | 544.3 | 521.5 | 383.1 | 233.6 | 151.3 | 106.1 | 73.45 | 52.83 | 42.76
425 | 390.8 | 459.5 | 2209 | 2406 | 834.5 | 822.5 | 732.2 | 648.9 | 622.7 | 602.2 | 619.2 | 633.9 | 690 | 758.1 | 888 | 1014 | 1128 | 1194 | 1218 | 1152 | 1141 | 1154 | 1166 | 1184 | 1177 | 1124 | 1055 | 965.1 | 872.2 | 787.2 | 701.1 | 620.4 | 534 | 476.6 | 435.1 | 285.4 | 172.5 | 120 | 85.12 | 62.79 | 47.52
430 | 415.7 | 409.1 | 894.2 | 3457 | 1281 | 796.5 | 715.2 | 641.8 | 608.2 | 591.2 | 609.8 | 605.6 | 645.8 | 703.8 | 814.5 | 938.6 | 1065 | 1133 | 1152 | 1123 | 1107 | 1139 | 1160 | 1180 | 1176 | 1126 | 1053 | 971.5 | 878.1 | 792.1 | 713.5 | 623.1 | 541.4 | 458.3 | 403.8 | 345.9 | 210.2 | 136.6 | 99 | 74.83 | 59.23
435 | 365.8 | 409.4 | 511.5 | 2847 | 3017 | 740.8 | 676 | 625.7 | 597.5 | 592.7 | 567.7 | 578.8 | 613.3 | 677.6 | 781.8 | 869.5 | 974.3 | 1054 | 1080 | 1069 | 1073 | 1107 | 1135 | 1164 | 1150 | 1111 | 1053 | 966.7 | 876.3 | 781.8 | 705.4 | 628.1 | 545.6 | 461.5 | 373 | 332.8 | 266.9 | 161.4 | 115 | 88.35 | 68.71
440 | 308.5 | 400.5 | 495 | 1131 | 5007 | 1251 | 647.2 | 583.1 | 561.3 | 551.9 | 555.2 | 548 | 577.4 | 619.7 | 714.3 | 814.6 | 902.7 | 979.7 | 1008 | 1006 | 1025 | 1069 | 1098 | 1131 | 1123 | 1090 | 1025 | 943 | 854.9 | 776.1 | 693.1 | 613.8 | 540.8 | 456.9 | 366.7 | 300.7 | 280.3 | 211.1 | 133 | 101.8 | 80.82
445 | 280.1 | 412.4 | 470.1 | 594 | 4206 | 3383 | 638.8 | 558.1 | 551.3 | 545.1 | 535 | 547.4 | 565.4 | 592.8 | 661.8 | 752.7 | 822.5 | 906.9 | 948.4 | 943 | 969.7 | 1010 | 1042 | 1074 | 1068 | 1041 | 982 | 904.7 | 824.8 | 743 | 667 | 595.5 | 526.7 | 448.2 | 365.2 | 294.5 | 245.7 | 242.9 | 170.1 | 117.1 | 92.44
450 | 312.2 | 353.5 | 474.9 | 469.8 | 1467 | 5826 | 1155 | 515.2 | 524.5 | 507 | 531.5 | 525.9 | 524 | 567.3 | 612.4 | 691.5 | 758.2 | 813.8 | 865.1 | 867.5 | 895.1 | 926.9 | 984.5 | 996.9 | 1004 | 980 | 921.1 | 856.5 | 779 | 701.5 | 631 | 566.7 | 507.8 | 437.3 | 360.5 | 289.7 | 232.4 | 217.6 | 209.2 | 140.2 | 106.3
455 | 256.7 | 345.6 | 420.8 | 485.1 | 572.4 | 5250 | 3555 | 494 | 491.3 | 477.7 | 493.1 | 483.7 | 486.3 | 522.4 | 559.8 | 622.7 | 688.7 | 729.3 | 770.9 | 787.1 | 824.2 | 855.9 | 899.6 | 926.5 | 931.9 | 908.5 | 859.6 | 798.6 | 728.2 | 664.1 | 600.6 | 533.5 | 478.1 | 418.6 | 352.1 | 288 | 234.2 | 196.1 | 196.6 | 176.9 | 120.4
460 | 272.5 | 322.3 | 396.9 | 441.7 | 522.1 | 1749 | 6760 | 1167 | 473.6 | 453.9 | 454.7 | 447.7 | 459.6 | 474 | 502.2 | 570.3 | 629.8 | 661.9 | 700 | 709.1 | 739.5 | 775 | 818.7 | 848.6 | 849.8 | 827.5 | 783.1 | 741.6 | 671.7 | 611.1 | 558.4 | 495.5 | 446.7 | 398.8 | 337.2 | 283.2 | 234.1 | 192.9 | 174.6 | 183.3 | 150.8
465 | 224.1 | 293.8 | 304.6 | 461.9 | 468.1 | 523.8 | 5748 | 3644 | 450.8 | 415 | 426 | 424.2 | 428.6 | 450.6 | 461.1 | 504.5 | 564 | 600.2 | 623.6 | 636.8 | 662.7 | 697.6 | 736.9 | 757.6 | 766.8 | 755.6 | 719.4 | 670.8 | 616.5 | 561.2 | 509.5 | 464.5 | 415 | 368.4 | 318.7 | 272 | 228.4 | 194.2 | 170.8 | 161.3 | 166.4
470 | 229 | 296.2 | 311.1 | 397.5 | 465.2 | 429.3 | 1717 | 6963 | 1139 | 402.6 | 393.7 | 393.9 | 410.4 | 409.6 | 428.6 | 464.8 | 497.5 | 541.2 | 554.1 | 563.6 | 587.7 | 619.1 | 653 | 675.6 | 686.1 | 670.8 | 647.2 | 610.4 | 560.9 | 514 | 467.6 | 422.8 | 386.4 | 349.6 | 302.6 | 264.3 | 224.4 | 191.6 | 167.1 | 149.7 | 150.3
475 | 214 | 222.6 | 275.8 | 382.2 | 459.4 | 358.4 | 451.6 | 5951 | 3712 | 391.5 | 376.4 | 370.1 | 379.5 | 380.3 | 390.3 | 426.3 | 448.8 | 469.4 | 492.8 | 497.3 | 520.5 | 550.5 | 579 | 601.4 | 604.1 | 604.3 | 585.9 | 550.7 | 511.7 | 464.4 | 423.7 | 389.9 | 356.4 | 328.2 | 292.2 | 252.6 | 217.9 | 191.9 | 169.6 | 150.9 | 136.9
480 | 181.3 | 207.6 | 259.7 | 315.2 | 410.7 | 363.1 | 331.3 | 1762 | 6877 | 1078 | 342.2 | 351.9 | 363.9 | 375.4 | 376.2 | 398.6 | 419.4 | 430.8 | 440.8 | 443 | 465.3 | 487.5 | 508.5 | 537.1 | 540.2 | 544 | 525.3 | 496.9 | 465.9 | 427.2 | 392.7 | 362.7 | 335.9 | 310.5 | 283.6 | 246 | 215.9 | 191.9 | 172.6 | 155.7 | 139
485 | 175 | 204.1 | 267.8 | 278.2 | 344.6 | 346.1 | 322.5 | 409.3 | 5918 | 3591 | 362.9 | 343.8 | 362.1 | 381.1 | 379.4 | 388.5 | 399.8 | 402.3 | 390.1 | 392.5 | 412.2 | 436.1 | 460.8 | 479.1 | 491.3 | 491.1 | 479 | 458.1 | 431 | 399 | 372 | 347.4 | 323.8 | 306.3 | 279.5 | 251.3 | 223.9 | 197.9 | 180.4 | 161.9 | 148.6
490 | 189.3 | 190.3 | 246.8 | 264 | 327.1 | 384 | 308.6 | 306.4 | 1754 | 6806 | 1017 | 352.6 | 382.4 | 402.4 | 406 | 411.5 | 403.1 | 382.6 | 364.5 | 365.1 | 374.1 | 389.3 | 417.6 | 436.7 | 445 | 450.1 | 439 | 419.4 | 407.1 | 379.1 | 358.1 | 337.5 | 322.4 | 309.6 | 287.4 | 262.5 | 237.7 | 213.8 | 191.7 | 173 | 159.6
495 | 200.5 | 203.7 | 211.1 | 247.2 | 314.5 | 343.6 | 323.2 | 269.5 | 405.4 | 5983 | 3579 | 392.3 | 408.3 | 450 | 451 | 439.6 | 406.2 | 374.7 | 335.4 | 324.2 | 336.8 | 354.3 | 369.5 | 391.1 | 402.9 | 408.5 | 404.1 | 400.6 | 384.1 | 363.5 | 346 | 337.2 | 325.8 | 314.6 | 298 | 279.9 | 254 | 230.4 | 209.5 | 188.8 | 175
500 | 204.7 | 192.4 | 203.4 | 244.3 | 291.8 | 280.8 | 339.3 | 273.4 | 286 | 1928 | 6998 | 986.5 | 434.7 | 495.7 | 499.4 | 463.1 | 423.4 | 374.4 | 314.5 | 291.7 | 300 | 313.8 | 333.3 | 355.8 | 362.9 | 371.6 | 372.7 | 370.5 | 361.8 | 352.9 | 342.5 | 337.8 | 331 | 326.5 | 315.7 | 296.3 | 272.6 | 246.9 | 221.7 | 203.6 | 188.1