## Sheet1
Report date: | 18:55:37, 09/18/2024
Sample: | 1
File name:
Run date: | 18:50:09, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/340.0 | 2874
2 | 245.0/430.0 | 618.6
3 | 250.0/275.0 | 393.3
4 | 255.0/280.0 | 505.3
5 | 275.0/345.0 | 3835
6 | 310.0/425.0 | 1184
7 | 315.0/355.0 | 485.5
8 | 320.0/360.0 | 441
9 | 325.0/370.0 | 403.1
10 | 330.0/375.0 | 437.8
11 | 335.0/380.0 | 465.2
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 155.3 | 144.8 | 112.2 | 120.7 | 105.2 | 89.53 | 49.23 | 26.58 | 52.93 | 318.1 | 201.3 | 58.74 | 159.8 | 9999.9 | 9999.9 | 6004 | 46.84 | 17.74 | 14.08 | 10.52 | 7.423 | 6.15 | 6.136 | 5.407 | 4.707 | 5.266 | 4.643 | 4.374 | 3.908 | 3.893 | 3.852 | 3.327 | 3.445 | 4.115 | 3.848 | 4.255 | 4.624 | 4.786 | 5.064 | 3.921 | 3.585
275 | 283.2 | 254.4 | 282 | 363.4 | 364.5 | 289.9 | 111.9 | 40.36 | 42.44 | 124.2 | 393.3 | 210.7 | 147 | 877.7 | 9999.9 | 9999.9 | 5646 | 43.37 | 17.8 | 13.47 | 9.123 | 7.944 | 6.98 | 5.864 | 5.545 | 5.087 | 5.16 | 4.669 | 4.501 | 3.882 | 4.001 | 3.992 | 3.957 | 3.714 | 3.577 | 3.948 | 3.549 | 4.129 | 4.85 | 4.283 | 3.706
280 | 466.3 | 424.5 | 481.1 | 641.2 | 690.7 | 485.3 | 165.3 | 60.65 | 53.6 | 79.47 | 232.1 | 505.3 | 306 | 324.6 | 972.8 | 9999.9 | 9999.9 | 5266 | 40.88 | 17.35 | 12.8 | 10.36 | 7.95 | 6.498 | 6.44 | 6.25 | 5.171 | 4.448 | 4.727 | 4.045 | 3.932 | 4.417 | 3.854 | 4.08 | 3.515 | 3.604 | 3.547 | 3.647 | 4.239 | 4.751 | 4.204
285 | 710.4 | 543.3 | 687.3 | 908.7 | 1038 | 829.5 | 330.5 | 116.6 | 82.15 | 97.15 | 161.2 | 452.5 | 702.7 | 484.7 | 519.3 | 1084 | 9999.9 | 9999.9 | 4896 | 40.1 | 17.86 | 13.23 | 10.14 | 7.794 | 6.561 | 6.434 | 6.17 | 5.657 | 4.905 | 4.362 | 4.141 | 4.049 | 4.53 | 4.094 | 3.969 | 4.05 | 3.496 | 3.605 | 3.845 | 4.224 | 4.666
290 | 727.2 | 585.1 | 811.2 | 1092 | 1288 | 1120 | 615.9 | 285.7 | 164.1 | 149.4 | 206.8 | 346.1 | 837.9 | 941.3 | 787.6 | 737.8 | 1207 | 9999.9 | 9999.9 | 4518 | 34.63 | 16.73 | 13.12 | 10.83 | 8.274 | 7.171 | 6.366 | 6.007 | 5.463 | 5.077 | 5.267 | 4.266 | 4.284 | 4.622 | 4.478 | 3.593 | 3.495 | 3.923 | 3.731 | 3.671 | 4.307
295 | 816 | 705.3 | 892.1 | 1223 | 1469 | 1493 | 917.2 | 507.8 | 325.3 | 266 | 339.1 | 465.9 | 731.7 | 1313 | 1351 | 1133 | 908.2 | 1217 | 9999.9 | 9999.9 | 4238 | 35.82 | 17.53 | 13.73 | 9.004 | 7.954 | 7.677 | 6.384 | 5.956 | 6.043 | 4.978 | 4.541 | 4.822 | 4.479 | 4.673 | 3.86 | 3.734 | 4.055 | 3.641 | 3.516 | 3.628
300 | 895.9 | 884.6 | 999.4 | 1389 | 1747 | 1762 | 1308 | 791 | 541.8 | 488 | 584.3 | 709.8 | 907.2 | 1255 | 1955 | 1690 | 1283 | 864.6 | 1077 | 9999.9 | 9999.9 | 3932 | 31.58 | 17.26 | 13.25 | 10.79 | 8.021 | 7.164 | 6.321 | 6.185 | 4.934 | 5.508 | 4.73 | 4.561 | 4.334 | 4.495 | 3.982 | 3.768 | 3.664 | 3.656 | 3.4
305 | 970.1 | 963.6 | 1030 | 1445 | 1830 | 2026 | 1628 | 1144 | 846.4 | 838.9 | 898.9 | 1009 | 1178 | 1459 | 1917 | 2398 | 1782 | 1166 | 631.5 | 966.3 | 9999.9 | 9999.9 | 3576 | 30.47 | 17.96 | 12.9 | 10.08 | 8.673 | 7.076 | 6.574 | 5.912 | 5.627 | 5.681 | 5.076 | 4.603 | 4.232 | 4.17 | 3.69 | 3.737 | 3.426 | 3.564
310 | 977.9 | 1023 | 1203 | 1359 | 1958 | 2197 | 1913 | 1431 | 1201 | 1225 | 1342 | 1445 | 1504 | 1710 | 2091 | 2481 | 2491 | 1551 | 846.2 | 437.5 | 866.3 | 9999.9 | 9999.9 | 3659 | 32.51 | 17.66 | 14.17 | 11.14 | 7.803 | 7.346 | 6.873 | 5.878 | 5.622 | 5.134 | 5.05 | 4.366 | 4.596 | 3.971 | 4.306 | 3.792 | 3.636
315 | 961.3 | 1075 | 1263 | 1559 | 1901 | 2290 | 2191 | 1739 | 1550 | 1621 | 1722 | 1828 | 1832 | 1998 | 2351 | 2581 | 2698 | 2166 | 1159 | 555.3 | 280.4 | 824.5 | 9999.9 | 9999.9 | 3429 | 31.23 | 18.89 | 14.38 | 10.12 | 8.356 | 7.473 | 6.666 | 5.921 | 5.812 | 5.492 | 4.798 | 4.784 | 4.246 | 3.945 | 3.428 | 3.631
320 | 1076 | 1180 | 1320 | 1573 | 2115 | 2465 | 2370 | 1912 | 1783 | 1995 | 2108 | 2183 | 2170 | 2309 | 2635 | 2894 | 2798 | 2561 | 1683 | 753.8 | 331.4 | 199.7 | 795.9 | 9999.9 | 9999.9 | 3514 | 30.7 | 17.65 | 14.04 | 10.11 | 9.015 | 7.821 | 6.448 | 6.149 | 5.709 | 5.144 | 4.788 | 4.224 | 4.264 | 4.254 | 3.781
325 | 999 | 1286 | 1363 | 1620 | 2084 | 2704 | 2494 | 2062 | 1929 | 2161 | 2382 | 2464 | 2441 | 2562 | 2899 | 3197 | 3076 | 2599 | 2113 | 1081 | 436.8 | 210.2 | 161.2 | 796.3 | 9999.9 | 9999.9 | 3521 | 31.1 | 18.37 | 14.57 | 11.05 | 8.458 | 7.436 | 6.616 | 6.477 | 5.594 | 5.012 | 4.739 | 4.273 | 4.201 | 4.189
330 | 1024 | 1197 | 1483 | 1737 | 2265 | 2693 | 2613 | 2123 | 2015 | 2288 | 2526 | 2656 | 2654 | 2797 | 3168 | 3444 | 3357 | 2832 | 2085 | 1458 | 632.2 | 267.5 | 155.3 | 142 | 779.2 | 9999.9 | 9999.9 | 3486 | 30.46 | 18.49 | 14.9 | 10.95 | 8.947 | 8.247 | 6.901 | 6.408 | 5.578 | 5.277 | 4.844 | 4.473 | 4.169
335 | 924.6 | 1212 | 1392 | 1827 | 2309 | 2815 | 2634 | 2141 | 2100 | 2347 | 2605 | 2764 | 2769 | 3006 | 3395 | 3689 | 3604 | 3078 | 2245 | 1401 | 957.9 | 391.2 | 186.3 | 121.3 | 122.3 | 773.7 | 9999.9 | 9999.9 | 3639 | 31.4 | 19.12 | 14.46 | 11.83 | 9.351 | 7.794 | 6.732 | 6.132 | 5.571 | 5.035 | 4.346 | 4.545
340 | 922 | 1166 | 1438 | 1817 | 2411 | 2874 | 2580 | 2065 | 2015 | 2316 | 2589 | 2734 | 2876 | 3120 | 3511 | 3829 | 3761 | 3223 | 2386 | 1385 | 919.5 | 657.3 | 263 | 139.5 | 93.57 | 107.6 | 779 | 9999.9 | 9999.9 | 3798 | 31.8 | 20.45 | 16.33 | 11.72 | 9.688 | 7.433 | 6.69 | 5.63 | 5.233 | 4.641 | 4.435
345 | 887.4 | 1119 | 1340 | 1821 | 2363 | 2760 | 2529 | 1934 | 1881 | 2145 | 2467 | 2670 | 2834 | 3129 | 3558 | 3835 | 3799 | 3280 | 2459 | 1452 | 818.6 | 681.1 | 465 | 181.4 | 110.8 | 80.25 | 106.8 | 781.1 | 9999.9 | 9999.9 | 3979 | 31.78 | 20.51 | 15.7 | 12.14 | 8.865 | 7.351 | 6.483 | 5.751 | 4.82 | 4.68
350 | 833.2 | 1020 | 1303 | 1768 | 2278 | 2743 | 2346 | 1822 | 1797 | 2008 | 2291 | 2541 | 2737 | 3053 | 3492 | 3743 | 3727 | 3249 | 2494 | 1472 | 841.5 | 533.7 | 556.7 | 340.1 | 141.1 | 96.42 | 79.31 | 106.4 | 766.9 | 9999.9 | 9999.9 | 4105 | 30.91 | 21.22 | 15.27 | 11.42 | 8.538 | 6.858 | 5.725 | 5.481 | 4.722
355 | 698.8 | 985.3 | 1224 | 1679 | 2254 | 2642 | 2289 | 1695 | 1631 | 1838 | 2101 | 2332 | 2587 | 2945 | 3340 | 3641 | 3593 | 3146 | 2427 | 1474 | 867.8 | 539.7 | 408.5 | 485.5 | 254.6 | 123.9 | 96.79 | 82.79 | 108.6 | 790.2 | 9999.9 | 9999.9 | 4169 | 33.24 | 20.64 | 14.81 | 10.56 | 8.409 | 6.415 | 5.736 | 5.383
360 | 654.6 | 859.8 | 1099 | 1529 | 2048 | 2471 | 2018 | 1540 | 1470 | 1656 | 1890 | 2156 | 2422 | 2764 | 3142 | 3410 | 3382 | 2982 | 2317 | 1443 | 876.8 | 562.3 | 390.6 | 371.7 | 441 | 212.1 | 126.5 | 102.3 | 85.06 | 114.5 | 770.3 | 9999.9 | 9999.9 | 4496 | 32.38 | 19.91 | 14.74 | 9.757 | 7.666 | 6.144 | 5.331
365 | 620.2 | 748.8 | 1030 | 1396 | 2046 | 2241 | 1818 | 1385 | 1326 | 1506 | 1728 | 1966 | 2212 | 2549 | 2941 | 3172 | 3124 | 2782 | 2183 | 1400 | 882 | 584.5 | 414.4 | 325.1 | 379.4 | 392.5 | 188.7 | 129.8 | 105.4 | 87.41 | 115.9 | 785 | 9999.9 | 9999.9 | 4345 | 32.26 | 18.34 | 13.11 | 9.926 | 7.023 | 6.046
370 | 542.8 | 671.6 | 1004 | 1288 | 1895 | 2067 | 1625 | 1266 | 1237 | 1365 | 1540 | 1783 | 2011 | 2331 | 2663 | 2873 | 2855 | 2578 | 2053 | 1338 | 868.4 | 606.5 | 455.9 | 355.5 | 312.8 | 403.1 | 352.7 | 183.8 | 140.3 | 111.8 | 93.36 | 112.1 | 795.2 | 9999.9 | 9999.9 | 4129 | 30.47 | 17.57 | 12.92 | 9.593 | 6.678
375 | 584.5 | 665.8 | 854.9 | 1117 | 1586 | 1802 | 1545 | 1166 | 1091 | 1230 | 1406 | 1589 | 1804 | 2098 | 2383 | 2586 | 2599 | 2336 | 1884 | 1265 | 868.8 | 633.7 | 490.8 | 400.3 | 342.7 | 329.3 | 437.8 | 327 | 188 | 149.1 | 122.2 | 95.17 | 115.9 | 810.4 | 9999.9 | 9999.9 | 3911 | 28.14 | 16.74 | 12.59 | 8.659
380 | 490.8 | 577.8 | 762.3 | 1054 | 1484 | 1644 | 1356 | 1042 | 988.3 | 1099 | 1270 | 1413 | 1610 | 1878 | 2142 | 2319 | 2329 | 2106 | 1734 | 1213 | 855.7 | 656.6 | 543 | 459.2 | 404.2 | 367.2 | 377.2 | 465.2 | 307.2 | 198.8 | 165.9 | 129.9 | 99.88 | 121.3 | 810.5 | 9999.9 | 9999.9 | 3601 | 25.6 | 16.42 | 11.65
385 | 502.3 | 535.8 | 706.5 | 923.3 | 1256 | 1444 | 1216 | 961.4 | 913.9 | 1005 | 1111 | 1243 | 1438 | 1666 | 1896 | 2064 | 2077 | 1923 | 1625 | 1165 | 876 | 710.6 | 603.1 | 540.8 | 487 | 447.1 | 410.9 | 443.9 | 485 | 305.9 | 228.8 | 181.5 | 139 | 106.6 | 123.8 | 826.1 | 9999.9 | 9999.9 | 3387 | 24.44 | 14.39
390 | 553.7 | 506 | 618.8 | 970.1 | 1186 | 1351 | 1125 | 858.1 | 838.7 | 891.4 | 1002 | 1112 | 1276 | 1482 | 1692 | 1834 | 1879 | 1761 | 1541 | 1163 | 912.5 | 775.2 | 691.7 | 636.4 | 590.3 | 548.9 | 506.2 | 464.6 | 503.2 | 486.1 | 319.3 | 244.2 | 195.4 | 146 | 106.1 | 119.8 | 791.3 | 9999.9 | 9999.9 | 3365 | 22.69
395 | 977.2 | 535 | 620.1 | 843.8 | 1114 | 1173 | 1041 | 840.5 | 791.4 | 836 | 916.7 | 1003 | 1158 | 1318 | 1509 | 1666 | 1739 | 1641 | 1467 | 1167 | 958.7 | 855.7 | 788.5 | 742.5 | 707.1 | 662.5 | 616.1 | 556.8 | 513.3 | 568.8 | 484.2 | 329.7 | 259.4 | 196.1 | 141.4 | 96.46 | 110.7 | 810.2 | 9999.9 | 9999.9 | 3015
400 | 1541 | 760.8 | 659.9 | 831.6 | 1071 | 1140 | 948.6 | 768.5 | 769.5 | 773.5 | 829.5 | 921.3 | 1048 | 1188 | 1377 | 1510 | 1595 | 1549 | 1422 | 1180 | 1014 | 943 | 886.4 | 856.4 | 822.2 | 776.7 | 722.4 | 664.7 | 602.6 | 562 | 593.2 | 466.5 | 331.3 | 252.8 | 179.9 | 121.6 | 81.71 | 100.5 | 764.4 | 9999.9 | 9999.9
405 | 1222 | 1462 | 668.9 | 757.1 | 914.3 | 1049 | 876.2 | 740.7 | 717.6 | 744.2 | 788.6 | 851.2 | 951.9 | 1076 | 1242 | 1376 | 1473 | 1476 | 1374 | 1201 | 1076 | 1011 | 991.4 | 963.5 | 936.7 | 895.3 | 827.8 | 762.3 | 689.5 | 618.2 | 586.7 | 595.7 | 434.6 | 308.3 | 225.6 | 149.2 | 96.73 | 65.71 | 89.58 | 738 | 9999.9
410 | 520 | 1995 | 829.8 | 750.8 | 918.7 | 923.5 | 876.9 | 713.8 | 691.7 | 704.1 | 726.1 | 810.3 | 863.3 | 972.5 | 1122 | 1269 | 1375 | 1410 | 1348 | 1205 | 1121 | 1078 | 1068 | 1060 | 1034 | 978.7 | 912.7 | 840.5 | 759.5 | 679.6 | 613.4 | 595.3 | 557.9 | 380.3 | 262.3 | 178.1 | 115.4 | 74.68 | 55.14 | 82.33 | 737.3
415 | 366.9 | 1489 | 1879 | 735.9 | 809.1 | 913 | 809.6 | 691.4 | 671.9 | 667.2 | 689.8 | 735.4 | 799.3 | 895.9 | 1026 | 1170 | 1273 | 1313 | 1317 | 1199 | 1138 | 1135 | 1131 | 1127 | 1103 | 1061 | 985.7 | 905.4 | 813.2 | 729.2 | 656.6 | 585.8 | 577.3 | 483.3 | 305.5 | 198.3 | 133.8 | 91.69 | 62.85 | 46.11 | 78.66
420 | 360.4 | 708.5 | 2634 | 1060 | 809.5 | 799.6 | 797.3 | 675.9 | 629.8 | 627 | 654.9 | 700.2 | 731.2 | 817.6 | 954.4 | 1083 | 1191 | 1262 | 1254 | 1186 | 1146 | 1133 | 1169 | 1160 | 1148 | 1099 | 1025 | 942.5 | 844.6 | 757.4 | 681.8 | 595.4 | 534.2 | 520.6 | 382 | 227.3 | 153.4 | 104.6 | 72.68 | 52.23 | 41.24
425 | 359.6 | 412.8 | 2106 | 2371 | 785.6 | 761.6 | 743.8 | 674.1 | 598.5 | 594.1 | 622.2 | 653.6 | 683.6 | 770.3 | 883.9 | 992.8 | 1122 | 1178 | 1196 | 1152 | 1134 | 1150 | 1184 | 1179 | 1167 | 1119 | 1048 | 959.1 | 862.4 | 778.6 | 699.7 | 613.9 | 531.9 | 469.1 | 435.4 | 283.1 | 174.8 | 119.6 | 84.82 | 64.4 | 48.09
430 | 277.1 | 442.8 | 868.1 | 3391 | 1202 | 751.8 | 704.7 | 635.8 | 589.3 | 618.6 | 598.3 | 622 | 650.2 | 723.1 | 821 | 937 | 1051 | 1106 | 1128 | 1104 | 1102 | 1130 | 1163 | 1179 | 1163 | 1124 | 1054 | 967.2 | 875.7 | 780.7 | 702.6 | 617.6 | 536.9 | 454.4 | 405.7 | 345.2 | 209 | 138.3 | 99.55 | 75.33 | 58.81
435 | 311.7 | 387 | 484.3 | 2697 | 2693 | 677.6 | 692.4 | 609.5 | 585.3 | 588.1 | 584.1 | 601.7 | 608 | 677.5 | 766 | 867.7 | 967.7 | 1045 | 1073 | 1061 | 1069 | 1099 | 1143 | 1158 | 1152 | 1104 | 1038 | 961 | 865.7 | 777.7 | 697.3 | 618.3 | 541.8 | 457.1 | 369.4 | 334.4 | 268.3 | 162.8 | 115.1 | 87.9 | 69.12
440 | 329.8 | 426 | 472.9 | 1018 | 4463 | 1137 | 618.2 | 605.6 | 566.6 | 560 | 556.2 | 576.8 | 601 | 641.3 | 721.3 | 807.6 | 907.7 | 970.5 | 1008 | 1008 | 1022 | 1070 | 1099 | 1116 | 1120 | 1085 | 1014 | 940.7 | 850.5 | 760.1 | 685.3 | 606.8 | 538.6 | 456.1 | 368.3 | 297 | 282.9 | 213.7 | 134.9 | 101.1 | 80.85
445 | 296.1 | 381.5 | 478.3 | 569.8 | 3621 | 3040 | 600.8 | 559.4 | 536.5 | 541.6 | 537.7 | 546.1 | 555.6 | 604.1 | 669.4 | 747.1 | 833.2 | 897.5 | 930.9 | 928.7 | 967.7 | 995 | 1041 | 1070 | 1068 | 1040 | 976.9 | 899.8 | 810.9 | 740 | 656.4 | 589.6 | 520.7 | 450.6 | 366.7 | 291.2 | 249.4 | 246.3 | 172.7 | 117.5 | 90.18
450 | 280.2 | 334.8 | 448 | 479.9 | 1328 | 5436 | 1166 | 528 | 509.5 | 523.4 | 524.1 | 526.7 | 540.5 | 570.1 | 611.1 | 696.4 | 768.8 | 808.6 | 853.6 | 856 | 893.5 | 927.7 | 971.9 | 994.6 | 998.2 | 973.6 | 913.9 | 850.3 | 771 | 696.3 | 629.6 | 566.6 | 497.3 | 433 | 363.3 | 297.1 | 235.7 | 218.2 | 207.1 | 142.4 | 102.8
455 | 284.9 | 345 | 409.8 | 469.2 | 555.9 | 4706 | 3541 | 523.9 | 465.4 | 485.9 | 493.3 | 494.2 | 507.2 | 529.1 | 566.8 | 624.9 | 695.1 | 738.2 | 777.8 | 786.7 | 806.6 | 859.2 | 897.4 | 914 | 920.4 | 895.8 | 857.2 | 797.7 | 722.1 | 654.5 | 593.4 | 533 | 477.1 | 413.8 | 352.1 | 289 | 235.4 | 198 | 197.9 | 177.1 | 120.1
460 | 276.3 | 278.8 | 386.7 | 477.2 | 472.6 | 1535 | 6447 | 1120 | 460.2 | 448.7 | 462.8 | 466.6 | 472.4 | 483.9 | 526.4 | 570 | 623.8 | 669.4 | 689.9 | 707.4 | 738.2 | 780.4 | 821.2 | 833 | 842 | 824 | 783.4 | 734.5 | 671.1 | 605.9 | 545.5 | 494 | 445.1 | 389.5 | 336 | 278.6 | 231.2 | 196.4 | 175.9 | 183.3 | 149.2
465 | 235.4 | 279 | 377.7 | 403.1 | 417.2 | 470.8 | 5386 | 3705 | 457.2 | 414.5 | 427.7 | 429.9 | 455.1 | 454.6 | 478.4 | 521.9 | 566.3 | 595.4 | 618.2 | 634.5 | 662.4 | 698.2 | 737.1 | 753.2 | 759.4 | 746 | 717.3 | 662.8 | 618.4 | 559.9 | 507.7 | 456.8 | 417.7 | 370.1 | 320.9 | 269.8 | 229.4 | 194.8 | 170.5 | 162.7 | 165
470 | 230.4 | 277.9 | 313.7 | 354.8 | 391.9 | 404.4 | 1614 | 6966 | 1147 | 395.9 | 405.1 | 411.6 | 419.4 | 414.6 | 435.1 | 464.2 | 508.4 | 530.8 | 553.5 | 565.1 | 591 | 624.2 | 655.6 | 667.1 | 681.6 | 673.3 | 648.1 | 599 | 554 | 513.1 | 461.1 | 418 | 381.8 | 348.6 | 302.5 | 259.9 | 225 | 195.2 | 169.3 | 152.1 | 152.7
475 | 217.4 | 206.7 | 286.7 | 343.5 | 393.2 | 340.5 | 451.7 | 5960 | 3720 | 395.2 | 362.2 | 387.5 | 390.8 | 396.5 | 408 | 435.8 | 461.9 | 481 | 485.4 | 497.8 | 519.9 | 557 | 577.4 | 593.5 | 603.5 | 592.2 | 573.5 | 547.6 | 503.1 | 459.2 | 419.5 | 385.3 | 353.6 | 328.4 | 291.1 | 249.2 | 218.1 | 193.8 | 171.1 | 152 | 138.1
480 | 201.1 | 196.8 | 251 | 294.6 | 348.3 | 345.9 | 338.2 | 1726 | 6939 | 1068 | 355.9 | 367 | 370.9 | 386.2 | 384.1 | 404.5 | 423.9 | 433.5 | 436.1 | 438.1 | 457.4 | 489.3 | 507.8 | 531.7 | 543.7 | 535.7 | 522.5 | 495.2 | 463.3 | 421.4 | 389.1 | 358.9 | 333.9 | 309.6 | 279.6 | 249.6 | 219.3 | 196.6 | 175 | 155.9 | 139.6
485 | 175.8 | 228.5 | 224.1 | 301.6 | 334.2 | 342.3 | 300 | 393.6 | 5938 | 3605 | 364.3 | 349.3 | 382.7 | 399.1 | 391.8 | 388.9 | 408.5 | 398.1 | 396.2 | 393.7 | 409 | 436.8 | 459.6 | 483.4 | 490.6 | 491 | 477 | 448.2 | 427.1 | 398.1 | 368.5 | 343.7 | 321.2 | 301.4 | 279.5 | 254 | 226.3 | 201.8 | 180.8 | 164.2 | 149.6
490 | 167.3 | 182.4 | 229.4 | 274.7 | 314.4 | 328.8 | 283.7 | 295.6 | 1791 | 6793 | 986.4 | 374.3 | 392.1 | 429.8 | 405.5 | 411.9 | 403.1 | 386.6 | 364.4 | 363.4 | 375.8 | 393.6 | 416 | 430.7 | 446.5 | 447.7 | 436.2 | 422 | 402.4 | 379.9 | 355 | 335.5 | 320.4 | 307.4 | 285.4 | 259.9 | 239 | 215.2 | 193.2 | 174.1 | 159
495 | 174.6 | 194.2 | 199.4 | 239.2 | 266.7 | 331.7 | 320.4 | 289.9 | 410.8 | 6098 | 3370 | 389.4 | 423.7 | 452 | 458.8 | 436.7 | 417.1 | 387.1 | 343.2 | 324.8 | 335.9 | 350.1 | 373.9 | 388.6 | 402 | 407.6 | 401.3 | 394.7 | 382.3 | 364.2 | 344.3 | 332.8 | 321.9 | 317.2 | 300.8 | 277.5 | 252.4 | 230 | 207.3 | 189.2 | 176.6
500 | 150 | 156.6 | 212.2 | 215.8 | 247.3 | 293.4 | 327.7 | 276.4 | 290.6 | 1944 | 6639 | 961 | 444.3 | 495.8 | 501 | 467.6 | 427.9 | 374.7 | 322.5 | 296.5 | 301.5 | 317.5 | 336.6 | 348.2 | 360.5 | 368.2 | 368.4 | 365.5 | 359.7 | 350.9 | 335.9 | 332.1 | 329.1 | 325.7 | 315.9 | 294.2 | 270.4 | 245.1 | 221.4 | 203.2 | 190.2