## Sheet1
Report date: | 19:01:01, 09/18/2024
Sample: | 1
File name:
Run date: | 18:55:34, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/410.0 | 2009
2 | 225.0/340.0 | 2850
3 | 250.0/275.0 | 387.7
4 | 255.0/280.0 | 498.7
5 | 275.0/345.0 | 3777
6 | 315.0/355.0 | 490.3
7 | 315.0/430.0 | 1171
8 | 320.0/360.0 | 438.8
9 | 325.0/370.0 | 413.8
10 | 330.0/375.0 | 439.8
11 | 335.0/380.0 | 466.3
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 168.1 | 111.7 | 144.3 | 127.3 | 109.5 | 87.89 | 46.97 | 25.55 | 57.42 | 315.4 | 203.1 | 55.31 | 163.9 | 9999.9 | 9999.9 | 6065 | 45.53 | 19.34 | 13.41 | 9.954 | 7.516 | 6.452 | 6.066 | 4.532 | 4.474 | 4.674 | 4.273 | 4.132 | 3.943 | 4.001 | 3.989 | 3.77 | 3.601 | 3.85 | 4.178 | 3.691 | 4.294 | 4.517 | 4.358 | 4.075 | 4.021
275 | 320.7 | 270.9 | 297.7 | 377.5 | 397.1 | 260.3 | 101.7 | 39.86 | 38.51 | 124.3 | 387.7 | 203.9 | 139.8 | 867.9 | 9999.9 | 9999.9 | 5793 | 43.58 | 17.84 | 12.71 | 9.611 | 7.988 | 6.592 | 5.875 | 5.342 | 4.735 | 4.924 | 4.471 | 4.364 | 4.303 | 4.403 | 4.329 | 4.139 | 4.053 | 4.015 | 3.945 | 3.695 | 4.398 | 4.906 | 4.855 | 4.089
280 | 472.2 | 372.8 | 498.8 | 610.8 | 686.4 | 496.1 | 175.6 | 54.28 | 47.97 | 73.43 | 235.8 | 498.7 | 308.3 | 313.3 | 994.6 | 9999.9 | 9999.9 | 5367 | 41.86 | 16.51 | 11.83 | 9.454 | 7.75 | 7.047 | 5.688 | 5.475 | 4.383 | 4.783 | 4.808 | 4.118 | 3.952 | 4.407 | 4.171 | 3.608 | 3.7 | 3.862 | 3.449 | 3.698 | 4.664 | 4.838 | 4.361
285 | 688.8 | 494.8 | 702.5 | 874.2 | 1005 | 782.1 | 347.4 | 121.9 | 82.26 | 95.86 | 163.2 | 440.3 | 689.8 | 487 | 527.3 | 1093 | 9999.9 | 9999.9 | 4845 | 38.72 | 16.67 | 12.15 | 9.641 | 7.414 | 6.592 | 6.588 | 5.052 | 4.681 | 4.981 | 4.776 | 4.906 | 4.423 | 4.104 | 4.259 | 4.245 | 3.529 | 3.709 | 3.595 | 4.144 | 4.641 | 5.048
290 | 828.5 | 679.7 | 755.6 | 1092 | 1276 | 1108 | 613.3 | 296.9 | 157.1 | 149 | 209.9 | 342.4 | 808.2 | 955.6 | 792.1 | 749.4 | 1202 | 9999.9 | 9999.9 | 4403 | 35.38 | 16.11 | 12.74 | 8.886 | 7.91 | 6.804 | 6.42 | 6.137 | 4.807 | 4.84 | 4.463 | 4.111 | 4.679 | 4.868 | 3.743 | 3.749 | 3.39 | 3.502 | 3.652 | 3.84 | 4.701
295 | 874.1 | 797.5 | 951.7 | 1202 | 1463 | 1453 | 960.5 | 498.1 | 305.4 | 278.5 | 328.2 | 458.7 | 695.2 | 1314 | 1368 | 1119 | 916.7 | 1231 | 9999.9 | 9999.9 | 4085 | 33.18 | 16.32 | 12.49 | 9.838 | 8.387 | 6.763 | 6.456 | 5.403 | 5.617 | 5.241 | 4.804 | 4.83 | 4.276 | 3.991 | 4.073 | 3.675 | 3.69 | 3.638 | 3.771 | 4.01
300 | 949.9 | 836.3 | 1001 | 1227 | 1667 | 1775 | 1325 | 772.8 | 539.7 | 515.2 | 572.1 | 674.6 | 885.3 | 1245 | 1957 | 1682 | 1290 | 877.9 | 1086 | 9999.9 | 9999.9 | 3767 | 30.05 | 16.35 | 12.61 | 9.243 | 7.742 | 7.007 | 6.456 | 5.907 | 5.41 | 5.113 | 5.293 | 4.882 | 4.348 | 4.05 | 3.845 | 3.677 | 3.967 | 3.706 | 3.887
305 | 949.3 | 885.6 | 1083 | 1422 | 1708 | 1983 | 1640 | 1098 | 853.5 | 825.2 | 925.8 | 1002 | 1159 | 1452 | 1909 | 2392 | 1759 | 1166 | 638.5 | 961.5 | 9999.9 | 9999.9 | 3455 | 29.68 | 16.5 | 12.12 | 9.848 | 8.46 | 7.479 | 6.38 | 5.578 | 5.625 | 5.12 | 5.019 | 4.713 | 4.291 | 3.915 | 3.738 | 3.97 | 3.576 | 3.662
310 | 990 | 1028 | 1054 | 1370 | 1945 | 2153 | 1937 | 1425 | 1204 | 1262 | 1335 | 1410 | 1494 | 1699 | 2076 | 2464 | 2495 | 1571 | 863.2 | 428.5 | 854.8 | 9999.9 | 9999.9 | 3444 | 30.1 | 17.03 | 13.79 | 9.806 | 8.558 | 6.963 | 6.912 | 6.708 | 5.858 | 5.656 | 5.072 | 4.396 | 3.855 | 3.861 | 4.301 | 4.144 | 3.831
315 | 1107 | 1093 | 1264 | 1478 | 1926 | 2347 | 2250 | 1664 | 1503 | 1637 | 1752 | 1811 | 1823 | 2011 | 2346 | 2584 | 2721 | 2181 | 1167 | 554.5 | 269.8 | 808.6 | 9999.9 | 9999.9 | 3193 | 28.82 | 17.19 | 14.5 | 10.05 | 8.425 | 7.397 | 7.121 | 6.292 | 5.912 | 5.366 | 4.359 | 4.609 | 4.252 | 3.781 | 4.339 | 3.933
320 | 1071 | 1179 | 1376 | 1519 | 2046 | 2416 | 2347 | 1924 | 1796 | 1963 | 2131 | 2148 | 2144 | 2284 | 2630 | 2870 | 2784 | 2569 | 1692 | 740.1 | 320.3 | 189.9 | 783.2 | 9999.9 | 9999.9 | 3308 | 28.72 | 17.56 | 14.95 | 11.87 | 8.799 | 8.047 | 6.85 | 6.261 | 5.799 | 5.084 | 4.593 | 4.617 | 4.03 | 4.188 | 4.074
325 | 1001 | 1160 | 1447 | 1680 | 2161 | 2593 | 2482 | 2029 | 1969 | 2171 | 2361 | 2433 | 2419 | 2565 | 2887 | 3157 | 3081 | 2586 | 2103 | 1066 | 419.3 | 203.4 | 158.9 | 777.4 | 9999.9 | 9999.9 | 3341 | 31.03 | 18.86 | 15.16 | 11.64 | 9.356 | 8.414 | 7.217 | 5.925 | 5.395 | 4.645 | 4.856 | 4.871 | 4.21 | 3.808
330 | 940 | 1235 | 1360 | 1855 | 2163 | 2732 | 2562 | 2071 | 2010 | 2277 | 2556 | 2638 | 2639 | 2767 | 3157 | 3426 | 3342 | 2814 | 2086 | 1429 | 613.6 | 260.9 | 147.4 | 137.6 | 772.3 | 9999.9 | 9999.9 | 3573 | 31.08 | 19.77 | 14.86 | 12.36 | 9.49 | 7.427 | 6.897 | 5.624 | 5.603 | 4.755 | 4.577 | 4.257 | 4.299
335 | 950.2 | 1248 | 1427 | 1678 | 2379 | 2820 | 2551 | 2161 | 2048 | 2336 | 2577 | 2728 | 2768 | 2992 | 3384 | 3611 | 3567 | 3047 | 2211 | 1361 | 936.8 | 378 | 181.5 | 117.3 | 121.1 | 765.7 | 9999.9 | 9999.9 | 3775 | 32.4 | 20.37 | 15.74 | 12.39 | 9.758 | 8.271 | 6.097 | 5.609 | 5.376 | 4.923 | 4.348 | 4.152
340 | 864.9 | 1191 | 1337 | 1762 | 2413 | 2850 | 2565 | 2057 | 2014 | 2273 | 2559 | 2742 | 2854 | 3080 | 3466 | 3773 | 3671 | 3173 | 2361 | 1352 | 894.1 | 640.3 | 244.9 | 139.3 | 94.55 | 108 | 771.6 | 9999.9 | 9999.9 | 3943 | 33.82 | 21.01 | 16.25 | 12.55 | 9.471 | 7.382 | 6.56 | 5.762 | 4.975 | 5.419 | 4.536
345 | 801.7 | 1052 | 1331 | 1745 | 2367 | 2673 | 2428 | 1931 | 1907 | 2137 | 2424 | 2647 | 2812 | 3088 | 3504 | 3777 | 3710 | 3238 | 2402 | 1399 | 789.9 | 658.6 | 459.2 | 179.7 | 109.6 | 79.84 | 104.7 | 779 | 9999.9 | 9999.9 | 4152 | 34.97 | 21.21 | 15.62 | 11.48 | 7.849 | 6.837 | 6.131 | 5.246 | 4.737 | 5.041
350 | 846 | 1051 | 1248 | 1611 | 2297 | 2645 | 2307 | 1811 | 1787 | 1968 | 2268 | 2486 | 2688 | 3019 | 3447 | 3657 | 3641 | 3179 | 2422 | 1424 | 804.6 | 517.8 | 546.3 | 337.8 | 140.8 | 97.55 | 76.24 | 107.2 | 770.2 | 9999.9 | 9999.9 | 4387 | 35.2 | 21.43 | 15.92 | 10.1 | 8.124 | 6.677 | 5.89 | 5.618 | 4.82
355 | 790.4 | 927.9 | 1175 | 1599 | 2219 | 2530 | 2146 | 1664 | 1613 | 1833 | 2074 | 2335 | 2566 | 2869 | 3301 | 3533 | 3512 | 3092 | 2353 | 1427 | 818.8 | 523.4 | 405.3 | 490.3 | 255.7 | 127.3 | 96.78 | 84.74 | 109.2 | 793.3 | 9999.9 | 9999.9 | 4231 | 32.89 | 20.65 | 13.8 | 9.855 | 7.737 | 6.951 | 5.871 | 5.328
360 | 667.1 | 825.4 | 1163 | 1436 | 2076 | 2345 | 1941 | 1526 | 1473 | 1641 | 1884 | 2134 | 2398 | 2720 | 3073 | 3332 | 3292 | 2907 | 2262 | 1395 | 842.6 | 548.1 | 385.5 | 370.8 | 438.8 | 209.4 | 127.7 | 104.7 | 85.37 | 117.1 | 777.1 | 9999.9 | 9999.9 | 4375 | 31.39 | 19.09 | 13.9 | 9.587 | 7.45 | 6.541 | 5.832
365 | 689.6 | 778.4 | 1083 | 1400 | 1914 | 2155 | 1749 | 1378 | 1332 | 1478 | 1685 | 1939 | 2188 | 2496 | 2863 | 3082 | 3041 | 2717 | 2119 | 1347 | 844.6 | 572.5 | 408.5 | 327.8 | 377.3 | 391.6 | 192.2 | 137.2 | 107.4 | 90.86 | 116.9 | 792.7 | 9999.9 | 9999.9 | 4060 | 29.44 | 18.71 | 13.18 | 9.465 | 7.851 | 6.349
370 | 600.3 | 692.2 | 904.4 | 1274 | 1675 | 1955 | 1628 | 1247 | 1194 | 1312 | 1507 | 1751 | 1987 | 2286 | 2627 | 2802 | 2792 | 2482 | 1969 | 1287 | 832.9 | 591.8 | 442.8 | 357 | 314.9 | 413.8 | 352.3 | 184.2 | 138.8 | 112.9 | 93.13 | 114.1 | 795 | 9999.9 | 9999.9 | 3843 | 29.81 | 17.67 | 13.48 | 9.87 | 7.143
375 | 497.6 | 619.8 | 865.6 | 1137 | 1549 | 1734 | 1451 | 1123 | 1077 | 1223 | 1350 | 1553 | 1772 | 2071 | 2336 | 2521 | 2506 | 2266 | 1818 | 1232 | 836.4 | 612.9 | 486.9 | 401.5 | 345.6 | 328 | 439.8 | 329.7 | 189.7 | 148.6 | 121.4 | 92.95 | 115.7 | 807.6 | 9999.9 | 9999.9 | 3732 | 27.27 | 18.26 | 11.98 | 9.248
380 | 470.8 | 655 | 765.5 | 992.3 | 1363 | 1618 | 1334 | 1006 | 992.7 | 1087 | 1213 | 1380 | 1569 | 1840 | 2083 | 2273 | 2243 | 2062 | 1681 | 1162 | 838.2 | 644.7 | 533.3 | 461.5 | 407.8 | 367.8 | 379.7 | 466.3 | 304.4 | 201.5 | 163.4 | 126.5 | 97.15 | 119.4 | 814.9 | 9999.9 | 9999.9 | 3525 | 27.99 | 16.77 | 11.99
385 | 399.8 | 556.5 | 679.7 | 952.7 | 1289 | 1454 | 1230 | 956.4 | 893.3 | 988.3 | 1096 | 1238 | 1409 | 1627 | 1856 | 2007 | 2031 | 1875 | 1564 | 1132 | 856.1 | 699.7 | 601.7 | 539.1 | 489 | 445.1 | 413 | 442.1 | 477.8 | 306.3 | 223.8 | 175.8 | 136.1 | 104.9 | 124.1 | 813.3 | 9999.9 | 9999.9 | 3646 | 26.18 | 15.94
390 | 497.3 | 539.5 | 699.5 | 901.9 | 1127 | 1308 | 1076 | 846.3 | 827 | 874.2 | 990.6 | 1144 | 1260 | 1464 | 1648 | 1813 | 1843 | 1730 | 1500 | 1133 | 895.4 | 766.2 | 688 | 634 | 587.5 | 544.8 | 500.1 | 465.7 | 501.7 | 482.1 | 318.7 | 247.4 | 194.4 | 146.6 | 107.8 | 119.5 | 776.1 | 9999.9 | 9999.9 | 3788 | 25.84
395 | 1050 | 603.1 | 649.9 | 920 | 1047 | 1218 | 994.5 | 808.3 | 797.2 | 811 | 890.9 | 990.3 | 1118 | 1313 | 1485 | 1636 | 1685 | 1593 | 1431 | 1137 | 951.9 | 840.4 | 782.3 | 733.3 | 702.4 | 657.2 | 604.8 | 560.2 | 517 | 565.4 | 476.3 | 330.4 | 251.8 | 195.7 | 141.6 | 96.76 | 107.7 | 799.3 | 9999.9 | 9999.9 | 3436
400 | 1542 | 649.3 | 690 | 741.1 | 992 | 1078 | 961.1 | 764.5 | 749.9 | 776.5 | 824.8 | 916.8 | 1015 | 1147 | 1351 | 1474 | 1556 | 1508 | 1389 | 1156 | 1005 | 938.6 | 886.2 | 851.9 | 822.8 | 777.5 | 720.5 | 654.8 | 592.2 | 556.6 | 595.3 | 460.8 | 327.2 | 252.3 | 180.2 | 121.2 | 78.61 | 100.9 | 768.3 | 9999.9 | 9999.9
405 | 1269 | 1484 | 639.2 | 780.2 | 902.2 | 1011 | 858.2 | 735.3 | 673 | 724.3 | 772.8 | 848.4 | 932.7 | 1053 | 1219 | 1346 | 1442 | 1438 | 1356 | 1181 | 1053 | 1012 | 985.5 | 960.9 | 936.7 | 888.8 | 827.2 | 753.5 | 680.5 | 613.7 | 588.8 | 593.5 | 433.4 | 307 | 223.7 | 149.5 | 94.92 | 66.28 | 91.25 | 747.9 | 9999.9
410 | 502.1 | 2009 | 875.1 | 786.5 | 909.4 | 930.4 | 838.9 | 706.5 | 676.6 | 692.4 | 721.2 | 780.8 | 857.3 | 957.8 | 1101 | 1243 | 1352 | 1364 | 1330 | 1182 | 1103 | 1076 | 1064 | 1050 | 1022 | 982.3 | 912.8 | 833.7 | 752.8 | 677.2 | 603.7 | 586.5 | 556.2 | 380.9 | 257.7 | 178 | 116.7 | 75.58 | 54.98 | 84.17 | 745
415 | 349.7 | 1486 | 1811 | 700.8 | 863.8 | 906.4 | 803.6 | 682.5 | 643.6 | 672.1 | 680.4 | 715.8 | 784.7 | 880.2 | 1026 | 1162 | 1260 | 1311 | 1289 | 1191 | 1132 | 1125 | 1123 | 1118 | 1100 | 1048 | 985.5 | 894.6 | 804.3 | 724.6 | 651.5 | 579.2 | 574.9 | 482.5 | 303.3 | 204.3 | 135 | 90.68 | 63.05 | 47.32 | 80.99
420 | 325.1 | 749 | 2617 | 1082 | 796.8 | 803.1 | 764.7 | 673.7 | 656.4 | 628.6 | 648.2 | 660.8 | 731 | 804.6 | 936.8 | 1069 | 1188 | 1229 | 1234 | 1173 | 1133 | 1146 | 1154 | 1156 | 1148 | 1094 | 1019 | 934.3 | 845.6 | 762.6 | 679.9 | 598.9 | 533.5 | 516.4 | 383.1 | 229.2 | 153.7 | 105 | 74.36 | 54.43 | 43.01
425 | 363.3 | 468.2 | 2020 | 2385 | 758.4 | 768.7 | 693.4 | 644.8 | 614.4 | 621.5 | 626 | 638.3 | 684.9 | 752.4 | 863.7 | 990.8 | 1109 | 1163 | 1190 | 1141 | 1124 | 1143 | 1157 | 1168 | 1165 | 1114 | 1047 | 957.4 | 864.1 | 771.3 | 695.4 | 611.2 | 535.7 | 471.9 | 435.5 | 285.4 | 173.4 | 121 | 87.26 | 64.2 | 49.35
430 | 320.9 | 433.3 | 783.8 | 3346 | 1172 | 743.2 | 670.3 | 628.2 | 615.5 | 600.7 | 590.1 | 611.6 | 643.3 | 716 | 808.1 | 924.5 | 1028 | 1097 | 1131 | 1114 | 1103 | 1130 | 1158 | 1171 | 1163 | 1120 | 1048 | 966.6 | 870.8 | 781 | 698.9 | 619.8 | 539.6 | 456.2 | 396 | 348.5 | 208.9 | 136.4 | 103.8 | 77.31 | 59.8
435 | 321.3 | 434.3 | 508.6 | 2649 | 2761 | 709.2 | 646.3 | 605.9 | 584.1 | 582.6 | 578.4 | 586 | 626.6 | 675 | 755.6 | 867.2 | 961.9 | 1025 | 1065 | 1057 | 1068 | 1103 | 1133 | 1156 | 1148 | 1114 | 1040 | 953.4 | 863.1 | 780.5 | 701 | 618.8 | 540.4 | 459.9 | 373.8 | 338.1 | 270 | 164.8 | 117.6 | 90.58 | 69.12
440 | 308.4 | 406.2 | 500.1 | 1004 | 4319 | 1154 | 608.1 | 600.2 | 575.5 | 568.7 | 553.8 | 582.1 | 602.2 | 637.7 | 697.2 | 801.9 | 889.5 | 951.4 | 1007 | 1002 | 1025 | 1057 | 1102 | 1123 | 1121 | 1080 | 1008 | 928.1 | 847.1 | 764.2 | 681.3 | 607.6 | 535.8 | 460.3 | 375.4 | 300.2 | 284.3 | 218.1 | 138.8 | 104.7 | 83.92
445 | 336.1 | 409.4 | 448.4 | 570 | 3643 | 3076 | 611 | 587.2 | 562 | 552.2 | 552.9 | 564.1 | 563.6 | 593.2 | 663 | 735.3 | 830.2 | 896.3 | 933.4 | 945.4 | 952.9 | 997.9 | 1035 | 1059 | 1066 | 1029 | 969.9 | 895.7 | 813.4 | 739.7 | 663.7 | 588.5 | 522.2 | 451.3 | 368.4 | 292.9 | 252.9 | 246.4 | 175.2 | 121.7 | 96.45
450 | 285.8 | 334.4 | 447.2 | 486.1 | 1297 | 5349 | 1114 | 547.5 | 521.2 | 508.2 | 518.5 | 532.2 | 541.4 | 558.3 | 607.6 | 684.5 | 757.3 | 819.2 | 852 | 854.2 | 902.4 | 929.4 | 964.6 | 996.6 | 994.6 | 967.1 | 917.2 | 841.9 | 770.7 | 699.8 | 626.4 | 561 | 501.1 | 430.8 | 363.6 | 295.8 | 239.4 | 224.8 | 214.4 | 144.7 | 105.8
455 | 285.3 | 331.2 | 449.8 | 487.9 | 509 | 4554 | 3455 | 513 | 491.3 | 484.1 | 497.7 | 511.8 | 509 | 534.2 | 567.7 | 618.3 | 677.2 | 731 | 772.1 | 788.4 | 810.6 | 854.8 | 896 | 915 | 921 | 902.2 | 841.1 | 784.2 | 719.5 | 655.9 | 586.6 | 529.7 | 478.2 | 417.3 | 351.5 | 288.7 | 235.1 | 202.2 | 203.3 | 179.8 | 121
460 | 226.1 | 315.9 | 332.5 | 457.6 | 459.9 | 1502 | 6451 | 1159 | 470.5 | 461 | 455.7 | 470.2 | 482.5 | 486.3 | 519.8 | 552.6 | 623.4 | 654.3 | 696.2 | 706.6 | 734.6 | 774.5 | 816 | 841 | 834.9 | 824.2 | 783.8 | 728.1 | 668.6 | 610.6 | 547.9 | 494.8 | 445.8 | 395.6 | 339.1 | 285.3 | 235.5 | 196 | 178.4 | 184.8 | 150
465 | 290 | 305.6 | 370.8 | 434 | 411.4 | 471.9 | 5270 | 3672 | 458.8 | 426.8 | 421.6 | 442.3 | 450 | 447.9 | 485 | 500.1 | 557.9 | 584.9 | 616.7 | 627.8 | 663 | 694.9 | 727.9 | 756.2 | 753.5 | 747.7 | 714.5 | 671.3 | 615.5 | 559.1 | 506.7 | 457.6 | 413.5 | 371.8 | 320.5 | 276.3 | 229.6 | 196 | 171.3 | 161.7 | 164.7
470 | 219.1 | 293 | 311.3 | 348.8 | 391.6 | 378.1 | 1651 | 6899 | 1092 | 406.4 | 407.4 | 411.8 | 424.3 | 421.8 | 437 | 470.4 | 510.8 | 527.9 | 545.7 | 561.7 | 592 | 623.7 | 650.9 | 667 | 679.6 | 675.5 | 640.5 | 604.8 | 558.8 | 513.6 | 459.9 | 418.1 | 383.3 | 347.2 | 303.3 | 261.9 | 224.4 | 195.8 | 171.3 | 151.9 | 149
475 | 226.7 | 249.1 | 299 | 351.5 | 370.1 | 354.3 | 450.7 | 5915 | 3705 | 411.1 | 380 | 382.5 | 404.2 | 402.2 | 409.3 | 431.8 | 457.8 | 467.7 | 493.7 | 497.7 | 517.1 | 553.2 | 575.6 | 594.2 | 603.4 | 598.3 | 577 | 544.7 | 500.5 | 461.6 | 421.7 | 384.3 | 356.1 | 326.1 | 292 | 253.5 | 219.8 | 194.5 | 171.7 | 150.9 | 138.6
480 | 204.3 | 218.6 | 259.9 | 265.6 | 348.4 | 348.2 | 331 | 1755 | 6897 | 1042 | 352.9 | 363.9 | 374.9 | 390.7 | 390.1 | 404.2 | 418.4 | 429.4 | 443.4 | 431.6 | 463.3 | 485.9 | 515.5 | 528.3 | 539.8 | 531.4 | 520.8 | 492.5 | 460.8 | 424.5 | 393.7 | 358.5 | 334.2 | 310.5 | 280 | 248.7 | 221.2 | 196.1 | 173.6 | 154.6 | 141
485 | 173.7 | 208.8 | 251 | 234.2 | 322.3 | 342 | 323.2 | 425.8 | 5939 | 3569 | 366.9 | 366.7 | 384.1 | 392.4 | 381.6 | 401.6 | 400.2 | 403.2 | 394.9 | 392.8 | 413.5 | 435.6 | 465.2 | 478.4 | 485.6 | 489.9 | 474.4 | 452 | 425.2 | 400.9 | 366.2 | 341.9 | 324.6 | 300.9 | 281.1 | 253.2 | 225.3 | 201.4 | 179.4 | 163.5 | 144.4
490 | 192.5 | 203 | 255.6 | 236.2 | 286.1 | 334.8 | 314.1 | 305.3 | 1772 | 6647 | 957.5 | 362.2 | 394.9 | 405.4 | 414.9 | 407.5 | 398.9 | 387.7 | 373.6 | 361 | 374.7 | 396.3 | 415.9 | 431.4 | 442.1 | 444.5 | 436.2 | 418.1 | 401.6 | 377.5 | 352.7 | 339.8 | 319.1 | 307.5 | 287.6 | 259.8 | 237.1 | 212.8 | 189.1 | 173.5 | 156.5
495 | 164.7 | 210.3 | 225.3 | 225.6 | 255.6 | 324.4 | 324.7 | 279.1 | 394.7 | 6093 | 3314 | 395.7 | 427.6 | 447.4 | 452.3 | 433.4 | 404.3 | 376.8 | 341 | 330.2 | 333.1 | 355.2 | 377 | 388 | 402.7 | 404.9 | 406 | 389.8 | 379.2 | 357.8 | 343.6 | 334.3 | 325.9 | 310.7 | 298.7 | 277.5 | 251.2 | 229.9 | 204.8 | 186.6 | 171.7
500 | 154.8 | 180.5 | 206.9 | 230.8 | 260.5 | 278.6 | 371.7 | 281.1 | 281.3 | 1934 | 6449 | 943.1 | 446.2 | 496.1 | 488.3 | 466 | 425.8 | 373.7 | 321.1 | 291.3 | 296.8 | 317.3 | 333.4 | 352 | 363 | 368.8 | 370.3 | 362 | 357.2 | 346.9 | 336 | 327.8 | 327.8 | 326.6 | 310.9 | 292.5 | 270.3 | 240.5 | 219.5 | 197.6 | 186.4