## Sheet1
Report date: | 19:08:20, 09/18/2024
Sample: | 1
File name:
Run date: | 19:02:27, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/325.0 | 4206
2 | 225.0/490.0 | 328.9
3 | 250.0/275.0 | 456.6
4 | 255.0/280.0 | 564.7
5 | 280.0/335.0 | 4410
6 | 315.0/355.0 | 469
7 | 320.0/360.0 | 423.2
8 | 325.0/370.0 | 383.2
9 | 330.0/375.0 | 416.9
10 | 335.0/380.0 | 420.9
11 | 340.0/385.0 | 413.2
12 | 345.0/395.0 | 429.3
13 | 350.0/400.0 | 437
14 | 355.0/405.0 | 429.6
15 | 360.0/415.0 | 400.5
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 199.2 | 153.1 | 162.3 | 158.7 | 150.1 | 101 | 52.8 | 44.52 | 75.19 | 364.4 | 239.1 | 78.96 | 283.8 | 9999.9 | 9999.9 | 9999.9 | 69.53 | 30.84 | 22.33 | 15.29 | 11.56 | 9.754 | 9.2 | 8.003 | 7.402 | 6.937 | 5.829 | 6.83 | 5.578 | 5.267 | 5.602 | 5.352 | 5.481 | 5.773 | 6 | 6.24 | 7.101 | 8.439 | 7.863 | 6.22 | 5.124
275 | 370.1 | 315.1 | 339.3 | 438.6 | 404.4 | 288.4 | 110.7 | 55.57 | 52.99 | 148.4 | 456.6 | 235.1 | 160.3 | 963.5 | 9999.9 | 9999.9 | 9841 | 69.14 | 28.65 | 19.99 | 16.87 | 12.94 | 10.26 | 8.889 | 8.084 | 7.324 | 6.612 | 6.813 | 5.955 | 5.963 | 5.734 | 5.485 | 6.432 | 5.28 | 4.798 | 5.871 | 5.947 | 7.171 | 7.794 | 7.609 | 6.02
280 | 517.9 | 495.5 | 564.9 | 740.9 | 843.9 | 608 | 232.6 | 83.49 | 59.55 | 87.07 | 250.8 | 564.7 | 310.5 | 300.4 | 1061 | 9999.9 | 9999.9 | 9444 | 63.45 | 30.04 | 20.82 | 16.28 | 11.64 | 10.52 | 8.9 | 8.087 | 7.555 | 7.294 | 6.466 | 6.184 | 6.037 | 6.307 | 5.712 | 5.875 | 5.549 | 5.621 | 5.269 | 5.704 | 6.876 | 7.974 | 6.891
285 | 813.6 | 585.2 | 776.1 | 1137 | 1272 | 996.9 | 458.4 | 188.4 | 111.7 | 112.2 | 166.8 | 477.9 | 750.1 | 488.4 | 538.1 | 1238 | 9999.9 | 9999.9 | 8748 | 65.39 | 29.97 | 21.47 | 16.29 | 12 | 11.06 | 9.217 | 8.648 | 8.525 | 7.096 | 6.737 | 6.531 | 6.46 | 6.287 | 5.944 | 5.59 | 5.463 | 5.173 | 4.959 | 5.931 | 6.655 | 7.698
290 | 960.6 | 797 | 1040 | 1312 | 1637 | 1551 | 937.5 | 450.5 | 212.6 | 171.8 | 235.8 | 387 | 887.1 | 1060 | 908.8 | 922.4 | 1497 | 9999.9 | 9999.9 | 8112 | 57.5 | 28.16 | 21.98 | 16.61 | 13.08 | 10.71 | 9.646 | 8.821 | 7.832 | 8.106 | 7.155 | 6.752 | 6.513 | 6.645 | 6.489 | 5.774 | 6.017 | 5.618 | 5.039 | 5.727 | 6.65
295 | 1010 | 959 | 1189 | 1587 | 2097 | 2157 | 1490 | 798.5 | 407.4 | 335.2 | 384.3 | 545.2 | 842.2 | 1515 | 1651 | 1453 | 1268 | 1575 | 9999.9 | 9999.9 | 7641 | 58.7 | 29.02 | 22.5 | 17.35 | 13.47 | 11.05 | 10.24 | 9.115 | 7.95 | 7.38 | 7.239 | 6.368 | 6.977 | 6.53 | 6.253 | 6.021 | 5.516 | 5.653 | 5.605 | 5.761
300 | 1124 | 1083 | 1374 | 1835 | 2512 | 2713 | 2150 | 1238 | 702.4 | 610.2 | 677.4 | 853.7 | 1134 | 1585 | 2405 | 2255 | 1842 | 1285 | 1384 | 9999.9 | 9999.9 | 7275 | 57.57 | 31.58 | 22.43 | 17.37 | 13.36 | 12.05 | 10.45 | 9.374 | 8.534 | 8.333 | 7.44 | 7.415 | 6.355 | 6.361 | 6.069 | 5.595 | 5.404 | 5.379 | 5.033
305 | 1185 | 1286 | 1586 | 1849 | 2707 | 3229 | 2742 | 1754 | 1099 | 1008 | 1098 | 1260 | 1510 | 1900 | 2546 | 3162 | 2559 | 1754 | 999 | 1242 | 9999.9 | 9999.9 | 6743 | 55.35 | 31.88 | 24.49 | 17.38 | 14.3 | 11.84 | 10.17 | 9.343 | 9.171 | 7.852 | 8.463 | 7.715 | 6.603 | 6.448 | 5.581 | 5.891 | 5.635 | 5.373
310 | 1209 | 1457 | 1698 | 2108 | 2950 | 3595 | 3192 | 2219 | 1525 | 1486 | 1585 | 1717 | 1907 | 2289 | 2849 | 3391 | 3477 | 2358 | 1354 | 700.7 | 1051 | 9999.9 | 9999.9 | 7034 | 57.35 | 32.79 | 24.13 | 17.94 | 14.45 | 12 | 10.66 | 9.719 | 8.721 | 8.449 | 7.864 | 7.435 | 6.287 | 6.201 | 5.979 | 6.087 | 5.399
315 | 1271 | 1436 | 1884 | 2216 | 2989 | 3752 | 3638 | 2583 | 1918 | 1923 | 2049 | 2153 | 2300 | 2638 | 3211 | 3623 | 3812 | 3163 | 1801 | 886.2 | 408.5 | 968.2 | 9999.9 | 9999.9 | 6669 | 56.64 | 32.22 | 24.02 | 18.73 | 13.83 | 12.29 | 10.57 | 9.864 | 9.131 | 8.166 | 7.478 | 7.154 | 6.52 | 6.047 | 5.78 | 5.203
320 | 1262 | 1455 | 1994 | 2430 | 3243 | 4076 | 3902 | 2814 | 2237 | 2262 | 2424 | 2526 | 2626 | 2936 | 3548 | 3943 | 3953 | 3610 | 2447 | 1131 | 480.8 | 260.4 | 899 | 9999.9 | 9999.9 | 6903 | 55.15 | 34.53 | 25.54 | 18.19 | 15.41 | 12.16 | 11.44 | 9.861 | 8.531 | 8.373 | 7.551 | 6.93 | 6.38 | 6.35 | 5.629
325 | 1210 | 1654 | 1873 | 2452 | 3318 | 4206 | 4065 | 2973 | 2381 | 2537 | 2675 | 2747 | 2846 | 3180 | 3782 | 4204 | 4178 | 3619 | 2869 | 1491 | 584.5 | 265.8 | 191.5 | 900.7 | 9999.9 | 9999.9 | 6798 | 58.06 | 35.09 | 25.75 | 20.01 | 15.14 | 12.96 | 12.36 | 10.09 | 8.848 | 7.926 | 7.008 | 6.643 | 6.191 | 5.702
330 | 1158 | 1718 | 1877 | 2411 | 3279 | 4066 | 4010 | 3014 | 2471 | 2639 | 2790 | 2914 | 2983 | 3315 | 3891 | 4297 | 4369 | 3747 | 2770 | 1836 | 774.8 | 305.7 | 161.6 | 156.7 | 889.9 | 9999.9 | 9999.9 | 7152 | 56.48 | 34.5 | 27.58 | 19.8 | 15.57 | 13.5 | 11.35 | 9.404 | 8.493 | 7.765 | 6.829 | 6.34 | 6.237
335 | 1048 | 1621 | 1915 | 2356 | 3272 | 4050 | 3896 | 2910 | 2481 | 2587 | 2817 | 2937 | 3031 | 3333 | 3906 | 4324 | 4410 | 3848 | 2816 | 1699 | 1082 | 416 | 181.6 | 123.8 | 136.8 | 884.2 | 9999.9 | 9999.9 | 7275 | 55.5 | 36.01 | 27 | 19.31 | 15.24 | 12.46 | 10.76 | 9.002 | 8.143 | 7.707 | 6.749 | 6.115
340 | 1036 | 1459 | 1704 | 2146 | 3095 | 3819 | 3688 | 2772 | 2353 | 2459 | 2706 | 2839 | 2935 | 3291 | 3854 | 4247 | 4289 | 3782 | 2802 | 1614 | 987.6 | 676.1 | 246.2 | 135.1 | 98.08 | 122.5 | 889.7 | 9999.9 | 9999.9 | 7560 | 59.86 | 34.83 | 27.12 | 21.05 | 14.44 | 12.53 | 10.15 | 8.869 | 7.984 | 6.992 | 6.723
345 | 1066 | 1289 | 1671 | 2159 | 2862 | 3606 | 3352 | 2550 | 2139 | 2292 | 2502 | 2669 | 2817 | 3115 | 3642 | 4027 | 4086 | 3610 | 2714 | 1561 | 825.4 | 657.6 | 448.2 | 166.6 | 102 | 79.43 | 120.5 | 898.5 | 9999.9 | 9999.9 | 7997 | 57.32 | 36.67 | 27.86 | 20.17 | 14.74 | 11.15 | 10.38 | 8.666 | 7.524 | 7.151
350 | 1008 | 1234 | 1488 | 2054 | 2702 | 3227 | 3151 | 2305 | 1970 | 2115 | 2313 | 2461 | 2607 | 2895 | 3363 | 3674 | 3778 | 3342 | 2555 | 1513 | 802.7 | 484.7 | 525.8 | 323.4 | 128.6 | 86.15 | 76.91 | 122.2 | 871.7 | 9999.9 | 9999.9 | 8040 | 59.43 | 38.13 | 27.4 | 19.57 | 13.59 | 11.04 | 9.201 | 7.895 | 7.248
355 | 874.2 | 1091 | 1323 | 1780 | 2449 | 2958 | 2675 | 1997 | 1744 | 1866 | 2043 | 2209 | 2381 | 2666 | 3071 | 3373 | 3434 | 3095 | 2364 | 1405 | 772.8 | 463.8 | 360.2 | 469 | 239.4 | 112.9 | 89.65 | 81.14 | 124.6 | 909.2 | 9999.9 | 9999.9 | 8194 | 60.51 | 37.76 | 26.35 | 17.77 | 13.97 | 10.64 | 9.315 | 8.391
360 | 760.8 | 1007 | 1322 | 1553 | 2127 | 2586 | 2383 | 1759 | 1553 | 1645 | 1817 | 1955 | 2112 | 2369 | 2752 | 3007 | 3064 | 2754 | 2130 | 1310 | 756.7 | 468.8 | 326.2 | 337.8 | 423.2 | 192.4 | 113.5 | 90.86 | 82.72 | 123.2 | 876.9 | 9999.9 | 9999.9 | 8728 | 58.99 | 37.24 | 24.67 | 17.75 | 12.34 | 10.29 | 9.32
365 | 691.8 | 878.8 | 1106 | 1486 | 1898 | 2289 | 2103 | 1554 | 1375 | 1443 | 1607 | 1741 | 1882 | 2109 | 2418 | 2655 | 2715 | 2450 | 1932 | 1205 | 732.8 | 480.4 | 344.7 | 284.4 | 358.8 | 380 | 169.2 | 119.9 | 96.02 | 81.86 | 119.1 | 910.6 | 9999.9 | 9999.9 | 8343 | 57.41 | 34.11 | 24.36 | 16.6 | 11.78 | 9.332
370 | 605.3 | 797.5 | 1059 | 1311 | 1697 | 1983 | 1825 | 1340 | 1189 | 1279 | 1405 | 1537 | 1639 | 1835 | 2126 | 2331 | 2399 | 2147 | 1737 | 1102 | 700.4 | 488.1 | 364.1 | 303.2 | 279 | 383.2 | 338.6 | 163.9 | 118 | 94.39 | 79.46 | 119.2 | 936.1 | 9999.9 | 9999.9 | 8103 | 52.43 | 32.39 | 22.99 | 15.44 | 11.47
375 | 594 | 725.8 | 843.8 | 1188 | 1566 | 1731 | 1572 | 1231 | 1060 | 1136 | 1237 | 1354 | 1452 | 1603 | 1853 | 2030 | 2100 | 1923 | 1529 | 1032 | 689.3 | 508.5 | 401.4 | 342.7 | 301.5 | 291.8 | 416.9 | 297.2 | 158.7 | 119.8 | 96.37 | 80.98 | 125.5 | 957.9 | 9999.9 | 9999.9 | 7603 | 48.98 | 30.89 | 21.16 | 15.5
380 | 542.4 | 656.4 | 775 | 1113 | 1382 | 1550 | 1384 | 1069 | 977.1 | 1003 | 1098 | 1190 | 1242 | 1403 | 1610 | 1762 | 1828 | 1711 | 1398 | 967.4 | 689.6 | 528.4 | 442.4 | 389.2 | 340.8 | 310.2 | 327.2 | 420.9 | 264.2 | 157.5 | 124.2 | 97.64 | 83.86 | 129.8 | 952.4 | 9999.9 | 9999.9 | 7142 | 48.67 | 28.36 | 20.51
385 | 519.5 | 609.8 | 777.5 | 1058 | 1288 | 1329 | 1195 | 970.4 | 870.9 | 917.9 | 952.9 | 1013 | 1105 | 1219 | 1399 | 1554 | 1621 | 1534 | 1281 | 942.7 | 705.7 | 564.3 | 480.8 | 434.5 | 396.7 | 366.1 | 335.2 | 366.7 | 413.2 | 239.4 | 162.9 | 128.3 | 101.6 | 86.76 | 125 | 961.2 | 9999.9 | 9999.9 | 6807 | 43.03 | 26.92
390 | 565.7 | 586.5 | 735.6 | 944.5 | 1134 | 1156 | 1077 | 892.3 | 811.3 | 833 | 865.3 | 917.5 | 969.8 | 1063 | 1248 | 1370 | 1458 | 1400 | 1232 | 929.9 | 737.3 | 603 | 530.7 | 484.6 | 450.6 | 420.5 | 385.4 | 357.6 | 403 | 389.4 | 228.1 | 168.2 | 132.6 | 101.1 | 81.31 | 121 | 900.2 | 9999.9 | 9999.9 | 6704 | 42.51
395 | 1135 | 514.5 | 656.6 | 864.6 | 1052 | 1048 | 993.3 | 832.4 | 792.5 | 781.4 | 800.9 | 827.2 | 853.4 | 944.5 | 1112 | 1267 | 1345 | 1323 | 1186 | 939.3 | 770 | 662.3 | 587.9 | 539.4 | 507.1 | 477.7 | 441.6 | 401.9 | 371.2 | 429.3 | 358.3 | 221.1 | 166.2 | 128.3 | 94.59 | 72.47 | 108.6 | 948.6 | 9999.9 | 9999.9 | 6222
400 | 1636 | 684.2 | 618.2 | 796 | 906.4 | 1027 | 920 | 798.7 | 728 | 726.5 | 757.8 | 772.9 | 784.2 | 857.2 | 998.5 | 1170 | 1271 | 1262 | 1152 | 964.9 | 809.2 | 715.3 | 632.3 | 587.9 | 558.3 | 533.3 | 503.4 | 455.6 | 412.6 | 381.7 | 437 | 323.2 | 208.3 | 156.9 | 117 | 82.61 | 61.35 | 107.7 | 884.5 | 9999.9 | 9999.9
405 | 1120 | 1467 | 636.9 | 682.2 | 830.5 | 895 | 835.5 | 743.1 | 685.3 | 680.5 | 688.9 | 701.4 | 730.9 | 803.5 | 929 | 1091 | 1206 | 1211 | 1128 | 983.6 | 849.3 | 755 | 673.8 | 625.5 | 605.2 | 576.6 | 552.3 | 509.6 | 452.6 | 402.3 | 393.5 | 429.6 | 292.3 | 191 | 141 | 97.68 | 69.87 | 55.92 | 97.67 | 833.6 | 9999.9
410 | 508.8 | 2052 | 910.1 | 647.7 | 811.9 | 867.9 | 790.5 | 730.3 | 687.7 | 681.3 | 648 | 648.9 | 679.4 | 756.1 | 901.7 | 1038 | 1153 | 1190 | 1102 | 978.1 | 876.9 | 779.9 | 700.4 | 653.5 | 639.3 | 612.3 | 584.2 | 544 | 492.3 | 439.3 | 389.6 | 399.7 | 392.2 | 250.7 | 165 | 118.9 | 79.87 | 56.98 | 48.51 | 88.75 | 833.4
415 | 377.1 | 1577 | 2039 | 661.9 | 746.6 | 818.8 | 757 | 698.6 | 670.4 | 644.2 | 638 | 638.7 | 647.7 | 724.4 | 874.1 | 1004 | 1118 | 1151 | 1090 | 975.7 | 885.3 | 792.3 | 722.3 | 674.6 | 660.3 | 636.2 | 605.3 | 569.7 | 524 | 466.8 | 420.6 | 376.3 | 400.5 | 342.9 | 204.4 | 140.3 | 96.6 | 69.36 | 49.83 | 42.59 | 85.47
420 | 385.6 | 669.7 | 3164 | 1036 | 703.5 | 745.9 | 737.2 | 684.9 | 653.3 | 617.9 | 614.1 | 602.6 | 620.3 | 696.4 | 842 | 982.7 | 1099 | 1107 | 1050 | 952.8 | 871.5 | 787.1 | 717.8 | 677.1 | 658.9 | 648.8 | 616.1 | 580.9 | 540.5 | 492.8 | 437.3 | 389.8 | 358 | 375 | 279.2 | 164.7 | 109.8 | 78.66 | 55.37 | 42.09 | 36.42
425 | 366.4 | 442.7 | 2221 | 2582 | 684.2 | 655.1 | 704 | 640.1 | 623.3 | 599.2 | 588.6 | 574.6 | 595.9 | 672 | 814.9 | 960.9 | 1070 | 1068 | 1002 | 910.1 | 847.8 | 777.2 | 710.4 | 670.8 | 658.6 | 644.8 | 623 | 586.9 | 548.5 | 504.4 | 459.2 | 412.5 | 361.5 | 334.3 | 331.9 | 216.8 | 128.1 | 87.7 | 64.35 | 45.85 | 35.51
430 | 336.5 | 426.5 | 943.9 | 4258 | 1177 | 622.7 | 663 | 625.2 | 611.4 | 582.7 | 574.3 | 544.3 | 590.9 | 663.5 | 789.5 | 929.4 | 1022 | 1014 | 954.3 | 879.1 | 816.7 | 763.7 | 697.8 | 655.5 | 653.8 | 635.5 | 616.2 | 589.1 | 549.3 | 510.5 | 466.2 | 427 | 375.2 | 323.8 | 304.6 | 277 | 162.8 | 101 | 71.13 | 51.2 | 39.43
435 | 355.7 | 368.4 | 483.5 | 3468 | 3232 | 634.2 | 629.6 | 601.6 | 601.2 | 577.2 | 562.4 | 541 | 567.4 | 652.3 | 758.5 | 903.7 | 977.1 | 967.5 | 906.7 | 833.4 | 780.6 | 732.1 | 671.7 | 639.1 | 632.3 | 628.8 | 612.2 | 584.9 | 550.6 | 512.3 | 472.3 | 431.8 | 385.3 | 332 | 274 | 268.2 | 217.9 | 121.6 | 81.2 | 59.73 | 44.55
440 | 311.7 | 380.1 | 420.3 | 1213 | 5935 | 1272 | 590.6 | 573.6 | 568 | 559.1 | 538.2 | 548.4 | 545.4 | 626.6 | 734.7 | 855.3 | 922.4 | 901.5 | 852.6 | 783.4 | 752.6 | 691.6 | 641.1 | 614.7 | 611.2 | 606.7 | 597.4 | 574 | 542.4 | 509.2 | 470.9 | 435.8 | 390 | 335.6 | 278.8 | 231.4 | 231.2 | 163.8 | 93.76 | 65.76 | 49.45
445 | 269.5 | 351.1 | 395.8 | 453.3 | 5061 | 4230 | 602.7 | 548.1 | 540.6 | 542.2 | 511.9 | 516.2 | 537.2 | 587.8 | 694.5 | 806.5 | 858.7 | 846.7 | 781 | 728.7 | 699.3 | 646.5 | 602.5 | 580.8 | 582.7 | 575.8 | 570.6 | 547.3 | 527.9 | 495.8 | 466.9 | 428.9 | 386.1 | 337 | 280.8 | 222.3 | 192.4 | 188.9 | 122.3 | 73.86 | 55.91
450 | 310.7 | 358.8 | 388 | 439.4 | 1670 | 8087 | 1388 | 526.8 | 517.8 | 507.6 | 492.8 | 473.5 | 506.1 | 550.3 | 640.7 | 748 | 801.8 | 777.2 | 710.4 | 668.1 | 627.5 | 598.6 | 561.2 | 540.4 | 543.3 | 539.6 | 541.4 | 524 | 505.1 | 471.8 | 445.5 | 413 | 376 | 333.4 | 277.5 | 221.8 | 173 | 160.9 | 153.9 | 92.96 | 60.02
455 | 263.8 | 300 | 363.1 | 389.2 | 545.5 | 7099 | 5158 | 498.5 | 488.1 | 476.6 | 451.1 | 451.6 | 475.5 | 518.8 | 598.8 | 690.4 | 728.1 | 705.3 | 639.5 | 603.2 | 577.9 | 548.4 | 513.9 | 491.2 | 496.6 | 504 | 500.7 | 489.6 | 471.8 | 447.2 | 421.8 | 393 | 355.9 | 317 | 267.4 | 215.1 | 168.5 | 137.4 | 137 | 122.8 | 70.57
460 | 238.5 | 288.1 | 339.9 | 395.3 | 385.7 | 2262 | 9999.9 | 1516 | 447.5 | 462 | 432.2 | 433.7 | 454.6 | 477.1 | 558 | 622.2 | 655.6 | 620.2 | 580.3 | 542 | 521.2 | 497 | 464.8 | 455.6 | 458.9 | 462.9 | 458.5 | 450.9 | 435.6 | 414 | 390.8 | 365.4 | 335.1 | 299.8 | 258 | 208.7 | 162.2 | 127.9 | 109.6 | 120 | 94.22
465 | 228.9 | 304.2 | 298 | 357.8 | 374.5 | 540.2 | 9172 | 5956 | 450.9 | 409.9 | 394.2 | 398.9 | 405.1 | 436.6 | 493.8 | 562.9 | 591.4 | 560.8 | 510.6 | 480.7 | 467.4 | 444.2 | 419.4 | 413.8 | 410.9 | 419.6 | 417.4 | 411.1 | 402.6 | 382.9 | 363.2 | 341.2 | 311.7 | 282.8 | 240.1 | 194.8 | 155 | 123.9 | 99.84 | 94.42 | 104.5
470 | 273.8 | 288.7 | 284.7 | 338.1 | 379 | 348 | 2742 | 9999.9 | 1666 | 378.7 | 359 | 353.7 | 361.4 | 395.1 | 446.9 | 511.4 | 516.9 | 500.3 | 456.2 | 428.6 | 408.7 | 392.4 | 373.2 | 366.7 | 372.3 | 380.6 | 384.6 | 373.5 | 361 | 347.2 | 329.3 | 310.4 | 283.5 | 259.5 | 224.1 | 185.8 | 149.9 | 119.6 | 95.49 | 79.51 | 84.48
475 | 174.9 | 236.1 | 261.6 | 331.6 | 345.1 | 303.1 | 506.2 | 9999.9 | 6519 | 386.6 | 337.4 | 318.2 | 324.8 | 367.9 | 400.5 | 448.7 | 457.9 | 439.7 | 401.2 | 370.6 | 361.9 | 343.8 | 330.5 | 328.7 | 332.4 | 344.7 | 337.3 | 336.4 | 324.4 | 314.3 | 302.6 | 282.2 | 263.1 | 240.7 | 206.3 | 174.5 | 140.9 | 114.6 | 92.92 | 77.58 | 67.46
480 | 190.7 | 206.1 | 253.1 | 283.8 | 324.5 | 278.3 | 316.8 | 3041 | 9999.9 | 1626 | 307.6 | 299.6 | 315.5 | 329.5 | 360.8 | 405.9 | 407.6 | 389.5 | 358.4 | 325.6 | 317.9 | 305 | 290.2 | 289.2 | 294.1 | 302.2 | 305.2 | 309.6 | 296.6 | 289.6 | 270.8 | 259 | 243.6 | 223 | 194.1 | 163.1 | 133.6 | 109.2 | 90.47 | 73.9 | 65.55
485 | 209.7 | 185.7 | 212.5 | 271.3 | 276 | 312.6 | 296.9 | 490.6 | 9999.9 | 6632 | 336.1 | 295 | 308.7 | 324.8 | 353.5 | 377.4 | 382.3 | 355.1 | 318.6 | 290.2 | 285.4 | 268.4 | 264.9 | 263.9 | 268.6 | 275.8 | 278.2 | 279.2 | 268.9 | 265.7 | 256.8 | 243.6 | 228.6 | 208.6 | 187 | 160.3 | 133.6 | 110.9 | 92.56 | 78.52 | 66.49
490 | 207.2 | 182.5 | 203.8 | 241 | 249.6 | 328.9 | 272 | 263.2 | 3170 | 9999.9 | 1429 | 292.6 | 297.8 | 327.6 | 341.2 | 368.8 | 360.4 | 332.9 | 283.8 | 266.7 | 258.6 | 248.4 | 237.4 | 234.8 | 247.5 | 252.4 | 253.6 | 253.7 | 252.7 | 247.4 | 236.5 | 227.9 | 220.8 | 205.2 | 186.3 | 159.6 | 138.4 | 114.3 | 94.88 | 81.43 | 71.19
495 | 139.6 | 191.1 | 186.2 | 207.9 | 241.6 | 287.8 | 279 | 244 | 480.9 | 9999.9 | 6061 | 323.8 | 303.6 | 334.8 | 350.5 | 365.7 | 348.3 | 314.6 | 260 | 231.8 | 224 | 222.1 | 218.1 | 216.3 | 222 | 229.3 | 232.9 | 237.9 | 237.3 | 232.5 | 227.5 | 224.5 | 214.9 | 208.2 | 187.4 | 161.9 | 141.9 | 120 | 101.7 | 89.33 | 78.77
500 | 166.9 | 154.9 | 193.6 | 172 | 209.6 | 233.6 | 296.9 | 229.9 | 259.1 | 3526 | 9999.9 | 1318 | 309 | 357.5 | 367.7 | 367.1 | 341.6 | 291 | 239.9 | 215.1 | 202.9 | 198.5 | 194.3 | 193.9 | 199.8 | 209.1 | 213.7 | 223.4 | 221 | 222.5 | 219.9 | 218.9 | 212.5 | 205.3 | 190.4 | 169.6 | 149.6 | 127.6 | 109.8 | 96.33 | 84.56