## Sheet1
Report date: | 19:24:49, 09/18/2024
Sample: | 1
File name:
Run date: | 19:19:18, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/490.0 | 217.7
2 | 215.0/470.0 | 350.1
3 | 220.0/480.0 | 316.7
4 | 225.0/330.0 | 3495
5 | 225.0/485.0 | 279.8
6 | 230.0/325.0 | 3509
7 | 250.0/275.0 | 461.7
8 | 255.0/280.0 | 569.2
9 | 280.0/335.0 | 3848
10 | 315.0/355.0 | 463.9
11 | 320.0/360.0 | 416
12 | 325.0/370.0 | 372.9
13 | 330.0/375.0 | 396.5
14 | 335.0/380.0 | 402.8
15 | 340.0/385.0 | 391.4
16 | 345.0/395.0 | 415.7
17 | 350.0/400.0 | 422.9
18 | 355.0/405.0 | 414.2
19 | 360.0/415.0 | 382.6
20 | 365.0/420.0 | 367.5
21 | 390.0/275.0 | 7.962
22 | 395.0/460.0 | 123.7
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 145.4 | 172.2 | 141.3 | 127.1 | 153.9 | 95.09 | 48.88 | 43.62 | 71.41 | 376.6 | 236.3 | 74.86 | 282.2 | 9999.9 | 9999.9 | 9999.9 | 71.13 | 31.36 | 22.97 | 16.62 | 13.15 | 11.75 | 9.785 | 8.723 | 7.933 | 7.428 | 6.52 | 6.385 | 6.01 | 5.807 | 5.324 | 5.648 | 5.67 | 5.414 | 5.655 | 6.191 | 7.391 | 8.2 | 7.89 | 6.524 | 5.116
275 | 285.3 | 248.5 | 300.6 | 357 | 358.7 | 255.3 | 99.49 | 52.55 | 54.14 | 142.1 | 461.7 | 237.4 | 144.8 | 978.6 | 9999.9 | 9999.9 | 9999.9 | 74.2 | 32.28 | 22 | 16.23 | 13.54 | 10.97 | 9.22 | 8.914 | 8.192 | 7.667 | 6.893 | 6.494 | 5.92 | 6.007 | 5.616 | 5 | 5.921 | 5.409 | 5.271 | 5.631 | 7.053 | 7.962 | 7.681 | 5.992
280 | 517.6 | 367.2 | 411.5 | 605.7 | 613.3 | 481.5 | 202 | 76.14 | 62.62 | 82.2 | 256.9 | 569.2 | 289.5 | 301.3 | 1068 | 9999.9 | 9999.9 | 9999.9 | 72.55 | 31.63 | 21.69 | 15.43 | 12.79 | 11.1 | 9.731 | 9.148 | 7.772 | 7.555 | 7.06 | 6.565 | 6.219 | 6.149 | 6.102 | 5.565 | 5.514 | 5.224 | 5.167 | 5.786 | 6.866 | 7.942 | 7.283
285 | 654.6 | 547.5 | 596.5 | 873.5 | 1073 | 912.5 | 458.2 | 168.9 | 102.2 | 109.3 | 170.4 | 485.6 | 727.4 | 483.8 | 539.3 | 1259 | 9999.9 | 9999.9 | 9458 | 71.24 | 30.82 | 21.64 | 16.48 | 13.49 | 11.87 | 10.23 | 9.113 | 8.424 | 7.751 | 6.508 | 6.425 | 6.88 | 6.432 | 5.899 | 5.791 | 5.698 | 5.412 | 5.2 | 6.063 | 6.735 | 8.075
290 | 749.4 | 724.6 | 813.6 | 1132 | 1490 | 1394 | 874 | 395 | 206.7 | 167.9 | 222.7 | 372.6 | 870.1 | 1053 | 921.7 | 901.7 | 1501 | 9999.9 | 9999.9 | 8639 | 61.54 | 31.23 | 24.08 | 17.01 | 14.07 | 11.97 | 10.04 | 9.653 | 8.174 | 7.577 | 6.611 | 7.312 | 6.178 | 6.906 | 5.999 | 5.701 | 5.131 | 5.136 | 5.28 | 5.837 | 6.701
295 | 932.7 | 796.2 | 1054 | 1346 | 1878 | 1931 | 1398 | 738.4 | 378.1 | 311.2 | 380.6 | 534.6 | 803.3 | 1522 | 1607 | 1408 | 1236 | 1550 | 9999.9 | 9999.9 | 8144 | 61.95 | 31.74 | 22.26 | 17.46 | 14.77 | 12.41 | 10.96 | 8.997 | 8.419 | 7.509 | 7.38 | 7.12 | 6.763 | 6.469 | 6.003 | 5.756 | 5.446 | 5.478 | 5.517 | 5.705
300 | 1102 | 935.3 | 1235 | 1502 | 2324 | 2517 | 1975 | 1134 | 649.8 | 586.2 | 655 | 816.8 | 1056 | 1542 | 2369 | 2153 | 1727 | 1201 | 1372 | 9999.9 | 9999.9 | 7665 | 60.61 | 32.85 | 24.94 | 17.37 | 14.56 | 11.9 | 11.47 | 9.203 | 9.159 | 8.145 | 7.757 | 7.2 | 6.996 | 6.579 | 5.669 | 5.441 | 5.826 | 5.348 | 5.046
305 | 1106 | 1073 | 1324 | 1699 | 2366 | 2902 | 2451 | 1544 | 976.9 | 924.9 | 1019 | 1188 | 1414 | 1797 | 2427 | 2999 | 2382 | 1610 | 910.2 | 1222 | 9999.9 | 9999.9 | 7183 | 58.08 | 32.77 | 25.13 | 18.27 | 14.99 | 12.59 | 11.53 | 9.579 | 8.872 | 8.004 | 7.863 | 6.962 | 6.482 | 5.81 | 5.658 | 5.873 | 5.447 | 4.951
310 | 1104 | 1211 | 1505 | 1848 | 2559 | 3159 | 2803 | 1899 | 1406 | 1348 | 1479 | 1598 | 1756 | 2122 | 2632 | 3166 | 3224 | 2132 | 1219 | 619.4 | 1037 | 9999.9 | 9999.9 | 7347 | 60.08 | 34.2 | 25.54 | 18.96 | 14.77 | 13.27 | 10.68 | 9.677 | 8.724 | 8.554 | 7.401 | 7.098 | 6.683 | 6.1 | 5.95 | 5.821 | 5.218
315 | 1209 | 1372 | 1553 | 1976 | 2605 | 3393 | 3209 | 2294 | 1720 | 1728 | 1878 | 1963 | 2092 | 2428 | 2931 | 3285 | 3493 | 2848 | 1612 | 770.4 | 370.8 | 970.5 | 9999.9 | 9999.9 | 7150 | 61.24 | 34.85 | 26.05 | 18.95 | 14.75 | 12.74 | 11.48 | 10.69 | 9.203 | 8.405 | 7.803 | 7.103 | 6.669 | 6.096 | 5.767 | 5.021
320 | 1143 | 1307 | 1520 | 1970 | 2770 | 3456 | 3486 | 2507 | 1998 | 2055 | 2220 | 2297 | 2383 | 2654 | 3184 | 3558 | 3527 | 3242 | 2193 | 980.4 | 423.1 | 241.3 | 911.6 | 9999.9 | 9999.9 | 7433 | 58.17 | 35.78 | 25.59 | 18.93 | 14.99 | 12.74 | 11.24 | 10.71 | 9.852 | 7.864 | 7.454 | 7 | 6.238 | 6.353 | 5.424
325 | 1123 | 1339 | 1571 | 2073 | 2648 | 3466 | 3509 | 2591 | 2169 | 2272 | 2436 | 2542 | 2579 | 2835 | 3339 | 3730 | 3727 | 3166 | 2581 | 1321 | 513.5 | 235.9 | 184.3 | 915 | 9999.9 | 9999.9 | 7305 | 60.59 | 35.66 | 26.97 | 19.33 | 14.68 | 12.4 | 11.5 | 10.13 | 8.703 | 7.754 | 6.884 | 6.282 | 6.063 | 5.904
330 | 1083 | 1343 | 1696 | 2183 | 2517 | 3495 | 3426 | 2643 | 2217 | 2338 | 2558 | 2643 | 2681 | 2935 | 3436 | 3791 | 3842 | 3266 | 2436 | 1653 | 685.2 | 270.9 | 151.3 | 157 | 900.2 | 9999.9 | 9999.9 | 7459 | 59.14 | 34.93 | 27.21 | 19.95 | 15.11 | 13.56 | 11.47 | 10.14 | 8.416 | 7.624 | 6.506 | 6.276 | 5.844
335 | 1024 | 1280 | 1631 | 1956 | 2737 | 3360 | 3378 | 2540 | 2161 | 2335 | 2529 | 2616 | 2695 | 2931 | 3424 | 3806 | 3848 | 3323 | 2458 | 1509 | 999.2 | 379.6 | 171.4 | 120.8 | 141.4 | 893.3 | 9999.9 | 9999.9 | 7689 | 61.02 | 36.79 | 28.02 | 20.57 | 16.51 | 12.51 | 11.2 | 9.735 | 8.367 | 7.756 | 6.657 | 6.191
340 | 920.8 | 1102 | 1463 | 1940 | 2611 | 3275 | 3130 | 2404 | 2088 | 2244 | 2410 | 2543 | 2621 | 2901 | 3360 | 3687 | 3755 | 3278 | 2458 | 1399 | 891.2 | 644.9 | 232.4 | 133.9 | 98.42 | 124 | 901.4 | 9999.9 | 9999.9 | 7819 | 59.45 | 36.55 | 27.31 | 20.18 | 15.44 | 12.12 | 10.73 | 8.971 | 7.928 | 7.29 | 6.441
345 | 856.2 | 1110 | 1341 | 1739 | 2330 | 3016 | 2889 | 2212 | 1926 | 2042 | 2238 | 2378 | 2497 | 2716 | 3148 | 3495 | 3533 | 3115 | 2364 | 1362 | 736.8 | 626 | 438.8 | 162.1 | 101.5 | 77.83 | 121.3 | 905.9 | 9999.9 | 9999.9 | 8033 | 57.01 | 37.96 | 28.63 | 20.06 | 14.99 | 11.52 | 9.515 | 8.282 | 7.613 | 6.457
350 | 816.3 | 1016 | 1275 | 1565 | 2127 | 2686 | 2559 | 1958 | 1750 | 1828 | 2017 | 2161 | 2289 | 2516 | 2930 | 3192 | 3261 | 2892 | 2229 | 1303 | 707.2 | 443.9 | 510.5 | 319.3 | 123 | 87.57 | 77.45 | 120.5 | 884.1 | 9999.9 | 9999.9 | 8272 | 60.84 | 37.47 | 27.74 | 19.17 | 14.15 | 11.35 | 10.02 | 8.005 | 7.113
355 | 675.8 | 901.7 | 1067 | 1473 | 1926 | 2294 | 2274 | 1727 | 1554 | 1632 | 1847 | 1980 | 2077 | 2304 | 2646 | 2903 | 2967 | 2645 | 2060 | 1233 | 699.6 | 421.1 | 345.7 | 463.9 | 237.4 | 108.9 | 86.42 | 79.55 | 121.7 | 922.8 | 9999.9 | 9999.9 | 8082 | 58.76 | 37 | 26.43 | 18.26 | 12.68 | 10.65 | 8.865 | 7.953
360 | 674.1 | 776.6 | 1038 | 1333 | 1743 | 2070 | 1987 | 1526 | 1364 | 1465 | 1613 | 1767 | 1862 | 2051 | 2371 | 2595 | 2649 | 2387 | 1866 | 1149 | 680 | 426.7 | 305.2 | 329.5 | 416 | 189.9 | 108 | 92.03 | 79.9 | 124.1 | 885.3 | 9999.9 | 9999.9 | 8636 | 59.31 | 35.03 | 25.86 | 17.36 | 12.78 | 10.2 | 8.906
365 | 610.9 | 747.2 | 920.6 | 1209 | 1478 | 1841 | 1748 | 1354 | 1203 | 1298 | 1439 | 1534 | 1647 | 1822 | 2105 | 2316 | 2353 | 2111 | 1685 | 1060 | 656.3 | 432.9 | 320.8 | 266.1 | 342 | 370.8 | 162.4 | 108.3 | 88.39 | 77.88 | 118.7 | 909.9 | 9999.9 | 9999.9 | 8217 | 55.74 | 32.8 | 23.68 | 16.56 | 11.6 | 9.479
370 | 593.8 | 700 | 839.5 | 1044 | 1368 | 1600 | 1509 | 1169 | 1061 | 1136 | 1246 | 1353 | 1449 | 1607 | 1836 | 2009 | 2065 | 1870 | 1510 | 984.4 | 639.7 | 448.1 | 341.5 | 286.8 | 258.4 | 372.9 | 322.5 | 151.4 | 112 | 90.86 | 75.29 | 120.9 | 921.4 | 9999.9 | 9999.9 | 7818 | 51.77 | 31.89 | 22.8 | 16.24 | 11.33
375 | 491.8 | 667.8 | 750.1 | 892.5 | 1288 | 1405 | 1269 | 1047 | 936.7 | 1018 | 1095 | 1188 | 1268 | 1418 | 1588 | 1777 | 1805 | 1660 | 1365 | 917.2 | 624.9 | 469.4 | 371.8 | 314.6 | 279.9 | 270 | 396.5 | 285.2 | 147.4 | 112.4 | 91.2 | 78.34 | 122.2 | 947.3 | 9999.9 | 9999.9 | 7572 | 49.25 | 30.43 | 21.65 | 14.87
380 | 470.3 | 580.9 | 705.1 | 823.6 | 1093 | 1208 | 1132 | 915.2 | 868.5 | 898 | 980.2 | 1050 | 1108 | 1221 | 1391 | 1542 | 1602 | 1482 | 1245 | 873 | 630.8 | 490.7 | 406.8 | 359.1 | 318.8 | 283.6 | 306.7 | 402.8 | 250.3 | 148.6 | 118.2 | 92.84 | 82.99 | 127.5 | 940.6 | 9999.9 | 9999.9 | 7105 | 47.11 | 28.33 | 20.8
385 | 433.6 | 604 | 612.9 | 727.2 | 987.5 | 1083 | 1012 | 833.6 | 795.7 | 821.5 | 863.7 | 913.2 | 956.7 | 1068 | 1224 | 1360 | 1419 | 1359 | 1148 | 850.8 | 652.8 | 525.1 | 444.3 | 400.8 | 367.6 | 334.7 | 307.5 | 347.8 | 391.4 | 229 | 151.8 | 123.7 | 100.1 | 82.79 | 122.6 | 957 | 9999.9 | 9999.9 | 6778 | 43.54 | 27.31
390 | 521.1 | 473.2 | 592.8 | 737 | 899.5 | 998.1 | 910.4 | 779.9 | 731.8 | 734.8 | 800.8 | 807.1 | 847.7 | 932.9 | 1088 | 1227 | 1294 | 1251 | 1100 | 860.1 | 686.2 | 570.6 | 497.4 | 447.2 | 414.7 | 386.3 | 352.3 | 332.2 | 383.5 | 376.8 | 217.9 | 160.3 | 126.6 | 101 | 78.09 | 119.4 | 895.7 | 9999.9 | 9999.9 | 6678 | 43.58
395 | 1020 | 499.3 | 547.6 | 713.4 | 808.4 | 911 | 815.3 | 741.2 | 678.5 | 677.8 | 715.9 | 754.8 | 772.2 | 834 | 978.4 | 1110 | 1200 | 1192 | 1083 | 889.5 | 725.2 | 615.9 | 541.1 | 497.2 | 470.9 | 436.5 | 402.6 | 376.3 | 347 | 415.7 | 343.7 | 206.9 | 163.8 | 125 | 93.07 | 72.09 | 111.3 | 941.5 | 9999.9 | 9999.9 | 6150
400 | 1440 | 689.7 | 555.4 | 658.7 | 805.5 | 847.2 | 776.4 | 724.1 | 642.4 | 651.3 | 662.3 | 689 | 705.1 | 772.4 | 886.6 | 1021 | 1124 | 1142 | 1069 | 911.4 | 774.1 | 673.9 | 585.3 | 548 | 518.8 | 492.2 | 457.7 | 420.7 | 383.8 | 368 | 422.9 | 317.6 | 204.4 | 154.5 | 112.8 | 80.71 | 63.85 | 108.2 | 878 | 9999.9 | 9999.9
405 | 1141 | 1348 | 520 | 632.2 | 738.4 | 759 | 740 | 678.3 | 618.4 | 616.5 | 627.5 | 630.9 | 653 | 707.4 | 822.8 | 977.3 | 1086 | 1118 | 1068 | 930.3 | 813.1 | 712.3 | 625 | 585.9 | 558.8 | 542 | 504.2 | 467.3 | 422.9 | 377.5 | 379.5 | 414.2 | 282.2 | 185.3 | 137.3 | 98.22 | 70.03 | 55.87 | 97.74 | 830.5 | 9999.9
410 | 500.5 | 2107 | 798.1 | 580.1 | 646.8 | 684 | 691.1 | 649.2 | 609.2 | 586.2 | 595.6 | 599.8 | 617.2 | 665.1 | 797.8 | 956.5 | 1047 | 1102 | 1064 | 944.9 | 837.7 | 738.9 | 660.8 | 617.7 | 587.9 | 569.5 | 540.8 | 505.2 | 462.6 | 413.7 | 370.6 | 389.3 | 381.6 | 241.1 | 163.4 | 117 | 82.71 | 59.41 | 48.8 | 89.99 | 831.7
415 | 353 | 1605 | 1885 | 541.8 | 611.7 | 678.2 | 664.2 | 607.8 | 591.7 | 580 | 564.1 | 561.1 | 578.2 | 631.7 | 756.2 | 907.7 | 1027 | 1071 | 1048 | 947.5 | 848.3 | 758.4 | 677.5 | 631.3 | 602.4 | 599 | 567.2 | 530.2 | 490.3 | 437.9 | 394.6 | 360.1 | 382.6 | 339.5 | 201.7 | 138.8 | 95.9 | 68.35 | 52.1 | 42.7 | 86.37
420 | 323.9 | 607.7 | 2926 | 1014 | 546.6 | 611.3 | 642.8 | 582.7 | 576.4 | 564.5 | 541.1 | 551.8 | 563.4 | 608.7 | 737.2 | 889.8 | 983.1 | 1042 | 1014 | 936.6 | 853.8 | 757.8 | 678.1 | 644.3 | 621.1 | 599 | 575.7 | 545.3 | 506.1 | 459.6 | 416.7 | 372.1 | 345.2 | 367.5 | 272.6 | 160.7 | 111.9 | 77.61 | 56.57 | 42.09 | 37.87
425 | 295.5 | 380.6 | 2214 | 2598 | 568.8 | 624.4 | 596.2 | 577 | 560.1 | 535.1 | 535.9 | 524.5 | 533.7 | 605.4 | 706.7 | 846.4 | 956.4 | 1021 | 984.3 | 904.8 | 831 | 747 | 671.3 | 627.8 | 613.9 | 596.8 | 583.9 | 551.2 | 519.8 | 474.8 | 434.8 | 389.7 | 345.8 | 322.5 | 327.1 | 215.1 | 128.2 | 88.21 | 66.49 | 47.7 | 37.63
430 | 294.2 | 364.5 | 888.8 | 4267 | 1103 | 555 | 572 | 563.3 | 548.3 | 538.8 | 524 | 518.4 | 512.9 | 572.8 | 689.4 | 811.8 | 916.1 | 962.6 | 939 | 880.9 | 810.7 | 728.8 | 649.9 | 625.3 | 601.4 | 598.2 | 573.4 | 548.6 | 520 | 481.2 | 439.4 | 400.2 | 354.6 | 309.9 | 290.1 | 274 | 164.4 | 102 | 73.56 | 55.33 | 42.45
435 | 344.2 | 364.2 | 445.5 | 3390 | 3163 | 558.4 | 574 | 538.8 | 528.7 | 505.3 | 507.3 | 502.9 | 512.7 | 563.1 | 659.3 | 789.7 | 875.4 | 915.5 | 889.4 | 840 | 777.2 | 705.5 | 638 | 598.7 | 590.1 | 579.9 | 569.5 | 545.2 | 511.3 | 475.9 | 450.3 | 404.9 | 363.6 | 316.4 | 266.4 | 260.6 | 217.1 | 122 | 82.35 | 61.9 | 47.54
440 | 290.4 | 361.5 | 412.5 | 1182 | 5960 | 1234 | 531.3 | 521.4 | 515 | 501.7 | 497.7 | 490.2 | 500.8 | 542.7 | 632.7 | 743.7 | 827.3 | 867 | 847.1 | 792.2 | 742.8 | 672.3 | 608.2 | 573.5 | 562.9 | 565.3 | 551.1 | 533 | 501.6 | 475.9 | 441.1 | 406.7 | 366.7 | 321 | 266.5 | 223.7 | 225.7 | 165.1 | 96.49 | 67.77 | 53.27
445 | 275.1 | 331.4 | 361.8 | 457.3 | 4997 | 4101 | 514 | 499 | 479 | 472.6 | 468.9 | 477.4 | 486.7 | 523.5 | 598.7 | 697.3 | 779.9 | 809.1 | 790.7 | 744.6 | 694.5 | 632.4 | 572.1 | 542.9 | 534.6 | 539.8 | 525.5 | 511.3 | 486.8 | 460.4 | 429.3 | 400.2 | 363 | 322.1 | 268.5 | 214.7 | 190 | 189.2 | 125.7 | 77.36 | 57.63
450 | 269.1 | 295.6 | 360.7 | 364.6 | 1610 | 8147 | 1397 | 460 | 474.6 | 451 | 443.5 | 456.1 | 468.6 | 483 | 558.8 | 655.1 | 719.4 | 731.4 | 714.4 | 678.1 | 636.7 | 587.3 | 526.6 | 506.3 | 508.5 | 509.8 | 502.7 | 483.8 | 468.3 | 437.6 | 411.3 | 389.8 | 348.9 | 317.1 | 265.4 | 215.7 | 171.9 | 161.7 | 156.3 | 92.48 | 62.24
455 | 292.9 | 272.5 | 351.6 | 346.1 | 460.3 | 7267 | 5376 | 477 | 445.6 | 425.1 | 424.2 | 425.5 | 432.1 | 453.8 | 519.3 | 590.6 | 649.9 | 666.8 | 648.9 | 616.3 | 582.1 | 535.8 | 491 | 465.3 | 459.4 | 465.4 | 463.9 | 449.9 | 437.7 | 417.1 | 395.3 | 366.3 | 340.4 | 300.9 | 259 | 210.5 | 165.6 | 135.9 | 139.2 | 123.2 | 73.4
460 | 218.2 | 264.5 | 297.4 | 369.4 | 381.6 | 2289 | 9999.9 | 1512 | 397.5 | 397.6 | 394.3 | 383.2 | 402.2 | 415.6 | 470.5 | 545.5 | 582.9 | 599.3 | 579.1 | 550.5 | 524.7 | 482.4 | 445.8 | 427.1 | 428 | 434.8 | 430.3 | 415.4 | 405.4 | 385.4 | 366.7 | 342.1 | 317.1 | 282.1 | 244.7 | 200.5 | 162.6 | 129 | 111.8 | 123.7 | 97.92
465 | 223.7 | 273.5 | 286.4 | 313.2 | 311.1 | 488.2 | 9601 | 6213 | 405.6 | 371.2 | 369 | 372.1 | 365.1 | 394.6 | 436.5 | 483.7 | 524.8 | 526.6 | 513.1 | 489.4 | 469.7 | 436.6 | 402.9 | 388.6 | 385.3 | 389.3 | 391 | 382.2 | 373.9 | 351.4 | 336.4 | 315.5 | 294.4 | 267 | 229.5 | 192.1 | 154.5 | 123.9 | 103 | 97.85 | 108.8
470 | 234.5 | 237.5 | 269.6 | 350.1 | 321.6 | 325 | 2714 | 9999.9 | 1694 | 347.2 | 339 | 345.6 | 347.2 | 351.9 | 384.5 | 432.7 | 466 | 465.7 | 462.3 | 430.4 | 418.3 | 381.6 | 356.2 | 344.9 | 343 | 350 | 352.6 | 346.7 | 335.5 | 319.2 | 312.9 | 288.9 | 271 | 245.9 | 212.9 | 178.2 | 146.2 | 121.3 | 98.19 | 84.6 | 88.41
475 | 210.2 | 208.9 | 236.8 | 295.1 | 288.1 | 291.1 | 465.8 | 9999.9 | 6834 | 350.2 | 315.8 | 313.2 | 316.9 | 325.6 | 341.7 | 388.2 | 413 | 411.6 | 399.6 | 380.9 | 360.3 | 344.5 | 310.7 | 305.7 | 309.6 | 314.9 | 316.2 | 310.9 | 305.4 | 290.5 | 280.8 | 261.9 | 247.4 | 226.1 | 199 | 167 | 140.3 | 114.6 | 93.49 | 80.66 | 70.77
480 | 155.2 | 185.5 | 194.6 | 242 | 316.7 | 264.9 | 268 | 3189 | 9999.9 | 1638 | 275.6 | 297 | 293.2 | 304 | 327.6 | 354.9 | 371 | 370.4 | 353.1 | 330.8 | 323.3 | 299.9 | 279.5 | 273.6 | 278.9 | 282.2 | 287.1 | 281.5 | 272.1 | 269.5 | 256.6 | 239.2 | 229.3 | 210.3 | 189.5 | 159.5 | 131.3 | 111.8 | 91.17 | 78.86 | 67.56
485 | 210.7 | 172.7 | 185.8 | 214.2 | 258.3 | 279.8 | 247.2 | 483.5 | 9999.9 | 6778 | 310.5 | 277.8 | 290.5 | 298.9 | 313.7 | 330.3 | 342.3 | 338.7 | 313.6 | 297.2 | 286.4 | 270.1 | 252.7 | 249.6 | 250.7 | 258.8 | 259.9 | 259.4 | 255.5 | 247.6 | 239 | 223.8 | 218.4 | 202.4 | 181.5 | 156.8 | 134.1 | 111.1 | 94.03 | 79.57 | 70.46
490 | 185.4 | 217.7 | 201 | 179.8 | 208 | 278.6 | 262.9 | 266.8 | 3321 | 9999.9 | 1490 | 266.6 | 274.8 | 295.1 | 310.4 | 326.2 | 336.6 | 315.3 | 286 | 266 | 255.8 | 246.9 | 233.3 | 230 | 230.2 | 235.2 | 239.4 | 240.4 | 236.9 | 229.2 | 226.7 | 217.9 | 209.2 | 193.7 | 177.3 | 155.7 | 134.5 | 111.8 | 96.34 | 82.65 | 75.05
495 | 171.2 | 193.8 | 198.4 | 184.6 | 220.7 | 250.4 | 272.6 | 232.4 | 464.8 | 9999.9 | 6369 | 306.2 | 298.8 | 305.7 | 319 | 325.7 | 319.5 | 291.3 | 263.8 | 244 | 228.1 | 219.6 | 211.4 | 202.2 | 211.7 | 214.7 | 221.2 | 224.2 | 220.3 | 216.9 | 213.5 | 209.7 | 204.1 | 192.8 | 177.6 | 159.5 | 137.5 | 117.9 | 102.3 | 88.5 | 79.87
500 | 167.9 | 164.4 | 174.3 | 190 | 183.4 | 218.2 | 295.3 | 228.5 | 237.1 | 3678 | 9999.9 | 1364 | 313.3 | 317.9 | 338.5 | 330.3 | 313.4 | 274.3 | 240.3 | 214.6 | 203 | 193.8 | 190.9 | 185.4 | 190.9 | 195.1 | 200.6 | 205 | 206.6 | 207.4 | 207.8 | 205 | 201.7 | 194.4 | 183.6 | 164.8 | 146.3 | 123.9 | 107.5 | 92.87 | 84.63