## Sheet1
Report date: | 19:37:30, 09/18/2024
Sample: | 1
File name:
Run date: | 19:31:18, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/330.0 | 1886
2 | 225.0/345.0 | 1931
3 | 245.0/430.0 | 847.7
4 | 250.0/275.0 | 218.1
5 | 255.0/280.0 | 251.5
6 | 275.0/355.0 | 4574
7 | 320.0/425.0 | 1548
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 90.89 | 92.54 | 71.73 | 59.9 | 60.05 | 33.94 | 22.27 | 19.15 | 34.34 | 167.4 | 109.8 | 29.21 | 62.24 | 5387 | 9999.9 | 2121 | 17.67 | 8.528 | 5.703 | 5.751 | 3.9 | 3.308 | 3.035 | 3.083 | 2.835 | 2.827 | 2.748 | 2.962 | 2.629 | 2.576 | 2.419 | 2.223 | 2.657 | 2.4 | 2.571 | 2.638 | 2.84 | 2.9 | 2.97 | 2.377 | 2.375
275 | 74.15 | 76.63 | 112.6 | 88.73 | 87.33 | 51.72 | 31.83 | 22.25 | 18.29 | 65.67 | 218.1 | 97.07 | 45.19 | 403.4 | 6223 | 9999.9 | 1818 | 17.62 | 7.908 | 5.52 | 4.454 | 3.855 | 3.631 | 3.297 | 3.322 | 2.822 | 3.208 | 2.933 | 2.622 | 2.883 | 2.655 | 2.673 | 2.626 | 2.466 | 2.555 | 2.427 | 2.735 | 2.922 | 3.08 | 2.772 | 2.483
280 | 115.9 | 91.44 | 94.73 | 117.6 | 145.3 | 109.7 | 57.37 | 31.63 | 22.16 | 28.39 | 106.6 | 251.5 | 112.5 | 101.9 | 493 | 6380 | 9999.9 | 1622 | 17.09 | 7.356 | 5.621 | 4.184 | 3.846 | 3.611 | 3.393 | 3.093 | 3.023 | 2.995 | 2.86 | 2.799 | 2.793 | 2.822 | 2.732 | 2.642 | 2.774 | 2.679 | 2.75 | 2.266 | 2.677 | 2.728 | 2.362
285 | 143 | 112.2 | 146.9 | 190 | 244.6 | 249.6 | 182.1 | 89.4 | 54.41 | 46.17 | 61.67 | 215.3 | 337.1 | 229.7 | 269.9 | 669 | 6935 | 9999.9 | 1385 | 15.82 | 6.927 | 4.976 | 4.485 | 3.655 | 3.088 | 3.941 | 3.134 | 2.87 | 2.714 | 3.018 | 2.758 | 2.788 | 2.534 | 2.905 | 2.622 | 2.487 | 2.319 | 2.513 | 2.085 | 3.006 | 2.686
290 | 159.5 | 194.4 | 233.7 | 288.4 | 480.8 | 553.6 | 463.6 | 263.5 | 146.4 | 99.14 | 111.4 | 190.9 | 487 | 651.8 | 649.2 | 715.1 | 1032 | 6878 | 9756 | 1211 | 12.45 | 6.319 | 5.212 | 3.943 | 3.625 | 3.582 | 3.554 | 3.16 | 2.679 | 3.232 | 2.916 | 3.098 | 3.003 | 2.84 | 2.499 | 2.535 | 2.305 | 2.309 | 2.103 | 2.597 | 2.431
295 | 219.2 | 260 | 286.3 | 461.6 | 672.8 | 877.2 | 789.9 | 503.5 | 288.3 | 202.4 | 206 | 315.5 | 539.1 | 1049 | 1285 | 1294 | 1160 | 1112 | 6455 | 9367 | 1083 | 12.32 | 6.224 | 5.321 | 4.794 | 3.829 | 3.592 | 3.427 | 3.25 | 3.112 | 3.116 | 3.176 | 3.162 | 2.83 | 3.05 | 2.672 | 2.398 | 2.274 | 2.416 | 2.231 | 2.227
300 | 292.2 | 330.5 | 416.6 | 616 | 844.4 | 1190 | 1121 | 753 | 472.2 | 323.2 | 340.9 | 476.6 | 774.5 | 1226 | 1887 | 1939 | 1685 | 1097 | 817.2 | 5997 | 9732 | 985.7 | 11.04 | 6.508 | 4.509 | 4.75 | 4.359 | 3.741 | 3.626 | 2.928 | 3.289 | 2.998 | 2.94 | 2.954 | 2.646 | 2.9 | 2.898 | 2.509 | 2.403 | 2.564 | 2.151
305 | 289.5 | 344.2 | 460.7 | 717.8 | 1069 | 1429 | 1365 | 954.9 | 640.6 | 468.2 | 470.7 | 661.3 | 985.4 | 1479 | 2087 | 2563 | 2184 | 1439 | 649.5 | 598.9 | 6472 | 9779 | 913.9 | 10.02 | 6.349 | 5.401 | 4.978 | 3.924 | 4.041 | 3.731 | 3.128 | 3.278 | 3.496 | 3.013 | 2.871 | 3.052 | 2.753 | 2.182 | 2.481 | 2.285 | 2.146
310 | 366.1 | 433.6 | 538.9 | 749.9 | 1148 | 1618 | 1581 | 1145 | 787.9 | 657.7 | 665 | 874.7 | 1246 | 1731 | 2301 | 2740 | 2718 | 1781 | 850.2 | 363 | 544.9 | 6133 | 9999.9 | 925 | 11.59 | 7.111 | 5.928 | 4.599 | 4.235 | 3.93 | 3.485 | 3.239 | 3.385 | 3.504 | 2.878 | 3.06 | 2.599 | 2.614 | 2.252 | 2.384 | 2.33
315 | 319.9 | 391.1 | 582.2 | 813.4 | 1241 | 1658 | 1708 | 1273 | 955.2 | 801.3 | 892 | 1120 | 1532 | 2021 | 2564 | 2906 | 2890 | 2207 | 1120 | 503.9 | 252.1 | 508 | 6312 | 9999.9 | 880.4 | 10.92 | 7.025 | 5.57 | 4.779 | 4.142 | 3.815 | 3.572 | 3.742 | 3.151 | 3.144 | 2.896 | 2.857 | 2.99 | 2.578 | 2.502 | 2.317
320 | 361.5 | 482.9 | 590.2 | 851.8 | 1300 | 1762 | 1745 | 1350 | 1031 | 996.2 | 1149 | 1480 | 1865 | 2362 | 2832 | 3146 | 3030 | 2510 | 1514 | 710.5 | 364.8 | 219.7 | 513.9 | 6414 | 9999.9 | 947.7 | 12.17 | 7.186 | 6.208 | 5.148 | 4.036 | 4.017 | 4.081 | 3.526 | 3.127 | 2.943 | 2.74 | 2.567 | 2.543 | 2.47 | 2.341
325 | 281.2 | 440.4 | 645.5 | 878.3 | 1405 | 1790 | 1734 | 1381 | 1149 | 1165 | 1397 | 1778 | 2215 | 2694 | 3142 | 3365 | 3223 | 2602 | 1873 | 1014 | 511.1 | 292.7 | 191.1 | 506.8 | 6668 | 9999.9 | 994.5 | 10.87 | 7.431 | 5.807 | 4.9 | 4.522 | 3.843 | 4.172 | 4.016 | 3.215 | 2.788 | 2.779 | 2.367 | 2.362 | 2.224
330 | 346.1 | 433.4 | 666.8 | 1014 | 1430 | 1886 | 1799 | 1390 | 1244 | 1294 | 1595 | 2093 | 2585 | 3068 | 3488 | 3646 | 3507 | 2865 | 2003 | 1342 | 710.3 | 385.9 | 226.9 | 147.5 | 490.5 | 7389 | 9999.9 | 1071 | 12.22 | 7.745 | 6.501 | 5.407 | 4.409 | 4.148 | 3.497 | 3.599 | 3.395 | 2.919 | 2.778 | 2.771 | 2.868
335 | 307.7 | 471.8 | 680.9 | 1043 | 1415 | 1867 | 1788 | 1409 | 1279 | 1420 | 1804 | 2370 | 2933 | 3422 | 3805 | 3936 | 3753 | 3148 | 2248 | 1453 | 1013 | 528 | 297.3 | 163.4 | 102.9 | 520.4 | 8099 | 9999.9 | 1166 | 12.56 | 8.813 | 7.046 | 5.959 | 5.099 | 4.252 | 3.714 | 3.594 | 3.044 | 2.982 | 2.601 | 2.467
340 | 312 | 447.3 | 666.9 | 1123 | 1494 | 1845 | 1785 | 1391 | 1309 | 1516 | 1933 | 2547 | 3173 | 3719 | 4140 | 4215 | 3994 | 3390 | 2512 | 1607 | 1106 | 775 | 388.9 | 207.1 | 109.4 | 87.55 | 571.8 | 7840 | 9999.9 | 1249 | 12.94 | 8.435 | 7.118 | 5.872 | 5.352 | 4.595 | 3.636 | 3.487 | 3.124 | 2.571 | 2.533
345 | 353.4 | 475.9 | 619.5 | 1035 | 1564 | 1931 | 1800 | 1409 | 1296 | 1522 | 2009 | 2678 | 3374 | 3958 | 4355 | 4411 | 4201 | 3603 | 2734 | 1802 | 1166 | 860.6 | 568.3 | 260.8 | 138.8 | 82.01 | 85.44 | 556.8 | 8166 | 9999.9 | 1433 | 14.33 | 9.514 | 6.997 | 5.694 | 4.946 | 4.204 | 3.625 | 3.195 | 3.052 | 2.886
350 | 339.3 | 413.6 | 576 | 995.6 | 1538 | 1823 | 1702 | 1381 | 1305 | 1532 | 2052 | 2725 | 3406 | 4038 | 4435 | 4540 | 4320 | 3757 | 2892 | 1944 | 1272 | 845.2 | 678.1 | 398.5 | 183.4 | 112.4 | 81.94 | 87.82 | 577.2 | 8181 | 9999.9 | 1590 | 15.86 | 10.04 | 7.77 | 5.966 | 4.675 | 3.608 | 3.481 | 2.963 | 2.98
355 | 333.5 | 446.7 | 610.3 | 978.5 | 1514 | 1852 | 1639 | 1310 | 1270 | 1514 | 2009 | 2674 | 3383 | 4016 | 4469 | 4574 | 4338 | 3791 | 2996 | 2037 | 1377 | 907.6 | 635 | 535.7 | 284.1 | 157.8 | 109.6 | 86.34 | 92.94 | 586.5 | 8945 | 9999.9 | 1682 | 15.92 | 10.48 | 7.57 | 5.694 | 4.467 | 3.609 | 3.648 | 2.98
360 | 253.9 | 398.4 | 591.1 | 965.5 | 1402 | 1765 | 1555 | 1259 | 1201 | 1466 | 1936 | 2608 | 3276 | 3926 | 4341 | 4467 | 4280 | 3756 | 3002 | 2128 | 1452 | 981.2 | 657.7 | 498.4 | 455.8 | 236.3 | 154.2 | 116.7 | 88.76 | 97.28 | 632.4 | 9314 | 9999.9 | 1887 | 16.11 | 10.63 | 7.683 | 5.819 | 4.396 | 3.65 | 3.379
365 | 281.9 | 345.6 | 554.2 | 846.1 | 1381 | 1679 | 1491 | 1148 | 1141 | 1369 | 1809 | 2464 | 3111 | 3727 | 4139 | 4273 | 4140 | 3656 | 2985 | 2139 | 1489 | 1031 | 714.4 | 507.1 | 447 | 395.9 | 223.4 | 159.9 | 122.3 | 95.52 | 102.3 | 670.8 | 9999.9 | 9999.9 | 1872 | 16.51 | 9.908 | 7.609 | 5.556 | 4.392 | 3.472
370 | 294.8 | 388.7 | 519.7 | 890.6 | 1295 | 1529 | 1333 | 1112 | 1072 | 1302 | 1734 | 2273 | 2906 | 3463 | 3886 | 4040 | 3928 | 3493 | 2872 | 2111 | 1509 | 1089 | 770.2 | 564.5 | 432.6 | 446.3 | 381 | 229.2 | 174.7 | 135.3 | 103.4 | 110.4 | 724.4 | 9999.9 | 9999.9 | 1821 | 16.69 | 9.234 | 7.414 | 5.425 | 4.164
375 | 349.3 | 332.5 | 495.7 | 832.9 | 1215 | 1403 | 1269 | 1046 | 1008 | 1230 | 1556 | 2042 | 2638 | 3215 | 3555 | 3741 | 3632 | 3319 | 2765 | 2074 | 1538 | 1130 | 842 | 632 | 501.8 | 432.5 | 486.1 | 376.5 | 249 | 193 | 151.8 | 117.2 | 128.2 | 733.6 | 9999.9 | 9999.9 | 1834 | 15.29 | 9.721 | 6.81 | 5.62
380 | 282.6 | 372.3 | 511.8 | 743.8 | 1072 | 1282 | 1166 | 987.2 | 959.6 | 1128 | 1444 | 1858 | 2378 | 2880 | 3273 | 3406 | 3350 | 3070 | 2603 | 2029 | 1545 | 1181 | 906.1 | 719.2 | 595 | 514 | 494.2 | 531.3 | 390.9 | 279.6 | 228 | 174.3 | 134.7 | 134.2 | 739.9 | 9999.9 | 9999.9 | 1738 | 14.98 | 9.281 | 6.699
385 | 273.7 | 301.1 | 460.4 | 684.9 | 975.6 | 1131 | 1104 | 954.1 | 950.2 | 1034 | 1309 | 1684 | 2115 | 2556 | 2907 | 3080 | 3080 | 2859 | 2485 | 1980 | 1563 | 1234 | 990.3 | 829.3 | 707.2 | 634.5 | 574.9 | 574.5 | 583.8 | 413.4 | 318.4 | 253.2 | 197 | 140.5 | 132 | 736.5 | 9999.9 | 9999.9 | 1704 | 15.31 | 9.316
390 | 346.3 | 298.7 | 446.7 | 632.6 | 916.7 | 1100 | 1040 | 912.2 | 898.8 | 997.7 | 1213 | 1491 | 1866 | 2263 | 2606 | 2776 | 2809 | 2644 | 2359 | 1943 | 1588 | 1316 | 1102 | 946.8 | 846.8 | 783.1 | 713.8 | 661 | 669.1 | 622.9 | 444.6 | 354.1 | 277.4 | 201.7 | 133.2 | 125.1 | 719.6 | 9669 | 9999.9 | 1750 | 14.26
395 | 754.7 | 294.8 | 416.4 | 622.3 | 805.3 | 1023 | 980.6 | 865.4 | 868.8 | 964 | 1109 | 1378 | 1680 | 2038 | 2318 | 2529 | 2583 | 2474 | 2275 | 1916 | 1631 | 1404 | 1211 | 1088 | 1001 | 937.4 | 877.6 | 804.6 | 741.1 | 741.5 | 626.9 | 462.4 | 366 | 265.6 | 181.6 | 118.3 | 116.9 | 712 | 9315 | 9999.9 | 1589
400 | 1015 | 427.7 | 384.9 | 583.4 | 837.1 | 926.1 | 947 | 858.9 | 865.7 | 915.9 | 1033 | 1246 | 1497 | 1794 | 2065 | 2250 | 2362 | 2306 | 2155 | 1882 | 1660 | 1475 | 1324 | 1226 | 1149 | 1097 | 1033 | 964.2 | 864.8 | 797.7 | 784.4 | 631 | 459.1 | 341.7 | 239 | 154.7 | 100.1 | 106.6 | 667.1 | 8747 | 9999.9
405 | 704.8 | 921.2 | 401.8 | 561.6 | 718.4 | 849.2 | 915.4 | 819.4 | 849.4 | 888.4 | 989.4 | 1146 | 1331 | 1603 | 1848 | 2072 | 2174 | 2153 | 2052 | 1856 | 1680 | 1541 | 1434 | 1344 | 1292 | 1245 | 1171 | 1103 | 1002 | 895.9 | 817.6 | 785.1 | 592.8 | 418.1 | 293.1 | 194.6 | 132.3 | 84.97 | 93.39 | 618.1 | 7765
410 | 364.1 | 1228 | 584.7 | 548.7 | 712.9 | 835 | 827 | 820.8 | 827.1 | 900 | 954.8 | 1064 | 1201 | 1453 | 1692 | 1870 | 1982 | 2012 | 1955 | 1803 | 1679 | 1579 | 1511 | 1445 | 1406 | 1364 | 1295 | 1210 | 1107 | 994 | 875.2 | 817.1 | 728.8 | 504.9 | 348.3 | 240.7 | 156.7 | 102.7 | 70.06 | 79.9 | 550
415 | 216.4 | 929.1 | 992.2 | 528.2 | 672.7 | 764.7 | 774.4 | 800.8 | 832.1 | 851.3 | 909.6 | 984.8 | 1117 | 1282 | 1524 | 1688 | 1837 | 1872 | 1854 | 1757 | 1670 | 1597 | 1542 | 1503 | 1486 | 1450 | 1385 | 1301 | 1189 | 1062 | 939.5 | 825.4 | 753 | 616.6 | 402.5 | 274.9 | 187.5 | 127.5 | 84.54 | 57.51 | 71.21
420 | 245.1 | 381.6 | 1484 | 720.7 | 616.3 | 706.7 | 779.5 | 795.2 | 808.2 | 842.1 | 879.5 | 933.3 | 1028 | 1180 | 1383 | 1579 | 1688 | 1752 | 1741 | 1691 | 1644 | 1589 | 1559 | 1544 | 1521 | 1511 | 1445 | 1352 | 1251 | 1118 | 992.5 | 865.2 | 740.8 | 667.8 | 491.2 | 312.3 | 214.1 | 149.1 | 101.7 | 69.18 | 50.42
425 | 205.3 | 295.8 | 1160 | 1276 | 600 | 681.4 | 742.6 | 783.8 | 794.6 | 818.2 | 853.3 | 876 | 946.8 | 1081 | 1257 | 1427 | 1546 | 1625 | 1648 | 1608 | 1589 | 1566 | 1555 | 1540 | 1548 | 1526 | 1460 | 1389 | 1286 | 1155 | 1024 | 888.1 | 758.3 | 633.3 | 554.8 | 370.7 | 242.7 | 169.8 | 118.3 | 83.98 | 60.61
430 | 194.2 | 281 | 532.9 | 1726 | 701.7 | 611.6 | 707.3 | 754.4 | 773.8 | 847.7 | 825.5 | 863 | 911.1 | 1010 | 1175 | 1312 | 1449 | 1510 | 1551 | 1526 | 1540 | 1535 | 1533 | 1539 | 1545 | 1540 | 1476 | 1402 | 1296 | 1175 | 1046 | 911.3 | 769.4 | 626.1 | 526.2 | 437.5 | 283.8 | 189.1 | 134.5 | 99.57 | 72.41
435 | 180.9 | 230.6 | 360.1 | 1344 | 1334 | 596.2 | 686.9 | 732.5 | 778 | 800 | 803.1 | 828.9 | 851.3 | 926.7 | 1091 | 1231 | 1345 | 1401 | 1456 | 1460 | 1456 | 1482 | 1486 | 1517 | 1519 | 1505 | 1470 | 1395 | 1292 | 1174 | 1048 | 917.2 | 780.7 | 634.2 | 514.6 | 438.5 | 345.2 | 214.8 | 150.4 | 112.4 | 85.28
440 | 183.1 | 215.4 | 334.7 | 617.7 | 1907 | 734.5 | 640.3 | 682.1 | 754.9 | 781.2 | 785.4 | 778.6 | 805.9 | 877.9 | 995.4 | 1151 | 1259 | 1310 | 1352 | 1375 | 1394 | 1416 | 1432 | 1466 | 1487 | 1478 | 1442 | 1381 | 1278 | 1158 | 1034 | 908 | 776.1 | 649.9 | 505.5 | 404.1 | 358.6 | 264.6 | 170.9 | 123.2 | 95.33
445 | 171.6 | 247.4 | 281.6 | 377.8 | 1611 | 1412 | 625 | 654 | 716.3 | 747.3 | 761.3 | 749.3 | 765.9 | 829.8 | 923.8 | 1047 | 1150 | 1208 | 1240 | 1263 | 1315 | 1334 | 1371 | 1390 | 1421 | 1425 | 1388 | 1331 | 1237 | 1126 | 1011 | 884.5 | 754.3 | 635.3 | 511.2 | 399.6 | 325.1 | 294.5 | 206.8 | 137.6 | 105
450 | 145.9 | 220.6 | 250.6 | 312.8 | 665.4 | 2054 | 775 | 610.6 | 663.2 | 743 | 718.7 | 710.8 | 714.1 | 762.1 | 865.2 | 956.5 | 1034 | 1101 | 1136 | 1169 | 1213 | 1241 | 1275 | 1302 | 1333 | 1330 | 1314 | 1261 | 1176 | 1073 | 960.1 | 851.6 | 734.3 | 610.4 | 501.9 | 391.5 | 308.8 | 268 | 241.6 | 159.2 | 115.5
455 | 153.5 | 202.2 | 272.8 | 311.2 | 379.5 | 1716 | 1486 | 579.2 | 629.2 | 693.4 | 688.5 | 668.6 | 684.5 | 697.4 | 777.7 | 866.4 | 948.9 | 986.5 | 1031 | 1061 | 1103 | 1147 | 1180 | 1202 | 1234 | 1240 | 1220 | 1171 | 1106 | 1009 | 908.1 | 798.8 | 699.1 | 591.1 | 484.5 | 382.3 | 305.7 | 248.1 | 230 | 193.8 | 129.1
460 | 153.8 | 221.7 | 223.6 | 290.8 | 342.7 | 673.2 | 2416 | 758.7 | 597.5 | 649.5 | 632.3 | 633.5 | 621.9 | 646.6 | 705.1 | 792.9 | 869.5 | 893.8 | 942.7 | 963.4 | 1012 | 1038 | 1062 | 1100 | 1129 | 1144 | 1128 | 1091 | 1020 | 948.6 | 853.3 | 749.2 | 654 | 562.3 | 466.5 | 376.7 | 302.5 | 243.3 | 205 | 199.1 | 158.8
465 | 188.6 | 180.5 | 218.2 | 244.9 | 311.2 | 395.1 | 1926 | 1534 | 572.2 | 586.8 | 588.1 | 580 | 582.6 | 588.4 | 635.4 | 715.5 | 760.4 | 808.9 | 833.4 | 861.2 | 906.6 | 928.6 | 972.5 | 989.7 | 1018 | 1031 | 1030 | 1001 | 937.9 | 861.3 | 777.1 | 698 | 608.6 | 528.8 | 439.8 | 362.9 | 289.5 | 236.8 | 194.5 | 174.1 | 172.6
470 | 168.6 | 150.7 | 179.4 | 247.4 | 323 | 333.7 | 736.6 | 2439 | 760.9 | 541.5 | 553.8 | 544.1 | 520.5 | 539.3 | 579.4 | 643.5 | 684.6 | 717.6 | 743.3 | 763.1 | 801.6 | 838.1 | 859.2 | 899.2 | 918 | 932.1 | 922 | 898.5 | 846.2 | 783.4 | 712.5 | 638.5 | 558.6 | 491.2 | 413.5 | 343.4 | 280.2 | 230.4 | 191.4 | 161.7 | 155.8
475 | 142 | 188.8 | 187.9 | 233.8 | 255.9 | 286.8 | 377.9 | 2095 | 1521 | 484.1 | 497.9 | 500.3 | 485.3 | 497.3 | 543 | 580.5 | 603.8 | 626.5 | 648.3 | 671.8 | 698.3 | 738.4 | 757.5 | 791.6 | 813.5 | 830 | 827.5 | 804.9 | 767.2 | 710.1 | 648.2 | 577.8 | 514.2 | 454 | 384.1 | 322.7 | 269 | 221.9 | 189.1 | 156.1 | 137.3
480 | 126.6 | 135.3 | 171.3 | 222.3 | 227.9 | 281 | 317.9 | 805.7 | 2540 | 698.4 | 461.1 | 468.1 | 437.4 | 461.1 | 481 | 512 | 547.5 | 565.9 | 576.9 | 597.1 | 627.9 | 652.2 | 680.1 | 702.2 | 726.3 | 742.7 | 735.7 | 722 | 691 | 645.4 | 586.6 | 533.6 | 476.1 | 420.8 | 362.2 | 308.7 | 256.2 | 216.1 | 186.4 | 156.5 | 135.1
485 | 107.2 | 136.7 | 170.9 | 196.6 | 205.1 | 289.4 | 282.5 | 349.3 | 2085 | 1517 | 424 | 428.9 | 422.4 | 439.7 | 443.7 | 486.1 | 495.1 | 510.8 | 518.7 | 532.4 | 565.5 | 588 | 615.5 | 630.7 | 653 | 669.7 | 679.8 | 659.8 | 633.6 | 590.2 | 542.3 | 494.5 | 446.9 | 399.1 | 347.4 | 296.1 | 253.9 | 213.6 | 182.5 | 156.9 | 137.4
490 | 94.8 | 124.4 | 159.2 | 167.4 | 193.8 | 252.2 | 255.8 | 315.3 | 795.5 | 2548 | 631.5 | 418.4 | 404.3 | 409.4 | 425.9 | 451.4 | 469.1 | 464.3 | 465.4 | 481.3 | 500.9 | 524.8 | 550 | 565.8 | 590.6 | 609.4 | 614.7 | 597.1 | 578.5 | 543.1 | 510 | 461.6 | 420.3 | 381.2 | 341 | 291.6 | 251.5 | 215.6 | 184.3 | 158 | 141.2
495 | 144.7 | 116.2 | 159.3 | 163.9 | 169 | 217.7 | 254.2 | 267.3 | 356.1 | 2190 | 1507 | 410 | 401.9 | 416.2 | 425.1 | 428.8 | 438.8 | 429.8 | 424.3 | 431.3 | 456.3 | 465 | 486.6 | 507 | 530 | 548.8 | 548.1 | 535 | 523.2 | 499.9 | 470.4 | 436.1 | 404.9 | 366.5 | 327 | 289.9 | 251.2 | 217.8 | 185.6 | 160.2 | 145.7
500 | 131.1 | 138.1 | 132.5 | 152.7 | 197.2 | 196 | 247.5 | 264.3 | 299.4 | 838 | 2675 | 584 | 402 | 413.6 | 415.2 | 410.6 | 411.7 | 394.3 | 373.1 | 375 | 396.8 | 411.2 | 434.6 | 453 | 467.2 | 485 | 488.3 | 492.5 | 480.1 | 459 | 429.6 | 405.6 | 383.6 | 355.6 | 325.5 | 286.7 | 248.8 | 218.4 | 185.9 | 164.7 | 149.9