## Sheet1
Report date: | 19:42:55, 09/18/2024
Sample: | 1
File name:
Run date: | 19:37:28, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/350.0 | 1859
2 | 250.0/275.0 | 213.9
3 | 255.0/280.0 | 257.5
4 | 275.0/355.0 | 4278
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 82.01 | 80 | 67.26 | 61.84 | 57.8 | 40.53 | 30.86 | 18.66 | 32.8 | 182.2 | 107.2 | 29.42 | 56.4 | 5177 | 9999.9 | 2099 | 19.58 | 8.593 | 6.241 | 5.595 | 4.636 | 3.971 | 3.593 | 3.013 | 2.915 | 2.642 | 2.814 | 2.702 | 2.878 | 2.897 | 2.746 | 2.595 | 2.556 | 2.685 | 2.69 | 2.697 | 2.745 | 2.88 | 3.042 | 2.331 | 2.52
275 | 81.53 | 84.59 | 81.76 | 100.1 | 82.92 | 54.56 | 33.25 | 18.61 | 20.06 | 63.94 | 213.9 | 102.6 | 41.27 | 392.7 | 5763 | 9999.9 | 1828 | 16.89 | 7.907 | 6.605 | 4.626 | 3.941 | 3.597 | 3.335 | 3.17 | 2.633 | 2.98 | 2.668 | 2.713 | 2.817 | 2.837 | 2.562 | 2.48 | 2.474 | 2.709 | 2.684 | 2.397 | 2.502 | 2.69 | 2.738 | 2.323
280 | 87.9 | 107.9 | 119.1 | 132.6 | 132.1 | 97.3 | 64.2 | 33.02 | 20.33 | 26.12 | 115 | 257.5 | 106.6 | 99.21 | 464 | 5916 | 9999.9 | 1627 | 17.69 | 7.048 | 5.015 | 4.455 | 4.165 | 3.971 | 3.467 | 3.438 | 3.004 | 3.078 | 2.827 | 2.503 | 2.608 | 2.723 | 2.836 | 2.506 | 2.578 | 2.285 | 2.53 | 2.263 | 2.582 | 2.615 | 2.624
285 | 135 | 119.8 | 154.6 | 193.3 | 231 | 243.1 | 159.4 | 89.57 | 53.89 | 46.1 | 61.56 | 216.8 | 348.6 | 231.6 | 278 | 634.3 | 6128 | 9833 | 1440 | 15.85 | 7.058 | 5.652 | 4.368 | 4.196 | 3.337 | 3.072 | 3.396 | 3.284 | 3.101 | 3.063 | 3.034 | 2.921 | 2.924 | 2.723 | 2.455 | 2.404 | 2.402 | 2.368 | 2.164 | 2.478 | 2.673
290 | 177.2 | 180.5 | 213.3 | 306.8 | 500.7 | 567 | 427.1 | 261.9 | 146.4 | 96.5 | 114.6 | 204.5 | 492.8 | 631.1 | 648.8 | 711.2 | 981.1 | 6390 | 9454 | 1254 | 13.76 | 6.342 | 4.867 | 4.896 | 4.129 | 3.403 | 3.963 | 3.559 | 3.246 | 3.112 | 2.773 | 2.903 | 2.729 | 2.833 | 2.771 | 2.197 | 1.95 | 2.228 | 2.339 | 2.213 | 2.504
295 | 234.3 | 278.3 | 318.4 | 430.5 | 725.8 | 847.8 | 806.7 | 519.1 | 296.4 | 197.9 | 207.8 | 320.3 | 547.2 | 1059 | 1274 | 1279 | 1143 | 1093 | 6197 | 9630 | 1140 | 12.49 | 6.452 | 4.761 | 4.335 | 3.738 | 3.394 | 3.328 | 3.426 | 3.135 | 3.116 | 3.148 | 2.865 | 3.139 | 2.631 | 2.476 | 2.681 | 2.439 | 2.125 | 2.088 | 2.363
300 | 264.3 | 304.9 | 419.2 | 571.1 | 931.3 | 1170 | 1111 | 760 | 484.5 | 320.1 | 324 | 479.6 | 760.9 | 1216 | 1879 | 1951 | 1675 | 1088 | 791 | 6181 | 9933 | 1044 | 10.98 | 6.336 | 5.328 | 4.731 | 3.904 | 3.427 | 3.863 | 3.749 | 3.431 | 2.793 | 3.117 | 2.714 | 2.991 | 2.409 | 2.417 | 2.307 | 2.344 | 2.379 | 2.323
305 | 281.2 | 391 | 510.9 | 665.5 | 1059 | 1442 | 1396 | 971.1 | 644 | 469.5 | 484.2 | 649.4 | 967.9 | 1484 | 2079 | 2574 | 2181 | 1431 | 629.3 | 598.4 | 6513 | 9999.9 | 963.8 | 10.91 | 6.55 | 5.743 | 5.137 | 3.951 | 4.128 | 3.583 | 3.519 | 2.922 | 3.129 | 3.08 | 3.437 | 2.785 | 2.615 | 2.348 | 2.386 | 2.107 | 2.342
310 | 338 | 397.7 | 477.2 | 819.2 | 1171 | 1573 | 1587 | 1161 | 790.4 | 638.2 | 658.9 | 851.6 | 1211 | 1729 | 2284 | 2745 | 2670 | 1751 | 826.1 | 348.5 | 539.1 | 6533 | 9999.9 | 937.4 | 10.8 | 6.576 | 5.314 | 4.829 | 4.076 | 3.885 | 4.16 | 3.265 | 3.187 | 3.496 | 3.128 | 2.968 | 2.713 | 2.333 | 2.641 | 2.201 | 2.131
315 | 295.2 | 400.9 | 559.2 | 810 | 1205 | 1640 | 1628 | 1282 | 965.2 | 797.2 | 876.8 | 1094 | 1470 | 1970 | 2538 | 2859 | 2865 | 2148 | 1066 | 471.2 | 235 | 517.1 | 6692 | 9999.9 | 862.3 | 11.08 | 6.396 | 5.29 | 4.825 | 4.935 | 3.796 | 4.029 | 2.974 | 3.684 | 3.148 | 2.632 | 2.519 | 2.516 | 2.552 | 2.189 | 2.253
320 | 304 | 429 | 602.5 | 874.9 | 1316 | 1770 | 1713 | 1325 | 1052 | 961.4 | 1112 | 1393 | 1776 | 2262 | 2757 | 3059 | 2923 | 2419 | 1446 | 663.9 | 314.9 | 193 | 522.3 | 6388 | 9999.9 | 925.5 | 10.68 | 6.958 | 5.972 | 4.947 | 4.403 | 4.101 | 4.02 | 3.564 | 3.409 | 3.03 | 3.076 | 2.309 | 2.334 | 2.171 | 2.276
325 | 330.4 | 393.5 | 605.7 | 894.5 | 1355 | 1762 | 1720 | 1357 | 1169 | 1110 | 1334 | 1689 | 2087 | 2559 | 3003 | 3233 | 3103 | 2512 | 1775 | 930.1 | 445.9 | 249.8 | 165.2 | 487.3 | 6446 | 9999.9 | 955.2 | 11.37 | 7.036 | 6.079 | 4.893 | 4.408 | 4.1 | 3.705 | 3.563 | 3.257 | 2.764 | 2.622 | 2.75 | 2.405 | 2.446
330 | 363.2 | 399.3 | 621.4 | 948.6 | 1450 | 1786 | 1733 | 1398 | 1187 | 1245 | 1528 | 1950 | 2429 | 2865 | 3284 | 3463 | 3316 | 2709 | 1883 | 1256 | 641.5 | 333.3 | 194.1 | 128 | 470.6 | 6945 | 9999.9 | 1058 | 11.54 | 8.227 | 5.8 | 5.573 | 4.475 | 3.825 | 3.887 | 3.735 | 3.327 | 2.533 | 2.894 | 2.614 | 2.383
335 | 317.3 | 451 | 674.4 | 1021 | 1432 | 1812 | 1776 | 1414 | 1224 | 1376 | 1712 | 2216 | 2711 | 3187 | 3582 | 3713 | 3544 | 2956 | 2092 | 1337 | 927.6 | 468 | 251.7 | 142.2 | 99.74 | 494.3 | 7520 | 9999.9 | 1195 | 11.99 | 8.528 | 6.837 | 5.649 | 4.428 | 4.124 | 3.5 | 3.415 | 3.03 | 2.793 | 2.537 | 2.457
340 | 311.2 | 419.3 | 617.4 | 1007 | 1509 | 1833 | 1757 | 1372 | 1250 | 1456 | 1825 | 2419 | 2969 | 3425 | 3841 | 3962 | 3779 | 3172 | 2344 | 1480 | 1009 | 715.5 | 343.3 | 185.5 | 103.1 | 84.45 | 530 | 7894 | 9999.9 | 1286 | 12.69 | 8.613 | 6.988 | 5.594 | 4.549 | 4.213 | 3.548 | 3.358 | 3.063 | 2.806 | 2.514
345 | 294.1 | 416.7 | 598.1 | 986.3 | 1526 | 1857 | 1795 | 1341 | 1286 | 1496 | 1915 | 2509 | 3135 | 3695 | 4057 | 4153 | 3919 | 3372 | 2564 | 1661 | 1065 | 803.1 | 530.7 | 245.8 | 136 | 83.99 | 84.94 | 560.4 | 8252 | 9999.9 | 1437 | 13.86 | 8.927 | 7.356 | 5.799 | 4.732 | 4.127 | 3.449 | 3.328 | 3.066 | 2.648
350 | 327.2 | 418.3 | 603.5 | 1012 | 1473 | 1859 | 1681 | 1308 | 1233 | 1482 | 1923 | 2571 | 3224 | 3793 | 4155 | 4232 | 4046 | 3516 | 2726 | 1812 | 1190 | 784 | 642.3 | 387.6 | 185.9 | 114.7 | 84.33 | 91.47 | 583.7 | 8247 | 9999.9 | 1568 | 14.19 | 9.594 | 8.115 | 5.754 | 4.153 | 3.961 | 3.488 | 2.991 | 2.822
355 | 287.3 | 450.3 | 590.8 | 916.8 | 1505 | 1852 | 1618 | 1263 | 1208 | 1430 | 1920 | 2546 | 3174 | 3788 | 4154 | 4278 | 4080 | 3528 | 2812 | 1929 | 1296 | 861.9 | 611.6 | 530.8 | 291.8 | 161.3 | 117.3 | 86.05 | 96.54 | 592.2 | 8837 | 9999.9 | 1608 | 15.49 | 9.701 | 7.643 | 5.944 | 4.594 | 3.454 | 3.693 | 2.947
360 | 295.9 | 370.7 | 560.5 | 903.2 | 1460 | 1723 | 1494 | 1221 | 1164 | 1420 | 1843 | 2473 | 3092 | 3717 | 4087 | 4188 | 4042 | 3553 | 2856 | 2015 | 1386 | 951.6 | 638.6 | 498.6 | 458 | 247.9 | 157.7 | 122.3 | 93.19 | 98.95 | 627.6 | 9104 | 9999.9 | 1828 | 15.79 | 10.83 | 7.523 | 5.372 | 4.262 | 3.822 | 3.756
365 | 277.2 | 371.4 | 547 | 847.4 | 1257 | 1615 | 1436 | 1140 | 1111 | 1345 | 1769 | 2321 | 2960 | 3502 | 3917 | 4028 | 3915 | 3474 | 2829 | 2050 | 1448 | 1027 | 715 | 502.3 | 449.6 | 407.4 | 232.4 | 164.6 | 126 | 95.43 | 103.7 | 655 | 9673 | 9999.9 | 1873 | 16.42 | 9.399 | 7.233 | 5.128 | 4.401 | 3.736
370 | 256.1 | 368.8 | 537.3 | 791.6 | 1236 | 1498 | 1316 | 1089 | 1060 | 1286 | 1647 | 2171 | 2734 | 3265 | 3696 | 3829 | 3731 | 3331 | 2774 | 2055 | 1487 | 1081 | 780.4 | 569.7 | 446.3 | 459.7 | 389.2 | 231.9 | 176.4 | 137.6 | 102.7 | 110.2 | 703 | 9999.9 | 9999.9 | 1832 | 16.11 | 9.529 | 6.636 | 5.07 | 4.108
375 | 255.4 | 347.3 | 479.9 | 752.7 | 1135 | 1331 | 1233 | 987.3 | 986.9 | 1185 | 1535 | 1967 | 2510 | 3027 | 3407 | 3543 | 3495 | 3188 | 2685 | 2031 | 1524 | 1134 | 848 | 644.3 | 510.7 | 442.7 | 495.7 | 381.8 | 250.9 | 197.1 | 150.5 | 115.6 | 124.8 | 728.3 | 9999.9 | 9999.9 | 1749 | 15.08 | 9.587 | 6.47 | 5.161
380 | 221.4 | 337.1 | 443.5 | 685.3 | 1059 | 1244 | 1135 | 966.6 | 969.2 | 1119 | 1382 | 1805 | 2290 | 2758 | 3105 | 3264 | 3217 | 2964 | 2590 | 2008 | 1562 | 1204 | 934.1 | 730.9 | 605.8 | 518 | 497.5 | 539.3 | 392.1 | 279.4 | 220.9 | 176.3 | 133.6 | 133.2 | 736.7 | 9999.9 | 9999.9 | 1644 | 14.74 | 8.522 | 6.641
385 | 222.7 | 340.3 | 478.8 | 648.9 | 938.8 | 1121 | 1069 | 916.9 | 901 | 1039 | 1300 | 1647 | 2061 | 2470 | 2807 | 2982 | 2988 | 2799 | 2461 | 1985 | 1591 | 1263 | 1032 | 836.8 | 722.8 | 639.6 | 583.2 | 578.3 | 577.6 | 412.3 | 314.1 | 254.2 | 191.8 | 138.7 | 132.2 | 739.5 | 9893 | 9999.9 | 1575 | 13.22 | 8.788
390 | 370.1 | 316.7 | 402.3 | 649.7 | 867.3 | 1075 | 1004 | 883.7 | 875.1 | 992.1 | 1199 | 1474 | 1808 | 2200 | 2521 | 2718 | 2768 | 2639 | 2356 | 1964 | 1628 | 1354 | 1132 | 974.7 | 861.1 | 788.8 | 721.4 | 666.8 | 669.4 | 620.9 | 445.8 | 351.8 | 274.5 | 199.8 | 132.3 | 124.6 | 716.3 | 9069 | 9999.9 | 1568 | 13.51
395 | 697.9 | 309.6 | 369.6 | 599 | 787.2 | 1013 | 984.3 | 874.2 | 874.1 | 941.3 | 1092 | 1354 | 1624 | 1975 | 2249 | 2461 | 2533 | 2460 | 2277 | 1955 | 1672 | 1434 | 1249 | 1110 | 1014 | 948.9 | 875.1 | 804.2 | 740.8 | 739.5 | 638.1 | 467.5 | 366.9 | 270.6 | 180.8 | 120.2 | 117.8 | 674.3 | 8893 | 9999.9 | 1491
400 | 1041 | 464.9 | 402.9 | 578.3 | 753.2 | 892.2 | 922.1 | 837.1 | 847.8 | 902 | 1026 | 1224 | 1468 | 1739 | 2044 | 2233 | 2315 | 2318 | 2188 | 1944 | 1715 | 1528 | 1365 | 1245 | 1177 | 1104 | 1035 | 958.6 | 869.2 | 795.3 | 781.7 | 626.9 | 463.9 | 349.6 | 239.9 | 160 | 101.7 | 104.8 | 642.8 | 8345 | 9999.9
405 | 719.7 | 883.9 | 387.9 | 559 | 743.7 | 882.6 | 867.6 | 841 | 864.9 | 900 | 982.9 | 1118 | 1329 | 1581 | 1833 | 2018 | 2172 | 2178 | 2105 | 1917 | 1748 | 1596 | 1470 | 1366 | 1308 | 1247 | 1175 | 1104 | 998.2 | 886.6 | 819 | 790.8 | 590.1 | 423.3 | 297.8 | 203.1 | 130 | 88.68 | 93.24 | 593.6 | 7467
410 | 309.2 | 1257 | 567.9 | 527.5 | 679.1 | 827 | 866.6 | 822.5 | 847.2 | 891.1 | 946.3 | 1040 | 1213 | 1413 | 1641 | 1850 | 2000 | 2051 | 2005 | 1877 | 1741 | 1634 | 1550 | 1470 | 1422 | 1369 | 1293 | 1215 | 1107 | 988.4 | 879.6 | 816.4 | 728.7 | 506.7 | 351 | 245.5 | 163.7 | 109.7 | 70.99 | 80.21 | 532.1
415 | 218.7 | 935.1 | 1089 | 525.7 | 707.8 | 786.9 | 849.6 | 793.8 | 842.7 | 869.7 | 896.5 | 997.8 | 1115 | 1288 | 1515 | 1717 | 1841 | 1894 | 1915 | 1814 | 1729 | 1651 | 1579 | 1540 | 1493 | 1449 | 1385 | 1295 | 1192 | 1062 | 942.8 | 826.8 | 766.6 | 625 | 418.5 | 285 | 197 | 132.3 | 87.57 | 59.81 | 70.83
420 | 245.9 | 451.7 | 1504 | 666.9 | 614 | 710.8 | 794.3 | 806.7 | 819.2 | 855.3 | 887.6 | 937.3 | 1028 | 1181 | 1379 | 1586 | 1703 | 1778 | 1799 | 1748 | 1695 | 1641 | 1592 | 1560 | 1533 | 1506 | 1448 | 1353 | 1243 | 1119 | 991 | 868.9 | 754.6 | 675.5 | 502.7 | 325.6 | 224.2 | 154.8 | 106.5 | 71.14 | 50.92
425 | 210.3 | 287.9 | 1134 | 1334 | 569.8 | 705.4 | 772 | 779.3 | 831 | 845.4 | 865.3 | 897.2 | 965.4 | 1086 | 1262 | 1448 | 1578 | 1655 | 1693 | 1666 | 1642 | 1622 | 1587 | 1568 | 1560 | 1525 | 1473 | 1387 | 1281 | 1152 | 1037 | 895 | 762.3 | 641.3 | 567.2 | 387.2 | 251.8 | 175.5 | 125.7 | 88.55 | 61.65
430 | 207.8 | 237.5 | 499.1 | 1792 | 741.7 | 631.2 | 710.3 | 780.2 | 809.2 | 813.5 | 844.7 | 871.1 | 909 | 1016 | 1166 | 1331 | 1464 | 1559 | 1596 | 1591 | 1587 | 1586 | 1568 | 1550 | 1547 | 1534 | 1478 | 1393 | 1289 | 1167 | 1049 | 919 | 785.2 | 641.9 | 547.2 | 457.4 | 296.4 | 200.1 | 141.9 | 101.5 | 73.22
435 | 206 | 238.7 | 304.1 | 1370 | 1428 | 593.2 | 680.9 | 724.9 | 781 | 802.3 | 810.6 | 837.7 | 872 | 959.7 | 1081 | 1243 | 1360 | 1447 | 1493 | 1518 | 1516 | 1532 | 1517 | 1520 | 1528 | 1513 | 1467 | 1389 | 1299 | 1175 | 1055 | 917.9 | 793.7 | 653.9 | 522.9 | 454.6 | 359.4 | 229.2 | 161 | 117.1 | 85.91
440 | 188.2 | 219.9 | 332.8 | 601.4 | 2017 | 794.9 | 644.9 | 718.5 | 777.1 | 793.5 | 813.5 | 819.1 | 829.7 | 902.8 | 1008 | 1146 | 1253 | 1343 | 1408 | 1417 | 1450 | 1467 | 1472 | 1478 | 1474 | 1484 | 1444 | 1377 | 1276 | 1163 | 1036 | 917.3 | 790.8 | 660.2 | 521.6 | 425.3 | 374 | 277.6 | 178.9 | 131.6 | 99
445 | 198.9 | 234.5 | 295.6 | 378.9 | 1539 | 1433 | 595 | 688.7 | 751.5 | 766.1 | 779.7 | 775.6 | 782.5 | 848.6 | 940.5 | 1065 | 1163 | 1246 | 1293 | 1334 | 1363 | 1385 | 1388 | 1401 | 1414 | 1423 | 1386 | 1325 | 1229 | 1117 | 1012 | 892.6 | 779.9 | 647.8 | 523.7 | 418.7 | 340.9 | 303 | 212.5 | 142.5 | 108.5
450 | 163.6 | 231 | 241.8 | 288.4 | 666.2 | 2160 | 776.9 | 644.4 | 692.6 | 746.3 | 751.7 | 737.5 | 725.8 | 775.6 | 854.7 | 973.4 | 1070 | 1140 | 1189 | 1213 | 1260 | 1293 | 1299 | 1327 | 1327 | 1339 | 1314 | 1264 | 1172 | 1063 | 968.7 | 856.6 | 742.7 | 627.1 | 515.5 | 411.7 | 324.1 | 278.8 | 248.5 | 164.9 | 118.2
455 | 165.7 | 189.3 | 254.8 | 318.9 | 377.8 | 1807 | 1486 | 628.1 | 652.9 | 692.6 | 701.5 | 689 | 691.5 | 729.9 | 796.2 | 894.3 | 971.9 | 1034 | 1069 | 1107 | 1149 | 1181 | 1196 | 1210 | 1245 | 1244 | 1233 | 1179 | 1103 | 1011 | 919.7 | 813 | 710.4 | 603.5 | 503 | 403.3 | 321.6 | 258.2 | 238.9 | 197.6 | 134.7
460 | 172.3 | 184.6 | 235.5 | 276.7 | 317.4 | 730 | 2378 | 738 | 615 | 657.6 | 658.8 | 644 | 643 | 657.4 | 710.1 | 798.9 | 879.4 | 932.2 | 948.9 | 1004 | 1038 | 1065 | 1086 | 1112 | 1138 | 1153 | 1129 | 1087 | 1015 | 941.8 | 855 | 757.7 | 670.7 | 574.5 | 478 | 387.6 | 313.2 | 251.9 | 209.1 | 202.2 | 157.6
465 | 153.1 | 144.8 | 212.3 | 262.3 | 301.3 | 392.7 | 1924 | 1499 | 559.8 | 590.7 | 610.9 | 596.2 | 596.1 | 601.8 | 654 | 718.7 | 780.8 | 827.9 | 860.7 | 901.4 | 931.8 | 956.6 | 986.4 | 1002 | 1031 | 1036 | 1029 | 991.9 | 935.9 | 860.7 | 782.1 | 699.9 | 615.6 | 536.9 | 452.1 | 374.1 | 300.6 | 246.2 | 198.3 | 178.6 | 175.8
470 | 142.1 | 181.1 | 188.3 | 213.1 | 283.1 | 341.7 | 740.5 | 2414 | 763.2 | 557.3 | 561.8 | 558.6 | 538.2 | 552.9 | 595.8 | 630.8 | 688 | 739.7 | 761.2 | 793.6 | 824.9 | 850.8 | 875.3 | 892.9 | 917.5 | 932.5 | 923.3 | 903.9 | 849.3 | 785.1 | 717.7 | 644.2 | 567.6 | 497.3 | 427.1 | 355.5 | 289 | 237 | 196.8 | 162.3 | 155.3
475 | 156.2 | 171 | 174.7 | 186.8 | 254.5 | 301.9 | 355.1 | 2041 | 1551 | 499.3 | 498.3 | 507.7 | 489.1 | 503 | 538.6 | 573.4 | 618 | 640.5 | 664.6 | 695.1 | 721.5 | 757.8 | 772.7 | 794.8 | 818.5 | 835.2 | 829.1 | 806.8 | 767.2 | 713.2 | 648 | 583.2 | 522.5 | 465.8 | 396.7 | 332.2 | 273.1 | 228.1 | 188 | 156.8 | 136.5
480 | 136.3 | 130.3 | 151.6 | 181.9 | 234.8 | 274.8 | 312.2 | 775.7 | 2514 | 701.2 | 469.3 | 466.9 | 450.8 | 465 | 476.1 | 508.7 | 548.9 | 572.1 | 591.4 | 610.8 | 647.4 | 672.7 | 684.9 | 709 | 733.6 | 738.3 | 747.4 | 725.6 | 688.1 | 649 | 590.7 | 537.5 | 485.3 | 433.8 | 374.4 | 319.1 | 265.7 | 220.4 | 186.7 | 156.6 | 132.7
485 | 152.2 | 135.4 | 154.7 | 184.4 | 236.5 | 270.6 | 298.5 | 359.3 | 2118 | 1532 | 436.8 | 435.9 | 431.4 | 439.4 | 452 | 481.6 | 506.8 | 523.9 | 534.1 | 548.8 | 583.7 | 600.7 | 624 | 638.4 | 663.6 | 671.2 | 670.6 | 658 | 633 | 594.6 | 550.1 | 500.2 | 455.9 | 405.5 | 355.4 | 304.6 | 257.5 | 218 | 188 | 157.3 | 135.7
490 | 125.2 | 139.7 | 158.4 | 162.5 | 186.9 | 254 | 272.2 | 306.5 | 791 | 2518 | 644.4 | 427.1 | 409.3 | 424.5 | 432.4 | 451.1 | 465.6 | 476.1 | 490.5 | 494.4 | 520.7 | 541.1 | 551 | 578.1 | 589.9 | 613.2 | 613.3 | 599.9 | 582.4 | 548.4 | 505.9 | 465.5 | 426.2 | 386.7 | 340.6 | 297.8 | 251.9 | 215.3 | 186.1 | 158.6 | 136.9
495 | 114.2 | 118.4 | 121 | 172.8 | 181.4 | 238 | 266.4 | 288.5 | 355.8 | 2289 | 1470 | 414 | 402.5 | 409.5 | 429.6 | 427.6 | 433.1 | 434.6 | 433.8 | 442.6 | 468.9 | 484.7 | 498.2 | 513.4 | 533.1 | 542.5 | 549.2 | 544.8 | 526.7 | 504.6 | 466.8 | 438.7 | 409 | 373 | 333.3 | 292.9 | 252.9 | 216.6 | 188.2 | 159.8 | 141.8
500 | 108.5 | 113.4 | 156.1 | 138.2 | 170 | 204 | 269.2 | 253.4 | 305.3 | 865.2 | 2551 | 584.9 | 406.1 | 406.4 | 426.2 | 413.4 | 415.8 | 403.9 | 394.4 | 393.4 | 404.7 | 427.4 | 442 | 455.7 | 469.5 | 486.2 | 494.5 | 489.8 | 481.5 | 460.1 | 433.6 | 409.9 | 381.4 | 359.4 | 325.9 | 288.7 | 250.5 | 216.3 | 187 | 162.9 | 145.4