## Sheet1
Report date: | 20:29:20, 09/18/2024
Sample: | 1
File name:
Run date: | 20:23:50, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 220.0/300.0 | 1734
2 | 225.0/485.0 | 345.5
3 | 230.0/325.0 | 2093
4 | 230.0/400.0 | 800.9
5 | 250.0/275.0 | 543.2
6 | 250.0/335.0 | 2750
7 | 255.0/280.0 | 690.4
8 | 265.0/295.0 | 1418
9 | 270.0/300.0 | 1873
10 | 275.0/305.0 | 2195
11 | 275.0/330.0 | 2259
12 | 280.0/315.0 | 2262
13 | 290.0/410.0 | 980.8
14 | 310.0/350.0 | 515.4
15 | 315.0/355.0 | 450.8
16 | 320.0/360.0 | 405
17 | 325.0/365.0 | 356.8
18 | 330.0/375.0 | 385.6
19 | 335.0/380.0 | 398.4
20 | 340.0/385.0 | 393.2
21 | 345.0/395.0 | 410.3
22 | 350.0/400.0 | 422.2
23 | 355.0/405.0 | 408.4
24 | 365.0/420.0 | 333.1
25 | 385.0/445.0 | 162.1
26 | 390.0/450.0 | 140.1
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 151 | 117 | 132.6 | 159.6 | 135.2 | 85.28 | 49.41 | 28.09 | 66.96 | 450.6 | 264 | 55.52 | 147.3 | 9999.9 | 9999.9 | 4671 | 33.73 | 14.77 | 9.861 | 7.354 | 5.992 | 5.626 | 4.322 | 4.102 | 4.064 | 3.788 | 3.666 | 3.023 | 3.157 | 2.791 | 2.827 | 2.714 | 2.885 | 2.957 | 2.808 | 3.047 | 3.349 | 3.611 | 3.29 | 2.761 | 2.98
275 | 360.4 | 267.4 | 340.3 | 417.8 | 449.5 | 284.3 | 123.5 | 36.64 | 42 | 158 | 543.2 | 257 | 150.9 | 864.4 | 9999.9 | 9999.9 | 4220 | 32.96 | 13.72 | 8.832 | 7.588 | 6.378 | 4.743 | 4.226 | 4.145 | 3.915 | 3.18 | 3.369 | 3.171 | 2.643 | 2.876 | 3.018 | 2.746 | 2.663 | 2.811 | 2.904 | 3.058 | 3.045 | 3.733 | 3.323 | 3.111
280 | 705.3 | 443 | 552.1 | 742.3 | 863.8 | 593.5 | 204.9 | 65.4 | 53.27 | 86.17 | 322.3 | 690.4 | 386.6 | 372.8 | 985.7 | 9999.9 | 9999.9 | 3913 | 30.17 | 13.33 | 9.947 | 7.642 | 5.832 | 5.002 | 4.552 | 4.167 | 3.703 | 3.72 | 3.439 | 3.099 | 3.068 | 3.08 | 2.896 | 2.814 | 2.526 | 2.79 | 2.693 | 3.053 | 3.397 | 3.675 | 3.387
285 | 927.3 | 647.8 | 732.9 | 1050 | 1165 | 935.6 | 373.5 | 129.7 | 90.77 | 116.3 | 193.1 | 583.5 | 869.9 | 570.5 | 554 | 1088 | 9999.9 | 9999.9 | 3489 | 29.7 | 12.7 | 8.994 | 6.504 | 5.505 | 4.978 | 5.214 | 4.181 | 3.912 | 3.57 | 3.768 | 2.997 | 3.437 | 3.583 | 3.094 | 3.135 | 2.768 | 2.75 | 3.016 | 3.183 | 3.535 | 3.681
290 | 1004 | 798.2 | 885 | 1153 | 1469 | 1212 | 615.3 | 298 | 183.6 | 176.7 | 231.9 | 390 | 972.4 | 1094 | 783.1 | 701 | 1103 | 9999.9 | 9999.9 | 3096 | 23.79 | 11.76 | 8.944 | 6.584 | 6.173 | 5.581 | 4.825 | 3.996 | 3.569 | 3.797 | 3.255 | 3.457 | 3.806 | 3.18 | 2.703 | 2.982 | 3.035 | 3.061 | 2.992 | 3.274 | 3.166
295 | 1157 | 902.4 | 946.3 | 1395 | 1701 | 1502 | 897.2 | 518.6 | 337.8 | 300.4 | 358.5 | 474.5 | 732.1 | 1418 | 1345 | 988.8 | 743.4 | 1106 | 9999.9 | 9999.9 | 2780 | 23.68 | 10.96 | 8.89 | 7.151 | 5.629 | 5.186 | 4.85 | 4.173 | 4.215 | 3.603 | 3.515 | 3.203 | 3.111 | 3.13 | 3.104 | 2.59 | 2.822 | 3.512 | 3.317 | 2.878
300 | 1220 | 985.4 | 1124 | 1396 | 1734 | 1662 | 1218 | 788.7 | 619.8 | 526.8 | 564.6 | 674.5 | 844.2 | 1157 | 1873 | 1522 | 1054 | 716.8 | 989.4 | 9999.9 | 9999.9 | 2575 | 20.7 | 11.68 | 8.442 | 7.199 | 6.144 | 4.978 | 4.635 | 3.757 | 4.173 | 3.678 | 3.601 | 3.161 | 3.133 | 3.002 | 3.058 | 3.036 | 3.318 | 3.013 | 2.917
305 | 1270 | 1149 | 1214 | 1447 | 1718 | 1819 | 1490 | 1129 | 961.3 | 875.4 | 930.7 | 974.8 | 1062 | 1246 | 1690 | 2195 | 1508 | 960.2 | 530.1 | 882.9 | 9999.9 | 9999.9 | 2311 | 19.61 | 11.32 | 8.672 | 6.903 | 5.868 | 5.541 | 4.759 | 4.337 | 4.189 | 3.759 | 3.843 | 3.198 | 3.564 | 3.307 | 3.526 | 3.114 | 3.428 | 2.904
310 | 1375 | 1288 | 1336 | 1394 | 1727 | 1926 | 1742 | 1455 | 1314 | 1338 | 1378 | 1368 | 1364 | 1454 | 1712 | 2127 | 2187 | 1301 | 683.7 | 357.2 | 804.3 | 9999.9 | 9999.9 | 2275 | 20.09 | 12.2 | 9.665 | 7.014 | 5.86 | 5.077 | 4.43 | 4.255 | 4.749 | 3.83 | 3.623 | 3.627 | 3.134 | 3.353 | 3.151 | 3.368 | 2.944
315 | 1322 | 1335 | 1358 | 1421 | 1751 | 1988 | 1993 | 1680 | 1686 | 1767 | 1845 | 1845 | 1686 | 1687 | 1890 | 2040 | 2262 | 1855 | 926.5 | 440.2 | 239.7 | 780.1 | 9999.9 | 9999.9 | 2126 | 20.89 | 11.29 | 9.199 | 7.096 | 6.105 | 5.364 | 4.767 | 4.762 | 3.926 | 3.863 | 3.518 | 3.25 | 3.52 | 3.242 | 3.152 | 2.966
320 | 1216 | 1345 | 1457 | 1512 | 1762 | 2026 | 2090 | 1879 | 1977 | 2155 | 2314 | 2225 | 1980 | 1917 | 2030 | 2162 | 2110 | 2073 | 1354 | 583.5 | 279.7 | 190.1 | 763.3 | 9999.9 | 9999.9 | 2210 | 20.34 | 12.24 | 8.956 | 7.352 | 6.343 | 5.414 | 4.494 | 4.57 | 4.425 | 3.597 | 3.813 | 3.545 | 3.335 | 3.52 | 2.976
325 | 1132 | 1352 | 1470 | 1539 | 1799 | 2026 | 2093 | 2029 | 2166 | 2394 | 2515 | 2533 | 2241 | 2088 | 2124 | 2223 | 2160 | 1843 | 1652 | 865.1 | 353.6 | 198.4 | 158.8 | 741.5 | 9999.9 | 9999.9 | 2173 | 20.72 | 11.45 | 9.153 | 7.543 | 5.844 | 5.366 | 4.932 | 4.146 | 4.333 | 3.301 | 3.586 | 3.312 | 3.206 | 3.189
330 | 1074 | 1293 | 1500 | 1508 | 1814 | 2044 | 2075 | 2067 | 2236 | 2504 | 2718 | 2645 | 2361 | 2171 | 2214 | 2259 | 2199 | 1836 | 1426 | 1192 | 519.6 | 239 | 144.2 | 122.8 | 722 | 9999.9 | 9999.9 | 2165 | 19.11 | 11.73 | 9.553 | 7.144 | 6.397 | 4.656 | 5.138 | 4.321 | 3.555 | 3.863 | 3.342 | 3.379 | 3.561
335 | 1040 | 1268 | 1337 | 1469 | 1681 | 1940 | 1976 | 2010 | 2167 | 2512 | 2750 | 2691 | 2431 | 2208 | 2225 | 2249 | 2176 | 1848 | 1372 | 999.5 | 832.1 | 338.7 | 166.8 | 102.2 | 100.4 | 716.3 | 9999.9 | 9999.9 | 2267 | 20.67 | 11.98 | 9.882 | 7.527 | 6.327 | 5.507 | 4.438 | 4.105 | 3.675 | 3.642 | 3.278 | 3.298
340 | 1001 | 1253 | 1280 | 1436 | 1710 | 1858 | 1961 | 1878 | 2104 | 2405 | 2628 | 2638 | 2391 | 2170 | 2182 | 2189 | 2122 | 1832 | 1380 | 874.3 | 724.1 | 616.4 | 220.2 | 113.4 | 72.2 | 86.83 | 718.1 | 9999.9 | 9999.9 | 2344 | 19.66 | 12.83 | 10.21 | 7.439 | 5.86 | 5.196 | 4.479 | 4.205 | 3.965 | 3.425 | 3.379
345 | 897.8 | 1076 | 1255 | 1277 | 1568 | 1747 | 1771 | 1709 | 1945 | 2246 | 2471 | 2493 | 2275 | 2097 | 2075 | 2091 | 2010 | 1744 | 1344 | 854.1 | 554.2 | 591.1 | 423.2 | 141.2 | 77.7 | 56.12 | 84.82 | 718.5 | 9999.9 | 9999.9 | 2389 | 19.31 | 12.82 | 9.709 | 7.396 | 5.29 | 4.766 | 4.502 | 3.895 | 3.344 | 3.11
350 | 759.9 | 948 | 1115 | 1248 | 1411 | 1625 | 1585 | 1577 | 1742 | 2036 | 2260 | 2289 | 2101 | 1970 | 1939 | 1938 | 1869 | 1643 | 1275 | 833.7 | 533 | 390.5 | 515.4 | 302.6 | 103.2 | 67.44 | 56.55 | 86.9 | 712.9 | 9999.9 | 9999.9 | 2431 | 19.7 | 12.99 | 10.3 | 6.924 | 5.392 | 4.661 | 4.361 | 3.502 | 3.588
355 | 801.1 | 840.2 | 1043 | 1128 | 1284 | 1533 | 1423 | 1400 | 1574 | 1783 | 2012 | 2032 | 1911 | 1807 | 1799 | 1782 | 1726 | 1540 | 1206 | 812.4 | 532.2 | 364 | 320.4 | 450.8 | 214.3 | 89.64 | 68.68 | 60.53 | 88.15 | 723.9 | 9999.9 | 9999.9 | 2460 | 20.38 | 12.25 | 9.434 | 6.698 | 5.285 | 4.579 | 3.782 | 3.678
360 | 685.5 | 836.5 | 915.8 | 1013 | 1257 | 1435 | 1310 | 1267 | 1390 | 1593 | 1778 | 1809 | 1717 | 1616 | 1635 | 1639 | 1582 | 1393 | 1139 | 789.2 | 534.4 | 367.2 | 274.2 | 302.1 | 405 | 169 | 90.59 | 73.66 | 61.11 | 89.26 | 710.7 | 9999.9 | 9999.9 | 2580 | 20.33 | 12.35 | 9.198 | 6.901 | 5.002 | 4.149 | 3.943
365 | 557.4 | 686.5 | 802.3 | 919.1 | 1059 | 1197 | 1196 | 1135 | 1277 | 1406 | 1565 | 1596 | 1545 | 1491 | 1474 | 1460 | 1432 | 1284 | 1051 | 755.3 | 526 | 386.7 | 288.2 | 235.6 | 321.4 | 356.8 | 144.9 | 96.5 | 75.7 | 63.71 | 89.31 | 719.7 | 9999.9 | 9999.9 | 2450 | 19.78 | 11.44 | 8.227 | 6.5 | 4.961 | 4.211
370 | 528.7 | 638.2 | 743.3 | 834.5 | 969 | 1151 | 1092 | 1019 | 1123 | 1262 | 1368 | 1413 | 1352 | 1315 | 1335 | 1339 | 1313 | 1197 | 1003 | 733.4 | 537.2 | 405.2 | 315.4 | 253.2 | 232.7 | 351.8 | 311.4 | 136.3 | 98.51 | 77.8 | 62.96 | 88.03 | 728.6 | 9999.9 | 9999.9 | 2380 | 17.98 | 11.58 | 8.068 | 6.376 | 4.488
375 | 478.1 | 628.4 | 654 | 792.7 | 965.1 | 1102 | 1013 | 961.4 | 995.7 | 1136 | 1220 | 1239 | 1203 | 1175 | 1175 | 1210 | 1208 | 1112 | 957.9 | 725.9 | 557.3 | 442.6 | 357.2 | 290.8 | 253.4 | 251.2 | 385.6 | 270.8 | 135.1 | 103.3 | 79.42 | 63.77 | 90.16 | 733.4 | 9999.9 | 9999.9 | 2175 | 17.15 | 10.82 | 7.358 | 5.662
380 | 460.1 | 600.5 | 600.3 | 749.3 | 863.3 | 970.2 | 956.9 | 848.1 | 924.6 | 980.2 | 1057 | 1090 | 1068 | 1033 | 1078 | 1118 | 1117 | 1048 | 927.1 | 739.2 | 594.4 | 488.2 | 402.1 | 342 | 300.1 | 267.7 | 292 | 398.4 | 237.3 | 140.5 | 109 | 84.16 | 65.83 | 90.06 | 734 | 9999.9 | 9999.9 | 2135 | 16.39 | 10.01 | 7.556
385 | 447.5 | 574.2 | 647.1 | 682.7 | 791.9 | 913.3 | 900.7 | 814.4 | 851.6 | 885.9 | 919.7 | 971.2 | 932.6 | 950.8 | 971.7 | 1007 | 1042 | 1004 | 923.5 | 771.1 | 636.7 | 542.4 | 458.8 | 406.2 | 357.5 | 318.8 | 293.7 | 343.8 | 393.2 | 221.2 | 146 | 114.4 | 88.99 | 67.07 | 89.63 | 737.8 | 9999.9 | 9999.9 | 2018 | 15.05 | 9.233
390 | 631.7 | 509.5 | 586.8 | 627.7 | 759.8 | 829.3 | 825.7 | 798.4 | 790.1 | 841 | 827.8 | 859.5 | 834.8 | 844.2 | 898.8 | 944 | 998.2 | 991.1 | 924.3 | 816.8 | 705 | 624.4 | 538.1 | 482.9 | 434.7 | 392.4 | 355.8 | 326.3 | 384.9 | 371.6 | 210.6 | 151 | 116.7 | 87.52 | 63.4 | 87.65 | 712.4 | 9999.9 | 9999.9 | 1946 | 15.58
395 | 1114 | 532.4 | 562.2 | 597.7 | 741.7 | 812.6 | 783.9 | 749.9 | 786.2 | 772.9 | 750.3 | 767.6 | 757 | 771.3 | 821.7 | 904.3 | 967.9 | 976.5 | 950.8 | 850.2 | 769.2 | 693 | 619.3 | 560 | 506.6 | 463.5 | 419.5 | 380.3 | 346.9 | 410.3 | 340.7 | 202.2 | 149.7 | 111.1 | 75.6 | 53.62 | 79.34 | 725.5 | 9999.9 | 9999.9 | 1756
400 | 1584 | 733.1 | 554 | 606.4 | 719 | 789.4 | 800.9 | 779.5 | 740.9 | 709.1 | 703 | 701.3 | 684.6 | 713.1 | 772.6 | 850.6 | 941.8 | 969 | 963.7 | 900.4 | 823.7 | 763.7 | 698.4 | 640.5 | 591.4 | 541.2 | 487.4 | 436.8 | 389.8 | 358.8 | 422.2 | 306 | 184.7 | 138.7 | 93.79 | 63.41 | 43.74 | 75.24 | 704.2 | 9999.9 | 9999.9
405 | 1188 | 1539 | 577.5 | 583.3 | 668.1 | 739.4 | 768.7 | 739.9 | 709.2 | 687.3 | 664.3 | 654.7 | 648.5 | 671 | 737.8 | 834.4 | 923.6 | 970.3 | 978.8 | 929.8 | 877.6 | 817.2 | 773.5 | 711.7 | 659.5 | 606.9 | 554.6 | 491.8 | 435.7 | 377.5 | 367.9 | 408.4 | 260.9 | 165.6 | 115.3 | 76.26 | 52.16 | 37.09 | 68.6 | 687.3 | 8952
410 | 567.1 | 1961 | 855.9 | 586.6 | 644.7 | 754.2 | 754.3 | 718.1 | 688 | 647.4 | 613.5 | 600.1 | 594.2 | 626.6 | 702.7 | 810.5 | 910.8 | 954.5 | 980.8 | 943.6 | 904.6 | 869.7 | 814.4 | 767.3 | 723.1 | 666.6 | 614.1 | 544.4 | 479.8 | 418.5 | 365.8 | 371.8 | 368 | 213.7 | 134.4 | 91.36 | 61.59 | 40.46 | 30.27 | 63.85 | 619.8
415 | 427.6 | 1534 | 1814 | 582.4 | 648.6 | 717.4 | 696.4 | 689.5 | 653.2 | 621.7 | 584.5 | 575.3 | 581.4 | 593.7 | 673.5 | 776.1 | 879.9 | 935.5 | 979.9 | 943.6 | 921.8 | 893.8 | 856.9 | 803 | 768.3 | 717.1 | 658.2 | 588.5 | 513.2 | 447.5 | 388.5 | 342.7 | 358.6 | 305.9 | 166.6 | 106.4 | 71.98 | 48.07 | 34.51 | 26.82 | 57.2
420 | 369.9 | 664 | 2620 | 954.9 | 610.3 | 661.6 | 692.6 | 692 | 639.7 | 598.8 | 560.9 | 543.8 | 529.1 | 564.9 | 645.9 | 752.6 | 853.9 | 911.5 | 943.1 | 938.8 | 917.8 | 898.3 | 869.2 | 835.1 | 785.4 | 743.2 | 678.5 | 613 | 538.7 | 473.1 | 410.2 | 350.5 | 311.5 | 333.1 | 236 | 123 | 81.95 | 56.53 | 40.14 | 29.57 | 24.3
425 | 341 | 444.4 | 1918 | 2063 | 559.8 | 651.5 | 673.3 | 638.6 | 617.4 | 568.6 | 543.5 | 521.7 | 510.3 | 546.3 | 617.3 | 725.1 | 803.1 | 884.4 | 920 | 913 | 898.6 | 887.9 | 870.8 | 834.1 | 800.7 | 762.5 | 692.6 | 631.1 | 555.6 | 489.6 | 424.2 | 359 | 306.7 | 278.9 | 285 | 169.5 | 96.77 | 64.5 | 44.61 | 34.17 | 25.86
430 | 371.4 | 440.4 | 797.9 | 3268 | 963.7 | 618.8 | 632.2 | 629.9 | 595.1 | 567.5 | 529 | 502.9 | 499.8 | 526.7 | 600.8 | 689.2 | 769.1 | 847.9 | 878.9 | 883.5 | 876.9 | 872.7 | 856.7 | 839.6 | 800.8 | 761.4 | 704.4 | 629.9 | 560.4 | 499.6 | 432.2 | 369.8 | 312.9 | 255.6 | 245.2 | 230.7 | 125.5 | 74.77 | 54.34 | 40.21 | 31.9
435 | 336.8 | 487.8 | 507.6 | 2517 | 2345 | 559.7 | 617.2 | 597.6 | 571.7 | 565.3 | 513.9 | 493 | 492.8 | 506.4 | 579.9 | 661 | 742.5 | 800.9 | 840 | 851.2 | 846.7 | 851.8 | 834.4 | 820 | 796.9 | 757.4 | 699.3 | 636.3 | 563.4 | 493.7 | 433.7 | 376.1 | 318.8 | 262.2 | 212.7 | 213.9 | 179.4 | 93.35 | 61.23 | 48.84 | 37.04
440 | 313.4 | 464.9 | 443.3 | 973.8 | 4006 | 1032 | 582.1 | 569.9 | 560.4 | 521.3 | 511.9 | 488.7 | 462.2 | 495.4 | 551.6 | 638.5 | 696.8 | 759.2 | 789.3 | 797.4 | 803.2 | 808 | 808.1 | 785.9 | 768.1 | 738.9 | 687.4 | 620.7 | 559.4 | 493.2 | 432.2 | 375.4 | 319.3 | 263.2 | 210.5 | 175.6 | 190.2 | 139 | 75.06 | 54.49 | 45.74
445 | 295.7 | 390.8 | 446.7 | 471.7 | 3444 | 2746 | 566.6 | 539 | 554.5 | 512.2 | 491.1 | 465.3 | 451.6 | 476.5 | 525 | 591.8 | 664.1 | 712.1 | 738.2 | 748.8 | 752.2 | 759.8 | 760.4 | 752.6 | 733.1 | 706.7 | 651.2 | 605.8 | 542.5 | 480.6 | 421.7 | 366.1 | 316.5 | 263.1 | 210.7 | 165 | 148.6 | 162.1 | 106.3 | 62.98 | 51.88
450 | 289.3 | 322.3 | 396.9 | 396.3 | 1152 | 5027 | 1088 | 518.6 | 520.7 | 496.8 | 461.2 | 455.5 | 438.4 | 453 | 486.9 | 552.4 | 617.3 | 654.5 | 682.9 | 682.9 | 690.6 | 704.2 | 706 | 702.8 | 685.2 | 666.3 | 626.8 | 574.6 | 514 | 458 | 403.2 | 351 | 303.5 | 256.9 | 209.6 | 165.7 | 131.7 | 134.4 | 140.1 | 83.17 | 57.25
455 | 242 | 316.8 | 400.8 | 394.2 | 480 | 4327 | 3242 | 498.7 | 476 | 466.6 | 438.8 | 423.4 | 416.8 | 417.5 | 450.9 | 511 | 564.3 | 591.4 | 623.2 | 626.4 | 635.9 | 644.4 | 651.9 | 645.3 | 638.2 | 613.6 | 583.5 | 536.1 | 482.3 | 430.4 | 378.8 | 333.3 | 290.3 | 244.9 | 203.1 | 162 | 128.8 | 110.4 | 125.3 | 115.3 | 70.28
460 | 210.1 | 322 | 319.5 | 361 | 396.8 | 1433 | 5951 | 1061 | 436.2 | 440.6 | 413.3 | 405.6 | 393.9 | 394.1 | 419.5 | 472.8 | 507 | 543.3 | 553.2 | 560.9 | 569.9 | 583.4 | 598.1 | 590.8 | 578.8 | 568.7 | 539.2 | 500.5 | 448.5 | 401.7 | 354.9 | 313.5 | 275 | 233.9 | 194.8 | 158.6 | 128.1 | 104.8 | 99.67 | 119.6 | 96.99
465 | 188.5 | 279.7 | 277.1 | 383.4 | 340.2 | 463.5 | 4891 | 3491 | 435.3 | 409.6 | 393.4 | 378.3 | 360.8 | 368.3 | 375.2 | 424.6 | 458.1 | 479.5 | 494 | 500.8 | 512.1 | 519.7 | 528.4 | 536.2 | 527.2 | 516.7 | 485.2 | 456.8 | 412.3 | 366.2 | 328.1 | 289.4 | 254.5 | 219.2 | 184.1 | 154 | 126.2 | 104.1 | 90.59 | 93.87 | 110.1
470 | 200.2 | 237.8 | 257.9 | 326.3 | 356.2 | 333.3 | 1463 | 6209 | 1076 | 386.1 | 360.7 | 357.8 | 338.1 | 344.8 | 350.7 | 378 | 408.8 | 430 | 438 | 437.2 | 447.1 | 457.4 | 474.1 | 474.6 | 473.7 | 466.8 | 440.7 | 410.6 | 375.7 | 340.5 | 302.3 | 267.8 | 235.3 | 207.7 | 175.2 | 147.1 | 123.6 | 103 | 89.15 | 81.97 | 90.9
475 | 200.8 | 226.5 | 233.3 | 292.8 | 339.1 | 298 | 400.4 | 5179 | 3463 | 362.6 | 341 | 337.9 | 320.9 | 312.7 | 311.9 | 347.4 | 366.1 | 378.9 | 385.9 | 389 | 393.7 | 399.3 | 416.4 | 415.9 | 423.4 | 411.7 | 394.7 | 369.5 | 339.2 | 306.7 | 278.5 | 244.3 | 215.6 | 194.3 | 164.4 | 140.2 | 117.2 | 101.4 | 88.38 | 79.64 | 76.09
480 | 151 | 178.9 | 197.5 | 228.8 | 317.8 | 300 | 294.9 | 1530 | 6348 | 966.2 | 317.7 | 304.3 | 299.6 | 303.2 | 298 | 324.2 | 336.4 | 340.6 | 340.3 | 343 | 348.4 | 356.9 | 367.2 | 372.2 | 374.6 | 368.8 | 356.6 | 339.1 | 311.9 | 278.6 | 254.1 | 224.3 | 200.8 | 179.4 | 154.5 | 134.1 | 117.6 | 100.6 | 89.99 | 82.66 | 73.98
485 | 188.1 | 194.9 | 187.4 | 241 | 264.8 | 345.5 | 276 | 364.9 | 5308 | 3378 | 311.9 | 289.4 | 299.9 | 300 | 295.4 | 311.8 | 317.5 | 308.9 | 305.8 | 308.2 | 309.2 | 319.9 | 327.4 | 335 | 333 | 333.6 | 323.4 | 309.8 | 285.9 | 261.1 | 234.8 | 209.4 | 190.7 | 170.4 | 157.3 | 135.6 | 117.9 | 102 | 91.75 | 83.51 | 76.8
490 | 185.8 | 162.8 | 167.3 | 175.4 | 236.9 | 337.2 | 274.3 | 270.3 | 1584 | 6319 | 879 | 300.4 | 300.7 | 302.9 | 298.9 | 302.3 | 310.3 | 291.7 | 280.5 | 274.6 | 276.6 | 287.1 | 295.8 | 299.6 | 307.6 | 301.5 | 298.3 | 282.6 | 261 | 248.5 | 224.4 | 204.9 | 185.8 | 172.2 | 154.2 | 135.8 | 124.3 | 108 | 96.59 | 89.76 | 81.98
495 | 160.5 | 159.7 | 185.7 | 173.6 | 212.5 | 291.5 | 303.5 | 241.2 | 346.7 | 5620 | 3107 | 306.1 | 308.4 | 315.7 | 309 | 311 | 299 | 276 | 254.8 | 246.3 | 247.8 | 257.7 | 263.3 | 267.8 | 275 | 275.3 | 266.6 | 261.7 | 247.6 | 230.3 | 213.3 | 200 | 185 | 173.9 | 160.4 | 144.5 | 130.3 | 115.9 | 102.6 | 93.62 | 87.17
500 | 121.1 | 159.7 | 173.7 | 196.2 | 211.5 | 249.4 | 336.4 | 241.2 | 247.6 | 1774 | 6118 | 812.9 | 313.4 | 339.3 | 324.6 | 322 | 293.5 | 265.9 | 231.4 | 217 | 219.8 | 226.8 | 233.2 | 238.6 | 242 | 242.6 | 244.7 | 240.4 | 230.3 | 218.3 | 204.5 | 194.9 | 183.6 | 175.8 | 165.3 | 151.8 | 135.3 | 122 | 107.8 | 98.14 | 92.91