## Sheet1
Report date: | 20:34:41, 09/18/2024
Sample: | 1
File name:
Run date: | 20:29:18, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/410.0 | 2040
2 | 220.0/305.0 | 1817
3 | 225.0/320.0 | 2037
4 | 225.0/405.0 | 757.2
5 | 225.0/485.0 | 344.9
6 | 230.0/325.0 | 2056
7 | 250.0/275.0 | 539.1
8 | 250.0/335.0 | 2696
9 | 255.0/280.0 | 695.3
10 | 265.0/295.0 | 1424
11 | 270.0/300.0 | 1889
12 | 275.0/305.0 | 2215
13 | 275.0/330.0 | 2218
14 | 280.0/315.0 | 2230
15 | 290.0/405.0 | 979.5
16 | 310.0/350.0 | 500.8
17 | 315.0/355.0 | 446.9
18 | 320.0/360.0 | 398.9
19 | 325.0/365.0 | 357.7
20 | 330.0/375.0 | 383.5
21 | 335.0/380.0 | 397.4
22 | 340.0/385.0 | 390
23 | 345.0/395.0 | 408.4
24 | 350.0/400.0 | 419.7
25 | 355.0/405.0 | 402.3
26 | 385.0/445.0 | 163.7
27 | 390.0/450.0 | 138
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 160.5 | 130.1 | 128 | 123 | 115.6 | 82.9 | 40.79 | 29.64 | 72.35 | 434.8 | 259.7 | 54.72 | 149.1 | 9999.9 | 9999.9 | 4536 | 32.22 | 13.45 | 9.781 | 7.473 | 6.007 | 5.211 | 4.792 | 4.676 | 3.431 | 3.302 | 3.341 | 3.036 | 3.165 | 3.313 | 2.701 | 2.636 | 2.649 | 2.76 | 3.021 | 2.793 | 3.002 | 3.311 | 3.283 | 2.808 | 2.34
275 | 357.8 | 295.8 | 302.7 | 414 | 419.8 | 292 | 106.1 | 39.17 | 39.87 | 167.6 | 539.1 | 275.9 | 148.9 | 857.3 | 9999.9 | 9999.9 | 4152 | 31.37 | 12.94 | 8.87 | 7.178 | 5.473 | 4.876 | 3.979 | 4.402 | 3.525 | 3.403 | 3.504 | 3.366 | 3.004 | 2.982 | 2.908 | 2.622 | 3.047 | 2.951 | 2.843 | 2.67 | 3.342 | 3.374 | 3.513 | 2.5
280 | 673.4 | 458.4 | 519.6 | 775.8 | 862.9 | 613.8 | 185.4 | 59.3 | 52.29 | 89.79 | 308.4 | 695.3 | 367.5 | 372.6 | 1005 | 9999.9 | 9999.9 | 3832 | 29.85 | 11.41 | 8.33 | 6.457 | 5.702 | 4.646 | 4.8 | 3.573 | 3.492 | 3.96 | 3.412 | 3.266 | 3.293 | 3.295 | 2.775 | 2.759 | 2.872 | 2.722 | 2.826 | 3.3 | 3.64 | 3.691 | 3.584
285 | 940 | 662.3 | 800.9 | 1104 | 1253 | 924.1 | 376.1 | 134.7 | 90.87 | 113.3 | 194.9 | 605.5 | 870.9 | 570.1 | 561.8 | 1092 | 9999.9 | 9999.9 | 3398 | 27.38 | 11.54 | 8.202 | 7.505 | 5.874 | 4.713 | 4.372 | 3.526 | 3.758 | 3.357 | 3.013 | 3.386 | 3.373 | 3.022 | 3.111 | 2.931 | 2.94 | 2.965 | 3.296 | 3.306 | 3.184 | 3.383
290 | 1040 | 728.8 | 984 | 1210 | 1488 | 1223 | 616.5 | 262.7 | 175.6 | 174.9 | 238.6 | 394.7 | 977.8 | 1104 | 805.6 | 696.6 | 1090 | 9999.9 | 9999.9 | 3062 | 23.16 | 11.48 | 8.939 | 6.706 | 5.249 | 5.165 | 4.572 | 4.157 | 3.856 | 3.627 | 3.367 | 3.258 | 3.39 | 3.737 | 3.205 | 2.664 | 2.933 | 3.439 | 3.253 | 3.198 | 3.305
295 | 1097 | 895.3 | 991.6 | 1285 | 1709 | 1522 | 893.2 | 527.4 | 360.1 | 290 | 340.2 | 484 | 704.2 | 1424 | 1334 | 984.9 | 745.3 | 1106 | 9999.9 | 9999.9 | 2756 | 20.99 | 11.77 | 8.511 | 6.586 | 5.688 | 4.778 | 4.983 | 4.13 | 3.71 | 3.799 | 3.802 | 3.563 | 3.059 | 3.178 | 3.129 | 2.93 | 3.055 | 3.246 | 3.155 | 2.805
300 | 1247 | 1003 | 1174 | 1385 | 1751 | 1748 | 1207 | 790.5 | 605.3 | 531.6 | 577.9 | 662.9 | 831.1 | 1161 | 1889 | 1505 | 1058 | 713 | 981.3 | 9999.9 | 9999.9 | 2508 | 20.69 | 11.26 | 9.09 | 6.735 | 5.264 | 5.776 | 4.492 | 3.712 | 4.034 | 3.672 | 3.522 | 3.642 | 3.569 | 2.939 | 2.974 | 3.138 | 2.996 | 3.113 | 3.13
305 | 1230 | 1065 | 1276 | 1437 | 1817 | 1806 | 1464 | 1106 | 963.8 | 897 | 925 | 984.3 | 1031 | 1251 | 1695 | 2215 | 1488 | 947.8 | 512.1 | 879.7 | 9999.9 | 9999.9 | 2315 | 20.38 | 11.95 | 8.256 | 6.3 | 5.61 | 4.558 | 4.538 | 4.05 | 3.677 | 3.635 | 3.469 | 3.343 | 3.008 | 3.045 | 3.063 | 3.429 | 3.211 | 2.949
310 | 1332 | 1127 | 1215 | 1408 | 1768 | 1899 | 1763 | 1486 | 1309 | 1350 | 1379 | 1360 | 1356 | 1443 | 1706 | 2103 | 2186 | 1284 | 674.5 | 347.1 | 800.2 | 9999.9 | 9999.9 | 2288 | 21.2 | 11.23 | 8.671 | 7.048 | 5.795 | 5.104 | 4.816 | 4.071 | 4.007 | 3.921 | 3.66 | 3.433 | 3.133 | 3.301 | 3.229 | 3.49 | 3.137
315 | 1159 | 1289 | 1387 | 1522 | 1765 | 1943 | 1927 | 1714 | 1655 | 1774 | 1829 | 1814 | 1675 | 1677 | 1846 | 2030 | 2230 | 1849 | 904.4 | 433.7 | 234 | 766 | 9999.9 | 9999.9 | 2109 | 20.26 | 11.27 | 8.783 | 7.012 | 5.539 | 5.12 | 4.474 | 4.117 | 3.722 | 3.778 | 3.82 | 3.423 | 3.129 | 3.195 | 3.03 | 2.909
320 | 1204 | 1321 | 1421 | 1497 | 1725 | 2037 | 2031 | 1912 | 1955 | 2123 | 2248 | 2162 | 1969 | 1893 | 2011 | 2136 | 2073 | 2064 | 1336 | 565.3 | 270.4 | 181.3 | 753.1 | 9999.9 | 9999.9 | 2102 | 19.54 | 11.55 | 8.638 | 6.879 | 5.857 | 5.32 | 4.426 | 4.361 | 3.782 | 3.548 | 3.518 | 3.14 | 2.973 | 3.364 | 3.249
325 | 1128 | 1391 | 1431 | 1560 | 1710 | 2022 | 2056 | 1992 | 2116 | 2398 | 2568 | 2449 | 2188 | 2023 | 2103 | 2181 | 2122 | 1798 | 1638 | 847 | 337.6 | 184.1 | 149.4 | 738.3 | 9999.9 | 9999.9 | 2066 | 18.68 | 11.75 | 8.985 | 6.856 | 5.567 | 5.383 | 4.609 | 4.14 | 4.317 | 3.592 | 3.29 | 3.768 | 3.267 | 2.925
330 | 1084 | 1354 | 1453 | 1408 | 1690 | 1953 | 2018 | 2016 | 2243 | 2486 | 2652 | 2621 | 2328 | 2125 | 2157 | 2218 | 2136 | 1796 | 1383 | 1157 | 509 | 222.8 | 133.8 | 121.8 | 719.2 | 9999.9 | 9999.9 | 2125 | 18.48 | 12 | 9.017 | 6.995 | 5.849 | 4.96 | 4.62 | 4.058 | 3.801 | 3.595 | 3.331 | 2.981 | 3.325
335 | 970.4 | 1346 | 1323 | 1481 | 1730 | 1834 | 1974 | 2006 | 2164 | 2504 | 2696 | 2661 | 2373 | 2159 | 2175 | 2193 | 2132 | 1825 | 1342 | 965.9 | 821.3 | 320.6 | 157.8 | 97.25 | 97.31 | 709.7 | 9999.9 | 9999.9 | 2164 | 18.82 | 12.11 | 10.19 | 7.542 | 6.011 | 5.22 | 4.548 | 3.855 | 3.452 | 3.487 | 3.423 | 3.144
340 | 943.2 | 1213 | 1291 | 1376 | 1629 | 1855 | 1868 | 1863 | 2073 | 2394 | 2631 | 2595 | 2331 | 2120 | 2109 | 2121 | 2078 | 1807 | 1340 | 854.7 | 701.3 | 593.3 | 211.1 | 106.3 | 67.14 | 83.98 | 713.5 | 9999.9 | 9999.9 | 2150 | 18.77 | 12.65 | 9.969 | 7.9 | 6.233 | 4.775 | 4.08 | 3.835 | 3.361 | 3.33 | 3.342
345 | 898.7 | 1120 | 1191 | 1393 | 1550 | 1755 | 1707 | 1710 | 1910 | 2257 | 2445 | 2441 | 2231 | 2041 | 2019 | 2048 | 1959 | 1721 | 1304 | 831.3 | 540.1 | 573.8 | 422.6 | 140.6 | 74.84 | 56.56 | 83.91 | 712.4 | 9999.9 | 9999.9 | 2254 | 19.22 | 12.54 | 9.659 | 7.201 | 5.384 | 4.711 | 4.608 | 3.964 | 3.461 | 3.258
350 | 762.6 | 913.4 | 1109 | 1209 | 1471 | 1547 | 1604 | 1554 | 1746 | 2024 | 2217 | 2247 | 2068 | 1924 | 1892 | 1900 | 1828 | 1613 | 1255 | 816.4 | 525.7 | 379.3 | 500.8 | 296.3 | 99.88 | 67.29 | 55.74 | 85.76 | 709 | 9999.9 | 9999.9 | 2418 | 20 | 12.88 | 8.672 | 6.649 | 5.091 | 4.663 | 3.964 | 3.676 | 3.546
355 | 731.4 | 854.8 | 1007 | 1041 | 1268 | 1400 | 1455 | 1403 | 1566 | 1787 | 1988 | 2016 | 1894 | 1755 | 1750 | 1749 | 1687 | 1504 | 1186 | 795.3 | 510.5 | 345.9 | 311.5 | 446.9 | 213.1 | 86.81 | 68.99 | 60.01 | 87.53 | 717.3 | 9999.9 | 9999.9 | 2346 | 19.55 | 12.37 | 9.027 | 6.473 | 5.13 | 4.09 | 3.536 | 3.714
360 | 654.6 | 788.7 | 901.7 | 988.6 | 1213 | 1337 | 1322 | 1247 | 1392 | 1581 | 1746 | 1796 | 1692 | 1615 | 1575 | 1596 | 1521 | 1372 | 1107 | 765.8 | 512.1 | 361.2 | 267.1 | 297 | 398.9 | 171.1 | 88.1 | 73.43 | 61.05 | 87.49 | 705.6 | 9999.9 | 9999.9 | 2524 | 18.93 | 11.59 | 8.785 | 5.885 | 5.072 | 4.619 | 3.858
365 | 529.2 | 656.4 | 840.4 | 918.5 | 1101 | 1225 | 1196 | 1113 | 1249 | 1410 | 1561 | 1590 | 1514 | 1436 | 1427 | 1443 | 1404 | 1278 | 1029 | 738.7 | 511.6 | 378 | 284.8 | 231.2 | 317.1 | 357.7 | 148.3 | 97.06 | 74.49 | 60.76 | 87.24 | 716.5 | 9999.9 | 9999.9 | 2435 | 17.81 | 10.83 | 8.408 | 6.432 | 4.568 | 4.248
370 | 550.9 | 644.1 | 697.9 | 839.1 | 986.4 | 1115 | 1061 | 1028 | 1098 | 1256 | 1351 | 1393 | 1331 | 1298 | 1315 | 1305 | 1281 | 1174 | 983.6 | 723.9 | 527.9 | 403.9 | 311.8 | 252.2 | 229.5 | 354.2 | 311.8 | 138.6 | 98.71 | 78.08 | 63.09 | 88.74 | 722.8 | 9999.9 | 9999.9 | 2195 | 17.33 | 10.36 | 7.998 | 6.302 | 4.46
375 | 448.7 | 599.5 | 659 | 741.1 | 977.7 | 1009 | 993.4 | 949.8 | 997.6 | 1111 | 1185 | 1229 | 1178 | 1159 | 1171 | 1182 | 1177 | 1099 | 936.1 | 721.4 | 556 | 435.9 | 354.1 | 293.3 | 249.3 | 252.7 | 383.5 | 269.7 | 136.9 | 99.93 | 79.75 | 63.31 | 89.09 | 733.4 | 9999.9 | 9999.9 | 2137 | 17.17 | 10.08 | 7.707 | 5.376
380 | 527.1 | 580.4 | 589 | 675.5 | 832.6 | 903.1 | 915.5 | 871 | 883.2 | 999.2 | 1046 | 1072 | 1047 | 1026 | 1044 | 1099 | 1093 | 1036 | 922.6 | 737.4 | 585.3 | 489 | 400.9 | 344.1 | 298 | 269.1 | 291.1 | 397.4 | 240.9 | 136.7 | 110.5 | 83.98 | 64.21 | 91.71 | 732 | 9999.9 | 9999.9 | 2004 | 15.77 | 9.739 | 7.095
385 | 435.4 | 518.3 | 562.2 | 681.8 | 813.6 | 856.4 | 853.8 | 808 | 839 | 899.5 | 951.7 | 970.7 | 942.2 | 920.5 | 962.8 | 993 | 1038 | 1006 | 916.1 | 768 | 631.1 | 544 | 464 | 405.4 | 359.7 | 317.3 | 294.8 | 337 | 390 | 217.8 | 143.8 | 113.9 | 85.57 | 66.69 | 88.92 | 729 | 9999.9 | 9999.9 | 1918 | 15.03 | 9.194
390 | 546.1 | 493.4 | 603.9 | 565.8 | 717 | 849.3 | 821.6 | 766.1 | 789.7 | 820.9 | 843.5 | 831.8 | 829.6 | 831.7 | 885.2 | 940.3 | 981.6 | 971.3 | 922.2 | 806.7 | 700.2 | 616.3 | 542.9 | 480.2 | 431.1 | 388.2 | 347.4 | 329.5 | 375.2 | 370.8 | 210.1 | 149.2 | 116.4 | 85.39 | 61.45 | 85.19 | 711.6 | 9999.9 | 9999.9 | 1897 | 13.54
395 | 1148 | 545.5 | 546.7 | 635 | 737 | 787.1 | 792.3 | 768.9 | 757.6 | 759.2 | 781.8 | 750.3 | 747 | 765.6 | 830.6 | 887 | 956.6 | 972.2 | 937.7 | 850.8 | 769.3 | 685.4 | 619.3 | 554.4 | 501.4 | 464.2 | 420.3 | 374.9 | 343.6 | 408.4 | 340.3 | 200.1 | 151.9 | 110.4 | 76.83 | 52.74 | 79.45 | 721.4 | 9999.9 | 9999.9 | 1707
400 | 1619 | 711 | 560.5 | 610 | 709.8 | 714.1 | 769.4 | 749 | 733.1 | 716.6 | 693.2 | 691.9 | 691.7 | 714.3 | 770.1 | 848.6 | 934.6 | 970.1 | 973 | 900.9 | 819.1 | 758.9 | 693.6 | 633.5 | 587.5 | 542.1 | 486.2 | 437 | 386.1 | 362.1 | 419.7 | 302.6 | 186.7 | 136.4 | 94.39 | 62.78 | 44.71 | 73.71 | 702 | 9810 | 9999.9
405 | 1134 | 1543 | 508.2 | 632.2 | 693 | 757.2 | 737.8 | 728.7 | 674.3 | 672.9 | 640.4 | 641.7 | 641 | 658.6 | 736.5 | 818 | 911.3 | 978.7 | 979.5 | 928.2 | 867.2 | 815.2 | 761.6 | 702.3 | 658.8 | 610.3 | 549.4 | 494.1 | 436 | 380.1 | 366.5 | 402.3 | 262.1 | 165.1 | 115.7 | 76.79 | 51.16 | 38.25 | 67.74 | 672.2 | 8675
410 | 557.4 | 2040 | 841.1 | 632.3 | 720.6 | 720.7 | 744.5 | 738.8 | 687.8 | 664 | 623 | 607.6 | 596.6 | 617.4 | 694 | 796.9 | 891.5 | 950.7 | 973.2 | 944.5 | 897.9 | 854 | 809.1 | 765.7 | 721.6 | 662 | 602.8 | 543.9 | 474.4 | 416.3 | 364.9 | 375.4 | 364.4 | 217.5 | 135.6 | 92.28 | 60.37 | 42.03 | 31.28 | 63.6 | 602.4
415 | 403.2 | 1576 | 1772 | 587.3 | 617.7 | 689.4 | 730.1 | 702.2 | 670.6 | 639.7 | 583.4 | 573.8 | 558 | 594.4 | 668 | 778.8 | 878.5 | 934.9 | 968.7 | 949.4 | 923.5 | 879.8 | 854.9 | 810.3 | 759.9 | 712.5 | 649.2 | 579.1 | 515 | 449.5 | 384.8 | 338.7 | 362.7 | 306.3 | 167.7 | 107 | 72.57 | 49.74 | 34.49 | 26.58 | 56.55
420 | 405.1 | 685.8 | 2375 | 866.8 | 593.5 | 643.6 | 700.2 | 654.7 | 639.3 | 613.9 | 582.5 | 553 | 535.5 | 565 | 642.8 | 750.5 | 851.6 | 916.1 | 935.5 | 938.8 | 920.8 | 894.7 | 867.9 | 826.8 | 788.2 | 742.1 | 679.5 | 607.3 | 542.6 | 470 | 403 | 350.8 | 312.4 | 331.3 | 237.9 | 125.8 | 81.76 | 56.85 | 40.65 | 29.16 | 23.84
425 | 378.4 | 480.4 | 1876 | 2055 | 576.3 | 611.7 | 658.1 | 658.3 | 618 | 574.3 | 538.5 | 527.3 | 508.6 | 549.7 | 617.7 | 723.8 | 818.7 | 882.6 | 912.7 | 912.7 | 899.8 | 887.8 | 875.9 | 835.2 | 790.3 | 758.6 | 690 | 620.5 | 547.5 | 486.9 | 418.7 | 358.3 | 305.5 | 274.3 | 283.8 | 172.1 | 94.64 | 64.62 | 47.28 | 34.23 | 27.06
430 | 417.6 | 451.5 | 849.2 | 3125 | 1030 | 624.9 | 634.1 | 645.9 | 614.1 | 559.9 | 528.1 | 515 | 487.5 | 531.9 | 598.4 | 701.4 | 774 | 846.7 | 872.3 | 881 | 871.7 | 871.6 | 862.4 | 833.8 | 802.9 | 757.2 | 697.3 | 635.3 | 557.7 | 489.8 | 428.8 | 371.2 | 313.8 | 257.1 | 243.4 | 232 | 125.9 | 74.98 | 56.65 | 41.53 | 32.53
435 | 333 | 427.1 | 466.9 | 2415 | 2510 | 588.5 | 628.2 | 597.7 | 594.1 | 542.1 | 534.5 | 498.4 | 485.5 | 504.3 | 578.6 | 656.1 | 737.6 | 805.5 | 844 | 839.6 | 842.6 | 846.4 | 841.6 | 817.6 | 790.1 | 755.5 | 698.1 | 633.8 | 564.7 | 493.7 | 432 | 370.2 | 318.6 | 260.4 | 212.8 | 215 | 181.7 | 98.58 | 64.32 | 49.52 | 38.7
440 | 309.3 | 415.8 | 437 | 883 | 4104 | 1051 | 561.2 | 579 | 571.1 | 545.9 | 512.3 | 491.8 | 470.9 | 486.9 | 559.9 | 638.6 | 702.9 | 761.1 | 792 | 791.7 | 801.7 | 812.6 | 793.5 | 790.4 | 765.7 | 733 | 684.5 | 618.6 | 556.9 | 490.3 | 434.8 | 373 | 319.1 | 266.1 | 212 | 174.5 | 189.5 | 137 | 76.79 | 55.06 | 45.77
445 | 296.8 | 348 | 422.2 | 499.8 | 3281 | 2852 | 555 | 547 | 551.1 | 513.2 | 497.8 | 476.4 | 456.6 | 476.7 | 523.6 | 601.1 | 665.9 | 704.9 | 750.6 | 746.6 | 752.7 | 764.6 | 758.3 | 757.9 | 737 | 699 | 660.3 | 603.7 | 538.1 | 476.9 | 417.4 | 368.5 | 312.4 | 263.4 | 212.9 | 168.6 | 150.3 | 163.7 | 107.4 | 66.08 | 50.51
450 | 310 | 358.1 | 440.9 | 402.4 | 1198 | 5199 | 1073 | 509.7 | 524.6 | 494.9 | 459.3 | 441.9 | 442.2 | 445 | 493.1 | 553.5 | 617.3 | 654.4 | 684.3 | 685.6 | 692.5 | 701.8 | 702.8 | 701.7 | 691.9 | 660.8 | 622.6 | 571.6 | 511.3 | 457.4 | 401.9 | 351.6 | 305 | 254.9 | 208.7 | 164.1 | 132.4 | 136.5 | 138 | 84.43 | 56.09
455 | 257.3 | 346.5 | 362.4 | 392.4 | 500 | 4249 | 3270 | 500.9 | 481.6 | 464.9 | 446.6 | 428.3 | 413.5 | 421.7 | 459.2 | 511.9 | 566.2 | 594.7 | 616.5 | 624.8 | 628.9 | 645 | 648.9 | 642 | 636.7 | 618.7 | 581.7 | 536.9 | 484.6 | 434.2 | 381 | 332.1 | 289.8 | 248 | 203.2 | 163.2 | 131 | 112.6 | 126.3 | 116.2 | 69.48
460 | 223.2 | 303 | 322.4 | 424.6 | 383.9 | 1395 | 5988 | 1089 | 443.2 | 442.3 | 408.8 | 403 | 389.7 | 397.7 | 425 | 461.2 | 507.3 | 533.7 | 555 | 557.6 | 569.3 | 581.4 | 587.1 | 585.2 | 581.7 | 567 | 537.3 | 498.2 | 452.2 | 401 | 358.1 | 310.7 | 275.5 | 237.3 | 193 | 160.7 | 129 | 106.4 | 98.34 | 120.3 | 97.21
465 | 216.1 | 257.5 | 268.6 | 375.2 | 381.1 | 466.9 | 4904 | 3440 | 429.4 | 424.8 | 381.9 | 367.6 | 375.9 | 364.7 | 381.3 | 425.1 | 456.8 | 477.6 | 498 | 498.8 | 505.8 | 519.1 | 531 | 531.8 | 528.3 | 516.4 | 486.1 | 456.8 | 415.9 | 364.8 | 328.7 | 287 | 253.7 | 221.7 | 184.8 | 154 | 126.9 | 105.2 | 90.83 | 94.34 | 109.6
470 | 219 | 255.8 | 230 | 342.4 | 360.7 | 337.4 | 1438 | 6245 | 1072 | 370.4 | 367.3 | 351.6 | 352.1 | 341 | 347.8 | 388.2 | 405.1 | 432.3 | 440.4 | 446.7 | 446.4 | 459.3 | 471.4 | 472.9 | 471.3 | 460.8 | 439.8 | 413.9 | 377.7 | 341 | 303.6 | 265.4 | 233.3 | 205.4 | 172.9 | 145.8 | 120.9 | 104.7 | 90.34 | 81.75 | 92.42
475 | 199.6 | 210.5 | 232.3 | 271 | 328 | 315.5 | 401.2 | 5304 | 3448 | 371.8 | 333.2 | 320.2 | 324.4 | 316.1 | 320.1 | 344.2 | 363.7 | 382.2 | 382.9 | 389.6 | 393 | 405.1 | 416.5 | 419 | 419.8 | 407.6 | 383.5 | 366.1 | 339.4 | 307.4 | 272.7 | 245.4 | 216.2 | 189 | 163.6 | 140.3 | 118 | 101.7 | 90.16 | 79.44 | 74.58
480 | 208.6 | 211.7 | 235.6 | 232.1 | 301.8 | 305.5 | 295.8 | 1563 | 6300 | 975.2 | 310.7 | 301.8 | 293.6 | 296.9 | 293 | 311 | 334.2 | 344 | 337.2 | 340.3 | 348.8 | 362.3 | 366.5 | 367.7 | 369.5 | 366.6 | 351 | 331.8 | 309.2 | 279.6 | 250.8 | 220 | 202.4 | 178.1 | 157.4 | 135.2 | 116.7 | 100.9 | 91.3 | 81.69 | 74.73
485 | 176.9 | 194.6 | 222.3 | 187.7 | 249.5 | 344.9 | 286.6 | 375.5 | 5281 | 3346 | 318 | 294.1 | 294 | 303.4 | 288.6 | 305.5 | 310.3 | 316.1 | 305.9 | 305.8 | 310 | 321.2 | 322.6 | 331.3 | 333.8 | 329.4 | 321.4 | 308.1 | 286.2 | 260.9 | 233.9 | 213.7 | 194 | 173.8 | 153.5 | 134.3 | 117 | 103.4 | 92.83 | 83.8 | 77.77
490 | 158.3 | 169.8 | 210.2 | 191.5 | 224.5 | 337.7 | 300 | 270.5 | 1571 | 6130 | 885 | 294.7 | 295.5 | 305.8 | 298.2 | 297.3 | 303.5 | 294.8 | 278.4 | 274.5 | 277.5 | 283.4 | 294.6 | 298.9 | 302 | 300.2 | 293.8 | 281 | 264.1 | 242.4 | 221.5 | 206 | 186.3 | 171.8 | 154.6 | 137.9 | 120.4 | 107 | 95.58 | 86.58 | 81.29
495 | 142.5 | 122.8 | 186.5 | 162.2 | 234.3 | 295.5 | 287.2 | 243 | 362.2 | 5391 | 3028 | 313.6 | 302.7 | 315.5 | 305.9 | 303.1 | 302.9 | 280.9 | 253.6 | 246.8 | 241.6 | 253.3 | 266.2 | 269.5 | 272.6 | 272.2 | 266.5 | 256.7 | 249.3 | 229.3 | 208.3 | 198.1 | 186.9 | 173.9 | 158.3 | 142.9 | 130.6 | 113 | 100.8 | 92.91 | 85.18
500 | 135.8 | 165.4 | 181.1 | 176.2 | 223.5 | 244.7 | 336.1 | 234.1 | 241.1 | 1703 | 5885 | 798.2 | 312.2 | 343.1 | 321.4 | 305.9 | 298.6 | 262.8 | 227.4 | 212.3 | 218.4 | 222.6 | 236.9 | 236.4 | 242 | 246.8 | 245.1 | 237.8 | 226.2 | 218.8 | 204.8 | 192.4 | 186.6 | 176.9 | 164.3 | 150.7 | 136.3 | 119 | 109.6 | 98.75 | 93.31