## Sheet1
Report date: | 20:41:44, 09/18/2024
Sample: | 1
File name:
Run date: | 20:36:08, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/335.0 | 2651
2 | 230.0/495.0 | 400.6
3 | 250.0/275.0 | 408.7
4 | 255.0/280.0 | 501.4
5 | 275.0/345.0 | 4024
6 | 315.0/425.0 | 1110
7 | 320.0/360.0 | 419.5
8 | 320.0/430.0 | 1120
9 | 325.0/370.0 | 396.8
10 | 330.0/375.0 | 426.1
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 131.8 | 112.8 | 121.6 | 154.1 | 120.9 | 86.13 | 41.34 | 27.61 | 56.53 | 335.7 | 200.1 | 49.58 | 119.4 | 9999.9 | 9999.9 | 4262 | 28.25 | 13.27 | 9.118 | 8.686 | 5.55 | 7.423 | 4.835 | 4.023 | 3.929 | 3.724 | 2.742 | 3.688 | 3.455 | 3.207 | 3.444 | 3.061 | 3.251 | 3.04 | 3.508 | 3.194 | 3.711 | 3.386 | 3.609 | 3.098 | 2.74
275 | 371.4 | 295.4 | 301.4 | 358.5 | 343.6 | 285.4 | 98.19 | 37.33 | 34.6 | 118.4 | 408.7 | 198.5 | 115.4 | 799.7 | 9999.9 | 9999.9 | 3560 | 27.67 | 12.88 | 10.98 | 7.609 | 9.794 | 4.537 | 4.419 | 4.349 | 3.891 | 3.506 | 3.651 | 3.466 | 3.832 | 3.724 | 3.321 | 3.208 | 3.143 | 2.845 | 3.213 | 2.969 | 3.022 | 3.83 | 3.608 | 2.793
280 | 605.2 | 372.4 | 473.5 | 567.6 | 737.6 | 455.3 | 171.2 | 57.33 | 46.74 | 70.28 | 241.9 | 501.4 | 269.7 | 264.5 | 889.4 | 9999.9 | 9999.9 | 3173 | 27.38 | 13.51 | 8.673 | 11.9 | 5.645 | 5.606 | 4.023 | 3.664 | 3.689 | 3.82 | 3.449 | 3.715 | 3.687 | 3.218 | 3.153 | 3.38 | 2.695 | 3.164 | 2.992 | 2.975 | 3.617 | 3.669 | 3.472
285 | 735.7 | 555.3 | 639.3 | 795.4 | 1092 | 830.3 | 351.9 | 132.2 | 81.4 | 89.85 | 168.4 | 424.4 | 657.7 | 413.3 | 459.2 | 1012 | 9999.9 | 9999.9 | 2990 | 29.69 | 10.9 | 15.38 | 7.264 | 6.37 | 4.716 | 4.456 | 3.894 | 4.324 | 3.4 | 3.952 | 3.965 | 3.544 | 3.79 | 3.475 | 2.801 | 2.751 | 2.861 | 2.851 | 3.414 | 3.503 | 3.7
290 | 805.9 | 621.8 | 746.7 | 993.2 | 1269 | 1148 | 649.4 | 326.4 | 179.2 | 153.3 | 225 | 318.6 | 775.6 | 879.4 | 733.2 | 713.8 | 1158 | 9999.9 | 9999.9 | 2890 | 22.26 | 20.9 | 8.837 | 7.67 | 5.878 | 4.972 | 4.223 | 4.404 | 3.625 | 4.438 | 4.042 | 3.228 | 3.758 | 3.433 | 3.372 | 3.065 | 2.92 | 2.798 | 3.199 | 3.147 | 2.965
295 | 1015 | 831.1 | 936.8 | 1122 | 1598 | 1567 | 1022 | 554.2 | 335.8 | 283.6 | 347.6 | 443.4 | 687.3 | 1245 | 1311 | 1101 | 917.6 | 1183 | 9999.9 | 9999.9 | 2414 | 38.91 | 11.2 | 8.694 | 7.044 | 5.257 | 4.8 | 4.692 | 3.829 | 4.664 | 4.214 | 3.648 | 3.994 | 3.357 | 3.358 | 3.256 | 3.511 | 2.93 | 3.494 | 2.831 | 2.919
300 | 977.7 | 897.3 | 976.6 | 1223 | 1733 | 1842 | 1403 | 887.3 | 596.5 | 522.8 | 577.4 | 673.9 | 869.2 | 1194 | 1850 | 1689 | 1315 | 881.7 | 1036 | 9999.9 | 9999.9 | 4017 | 20.34 | 11.09 | 9.084 | 6.522 | 5.76 | 5.88 | 4.632 | 4.661 | 4.792 | 3.926 | 3.933 | 4.114 | 3.516 | 3.514 | 2.932 | 3.165 | 3.045 | 3.076 | 2.738
305 | 1130 | 986.7 | 1028 | 1360 | 1906 | 2007 | 1685 | 1260 | 950.7 | 891.4 | 974 | 1020 | 1164 | 1429 | 1911 | 2427 | 1866 | 1203 | 653.4 | 971.9 | 9999.9 | 9999.9 | 2150 | 19.49 | 10.78 | 8.237 | 6.838 | 6.005 | 4.647 | 5.887 | 4.426 | 4.562 | 4.086 | 4.031 | 3.94 | 3.444 | 3.576 | 3.022 | 3.251 | 2.993 | 2.745
310 | 1104 | 1006 | 1112 | 1368 | 1892 | 2109 | 1933 | 1609 | 1323 | 1346 | 1439 | 1459 | 1529 | 1728 | 2104 | 2546 | 2610 | 1674 | 929.7 | 499.5 | 852.7 | 9999.9 | 9999.9 | 2252 | 20.84 | 10.31 | 7.778 | 7.471 | 5.519 | 6.994 | 5.161 | 4.697 | 4.276 | 4.084 | 3.566 | 3.504 | 3.411 | 3.043 | 3.019 | 3.209 | 2.947
315 | 1115 | 1092 | 1219 | 1424 | 1921 | 2321 | 2215 | 1854 | 1725 | 1776 | 1918 | 1892 | 1922 | 2078 | 2427 | 2717 | 2860 | 2327 | 1277 | 657 | 306.6 | 864.4 | 9999.9 | 9999.9 | 2020 | 17.86 | 11.3 | 9.711 | 6.959 | 7.419 | 6.284 | 4.642 | 5.023 | 4.451 | 3.678 | 3.823 | 3.334 | 3.142 | 2.912 | 3.116 | 3.364
320 | 1038 | 1217 | 1337 | 1515 | 2193 | 2371 | 2338 | 2104 | 1989 | 2164 | 2362 | 2332 | 2286 | 2444 | 2772 | 3068 | 2998 | 2723 | 1822 | 868.9 | 374.3 | 234.1 | 738.8 | 9999.9 | 9999.9 | 1923 | 17.6 | 11.98 | 9.141 | 9.714 | 6.852 | 5.244 | 5.4 | 5.168 | 4.462 | 3.972 | 3.346 | 3.048 | 3.484 | 3.048 | 3.37
325 | 1029 | 1274 | 1436 | 1593 | 2164 | 2418 | 2490 | 2249 | 2199 | 2463 | 2710 | 2692 | 2634 | 2782 | 3084 | 3398 | 3281 | 2792 | 2263 | 1213 | 488.1 | 243.4 | 149.9 | 733.5 | 9999.9 | 9999.9 | 1867 | 20.44 | 12.08 | 13.36 | 8.182 | 6.562 | 5.94 | 5.432 | 4.735 | 4.133 | 4.114 | 3.249 | 3.562 | 3.278 | 3.542
330 | 1031 | 1152 | 1362 | 1602 | 2319 | 2521 | 2484 | 2280 | 2329 | 2615 | 2915 | 2943 | 2906 | 3099 | 3412 | 3653 | 3584 | 3035 | 2252 | 1573 | 675.2 | 301.2 | 140.2 | 120.1 | 717.4 | 9999.9 | 9999.9 | 2266 | 19.22 | 19.03 | 11.25 | 8.071 | 6.3 | 6.071 | 4.829 | 4.539 | 4.093 | 3.427 | 3.478 | 3.397 | 3.509
335 | 973 | 1258 | 1405 | 1654 | 2321 | 2651 | 2490 | 2325 | 2320 | 2698 | 3023 | 3097 | 3125 | 3305 | 3672 | 3897 | 3784 | 3265 | 2372 | 1505 | 994.1 | 418.6 | 173.3 | 100.3 | 99.88 | 708.4 | 9999.9 | 9999.9 | 2161 | 33.42 | 14.84 | 10.72 | 8.502 | 7.457 | 5.755 | 4.861 | 4.517 | 3.885 | 3.816 | 3.481 | 3.556
340 | 834.7 | 1169 | 1556 | 1667 | 2350 | 2646 | 2486 | 2233 | 2310 | 2662 | 3008 | 3135 | 3224 | 3496 | 3779 | 4002 | 3917 | 3388 | 2510 | 1505 | 958.7 | 668.3 | 242.8 | 125.9 | 79.05 | 91.88 | 710.1 | 9999.9 | 9999.9 | 4481 | 23.94 | 13.5 | 10.65 | 9.515 | 6.644 | 5.426 | 4.835 | 3.682 | 3.814 | 3.467 | 3.733
345 | 885.1 | 1150 | 1389 | 1755 | 2462 | 2606 | 2345 | 2099 | 2236 | 2508 | 2859 | 3051 | 3225 | 3497 | 3805 | 4024 | 3937 | 3431 | 2555 | 1534 | 864 | 682 | 439.4 | 162.7 | 96.12 | 67.95 | 90.38 | 727.4 | 9999.9 | 9999.9 | 3097 | 22.59 | 13.78 | 12.36 | 7.407 | 5.976 | 5.252 | 4.003 | 3.927 | 3.86 | 4.004
350 | 866.1 | 1061 | 1371 | 1648 | 2283 | 2498 | 2195 | 1963 | 2018 | 2360 | 2732 | 2909 | 3118 | 3438 | 3727 | 3966 | 3818 | 3345 | 2535 | 1532 | 881 | 548.1 | 519.6 | 318.5 | 127.6 | 85.84 | 68.77 | 93.84 | 715.5 | 9999.9 | 9999.9 | 2692 | 21.56 | 15.43 | 9.704 | 7.275 | 6.233 | 4.813 | 4.858 | 3.992 | 3.848
355 | 761 | 1017 | 1181 | 1635 | 2114 | 2326 | 2034 | 1821 | 1859 | 2141 | 2517 | 2715 | 2960 | 3266 | 3560 | 3766 | 3628 | 3195 | 2454 | 1530 | 897.4 | 544.4 | 395.6 | 462.9 | 236.8 | 118.3 | 88.61 | 73.12 | 97.32 | 790.6 | 9999.9 | 9999.9 | 2661 | 24.81 | 13.53 | 9.922 | 7.285 | 5.494 | 4.868 | 4.005 | 4.031
360 | 709.8 | 951.5 | 1125 | 1553 | 2063 | 2199 | 1914 | 1670 | 1701 | 1950 | 2280 | 2519 | 2734 | 3050 | 3364 | 3509 | 3414 | 3006 | 2332 | 1466 | 887.6 | 566.6 | 374.2 | 351.5 | 419.5 | 198.1 | 122.2 | 94.23 | 77.53 | 114.3 | 731.6 | 9999.9 | 9999.9 | 2959 | 19.96 | 12.95 | 10.68 | 6.457 | 5.422 | 4.615 | 4.541
365 | 639 | 932.6 | 1075 | 1354 | 1831 | 1994 | 1706 | 1475 | 1499 | 1773 | 2056 | 2265 | 2514 | 2812 | 3090 | 3242 | 3150 | 2773 | 2178 | 1402 | 882.1 | 589.5 | 395.2 | 309.5 | 362 | 374.7 | 182.9 | 124.5 | 98.75 | 85.5 | 100.6 | 731.5 | 9999.9 | 9999.9 | 2417 | 19.91 | 14.18 | 8.828 | 6.742 | 4.797 | 4.748
370 | 591.3 | 768.4 | 938.3 | 1281 | 1827 | 1872 | 1545 | 1327 | 1344 | 1549 | 1856 | 2040 | 2271 | 2536 | 2802 | 2951 | 2850 | 2528 | 2003 | 1324 | 864.5 | 605.3 | 431.2 | 341.7 | 299.1 | 396.8 | 345 | 176.6 | 132.3 | 107.5 | 79.09 | 100.6 | 751.7 | 9999.9 | 9999.9 | 2444 | 21.87 | 11.9 | 8.82 | 6.373 | 5.079
375 | 526.9 | 676.4 | 868.6 | 1205 | 1571 | 1652 | 1403 | 1171 | 1203 | 1391 | 1655 | 1797 | 2045 | 2257 | 2498 | 2626 | 2553 | 2279 | 1833 | 1247 | 855.8 | 621.4 | 464.6 | 392.9 | 339.8 | 319.1 | 426.1 | 318 | 180.3 | 151.2 | 110.2 | 82.53 | 106.6 | 757.2 | 9999.9 | 9999.9 | 2756 | 18.34 | 11.73 | 8.572 | 6.364
380 | 492.7 | 637.9 | 802.4 | 1055 | 1400 | 1548 | 1278 | 1103 | 1126 | 1270 | 1443 | 1592 | 1798 | 1973 | 2247 | 2301 | 2296 | 2067 | 1701 | 1194 | 848.5 | 648.9 | 515.4 | 449.7 | 399 | 362.5 | 367.6 | 455.4 | 301.1 | 205.6 | 155.6 | 124 | 94.49 | 114.9 | 743.2 | 9999.9 | 9999.9 | 2173 | 17.81 | 10.66 | 8.689
385 | 469.7 | 629.9 | 758.7 | 926.8 | 1379 | 1324 | 1181 | 1010 | 1018 | 1135 | 1306 | 1445 | 1581 | 1762 | 1958 | 2064 | 2044 | 1878 | 1562 | 1137 | 865.8 | 694.1 | 580.2 | 518.3 | 480.2 | 443.7 | 411.8 | 437.2 | 479.2 | 308.9 | 221.3 | 178.3 | 137.2 | 106.1 | 114.2 | 759.6 | 9999.9 | 9999.9 | 2107 | 16.93 | 10.6
390 | 535.6 | 551 | 675.8 | 924.9 | 1255 | 1244 | 1120 | 945.1 | 988.2 | 1039 | 1180 | 1278 | 1392 | 1573 | 1741 | 1833 | 1852 | 1704 | 1467 | 1116 | 885.7 | 748.8 | 664 | 611.6 | 579.3 | 539.3 | 505.1 | 466.3 | 504.9 | 490.2 | 322.9 | 246.9 | 198.5 | 148.5 | 102.8 | 113.4 | 748.7 | 9999.9 | 9999.9 | 2095 | 17.03
395 | 856 | 498.4 | 670.8 | 832.1 | 1169 | 1169 | 1070 | 905.4 | 926.2 | 987.6 | 1080 | 1132 | 1277 | 1393 | 1560 | 1682 | 1676 | 1587 | 1391 | 1115 | 928.2 | 818.8 | 751.8 | 715.4 | 681.2 | 651.3 | 606.9 | 557.3 | 517.9 | 569.4 | 482.8 | 337 | 265.6 | 198.8 | 140.7 | 95.53 | 104.8 | 739.3 | 9999.9 | 9999.9 | 2129
400 | 1293 | 691.4 | 637 | 751.9 | 1039 | 1098 | 1040 | 870.7 | 901.1 | 947.4 | 1004 | 1058 | 1165 | 1255 | 1412 | 1526 | 1549 | 1493 | 1357 | 1118 | 976.5 | 897.6 | 847.5 | 819.5 | 799 | 750 | 709.3 | 659.1 | 603.7 | 578.2 | 605.3 | 476.4 | 339.5 | 258.2 | 181.1 | 121.4 | 78.61 | 91.88 | 722.4 | 9999.9 | 9999.9
405 | 1001 | 1331 | 641 | 770 | 1005 | 1035 | 974.8 | 855.1 | 891.9 | 908 | 945.9 | 975.9 | 1065 | 1154 | 1285 | 1393 | 1438 | 1428 | 1319 | 1144 | 1034 | 963.9 | 931 | 907.1 | 891.6 | 857.1 | 816.6 | 757.2 | 696 | 638.3 | 615 | 611 | 446.7 | 318.8 | 226.1 | 152.9 | 96.61 | 61.54 | 82.62 | 700.2 | 9999.9
410 | 502.7 | 1658 | 841.8 | 725.1 | 954.9 | 992.8 | 967.1 | 902.3 | 864.1 | 887.7 | 932.4 | 928.7 | 1010 | 1070 | 1182 | 1297 | 1370 | 1363 | 1293 | 1147 | 1069 | 1030 | 1000 | 993.8 | 978.4 | 953.1 | 903 | 837.4 | 778.9 | 701.3 | 638.4 | 614.8 | 576.3 | 393 | 267.2 | 183.2 | 116.3 | 74.2 | 49.9 | 75.75 | 695.6
415 | 428.1 | 1265 | 1639 | 747 | 935.1 | 966.5 | 961.6 | 849.9 | 875 | 878.4 | 900.8 | 904.1 | 921.1 | 996.1 | 1116 | 1215 | 1300 | 1313 | 1253 | 1163 | 1088 | 1064 | 1050 | 1052 | 1042 | 1016 | 971.8 | 915.1 | 841 | 771.5 | 689.7 | 620.3 | 601.8 | 504.5 | 319.8 | 212.7 | 137.2 | 88.7 | 57.52 | 41.1 | 72.44
420 | 368.2 | 576.2 | 2212 | 957.2 | 827.4 | 933.7 | 899.8 | 838 | 857.8 | 858.7 | 861.9 | 854.5 | 888.4 | 930.2 | 1038 | 1139 | 1233 | 1246 | 1230 | 1151 | 1092 | 1077 | 1082 | 1098 | 1080 | 1059 | 1013 | 952 | 892.2 | 815 | 727.6 | 651.9 | 580.1 | 546.5 | 401.5 | 245.9 | 161.1 | 106 | 71.43 | 50.37 | 38.79
425 | 391.5 | 406.7 | 1657 | 1943 | 795.4 | 921.9 | 872.4 | 850.7 | 840.5 | 863.3 | 841.2 | 820.6 | 853 | 867.4 | 971.8 | 1087 | 1154 | 1186 | 1178 | 1121 | 1099 | 1094 | 1105 | 1110 | 1108 | 1079 | 1037 | 984.3 | 915.7 | 844.7 | 770.9 | 675.9 | 590.5 | 515.5 | 460.6 | 302 | 184.9 | 124.4 | 87.02 | 64.71 | 47.78
430 | 364.2 | 414.2 | 770 | 2807 | 1119 | 805.7 | 851.3 | 829.2 | 821.6 | 839.6 | 827.7 | 794.5 | 817.9 | 848.4 | 932.8 | 1025 | 1106 | 1141 | 1137 | 1089 | 1073 | 1082 | 1102 | 1109 | 1120 | 1101 | 1057 | 1001 | 930.9 | 869.7 | 787.1 | 696.3 | 613.7 | 507.9 | 441.7 | 380.6 | 231.2 | 145.9 | 107.6 | 80.88 | 61.51
435 | 320.4 | 414.2 | 531.9 | 2131 | 2250 | 790.8 | 851.1 | 814.3 | 827.9 | 817.3 | 801.6 | 780.9 | 786.9 | 804.4 | 897.4 | 976.2 | 1055 | 1088 | 1096 | 1067 | 1057 | 1066 | 1082 | 1110 | 1110 | 1100 | 1061 | 1017 | 956.3 | 882.8 | 800.5 | 713.4 | 627.2 | 525.6 | 424 | 377.3 | 297.9 | 181.8 | 127.6 | 99.24 | 77.72
440 | 338.2 | 356 | 440.8 | 927.8 | 3547 | 1112 | 826.1 | 792.3 | 800.9 | 827.4 | 818.4 | 776.6 | 744.7 | 786.9 | 843.9 | 915.7 | 990.3 | 1030 | 1038 | 1023 | 1020 | 1040 | 1065 | 1080 | 1099 | 1081 | 1052 | 1007 | 950.1 | 881.2 | 805.2 | 721.2 | 637.8 | 538.6 | 436.1 | 351.4 | 320.4 | 237.2 | 154.9 | 118.6 | 95.07
445 | 287.6 | 380.7 | 448.5 | 555.4 | 2826 | 2561 | 822.5 | 773.6 | 781.1 | 792.1 | 783.1 | 747.2 | 728.8 | 736.7 | 786.1 | 865.7 | 928.9 | 970.8 | 988.2 | 971.7 | 976 | 998.7 | 1014 | 1039 | 1050 | 1049 | 1016 | 981.5 | 929.2 | 874.1 | 796.9 | 720 | 635.8 | 551.1 | 451.5 | 351.4 | 295.8 | 277.1 | 198.3 | 136.1 | 110.9
450 | 313.9 | 353.3 | 454.3 | 505.1 | 1167 | 4162 | 1153 | 734.6 | 759.6 | 751.5 | 746.6 | 716.7 | 698.3 | 695 | 749.5 | 815.5 | 864.5 | 907.6 | 912.8 | 912.5 | 914.5 | 938.1 | 961.9 | 980.8 | 997.8 | 998.7 | 984.1 | 950.3 | 895.1 | 846.1 | 775.1 | 704.4 | 622 | 539.8 | 451 | 363.1 | 286.5 | 256.1 | 238.3 | 167.7 | 125.8
455 | 315.4 | 337.8 | 425.9 | 522.7 | 599.2 | 3507 | 2868 | 711.6 | 695.3 | 713.7 | 714.3 | 669.3 | 654.7 | 657.5 | 683.3 | 747.7 | 805.2 | 851.5 | 846.2 | 847.4 | 857.3 | 865.3 | 894 | 909.5 | 936.4 | 940.7 | 923.3 | 891.8 | 857.6 | 809.6 | 742.3 | 674.6 | 607.3 | 534.9 | 447 | 360 | 290.7 | 240.3 | 234.6 | 205 | 145
460 | 276.5 | 376.7 | 409.6 | 514.1 | 504.5 | 1305 | 5133 | 1192 | 651 | 679.5 | 680.8 | 631.9 | 628.6 | 603.2 | 631.4 | 686.7 | 732.4 | 764 | 772.2 | 770.7 | 779.1 | 793 | 827.5 | 841.9 | 868.1 | 876.2 | 858.8 | 835.7 | 802.5 | 753.3 | 694 | 634.9 | 574.3 | 507.5 | 432 | 355.9 | 288.8 | 237.5 | 209 | 211.2 | 176.8
465 | 270.7 | 337.4 | 339.1 | 433.3 | 459.6 | 576.4 | 4322 | 3173 | 639.1 | 631.9 | 621.4 | 594.3 | 581.4 | 553.8 | 580.4 | 622.3 | 664.5 | 681.2 | 703.8 | 691.7 | 704.6 | 723.1 | 746.5 | 776 | 791.4 | 797 | 790.2 | 774 | 741 | 699.4 | 646.3 | 593.8 | 542.1 | 484.9 | 411.7 | 344 | 281.7 | 235.6 | 201.7 | 189.7 | 188.6
470 | 241.3 | 274.6 | 311.2 | 387.3 | 487.8 | 505.2 | 1450 | 5704 | 1144 | 566.6 | 573.9 | 546.1 | 536.7 | 523.3 | 526.6 | 568.6 | 596.4 | 618 | 616.7 | 628.6 | 643.8 | 644.9 | 665.2 | 694 | 715.2 | 722.2 | 719.2 | 707.6 | 674.7 | 641.7 | 596.1 | 552.3 | 501.3 | 448.5 | 388.7 | 326.5 | 275.1 | 231.2 | 200.7 | 173.8 | 172
475 | 228.1 | 280.4 | 302.5 | 349.5 | 441.5 | 451.8 | 539.2 | 4902 | 3159 | 564.3 | 534.1 | 501.9 | 499.8 | 481 | 484.3 | 505.3 | 538.5 | 542.2 | 555.9 | 548.2 | 571.2 | 576.2 | 597.6 | 617 | 634.1 | 647.5 | 647.7 | 632.1 | 612.4 | 583.2 | 539.5 | 504.2 | 462.5 | 416.6 | 366 | 310.2 | 263.9 | 223.5 | 195.9 | 171.8 | 156.3
480 | 191 | 240.9 | 269.7 | 335.6 | 379.4 | 433 | 446 | 1558 | 5680 | 1041 | 489.9 | 467.8 | 460.5 | 442 | 452.2 | 474.6 | 490.4 | 488.5 | 493.1 | 491 | 511 | 521 | 537.9 | 550 | 570.2 | 587.1 | 582.9 | 575.3 | 555.9 | 532.9 | 495.3 | 457.8 | 426.3 | 388.8 | 344.6 | 296.9 | 251.9 | 217.4 | 193.3 | 170.1 | 154.5
485 | 202.1 | 217.6 | 273.5 | 259.3 | 335.2 | 417.5 | 396.3 | 524.1 | 4861 | 3158 | 470.7 | 445.3 | 431.3 | 438.9 | 436.5 | 448.7 | 453.3 | 458.3 | 444.7 | 447 | 460 | 471.5 | 477.8 | 499.7 | 520 | 527.4 | 530.5 | 526.9 | 506.7 | 492.6 | 460.8 | 428.4 | 397.6 | 368.2 | 331.3 | 290.7 | 250.2 | 218.3 | 192.9 | 173.1 | 153.5
490 | 178.3 | 241.3 | 250.9 | 270.4 | 306 | 378.7 | 390.6 | 402.2 | 1591 | 5759 | 923.3 | 437.2 | 439.1 | 423.6 | 433.9 | 437.2 | 427 | 424.6 | 411.4 | 405.4 | 414.7 | 422.2 | 441 | 451.3 | 468.8 | 478.5 | 486.4 | 482 | 471 | 457.3 | 430 | 400.2 | 384.2 | 355.2 | 326.3 | 284.7 | 251.1 | 220.1 | 196.2 | 176.3 | 159.6
495 | 178 | 193.8 | 277 | 238.9 | 252 | 372.5 | 400.6 | 370.8 | 473.3 | 5111 | 2870 | 446.1 | 442.5 | 442.7 | 447.1 | 426 | 424.4 | 400.6 | 379.3 | 361.4 | 371.6 | 375.3 | 397.3 | 407.5 | 420.2 | 436 | 440.9 | 443.4 | 438.5 | 422.1 | 401.9 | 385.7 | 368.4 | 348.4 | 321.1 | 286.7 | 253.7 | 223.9 | 199.6 | 180.1 | 164.1
500 | 176.3 | 177.6 | 246.4 | 249.1 | 303.9 | 311.5 | 375.1 | 346.2 | 369.1 | 1725 | 5400 | 834.2 | 438 | 452.5 | 445.7 | 441.1 | 415.2 | 374.5 | 344.7 | 325.6 | 329.2 | 338.5 | 349.1 | 360.6 | 375.7 | 391.3 | 396.5 | 403.4 | 401.3 | 396.6 | 377 | 365 | 354.6 | 334.8 | 317.3 | 287.1 | 256.8 | 226.5 | 201.5 | 184.1 | 170.1