## Sheet1
Report date: | 20:47:12, 09/18/2024
Sample: | 1
File name:
Run date: | 20:41:41, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/325.0 | 2375
2 | 225.0/335.0 | 2408
3 | 230.0/430.0 | 749.7
4 | 235.0/435.0 | 720.8
5 | 250.0/275.0 | 389.8
6 | 255.0/280.0 | 490.5
7 | 280.0/340.0 | 3737
8 | 315.0/355.0 | 462.3
9 | 320.0/360.0 | 421.1
10 | 320.0/430.0 | 1086
11 | 325.0/370.0 | 390.1
12 | 330.0/375.0 | 425.8
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 114.5 | 100.1 | 83.89 | 101.6 | 96.52 | 72.56 | 38.18 | 21.25 | 46.43 | 330.1 | 207 | 48.47 | 119.7 | 9999.9 | 9999.9 | 3759 | 31.55 | 13.18 | 8.392 | 6.679 | 5.28 | 4.765 | 4.804 | 3.996 | 2.981 | 3.704 | 3.522 | 3.359 | 3.567 | 3.656 | 3.428 | 3.143 | 3.126 | 3.061 | 3.1 | 2.768 | 3.514 | 4.187 | 3.885 | 3.263 | 2.356
275 | 280.5 | 208.9 | 240.8 | 269.4 | 298.5 | 215.6 | 77.11 | 30.91 | 32.19 | 116.2 | 389.8 | 189.3 | 108.5 | 788 | 9999.9 | 9999.9 | 3883 | 30.51 | 12.11 | 9.139 | 6.683 | 5.331 | 5.631 | 4.168 | 4.065 | 3.714 | 3.77 | 3.579 | 3.557 | 3.179 | 2.952 | 3.508 | 3.341 | 3.519 | 3.358 | 3.179 | 2.915 | 3.7 | 4.023 | 3.806 | 2.632
280 | 438.7 | 357.1 | 408.1 | 510.2 | 576.1 | 420.6 | 150.2 | 50.99 | 40.71 | 61.25 | 217.6 | 490.5 | 243 | 246.9 | 866.2 | 9999.9 | 9999.9 | 3380 | 26.53 | 10.71 | 8.841 | 6.355 | 5.571 | 4.775 | 4.334 | 4.197 | 3.966 | 3.782 | 3.669 | 3.527 | 3.687 | 3.106 | 3.386 | 3.308 | 2.94 | 3.001 | 2.811 | 3.359 | 3.626 | 4.05 | 3.652
285 | 604 | 459.2 | 589.3 | 771 | 908 | 726.4 | 310 | 118 | 77.26 | 90.68 | 127 | 409.8 | 607.6 | 396.3 | 406.5 | 978.4 | 9999.9 | 9999.9 | 2880 | 24.92 | 11.61 | 8.286 | 6.376 | 5.05 | 4.647 | 4.519 | 4.275 | 4.442 | 3.708 | 4.073 | 3.654 | 3.164 | 3.191 | 3.145 | 3.1 | 3.135 | 2.933 | 3.21 | 3.167 | 3.505 | 3.597
290 | 783.7 | 580.3 | 732.4 | 936.7 | 1176 | 1099 | 601.6 | 285.2 | 161 | 152.2 | 188.5 | 301.7 | 725.8 | 846.8 | 689.6 | 674.9 | 1158 | 9999.9 | 9999.9 | 2576 | 21.83 | 11.11 | 8.256 | 6.379 | 5.351 | 5.088 | 4.5 | 4.539 | 4.243 | 3.978 | 3.457 | 3.569 | 3.506 | 3.452 | 2.866 | 3.066 | 3.104 | 3.006 | 3.224 | 3.276 | 3.288
295 | 832.8 | 718.3 | 751 | 1097 | 1421 | 1423 | 951 | 522.1 | 306.8 | 269.9 | 318.3 | 414 | 638.5 | 1213 | 1262 | 1038 | 900.6 | 1187 | 9999.9 | 9999.9 | 2509 | 22.65 | 12.36 | 8.038 | 6.555 | 5.867 | 5.255 | 5.456 | 4.483 | 4.317 | 3.906 | 3.604 | 3.591 | 3.305 | 3.39 | 3.157 | 2.952 | 3.086 | 3.035 | 3.416 | 2.937
300 | 965.1 | 753.1 | 906.8 | 1171 | 1538 | 1689 | 1293 | 790 | 547 | 492.7 | 541.4 | 655.4 | 817.4 | 1157 | 1840 | 1623 | 1292 | 864.1 | 1008 | 9999.9 | 9999.9 | 2412 | 22.66 | 10.44 | 7.921 | 6.915 | 5.635 | 5.887 | 4.821 | 4.558 | 4.068 | 4.055 | 3.642 | 3.863 | 3.276 | 3.041 | 3.165 | 3.445 | 3.238 | 3.255 | 3.255
305 | 866.5 | 911.9 | 971 | 1171 | 1643 | 1901 | 1591 | 1126 | 878.3 | 854.4 | 898.5 | 962.7 | 1083 | 1360 | 1855 | 2319 | 1817 | 1197 | 633.7 | 933.4 | 9999.9 | 9999.9 | 2182 | 18.12 | 11.33 | 9.022 | 6.963 | 6.016 | 5.444 | 5.043 | 4.62 | 4.085 | 3.998 | 3.744 | 3.564 | 3.284 | 3.244 | 3.472 | 3.473 | 2.977 | 2.942
310 | 891.8 | 933.9 | 1050 | 1332 | 1658 | 2009 | 1855 | 1417 | 1226 | 1259 | 1324 | 1364 | 1417 | 1624 | 2044 | 2465 | 2559 | 1644 | 895.2 | 471.4 | 836.9 | 9999.9 | 9999.9 | 2089 | 19.76 | 11.57 | 8.842 | 7.453 | 6.09 | 5.879 | 4.967 | 4.911 | 4.422 | 3.946 | 3.923 | 3.857 | 3.564 | 3.5 | 3.172 | 3.327 | 2.792
315 | 1016 | 1092 | 1241 | 1348 | 1807 | 2147 | 2020 | 1714 | 1583 | 1684 | 1771 | 1799 | 1801 | 1925 | 2361 | 2591 | 2825 | 2296 | 1231 | 613.1 | 299.1 | 777.9 | 9999.9 | 9999.9 | 2002 | 19.88 | 12.07 | 9.246 | 7.018 | 6.252 | 5.673 | 4.107 | 4.615 | 4.317 | 4.117 | 3.952 | 3.292 | 3.761 | 3.277 | 3.008 | 3.107
320 | 941.7 | 1094 | 1261 | 1409 | 1820 | 2185 | 2219 | 1932 | 1874 | 2055 | 2177 | 2215 | 2152 | 2270 | 2687 | 2888 | 2897 | 2662 | 1759 | 820.5 | 359.8 | 199.5 | 746.4 | 9999.9 | 9999.9 | 2060 | 19.78 | 11.84 | 8.843 | 7.549 | 6.35 | 4.991 | 5.055 | 4.168 | 4.068 | 3.942 | 3.33 | 3.746 | 3.372 | 3.143 | 3.152
325 | 1037 | 1110 | 1300 | 1488 | 1939 | 2375 | 2305 | 2057 | 2074 | 2263 | 2452 | 2535 | 2445 | 2592 | 2986 | 3186 | 3193 | 2713 | 2167 | 1146 | 466.6 | 213.5 | 146.8 | 724.2 | 9999.9 | 9999.9 | 2115 | 19.5 | 10.97 | 10.11 | 7.821 | 6.149 | 6.026 | 4.741 | 4.505 | 4.106 | 3.984 | 3.873 | 3.875 | 3.34 | 3.241
330 | 956.1 | 1066 | 1378 | 1634 | 1894 | 2325 | 2276 | 2127 | 2156 | 2445 | 2645 | 2757 | 2715 | 2859 | 3216 | 3428 | 3459 | 2916 | 2151 | 1501 | 652.8 | 265.5 | 135.8 | 118.9 | 716.3 | 9999.9 | 9999.9 | 2093 | 19.31 | 12.66 | 9.563 | 7.343 | 6.438 | 5.168 | 5.351 | 4.63 | 4.285 | 4.021 | 3.164 | 3.502 | 3.091
335 | 806.3 | 1104 | 1295 | 1542 | 2095 | 2408 | 2294 | 2054 | 2162 | 2485 | 2773 | 2894 | 2877 | 3036 | 3412 | 3601 | 3625 | 3086 | 2251 | 1433 | 970.8 | 376.1 | 168.6 | 98.54 | 101 | 714.8 | 9999.9 | 9999.9 | 2155 | 18.95 | 12.43 | 9.757 | 8.357 | 6.637 | 6.067 | 4.882 | 4.611 | 4.027 | 3.998 | 3.459 | 3.235
340 | 775.6 | 1002 | 1302 | 1532 | 1977 | 2386 | 2209 | 1977 | 2120 | 2462 | 2744 | 2918 | 2954 | 3139 | 3538 | 3706 | 3737 | 3203 | 2357 | 1408 | 928.5 | 642 | 232.2 | 123.3 | 78.94 | 90.66 | 712.8 | 9999.9 | 9999.9 | 2330 | 19.92 | 12.33 | 9.847 | 8.397 | 6.402 | 5.031 | 5.179 | 4.887 | 4.16 | 3.739 | 3.157
345 | 768.1 | 1017 | 1205 | 1496 | 1999 | 2320 | 2122 | 1852 | 1987 | 2316 | 2642 | 2840 | 2914 | 3154 | 3487 | 3698 | 3727 | 3206 | 2410 | 1451 | 822.6 | 660.3 | 436.2 | 160.8 | 95.08 | 68.63 | 92.07 | 716.7 | 9999.9 | 9999.9 | 2477 | 20.14 | 13.94 | 10.35 | 7.924 | 6.096 | 5.375 | 4.765 | 4.492 | 3.979 | 3.768
350 | 730.3 | 939.5 | 1202 | 1441 | 1983 | 2203 | 1978 | 1752 | 1815 | 2151 | 2463 | 2689 | 2825 | 3064 | 3405 | 3599 | 3602 | 3125 | 2376 | 1453 | 839.7 | 526.1 | 526.9 | 316 | 124.7 | 87.7 | 69.49 | 94.95 | 712.3 | 9999.9 | 9999.9 | 2476 | 22.15 | 12.98 | 10.43 | 7.743 | 6.299 | 5.201 | 4.957 | 4.313 | 3.782
355 | 656.3 | 891.4 | 1008 | 1355 | 1846 | 2050 | 1822 | 1571 | 1661 | 1919 | 2250 | 2498 | 2680 | 2936 | 3252 | 3446 | 3436 | 3003 | 2299 | 1437 | 846.6 | 519.1 | 389.3 | 462.3 | 236.8 | 118.3 | 90.33 | 75.51 | 98.1 | 730.4 | 9999.9 | 9999.9 | 2849 | 19.98 | 13.17 | 10.21 | 8.635 | 5.479 | 5.251 | 4.566 | 4.137
360 | 530.4 | 755 | 985.9 | 1268 | 1717 | 1963 | 1662 | 1436 | 1497 | 1767 | 2019 | 2323 | 2475 | 2715 | 3050 | 3184 | 3187 | 2821 | 2168 | 1392 | 846.1 | 550.6 | 368.3 | 356.4 | 421.1 | 201.2 | 119.3 | 96.23 | 77.46 | 100.8 | 718 | 9999.9 | 9999.9 | 2600 | 20.11 | 13.22 | 11.06 | 7.813 | 5.681 | 4.942 | 3.892
365 | 552.7 | 729.8 | 888 | 1236 | 1631 | 1686 | 1517 | 1306 | 1342 | 1587 | 1831 | 2060 | 2272 | 2501 | 2787 | 2949 | 2938 | 2590 | 2030 | 1315 | 849.1 | 556.2 | 387.5 | 303.8 | 366.8 | 379.4 | 177.5 | 122.2 | 97.06 | 77.81 | 97.3 | 728.5 | 9999.9 | 9999.9 | 2603 | 20.33 | 14.01 | 9.804 | 7.692 | 5.233 | 4.388
370 | 473.7 | 649.6 | 807.5 | 1176 | 1477 | 1617 | 1379 | 1185 | 1224 | 1427 | 1661 | 1857 | 2034 | 2284 | 2530 | 2645 | 2661 | 2360 | 1861 | 1255 | 827.7 | 570.5 | 424.9 | 337 | 298.5 | 390.1 | 342.2 | 177.5 | 130.7 | 101.2 | 79.78 | 99.62 | 735.5 | 9999.9 | 9999.9 | 2467 | 22.87 | 14 | 10.13 | 6.611 | 4.757
375 | 476.8 | 508.5 | 773.9 | 1017 | 1326 | 1434 | 1251 | 1062 | 1102 | 1255 | 1475 | 1661 | 1821 | 2029 | 2239 | 2376 | 2373 | 2112 | 1704 | 1183 | 818.2 | 596.2 | 470.1 | 379.1 | 333.4 | 317.5 | 425.8 | 317.5 | 177.2 | 137 | 107.7 | 86.38 | 103.9 | 740.5 | 9999.9 | 9999.9 | 2955 | 21.14 | 13.17 | 8.55 | 6.776
380 | 414.8 | 498.7 | 702.4 | 911.8 | 1221 | 1300 | 1134 | 959.7 | 988.9 | 1140 | 1293 | 1461 | 1604 | 1782 | 1995 | 2121 | 2127 | 1926 | 1586 | 1135 | 803.2 | 630.5 | 503.6 | 441.1 | 390.5 | 355.4 | 367 | 449.4 | 298.6 | 193.7 | 151.5 | 119.9 | 94.26 | 112.6 | 751.9 | 9999.9 | 9999.9 | 2560 | 21.33 | 11.36 | 8.177
385 | 344.5 | 480.1 | 677.7 | 859 | 1126 | 1236 | 1024 | 897.7 | 909.9 | 1028 | 1170 | 1315 | 1409 | 1583 | 1774 | 1883 | 1894 | 1743 | 1457 | 1089 | 819.6 | 680.2 | 568.9 | 519.1 | 470.7 | 434 | 400.9 | 427.3 | 471.8 | 296.4 | 217.4 | 174.7 | 138 | 103.4 | 114.7 | 754.9 | 9999.9 | 9999.9 | 2606 | 17.19 | 10.73
390 | 506.2 | 429.2 | 580.1 | 788.5 | 1006 | 1049 | 953.4 | 843.2 | 868.1 | 947 | 1042 | 1172 | 1293 | 1423 | 1557 | 1677 | 1705 | 1608 | 1371 | 1066 | 847.3 | 726.8 | 646.4 | 604.1 | 562.3 | 526.8 | 488.2 | 452.4 | 498.5 | 480.4 | 314.2 | 243 | 192.2 | 146.6 | 103 | 112.5 | 738.1 | 9999.9 | 9999.9 | 2132 | 16.9
395 | 887 | 431.4 | 577.6 | 738.7 | 963.6 | 1028 | 906.6 | 796.1 | 822 | 878 | 967 | 1056 | 1154 | 1252 | 1401 | 1520 | 1549 | 1493 | 1310 | 1065 | 896 | 790.5 | 732.4 | 695.6 | 664.6 | 630.6 | 589.8 | 547.3 | 506.8 | 555 | 479.6 | 329.7 | 260.9 | 198.1 | 141.4 | 91.63 | 104.8 | 769.1 | 9999.9 | 9999.9 | 2026
400 | 1260 | 576.2 | 540.8 | 699.3 | 833.8 | 963.6 | 872.5 | 761.5 | 770.9 | 837.6 | 883.8 | 963.9 | 1051 | 1137 | 1275 | 1386 | 1436 | 1405 | 1270 | 1074 | 937.6 | 862.1 | 819.3 | 795.8 | 775.1 | 743.5 | 695.8 | 650.8 | 588.6 | 557.8 | 593.2 | 467.7 | 337.3 | 253.5 | 180.9 | 116.8 | 78.42 | 95.54 | 734.6 | 9999.9 | 9999.9
405 | 1009 | 1201 | 585.7 | 726.9 | 855.6 | 926.9 | 880.9 | 775.2 | 751.8 | 805.1 | 822.2 | 909.7 | 964.9 | 1037 | 1183 | 1272 | 1328 | 1333 | 1248 | 1098 | 983.3 | 929.3 | 909.4 | 886.1 | 873 | 836 | 794.5 | 742.7 | 683.5 | 619.8 | 589.4 | 603 | 440.6 | 312.4 | 224 | 151.1 | 97.87 | 62.79 | 83.87 | 709 | 9999.9
410 | 433.8 | 1596 | 705.1 | 719.5 | 801.1 | 844.9 | 829.3 | 754.6 | 763.2 | 774.1 | 808.1 | 854.1 | 898.2 | 981.1 | 1085 | 1188 | 1266 | 1261 | 1212 | 1102 | 1020 | 986.9 | 975.1 | 968.8 | 948.4 | 920.1 | 881.4 | 818.8 | 755.4 | 698.2 | 622.5 | 612.4 | 575.9 | 385.7 | 267.6 | 180.5 | 117.1 | 75.31 | 50.04 | 76.85 | 700.1
415 | 322 | 1265 | 1545 | 617.4 | 755 | 806.9 | 810 | 726.6 | 740.5 | 761.3 | 786.3 | 810.3 | 851.2 | 912.5 | 1017 | 1115 | 1203 | 1231 | 1188 | 1110 | 1039 | 1024 | 1033 | 1032 | 1019 | 993.1 | 939.5 | 890.3 | 821.6 | 750.3 | 679.8 | 614.5 | 598.8 | 502.8 | 318.3 | 208.8 | 138.3 | 92.04 | 58.05 | 42.62 | 72.63
420 | 279.4 | 557.4 | 2022 | 879.1 | 707 | 802.1 | 794 | 710.6 | 714.7 | 743.9 | 767.6 | 780.5 | 794.8 | 844.5 | 954 | 1048 | 1133 | 1169 | 1144 | 1096 | 1059 | 1047 | 1057 | 1057 | 1058 | 1027 | 983.4 | 936.5 | 862.5 | 791.9 | 714.2 | 643.2 | 567.7 | 540.6 | 400.8 | 243.9 | 161.9 | 108.2 | 72.4 | 49.75 | 38.75
425 | 308.4 | 400.1 | 1708 | 1877 | 698.2 | 786.9 | 719.6 | 724.7 | 711.2 | 726.2 | 732.4 | 748.2 | 757.9 | 805.5 | 906.4 | 998.1 | 1075 | 1119 | 1111 | 1067 | 1044 | 1048 | 1057 | 1076 | 1073 | 1064 | 1010 | 963.5 | 894.5 | 822.5 | 749.2 | 664.3 | 582.5 | 507.6 | 462.3 | 305.7 | 186.8 | 127.6 | 88.93 | 63.76 | 48.81
430 | 302.9 | 333.7 | 729.4 | 2676 | 988 | 673.1 | 749.7 | 705.2 | 704.7 | 721.3 | 727.2 | 730.5 | 742.4 | 773.1 | 848 | 943.3 | 1024 | 1079 | 1070 | 1037 | 1039 | 1040 | 1068 | 1079 | 1086 | 1066 | 1026 | 978.9 | 912.9 | 837.8 | 763.7 | 682.4 | 600.2 | 506.1 | 441.7 | 379.6 | 232.2 | 150.7 | 108.5 | 80.36 | 61.04
435 | 268.3 | 298.1 | 446.1 | 2202 | 2192 | 669 | 705.7 | 720.8 | 691.1 | 723.3 | 721.5 | 715.7 | 711.7 | 740 | 811.9 | 887.8 | 968 | 1022 | 1034 | 996.9 | 1003 | 1026 | 1052 | 1076 | 1081 | 1071 | 1036 | 980.6 | 920.3 | 847.4 | 788 | 697.6 | 619.9 | 522.7 | 422.9 | 375.8 | 300.8 | 184.4 | 130.7 | 99.6 | 76.9
440 | 295 | 339.8 | 445.7 | 899 | 3361 | 1033 | 659.7 | 677.8 | 691.2 | 715.1 | 706.2 | 690.7 | 692 | 702.1 | 771.2 | 850.9 | 926.5 | 978.8 | 989.9 | 964.7 | 971.8 | 1003 | 1034 | 1050 | 1069 | 1048 | 1023 | 972.5 | 917.9 | 856.3 | 782.7 | 709.5 | 628.4 | 537.7 | 435.7 | 354.2 | 325.5 | 240.1 | 155 | 117.3 | 95.58
445 | 251.2 | 302 | 393.7 | 521.2 | 2748 | 2384 | 653.2 | 641.6 | 671.3 | 685.1 | 667.9 | 680.5 | 666 | 683.1 | 720.4 | 800.7 | 861.2 | 906.5 | 923.9 | 926.6 | 930 | 949.5 | 978.3 | 1010 | 1025 | 1013 | 990.3 | 953.7 | 903.9 | 839.9 | 773.9 | 707.4 | 629.8 | 541.8 | 444.9 | 357 | 294.9 | 278 | 197.9 | 140.4 | 110.9
450 | 223.9 | 341.6 | 431.3 | 443.7 | 1066 | 4008 | 1065 | 637.4 | 637.4 | 645.6 | 648.7 | 655.5 | 642 | 643.3 | 692.6 | 753.9 | 806.4 | 846.7 | 867.9 | 863.4 | 878.3 | 893.5 | 921.1 | 946.9 | 972.9 | 967.7 | 952.4 | 917.4 | 876.2 | 813.1 | 751.3 | 689 | 619.3 | 537.7 | 447.8 | 361.9 | 287.7 | 262.3 | 238 | 168.8 | 126.2
455 | 257.4 | 290.6 | 377.1 | 440.6 | 523.2 | 3435 | 2738 | 599.6 | 577.7 | 610.2 | 613.3 | 611.9 | 591.3 | 597 | 640.4 | 688.6 | 750.7 | 775.5 | 800.4 | 798.8 | 809.4 | 834.6 | 860.4 | 889.5 | 909.1 | 909.1 | 894.8 | 870.2 | 829.9 | 779.1 | 711.4 | 661 | 590 | 524.9 | 442.3 | 361.6 | 291.9 | 241.5 | 235.4 | 204.9 | 145.3
460 | 266.9 | 257.7 | 302.2 | 381.9 | 467.7 | 1221 | 5010 | 1020 | 570.7 | 578.8 | 586.6 | 582.2 | 563.8 | 549.1 | 584.7 | 634.1 | 678.3 | 712.8 | 720.3 | 723.9 | 744.7 | 763.2 | 796.6 | 820.9 | 842.7 | 842.2 | 833.3 | 812 | 775.6 | 731.1 | 680.1 | 626.9 | 564.5 | 504.5 | 429.6 | 354.9 | 287.3 | 237.9 | 212.5 | 214.6 | 176.1
465 | 202.5 | 243.1 | 296.2 | 399.6 | 408.3 | 533.9 | 4104 | 2999 | 550.1 | 524.4 | 559.3 | 543.9 | 518.7 | 522 | 534.8 | 573.2 | 616.8 | 642.1 | 657.7 | 656.5 | 673.9 | 693.9 | 720.8 | 746.8 | 762.8 | 773.9 | 766.7 | 747.8 | 718.1 | 681.5 | 628.9 | 585.9 | 531.1 | 474.7 | 408 | 344.6 | 281.8 | 237.9 | 206 | 192.4 | 191.4
470 | 186.8 | 225 | 256.5 | 361.8 | 416.2 | 435.1 | 1352 | 5472 | 1034 | 498.1 | 505.8 | 494.2 | 495.3 | 483.6 | 492.8 | 528.4 | 548.4 | 577.3 | 586.6 | 581.8 | 601.2 | 626.5 | 642 | 668.4 | 687.1 | 700.7 | 693.8 | 677.3 | 653.2 | 622.9 | 578 | 535.1 | 487.6 | 442.4 | 386.7 | 327 | 274.9 | 235.7 | 200 | 178.1 | 172.6
475 | 189.2 | 220.9 | 286 | 289.8 | 371.9 | 399.5 | 471.1 | 4794 | 2968 | 474.8 | 460.5 | 466.9 | 464.5 | 445.9 | 457.9 | 475 | 502.5 | 515.8 | 519.7 | 520.4 | 534.1 | 553.5 | 576.5 | 591 | 617.7 | 627.8 | 624.3 | 611.8 | 590.8 | 563.7 | 527 | 489.2 | 455.3 | 407.1 | 365.3 | 311 | 262.9 | 225.4 | 195.2 | 171.5 | 157.2
480 | 154.5 | 214.6 | 216.9 | 274.5 | 360.9 | 364.2 | 362.7 | 1548 | 5383 | 952.3 | 418.7 | 437.1 | 422.5 | 413.8 | 423.8 | 448.7 | 451.9 | 466.2 | 464.4 | 467.8 | 476.2 | 492.9 | 511.7 | 536.9 | 552.6 | 563.1 | 567.3 | 554.1 | 537.5 | 520.4 | 484.9 | 457.8 | 420.3 | 385.7 | 342.4 | 297.1 | 253.2 | 220.6 | 195.2 | 170.2 | 154.2
485 | 176.2 | 180.3 | 244.3 | 277.1 | 306.4 | 362.7 | 347.7 | 465.9 | 4717 | 2931 | 417.8 | 413.4 | 416.9 | 406 | 404 | 425.1 | 436.4 | 426.7 | 422.5 | 421.3 | 434.6 | 442.1 | 463 | 478.7 | 504.8 | 506.5 | 519.6 | 507.2 | 492.8 | 475.3 | 448.2 | 422.3 | 396.4 | 366.1 | 331.4 | 289.3 | 249.5 | 216.8 | 193 | 173.4 | 154.3
490 | 182.9 | 209.4 | 223 | 242 | 272.2 | 362.8 | 331 | 331.6 | 1499 | 5384 | 890.1 | 391.8 | 406.9 | 404.5 | 400.8 | 412 | 416.7 | 398.6 | 387.5 | 385.2 | 389.2 | 403.5 | 420.4 | 436.2 | 455.6 | 467.4 | 470.7 | 467.5 | 458.7 | 438.8 | 418.2 | 397.9 | 375.7 | 355.2 | 319.4 | 284.7 | 250.8 | 220.1 | 194.7 | 176.1 | 160.4
495 | 189.3 | 169.1 | 192.8 | 254.9 | 269.4 | 323.5 | 338.7 | 346.3 | 408.2 | 4779 | 2793 | 411.6 | 413.3 | 421.9 | 421 | 408.9 | 400.4 | 379.9 | 358.4 | 347.5 | 354.3 | 362.6 | 377.8 | 396.2 | 409.8 | 419.9 | 427.1 | 432.9 | 424.5 | 414.7 | 391.1 | 376 | 362.2 | 343.3 | 317.6 | 285.4 | 250.5 | 227.2 | 197.5 | 178 | 161.9
500 | 138.2 | 172.6 | 202.3 | 205.8 | 230.3 | 303.9 | 361.6 | 289.8 | 318.6 | 1592 | 5353 | 817.1 | 414.2 | 422 | 427.6 | 416.4 | 393.7 | 356.8 | 327.3 | 308.1 | 314.9 | 322.6 | 338.4 | 353.1 | 370.7 | 379.4 | 386.5 | 390.8 | 390.2 | 378.6 | 369.6 | 357.5 | 349.4 | 330.2 | 313.7 | 283 | 256.6 | 226.7 | 201.7 | 181.2 | 167.3