## Sheet1
Report date: | 20:52:37, 09/18/2024
Sample: | 1
File name:
Run date: | 20:47:09, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 210.0/480.0 | 269.8
2 | 220.0/400.0 | 928.6
3 | 225.0/335.0 | 2309
4 | 230.0/490.0 | 358.3
5 | 245.0/430.0 | 746.1
6 | 250.0/275.0 | 402.1
7 | 255.0/280.0 | 475
8 | 275.0/340.0 | 3622
9 | 315.0/355.0 | 472.8
10 | 315.0/430.0 | 1079
11 | 320.0/360.0 | 425.4
12 | 325.0/370.0 | 399
13 | 330.0/375.0 | 427.2
14 | 335.0/380.0 | 450.6
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 127.4 | 118.3 | 115.2 | 90.77 | 98.97 | 73.65 | 36.62 | 21.7 | 55.15 | 327.7 | 198.7 | 47.36 | 115.2 | 9999.9 | 9999.9 | 4050 | 32.1 | 14.06 | 10.1 | 6.874 | 5.62 | 4.963 | 3.87 | 4.771 | 3.873 | 3.711 | 3.53 | 3.384 | 3.213 | 2.941 | 3.309 | 3.392 | 3.243 | 2.898 | 3.24 | 3.209 | 3.642 | 3.686 | 3.193 | 3.166 | 2.798
275 | 271.8 | 223.7 | 271.9 | 307.2 | 312.6 | 218.9 | 81.18 | 33.04 | 33.06 | 118.3 | 402.1 | 196.3 | 109.9 | 806.5 | 9999.9 | 9999.9 | 3828 | 30.89 | 13.3 | 8.937 | 7.043 | 5.465 | 4.903 | 4.296 | 4.116 | 4.003 | 3.784 | 3.511 | 3.275 | 3.707 | 2.961 | 3.088 | 3.081 | 3.264 | 2.541 | 3.205 | 3.192 | 3.555 | 3.611 | 3.517 | 2.827
280 | 418.8 | 303.2 | 421.2 | 526.4 | 608.6 | 410.2 | 157.9 | 53.01 | 39.41 | 63.23 | 217.5 | 475 | 265.7 | 285.6 | 933.8 | 9999.9 | 9999.9 | 3769 | 29.97 | 12.16 | 8.698 | 6.435 | 6.02 | 4.754 | 4.743 | 4.454 | 4.025 | 3.965 | 3.501 | 3.259 | 3.348 | 3.061 | 3.236 | 3.227 | 2.823 | 2.995 | 2.952 | 3.097 | 3.702 | 3.491 | 3.511
285 | 605.6 | 423.2 | 534.4 | 793.4 | 869.5 | 712.3 | 300 | 121.7 | 74.56 | 82.63 | 136.6 | 407.3 | 638.4 | 456.5 | 495.3 | 1052 | 9999.9 | 9999.9 | 3485 | 27.83 | 11.95 | 9.295 | 7.472 | 5.741 | 5.321 | 4.31 | 4.482 | 4.209 | 3.699 | 3.445 | 3.592 | 3.396 | 3.104 | 3.44 | 3.281 | 3.22 | 2.966 | 3.106 | 3.33 | 3.759 | 3.703
290 | 744.2 | 614.3 | 660.6 | 959.4 | 1245 | 1089 | 584.1 | 269.4 | 162.2 | 134.1 | 199.7 | 298.2 | 764.1 | 923.5 | 784.9 | 753.3 | 1162 | 9999.9 | 9999.9 | 3057 | 24.79 | 11.02 | 7.904 | 6.139 | 6.005 | 5.345 | 5.199 | 4.391 | 4.009 | 3.704 | 3.385 | 3.56 | 3.415 | 3.213 | 3.317 | 3.011 | 3.327 | 3.342 | 3.223 | 3.307 | 3.252
295 | 733.6 | 725.5 | 859.4 | 1155 | 1362 | 1429 | 911.1 | 517.7 | 306.4 | 270.6 | 305.6 | 419.4 | 637.8 | 1256 | 1347 | 1134 | 917.6 | 1180 | 9999.9 | 9999.9 | 2742 | 21.95 | 10.79 | 9.28 | 7.404 | 6.518 | 5.209 | 4.576 | 4.008 | 3.263 | 3.897 | 3.29 | 3.681 | 3.274 | 3.142 | 3.435 | 3.19 | 3.183 | 2.942 | 3.24 | 2.974
300 | 910.5 | 709.6 | 891.4 | 1120 | 1510 | 1710 | 1279 | 774.7 | 541.2 | 489.3 | 532.8 | 640 | 829.7 | 1184 | 1904 | 1691 | 1277 | 864.4 | 1031 | 9999.9 | 9999.9 | 2444 | 20.31 | 11.51 | 8.893 | 6.802 | 5.455 | 5.522 | 5.338 | 4.734 | 4.454 | 3.782 | 3.817 | 3.734 | 3.473 | 3.391 | 3.4 | 3.132 | 3.442 | 3.423 | 2.869
305 | 897.3 | 876.1 | 1015 | 1254 | 1698 | 1862 | 1541 | 1087 | 876.1 | 830.7 | 887 | 974.4 | 1109 | 1350 | 1892 | 2366 | 1779 | 1166 | 636.4 | 947.3 | 9999.9 | 9999.9 | 2186 | 20.7 | 11.53 | 9.042 | 7.378 | 6.016 | 5.04 | 4.628 | 4.944 | 4.064 | 3.65 | 3.69 | 3.313 | 3.268 | 3.34 | 3.303 | 3.565 | 3.373 | 2.979
310 | 957.1 | 1014 | 1103 | 1258 | 1692 | 2002 | 1770 | 1396 | 1247 | 1251 | 1329 | 1377 | 1427 | 1614 | 2024 | 2464 | 2502 | 1618 | 901.3 | 475.4 | 846.8 | 9999.9 | 9999.9 | 2227 | 20.03 | 11.16 | 9.151 | 7.138 | 6.181 | 5.079 | 5 | 4.505 | 4.218 | 4.076 | 3.843 | 3.691 | 3.276 | 3.705 | 3.512 | 3.341 | 3.2
315 | 975.1 | 970.1 | 1201 | 1232 | 1733 | 2043 | 2001 | 1656 | 1545 | 1674 | 1762 | 1778 | 1756 | 1923 | 2288 | 2584 | 2741 | 2249 | 1230 | 616.4 | 297.5 | 770.8 | 9999.9 | 9999.9 | 2129 | 18.91 | 12.51 | 9.007 | 7.575 | 6.1 | 5.547 | 4.597 | 4.468 | 4.493 | 4.178 | 3.583 | 3.539 | 3.686 | 3.383 | 3.389 | 3.079
320 | 916.7 | 1098 | 1266 | 1324 | 1720 | 2118 | 2134 | 1864 | 1845 | 2017 | 2157 | 2173 | 2105 | 2229 | 2599 | 2851 | 2809 | 2615 | 1743 | 815.6 | 354.6 | 188.2 | 735.8 | 9999.9 | 9999.9 | 2206 | 19.14 | 11.34 | 9.832 | 7.269 | 6.264 | 5.442 | 4.765 | 4.511 | 3.926 | 3.685 | 3.886 | 3.549 | 3.634 | 3.62 | 3.458
325 | 924.8 | 1067 | 1229 | 1398 | 1854 | 2214 | 2175 | 1974 | 2005 | 2261 | 2471 | 2488 | 2390 | 2513 | 2882 | 3104 | 3071 | 2640 | 2141 | 1137 | 456.5 | 201.2 | 141.7 | 725.3 | 9999.9 | 9999.9 | 2141 | 20.5 | 11.87 | 9.435 | 7.636 | 5.955 | 5.07 | 4.55 | 4.416 | 4.083 | 4.088 | 4.031 | 3.547 | 3.447 | 3.432
330 | 865.3 | 1155 | 1289 | 1411 | 1914 | 2285 | 2229 | 2005 | 2108 | 2388 | 2611 | 2696 | 2654 | 2774 | 3117 | 3342 | 3309 | 2812 | 2123 | 1493 | 639.8 | 252.7 | 128.5 | 114.9 | 719.6 | 9999.9 | 9999.9 | 2156 | 19.39 | 11.7 | 9.801 | 6.997 | 6.453 | 5.464 | 4.874 | 4.157 | 3.886 | 3.989 | 3.84 | 3.688 | 3.54
335 | 923.9 | 1103 | 1262 | 1364 | 1935 | 2309 | 2204 | 2007 | 2095 | 2441 | 2726 | 2825 | 2824 | 2948 | 3263 | 3521 | 3454 | 2993 | 2200 | 1407 | 948 | 362.1 | 158.7 | 96.39 | 101.5 | 718.3 | 9999.9 | 9999.9 | 2250 | 20.05 | 12.59 | 9.67 | 7.439 | 5.957 | 5.541 | 5.023 | 4.755 | 4.155 | 3.576 | 3.651 | 3.622
340 | 735 | 1059 | 1294 | 1472 | 1948 | 2241 | 2160 | 1906 | 2041 | 2373 | 2727 | 2847 | 2879 | 3034 | 3370 | 3622 | 3541 | 3091 | 2302 | 1382 | 895 | 628.2 | 225.7 | 118.3 | 78.36 | 91.03 | 713.6 | 9999.9 | 9999.9 | 2360 | 19.71 | 12.48 | 9.713 | 7.268 | 6.47 | 5.845 | 5.113 | 4.685 | 3.923 | 4.237 | 3.559
345 | 694.2 | 930.6 | 1261 | 1474 | 1999 | 2195 | 1979 | 1835 | 1929 | 2261 | 2564 | 2790 | 2869 | 3068 | 3365 | 3607 | 3518 | 3100 | 2352 | 1425 | 787.8 | 643.2 | 429.1 | 158.6 | 96.7 | 71.34 | 92.96 | 715.9 | 9999.9 | 9999.9 | 2388 | 19.48 | 12.42 | 10.05 | 7.645 | 6.14 | 5.53 | 5.078 | 4.161 | 4.064 | 3.699
350 | 636 | 941.6 | 1231 | 1437 | 1853 | 2041 | 1882 | 1672 | 1775 | 2125 | 2390 | 2630 | 2753 | 2972 | 3290 | 3482 | 3437 | 3023 | 2305 | 1424 | 811 | 499.9 | 519.7 | 317.7 | 129.6 | 89.56 | 72.07 | 95.11 | 716.8 | 9999.9 | 9999.9 | 2424 | 20.46 | 13.11 | 9.755 | 8.057 | 6.311 | 5.111 | 4.739 | 4.221 | 4.045
355 | 697.9 | 794.8 | 1137 | 1346 | 1779 | 1992 | 1740 | 1514 | 1623 | 1930 | 2222 | 2462 | 2595 | 2838 | 3135 | 3318 | 3281 | 2890 | 2240 | 1403 | 825.1 | 505.1 | 387.6 | 472.8 | 248.5 | 123.9 | 95.54 | 76.74 | 98.21 | 730.3 | 9999.9 | 9999.9 | 2402 | 20.81 | 13.44 | 9.549 | 8.119 | 6.313 | 4.975 | 4.422 | 4.287
360 | 640.8 | 862.5 | 960.4 | 1301 | 1719 | 1881 | 1605 | 1403 | 1452 | 1735 | 2005 | 2255 | 2400 | 2645 | 2923 | 3100 | 3041 | 2702 | 2123 | 1361 | 822 | 531 | 368.7 | 356 | 425.4 | 206 | 127 | 99.44 | 81.13 | 99.75 | 714.4 | 9999.9 | 9999.9 | 2581 | 20.48 | 12.5 | 10.97 | 7.763 | 5.523 | 5.015 | 4.617
365 | 620 | 675 | 930.3 | 1125 | 1553 | 1727 | 1447 | 1263 | 1319 | 1576 | 1786 | 2029 | 2205 | 2419 | 2687 | 2832 | 2815 | 2497 | 1992 | 1296 | 828.5 | 545.7 | 397.4 | 313.5 | 369.8 | 388.9 | 185.5 | 126.5 | 100.4 | 77.59 | 96.53 | 726.1 | 9999.9 | 9999.9 | 2514 | 20.64 | 12.9 | 9.739 | 7.504 | 5.888 | 4.729
370 | 487.2 | 635 | 846.2 | 1129 | 1422 | 1567 | 1318 | 1130 | 1178 | 1390 | 1604 | 1826 | 1982 | 2190 | 2430 | 2560 | 2542 | 2287 | 1836 | 1233 | 818.5 | 568.2 | 426.7 | 346.1 | 302.6 | 399 | 345.6 | 175.6 | 130.8 | 101 | 77.35 | 98.72 | 730.8 | 9999.9 | 9999.9 | 2629 | 20.43 | 13.94 | 9.009 | 7.545 | 5.299
375 | 448.5 | 618.5 | 769.7 | 935.4 | 1261 | 1427 | 1205 | 1015 | 1072 | 1246 | 1442 | 1623 | 1766 | 1975 | 2180 | 2306 | 2266 | 2064 | 1676 | 1160 | 803.8 | 591.9 | 467.6 | 392.5 | 340.2 | 326.5 | 427.2 | 316.6 | 178.5 | 138.6 | 103.7 | 80.81 | 105.6 | 741.4 | 9999.9 | 9999.9 | 2764 | 21.57 | 11.78 | 9.054 | 6.88
380 | 440.7 | 517.9 | 649.2 | 893.1 | 1125 | 1240 | 1069 | 927.9 | 968.5 | 1124 | 1271 | 1462 | 1572 | 1756 | 1943 | 2028 | 2039 | 1861 | 1535 | 1113 | 800.8 | 624.3 | 514.1 | 447 | 392.1 | 361.8 | 367.8 | 450.6 | 299.8 | 187.9 | 149.2 | 118.4 | 91.69 | 110.5 | 745 | 9999.9 | 9999.9 | 2636 | 18.82 | 11.98 | 8.303
385 | 395.6 | 442.7 | 671.2 | 848 | 1038 | 1133 | 1008 | 868.1 | 891.4 | 1002 | 1116 | 1283 | 1399 | 1567 | 1708 | 1834 | 1829 | 1704 | 1428 | 1069 | 812.7 | 668.2 | 577.3 | 520.9 | 472.3 | 436.1 | 398.2 | 423.2 | 464.8 | 292.4 | 212 | 171.2 | 134.6 | 100.1 | 114.7 | 753.8 | 9999.9 | 9999.9 | 2377 | 17.91 | 11.47
390 | 468.9 | 418.6 | 592.3 | 757.3 | 948.3 | 1060 | 890.6 | 802.2 | 838.6 | 940.2 | 1032 | 1144 | 1259 | 1389 | 1537 | 1652 | 1655 | 1566 | 1355 | 1062 | 841.6 | 728.9 | 647.8 | 601.9 | 568.8 | 528.4 | 485.4 | 454.2 | 491.7 | 474.6 | 310.5 | 238.3 | 190.7 | 145 | 102.6 | 110.7 | 739.4 | 9999.9 | 9999.9 | 2547 | 16.83
395 | 943.2 | 398.2 | 545.2 | 703.4 | 876.1 | 973.7 | 866.8 | 767.9 | 788.7 | 872.7 | 952.9 | 1042 | 1119 | 1247 | 1389 | 1480 | 1514 | 1451 | 1300 | 1062 | 880.3 | 789.7 | 736.1 | 700.4 | 664.2 | 629.1 | 586.5 | 539.3 | 499.4 | 548.1 | 473.7 | 321 | 258.1 | 193.6 | 138.4 | 92.97 | 101.7 | 753.8 | 9999.9 | 9999.9 | 2280
400 | 1178 | 638.8 | 549.2 | 706.3 | 928.6 | 919.7 | 850.5 | 782.7 | 767.7 | 808.3 | 899.3 | 954.7 | 1039 | 1125 | 1251 | 1348 | 1409 | 1375 | 1253 | 1066 | 935.1 | 863.7 | 826.9 | 789.2 | 767.2 | 730.5 | 684.5 | 634.3 | 580.2 | 550.4 | 588.8 | 462.1 | 330.8 | 253 | 178.7 | 118.6 | 77.09 | 93.82 | 723.1 | 9999.9 | 9999.9
405 | 942.6 | 1216 | 517.8 | 680.5 | 802.9 | 880 | 846.7 | 770 | 763 | 771.9 | 853 | 879.7 | 957.7 | 1025 | 1150 | 1271 | 1328 | 1316 | 1233 | 1079 | 979.8 | 934.9 | 908.1 | 891.6 | 864.1 | 838.8 | 789.5 | 731.7 | 668.4 | 606.8 | 582.8 | 600.2 | 440.7 | 310.5 | 219.4 | 148.9 | 95.8 | 63.33 | 83.93 | 704.4 | 9999.9
410 | 451.5 | 1657 | 826.7 | 641.3 | 785.1 | 849.2 | 824.4 | 739.4 | 722.5 | 764.1 | 805.2 | 835.2 | 877.7 | 954.1 | 1078 | 1175 | 1239 | 1258 | 1205 | 1094 | 1016 | 984.4 | 975.5 | 967.3 | 950.1 | 919.5 | 869.8 | 810.4 | 749.6 | 679.1 | 612.2 | 599.4 | 567.8 | 383.6 | 263.5 | 181 | 116.9 | 75.02 | 50.53 | 75.83 | 702
415 | 339.7 | 1278 | 1528 | 612.3 | 771.9 | 827 | 764.8 | 742.5 | 728 | 751.1 | 786.2 | 811.8 | 829.8 | 904.1 | 997.3 | 1109 | 1171 | 1219 | 1185 | 1093 | 1043 | 1031 | 1026 | 1026 | 1008 | 988.3 | 944 | 881.1 | 809.2 | 728.5 | 661.2 | 599.4 | 593.1 | 491.9 | 319.4 | 209.8 | 139.9 | 90.47 | 58.97 | 43.77 | 74.06
420 | 294.1 | 578.6 | 2055 | 876.6 | 728.6 | 773.9 | 751.1 | 730.3 | 728 | 724.4 | 760.4 | 790.5 | 797.7 | 840.5 | 938.3 | 1054 | 1124 | 1156 | 1140 | 1094 | 1052 | 1044 | 1049 | 1050 | 1051 | 1027 | 976.8 | 918.9 | 853.6 | 781.4 | 707.6 | 627.5 | 562.1 | 538.6 | 397.8 | 244.7 | 161.7 | 108.1 | 72.1 | 51.47 | 41.12
425 | 306.1 | 407.7 | 1677 | 1835 | 677.9 | 754.9 | 740.6 | 730.1 | 722.2 | 729.9 | 723.8 | 766.5 | 767.2 | 791 | 899.3 | 987.1 | 1075 | 1114 | 1114 | 1066 | 1040 | 1054 | 1058 | 1069 | 1073 | 1048 | 1015 | 943.5 | 879.5 | 811.8 | 733.4 | 656.7 | 577 | 506.6 | 462.9 | 305.9 | 186.1 | 128 | 88.62 | 64.97 | 48.19
430 | 252.8 | 396.3 | 683.9 | 2742 | 1043 | 733 | 708.4 | 674 | 711.1 | 746.1 | 732.7 | 735.2 | 747.6 | 776.6 | 848.3 | 941.3 | 1037 | 1062 | 1078 | 1044 | 1027 | 1043 | 1060 | 1079 | 1077 | 1054 | 1020 | 964.7 | 899.3 | 830.1 | 760.9 | 677.1 | 598.6 | 497.6 | 436.4 | 376.5 | 233.4 | 150.1 | 108.5 | 81.61 | 62.8
435 | 264.4 | 352 | 433.7 | 2143 | 2191 | 681.8 | 694.3 | 682.6 | 688.7 | 705.2 | 721.6 | 715.2 | 704.6 | 743.7 | 801.1 | 889.9 | 975.9 | 1015 | 1034 | 1007 | 1003 | 1023 | 1047 | 1070 | 1069 | 1054 | 1023 | 971.1 | 919.3 | 838 | 770.1 | 696 | 613.8 | 513.8 | 418 | 378.1 | 297 | 182.7 | 132.3 | 100.5 | 78.87
440 | 216.4 | 394.9 | 426.5 | 854 | 3388 | 1016 | 699.4 | 684 | 686.9 | 714.4 | 717.4 | 694.7 | 697.1 | 719.5 | 768.3 | 851.2 | 926.4 | 962.6 | 989 | 969.7 | 977.1 | 997.7 | 1028 | 1046 | 1047 | 1043 | 1006 | 965.2 | 912 | 840.6 | 767.1 | 703.2 | 624.8 | 534.6 | 431.5 | 349.3 | 323.8 | 242 | 155.4 | 119.4 | 97.08
445 | 244.4 | 303.3 | 387.5 | 554 | 2764 | 2420 | 671.8 | 668.1 | 668.3 | 694.9 | 681.2 | 681.9 | 675.5 | 686.4 | 729.4 | 806.4 | 875.7 | 905.2 | 929 | 919.8 | 931.5 | 955.7 | 979.5 | 1003 | 1017 | 1006 | 977.5 | 951.7 | 893.1 | 834.3 | 764.2 | 697.2 | 615.9 | 535.2 | 445.6 | 355.2 | 295.2 | 278.2 | 201.2 | 138.9 | 112.2
450 | 256.9 | 328.3 | 404 | 478.3 | 1101 | 4139 | 1041 | 619.4 | 638.7 | 646.3 | 665.9 | 655.4 | 641 | 631.8 | 688.4 | 756.7 | 809.4 | 856.9 | 868.5 | 862.8 | 875.8 | 893.3 | 927.7 | 953.6 | 969.3 | 966.5 | 940.4 | 908.5 | 858.6 | 798.7 | 745.1 | 677.1 | 605.1 | 532 | 445.6 | 361.7 | 290.1 | 262.5 | 242 | 169.2 | 128.2
455 | 263 | 302.9 | 385.2 | 427.6 | 530.1 | 3401 | 2624 | 599.6 | 608 | 611.2 | 635.1 | 625.2 | 609.8 | 603 | 620.7 | 698.5 | 741.3 | 777.6 | 800.2 | 799.9 | 809.7 | 832.8 | 863.9 | 893.8 | 902.6 | 899 | 883.1 | 863.2 | 819.6 | 767.9 | 707.9 | 651.7 | 585 | 516.9 | 442.7 | 360.7 | 290.4 | 242.9 | 236.5 | 206.5 | 147
460 | 222.5 | 243.7 | 340.1 | 387.3 | 439.7 | 1245 | 4778 | 1004 | 583.1 | 569.7 | 605.4 | 580.2 | 569.3 | 571.7 | 594 | 632.7 | 673.2 | 710.5 | 729.9 | 732.7 | 742.9 | 769.3 | 791.2 | 819.8 | 833.2 | 837.6 | 824.8 | 806.6 | 765.6 | 719.4 | 672.2 | 615.5 | 554.4 | 496 | 423.5 | 352.6 | 290.8 | 237.6 | 209.4 | 212.8 | 175.9
465 | 200.6 | 275.7 | 291 | 387.9 | 421.2 | 503.1 | 3989 | 2832 | 545.1 | 547.2 | 547 | 541.2 | 534 | 520 | 551.7 | 584.9 | 614.1 | 644.1 | 660.4 | 653.8 | 681 | 695.6 | 714.6 | 735.9 | 762.4 | 775.2 | 764.1 | 737.4 | 712.7 | 663.1 | 622.2 | 575.5 | 527.3 | 472.9 | 404.4 | 340.3 | 283 | 236.4 | 205.3 | 190.5 | 187.1
470 | 192 | 246.4 | 284 | 356.8 | 416.7 | 401.9 | 1352 | 5055 | 1009 | 502.8 | 517.1 | 498.6 | 493 | 495.7 | 493.4 | 536.3 | 556.3 | 576.6 | 588.3 | 586.3 | 602.1 | 621.4 | 645.9 | 659.6 | 683.9 | 688.6 | 683.2 | 675.3 | 645.1 | 609.5 | 567.9 | 525.5 | 484.3 | 435.8 | 383.5 | 323.9 | 274.6 | 229.1 | 196.7 | 178.7 | 172.4
475 | 186 | 217.4 | 252.6 | 296.7 | 397.4 | 372.7 | 461.7 | 4345 | 2895 | 499 | 464.5 | 463.8 | 462.1 | 448.5 | 452.2 | 479.4 | 507.3 | 518.8 | 518.7 | 525 | 538.9 | 553 | 572.4 | 588 | 609.8 | 617.2 | 620.3 | 605.7 | 585.4 | 557.2 | 524 | 483.5 | 439.4 | 407.6 | 361.4 | 304.6 | 261.3 | 223.6 | 194.1 | 169.6 | 152.6
480 | 176.5 | 223.7 | 269.8 | 239.4 | 378.1 | 374.4 | 350.5 | 1419 | 5308 | 950.4 | 425.8 | 441.4 | 423.4 | 426.4 | 415.4 | 445.9 | 453.1 | 466.5 | 460 | 466.9 | 478 | 495.7 | 512.7 | 533.7 | 550.7 | 557.7 | 564.5 | 545.8 | 538.5 | 508.6 | 476.6 | 440.5 | 413.5 | 381.8 | 337.5 | 292.7 | 250.8 | 217.7 | 190.5 | 172.4 | 150.9
485 | 165.2 | 208 | 253.8 | 248 | 310 | 364.2 | 355.6 | 436.3 | 4512 | 2808 | 432.3 | 408.4 | 418.1 | 416.3 | 400.5 | 423.2 | 435 | 429.9 | 426.8 | 422.7 | 435.8 | 451.4 | 460.7 | 481.2 | 497 | 505.6 | 510 | 504.2 | 491.4 | 469.3 | 445.7 | 417.8 | 388.4 | 357 | 326.3 | 284.8 | 247.3 | 217.5 | 191.4 | 172.1 | 151.9
490 | 155.2 | 175.6 | 223.7 | 221.5 | 261.3 | 356.7 | 358.3 | 342.2 | 1471 | 5190 | 830.6 | 409.3 | 399 | 418.8 | 412.4 | 413.2 | 417.5 | 401.2 | 386.3 | 381.5 | 387.1 | 399 | 414.7 | 436.7 | 448.9 | 458.6 | 465.7 | 464.5 | 455 | 435.9 | 411.8 | 394.2 | 369.3 | 345.7 | 317.7 | 280.6 | 245.5 | 214.7 | 192.4 | 172.8 | 156.5
495 | 188 | 149.4 | 180.5 | 245.6 | 248.2 | 318.6 | 346.8 | 315 | 420.5 | 4574 | 2658 | 416.6 | 411.8 | 424.6 | 422.9 | 413.8 | 399.9 | 383.9 | 357.9 | 347.9 | 355.3 | 364.4 | 377.8 | 393.3 | 406.6 | 416.9 | 420 | 425.4 | 419.9 | 403.5 | 389.7 | 375.2 | 351 | 339 | 310 | 280.1 | 245.8 | 219.3 | 194.7 | 178.2 | 159.9
500 | 159.2 | 181.3 | 205.7 | 186.3 | 235.5 | 287.4 | 353.3 | 309.3 | 330.1 | 1517 | 5004 | 821.4 | 421.8 | 435 | 433.7 | 409.4 | 393.5 | 359.7 | 326.4 | 309.7 | 311.9 | 321.2 | 336.9 | 348.9 | 366.8 | 378.6 | 385.6 | 388.4 | 386.4 | 375.1 | 365.3 | 354 | 343.2 | 327.8 | 309.9 | 277.4 | 249.1 | 223.3 | 197.3 | 180.9 | 162.7