## Sheet1
Report date: | 20:58:02, 09/18/2024
Sample: | 1
File name:
Run date: | 20:52:34, 09/18/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 210.0/490.0 | 279.2
2 | 220.0/405.0 | 855.7
3 | 225.0/340.0 | 2322
4 | 225.0/450.0 | 4066
5 | 225.0/485.0 | 369
6 | 230.0/325.0 | 2228
7 | 230.0/425.0 | 777.9
8 | 230.0/495.0 | 352.6
9 | 250.0/275.0 | 405.9
10 | 255.0/280.0 | 492.6
11 | 255.0/335.0 | 2834
12 | 275.0/340.0 | 3547
13 | 315.0/355.0 | 468.5
14 | 315.0/430.0 | 1073
15 | 320.0/360.0 | 433.5
16 | 320.0/435.0 | 1067
17 | 325.0/370.0 | 410.4
18 | 330.0/375.0 | 439
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 148.5 | 118.8 | 101 | 104.8 | 82.37 | 64.68 | 36.55 | 24.93 | 50.34 | 346.5 | 199.3 | 51.05 | 120.6 | 9999.9 | 9999.9 | 4156 | 33.05 | 13.25 | 10.83 | 8.34 | 6.683 | 4.785 | 4.165 | 4.083 | 3.376 | 4.001 | 3.475 | 3.19 | 3.054 | 3.374 | 3.366 | 2.997 | 3.234 | 3.232 | 3.216 | 3.472 | 3.772 | 3.741 | 3.416 | 3.062 | 2.893
275 | 275.5 | 205.6 | 272.3 | 335.7 | 331 | 224 | 83.57 | 36.48 | 28.84 | 115.9 | 405.9 | 193.1 | 113.3 | 810.5 | 9999.9 | 9999.9 | 3722 | 28.93 | 13.96 | 11.32 | 7.856 | 5.864 | 4.798 | 4.134 | 4.046 | 3.937 | 3.742 | 3.473 | 3.585 | 3.031 | 3.106 | 3.787 | 3.268 | 2.759 | 3.046 | 3.076 | 3.01 | 3.372 | 3.786 | 3.326 | 2.639
280 | 461.8 | 340.1 | 388 | 544.4 | 623.6 | 477.8 | 168.9 | 50.97 | 45.43 | 61.52 | 228.3 | 492.6 | 249 | 282.2 | 942.3 | 9999.9 | 9999.9 | 3420 | 30.79 | 13.94 | 9.548 | 7.217 | 6.279 | 4.726 | 4.613 | 4.019 | 3.955 | 3.27 | 3.585 | 3.197 | 3.313 | 2.943 | 2.992 | 2.999 | 3.304 | 3.091 | 2.863 | 3.099 | 3.157 | 3.519 | 3.337
285 | 673.8 | 447.9 | 552.1 | 765.2 | 921.7 | 751.8 | 319.6 | 123.5 | 80.37 | 85.3 | 143.4 | 422.4 | 643.6 | 434.6 | 529.9 | 1087 | 9999.9 | 9999.9 | 3154 | 30.11 | 12.3 | 9.089 | 6.932 | 5.24 | 4.902 | 4.628 | 4.435 | 3.848 | 3.98 | 3.56 | 3.231 | 2.958 | 3.377 | 3.103 | 2.951 | 3.079 | 3.081 | 3 | 3.309 | 3.239 | 3.569
290 | 840.5 | 616.2 | 643.3 | 1009 | 1234 | 1085 | 577.7 | 282.4 | 156.4 | 139.9 | 189.6 | 315 | 744.9 | 888.1 | 854.9 | 770.4 | 1155 | 9999.9 | 9999.9 | 3074 | 25.84 | 11.3 | 8.013 | 6.57 | 5.125 | 5.397 | 5.132 | 4.489 | 4.214 | 3.621 | 3.129 | 3.075 | 3.531 | 3.571 | 3.174 | 2.966 | 2.678 | 3.099 | 3.177 | 3.282 | 3.754
295 | 893.9 | 741.9 | 939 | 1142 | 1511 | 1420 | 937 | 514.9 | 315.8 | 263.1 | 311.9 | 421.5 | 630 | 1270 | 1397 | 1161 | 894.2 | 1181 | 9999.9 | 9999.9 | 3145 | 23.45 | 10.69 | 8.033 | 7.159 | 6.128 | 5.619 | 4.697 | 3.73 | 3.715 | 3.748 | 3.539 | 3.559 | 3.568 | 3.442 | 3.58 | 3.409 | 3.293 | 3.319 | 2.854 | 3.016
300 | 899.3 | 795.9 | 921.3 | 1231 | 1571 | 1734 | 1273 | 793.6 | 548.4 | 488.4 | 544.6 | 640.2 | 815.7 | 1195 | 1951 | 1704 | 1264 | 853.7 | 1026 | 9999.9 | 9999.9 | 2710 | 21.18 | 10.84 | 8.229 | 7.314 | 6.075 | 5.186 | 5.039 | 4.413 | 4.185 | 3.903 | 3.792 | 3.673 | 3.498 | 3.425 | 3.518 | 3.095 | 3.533 | 3.169 | 2.739
305 | 1060 | 898.7 | 1047 | 1253 | 1655 | 1910 | 1609 | 1099 | 874.4 | 855 | 885 | 971.6 | 1089 | 1377 | 1924 | 2387 | 1769 | 1161 | 623.6 | 942.5 | 9999.9 | 9999.9 | 2282 | 18.46 | 10.31 | 9.062 | 7.166 | 5.643 | 5.06 | 4.697 | 4.557 | 4.043 | 4.3 | 3.781 | 4.025 | 3.763 | 3.246 | 3.358 | 3.399 | 2.83 | 3.219
310 | 994.9 | 955.4 | 1155 | 1318 | 1786 | 1987 | 1825 | 1433 | 1250 | 1266 | 1316 | 1385 | 1409 | 1633 | 2072 | 2490 | 2488 | 1596 | 866 | 460 | 835.5 | 9999.9 | 9999.9 | 2078 | 18.44 | 11.49 | 9.2 | 6.937 | 5.972 | 4.736 | 4.942 | 4.197 | 4.284 | 3.669 | 3.938 | 3.942 | 3.027 | 3.55 | 3.42 | 3.124 | 3.3
315 | 1006 | 1045 | 1102 | 1379 | 1828 | 2067 | 2025 | 1659 | 1566 | 1641 | 1749 | 1793 | 1757 | 1937 | 2337 | 2591 | 2706 | 2205 | 1193 | 589.4 | 288.6 | 771.5 | 9999.9 | 9999.9 | 1929 | 17.94 | 11.21 | 8.524 | 7.645 | 5.471 | 5.193 | 4.572 | 4.521 | 4.339 | 4.127 | 3.672 | 3.702 | 3.549 | 3.478 | 3.396 | 3.333
320 | 999.1 | 1221 | 1273 | 1425 | 1804 | 2111 | 2124 | 1924 | 1809 | 2031 | 2173 | 2186 | 2077 | 2220 | 2604 | 2867 | 2783 | 2562 | 1690 | 792.8 | 339.4 | 185.9 | 738.8 | 9999.9 | 9999.9 | 2042 | 18.93 | 11.59 | 8.486 | 7.279 | 6.261 | 5.493 | 4.532 | 4.444 | 4.755 | 4.149 | 3.369 | 3.71 | 3.34 | 3.514 | 3.281
325 | 935.3 | 1162 | 1306 | 1511 | 1869 | 2139 | 2228 | 1994 | 1994 | 2252 | 2446 | 2481 | 2402 | 2476 | 2858 | 3118 | 3032 | 2570 | 2097 | 1098 | 442.1 | 196.9 | 140.9 | 725.9 | 9999.9 | 9999.9 | 2100 | 19 | 11.33 | 9.288 | 7.048 | 5.484 | 5.218 | 5.008 | 4.782 | 4.734 | 4.198 | 3.577 | 3.605 | 3.347 | 3.423
330 | 896.3 | 1088 | 1372 | 1566 | 1838 | 2225 | 2226 | 1999 | 2117 | 2382 | 2589 | 2715 | 2606 | 2716 | 3088 | 3319 | 3233 | 2742 | 2039 | 1453 | 621.6 | 245.6 | 128.4 | 111.7 | 715.9 | 9999.9 | 9999.9 | 2043 | 18.45 | 11.56 | 9.477 | 7.13 | 5.711 | 5.349 | 5.239 | 4.634 | 4.349 | 4.28 | 3.719 | 3.437 | 3.164
335 | 813.6 | 1067 | 1382 | 1685 | 1975 | 2258 | 2209 | 2011 | 2122 | 2411 | 2701 | 2834 | 2783 | 2880 | 3262 | 3471 | 3380 | 2926 | 2131 | 1349 | 925.7 | 354.9 | 158.9 | 96.22 | 101.2 | 711.7 | 9999.9 | 9999.9 | 2183 | 19.54 | 12.58 | 9.393 | 7.628 | 5.917 | 6.116 | 5.518 | 4.692 | 4.44 | 3.941 | 4.009 | 3.179
340 | 768.1 | 1014 | 1245 | 1512 | 1904 | 2322 | 2086 | 1922 | 2057 | 2408 | 2704 | 2814 | 2888 | 2980 | 3349 | 3547 | 3475 | 2988 | 2214 | 1323 | 873.3 | 620.7 | 224.1 | 116.5 | 77.7 | 92.33 | 716.1 | 9999.9 | 9999.9 | 2210 | 18.93 | 11.7 | 9.44 | 8.037 | 6.47 | 5.562 | 5.218 | 4.386 | 4.263 | 3.927 | 3.286
345 | 789.6 | 1005 | 1196 | 1455 | 1904 | 2206 | 2013 | 1779 | 1895 | 2244 | 2563 | 2772 | 2819 | 2996 | 3324 | 3533 | 3457 | 3037 | 2251 | 1345 | 765.1 | 628.3 | 426.9 | 156.1 | 95.18 | 72.43 | 92.29 | 718.7 | 9999.9 | 9999.9 | 2278 | 19.42 | 12.99 | 10.27 | 8.76 | 6.592 | 5.602 | 4.603 | 4.928 | 3.93 | 3.711
350 | 746.5 | 906 | 1141 | 1459 | 1799 | 2064 | 1844 | 1633 | 1731 | 2113 | 2420 | 2606 | 2717 | 2926 | 3221 | 3435 | 3335 | 2923 | 2237 | 1367 | 788 | 492.6 | 528.3 | 320.7 | 134.7 | 93.8 | 77.3 | 99.35 | 719.3 | 9999.9 | 9999.9 | 2372 | 19.58 | 13.04 | 10.55 | 8.505 | 6.388 | 5.2 | 4.743 | 3.864 | 3.96
355 | 691.7 | 876.2 | 1073 | 1392 | 1747 | 1840 | 1693 | 1500 | 1586 | 1871 | 2207 | 2427 | 2550 | 2797 | 3084 | 3258 | 3192 | 2809 | 2162 | 1355 | 817.6 | 504.5 | 388.1 | 468.5 | 249.5 | 129.9 | 100.9 | 84.56 | 105.5 | 731.8 | 9999.9 | 9999.9 | 2390 | 20.96 | 14.42 | 10.42 | 7.125 | 5.935 | 5.042 | 4.542 | 4.072
360 | 603.1 | 822.7 | 979.3 | 1225 | 1685 | 1811 | 1560 | 1378 | 1452 | 1722 | 1983 | 2197 | 2394 | 2579 | 2878 | 3053 | 2972 | 2634 | 2052 | 1315 | 815.8 | 519.9 | 368 | 365.1 | 433.5 | 217.5 | 136.4 | 108 | 86.18 | 103.6 | 715 | 9999.9 | 9999.9 | 2763 | 23.34 | 13.61 | 9.897 | 7.607 | 5.736 | 4.781 | 4.468
365 | 542.6 | 643 | 904.1 | 1117 | 1501 | 1675 | 1430 | 1227 | 1330 | 1554 | 1775 | 2011 | 2166 | 2397 | 2657 | 2795 | 2724 | 2428 | 1919 | 1250 | 808.8 | 550.9 | 397.3 | 322.6 | 378.5 | 393 | 195.4 | 136.6 | 107.7 | 81.85 | 100.2 | 724.6 | 9999.9 | 9999.9 | 3081 | 23.21 | 13.4 | 9.763 | 6.806 | 5.282 | 4.894
370 | 563.1 | 641.8 | 826.5 | 1022 | 1298 | 1500 | 1269 | 1110 | 1185 | 1376 | 1600 | 1766 | 1938 | 2167 | 2386 | 2535 | 2472 | 2209 | 1772 | 1203 | 807.1 | 572.5 | 433.5 | 358 | 311.4 | 410.4 | 358.3 | 182.3 | 135.2 | 103.4 | 80.44 | 97 | 733.7 | 9999.9 | 9999.9 | 2805 | 21.6 | 13.04 | 8.623 | 6.134 | 5.117
375 | 460.1 | 534 | 731 | 1017 | 1202 | 1372 | 1194 | 1010 | 1067 | 1212 | 1411 | 1586 | 1759 | 1919 | 2150 | 2269 | 2237 | 1995 | 1628 | 1140 | 804.4 | 601.8 | 478.4 | 401.3 | 346.4 | 333.9 | 439 | 323.3 | 184.5 | 140.4 | 107 | 81.54 | 103.1 | 742.1 | 9999.9 | 9999.9 | 2662 | 21.07 | 12.3 | 8.235 | 6.531
380 | 411.5 | 519.4 | 684.1 | 899.2 | 1075 | 1220 | 1078 | 923.6 | 977.4 | 1110 | 1258 | 1432 | 1541 | 1713 | 1898 | 2013 | 2002 | 1832 | 1494 | 1090 | 797.4 | 631.2 | 521.4 | 454.8 | 410.4 | 369.1 | 380.6 | 453.9 | 302.8 | 193.3 | 151.7 | 116.4 | 92.19 | 111.1 | 766.7 | 9999.9 | 9999.9 | 2565 | 18.87 | 11.28 | 7.915
385 | 370.2 | 491.8 | 626.2 | 761.7 | 1034 | 1128 | 966.9 | 872 | 903.3 | 1011 | 1135 | 1252 | 1363 | 1522 | 1700 | 1798 | 1790 | 1655 | 1409 | 1064 | 805.1 | 680.8 | 582.8 | 531.1 | 478.4 | 446.9 | 409.7 | 429.3 | 467.4 | 296 | 213.5 | 171.9 | 134 | 102.1 | 116.4 | 777.4 | 9999.9 | 9999.9 | 2362 | 17.02 | 10.57
390 | 390.9 | 466.3 | 600 | 711.5 | 928.9 | 1015 | 940.2 | 824 | 829.7 | 927.5 | 1049 | 1117 | 1211 | 1359 | 1506 | 1618 | 1622 | 1520 | 1324 | 1043 | 841.9 | 729.8 | 660.6 | 607.5 | 574.6 | 535.4 | 489.6 | 456.3 | 492.8 | 476.7 | 312.3 | 238.8 | 191 | 145.5 | 103.5 | 115.2 | 756 | 9999.9 | 9999.9 | 2274 | 16.4
395 | 960 | 434.4 | 607.8 | 734.6 | 834.9 | 967.5 | 893.4 | 792.1 | 781 | 861.3 | 933.2 | 1029 | 1111 | 1227 | 1343 | 1456 | 1496 | 1438 | 1273 | 1043 | 889.1 | 802.5 | 742.9 | 704.3 | 668.2 | 632.2 | 590.3 | 537.9 | 501.5 | 553 | 469.3 | 322.4 | 255.8 | 193.1 | 136.9 | 94.32 | 103.8 | 767.6 | 9999.9 | 9999.9 | 2051
400 | 1360 | 684.4 | 542.9 | 663.7 | 845.3 | 889.9 | 829 | 770.5 | 758.1 | 805.9 | 880.1 | 953.5 | 1016 | 1115 | 1239 | 1337 | 1401 | 1364 | 1254 | 1066 | 938 | 872.8 | 821.5 | 801.3 | 770.5 | 734.1 | 689.9 | 638.4 | 579.7 | 549.6 | 588.5 | 460.4 | 326.6 | 251.8 | 178.6 | 119.2 | 78.81 | 94.85 | 728.2 | 9999.9 | 9999.9
405 | 937.3 | 1251 | 556.6 | 667.7 | 855.7 | 841.7 | 824.8 | 753.4 | 760.3 | 788.9 | 826.8 | 883.9 | 952.6 | 1021 | 1128 | 1244 | 1316 | 1316 | 1223 | 1082 | 991.6 | 933.9 | 911.2 | 890.2 | 866.9 | 831.1 | 781.1 | 730.8 | 667 | 606.9 | 582.1 | 594.9 | 439.6 | 311.5 | 218.3 | 152 | 95.49 | 61.05 | 83.84 | 704.9 | 9999.9
410 | 441.9 | 1534 | 796.7 | 656.2 | 762.6 | 814.7 | 760.2 | 737.4 | 723 | 756.5 | 802 | 842.2 | 889.5 | 950 | 1062 | 1167 | 1230 | 1256 | 1212 | 1094 | 1027 | 993.3 | 980 | 964.5 | 948.4 | 910.9 | 869.5 | 810 | 750.6 | 675.8 | 611.9 | 595.2 | 562.1 | 383.7 | 264 | 180 | 117.7 | 75.33 | 50.25 | 76.49 | 697.8
415 | 294.4 | 1253 | 1488 | 652.3 | 703.6 | 810.6 | 800.2 | 717.7 | 740.5 | 737.9 | 765 | 803.3 | 841.4 | 902.7 | 973.6 | 1101 | 1178 | 1213 | 1199 | 1101 | 1051 | 1030 | 1020 | 1023 | 1009 | 984.1 | 928 | 866.9 | 804.9 | 733.9 | 662 | 595.1 | 584.9 | 494.9 | 318.2 | 211.2 | 139.6 | 92.8 | 60.33 | 42.98 | 72.99
420 | 322.5 | 613.8 | 2197 | 892.1 | 699.5 | 764.2 | 738 | 723.4 | 700.8 | 727.9 | 755.9 | 784.2 | 800.5 | 846 | 940.9 | 1045 | 1123 | 1154 | 1149 | 1095 | 1057 | 1052 | 1052 | 1055 | 1046 | 1020 | 974.8 | 910.7 | 848.7 | 776.1 | 703.2 | 631.2 | 563 | 543 | 401.4 | 246.1 | 160.9 | 109.2 | 72.9 | 51.85 | 41.4
425 | 326.9 | 403.9 | 1643 | 1862 | 694.9 | 724.4 | 777.9 | 712.6 | 718.6 | 722.8 | 743.4 | 750 | 767.6 | 796.9 | 882.5 | 975.2 | 1063 | 1108 | 1120 | 1078 | 1058 | 1051 | 1065 | 1068 | 1063 | 1046 | 1002 | 939.5 | 872.6 | 808.9 | 733.4 | 656.6 | 568.1 | 501.5 | 460 | 304.2 | 186.3 | 131.5 | 90.76 | 65.72 | 48.04
430 | 307.4 | 329 | 700.8 | 2760 | 989 | 678.7 | 692.2 | 706.4 | 696 | 716.6 | 723.7 | 739.9 | 741.2 | 765.9 | 832.2 | 955.6 | 1020 | 1067 | 1079 | 1041 | 1034 | 1057 | 1056 | 1073 | 1062 | 1051 | 1007 | 955.5 | 895.9 | 818.5 | 747.8 | 675.1 | 591.5 | 499.9 | 440.9 | 373.9 | 232.4 | 152.5 | 109.3 | 83.14 | 63.4
435 | 272.1 | 350.9 | 466.8 | 2165 | 2046 | 670.1 | 663.8 | 677.4 | 704.8 | 724 | 721.9 | 728.2 | 721.4 | 733.5 | 799.8 | 892.7 | 972.6 | 1018 | 1038 | 1031 | 1016 | 1030 | 1047 | 1063 | 1067 | 1054 | 1020 | 968.2 | 904.3 | 833.6 | 762 | 687 | 613.7 | 515.8 | 427.1 | 375.4 | 299.7 | 184.7 | 130.9 | 100.1 | 78.66
440 | 285.2 | 355 | 416.6 | 891.3 | 3331 | 1024 | 671.9 | 655.8 | 694.6 | 704.5 | 707 | 690.6 | 705.6 | 732.4 | 771.7 | 851.5 | 916.1 | 981 | 993.7 | 989.8 | 980.1 | 1004 | 1019 | 1031 | 1046 | 1031 | 1004 | 960.3 | 902.5 | 838.5 | 768.4 | 691.4 | 617.2 | 530.7 | 437.3 | 350.3 | 322.4 | 243 | 154.7 | 120.3 | 95.11
445 | 251.9 | 329.3 | 376.7 | 505.4 | 2736 | 2407 | 676.1 | 643.1 | 670.7 | 686.5 | 692.5 | 676.1 | 682.9 | 678.2 | 727.3 | 804.6 | 874.8 | 915 | 939.6 | 928 | 936.8 | 959.4 | 984.3 | 994.7 | 1009 | 1003 | 981.7 | 928.1 | 875.1 | 822.2 | 757 | 686.4 | 612.4 | 537.7 | 439.8 | 351.6 | 295.9 | 279.3 | 199.8 | 138.7 | 110.6
450 | 251.7 | 338 | 447.1 | 453.3 | 1088 | 4066 | 1033 | 652.6 | 627.7 | 659.7 | 658.2 | 653.1 | 656.5 | 647.2 | 691.4 | 750.6 | 806.1 | 861.4 | 864.5 | 867.7 | 883.5 | 897.9 | 933.6 | 948 | 956.1 | 954.3 | 931 | 894.1 | 845.5 | 793 | 732.2 | 673 | 603.5 | 527.8 | 440.8 | 356.7 | 289.2 | 258.9 | 242.7 | 167.3 | 125.7
455 | 219.7 | 316.5 | 363.1 | 437.6 | 544.8 | 3507 | 2717 | 606.9 | 612.1 | 621.6 | 626.8 | 634 | 610.6 | 606.3 | 639.1 | 708.5 | 745.8 | 782 | 808.5 | 805.5 | 814.7 | 838.2 | 855.9 | 874.5 | 896.6 | 892.2 | 874.3 | 844.7 | 810.2 | 754.4 | 700.7 | 635.9 | 581.1 | 510.7 | 436.8 | 356.6 | 286.7 | 242.5 | 232.5 | 203.4 | 142.4
460 | 224.2 | 247.6 | 296 | 442.5 | 450.9 | 1246 | 4877 | 1019 | 558.3 | 585.9 | 587.2 | 600.2 | 582.8 | 571.7 | 597 | 644.3 | 688.9 | 714.6 | 734.5 | 735.9 | 746.1 | 769.7 | 790.8 | 808.7 | 825.8 | 824.8 | 814.3 | 793 | 755.4 | 705.3 | 654.4 | 608.4 | 546.9 | 487.5 | 420 | 351.9 | 287.4 | 236.9 | 206.1 | 209.9 | 173.4
465 | 198.6 | 221.7 | 291 | 427.4 | 414.9 | 488.7 | 4240 | 2986 | 536.6 | 553.3 | 535.9 | 550.6 | 553.2 | 525 | 549.7 | 601.6 | 623.9 | 637.7 | 662.7 | 671 | 680 | 694.1 | 710.2 | 736.5 | 750.2 | 758.4 | 748.5 | 727.2 | 697.6 | 656.5 | 610.8 | 563.8 | 518.1 | 462.3 | 397.7 | 336.8 | 277.5 | 235.2 | 199.4 | 186.8 | 185.7
470 | 182.1 | 252.4 | 314 | 373.2 | 389.8 | 407 | 1369 | 5366 | 1050 | 504.9 | 522.2 | 509.4 | 500.5 | 483.8 | 512.7 | 528.4 | 565.2 | 575 | 590.6 | 598.9 | 610.9 | 619.6 | 644.6 | 659.1 | 678.9 | 685 | 675.4 | 660.5 | 629.5 | 602.6 | 561.4 | 520.9 | 474.4 | 429.3 | 375.1 | 318.7 | 269.6 | 226.2 | 196.9 | 173.6 | 166.1
475 | 151 | 223.8 | 291 | 314.8 | 383.5 | 368.1 | 463.1 | 4693 | 3051 | 468.4 | 461.6 | 470.8 | 458.3 | 458.3 | 454.3 | 476.9 | 500.5 | 517.3 | 525.2 | 534.2 | 537.5 | 554.6 | 577.3 | 590.6 | 606.1 | 614.6 | 610.5 | 601.9 | 575.1 | 544.8 | 509.4 | 474.1 | 433.7 | 399.4 | 350.9 | 300.2 | 257.5 | 222.1 | 190.7 | 168.2 | 150.7
480 | 192.7 | 220.5 | 243.9 | 268.5 | 325.5 | 347.4 | 385.2 | 1450 | 5537 | 954.5 | 435.7 | 429.4 | 433.4 | 426.8 | 426.5 | 438.5 | 464.6 | 466.4 | 468 | 475.6 | 480.9 | 498.8 | 519.4 | 532 | 543.2 | 548.7 | 552.4 | 544.6 | 528.7 | 497.5 | 471.2 | 437.8 | 405.1 | 371.2 | 330.7 | 290.8 | 248.5 | 214.9 | 185.5 | 164.4 | 147.4
485 | 166.2 | 212.3 | 215.7 | 241.7 | 312.3 | 369 | 333.4 | 458.1 | 4657 | 2889 | 418.7 | 419.4 | 419.1 | 402.5 | 417.8 | 413.4 | 431.5 | 430.2 | 430.1 | 431 | 436.2 | 449.9 | 462.3 | 470.7 | 493.3 | 502.3 | 505.6 | 498.1 | 483.8 | 459.7 | 428.6 | 406.8 | 385.3 | 352.1 | 318.3 | 282.6 | 243.1 | 213.9 | 185.6 | 165.1 | 146.2
490 | 151.5 | 165.9 | 279.2 | 236.3 | 280.5 | 369 | 349.2 | 343.6 | 1499 | 5325 | 880.8 | 396 | 406.3 | 416.4 | 405.3 | 399.4 | 408.5 | 400.3 | 393.8 | 381.6 | 393.3 | 404.7 | 419 | 430.8 | 448.1 | 457.8 | 462.6 | 459.7 | 448.1 | 427.6 | 407 | 385.8 | 367.6 | 339.4 | 307.3 | 275.8 | 240.6 | 214.9 | 189 | 168.4 | 150.6
495 | 176.1 | 197.1 | 173.8 | 207.1 | 234.1 | 324.5 | 352.6 | 314.4 | 418 | 4760 | 2726 | 402.8 | 412.1 | 414.1 | 411 | 405.2 | 395.7 | 374.2 | 360.2 | 349 | 348.8 | 369.7 | 377 | 392.5 | 402.3 | 413.5 | 424.9 | 419.6 | 414.5 | 401.7 | 382 | 364.5 | 351.7 | 334 | 304 | 277.2 | 241.5 | 213.6 | 190.3 | 170.5 | 155.6
500 | 156.5 | 181.1 | 183.8 | 213.9 | 225.5 | 295.3 | 327 | 301.5 | 313 | 1583 | 5150 | 828.9 | 416.3 | 427.1 | 429 | 401.8 | 388.1 | 355.7 | 328 | 307.7 | 311.4 | 325.6 | 334.3 | 350.4 | 364.9 | 374.9 | 383.6 | 387.4 | 378.3 | 371.8 | 356 | 348.2 | 337.7 | 325.9 | 301.2 | 271.4 | 244.3 | 216.2 | 192.5 | 171.5 | 157.1