## Sheet1
Report date: | 14:31:19, 09/19/2024
Sample: | 1
File name:
Run date: | 14:25:49, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 215.0/495.0 | 324.1
2 | 225.0/320.0 | 1748
3 | 225.0/345.0 | 2063
4 | 250.0/435.0 | 994.7
5 | 280.0/355.0 | 3557
6 | 325.0/430.0 | 1798
7 | 390.0/275.0 | 19.52
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 52.54 | 72.89 | 76.5 | 65.5 | 68.56 | 47.05 | 29.4 | 22.1 | 28.2 | 116 | 87.42 | 53.45 | 181.3 | 9999.9 | 9999.9 | 6949 | 45.1 | 22.62 | 16.15 | 12.07 | 10.82 | 10.09 | 9.314 | 8.041 | 7.59 | 7.32 | 7.332 | 6.827 | 6.694 | 7.407 | 8.149 | 7.755 | 8.239 | 7.806 | 9.04 | 11.31 | 15.48 | 19.94 | 18.1 | 12.94 | 10.92
275 | 85.4 | 103.7 | 115.7 | 162.2 | 146.6 | 102.6 | 57.64 | 26.86 | 32.43 | 62.32 | 149.3 | 114.1 | 102.1 | 823.7 | 9999.9 | 9999.9 | 6521 | 47.88 | 22.39 | 15.9 | 13.54 | 11.52 | 10.41 | 8.956 | 8.198 | 7.408 | 7.658 | 7.338 | 7.702 | 7.427 | 7.622 | 7.457 | 8.162 | 8.634 | 9.078 | 9.34 | 10.95 | 15.05 | 19.52 | 16.53 | 11.88
280 | 137.6 | 137.5 | 156.7 | 257.9 | 275.2 | 194.2 | 81.83 | 37.9 | 36.97 | 55.82 | 110 | 225.5 | 180.5 | 219.1 | 870.3 | 9999.9 | 9999.9 | 6926 | 48.77 | 21.79 | 17.61 | 14.44 | 11.44 | 9.502 | 8.481 | 8.467 | 8.02 | 7.951 | 7.515 | 7.713 | 7.879 | 8.343 | 8.697 | 9.003 | 8.617 | 9.117 | 8.629 | 10.58 | 14.79 | 18.56 | 17.01
285 | 189.4 | 215.2 | 267 | 347.7 | 434.9 | 378.6 | 235.2 | 103.3 | 72.09 | 77.91 | 124.2 | 247.7 | 359.6 | 345 | 401.5 | 1039 | 9999.9 | 9999.9 | 7009 | 48.47 | 26.92 | 19.21 | 16.13 | 12.77 | 11.13 | 10.08 | 8.905 | 8.767 | 7.938 | 8.777 | 8.59 | 8.779 | 9.278 | 9.574 | 9.417 | 9.319 | 9.552 | 8.951 | 10.21 | 13.99 | 18.38
290 | 228.7 | 254.6 | 320.3 | 477.5 | 640.3 | 673.1 | 476.8 | 252.9 | 127.1 | 128.3 | 164.8 | 273.7 | 501.7 | 655.3 | 671.7 | 699 | 1269 | 9999.9 | 9999.9 | 6492 | 50.55 | 26.93 | 20.87 | 16.5 | 13.15 | 11.58 | 10.6 | 9.948 | 9.128 | 8.821 | 9.061 | 8.855 | 8.97 | 9.509 | 9.243 | 9.32 | 8.567 | 8.734 | 8.939 | 10.33 | 13.91
295 | 303.2 | 289.2 | 381 | 642.8 | 823.5 | 1033 | 772 | 440.5 | 232.8 | 204.4 | 267.3 | 402.9 | 614.6 | 936.8 | 1089 | 1082 | 950.3 | 1297 | 9999.9 | 9999.9 | 7002 | 56.87 | 29.73 | 22.69 | 16.84 | 14.06 | 12.29 | 11.49 | 10.53 | 9.595 | 9.929 | 9.88 | 9.885 | 9.899 | 10.71 | 9.866 | 9.194 | 8.869 | 8.427 | 9.229 | 10.15
300 | 347.5 | 364.9 | 487.5 | 732 | 1051 | 1333 | 1130 | 691.1 | 401.5 | 338.7 | 452.1 | 604.9 | 859.3 | 1160 | 1536 | 1568 | 1357 | 947.6 | 1149 | 9999.9 | 9999.9 | 7728 | 58.74 | 33.39 | 23.53 | 18.34 | 15.09 | 14.11 | 12.49 | 11.6 | 11.8 | 11.18 | 11.43 | 10.45 | 10.22 | 10.55 | 9.983 | 9.287 | 8.539 | 8.663 | 8.648
305 | 441.2 | 419.8 | 579.4 | 824.1 | 1219 | 1519 | 1339 | 854.8 | 594.1 | 583.6 | 694.7 | 887.6 | 1136 | 1423 | 1766 | 2033 | 1800 | 1259 | 679.4 | 1096 | 9999.9 | 9999.9 | 7841 | 61.88 | 33.53 | 26.07 | 20.04 | 16.58 | 14.72 | 13.87 | 13.06 | 11.89 | 12.27 | 12.29 | 11.4 | 10.99 | 10.18 | 9.22 | 8.279 | 8.705 | 8.276
310 | 469.5 | 471.3 | 572.6 | 872.4 | 1263 | 1648 | 1544 | 1063 | 786.3 | 841.1 | 991.4 | 1186 | 1392 | 1657 | 1963 | 2210 | 2182 | 1604 | 912.2 | 514.2 | 1005 | 9999.9 | 9999.9 | 8134 | 64.01 | 38.04 | 27.45 | 21.23 | 18.09 | 15.7 | 14.86 | 13.49 | 13.61 | 12 | 11.98 | 11.38 | 10.31 | 9.277 | 9.185 | 8.792 | 8.246
315 | 436 | 479.1 | 620.5 | 862 | 1230 | 1681 | 1639 | 1196 | 988.9 | 1071 | 1273 | 1481 | 1644 | 1868 | 2142 | 2341 | 2402 | 2004 | 1193 | 644.5 | 348.3 | 961.4 | 9999.9 | 9999.9 | 7883 | 65.93 | 39.57 | 30.57 | 21.53 | 18.86 | 16.65 | 15.92 | 14.71 | 14.9 | 12.61 | 12.34 | 11.57 | 10.74 | 9.55 | 8.743 | 8.555
320 | 460.6 | 496.7 | 695.7 | 890.7 | 1355 | 1748 | 1645 | 1241 | 1119 | 1256 | 1477 | 1730 | 1878 | 2038 | 2282 | 2465 | 2545 | 2265 | 1536 | 822 | 400 | 239.6 | 913 | 9999.9 | 9999.9 | 8263 | 66.93 | 40.93 | 30.56 | 23.64 | 19.33 | 19.37 | 16.53 | 15.71 | 13.76 | 13.46 | 11.97 | 10.63 | 10.49 | 9.394 | 8.366
325 | 503.4 | 505.4 | 658.2 | 976.1 | 1339 | 1698 | 1653 | 1303 | 1219 | 1411 | 1681 | 1930 | 2044 | 2218 | 2432 | 2657 | 2721 | 2437 | 1844 | 1043 | 490.3 | 237.8 | 184.5 | 909.9 | 9999.9 | 9999.9 | 8477 | 70.16 | 43.21 | 34.33 | 24.58 | 21.1 | 18.71 | 18.51 | 15.42 | 13.9 | 12.83 | 11.35 | 10.18 | 9.851 | 8.957
330 | 485.7 | 556 | 637.1 | 1017 | 1491 | 1760 | 1707 | 1355 | 1271 | 1522 | 1809 | 2073 | 2250 | 2415 | 2614 | 2810 | 2930 | 2651 | 2011 | 1257 | 614.3 | 284.6 | 159.6 | 150.9 | 910.5 | 9999.9 | 9999.9 | 9175 | 74.56 | 49.15 | 37 | 27.08 | 22.51 | 21.18 | 17.65 | 15.71 | 14.35 | 13 | 11.34 | 10.1 | 9.561
335 | 448 | 539.9 | 703.9 | 1078 | 1510 | 1852 | 1718 | 1339 | 1322 | 1527 | 1895 | 2206 | 2421 | 2629 | 2822 | 3012 | 3148 | 2889 | 2206 | 1342 | 807.5 | 373 | 187.7 | 111.7 | 131.8 | 927.9 | 9999.9 | 9999.9 | 9999.9 | 79.76 | 53.13 | 41.44 | 30.36 | 25.69 | 20.14 | 18.18 | 16.22 | 14.37 | 12.65 | 12.11 | 10.21
340 | 447.2 | 512.3 | 745 | 1102 | 1601 | 1927 | 1756 | 1357 | 1323 | 1554 | 1936 | 2302 | 2536 | 2766 | 3011 | 3193 | 3332 | 3101 | 2389 | 1439 | 850.3 | 521.4 | 234.7 | 131.5 | 91.89 | 132.5 | 961 | 9999.9 | 9999.9 | 9999.9 | 90.54 | 57.78 | 45.15 | 32.14 | 25.67 | 21.54 | 18.56 | 16.03 | 14.07 | 12.43 | 11.14
345 | 467.7 | 560.1 | 751.8 | 1091 | 1633 | 2063 | 1754 | 1308 | 1272 | 1508 | 1886 | 2294 | 2579 | 2885 | 3155 | 3298 | 3457 | 3240 | 2518 | 1530 | 873 | 566.7 | 352 | 166.1 | 107.3 | 90.6 | 139.4 | 1007 | 9999.9 | 9999.9 | 9999.9 | 95.86 | 64.89 | 48.48 | 32.91 | 24.9 | 20.59 | 17.8 | 14.7 | 13.47 | 11.52
350 | 488.5 | 592.1 | 810.7 | 1172 | 1786 | 2030 | 1698 | 1286 | 1218 | 1477 | 1878 | 2275 | 2631 | 2917 | 3202 | 3416 | 3537 | 3348 | 2620 | 1613 | 944.9 | 556.8 | 430.9 | 267.5 | 146.4 | 116.7 | 106.4 | 156.3 | 999.5 | 9999.9 | 9999.9 | 9999.9 | 107.5 | 72.04 | 51 | 34.79 | 25.23 | 21.05 | 17.34 | 15.61 | 14.2
355 | 590.5 | 719 | 834.6 | 1231 | 1765 | 1988 | 1714 | 1224 | 1195 | 1424 | 1782 | 2258 | 2575 | 2913 | 3209 | 3393 | 3557 | 3330 | 2634 | 1655 | 997.6 | 610.9 | 411.5 | 370.3 | 240.1 | 156.8 | 134.4 | 125.6 | 168.8 | 1107 | 9999.9 | 9999.9 | 9999.9 | 117.6 | 74.14 | 53.09 | 34.55 | 25.23 | 20.94 | 18.34 | 14.84
360 | 607.2 | 689.2 | 796.1 | 1224 | 1657 | 1946 | 1617 | 1188 | 1141 | 1339 | 1695 | 2104 | 2504 | 2835 | 3127 | 3320 | 3466 | 3272 | 2598 | 1664 | 1045 | 670.9 | 455 | 370.8 | 376.3 | 246 | 188.7 | 158 | 138.3 | 187.1 | 1066 | 9999.9 | 9999.9 | 9999.9 | 119.1 | 77.64 | 53.58 | 34.01 | 24.75 | 20.26 | 17.51
365 | 634.1 | 611.1 | 798 | 1167 | 1747 | 1939 | 1528 | 1129 | 1072 | 1285 | 1598 | 1995 | 2373 | 2696 | 3027 | 3197 | 3313 | 3144 | 2531 | 1633 | 1078 | 727.2 | 522.7 | 410 | 401.3 | 388.4 | 265.6 | 213.5 | 173.2 | 150.3 | 189.6 | 1175 | 9999.9 | 9999.9 | 9999.9 | 124.2 | 76.17 | 52.81 | 33.68 | 25.05 | 20.52
370 | 677.3 | 705.2 | 762.8 | 1152 | 1500 | 1816 | 1501 | 1073 | 986.1 | 1176 | 1470 | 1816 | 2198 | 2527 | 2806 | 2973 | 3081 | 2940 | 2406 | 1599 | 1085 | 768.9 | 584.3 | 484.5 | 430.5 | 450.8 | 404.2 | 283.3 | 230.3 | 181.6 | 152.5 | 197.5 | 1255 | 9999.9 | 9999.9 | 9999.9 | 124.9 | 74.38 | 51.57 | 33.61 | 24.61
375 | 666.2 | 615.8 | 800.4 | 1126 | 1548 | 1716 | 1385 | 996.3 | 942.2 | 1091 | 1344 | 1678 | 2021 | 2351 | 2624 | 2774 | 2914 | 2787 | 2303 | 1563 | 1108 | 834 | 664.8 | 575.5 | 525.7 | 490.1 | 517.7 | 426.6 | 311.1 | 244.9 | 200.1 | 159.6 | 214.9 | 1329 | 9999.9 | 9999.9 | 9999.9 | 123.2 | 72.62 | 50.58 | 32.35
380 | 726.9 | 718.6 | 841.1 | 1099 | 1456 | 1629 | 1307 | 955.4 | 894.9 | 1009 | 1246 | 1535 | 1863 | 2142 | 2393 | 2543 | 2657 | 2588 | 2166 | 1525 | 1135 | 895.8 | 756 | 690 | 638.4 | 590.7 | 568.1 | 571.2 | 440.1 | 330.3 | 268.3 | 211 | 179.6 | 233.2 | 1405 | 9999.9 | 9999.9 | 9999.9 | 118.3 | 72.75 | 49.11
385 | 676.8 | 644.5 | 766.1 | 985.6 | 1301 | 1525 | 1166 | 892.2 | 835.6 | 945.2 | 1159 | 1403 | 1679 | 1932 | 2175 | 2312 | 2420 | 2353 | 2000 | 1475 | 1158 | 961.6 | 850.7 | 798.5 | 747.7 | 716.9 | 673.8 | 643.2 | 610 | 461.2 | 359.7 | 284 | 228 | 186.2 | 233.5 | 1467 | 9999.9 | 9999.9 | 9999.9 | 112.3 | 69.09
390 | 793.2 | 637.5 | 756.9 | 948.6 | 1200 | 1325 | 1124 | 860.7 | 806.4 | 906 | 1059 | 1270 | 1503 | 1754 | 1963 | 2106 | 2241 | 2200 | 1898 | 1447 | 1206 | 1055 | 964.4 | 931.4 | 893.5 | 858.7 | 818.4 | 755.8 | 720 | 646.5 | 488.7 | 387.4 | 306.8 | 234.9 | 179.5 | 231.3 | 1327 | 9999.9 | 9999.9 | 9999.9 | 110.5
395 | 1262 | 613.5 | 735.5 | 929.4 | 1165 | 1274 | 1037 | 841.9 | 802.8 | 895.4 | 1027 | 1171 | 1369 | 1591 | 1779 | 1925 | 2080 | 2069 | 1838 | 1455 | 1270 | 1156 | 1092 | 1076 | 1045 | 1025 | 982.7 | 910.8 | 825.6 | 782.7 | 676 | 505.8 | 401.1 | 302.8 | 215.6 | 166.1 | 209.6 | 1500 | 9999.9 | 9999.9 | 9999.9
400 | 1532 | 846.3 | 684.3 | 880.6 | 1071 | 1131 | 986.2 | 831.5 | 815.5 | 886.8 | 974.1 | 1123 | 1269 | 1450 | 1637 | 1804 | 1954 | 1983 | 1773 | 1478 | 1340 | 1262 | 1218 | 1226 | 1214 | 1203 | 1150 | 1081 | 978.1 | 882.8 | 833.2 | 672.6 | 512 | 385 | 274 | 194.4 | 151.4 | 213.1 | 1343 | 9999.9 | 9999.9
405 | 1218 | 1240 | 616.4 | 825.1 | 1005 | 1068 | 925 | 818.4 | 815.9 | 867.7 | 954.2 | 1058 | 1181 | 1340 | 1532 | 1696 | 1850 | 1891 | 1727 | 1489 | 1420 | 1372 | 1357 | 1379 | 1369 | 1365 | 1324 | 1244 | 1138 | 1016 | 925.4 | 844.3 | 652.3 | 481.5 | 342 | 242 | 171.7 | 133.3 | 193.6 | 1233 | 9999.9
410 | 713.5 | 1674 | 827.4 | 847.4 | 878.2 | 1035 | 909.7 | 828.7 | 826.2 | 867.2 | 949.8 | 1008 | 1125 | 1277 | 1469 | 1630 | 1763 | 1813 | 1685 | 1516 | 1472 | 1447 | 1469 | 1489 | 1508 | 1515 | 1455 | 1387 | 1272 | 1149 | 1030 | 920.5 | 805.8 | 591.7 | 412.5 | 299 | 207.4 | 149.7 | 118.9 | 177.5 | 1241
415 | 563 | 1218 | 1483 | 771.4 | 839.5 | 933.1 | 851.3 | 812.5 | 856.5 | 913.8 | 937.4 | 991.2 | 1081 | 1213 | 1415 | 1568 | 1721 | 1775 | 1659 | 1511 | 1507 | 1518 | 1548 | 1583 | 1604 | 1626 | 1577 | 1516 | 1395 | 1266 | 1137 | 992.3 | 886.3 | 725.7 | 502.8 | 353.2 | 249.1 | 174 | 127.6 | 105.3 | 167.5
420 | 599.9 | 656.5 | 2090 | 931 | 788.4 | 860.9 | 826.8 | 876.9 | 894.6 | 904.4 | 949.5 | 992.5 | 1039 | 1162 | 1349 | 1512 | 1661 | 1710 | 1606 | 1515 | 1525 | 1571 | 1613 | 1661 | 1691 | 1700 | 1664 | 1613 | 1492 | 1364 | 1234 | 1073 | 929 | 805.6 | 602.2 | 413 | 287.2 | 200.8 | 142.6 | 106.6 | 90.75
425 | 606.5 | 557.6 | 1613 | 1736 | 756.7 | 831.8 | 832.2 | 823.3 | 900.5 | 954.2 | 959.1 | 971.9 | 1025 | 1129 | 1305 | 1479 | 1608 | 1670 | 1563 | 1503 | 1547 | 1596 | 1638 | 1697 | 1736 | 1759 | 1724 | 1674 | 1559 | 1435 | 1301 | 1143 | 979.1 | 815.9 | 682.1 | 485.8 | 326.3 | 227.1 | 159.2 | 116.8 | 90.27
430 | 608.3 | 548.1 | 785 | 2580 | 984.2 | 749.6 | 804.1 | 840.3 | 895.3 | 968.6 | 962.4 | 967 | 1013 | 1096 | 1268 | 1437 | 1572 | 1610 | 1519 | 1465 | 1545 | 1610 | 1663 | 1711 | 1762 | 1798 | 1765 | 1709 | 1610 | 1480 | 1356 | 1194 | 1029 | 844.1 | 688.6 | 561.2 | 376.7 | 255.6 | 180.9 | 128.7 | 99.81
435 | 489.1 | 473.5 | 550.4 | 1888 | 1906 | 683.2 | 763.1 | 822.6 | 913.6 | 972.3 | 994.7 | 955.6 | 961.4 | 1051 | 1217 | 1383 | 1518 | 1558 | 1463 | 1435 | 1528 | 1598 | 1650 | 1714 | 1765 | 1794 | 1784 | 1722 | 1628 | 1509 | 1379 | 1222 | 1056 | 879.4 | 697.1 | 571.8 | 435 | 281 | 197 | 143.2 | 109.9
440 | 464.7 | 491.7 | 505.6 | 891.8 | 3023 | 977.9 | 770.2 | 823.6 | 881.7 | 964.9 | 967.1 | 940.9 | 938.9 | 1022 | 1187 | 1320 | 1466 | 1496 | 1400 | 1394 | 1483 | 1557 | 1609 | 1688 | 1745 | 1784 | 1754 | 1717 | 1623 | 1498 | 1387 | 1223 | 1071 | 899.7 | 708.4 | 564 | 455.2 | 328 | 218.3 | 156.5 | 120
445 | 504.5 | 420.7 | 481.5 | 535.8 | 2592 | 2202 | 709.6 | 752.3 | 862.8 | 946.2 | 951.6 | 924.9 | 895.5 | 979.2 | 1114 | 1267 | 1374 | 1410 | 1335 | 1333 | 1421 | 1506 | 1568 | 1637 | 1689 | 1723 | 1702 | 1666 | 1570 | 1464 | 1354 | 1199 | 1059 | 883.6 | 712.3 | 557.3 | 432.8 | 355 | 250.9 | 169.6 | 130.9
450 | 487.7 | 449.8 | 530 | 486.6 | 1128 | 3927 | 1087 | 735.6 | 849.2 | 916.5 | 913.1 | 876.8 | 865.6 | 924.9 | 1045 | 1176 | 1283 | 1305 | 1240 | 1236 | 1342 | 1422 | 1484 | 1551 | 1601 | 1633 | 1620 | 1596 | 1506 | 1408 | 1294 | 1160 | 1012 | 862.8 | 697.4 | 550.3 | 420.6 | 332.5 | 278.6 | 189.8 | 142.3
455 | 566.3 | 471.3 | 470.8 | 472.3 | 542.4 | 3571 | 2790 | 719.1 | 822.9 | 862.5 | 881.2 | 835.9 | 790.5 | 837.5 | 955 | 1095 | 1182 | 1212 | 1141 | 1157 | 1259 | 1326 | 1387 | 1448 | 1489 | 1540 | 1525 | 1488 | 1410 | 1331 | 1220 | 1101 | 966.5 | 825.7 | 672 | 533.7 | 410.7 | 316.7 | 267.9 | 220.1 | 151.9
460 | 502.2 | 488.4 | 399.8 | 449.1 | 452.6 | 1392 | 5360 | 1192 | 732.8 | 810.6 | 830.2 | 790.5 | 750.7 | 773.9 | 862.3 | 983 | 1060 | 1096 | 1027 | 1060 | 1155 | 1227 | 1275 | 1336 | 1377 | 1415 | 1408 | 1377 | 1322 | 1234 | 1140 | 1020 | 900.9 | 773.7 | 637.6 | 509 | 397.4 | 303.9 | 246.1 | 223.8 | 181.1
465 | 491.4 | 424.8 | 457.1 | 460.4 | 398 | 521 | 4894 | 3385 | 692.1 | 765.4 | 760.3 | 728.7 | 689.1 | 707.6 | 778.8 | 881.1 | 963 | 988.5 | 947.7 | 969 | 1050 | 1122 | 1172 | 1212 | 1265 | 1295 | 1296 | 1273 | 1215 | 1125 | 1049 | 938.4 | 834 | 719.9 | 596.9 | 481.9 | 377.8 | 294.6 | 237.9 | 204.7 | 194.5
470 | 495 | 461.8 | 433.9 | 408 | 440.4 | 450.4 | 1652 | 6765 | 1331 | 703.1 | 705.7 | 667 | 620.3 | 658.2 | 704.5 | 799.5 | 860.5 | 887.5 | 841 | 867.5 | 948.1 | 1007 | 1058 | 1104 | 1144 | 1163 | 1165 | 1147 | 1096 | 1024 | 954 | 864.3 | 767.7 | 662 | 555.6 | 452.6 | 365.8 | 283.2 | 232.3 | 190.7 | 177.4
475 | 424.9 | 339.5 | 350.1 | 341.6 | 394.8 | 381.9 | 493.9 | 6264 | 4085 | 662.7 | 633.9 | 602.5 | 552 | 575.8 | 624.6 | 699.6 | 758.4 | 792.6 | 745.5 | 767.8 | 834.2 | 904.5 | 946.2 | 989.4 | 1018 | 1049 | 1046 | 1032 | 990.1 | 926.4 | 860.3 | 773.1 | 695.8 | 605.6 | 510.9 | 426.1 | 339.5 | 271.9 | 222.2 | 189.6 | 162.1
480 | 349.8 | 332.7 | 307 | 315.2 | 324.4 | 367.3 | 394.4 | 2053 | 8063 | 1365 | 592.3 | 545.3 | 522.1 | 526.8 | 567.5 | 624.4 | 684.2 | 700.1 | 673.3 | 685.3 | 754.1 | 809 | 838 | 887.5 | 910.8 | 943.2 | 938.2 | 936 | 885.2 | 832.9 | 774.9 | 703.8 | 635.2 | 551.2 | 471.7 | 394 | 319.2 | 262.6 | 218.2 | 184 | 159.9
485 | 347.5 | 304.4 | 274.4 | 299.1 | 295 | 328.6 | 343.5 | 546.8 | 7579 | 4644 | 558.2 | 524.8 | 481.3 | 478.4 | 520.5 | 577.9 | 615.1 | 633.7 | 607.4 | 621.2 | 681.7 | 733.9 | 766.7 | 795.3 | 827.9 | 855.4 | 849.9 | 838.7 | 808.7 | 760.2 | 713.4 | 646.9 | 582.5 | 518.5 | 447.1 | 378.4 | 310 | 255.6 | 214 | 184.5 | 162.5
490 | 321.6 | 266 | 253.5 | 305.1 | 310.2 | 310.6 | 324.5 | 392.2 | 2462 | 9203 | 1305 | 480.2 | 462.6 | 448.8 | 475.6 | 521.9 | 571.6 | 573.7 | 544.1 | 565.1 | 612.1 | 660.3 | 693.9 | 726.9 | 748.9 | 772.1 | 771.1 | 761.5 | 733.1 | 697.7 | 652.5 | 593.8 | 543.1 | 484.3 | 418.5 | 359.6 | 301.5 | 249.9 | 214.8 | 184.8 | 164.9
495 | 290.6 | 253.2 | 310.9 | 324.1 | 289 | 267.6 | 304.2 | 334.8 | 551.2 | 8556 | 4666 | 476 | 434.4 | 428.8 | 459.6 | 493.9 | 516.6 | 517.1 | 484.3 | 504.2 | 551.2 | 592 | 613.8 | 652.8 | 670.9 | 689.5 | 693.5 | 694.8 | 665.3 | 630 | 593.9 | 546.9 | 504.6 | 454.4 | 397.2 | 344.6 | 295.2 | 247.3 | 213.5 | 188.6 | 165.7
500 | 255.6 | 240.5 | 250.5 | 238.6 | 242.8 | 243.7 | 286.3 | 309.7 | 366.9 | 2911 | 9747 | 1216 | 394.6 | 415.1 | 432.4 | 453.3 | 470.1 | 475.1 | 435.6 | 453 | 490.2 | 525.8 | 548.1 | 573.1 | 597.8 | 611.6 | 623.3 | 622 | 597.1 | 569.3 | 541 | 500.7 | 467.2 | 426.7 | 375.5 | 333 | 288.2 | 244.9 | 215.3 | 187 | 169.1