## Sheet1
Report date: | 14:36:49, 09/19/2024
Sample: | 1
File name:
Run date: | 14:31:16, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/470.0 | 380.4
2 | 205.0/495.0 | 256.4
3 | 215.0/470.0 | 388.4
4 | 215.0/485.0 | 305.6
5 | 225.0/345.0 | 1878
6 | 280.0/350.0 | 3613
7 | 325.0/435.0 | 1746
8 | 390.0/275.0 | 18.36
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 77.26 | 60.89 | 89.87 | 77.47 | 57.41 | 40.07 | 30.41 | 26.36 | 34.1 | 117.5 | 85.51 | 47.15 | 179.6 | 9999.9 | 9999.9 | 7338 | 48.59 | 24.29 | 17.07 | 14.62 | 11.9 | 10.47 | 9.058 | 8.575 | 7.773 | 7.362 | 7.109 | 7.104 | 7.127 | 7.731 | 7.792 | 8.085 | 8.45 | 8.539 | 8.887 | 11.07 | 14.76 | 18.72 | 16.86 | 12.59 | 10.32
275 | 95.75 | 94.84 | 141.8 | 150.5 | 135.6 | 99.31 | 48.05 | 28.6 | 28.4 | 60.62 | 159.9 | 112.2 | 103.7 | 837.9 | 9999.9 | 9999.9 | 7111 | 50.89 | 23.12 | 18.21 | 14.76 | 12.81 | 10.3 | 9.036 | 8.976 | 7.901 | 7.728 | 7.071 | 6.965 | 7.333 | 7.406 | 8.142 | 8.214 | 8.717 | 9.116 | 8.848 | 11.05 | 14.55 | 18.36 | 15.19 | 11.06
280 | 114.8 | 120 | 175.6 | 220.4 | 273.7 | 216 | 84.01 | 34 | 36.31 | 52.48 | 120.6 | 229.8 | 186.2 | 229.7 | 899.2 | 9999.9 | 9999.9 | 7496 | 53.14 | 27.21 | 18.3 | 14.86 | 12.95 | 11.85 | 10.23 | 9.783 | 8.656 | 7.885 | 8.109 | 7.733 | 8.031 | 8.348 | 8.67 | 8.431 | 8.976 | 8.839 | 8.845 | 10.15 | 14.37 | 17.4 | 15.46
285 | 198.9 | 207.5 | 252.3 | 312 | 386.1 | 393.6 | 233.1 | 99.25 | 69.85 | 82.74 | 129.7 | 257.1 | 388.3 | 363.7 | 421.5 | 1064 | 9999.9 | 9999.9 | 7642 | 60.29 | 28.25 | 20.78 | 15.18 | 13.23 | 12.24 | 10.21 | 9.479 | 9.413 | 9.278 | 8.699 | 8.866 | 8.889 | 9.347 | 9.835 | 9.502 | 9.132 | 8.928 | 8.493 | 9.525 | 12.96 | 17.07
290 | 212.1 | 262 | 299.3 | 453.3 | 645.8 | 703.3 | 491.9 | 282.1 | 134.8 | 128.8 | 184.6 | 282 | 528.6 | 692.4 | 721.7 | 757.9 | 1329 | 9999.9 | 9999.9 | 7386 | 54.57 | 30.74 | 21.89 | 16.63 | 14.26 | 12.29 | 11.06 | 10.88 | 9.999 | 9.114 | 9.37 | 8.622 | 9.645 | 10.14 | 9.63 | 9.224 | 9.08 | 8.371 | 8.411 | 9.637 | 13.28
295 | 257 | 296.9 | 430.7 | 589 | 848.3 | 995 | 843.3 | 455.7 | 250.3 | 216.5 | 275 | 431.4 | 653.5 | 1000 | 1202 | 1192 | 1064 | 1390 | 9999.9 | 9999.9 | 7663 | 61.26 | 31.23 | 23.06 | 18.63 | 15.54 | 14.06 | 12.25 | 11.11 | 10.13 | 10.61 | 9.959 | 10.57 | 9.983 | 9.682 | 9.946 | 9.717 | 8.651 | 8.234 | 7.945 | 9.493
300 | 322.5 | 398.9 | 529.2 | 706.9 | 1072 | 1380 | 1166 | 682.8 | 410.4 | 378.2 | 460.9 | 629.2 | 898.1 | 1241 | 1694 | 1739 | 1516 | 1049 | 1214 | 9999.9 | 9999.9 | 8226 | 62.07 | 34.3 | 24.78 | 19.9 | 16.92 | 15.26 | 13.11 | 12.33 | 11.64 | 11.53 | 11.25 | 10.44 | 10.94 | 10.01 | 9.85 | 8.784 | 8.18 | 8.006 | 8.07
305 | 402.2 | 421.5 | 547.4 | 776.2 | 1215 | 1572 | 1426 | 929.8 | 610.2 | 584.9 | 701.6 | 894.2 | 1186 | 1505 | 1952 | 2237 | 1980 | 1380 | 750.6 | 1154 | 9999.9 | 9999.9 | 8231 | 63.68 | 36.95 | 27.2 | 20.17 | 17.14 | 15.31 | 14.32 | 12.82 | 12.44 | 12.16 | 12.33 | 11.04 | 10.4 | 9.449 | 8.831 | 7.935 | 8.061 | 7.692
310 | 389 | 448.8 | 569.8 | 879.9 | 1305 | 1641 | 1588 | 1094 | 835.8 | 830.6 | 1005 | 1197 | 1438 | 1746 | 2108 | 2416 | 2416 | 1757 | 995.7 | 546.8 | 1028 | 9999.9 | 9999.9 | 8578 | 65.39 | 38.97 | 28.42 | 22.73 | 19.15 | 15.85 | 14.5 | 14.13 | 13.36 | 12.9 | 12.54 | 11.88 | 9.715 | 9.272 | 8.974 | 8.33 | 7.84
315 | 395.2 | 470.2 | 570.8 | 843.6 | 1269 | 1685 | 1676 | 1228 | 1003 | 1056 | 1276 | 1481 | 1691 | 1942 | 2290 | 2553 | 2616 | 2153 | 1285 | 686.2 | 361.9 | 978.7 | 9999.9 | 9999.9 | 8423 | 66.42 | 40.79 | 30.93 | 22.62 | 18.76 | 17.18 | 16.22 | 14.7 | 14.13 | 13.24 | 12.14 | 11.48 | 9.849 | 9.116 | 8.657 | 8.488
320 | 408.4 | 431.8 | 616.2 | 865 | 1291 | 1704 | 1694 | 1286 | 1140 | 1246 | 1509 | 1737 | 1908 | 2115 | 2422 | 2697 | 2765 | 2448 | 1663 | 875.9 | 404.7 | 246.7 | 922.2 | 9999.9 | 9999.9 | 8831 | 68.9 | 44.4 | 33.62 | 23.24 | 20.18 | 18.58 | 16.45 | 16.16 | 15.13 | 12.72 | 12.02 | 10.3 | 9.302 | 8.698 | 8.239
325 | 430.8 | 485.2 | 655.1 | 922.6 | 1367 | 1719 | 1714 | 1393 | 1230 | 1411 | 1683 | 1937 | 2074 | 2306 | 2594 | 2826 | 2948 | 2589 | 1964 | 1107 | 498.4 | 239.8 | 184.5 | 921.7 | 9999.9 | 9999.9 | 9082 | 73.62 | 47.04 | 35.01 | 26.34 | 21.74 | 19.46 | 17.35 | 15.74 | 14.42 | 12.82 | 11.23 | 9.855 | 9.158 | 9
330 | 424.3 | 540 | 614.1 | 945.4 | 1396 | 1819 | 1713 | 1383 | 1292 | 1481 | 1765 | 2071 | 2253 | 2483 | 2745 | 2994 | 3113 | 2804 | 2103 | 1329 | 635.2 | 285.3 | 159.1 | 153.3 | 926.1 | 9999.9 | 9999.9 | 9738 | 76.83 | 51.19 | 38.24 | 26.48 | 22.8 | 20.8 | 17.3 | 15.76 | 14.54 | 12.35 | 11.44 | 10.42 | 9.189
335 | 492.9 | 522.8 | 733.5 | 935.6 | 1427 | 1811 | 1692 | 1387 | 1288 | 1511 | 1864 | 2158 | 2379 | 2633 | 2921 | 3175 | 3304 | 3039 | 2287 | 1402 | 832.2 | 376 | 183.5 | 112.9 | 138.8 | 940.6 | 9999.9 | 9999.9 | 9999.9 | 80.85 | 53.76 | 41.89 | 30.16 | 24.21 | 21.09 | 18.35 | 15.98 | 13.23 | 11.65 | 10.6 | 9.559
340 | 492.1 | 512.8 | 625.6 | 1040 | 1445 | 1841 | 1724 | 1367 | 1270 | 1507 | 1873 | 2216 | 2500 | 2745 | 3055 | 3313 | 3463 | 3212 | 2468 | 1482 | 867.5 | 529.5 | 234.2 | 132.3 | 95.46 | 137.8 | 979 | 9999.9 | 9999.9 | 9999.9 | 90.48 | 60.86 | 45.77 | 31.78 | 25.08 | 20.61 | 18.93 | 14.79 | 13.36 | 12.31 | 10.63
345 | 448.6 | 553.5 | 662 | 1046 | 1444 | 1878 | 1689 | 1285 | 1223 | 1485 | 1852 | 2213 | 2510 | 2826 | 3150 | 3401 | 3529 | 3328 | 2589 | 1576 | 870.9 | 565.2 | 357.5 | 170.5 | 111 | 96.26 | 143.3 | 1021 | 9999.9 | 9999.9 | 9999.9 | 97.98 | 66.25 | 49.55 | 34.07 | 25.33 | 21.4 | 17.36 | 15.3 | 12.84 | 11.54
350 | 507.7 | 565.5 | 717.6 | 1079 | 1543 | 1863 | 1674 | 1231 | 1199 | 1427 | 1807 | 2163 | 2528 | 2870 | 3221 | 3474 | 3613 | 3390 | 2669 | 1648 | 940.6 | 559.2 | 438.8 | 276.8 | 144.5 | 114.8 | 107.4 | 156.8 | 1018 | 9999.9 | 9999.9 | 9999.9 | 107.9 | 70.77 | 50.54 | 34.88 | 25.81 | 20.9 | 16.57 | 14.89 | 13
355 | 512.1 | 560.8 | 757.5 | 1002 | 1499 | 1846 | 1612 | 1199 | 1173 | 1356 | 1707 | 2113 | 2481 | 2825 | 3177 | 3425 | 3598 | 3358 | 2687 | 1676 | 992.5 | 605.9 | 414 | 380.9 | 238 | 157.3 | 131.9 | 124.4 | 170.9 | 1115 | 9999.9 | 9999.9 | 9999.9 | 116.2 | 74.04 | 53.72 | 34.68 | 24.75 | 19.96 | 16.89 | 15.53
360 | 568.2 | 645.9 | 708.6 | 996.1 | 1498 | 1763 | 1506 | 1126 | 1072 | 1269 | 1607 | 1988 | 2332 | 2742 | 3068 | 3328 | 3453 | 3270 | 2620 | 1684 | 1038 | 661.1 | 446 | 372.4 | 375.1 | 241.2 | 178.3 | 157 | 138.5 | 184.3 | 1069 | 9999.9 | 9999.9 | 9999.9 | 120.7 | 78.62 | 54.3 | 32.93 | 24.29 | 19.46 | 16.22
365 | 574.3 | 671.9 | 704.1 | 1027 | 1410 | 1723 | 1440 | 1056 | 975.9 | 1202 | 1493 | 1887 | 2239 | 2620 | 2931 | 3154 | 3302 | 3130 | 2536 | 1655 | 1060 | 712.1 | 508.5 | 400.8 | 389.3 | 385.6 | 254.7 | 207.4 | 167.8 | 147.2 | 187.2 | 1177 | 9999.9 | 9999.9 | 9999.9 | 123.1 | 76.23 | 49.52 | 31.63 | 23.72 | 19.83
370 | 561.2 | 606.5 | 720.1 | 889.2 | 1368 | 1594 | 1316 | 982.4 | 923 | 1083 | 1381 | 1689 | 2054 | 2420 | 2710 | 2938 | 3048 | 2917 | 2376 | 1593 | 1069 | 758.6 | 570.9 | 461.1 | 414.9 | 438.1 | 389.5 | 275.6 | 219.9 | 177.4 | 152.3 | 197 | 1246 | 9999.9 | 9999.9 | 9999.9 | 122 | 73.11 | 47.59 | 31.5 | 22.9
375 | 638.3 | 637.9 | 721.1 | 924.6 | 1280 | 1494 | 1246 | 919.7 | 871 | 1023 | 1266 | 1573 | 1883 | 2216 | 2517 | 2711 | 2841 | 2745 | 2251 | 1545 | 1086 | 817.6 | 650.9 | 560.7 | 497.6 | 465.6 | 502.8 | 411.3 | 298.4 | 239.2 | 194.4 | 162.9 | 214.7 | 1316 | 9999.9 | 9999.9 | 9999.9 | 115.6 | 68.82 | 47.33 | 29.99
380 | 613.6 | 604.2 | 649.1 | 911.6 | 1203 | 1417 | 1154 | 877.4 | 835.2 | 953.9 | 1170 | 1429 | 1710 | 2031 | 2298 | 2478 | 2590 | 2524 | 2126 | 1504 | 1103 | 880.1 | 734.5 | 659.6 | 604.8 | 559.7 | 544.2 | 562.9 | 431.3 | 328.3 | 268.1 | 210.9 | 178.7 | 228.9 | 1385 | 9999.9 | 9999.9 | 9999.9 | 113.4 | 68.46 | 46.74
385 | 586.9 | 591.4 | 745.6 | 833.5 | 1072 | 1268 | 1046 | 817 | 781.8 | 883.3 | 1044 | 1290 | 1540 | 1803 | 2069 | 2236 | 2372 | 2293 | 1985 | 1453 | 1123 | 928.3 | 820.1 | 764.2 | 720.7 | 686.9 | 638.9 | 629.2 | 603 | 456 | 361.2 | 288.2 | 233.1 | 189 | 233.4 | 1440 | 9999.9 | 9999.9 | 9999.9 | 105.8 | 64.43
390 | 699.6 | 601.3 | 645.8 | 782.7 | 1056 | 1153 | 957.4 | 789.7 | 743.6 | 809.1 | 975.1 | 1158 | 1384 | 1631 | 1846 | 2039 | 2156 | 2137 | 1865 | 1447 | 1163 | 1013 | 934.5 | 887.1 | 856.9 | 826.3 | 787 | 738.3 | 711.5 | 640.9 | 488.6 | 389.4 | 311.5 | 236.5 | 178.7 | 224.8 | 1309 | 9999.9 | 9999.9 | 9999.9 | 104.7
395 | 979.5 | 668.7 | 694.8 | 769.9 | 1011 | 1068 | 962.9 | 763 | 727.2 | 799.5 | 921.6 | 1088 | 1244 | 1483 | 1681 | 1853 | 1999 | 1990 | 1781 | 1434 | 1222 | 1110 | 1051 | 1020 | 1010 | 994.6 | 948.3 | 892.1 | 809.8 | 779.9 | 677 | 510.2 | 409 | 302.2 | 217.2 | 167.8 | 209 | 1457 | 9999.9 | 9999.9 | 9999.9
400 | 1534 | 734.4 | 627.3 | 710.6 | 903.9 | 1021 | 851.2 | 716.9 | 725.4 | 776 | 851.3 | 995.7 | 1153 | 1353 | 1532 | 1727 | 1864 | 1892 | 1724 | 1446 | 1284 | 1214 | 1184 | 1169 | 1166 | 1150 | 1115 | 1056 | 963.2 | 872.6 | 835.7 | 672.5 | 514 | 385.8 | 276.4 | 195.7 | 147.1 | 206.6 | 1315 | 9999.9 | 9999.9
405 | 1199 | 1389 | 644.7 | 663.7 | 803.8 | 920.4 | 810.7 | 733.3 | 706.8 | 755.6 | 819.5 | 935.2 | 1073 | 1243 | 1450 | 1603 | 1748 | 1801 | 1663 | 1448 | 1343 | 1311 | 1294 | 1309 | 1321 | 1326 | 1283 | 1213 | 1114 | 1010 | 917.9 | 844.7 | 655.3 | 480.6 | 342.2 | 243.1 | 169.9 | 131.7 | 189.4 | 1180 | 9999.9
410 | 649.8 | 1746 | 768.3 | 654.7 | 785.5 | 829.1 | 775.1 | 683.7 | 738.4 | 766.3 | 802.5 | 909.8 | 1020 | 1170 | 1366 | 1537 | 1683 | 1739 | 1629 | 1463 | 1409 | 1400 | 1399 | 1442 | 1446 | 1453 | 1418 | 1354 | 1255 | 1142 | 1015 | 909.5 | 803.8 | 589.8 | 419.3 | 295 | 203.7 | 141.9 | 115.3 | 167.7 | 1186
415 | 510.1 | 1291 | 1426 | 603.1 | 753.1 | 792.1 | 760.4 | 709.5 | 730.8 | 758 | 806.1 | 861.6 | 959.1 | 1112 | 1294 | 1473 | 1623 | 1691 | 1597 | 1470 | 1435 | 1455 | 1488 | 1524 | 1555 | 1576 | 1543 | 1477 | 1373 | 1253 | 1124 | 984.4 | 887.7 | 721.3 | 497.8 | 351.4 | 243 | 169.5 | 123.9 | 99.99 | 158.3
420 | 504.8 | 578.5 | 1812 | 834.7 | 655.1 | 758.6 | 724.1 | 692.2 | 708.6 | 783.5 | 809.1 | 855.9 | 927.4 | 1075 | 1254 | 1423 | 1571 | 1623 | 1547 | 1465 | 1460 | 1490 | 1537 | 1592 | 1632 | 1663 | 1623 | 1578 | 1475 | 1348 | 1216 | 1066 | 924.9 | 801.2 | 604.3 | 411.6 | 285.6 | 198.1 | 136.3 | 103.9 | 87.16
425 | 458.8 | 506.4 | 1506 | 1579 | 675.6 | 669.3 | 708.2 | 698.3 | 717.2 | 789.5 | 813.3 | 836.9 | 904.2 | 1050 | 1216 | 1385 | 1532 | 1586 | 1502 | 1438 | 1468 | 1511 | 1572 | 1618 | 1683 | 1711 | 1681 | 1638 | 1536 | 1407 | 1284 | 1130 | 969.9 | 816 | 682.1 | 479.9 | 320.7 | 223 | 160.7 | 113.1 | 88.09
430 | 418.7 | 485.3 | 664.7 | 2285 | 830.7 | 665.6 | 660.5 | 698.5 | 728 | 799.9 | 808.7 | 828.9 | 869.3 | 1007 | 1157 | 1360 | 1486 | 1503 | 1459 | 1405 | 1462 | 1528 | 1582 | 1643 | 1708 | 1736 | 1721 | 1675 | 1580 | 1457 | 1334 | 1177 | 1014 | 844 | 691.3 | 555.8 | 372.4 | 249.5 | 175.7 | 128.7 | 97.6
435 | 378.8 | 426.4 | 485.5 | 1821 | 1843 | 615.6 | 648.1 | 684.2 | 742.8 | 810.7 | 827.6 | 828.6 | 870.1 | 985.2 | 1139 | 1310 | 1437 | 1465 | 1406 | 1376 | 1441 | 1513 | 1576 | 1652 | 1712 | 1746 | 1737 | 1683 | 1608 | 1478 | 1350 | 1200 | 1045 | 869.3 | 691.6 | 568.6 | 433.2 | 279.6 | 194.1 | 143.3 | 108.7
440 | 437.5 | 463.5 | 466.1 | 742.9 | 2969 | 890.2 | 606.5 | 676.1 | 745.8 | 801.7 | 801.3 | 795.5 | 827.4 | 942.1 | 1096 | 1262 | 1378 | 1400 | 1338 | 1336 | 1398 | 1479 | 1538 | 1610 | 1675 | 1720 | 1718 | 1686 | 1600 | 1482 | 1354 | 1208 | 1058 | 881.8 | 703.2 | 552 | 449.8 | 326.5 | 215.5 | 158.1 | 118.9
445 | 442.9 | 382.6 | 396.4 | 488 | 2411 | 2047 | 581.4 | 625.4 | 706.2 | 770.3 | 777.1 | 773.5 | 804.7 | 886.2 | 1028 | 1188 | 1302 | 1320 | 1261 | 1272 | 1343 | 1423 | 1492 | 1578 | 1622 | 1673 | 1658 | 1630 | 1554 | 1449 | 1332 | 1192 | 1044 | 875.1 | 700.8 | 546 | 427.4 | 348.4 | 248 | 168.1 | 127.3
450 | 473.6 | 390.4 | 413.9 | 407.2 | 991.6 | 3840 | 958.1 | 622.2 | 706.9 | 749.4 | 744.1 | 742.2 | 754.6 | 833 | 952.7 | 1115 | 1210 | 1233 | 1181 | 1189 | 1260 | 1339 | 1403 | 1477 | 1537 | 1584 | 1594 | 1557 | 1478 | 1390 | 1278 | 1139 | 1001 | 852.4 | 690.9 | 542.6 | 412.8 | 328.6 | 273.1 | 190 | 139.2
455 | 434 | 363.8 | 369.7 | 414.4 | 496.2 | 3482 | 2583 | 592.8 | 669.8 | 724.2 | 723.9 | 697.1 | 706.2 | 772.1 | 890.3 | 1015 | 1117 | 1142 | 1086 | 1094 | 1181 | 1248 | 1308 | 1385 | 1446 | 1479 | 1486 | 1460 | 1395 | 1313 | 1204 | 1074 | 949.9 | 813.2 | 664.4 | 521.2 | 402.7 | 308.9 | 265.1 | 219.1 | 152.4
460 | 407.3 | 373.2 | 339.5 | 378.8 | 417.7 | 1227 | 5154 | 1027 | 614.7 | 696.1 | 677.2 | 655.8 | 661.2 | 718.7 | 822.2 | 924.6 | 1022 | 1045 | 986.5 | 1012 | 1084 | 1161 | 1209 | 1278 | 1330 | 1379 | 1374 | 1356 | 1295 | 1219 | 1122 | 1017 | 889.4 | 767.3 | 633.2 | 505.7 | 396.1 | 301.4 | 244.2 | 220.4 | 175.8
465 | 408 | 352.1 | 391.9 | 352.6 | 390.6 | 460.1 | 4832 | 3268 | 572.4 | 621.5 | 630.6 | 616 | 616.9 | 648.3 | 746.5 | 840 | 913.6 | 930.4 | 892.9 | 913.7 | 993 | 1059 | 1104 | 1170 | 1208 | 1260 | 1263 | 1242 | 1194 | 1116 | 1037 | 933.6 | 827.4 | 710.1 | 599.2 | 476.4 | 377.1 | 294.2 | 232.7 | 200.6 | 190.3
470 | 377.3 | 380.4 | 361.8 | 388.4 | 363.2 | 368.6 | 1580 | 6627 | 1207 | 572.9 | 587.7 | 568.9 | 559.4 | 586.8 | 666.1 | 753.2 | 824.2 | 843 | 808 | 825.5 | 890.1 | 953.6 | 1000 | 1055 | 1107 | 1137 | 1146 | 1126 | 1082 | 1014 | 940.7 | 852.6 | 754.8 | 654.9 | 549.6 | 447.4 | 358.7 | 281.4 | 229 | 188.7 | 172.4
475 | 347.9 | 327.3 | 326 | 299.1 | 316.3 | 335.5 | 455.1 | 6091 | 3951 | 546 | 534.3 | 512.9 | 509.6 | 535.5 | 585.7 | 675.3 | 727.5 | 741.2 | 708.4 | 730.6 | 790.1 | 846.4 | 890.6 | 940.4 | 982.4 | 1016 | 1027 | 1014 | 967.6 | 908.7 | 852.5 | 766.8 | 688.5 | 603.1 | 509.2 | 415.5 | 334.9 | 270.3 | 221.2 | 182.9 | 159.2
480 | 286.8 | 251.2 | 250 | 300.5 | 294.4 | 295.4 | 340.3 | 1987 | 7893 | 1245 | 484.2 | 475.9 | 474.5 | 483.7 | 535.7 | 603.4 | 645.8 | 660.1 | 637.2 | 652.7 | 708.7 | 755.7 | 802 | 847.1 | 885.5 | 913.2 | 929.1 | 917.6 | 873.7 | 822.1 | 771 | 696.4 | 622.7 | 554.7 | 469.3 | 387.8 | 318.7 | 260.5 | 215.6 | 180.8 | 155
485 | 254.9 | 263.2 | 274.4 | 305.6 | 278.1 | 286.9 | 312 | 469.1 | 7365 | 4412 | 466.5 | 450.3 | 444.3 | 452.9 | 497.9 | 552.6 | 593.4 | 595.3 | 573.7 | 587 | 643.1 | 689.9 | 726.5 | 767.9 | 802 | 831.9 | 844 | 829.5 | 800.8 | 754.5 | 702.6 | 642.6 | 581.4 | 509.1 | 436.2 | 374.1 | 302.5 | 253.2 | 212.2 | 178.8 | 157
490 | 250.1 | 241.4 | 231.6 | 260.9 | 255.7 | 254.8 | 271.2 | 340.2 | 2297 | 8955 | 1185 | 427.2 | 424.5 | 438.1 | 463.6 | 518.2 | 540 | 549.8 | 524.9 | 527.6 | 588.1 | 623.5 | 662.2 | 692.4 | 730 | 750.1 | 761.5 | 755.6 | 731.2 | 691.6 | 644.2 | 588 | 533.7 | 477.9 | 418.1 | 356.2 | 295.7 | 246 | 208.7 | 182.5 | 158.7
495 | 238 | 256.4 | 228.4 | 239.7 | 244.4 | 247.3 | 266.3 | 294.3 | 486.5 | 8349 | 4501 | 425.7 | 404.3 | 412.7 | 448 | 476.4 | 500.2 | 493.9 | 477.2 | 477.9 | 520.8 | 566.1 | 589.1 | 624.6 | 652.2 | 674.6 | 683.2 | 678.1 | 661.5 | 624.9 | 585.9 | 539.3 | 498.6 | 449.1 | 393.3 | 339.8 | 285.2 | 246 | 207.9 | 182.7 | 160.9
500 | 231.8 | 205.9 | 200.4 | 224.2 | 222.5 | 224 | 273.5 | 260.1 | 322 | 2797 | 9555 | 1155 | 379.9 | 393.2 | 417.6 | 440.2 | 460.5 | 447.9 | 423 | 428.9 | 461.2 | 499.2 | 528.6 | 552.8 | 579.6 | 603.1 | 607.5 | 608.9 | 593.4 | 563.1 | 534.8 | 497.4 | 460.3 | 420.4 | 378.5 | 331.1 | 282.4 | 243.1 | 210.4 | 184.9 | 165.2