## Sheet1
Report date: | 14:42:17, 09/19/2024
Sample: | 1
File name:
Run date: | 14:36:45, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/495.0 | 267.2
2 | 210.0/470.0 | 388.8
3 | 225.0/315.0 | 1772
4 | 225.0/350.0 | 1877
5 | 230.0/420.0 | 734.7
6 | 280.0/350.0 | 3480
7 | 325.0/430.0 | 1704
8 | 330.0/435.0 | 1710
9 | 390.0/275.0 | 17.48
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 83.23 | 47.71 | 75.72 | 69.84 | 47.99 | 40.52 | 26.48 | 21.01 | 32.77 | 116.3 | 87.13 | 49.55 | 177.8 | 9999.9 | 9999.9 | 7462 | 52.89 | 24.38 | 17.98 | 12.64 | 10.92 | 9.859 | 9.228 | 8.115 | 8.465 | 7.145 | 7.575 | 7.527 | 6.443 | 7.551 | 6.893 | 7.942 | 8.289 | 8.395 | 8.444 | 10.45 | 14 | 17.45 | 15.64 | 11.14 | 9.91
275 | 101.5 | 91.32 | 109.6 | 162.2 | 138.1 | 111.3 | 45.75 | 33.13 | 30.08 | 58.5 | 151.5 | 110 | 108.4 | 832 | 9999.9 | 9999.9 | 7211 | 51.13 | 22.54 | 16.92 | 14.21 | 12.03 | 10.33 | 9.311 | 9.278 | 7.565 | 7.83 | 7.542 | 7.318 | 8.048 | 7.697 | 7.953 | 8.737 | 8.808 | 8.708 | 9.192 | 10.55 | 14.31 | 17.48 | 15.44 | 11.09
280 | 107.1 | 119.3 | 173.1 | 230.6 | 256.5 | 208.6 | 109.9 | 41.24 | 39.03 | 54.36 | 113.7 | 231.8 | 185.2 | 229.4 | 897.5 | 9999.9 | 9999.9 | 7590 | 52.33 | 24.98 | 19.72 | 13.52 | 12.2 | 10.49 | 9.921 | 8.944 | 8.433 | 7.923 | 7.953 | 7.768 | 7.808 | 8.408 | 8.357 | 8.988 | 8.933 | 8.821 | 8.527 | 10.53 | 13.29 | 17.26 | 14.79
285 | 180.6 | 212.8 | 235 | 374 | 443.4 | 406.6 | 240.2 | 125 | 74.38 | 82.34 | 122.1 | 263.7 | 395.2 | 363.6 | 428.6 | 1083 | 9999.9 | 9999.9 | 7697 | 53.37 | 27.81 | 19.98 | 15.68 | 13.33 | 10.47 | 10.38 | 9.373 | 9.473 | 8.803 | 8.39 | 7.945 | 8.008 | 8.639 | 9.021 | 8.612 | 9.114 | 8.533 | 8.638 | 9.686 | 13.47 | 16.1
290 | 254.6 | 258 | 344.7 | 504.9 | 631.7 | 722.2 | 529.7 | 263.2 | 149.8 | 132.2 | 185.4 | 296.1 | 534.3 | 704.8 | 745.8 | 787.6 | 1338 | 9999.9 | 9999.9 | 7256 | 52.86 | 27.94 | 20.58 | 16.82 | 13.97 | 10.98 | 11.1 | 9.884 | 9.661 | 9.448 | 8.711 | 9.101 | 9.349 | 9.452 | 8.765 | 9.234 | 8.433 | 8.424 | 7.827 | 9.572 | 12.55
295 | 313.5 | 309.1 | 420.6 | 625.8 | 908.8 | 1061 | 883.6 | 474.6 | 252 | 221.3 | 285 | 439.2 | 665.1 | 1030 | 1235 | 1232 | 1092 | 1400 | 9999.9 | 9999.9 | 7586 | 58.34 | 30.81 | 22.76 | 17.8 | 13.77 | 12.56 | 12.02 | 10.18 | 10.19 | 9.77 | 10.19 | 9.878 | 10.04 | 9.861 | 9.312 | 8.748 | 8.436 | 7.568 | 8.021 | 8.744
300 | 346 | 403.7 | 527.5 | 733 | 1152 | 1356 | 1247 | 718 | 439 | 380.6 | 469.2 | 662.3 | 921.8 | 1265 | 1713 | 1776 | 1530 | 1067 | 1196 | 9999.9 | 9999.9 | 7989 | 60.2 | 33.45 | 25.4 | 18.64 | 15.14 | 14.46 | 12.37 | 11.52 | 11.33 | 10.88 | 10.55 | 10.32 | 10.24 | 9.301 | 9.066 | 8.333 | 7.907 | 8.318 | 7.805
305 | 401.9 | 419.4 | 549.6 | 845.1 | 1243 | 1578 | 1521 | 951.4 | 650 | 578.4 | 726 | 935.6 | 1193 | 1555 | 1961 | 2279 | 2023 | 1389 | 728.8 | 1124 | 9999.9 | 9999.9 | 7935 | 61.73 | 35.58 | 26.56 | 19.17 | 16.48 | 14.18 | 13.77 | 12.58 | 12.69 | 11.84 | 10.85 | 11.29 | 10.31 | 9.452 | 8.652 | 8.46 | 7.978 | 7.807
310 | 392.7 | 496.5 | 574.2 | 870.2 | 1309 | 1717 | 1615 | 1082 | 832.3 | 837 | 1003 | 1209 | 1440 | 1762 | 2149 | 2469 | 2439 | 1761 | 975.6 | 545.4 | 1000 | 9999.9 | 9999.9 | 8300 | 63.06 | 37.59 | 27.37 | 20.59 | 16.98 | 15.71 | 14.05 | 13.89 | 12.71 | 12.98 | 11.91 | 11.54 | 9.925 | 8.887 | 8.149 | 8.778 | 7.879
315 | 351.9 | 472.8 | 663.2 | 929.5 | 1298 | 1772 | 1717 | 1235 | 1004 | 1069 | 1276 | 1482 | 1693 | 1943 | 2290 | 2590 | 2628 | 2152 | 1267 | 661.7 | 344.1 | 952.9 | 9999.9 | 9999.9 | 8004 | 63.43 | 39.49 | 29.42 | 22.19 | 17.86 | 16.94 | 15.12 | 15.11 | 14.06 | 12.3 | 12.68 | 10.66 | 9.76 | 9.061 | 8.531 | 8.317
320 | 370.8 | 480.9 | 613.3 | 926.8 | 1364 | 1763 | 1747 | 1315 | 1144 | 1280 | 1497 | 1746 | 1907 | 2143 | 2446 | 2713 | 2746 | 2418 | 1631 | 847.2 | 388 | 230.3 | 904.2 | 9999.9 | 9999.9 | 8457 | 66.39 | 41.74 | 32.04 | 24.85 | 20.37 | 18.73 | 17.09 | 15.24 | 13.96 | 12.8 | 11.68 | 10.35 | 9.297 | 9.223 | 8.181
325 | 497 | 522.7 | 708.3 | 961.6 | 1385 | 1771 | 1766 | 1365 | 1244 | 1415 | 1661 | 1925 | 2077 | 2310 | 2590 | 2842 | 2901 | 2556 | 1900 | 1072 | 484.5 | 225.9 | 175.1 | 903.6 | 9999.9 | 9999.9 | 8722 | 71.23 | 44.72 | 33.99 | 25.43 | 21.48 | 19.32 | 16.86 | 15.21 | 14.05 | 12.18 | 12.15 | 10.68 | 9.49 | 8.52
330 | 431.2 | 549 | 661.1 | 1018 | 1316 | 1774 | 1772 | 1385 | 1324 | 1479 | 1782 | 2065 | 2247 | 2457 | 2726 | 2977 | 3044 | 2746 | 2034 | 1292 | 612 | 269.7 | 148.5 | 148.2 | 909.6 | 9999.9 | 9999.9 | 9315 | 73.73 | 50.37 | 37.48 | 27.5 | 22.58 | 19.82 | 18.11 | 15.19 | 13.91 | 12.53 | 11.33 | 9.622 | 9.195
335 | 412.7 | 513.2 | 715.8 | 952.9 | 1431 | 1805 | 1775 | 1385 | 1297 | 1519 | 1852 | 2174 | 2396 | 2587 | 2884 | 3137 | 3243 | 2949 | 2211 | 1337 | 798 | 350.3 | 174.1 | 110.1 | 135.7 | 920.2 | 9999.9 | 9999.9 | 9999.9 | 79.82 | 53.26 | 40.69 | 29.07 | 24.56 | 20.4 | 17.89 | 15.64 | 12.86 | 12.19 | 10.29 | 9.92
340 | 475.5 | 572.5 | 687.2 | 1032 | 1458 | 1846 | 1720 | 1333 | 1282 | 1530 | 1867 | 2229 | 2484 | 2730 | 2995 | 3266 | 3382 | 3114 | 2353 | 1403 | 818 | 505.7 | 224.2 | 124.6 | 92.16 | 129.1 | 958.3 | 9999.9 | 9999.9 | 9999.9 | 88.04 | 58.81 | 44.5 | 32.23 | 24.77 | 20.72 | 16.98 | 14.17 | 12.96 | 11.84 | 10.2
345 | 491.3 | 558.8 | 680 | 1052 | 1493 | 1855 | 1686 | 1327 | 1264 | 1471 | 1855 | 2202 | 2485 | 2794 | 3084 | 3313 | 3433 | 3178 | 2460 | 1495 | 832.9 | 550.6 | 349.6 | 160.8 | 106.9 | 93.06 | 139.6 | 995.6 | 9999.9 | 9999.9 | 9999.9 | 95.29 | 63.61 | 48.45 | 32.42 | 25.26 | 20.36 | 16.59 | 15.23 | 12.98 | 11.68
350 | 531.8 | 546.9 | 769.5 | 1057 | 1484 | 1877 | 1594 | 1247 | 1207 | 1431 | 1794 | 2193 | 2508 | 2832 | 3143 | 3377 | 3480 | 3261 | 2519 | 1564 | 895.1 | 530.9 | 423.4 | 270.3 | 144.2 | 113.2 | 102.9 | 154.5 | 991.6 | 9999.9 | 9999.9 | 9999.9 | 101.3 | 69.39 | 50.2 | 33.66 | 24.06 | 19.46 | 17.08 | 14.42 | 12.99
355 | 561.8 | 565.1 | 723.5 | 1048 | 1502 | 1839 | 1605 | 1209 | 1131 | 1360 | 1690 | 2089 | 2420 | 2771 | 3084 | 3310 | 3425 | 3202 | 2526 | 1588 | 945.1 | 574.5 | 404.3 | 374.4 | 230.4 | 153.2 | 130.3 | 119.4 | 165.3 | 1093 | 9999.9 | 9999.9 | 9999.9 | 111.2 | 71.08 | 49.95 | 32.48 | 23.68 | 19.14 | 17.07 | 14.8
360 | 586.1 | 592.3 | 644.7 | 1001 | 1489 | 1779 | 1533 | 1113 | 1064 | 1252 | 1563 | 1958 | 2344 | 2675 | 3007 | 3222 | 3327 | 3116 | 2485 | 1584 | 981.6 | 627.6 | 440.6 | 366.5 | 365.1 | 236.5 | 179.5 | 151.6 | 135.8 | 179.5 | 1055 | 9999.9 | 9999.9 | 9999.9 | 113 | 72.23 | 50.74 | 31.75 | 23.58 | 19.28 | 16.81
365 | 572 | 708.7 | 682.2 | 1017 | 1472 | 1675 | 1415 | 1048 | 1005 | 1179 | 1470 | 1829 | 2203 | 2531 | 2827 | 3083 | 3150 | 2967 | 2395 | 1569 | 1011 | 684.1 | 495.3 | 393.2 | 388.3 | 372.4 | 245.5 | 197.6 | 167.2 | 140.9 | 184.5 | 1156 | 9999.9 | 9999.9 | 9999.9 | 115.9 | 72.62 | 49.04 | 31.9 | 23 | 18.8
370 | 539.2 | 639.2 | 821.5 | 934.5 | 1373 | 1546 | 1302 | 922.2 | 923.6 | 1076 | 1331 | 1692 | 2034 | 2348 | 2642 | 2808 | 2928 | 2767 | 2245 | 1506 | 1014 | 720 | 551.9 | 460.6 | 400.2 | 428.9 | 383.4 | 267.2 | 216.7 | 174.6 | 146.6 | 196.5 | 1228 | 9999.9 | 9999.9 | 9999.9 | 113.5 | 69.35 | 47.67 | 30.08 | 21.94
375 | 600.3 | 575.6 | 717.6 | 929.7 | 1234 | 1467 | 1234 | 897 | 875.5 | 985.5 | 1237 | 1538 | 1851 | 2151 | 2417 | 2611 | 2709 | 2576 | 2135 | 1459 | 1039 | 780.3 | 629.6 | 544.5 | 481.9 | 455.2 | 489.6 | 405.7 | 293 | 235.4 | 191.3 | 160.9 | 212.1 | 1285 | 9999.9 | 9999.9 | 9999.9 | 110.4 | 69.65 | 47.36 | 30.4
380 | 623.2 | 599 | 699.8 | 893.9 | 1229 | 1359 | 1122 | 861.4 | 828.8 | 950 | 1137 | 1403 | 1677 | 1949 | 2196 | 2369 | 2486 | 2388 | 2007 | 1424 | 1064 | 849.8 | 709.8 | 638 | 592.4 | 548.8 | 526.1 | 555.4 | 421.7 | 322 | 265 | 211 | 177.7 | 226.6 | 1350 | 9999.9 | 9999.9 | 9999.9 | 110.3 | 66.32 | 44.07
385 | 549.1 | 635.7 | 629.5 | 873.2 | 1151 | 1241 | 1026 | 817.1 | 779.5 | 857.2 | 1038 | 1255 | 1501 | 1744 | 1979 | 2160 | 2266 | 2201 | 1855 | 1378 | 1089 | 906.2 | 795.8 | 741.3 | 702.9 | 660.9 | 621.1 | 617 | 599.9 | 447.4 | 359.8 | 285.6 | 228.9 | 185.6 | 227.1 | 1401 | 9999.9 | 9999.9 | 9999.9 | 102.2 | 62.93
390 | 658.6 | 556.3 | 625.7 | 772.4 | 1028 | 1150 | 964.2 | 755.6 | 750 | 826.2 | 980.4 | 1149 | 1353 | 1590 | 1786 | 1945 | 2069 | 2020 | 1764 | 1375 | 1134 | 988 | 905.3 | 872.7 | 842.7 | 811.7 | 770 | 722.3 | 692.1 | 635.3 | 484.5 | 388.6 | 312.1 | 235.3 | 177.7 | 221.5 | 1272 | 9999.9 | 9999.9 | 9999.9 | 101.6
395 | 1073 | 569.2 | 605.7 | 712.3 | 939.3 | 1022 | 944.6 | 721.8 | 716.8 | 781.5 | 904.8 | 1045 | 1221 | 1451 | 1642 | 1771 | 1918 | 1911 | 1693 | 1367 | 1191 | 1083 | 1018 | 1005 | 987.2 | 971.1 | 924 | 871.1 | 794.9 | 771 | 667.6 | 500 | 403.1 | 303.7 | 216.6 | 163 | 203.8 | 1403 | 9999.9 | 9999.9 | 9999.9
400 | 1592 | 686.2 | 591.1 | 776.3 | 883.8 | 946.2 | 846.6 | 716.3 | 685.5 | 769.5 | 868.3 | 987.7 | 1142 | 1316 | 1504 | 1644 | 1769 | 1814 | 1651 | 1390 | 1250 | 1185 | 1157 | 1154 | 1141 | 1136 | 1092 | 1037 | 943.9 | 865.2 | 827.5 | 669.9 | 510.9 | 386.7 | 275.1 | 193.8 | 146.3 | 202 | 1273 | 9999.9 | 9999.9
405 | 1158 | 1331 | 542.4 | 715.5 | 835.6 | 889.8 | 803.4 | 711.3 | 699.9 | 760.7 | 842.7 | 919.6 | 1066 | 1205 | 1391 | 1556 | 1714 | 1737 | 1634 | 1412 | 1329 | 1287 | 1280 | 1294 | 1296 | 1292 | 1248 | 1196 | 1103 | 996.9 | 913.9 | 840.5 | 646.9 | 476.3 | 341.3 | 239.5 | 167.9 | 130 | 183.2 | 1166 | 9999.9
410 | 622.1 | 1621 | 772.3 | 648.7 | 751.6 | 840.4 | 769.5 | 718.6 | 720.3 | 773.4 | 803.1 | 899.7 | 992.1 | 1140 | 1323 | 1484 | 1619 | 1684 | 1574 | 1434 | 1382 | 1368 | 1374 | 1412 | 1422 | 1425 | 1388 | 1342 | 1236 | 1130 | 1010 | 910.5 | 809.9 | 587 | 416 | 293.8 | 202.4 | 143 | 115.7 | 166.8 | 1177
415 | 479.3 | 1284 | 1420 | 587.3 | 694.3 | 777.5 | 715.1 | 717.1 | 738.4 | 778.3 | 821 | 864.4 | 941.8 | 1091 | 1279 | 1447 | 1593 | 1632 | 1554 | 1431 | 1426 | 1421 | 1463 | 1498 | 1520 | 1546 | 1504 | 1466 | 1357 | 1241 | 1113 | 982.8 | 882.9 | 715.8 | 496.9 | 349.9 | 242.5 | 168.5 | 124.6 | 98.81 | 158.9
420 | 515.5 | 616.8 | 2128 | 807.8 | 713.4 | 715.5 | 734.7 | 706.8 | 717.6 | 786.3 | 821.6 | 850.9 | 919.4 | 1052 | 1231 | 1398 | 1569 | 1594 | 1511 | 1434 | 1448 | 1476 | 1511 | 1554 | 1601 | 1620 | 1599 | 1550 | 1466 | 1338 | 1209 | 1063 | 909.7 | 795 | 604.4 | 406.5 | 283.3 | 193.8 | 140 | 100.6 | 87.45
425 | 472.4 | 506.1 | 1678 | 1597 | 616.8 | 659.2 | 705 | 718.7 | 755.1 | 776 | 816.2 | 861.2 | 903.5 | 1029 | 1199 | 1368 | 1499 | 1542 | 1474 | 1417 | 1449 | 1493 | 1541 | 1609 | 1654 | 1682 | 1663 | 1614 | 1519 | 1402 | 1271 | 1123 | 969.9 | 811.6 | 681.1 | 481.7 | 320.2 | 222 | 155.1 | 115.6 | 87.71
430 | 388.4 | 415 | 686.1 | 2456 | 817.5 | 631.2 | 683 | 723.3 | 785.1 | 808.4 | 813.6 | 828.1 | 881 | 992.5 | 1160 | 1341 | 1455 | 1514 | 1431 | 1397 | 1442 | 1494 | 1554 | 1614 | 1684 | 1704 | 1697 | 1648 | 1555 | 1444 | 1325 | 1173 | 1009 | 836.1 | 689.6 | 557.8 | 371.5 | 248.9 | 175.3 | 126.7 | 97.16
435 | 399.5 | 375.2 | 458.6 | 1845 | 1730 | 595.3 | 629 | 688.2 | 760.7 | 783.3 | 806.4 | 829.4 | 867.2 | 958.4 | 1117 | 1293 | 1423 | 1446 | 1381 | 1377 | 1421 | 1485 | 1551 | 1622 | 1677 | 1703 | 1710 | 1672 | 1579 | 1470 | 1348 | 1198 | 1043 | 865.4 | 689.8 | 568.2 | 430.2 | 278.2 | 193.4 | 143.4 | 108.5
440 | 398.4 | 449.4 | 408.5 | 784.8 | 2863 | 876.8 | 592.1 | 666.1 | 748.1 | 788.5 | 795.6 | 822.3 | 850.3 | 931.2 | 1087 | 1247 | 1379 | 1393 | 1340 | 1310 | 1392 | 1449 | 1522 | 1592 | 1650 | 1688 | 1689 | 1661 | 1567 | 1458 | 1341 | 1194 | 1046 | 872.3 | 694.4 | 548.5 | 446.2 | 324.1 | 217 | 157.6 | 122.8
445 | 417.3 | 386.7 | 396.4 | 453.7 | 2496 | 2004 | 603.1 | 656.2 | 709.1 | 782.9 | 768.2 | 779.4 | 806.8 | 880.5 | 1028 | 1154 | 1283 | 1323 | 1261 | 1255 | 1343 | 1398 | 1461 | 1537 | 1597 | 1639 | 1629 | 1610 | 1530 | 1419 | 1319 | 1176 | 1028 | 871.2 | 701.6 | 548.6 | 425.1 | 349.6 | 245.8 | 170.4 | 131.5
450 | 431.3 | 383.2 | 450 | 402.7 | 973 | 3785 | 936.5 | 622.9 | 666 | 743.7 | 743.1 | 754 | 770.5 | 826.8 | 959.9 | 1105 | 1203 | 1236 | 1167 | 1179 | 1253 | 1324 | 1387 | 1460 | 1513 | 1561 | 1557 | 1541 | 1474 | 1371 | 1267 | 1126 | 995.5 | 849.2 | 683.6 | 535.5 | 408.8 | 331 | 274.5 | 190.7 | 141.6
455 | 447.2 | 401 | 387.1 | 390 | 476.6 | 3358 | 2627 | 598.8 | 664.2 | 699.9 | 727.1 | 709.4 | 716.2 | 768.7 | 889.5 | 1014 | 1129 | 1134 | 1082 | 1090 | 1160 | 1231 | 1288 | 1367 | 1410 | 1462 | 1473 | 1442 | 1383 | 1289 | 1194 | 1072 | 942.4 | 809 | 655.5 | 522.2 | 402 | 309.9 | 265.4 | 218.9 | 155.9
460 | 408.2 | 393.7 | 363.6 | 412.8 | 402.1 | 1226 | 5192 | 1025 | 600.9 | 665.3 | 693.1 | 684.5 | 658.3 | 716.8 | 821.4 | 920.7 | 1014 | 1034 | 981.3 | 1006 | 1075 | 1134 | 1195 | 1264 | 1308 | 1352 | 1363 | 1330 | 1280 | 1195 | 1104 | 996.1 | 888 | 758.7 | 629.6 | 502.7 | 392.7 | 302.3 | 243.7 | 224 | 178.7
465 | 385.8 | 343.9 | 339.4 | 400 | 379.8 | 448.5 | 4746 | 3212 | 577.1 | 611.8 | 638.8 | 624.8 | 609.9 | 648.5 | 742.8 | 834 | 905.6 | 914.2 | 894.9 | 902.8 | 978.9 | 1038 | 1091 | 1151 | 1189 | 1237 | 1239 | 1228 | 1173 | 1107 | 1021 | 923.4 | 815.7 | 706.7 | 586.7 | 478.1 | 377 | 290.8 | 235.5 | 203.1 | 190.3
470 | 386.1 | 356.7 | 388.8 | 355.5 | 359.8 | 377.5 | 1550 | 6508 | 1172 | 572.6 | 579 | 572 | 564.3 | 600.3 | 662.2 | 751.2 | 813 | 834 | 798.6 | 817.3 | 875.6 | 937.3 | 980.9 | 1035 | 1079 | 1129 | 1117 | 1116 | 1065 | 1005 | 929.2 | 843.1 | 742.6 | 652.2 | 546 | 444.6 | 356.1 | 281.1 | 228.4 | 191.9 | 176.7
475 | 348.8 | 328.3 | 291.8 | 307 | 295.6 | 344.9 | 440.6 | 6008 | 3874 | 549.8 | 540.4 | 528.6 | 509.9 | 532.7 | 600.1 | 664.4 | 727.2 | 741.9 | 711.4 | 729.5 | 786 | 839.9 | 883.1 | 925.8 | 957.5 | 1004 | 1010 | 993.4 | 960.6 | 901.7 | 837.4 | 760.1 | 679.7 | 595.3 | 501.1 | 409 | 337.3 | 268.3 | 220.2 | 185.6 | 161.4
480 | 274.2 | 280.8 | 277.9 | 288 | 281.2 | 324.6 | 311.7 | 1924 | 7730 | 1235 | 472.4 | 479.3 | 474.7 | 495.4 | 538.5 | 593.5 | 653.5 | 659.9 | 637.6 | 643.4 | 700.5 | 753.4 | 790.3 | 829.5 | 869.8 | 897.4 | 903.8 | 898.4 | 859.7 | 814.4 | 760.1 | 686.6 | 622.2 | 545.6 | 459.7 | 384.6 | 315.4 | 258.5 | 214.9 | 182.4 | 159.6
485 | 287 | 277.3 | 278.1 | 261.1 | 277.1 | 267 | 286.2 | 470.4 | 7172 | 4360 | 482.2 | 466.6 | 451.8 | 456.4 | 488.7 | 546.3 | 592.1 | 598.8 | 579.1 | 585.6 | 633.7 | 681.2 | 710.9 | 755.9 | 789.5 | 816.6 | 821 | 816 | 783.3 | 737.8 | 694.8 | 629.2 | 575.9 | 504.3 | 437.9 | 366.8 | 305.2 | 249.6 | 212.1 | 181.9 | 160.1
490 | 259.6 | 239.2 | 250.9 | 228.4 | 264.4 | 255.3 | 273.1 | 315 | 2241 | 8667 | 1168 | 427.7 | 422.4 | 439.2 | 466.8 | 509.2 | 536.1 | 543.8 | 518.8 | 529.2 | 570.9 | 617.6 | 651.9 | 682.8 | 713.8 | 739.6 | 745 | 744.8 | 715.8 | 681.6 | 633.7 | 580.3 | 533.8 | 475.7 | 415.1 | 351.3 | 295.3 | 246.9 | 212 | 183.4 | 162.4
495 | 260.7 | 267.2 | 232.7 | 222.1 | 230.6 | 233.8 | 266.7 | 280.7 | 475.6 | 8098 | 4439 | 425.6 | 403 | 407.5 | 440.6 | 476.2 | 496.7 | 497.6 | 475.2 | 480.1 | 517.3 | 554 | 587.6 | 615 | 640.9 | 664.9 | 671.3 | 666.2 | 653.1 | 619 | 579.2 | 539.2 | 499.2 | 443.1 | 394.3 | 340.2 | 290.1 | 246.8 | 209.4 | 182.7 | 164.6
500 | 221.7 | 201.5 | 217.1 | 199.2 | 202.5 | 218.3 | 257.6 | 256 | 315 | 2705 | 9296 | 1151 | 381.9 | 405.2 | 421.3 | 435.8 | 461.5 | 454.5 | 427.8 | 425.6 | 464.7 | 490 | 513.8 | 549.1 | 570.6 | 588.7 | 601.4 | 596.7 | 582.3 | 553.2 | 530.9 | 492.3 | 460.6 | 422.3 | 371.5 | 331.6 | 281 | 243.3 | 207 | 184 | 166.9