## Sheet1
Report date: | 14:53:13, 09/19/2024
Sample: | 1
File name:
Run date: | 14:47:43, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/325.0 | 1802
2 | 225.0/350.0 | 1782
3 | 225.0/420.0 | 749.6
4 | 230.0/315.0 | 1806
5 | 245.0/425.0 | 788.8
6 | 250.0/435.0 | 801.1
7 | 280.0/350.0 | 3480
8 | 325.0/435.0 | 1726
9 | 390.0/275.0 | 16.93
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 68.57 | 89.26 | 58.22 | 75.5 | 74.77 | 49.29 | 32.49 | 27.79 | 32.18 | 127.5 | 96.86 | 52.98 | 188.1 | 9999.9 | 9999.9 | 7912 | 51.84 | 24.83 | 17.7 | 14.16 | 11.28 | 10.24 | 8.748 | 8.429 | 7.567 | 7.75 | 6.743 | 6.812 | 7.475 | 7.158 | 7.225 | 7.524 | 8.581 | 8.587 | 8.617 | 10.67 | 13.83 | 17.24 | 15.3 | 11.78 | 10.11
275 | 91.09 | 124.3 | 132.3 | 163.8 | 146.9 | 107.3 | 52.56 | 32.01 | 29.4 | 61.46 | 169.7 | 121.9 | 116 | 854.9 | 9999.9 | 9999.9 | 7659 | 56.43 | 26.05 | 18.36 | 15.45 | 12.12 | 9.997 | 9.543 | 8.784 | 8.228 | 7.569 | 7.839 | 7.83 | 7.87 | 7.589 | 7.945 | 8.521 | 8.145 | 8.597 | 8.401 | 10.14 | 13.73 | 16.93 | 15.21 | 10.54
280 | 168.8 | 117.1 | 198.9 | 262.1 | 277.9 | 239.1 | 108.3 | 50.79 | 40.4 | 54.91 | 132.4 | 242.1 | 201 | 253.4 | 926.8 | 9999.9 | 9999.9 | 7949 | 56.05 | 26.07 | 19.38 | 15.7 | 12.51 | 10.64 | 9.89 | 9.12 | 8.699 | 7.735 | 8.424 | 7.608 | 8.7 | 8.547 | 9.032 | 9.139 | 8.683 | 8.162 | 8.471 | 9.779 | 13.34 | 16.09 | 14.37
285 | 175.4 | 190.6 | 271.7 | 319.3 | 497.3 | 441.4 | 275.9 | 123.3 | 79.51 | 86.32 | 142 | 281.5 | 420 | 401.6 | 477.6 | 1135 | 9999.9 | 9999.9 | 7976 | 59.11 | 28.73 | 21.73 | 15.96 | 12.51 | 12.21 | 9.814 | 9.308 | 9.294 | 9.418 | 8.716 | 8.361 | 8.961 | 9.225 | 9.049 | 8.579 | 8.228 | 8.479 | 8.257 | 9.47 | 13.17 | 16.03
290 | 248.2 | 268.7 | 342.2 | 495 | 754.3 | 820.9 | 584.6 | 298 | 157 | 130.7 | 195.2 | 334.3 | 603.3 | 789.7 | 834 | 870.3 | 1424 | 9999.9 | 9999.9 | 7485 | 53.12 | 30.23 | 22.18 | 16.49 | 13.29 | 12.36 | 11.22 | 10.55 | 9.439 | 9.516 | 9.457 | 9.363 | 9.523 | 9.351 | 9.351 | 9.401 | 8.507 | 7.955 | 7.812 | 9.655 | 12.13
295 | 279.3 | 321.6 | 399.3 | 643.3 | 986.4 | 1177 | 945.1 | 512 | 269.2 | 227.4 | 304.1 | 472.1 | 726.6 | 1146 | 1388 | 1387 | 1216 | 1477 | 9999.9 | 9999.9 | 7746 | 59.37 | 32.39 | 22.56 | 17.7 | 14.74 | 12.44 | 12.46 | 10.39 | 9.767 | 10.26 | 10.18 | 9.782 | 9.418 | 9.758 | 9.234 | 8.828 | 8.267 | 8.052 | 7.561 | 8.479
300 | 360.1 | 440 | 509.8 | 755 | 1197 | 1478 | 1316 | 778.6 | 454.8 | 383.7 | 477.2 | 681.8 | 972.3 | 1396 | 1896 | 1968 | 1705 | 1154 | 1241 | 9999.9 | 9999.9 | 8006 | 59 | 34.38 | 24.71 | 18.68 | 15.9 | 14.13 | 12.69 | 11.69 | 11.31 | 10.84 | 10.44 | 10.57 | 10.01 | 10.17 | 8.942 | 8.705 | 8.46 | 7.748 | 7.753
305 | 423.2 | 452.6 | 581.2 | 892.5 | 1370 | 1737 | 1625 | 1005 | 659.8 | 607.2 | 728.2 | 972.3 | 1228 | 1670 | 2132 | 2503 | 2182 | 1506 | 777.8 | 1147 | 9999.9 | 9999.9 | 7831 | 58.37 | 36.45 | 26.35 | 19.62 | 17.61 | 15.22 | 13.18 | 11.89 | 12.63 | 11.95 | 12.22 | 10.75 | 10.1 | 9.109 | 8.67 | 8.679 | 8.166 | 7.717
310 | 425 | 502.8 | 610.3 | 875.1 | 1381 | 1794 | 1726 | 1161 | 868 | 831.3 | 1013 | 1245 | 1500 | 1863 | 2303 | 2649 | 2637 | 1858 | 1022 | 552 | 1016 | 9999.9 | 9999.9 | 8202 | 62.67 | 37.63 | 29.05 | 20.99 | 17.85 | 15.95 | 14.35 | 13.19 | 13.28 | 12.36 | 11.81 | 10.99 | 9.678 | 9.134 | 8.528 | 7.88 | 7.54
315 | 477.4 | 551.8 | 700.8 | 907.9 | 1372 | 1797 | 1806 | 1335 | 1044 | 1086 | 1284 | 1495 | 1733 | 2032 | 2463 | 2736 | 2826 | 2287 | 1327 | 687.8 | 354.8 | 963.1 | 9999.9 | 9999.9 | 7973 | 64.61 | 40.45 | 30.59 | 22.71 | 18.66 | 16.2 | 15.44 | 15.32 | 13.88 | 13.36 | 11.75 | 10.19 | 9.246 | 8.947 | 7.927 | 8.163
320 | 466 | 507.3 | 654.6 | 875.2 | 1371 | 1786 | 1792 | 1387 | 1175 | 1250 | 1492 | 1742 | 1948 | 2183 | 2567 | 2836 | 2894 | 2532 | 1713 | 872.2 | 394.4 | 232 | 905.6 | 9999.9 | 9999.9 | 8440 | 66.62 | 42.44 | 31.89 | 23.12 | 21.13 | 17.45 | 16.16 | 15.69 | 13.91 | 13.23 | 12.13 | 9.626 | 9.025 | 8.198 | 8.031
325 | 430.4 | 484.4 | 650.2 | 903.9 | 1354 | 1802 | 1774 | 1434 | 1256 | 1406 | 1672 | 1910 | 2088 | 2328 | 2648 | 2973 | 3060 | 2658 | 1988 | 1101 | 480.9 | 227.4 | 175.1 | 909.7 | 9999.9 | 9999.9 | 8752 | 72.83 | 43.87 | 34.72 | 26.8 | 20.62 | 18.85 | 17.14 | 15.46 | 13.76 | 12.29 | 10.78 | 9.935 | 9.075 | 8.089
330 | 426.2 | 508.4 | 680.8 | 949.4 | 1472 | 1775 | 1768 | 1402 | 1303 | 1476 | 1768 | 2054 | 2206 | 2450 | 2798 | 3090 | 3170 | 2847 | 2107 | 1317 | 615.3 | 269 | 144.7 | 147.1 | 919.4 | 9999.9 | 9999.9 | 9374 | 73.39 | 47.86 | 39.03 | 27.01 | 22.58 | 19.68 | 18.02 | 15.73 | 12.67 | 12.02 | 10.97 | 9.409 | 8.785
335 | 411.8 | 552.5 | 642.7 | 986.4 | 1540 | 1748 | 1705 | 1385 | 1319 | 1529 | 1840 | 2120 | 2331 | 2594 | 2883 | 3187 | 3300 | 3006 | 2250 | 1364 | 806.9 | 349.1 | 174.6 | 108.4 | 137 | 930.1 | 9999.9 | 9999.9 | 9999.9 | 82.17 | 54.55 | 40.34 | 29 | 23.25 | 20.38 | 17.91 | 15.07 | 13.25 | 11.35 | 10.62 | 9.382
340 | 502.4 | 537.5 | 664.2 | 993.5 | 1400 | 1772 | 1726 | 1391 | 1275 | 1502 | 1851 | 2148 | 2383 | 2676 | 2989 | 3293 | 3440 | 3148 | 2399 | 1430 | 836.3 | 513.2 | 227.5 | 127.8 | 96.94 | 134.4 | 968.6 | 9999.9 | 9999.9 | 9999.9 | 89.86 | 59.38 | 43.6 | 31.91 | 23.58 | 19.8 | 16.74 | 15.06 | 13.29 | 11.37 | 10.46
345 | 524.1 | 576.5 | 670.9 | 1002 | 1421 | 1770 | 1655 | 1302 | 1231 | 1470 | 1783 | 2126 | 2383 | 2691 | 3006 | 3323 | 3475 | 3211 | 2479 | 1500 | 835.8 | 558.5 | 352.3 | 167.1 | 112.2 | 94.34 | 142.6 | 1003 | 9999.9 | 9999.9 | 9999.9 | 94.74 | 63.13 | 47.08 | 32.17 | 24.7 | 20.04 | 16.18 | 13.71 | 12.22 | 11.49
350 | 484.8 | 511.5 | 741.2 | 1032 | 1515 | 1782 | 1557 | 1204 | 1181 | 1375 | 1718 | 2074 | 2384 | 2711 | 3047 | 3321 | 3480 | 3228 | 2540 | 1559 | 892.7 | 529.7 | 433.1 | 272.5 | 147.5 | 113.8 | 106.1 | 158 | 1004 | 9999.9 | 9999.9 | 9999.9 | 106.3 | 67.75 | 49.77 | 32.42 | 24.4 | 19.74 | 17.01 | 14.95 | 12.62
355 | 561.6 | 561.3 | 682.2 | 1022 | 1403 | 1716 | 1499 | 1135 | 1119 | 1302 | 1636 | 1991 | 2302 | 2662 | 2993 | 3258 | 3405 | 3184 | 2510 | 1593 | 934.9 | 576.5 | 406.2 | 388.2 | 240.5 | 155.5 | 135.5 | 122.2 | 167 | 1092 | 9999.9 | 9999.9 | 9999.9 | 109.3 | 70.9 | 49.2 | 32.02 | 23.11 | 19.85 | 16.14 | 14.35
360 | 618.5 | 625.3 | 703.8 | 967.6 | 1449 | 1654 | 1364 | 1066 | 1034 | 1224 | 1539 | 1853 | 2210 | 2528 | 2885 | 3137 | 3254 | 3082 | 2459 | 1587 | 975.4 | 636.5 | 434.7 | 370.2 | 374.1 | 236.2 | 178.7 | 154.6 | 132.4 | 182.2 | 1059 | 9999.9 | 9999.9 | 9999.9 | 115.2 | 71.75 | 49.78 | 32.07 | 23.76 | 18.74 | 15.62
365 | 574.4 | 617.5 | 736.3 | 948.6 | 1298 | 1553 | 1321 | 1012 | 940.7 | 1122 | 1423 | 1746 | 2070 | 2402 | 2731 | 2976 | 3085 | 2914 | 2355 | 1554 | 1005 | 687.2 | 497 | 396.6 | 389.5 | 376.4 | 248.8 | 198.4 | 163.3 | 143.5 | 185.8 | 1154 | 9999.9 | 9999.9 | 9999.9 | 116.9 | 70.51 | 49.33 | 30.99 | 22.68 | 18.95
370 | 604.7 | 582.5 | 624.5 | 906 | 1217 | 1436 | 1217 | 936 | 897.7 | 1036 | 1295 | 1571 | 1904 | 2226 | 2513 | 2732 | 2872 | 2722 | 2223 | 1488 | 1004 | 727.2 | 559.7 | 457.2 | 408.8 | 433.2 | 385.2 | 269.8 | 214.1 | 175.3 | 150.3 | 194.5 | 1229 | 9999.9 | 9999.9 | 9999.9 | 115 | 68.57 | 46.5 | 29.95 | 21.39
375 | 592.5 | 628.4 | 659.9 | 924.9 | 1178 | 1303 | 1123 | 854.1 | 835.8 | 957.4 | 1168 | 1451 | 1717 | 2026 | 2313 | 2506 | 2657 | 2535 | 2109 | 1449 | 1030 | 775.3 | 629.3 | 538.2 | 479.2 | 454.5 | 492.3 | 408.2 | 296.3 | 237.1 | 193.7 | 164.2 | 213.3 | 1290 | 9999.9 | 9999.9 | 9999.9 | 106.9 | 66.81 | 46.59 | 29.03
380 | 598.4 | 574.4 | 627.7 | 882 | 1113 | 1224 | 1078 | 848.6 | 771 | 899 | 1067 | 1296 | 1576 | 1860 | 2096 | 2305 | 2419 | 2312 | 1961 | 1409 | 1045 | 835 | 704.9 | 641.4 | 581.6 | 542.6 | 528.3 | 552.3 | 430.6 | 326 | 263.5 | 210.6 | 177.5 | 227.8 | 1345 | 9999.9 | 9999.9 | 9999.9 | 106 | 64.54 | 43.99
385 | 540.7 | 602.3 | 599.8 | 836.4 | 1026 | 1142 | 966.5 | 743.5 | 718.9 | 814.4 | 964.8 | 1180 | 1431 | 1662 | 1876 | 2061 | 2186 | 2134 | 1855 | 1374 | 1066 | 898.7 | 787.2 | 735.8 | 699 | 667.4 | 627.3 | 614.8 | 605.7 | 454.2 | 361.5 | 291.3 | 230.5 | 186.1 | 227.3 | 1387 | 9999.9 | 9999.9 | 9999.9 | 99.74 | 60.15
390 | 614.1 | 538.7 | 596.3 | 762.5 | 905.9 | 1053 | 911 | 719.7 | 681.9 | 774.7 | 905.6 | 1078 | 1278 | 1483 | 1681 | 1878 | 2003 | 1988 | 1733 | 1355 | 1126 | 980.9 | 899.5 | 866.2 | 838.2 | 809.6 | 771.4 | 726.1 | 705.4 | 645 | 487.9 | 393.4 | 312.5 | 237.6 | 177.1 | 221.2 | 1256 | 9999.9 | 9999.9 | 9999.9 | 98.48
395 | 1115 | 481.1 | 548.4 | 742.9 | 915.4 | 938.8 | 822.4 | 711.2 | 687.5 | 752 | 856.3 | 993.3 | 1156 | 1336 | 1547 | 1721 | 1866 | 1877 | 1686 | 1377 | 1176 | 1079 | 1022 | 1001 | 996.1 | 967.4 | 934.2 | 870.4 | 809.5 | 778.2 | 678.4 | 508.9 | 407.1 | 308.5 | 218.1 | 163.2 | 202 | 1391 | 9999.9 | 9999.9 | 9999.9
400 | 1490 | 670.9 | 547 | 648.1 | 837.1 | 884.6 | 801.7 | 688.7 | 692 | 726.9 | 811.4 | 913.9 | 1058 | 1216 | 1408 | 1602 | 1735 | 1768 | 1645 | 1397 | 1260 | 1171 | 1154 | 1151 | 1143 | 1133 | 1097 | 1044 | 953.4 | 869.2 | 833.5 | 674.9 | 513.7 | 396.5 | 278.9 | 195.2 | 145.1 | 198.5 | 1267 | 9999.9 | 9999.9
405 | 1070 | 1391 | 561.4 | 680.7 | 765.1 | 815.5 | 756.3 | 666.2 | 682.5 | 744.2 | 805.3 | 876.1 | 980.9 | 1125 | 1317 | 1508 | 1648 | 1719 | 1628 | 1435 | 1326 | 1289 | 1274 | 1281 | 1298 | 1294 | 1257 | 1205 | 1110 | 1003 | 923.9 | 846.8 | 662.1 | 489 | 350.2 | 240.3 | 172.3 | 130.3 | 183 | 1156 | 9999.9
410 | 633.7 | 1721 | 784.8 | 607.1 | 674.9 | 747.2 | 722.2 | 664.9 | 698.1 | 727.1 | 776 | 853.8 | 931.5 | 1062 | 1261 | 1433 | 1583 | 1667 | 1601 | 1458 | 1386 | 1372 | 1376 | 1402 | 1440 | 1439 | 1395 | 1351 | 1244 | 1124 | 1015 | 921.4 | 823.8 | 594.8 | 421.6 | 294.6 | 206.7 | 143.9 | 113.3 | 165.1 | 1161
415 | 461.4 | 1257 | 1430 | 570.3 | 705.6 | 709.5 | 692.6 | 660.1 | 730.3 | 740 | 769.9 | 819.6 | 885.5 | 1031 | 1202 | 1385 | 1554 | 1643 | 1600 | 1469 | 1437 | 1435 | 1452 | 1504 | 1540 | 1551 | 1521 | 1470 | 1373 | 1254 | 1125 | 990 | 895.9 | 725 | 500.8 | 353.8 | 248.3 | 168.2 | 123.1 | 100.7 | 155.2
420 | 491.8 | 579.3 | 1898 | 826.6 | 589.4 | 749.6 | 694.5 | 677.6 | 708.2 | 746.1 | 771.2 | 800.4 | 873 | 982 | 1166 | 1359 | 1519 | 1587 | 1565 | 1487 | 1464 | 1484 | 1517 | 1563 | 1601 | 1627 | 1604 | 1557 | 1452 | 1340 | 1218 | 1074 | 923.5 | 812.5 | 607.2 | 415.2 | 285.8 | 195.8 | 139.9 | 102.6 | 88.43
425 | 418.3 | 408.4 | 1418 | 1673 | 603.1 | 663.6 | 664.1 | 674.5 | 723.8 | 788.8 | 768.4 | 803.6 | 843.6 | 943.9 | 1122 | 1300 | 1478 | 1551 | 1542 | 1476 | 1477 | 1504 | 1538 | 1601 | 1654 | 1688 | 1677 | 1623 | 1533 | 1405 | 1282 | 1131 | 976.7 | 818.7 | 686.1 | 486.7 | 324.4 | 225.6 | 159.4 | 116.4 | 88.58
430 | 405.4 | 470.2 | 624.7 | 2375 | 852.1 | 615.6 | 642.3 | 680.7 | 737.4 | 764.4 | 768.2 | 794.3 | 809.1 | 919.2 | 1087 | 1270 | 1434 | 1517 | 1507 | 1448 | 1473 | 1511 | 1559 | 1626 | 1683 | 1711 | 1699 | 1664 | 1574 | 1458 | 1337 | 1176 | 1015 | 842.3 | 690.4 | 558.4 | 369.6 | 251.8 | 180.5 | 129.6 | 98.95
435 | 381.6 | 460.1 | 479.8 | 1810 | 1778 | 605.4 | 629.4 | 674.8 | 737.4 | 781.8 | 801.1 | 792.6 | 804.2 | 902.6 | 1048 | 1232 | 1394 | 1474 | 1447 | 1425 | 1448 | 1500 | 1554 | 1626 | 1679 | 1726 | 1712 | 1681 | 1593 | 1476 | 1349 | 1203 | 1044 | 874 | 695.2 | 566.5 | 431.6 | 283.8 | 199.7 | 146.6 | 110.8
440 | 360.2 | 377.9 | 424.5 | 745.5 | 3028 | 856.9 | 614 | 677.5 | 717.7 | 756.5 | 786.9 | 770.2 | 789.4 | 863 | 1015 | 1182 | 1317 | 1408 | 1395 | 1395 | 1423 | 1467 | 1517 | 1581 | 1657 | 1708 | 1693 | 1663 | 1571 | 1464 | 1350 | 1197 | 1051 | 883.8 | 702.7 | 554.1 | 449 | 329.1 | 216.9 | 160.4 | 121.6
445 | 376.1 | 380.4 | 420.9 | 449.7 | 2444 | 2071 | 576.2 | 660.2 | 722.7 | 754.8 | 767.9 | 756.9 | 759.9 | 840.9 | 950.8 | 1122 | 1262 | 1325 | 1327 | 1315 | 1366 | 1404 | 1452 | 1538 | 1599 | 1642 | 1640 | 1618 | 1538 | 1433 | 1323 | 1183 | 1040 | 872.9 | 703 | 552.1 | 425.8 | 351.3 | 247.6 | 173.8 | 133.7
450 | 371.9 | 395.3 | 418 | 446.8 | 970.5 | 3898 | 947.8 | 590.2 | 679.1 | 727.1 | 729.6 | 742.8 | 727.3 | 779.3 | 905.4 | 1043 | 1168 | 1235 | 1231 | 1242 | 1279 | 1329 | 1378 | 1461 | 1520 | 1565 | 1569 | 1536 | 1472 | 1376 | 1263 | 1131 | 1001 | 847 | 689.6 | 539 | 411.6 | 331.7 | 277.3 | 194.6 | 143.5
455 | 381.9 | 371.8 | 416 | 378.6 | 450.6 | 3563 | 2673 | 578.2 | 648.1 | 685.5 | 708.5 | 685.3 | 681.7 | 729.4 | 839.9 | 966.8 | 1064 | 1145 | 1132 | 1148 | 1193 | 1244 | 1285 | 1362 | 1416 | 1460 | 1472 | 1451 | 1382 | 1296 | 1197 | 1069 | 947.5 | 812.6 | 664.5 | 528.2 | 406.5 | 312.4 | 269.9 | 222.9 | 157.8
460 | 408.5 | 381.7 | 419 | 371.5 | 395.7 | 1237 | 5334 | 1044 | 588.3 | 660.4 | 667.9 | 651.5 | 640.9 | 670.5 | 757.4 | 886.5 | 979.1 | 1043 | 1037 | 1049 | 1096 | 1140 | 1192 | 1246 | 1309 | 1349 | 1363 | 1342 | 1285 | 1210 | 1108 | 1003 | 884 | 762.7 | 634.1 | 500.7 | 393 | 302.3 | 245.5 | 225.3 | 183.4
465 | 323.3 | 333.3 | 332.9 | 357.9 | 383.3 | 443.5 | 4867 | 3265 | 571.1 | 600.3 | 620.8 | 616.3 | 596.6 | 613.1 | 691.8 | 789.3 | 891.9 | 943.3 | 930 | 959.3 | 993.6 | 1038 | 1082 | 1141 | 1200 | 1235 | 1244 | 1234 | 1173 | 1103 | 1019 | 914.5 | 821.3 | 707.6 | 589.3 | 475.6 | 373.3 | 295.9 | 239.2 | 205.4 | 195.7
470 | 365.9 | 315.8 | 338.6 | 364.9 | 350.3 | 371.8 | 1564 | 6656 | 1191 | 546.2 | 577.8 | 565.1 | 539.8 | 551.7 | 627.2 | 714.1 | 799.8 | 844.2 | 840.2 | 858.5 | 894.7 | 944.2 | 980.7 | 1035 | 1092 | 1121 | 1130 | 1107 | 1065 | 1001 | 928.7 | 839.7 | 751.9 | 651.2 | 550.6 | 449.4 | 356.8 | 286.8 | 230.7 | 192.1 | 176.9
475 | 363.2 | 315.6 | 320.5 | 300.8 | 306.2 | 305.9 | 439.6 | 6204 | 4002 | 538.7 | 522.9 | 507.6 | 498 | 510.1 | 558.2 | 636.5 | 713.2 | 745.9 | 746.3 | 760.2 | 799.5 | 837.6 | 881.4 | 930.8 | 970.7 | 1004 | 1010 | 1003 | 961.2 | 907.2 | 839.3 | 760.1 | 688.7 | 593.8 | 501.1 | 419.3 | 337.7 | 268.7 | 224.2 | 187.4 | 162.9
480 | 289.6 | 264.5 | 276.7 | 296.2 | 281.6 | 287.2 | 348.5 | 1948 | 8013 | 1250 | 473.2 | 468.4 | 456.4 | 463 | 502.5 | 568.3 | 638.9 | 663.3 | 662.1 | 681.9 | 717.5 | 747.2 | 787.3 | 828.7 | 868.2 | 900.6 | 914.4 | 901.4 | 865.7 | 821.4 | 762.6 | 686.6 | 615.4 | 546 | 464.3 | 389.7 | 316.3 | 257.4 | 218 | 186.5 | 161.3
485 | 314.4 | 285.8 | 252.7 | 267.6 | 275.2 | 265 | 294.1 | 462.7 | 7489 | 4476 | 452.5 | 440.2 | 427.1 | 442.6 | 466.7 | 516.8 | 576.1 | 604.6 | 601 | 609.8 | 647.3 | 685.4 | 713.3 | 752.1 | 794.3 | 815.2 | 827.5 | 814.8 | 789.5 | 744.6 | 691.3 | 632.2 | 576 | 505 | 436.5 | 369.3 | 304 | 253.7 | 214.1 | 183.9 | 159.2
490 | 252.8 | 254.6 | 238.4 | 248.6 | 228.9 | 248.9 | 288.4 | 332.5 | 2311 | 9031 | 1194 | 418.9 | 408.2 | 412.6 | 450.2 | 492 | 522.9 | 546.5 | 538.2 | 556.9 | 589.1 | 617.6 | 643.7 | 681.2 | 716.1 | 740.3 | 745.4 | 741.4 | 711.4 | 678.4 | 636.9 | 587.2 | 531.5 | 474.2 | 411.5 | 350.9 | 294.5 | 248.1 | 213.5 | 183.7 | 161.4
495 | 257.9 | 228.4 | 257.3 | 235.2 | 211.5 | 214.2 | 281.8 | 290.9 | 473 | 8491 | 4476 | 431.3 | 406.5 | 398.4 | 433.2 | 453.8 | 482 | 503.1 | 489.7 | 495.7 | 525.2 | 559.3 | 587.1 | 612.2 | 647.4 | 669.9 | 678.2 | 673.2 | 651.2 | 619.7 | 582.7 | 541.6 | 490.8 | 444.6 | 393.3 | 336.4 | 292.2 | 244.1 | 210.8 | 183.3 | 165.7
500 | 191.4 | 255.2 | 194.1 | 197.8 | 206.3 | 215.8 | 253.9 | 270.4 | 307.1 | 2781 | 9604 | 1148 | 383.1 | 390.6 | 403.5 | 429.3 | 448.6 | 460.4 | 442.6 | 436.7 | 463.9 | 493 | 524.5 | 548 | 570.7 | 595.3 | 599.1 | 602.1 | 582.5 | 556.3 | 526.3 | 492.6 | 456.7 | 418.3 | 373 | 322.1 | 279.2 | 241.3 | 210.2 | 184.8 | 164.7