## Sheet1
Report date: | 15:00:08, 09/19/2024
Sample: | 1
File name:
Run date: | 14:54:36, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/335.0 | 2830
2 | 225.0/345.0 | 2797
3 | 245.0/425.0 | 1284
4 | 245.0/435.0 | 1285
5 | 250.0/275.0 | 288.3
6 | 275.0/345.0 | 6110
7 | 280.0/340.0 | 6094
8 | 320.0/435.0 | 1932
9 | 325.0/440.0 | 1925
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 29.65 | 49.88 | 38.96 | 33.29 | 44.66 | 43.64 | 16.62 | 12.51 | 32.84 | 227.2 | 122.4 | 29.28 | 52.84 | 2957 | 6887 | 1415 | 14.74 | 7.442 | 5.866 | 4.112 | 3.036 | 2.228 | 2.758 | 2.537 | 2.368 | 2.037 | 1.889 | 1.968 | 1.91 | 1.792 | 1.707 | 1.53 | 1.517 | 1.713 | 1.752 | 1.435 | 1.452 | 1.337 | 1.156 | 1.243 | 1.189
275 | 65.92 | 61.57 | 111.8 | 162.4 | 201.8 | 172.1 | 57.08 | 20.11 | 19.21 | 80.34 | 288.3 | 134.4 | 95.51 | 307.1 | 3482 | 6170 | 1294 | 13.92 | 6.664 | 4.744 | 3.779 | 2.695 | 2.618 | 2.46 | 2.392 | 2.186 | 2.286 | 2.056 | 2.188 | 1.844 | 1.824 | 1.672 | 1.945 | 1.714 | 1.592 | 1.48 | 1.484 | 1.465 | 1.192 | 1.409 | 1.372
280 | 174.6 | 136.8 | 185.2 | 291.6 | 409.8 | 348.8 | 139.6 | 47.83 | 34.83 | 55.27 | 178.4 | 398 | 262.9 | 288.6 | 528.8 | 3554 | 5845 | 1108 | 13.65 | 5.53 | 3.883 | 3.196 | 2.976 | 2.515 | 2.526 | 2.196 | 2.152 | 2.205 | 2.055 | 2.044 | 1.776 | 1.654 | 1.832 | 1.484 | 1.54 | 1.384 | 1.446 | 1.38 | 1.289 | 1.371 | 1.182
285 | 183 | 171.4 | 272.5 | 471.4 | 730.2 | 684.3 | 377 | 154.2 | 79.1 | 87.41 | 153.8 | 425.4 | 683.4 | 666.4 | 760.8 | 869.3 | 3366 | 5027 | 946.3 | 12.61 | 4.654 | 3.63 | 2.89 | 2.607 | 2.616 | 2.438 | 2.471 | 2.022 | 1.934 | 2.327 | 1.837 | 1.942 | 1.626 | 1.869 | 1.585 | 1.469 | 1.397 | 1.362 | 1.42 | 1.372 | 1.664
290 | 265.3 | 235.1 | 355.8 | 664.6 | 1035 | 1158 | 793.4 | 380.6 | 181.2 | 152.8 | 242.9 | 445.6 | 981.9 | 1325 | 1438 | 1363 | 1105 | 3060 | 4727 | 834.4 | 10.92 | 4.309 | 3.703 | 3.11 | 2.908 | 2.552 | 2.166 | 2.308 | 2.223 | 2.106 | 1.79 | 2.03 | 1.958 | 1.813 | 1.518 | 1.539 | 1.514 | 1.483 | 1.266 | 1.491 | 1.489
295 | 360.7 | 282.4 | 433.4 | 821.5 | 1344 | 1660 | 1246 | 641.2 | 346.8 | 285.9 | 378.7 | 638.2 | 1108 | 1922 | 2317 | 2170 | 1580 | 959.2 | 2904 | 4528 | 751.1 | 9.929 | 4.901 | 3.499 | 3.138 | 2.953 | 2.727 | 2.609 | 2.327 | 2.244 | 1.94 | 1.911 | 2.079 | 1.831 | 1.54 | 1.678 | 1.523 | 1.503 | 1.361 | 1.398 | 1.28
300 | 380.9 | 342.1 | 534 | 894.9 | 1662 | 2101 | 1704 | 988.6 | 587.4 | 510.2 | 597 | 873.2 | 1369 | 2150 | 3138 | 3048 | 2299 | 1335 | 754 | 2765 | 4599 | 690.4 | 8.976 | 4.782 | 3.585 | 2.963 | 2.871 | 2.583 | 2.573 | 2.616 | 2.358 | 2.468 | 1.741 | 1.914 | 1.839 | 1.76 | 1.498 | 1.476 | 1.641 | 1.381 | 1.421
305 | 372.1 | 397.2 | 520.7 | 937.3 | 1647 | 2292 | 2110 | 1356 | 932.9 | 808 | 886.8 | 1157 | 1668 | 2456 | 3425 | 3966 | 3209 | 2100 | 1151 | 750.4 | 2869 | 4717 | 584.8 | 7.202 | 4.518 | 3.365 | 3.565 | 2.889 | 2.403 | 2.4 | 2.237 | 2.494 | 1.901 | 2.157 | 1.699 | 1.824 | 1.606 | 1.323 | 1.633 | 1.239 | 1.228
310 | 402.9 | 511.5 | 606.8 | 1070 | 1770 | 2449 | 2347 | 1795 | 1299 | 1160 | 1235 | 1513 | 1969 | 2757 | 3749 | 4392 | 4225 | 2964 | 1844 | 1030 | 568.7 | 2786 | 4178 | 558.5 | 6.463 | 4.12 | 3.087 | 3.174 | 2.639 | 2.853 | 2.271 | 2.173 | 2.252 | 2.201 | 1.603 | 1.744 | 1.735 | 1.538 | 1.682 | 1.574 | 1.366
315 | 429 | 493.8 | 647.4 | 985.6 | 1832 | 2592 | 2578 | 2026 | 1616 | 1516 | 1633 | 1852 | 2289 | 3063 | 4040 | 4702 | 4755 | 3904 | 2539 | 1454 | 598.5 | 350.7 | 2361 | 4350 | 506.3 | 6.089 | 3.773 | 3.67 | 2.929 | 3.045 | 2.593 | 2.301 | 2.004 | 1.79 | 1.805 | 1.559 | 1.583 | 1.81 | 1.528 | 1.535 | 1.408
320 | 400.3 | 463.6 | 719.1 | 1079 | 1895 | 2542 | 2679 | 2215 | 1885 | 1844 | 1985 | 2215 | 2630 | 3361 | 4359 | 5058 | 5097 | 4546 | 3274 | 1837 | 780.5 | 264.7 | 243.7 | 2480 | 4755 | 438.2 | 5.892 | 4.109 | 3.407 | 3.003 | 2.631 | 2.271 | 2.361 | 2.242 | 1.807 | 1.824 | 1.59 | 1.701 | 1.691 | 1.409 | 1.43
325 | 482.2 | 472.5 | 715.3 | 1081 | 1868 | 2709 | 2790 | 2375 | 2043 | 2068 | 2292 | 2579 | 2971 | 3664 | 4681 | 5384 | 5468 | 4785 | 3792 | 2239 | 940.3 | 343.7 | 142 | 221.9 | 2774 | 3928 | 426.3 | 5.805 | 3.839 | 3.528 | 2.88 | 2.69 | 2.53 | 2.449 | 2.164 | 1.73 | 1.693 | 1.517 | 1.659 | 1.55 | 1.7
330 | 387.4 | 505.1 | 774.8 | 1250 | 1946 | 2750 | 2803 | 2404 | 2177 | 2264 | 2516 | 2874 | 3315 | 4016 | 4942 | 5631 | 5794 | 5100 | 3920 | 2598 | 1163 | 419.5 | 176.3 | 94.71 | 225.7 | 2290 | 3937 | 434.5 | 5.244 | 4.131 | 3.953 | 3.112 | 2.655 | 2.334 | 2.364 | 2.049 | 1.882 | 1.546 | 1.758 | 1.602 | 1.605
335 | 397 | 547.4 | 806.6 | 1216 | 2186 | 2830 | 2814 | 2421 | 2190 | 2381 | 2706 | 3112 | 3631 | 4332 | 5268 | 5900 | 5993 | 5300 | 4106 | 2624 | 1441 | 557.5 | 234.8 | 116.1 | 71.15 | 186.5 | 2341 | 4300 | 438.6 | 5.782 | 3.912 | 3.413 | 2.792 | 2.701 | 2.58 | 2.113 | 1.976 | 1.786 | 1.663 | 1.498 | 1.609
340 | 384.7 | 573.2 | 763.8 | 1272 | 2168 | 2752 | 2731 | 2340 | 2168 | 2433 | 2796 | 3266 | 3804 | 4559 | 5456 | 6029 | 6094 | 5454 | 4229 | 2636 | 1459 | 793.4 | 315.1 | 149.7 | 87.62 | 58.74 | 186.2 | 2487 | 4257 | 549.6 | 6.36 | 4.298 | 3.685 | 2.826 | 2.587 | 2.447 | 1.986 | 1.872 | 1.991 | 1.639 | 1.567
345 | 366.9 | 517.1 | 747.9 | 1235 | 2146 | 2797 | 2716 | 2255 | 2117 | 2398 | 2814 | 3359 | 3975 | 4729 | 5534 | 6110 | 6089 | 5448 | 4257 | 2662 | 1431 | 853.6 | 503.8 | 202 | 113.7 | 71.97 | 57.21 | 196.2 | 2496 | 5189 | 513.4 | 6.421 | 4.24 | 3.542 | 3.052 | 2.112 | 2.007 | 1.969 | 1.809 | 1.767 | 1.709
350 | 347 | 487.5 | 747 | 1275 | 2105 | 2797 | 2527 | 2130 | 2076 | 2330 | 2819 | 3367 | 4015 | 4755 | 5560 | 6055 | 6033 | 5316 | 4192 | 2670 | 1450 | 783.2 | 604.5 | 346.8 | 155.9 | 100.1 | 72.04 | 57.13 | 197.5 | 2992 | 4753 | 574.5 | 6.51 | 3.99 | 3.431 | 2.725 | 2.247 | 2 | 1.867 | 1.617 | 1.756
355 | 333.1 | 480.9 | 746.6 | 1168 | 2001 | 2670 | 2424 | 1992 | 1903 | 2209 | 2720 | 3307 | 3961 | 4728 | 5461 | 5867 | 5793 | 5162 | 4074 | 2592 | 1490 | 823.9 | 523.8 | 486.5 | 263 | 140.9 | 104.8 | 75.51 | 63.33 | 237.6 | 2726 | 5103 | 598.9 | 6.974 | 4.757 | 3.576 | 2.629 | 2.181 | 1.97 | 1.87 | 1.744
360 | 339.8 | 457.9 | 681.6 | 1200 | 2108 | 2499 | 2247 | 1830 | 1797 | 2111 | 2566 | 3163 | 3822 | 4549 | 5243 | 5614 | 5497 | 4894 | 3890 | 2522 | 1491 | 869.9 | 532.1 | 428 | 432.2 | 230.1 | 144.4 | 110.6 | 82.08 | 72.69 | 224 | 2887 | 5683 | 640.5 | 7.106 | 4.726 | 3.23 | 2.751 | 2.171 | 2.098 | 1.828
365 | 324.3 | 413.2 | 618 | 1095 | 1897 | 2427 | 2126 | 1693 | 1689 | 1966 | 2408 | 2970 | 3598 | 4291 | 4911 | 5208 | 5120 | 4566 | 3665 | 2430 | 1479 | 903.6 | 581.1 | 418.9 | 415.8 | 404.3 | 221.6 | 157.5 | 120.3 | 93.93 | 79.39 | 238.1 | 3288 | 5787 | 627.3 | 7.363 | 4.145 | 3.275 | 2.858 | 2.094 | 1.905
370 | 272.3 | 401.3 | 588.3 | 1004 | 1758 | 2154 | 1921 | 1558 | 1540 | 1821 | 2198 | 2735 | 3334 | 3965 | 4523 | 4790 | 4733 | 4206 | 3400 | 2302 | 1467 | 950.8 | 641 | 479.9 | 404.8 | 441.2 | 388.1 | 230.3 | 176.1 | 139.9 | 107.8 | 87.02 | 270.1 | 3358 | 5653 | 619 | 6.845 | 4.107 | 3.201 | 2.517 | 2.033
375 | 274.1 | 357.8 | 513.2 | 853 | 1619 | 2007 | 1764 | 1445 | 1424 | 1670 | 2031 | 2488 | 3020 | 3601 | 4095 | 4330 | 4271 | 3835 | 3117 | 2183 | 1452 | 989.6 | 706 | 558.8 | 474.2 | 433.8 | 500.5 | 392 | 256.2 | 204.3 | 164.4 | 118.6 | 93.11 | 280.4 | 3332 | 5796 | 605.5 | 6.982 | 4.168 | 3.101 | 2.202
380 | 200.3 | 284.1 | 486.2 | 809.3 | 1372 | 1823 | 1615 | 1336 | 1320 | 1532 | 1869 | 2241 | 2686 | 3218 | 3683 | 3890 | 3829 | 3474 | 2887 | 2082 | 1464 | 1055 | 807 | 660.9 | 586 | 527.7 | 519 | 564.7 | 412.4 | 303.7 | 242.9 | 183 | 129.6 | 99.6 | 278.1 | 3407 | 5486 | 582 | 7.057 | 4.026 | 2.791
385 | 249.4 | 281.6 | 453.5 | 813.9 | 1315 | 1683 | 1469 | 1249 | 1280 | 1409 | 1690 | 2051 | 2409 | 2832 | 3249 | 3471 | 3457 | 3165 | 2675 | 2012 | 1489 | 1148 | 923 | 794.1 | 717.7 | 666 | 617.2 | 617.7 | 624.7 | 445.8 | 348.8 | 263.2 | 197 | 133.2 | 94.69 | 279.2 | 3209 | 5238 | 543.1 | 6.042 | 4.17
390 | 336.9 | 294.1 | 446.6 | 711.2 | 1264 | 1533 | 1389 | 1216 | 1246 | 1374 | 1529 | 1828 | 2154 | 2515 | 2875 | 3096 | 3121 | 2901 | 2533 | 1958 | 1550 | 1250 | 1059 | 953.2 | 885 | 830.1 | 784.5 | 723.1 | 720.4 | 677.8 | 490.2 | 374.1 | 277.8 | 194.3 | 121.6 | 84.14 | 257 | 3007 | 5167 | 553.8 | 5.679
395 | 810.8 | 301.5 | 402.4 | 689.7 | 1161 | 1423 | 1338 | 1185 | 1226 | 1283 | 1446 | 1696 | 1936 | 2224 | 2546 | 2777 | 2818 | 2681 | 2406 | 1973 | 1616 | 1380 | 1207 | 1121 | 1064 | 1013 | 963.5 | 892.4 | 816.4 | 818.6 | 692.2 | 500.2 | 370.3 | 263 | 168.3 | 100.3 | 71.83 | 242.6 | 3051 | 4933 | 462.1
400 | 1134 | 427.2 | 404.3 | 623 | 1045 | 1387 | 1293 | 1179 | 1208 | 1269 | 1384 | 1534 | 1727 | 1980 | 2272 | 2490 | 2601 | 2500 | 2297 | 1967 | 1703 | 1498 | 1366 | 1300 | 1262 | 1211 | 1158 | 1081 | 980.7 | 901.9 | 861.4 | 670.1 | 471.8 | 340.9 | 222.5 | 137.7 | 82.2 | 63.51 | 237.5 | 2905 | 4455
405 | 907.7 | 1042 | 360.1 | 657.8 | 985.6 | 1238 | 1235 | 1170 | 1225 | 1248 | 1328 | 1450 | 1583 | 1789 | 2077 | 2271 | 2383 | 2343 | 2212 | 1964 | 1771 | 1624 | 1516 | 1469 | 1442 | 1407 | 1342 | 1263 | 1148 | 1019 | 915.9 | 842.4 | 612.8 | 419 | 281.5 | 178.3 | 108.8 | 68.07 | 55.71 | 220.8 | 2537
410 | 340.7 | 1432 | 560.5 | 606.5 | 918 | 1182 | 1236 | 1195 | 1229 | 1262 | 1337 | 1379 | 1472 | 1635 | 1870 | 2079 | 2207 | 2229 | 2145 | 1982 | 1838 | 1727 | 1660 | 1620 | 1591 | 1564 | 1508 | 1421 | 1296 | 1151 | 1005 | 887.5 | 766.3 | 516.6 | 340.3 | 218.8 | 139.8 | 88.52 | 57.26 | 47.8 | 195.3
415 | 210.8 | 1110 | 1128 | 560.4 | 882.1 | 1095 | 1205 | 1186 | 1239 | 1261 | 1314 | 1335 | 1363 | 1514 | 1715 | 1938 | 2080 | 2127 | 2098 | 1974 | 1877 | 1808 | 1765 | 1728 | 1730 | 1701 | 1643 | 1558 | 1419 | 1261 | 1099 | 938.1 | 812 | 635.4 | 403.2 | 261.3 | 169.9 | 110.6 | 70.84 | 46.93 | 40.69
420 | 200.7 | 434.8 | 1685 | 729.1 | 891.3 | 1032 | 1154 | 1197 | 1246 | 1265 | 1285 | 1318 | 1298 | 1392 | 1612 | 1802 | 1953 | 2009 | 2027 | 1935 | 1891 | 1857 | 1837 | 1825 | 1820 | 1799 | 1751 | 1661 | 1516 | 1359 | 1180 | 994.2 | 825.2 | 699.7 | 497.5 | 303.6 | 198.8 | 134 | 87.62 | 58.52 | 38.96
425 | 162.8 | 229.9 | 1153 | 1339 | 794.4 | 1010 | 1128 | 1194 | 1215 | 1284 | 1268 | 1247 | 1226 | 1296 | 1473 | 1680 | 1842 | 1906 | 1958 | 1905 | 1887 | 1874 | 1869 | 1885 | 1886 | 1871 | 1826 | 1735 | 1588 | 1425 | 1235 | 1049 | 851.3 | 685.7 | 566.2 | 365.3 | 227.2 | 153.7 | 103.1 | 71.18 | 46.82
430 | 202.1 | 283.5 | 531.6 | 1863 | 912.6 | 925.2 | 1108 | 1168 | 1224 | 1258 | 1273 | 1207 | 1181 | 1221 | 1379 | 1577 | 1723 | 1819 | 1866 | 1862 | 1868 | 1875 | 1885 | 1893 | 1919 | 1906 | 1880 | 1781 | 1632 | 1468 | 1279 | 1087 | 884.7 | 687.8 | 553.8 | 435.1 | 268.7 | 173.7 | 118.2 | 80.61 | 57.61
435 | 173.1 | 259.8 | 323.2 | 1359 | 1630 | 938 | 1066 | 1139 | 1245 | 1285 | 1257 | 1188 | 1137 | 1151 | 1297 | 1486 | 1651 | 1732 | 1791 | 1797 | 1841 | 1847 | 1876 | 1905 | 1932 | 1921 | 1882 | 1811 | 1667 | 1497 | 1308 | 1110 | 907.6 | 710.1 | 538.2 | 434.5 | 328.3 | 196.5 | 131.1 | 92.7 | 65.11
440 | 187.9 | 215.9 | 370.8 | 647.5 | 2094 | 1025 | 1037 | 1104 | 1205 | 1256 | 1233 | 1163 | 1089 | 1094 | 1222 | 1411 | 1533 | 1652 | 1709 | 1752 | 1794 | 1816 | 1844 | 1883 | 1913 | 1925 | 1881 | 1794 | 1657 | 1497 | 1307 | 1109 | 916.9 | 723.3 | 543.9 | 406 | 343.4 | 241.3 | 147.2 | 103.4 | 75.87
445 | 164.2 | 233.9 | 291.4 | 392.3 | 1726 | 1658 | 974.4 | 1093 | 1193 | 1214 | 1195 | 1107 | 1016 | 1024 | 1139 | 1307 | 1453 | 1538 | 1610 | 1661 | 1701 | 1732 | 1767 | 1819 | 1865 | 1864 | 1829 | 1749 | 1622 | 1463 | 1292 | 1102 | 901.7 | 720.2 | 546 | 398.4 | 309.5 | 268 | 179.4 | 112.1 | 82.77
450 | 178 | 191.6 | 248.4 | 413.8 | 794.1 | 2314 | 1092 | 985.7 | 1116 | 1168 | 1147 | 1074 | 973.2 | 957.2 | 1061 | 1203 | 1341 | 1422 | 1495 | 1560 | 1600 | 1652 | 1686 | 1716 | 1761 | 1770 | 1747 | 1677 | 1554 | 1415 | 1243 | 1061 | 882.6 | 701.8 | 537.1 | 393.2 | 289.7 | 241 | 206.1 | 133.9 | 90.32
455 | 161 | 173.7 | 292.9 | 322.3 | 479.6 | 1960 | 1819 | 948.5 | 1039 | 1090 | 1066 | 1010 | 894.6 | 872.5 | 972.1 | 1089 | 1221 | 1298 | 1376 | 1425 | 1482 | 1526 | 1573 | 1615 | 1650 | 1666 | 1640 | 1581 | 1465 | 1331 | 1176 | 1016 | 840.2 | 671.1 | 517.1 | 385.5 | 286 | 216.4 | 195.3 | 164.6 | 105.5
460 | 183.2 | 148 | 248.1 | 290.4 | 458.7 | 910.3 | 2512 | 1075 | 947.1 | 1007 | 1008 | 905.1 | 814.9 | 810.8 | 870.4 | 996.7 | 1110 | 1192 | 1250 | 1311 | 1352 | 1405 | 1455 | 1491 | 1522 | 1550 | 1528 | 1473 | 1371 | 1252 | 1104 | 947.4 | 797.3 | 640.4 | 491.6 | 371.6 | 277.4 | 212.4 | 171.8 | 165.5 | 129.1
465 | 188 | 162 | 202.9 | 299 | 380.1 | 579.8 | 2046 | 1722 | 899.1 | 933.4 | 926.9 | 848.4 | 744.9 | 723.7 | 784.4 | 900.9 | 1001 | 1065 | 1135 | 1179 | 1230 | 1285 | 1318 | 1355 | 1389 | 1416 | 1404 | 1348 | 1268 | 1146 | 1021 | 882.2 | 740.3 | 598.7 | 474.5 | 356.1 | 272.5 | 205.9 | 160.3 | 142.4 | 138.9
470 | 114.1 | 146.4 | 188.6 | 267.8 | 378.3 | 466.4 | 898.5 | 2474 | 998.3 | 836.8 | 845.8 | 777.5 | 702.7 | 660.7 | 701 | 807.8 | 894.7 | 946 | 1008 | 1061 | 1102 | 1150 | 1186 | 1212 | 1256 | 1281 | 1275 | 1223 | 1152 | 1044 | 922.8 | 815.3 | 681.9 | 553.9 | 439.1 | 336.3 | 259.2 | 197.7 | 158.7 | 126.7 | 123.9
475 | 133.8 | 110.2 | 160.3 | 223.4 | 340.5 | 423.6 | 566.4 | 2026 | 1667 | 769.9 | 747.9 | 698.3 | 625 | 588.9 | 630.2 | 713.1 | 783.4 | 838.1 | 886.3 | 931.1 | 984.7 | 1028 | 1057 | 1094 | 1136 | 1143 | 1133 | 1102 | 1034 | 948.4 | 837.7 | 733.2 | 622.4 | 514.5 | 405.6 | 316.8 | 241.8 | 190.4 | 153.8 | 124.4 | 106.9
480 | 94.58 | 112.9 | 164.5 | 201.3 | 293 | 366.7 | 476.4 | 881.8 | 2370 | 916.3 | 670.1 | 632.4 | 567.8 | 543.7 | 559.1 | 635.5 | 696.1 | 749.8 | 791.2 | 831.5 | 878.4 | 921.4 | 946.4 | 981.9 | 1018 | 1031 | 1023 | 986.7 | 927.8 | 852.6 | 762.5 | 665.8 | 567.9 | 474.5 | 378.7 | 297.1 | 231.9 | 184.9 | 146 | 121.4 | 101.8
485 | 101.1 | 118 | 132.8 | 192 | 287.4 | 365.8 | 436.7 | 530.5 | 1934 | 1534 | 631.7 | 577.3 | 519.9 | 490.7 | 523.3 | 571.1 | 632 | 671.1 | 711.1 | 750.1 | 792.8 | 825.4 | 861.2 | 887.5 | 912.7 | 932.3 | 925.3 | 901.4 | 853.7 | 782.2 | 702.9 | 616.3 | 524 | 442.7 | 353.5 | 278.4 | 223.8 | 176 | 143.9 | 119.1 | 102
490 | 82.65 | 122.5 | 134.3 | 168.7 | 232.5 | 332.9 | 389.4 | 471.9 | 865.7 | 2240 | 754.9 | 546.9 | 495.4 | 463.5 | 487.7 | 541.7 | 576.8 | 614.5 | 637 | 674.7 | 708.8 | 749.3 | 775.4 | 805.3 | 827.2 | 843.2 | 838.1 | 821.2 | 776 | 717.8 | 643.2 | 567.4 | 496.1 | 412.3 | 335.7 | 271 | 213.7 | 171.5 | 141.7 | 117.3 | 99.48
495 | 105.7 | 128.5 | 98.96 | 163.8 | 211.6 | 291.4 | 362.2 | 448.3 | 508.4 | 1893 | 1344 | 502.9 | 460.1 | 443.1 | 452.7 | 487.3 | 526.1 | 537.4 | 572.4 | 603.4 | 643.5 | 668.1 | 694.3 | 713.2 | 753.3 | 755.7 | 760.6 | 741.9 | 709.4 | 651.8 | 587.4 | 522.8 | 453.9 | 384.3 | 318.8 | 257 | 209 | 165.9 | 135.9 | 116.8 | 102.4
500 | 57 | 94.35 | 125.6 | 133 | 170.9 | 251.3 | 362.7 | 386 | 430.6 | 820 | 1987 | 618.8 | 419.6 | 400.8 | 421.2 | 447.9 | 472.4 | 495.2 | 508.7 | 530.6 | 566 | 588 | 610.5 | 639.1 | 663.6 | 667.1 | 681.5 | 664.3 | 633.8 | 584.5 | 527.1 | 469.3 | 419.3 | 357.3 | 297.5 | 243.3 | 197.5 | 160 | 134.4 | 114.3 | 99.99