## Sheet1
Report date: | 15:05:38, 09/19/2024
Sample: | 1
File name:
Run date: | 15:00:07, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/485.0 | 121.2
2 | 230.0/330.0 | 2693
3 | 250.0/275.0 | 268.2
4 | 280.0/340.0 | 5920
5 | 300.0/425.0 | 1799
6 | 325.0/435.0 | 1873
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 17.92 | 22.76 | 22.37 | 35.25 | 38.37 | 31.15 | 16.18 | 15.04 | 28.45 | 214.8 | 124.6 | 29.6 | 52.97 | 2772 | 6552 | 1388 | 15.23 | 7.163 | 5.32 | 3.791 | 3.178 | 2.654 | 2.33 | 2.563 | 2.094 | 2.015 | 2.043 | 2.259 | 2.017 | 2.034 | 1.77 | 1.579 | 1.903 | 1.674 | 1.651 | 1.3 | 1.561 | 1.534 | 1.36 | 1.12 | 1.133
275 | 84.39 | 74.99 | 91.84 | 132.7 | 167.8 | 140.5 | 51.34 | 16.35 | 18.03 | 81.31 | 268.2 | 141.1 | 82.57 | 277.6 | 3184 | 6139 | 1213 | 14.14 | 6.221 | 4.381 | 3.498 | 2.592 | 2.705 | 2.221 | 2.12 | 2.419 | 1.915 | 1.968 | 1.88 | 1.781 | 1.922 | 1.793 | 1.759 | 1.538 | 1.491 | 1.351 | 1.409 | 1.378 | 1.277 | 1.239 | 1.191
280 | 110 | 128.7 | 161.7 | 285.1 | 342.6 | 322 | 121.2 | 41.58 | 30.42 | 49.85 | 165.9 | 366.6 | 249.2 | 267.7 | 492.7 | 3468 | 5387 | 1107 | 13.21 | 5.873 | 3.907 | 3.089 | 2.797 | 2.569 | 2.581 | 2.464 | 2.043 | 1.996 | 2.529 | 2.041 | 2.098 | 2.1 | 1.774 | 1.471 | 1.698 | 1.59 | 1.465 | 1.407 | 1.335 | 1.415 | 1.42
285 | 180.9 | 158.8 | 269.2 | 425.2 | 611.7 | 585.3 | 330.7 | 141.6 | 69.08 | 81.27 | 143.6 | 402.8 | 645.6 | 617.8 | 726.1 | 841.5 | 3153 | 4983 | 945.5 | 12.69 | 4.976 | 4.031 | 2.965 | 2.642 | 2.86 | 2.491 | 2.712 | 2.319 | 2.137 | 1.934 | 2.027 | 1.741 | 2.252 | 1.525 | 1.612 | 1.705 | 1.525 | 1.47 | 1.243 | 1.426 | 1.517
290 | 212 | 227.8 | 267.2 | 576.1 | 936.7 | 1017 | 697.4 | 343.6 | 166.2 | 150.2 | 228.3 | 419.9 | 939.5 | 1288 | 1394 | 1335 | 1083 | 3040 | 4796 | 844.1 | 9.125 | 4.652 | 3.908 | 3.077 | 2.766 | 2.295 | 2.422 | 2.423 | 2.216 | 2.408 | 2.085 | 1.821 | 2.015 | 1.623 | 1.451 | 1.804 | 1.502 | 1.409 | 1.35 | 1.462 | 1.572
295 | 271.7 | 280.9 | 385.6 | 722.4 | 1237 | 1504 | 1167 | 624.9 | 330 | 269.6 | 364.7 | 603.5 | 1056 | 1886 | 2236 | 2106 | 1550 | 945.8 | 3021 | 4747 | 756.7 | 10.29 | 4.316 | 3.298 | 2.831 | 2.536 | 2.636 | 2.535 | 2.471 | 2.429 | 2.115 | 1.955 | 1.705 | 1.834 | 1.647 | 1.64 | 1.253 | 1.558 | 1.341 | 1.389 | 1.509
300 | 309.6 | 358.9 | 476.3 | 806.7 | 1374 | 1877 | 1619 | 956.5 | 566.5 | 476.7 | 562.5 | 837.5 | 1326 | 2097 | 3057 | 2965 | 2276 | 1329 | 753.5 | 2905 | 4591 | 672 | 9.531 | 4.103 | 3.407 | 3.243 | 3.085 | 2.886 | 2.685 | 2.289 | 2.204 | 1.993 | 2.427 | 1.961 | 1.762 | 1.585 | 1.724 | 1.54 | 1.444 | 1.436 | 1.349
305 | 318.6 | 418.8 | 501.9 | 884.8 | 1552 | 2068 | 2014 | 1325 | 880.8 | 779.4 | 861.1 | 1144 | 1636 | 2387 | 3339 | 3932 | 3158 | 2068 | 1158 | 760 | 2886 | 4482 | 579.9 | 7.319 | 4.391 | 3.606 | 3.171 | 3.022 | 3.005 | 2.212 | 2.381 | 2.166 | 2.089 | 2.003 | 1.7 | 1.501 | 1.566 | 1.484 | 1.521 | 1.468 | 1.555
310 | 373.9 | 437.3 | 583.8 | 894 | 1576 | 2346 | 2305 | 1666 | 1270 | 1160 | 1206 | 1483 | 1930 | 2698 | 3662 | 4342 | 4177 | 2950 | 1847 | 1029 | 579.5 | 2605 | 4432 | 535.4 | 6.678 | 4.181 | 3.751 | 2.947 | 3.062 | 2.605 | 2.227 | 2.313 | 2.011 | 2.218 | 1.956 | 1.645 | 1.763 | 1.665 | 1.629 | 1.667 | 1.35
315 | 377.8 | 472.6 | 537.1 | 864 | 1668 | 2340 | 2459 | 1942 | 1614 | 1477 | 1587 | 1801 | 2191 | 2980 | 3971 | 4624 | 4720 | 3918 | 2547 | 1463 | 609.4 | 343.7 | 2482 | 4139 | 485.8 | 5.84 | 4.384 | 3.355 | 3.162 | 2.615 | 2.225 | 2.333 | 2.307 | 1.986 | 2.048 | 1.727 | 1.859 | 1.631 | 1.431 | 1.51 | 1.528
320 | 361.7 | 457.4 | 622 | 939.8 | 1682 | 2433 | 2615 | 2166 | 1853 | 1814 | 1909 | 2155 | 2515 | 3246 | 4258 | 5006 | 5050 | 4509 | 3289 | 1837 | 784 | 265.9 | 245.7 | 2347 | 4164 | 457.5 | 6.22 | 3.741 | 3.681 | 2.881 | 2.596 | 2.689 | 2.39 | 2.119 | 2.164 | 1.933 | 1.604 | 1.696 | 1.715 | 1.403 | 1.376
325 | 398.4 | 498.4 | 644.2 | 976 | 1681 | 2508 | 2599 | 2278 | 2022 | 2036 | 2187 | 2473 | 2848 | 3504 | 4527 | 5289 | 5392 | 4787 | 3824 | 2241 | 947.7 | 339.3 | 139.6 | 209.5 | 2342 | 4120 | 452 | 5.961 | 4.397 | 2.822 | 3.078 | 2.896 | 2.609 | 2.365 | 2.046 | 2.09 | 1.856 | 1.82 | 1.723 | 1.451 | 1.717
330 | 313.7 | 497.4 | 673.5 | 1014 | 1761 | 2515 | 2693 | 2305 | 2126 | 2182 | 2415 | 2711 | 3117 | 3804 | 4752 | 5518 | 5690 | 5067 | 3899 | 2602 | 1146 | 413 | 172.8 | 90.66 | 195 | 2344 | 4477 | 443.6 | 5.581 | 4.136 | 3.264 | 2.831 | 2.613 | 2.556 | 2.266 | 2.234 | 1.93 | 1.66 | 1.937 | 1.541 | 1.592
335 | 319.9 | 416.7 | 677.6 | 1056 | 1767 | 2521 | 2629 | 2273 | 2158 | 2267 | 2596 | 2945 | 3385 | 4096 | 5004 | 5706 | 5844 | 5240 | 4062 | 2596 | 1433 | 542.2 | 228.3 | 111.9 | 67.01 | 189.7 | 2668 | 4293 | 453.5 | 5.535 | 4.16 | 3.529 | 2.916 | 2.355 | 2.086 | 1.886 | 2.191 | 1.742 | 2.008 | 1.583 | 1.411
340 | 318 | 446.8 | 662.9 | 1123 | 1841 | 2601 | 2618 | 2225 | 2157 | 2294 | 2651 | 3095 | 3617 | 4310 | 5189 | 5796 | 5920 | 5346 | 4158 | 2585 | 1445 | 793.6 | 302.7 | 145.7 | 82.92 | 58.71 | 209.9 | 2495 | 4279 | 459.4 | 5.873 | 4.517 | 3.365 | 2.982 | 2.24 | 2.387 | 2.106 | 1.985 | 1.826 | 1.698 | 1.655
345 | 296 | 417.4 | 620.8 | 1150 | 1901 | 2582 | 2517 | 2111 | 2029 | 2290 | 2655 | 3168 | 3723 | 4420 | 5263 | 5829 | 5870 | 5291 | 4154 | 2609 | 1403 | 843.7 | 498.9 | 196 | 109.6 | 73.7 | 59.25 | 198.4 | 2498 | 4280 | 508.1 | 6.237 | 4.25 | 3.441 | 2.967 | 2.556 | 2.366 | 1.97 | 1.853 | 1.678 | 1.621
350 | 316.7 | 484.6 | 576 | 1032 | 1878 | 2520 | 2351 | 1984 | 1942 | 2185 | 2636 | 3122 | 3733 | 4460 | 5240 | 5733 | 5743 | 5192 | 4088 | 2596 | 1430 | 759.4 | 595.5 | 346.8 | 154.4 | 102.6 | 73.95 | 58.83 | 199.6 | 2425 | 4753 | 615.2 | 6.636 | 4.443 | 3.712 | 2.682 | 2.648 | 2.151 | 1.776 | 2.001 | 1.864
355 | 293.6 | 451.6 | 612.3 | 1031 | 1811 | 2403 | 2236 | 1836 | 1813 | 2077 | 2508 | 3053 | 3667 | 4362 | 5090 | 5550 | 5532 | 4952 | 3946 | 2556 | 1455 | 794.4 | 510.8 | 492.1 | 263.9 | 142.2 | 103.1 | 77.66 | 64.01 | 200.1 | 2723 | 5618 | 627.8 | 7.366 | 4.852 | 3.229 | 2.626 | 2.436 | 2.108 | 1.75 | 1.866
360 | 310.3 | 306.6 | 562.9 | 1007 | 1731 | 2201 | 2057 | 1679 | 1687 | 1935 | 2378 | 2896 | 3507 | 4184 | 4886 | 5241 | 5214 | 4689 | 3740 | 2453 | 1459 | 837.8 | 524.2 | 424.9 | 432.7 | 232.8 | 146.1 | 112.7 | 83.42 | 68.42 | 224.3 | 3156 | 6022 | 631.3 | 7.354 | 4.031 | 3.344 | 2.848 | 2.268 | 1.741 | 2.013
365 | 255.7 | 357.7 | 587.4 | 952 | 1599 | 2062 | 1908 | 1580 | 1559 | 1799 | 2223 | 2700 | 3290 | 3951 | 4575 | 4874 | 4862 | 4353 | 3504 | 2340 | 1457 | 882.6 | 575.2 | 415.5 | 414.4 | 406.9 | 222.8 | 156.8 | 120.3 | 92.45 | 80.24 | 258 | 3460 | 5866 | 633.8 | 7.501 | 4.845 | 3.404 | 2.574 | 2.138 | 1.782
370 | 241 | 331.4 | 472.9 | 894.2 | 1509 | 1921 | 1755 | 1419 | 1432 | 1650 | 2033 | 2511 | 3026 | 3645 | 4178 | 4467 | 4449 | 4012 | 3261 | 2216 | 1428 | 923 | 627 | 476.1 | 397.4 | 452.4 | 387.1 | 233.7 | 174.2 | 134.8 | 107.9 | 87.75 | 283.8 | 3456 | 5819 | 650.3 | 7.26 | 4.594 | 3.183 | 2.409 | 2.088
375 | 200.4 | 293.7 | 456.7 | 743.9 | 1435 | 1737 | 1610 | 1300 | 1302 | 1528 | 1863 | 2256 | 2782 | 3300 | 3770 | 4056 | 4037 | 3623 | 2994 | 2103 | 1419 | 964.1 | 708.5 | 556.5 | 469.7 | 430.8 | 503 | 391.6 | 253.3 | 202 | 161.3 | 117.7 | 93.87 | 286.3 | 3448 | 5900 | 659.9 | 6.99 | 4.568 | 3.12 | 2.297
380 | 191 | 267.8 | 420.7 | 715.5 | 1196 | 1572 | 1435 | 1249 | 1224 | 1416 | 1694 | 2036 | 2500 | 2952 | 3386 | 3630 | 3625 | 3280 | 2765 | 2011 | 1422 | 1033 | 792.9 | 657.2 | 571.7 | 514.9 | 505.7 | 561.3 | 407.6 | 293.4 | 239.5 | 179.3 | 128.1 | 99.07 | 284.6 | 3335 | 5772 | 569.4 | 6.397 | 4.089 | 2.933
385 | 190.5 | 249.4 | 397.3 | 641 | 1131 | 1452 | 1332 | 1144 | 1163 | 1309 | 1543 | 1850 | 2203 | 2618 | 3003 | 3229 | 3259 | 3004 | 2581 | 1928 | 1451 | 1122 | 906.8 | 789.8 | 704.9 | 651.9 | 606.7 | 609 | 616 | 442.4 | 340.1 | 264.1 | 193 | 131.6 | 94.08 | 274.6 | 3328 | 5219 | 538.4 | 6.132 | 3.918
390 | 309.5 | 253.9 | 341.9 | 606.9 | 989.2 | 1363 | 1285 | 1106 | 1100 | 1204 | 1397 | 1658 | 1973 | 2322 | 2678 | 2862 | 2909 | 2770 | 2423 | 1899 | 1522 | 1218 | 1038 | 937 | 868.1 | 810.2 | 761.2 | 716.8 | 712.3 | 663.7 | 481.7 | 368.8 | 274.2 | 189.7 | 119.7 | 83.07 | 264.2 | 3029 | 4959 | 547.7 | 5.984
395 | 766.4 | 244.4 | 327.5 | 579.3 | 957.2 | 1200 | 1211 | 1048 | 1070 | 1155 | 1318 | 1516 | 1757 | 2056 | 2375 | 2574 | 2633 | 2518 | 2294 | 1890 | 1570 | 1339 | 1183 | 1096 | 1043 | 992.1 | 944.9 | 877.5 | 803.4 | 799.5 | 678 | 485.5 | 367.2 | 258.4 | 165.8 | 99.19 | 72.62 | 244.8 | 2934 | 4809 | 502.5
400 | 1108 | 390.2 | 316.2 | 594.4 | 902.1 | 1108 | 1137 | 1068 | 1067 | 1120 | 1245 | 1375 | 1583 | 1825 | 2101 | 2331 | 2412 | 2347 | 2183 | 1875 | 1639 | 1458 | 1329 | 1262 | 1217 | 1186 | 1129 | 1051 | 953.7 | 866.5 | 847.7 | 659.3 | 467 | 332.7 | 219.2 | 137.2 | 83.15 | 60.76 | 228.9 | 2843 | 4730
405 | 839.7 | 894.8 | 326.3 | 552.9 | 839.5 | 1088 | 1116 | 1026 | 1068 | 1121 | 1183 | 1297 | 1430 | 1622 | 1901 | 2087 | 2203 | 2203 | 2103 | 1893 | 1705 | 1571 | 1484 | 1425 | 1394 | 1362 | 1310 | 1224 | 1124 | 996.3 | 895.4 | 831.8 | 600.2 | 411.2 | 276.5 | 174.9 | 109.7 | 67.58 | 53.62 | 216.6 | 2610
410 | 314.3 | 1262 | 495.2 | 482.6 | 777.4 | 957.6 | 1073 | 1016 | 1054 | 1094 | 1149 | 1206 | 1306 | 1482 | 1709 | 1915 | 2056 | 2072 | 2042 | 1884 | 1765 | 1659 | 1602 | 1570 | 1560 | 1523 | 1472 | 1386 | 1269 | 1122 | 978.7 | 877.2 | 756.7 | 505.5 | 333.3 | 217.2 | 138.3 | 87.78 | 55.83 | 46.93 | 199
415 | 227.3 | 912 | 1050 | 503.1 | 718.5 | 947.9 | 1023 | 1019 | 1035 | 1058 | 1119 | 1166 | 1219 | 1336 | 1579 | 1759 | 1908 | 1973 | 1942 | 1865 | 1792 | 1736 | 1692 | 1678 | 1677 | 1648 | 1597 | 1512 | 1385 | 1235 | 1076 | 916.4 | 806 | 631.3 | 396.6 | 258.5 | 167.8 | 109.3 | 70.7 | 45.87 | 39.32
420 | 175.7 | 394.5 | 1477 | 607.8 | 683.3 | 923 | 981.5 | 1027 | 1032 | 1068 | 1102 | 1112 | 1150 | 1257 | 1452 | 1633 | 1773 | 1846 | 1884 | 1831 | 1791 | 1770 | 1759 | 1755 | 1772 | 1753 | 1704 | 1611 | 1474 | 1318 | 1147 | 975.6 | 804.9 | 692.5 | 492.2 | 298.9 | 196.3 | 132.1 | 87.72 | 55.91 | 38.25
425 | 142.2 | 255.4 | 1049 | 1237 | 695.3 | 872.3 | 919.7 | 1010 | 1043 | 1056 | 1075 | 1072 | 1081 | 1156 | 1337 | 1512 | 1672 | 1760 | 1797 | 1783 | 1799 | 1786 | 1784 | 1800 | 1816 | 1808 | 1768 | 1684 | 1548 | 1380 | 1207 | 1027 | 833.3 | 670.4 | 563.6 | 364 | 222.4 | 151.6 | 102.8 | 68.41 | 46.26
430 | 166.2 | 222.7 | 411.6 | 1769 | 802.8 | 793.4 | 918.8 | 973.2 | 1021 | 1050 | 1046 | 1059 | 1019 | 1078 | 1245 | 1420 | 1552 | 1673 | 1722 | 1742 | 1764 | 1780 | 1796 | 1817 | 1853 | 1847 | 1807 | 1724 | 1590 | 1428 | 1250 | 1058 | 866.6 | 683.9 | 543.5 | 433 | 267.5 | 172.7 | 117.8 | 81.46 | 56.4
435 | 141.7 | 189.6 | 258.8 | 1269 | 1358 | 747.5 | 866.9 | 934.4 | 996 | 1032 | 1042 | 1015 | 977.8 | 1017 | 1158 | 1343 | 1478 | 1583 | 1653 | 1667 | 1716 | 1767 | 1782 | 1819 | 1863 | 1873 | 1824 | 1744 | 1608 | 1460 | 1276 | 1078 | 888.5 | 695.9 | 528.7 | 433.9 | 330.5 | 196 | 130.4 | 91.59 | 64.97
440 | 153 | 162 | 242.6 | 502.7 | 1935 | 920.4 | 824.4 | 882.4 | 986.8 | 1026 | 1005 | 962.8 | 955 | 963.9 | 1086 | 1261 | 1388 | 1490 | 1556 | 1617 | 1672 | 1729 | 1758 | 1806 | 1850 | 1857 | 1813 | 1735 | 1614 | 1458 | 1276 | 1090 | 899.6 | 707.8 | 537.5 | 404.6 | 337.6 | 242 | 146.2 | 100.7 | 74.11
445 | 171.2 | 139 | 207.4 | 365.3 | 1560 | 1447 | 811.9 | 861.5 | 946.2 | 968.8 | 971 | 921.7 | 890 | 900.4 | 1004 | 1170 | 1285 | 1392 | 1476 | 1527 | 1588 | 1638 | 1686 | 1740 | 1788 | 1799 | 1774 | 1695 | 1570 | 1426 | 1257 | 1073 | 887.2 | 706.5 | 533.7 | 395.2 | 305.8 | 264.9 | 177 | 113.4 | 79.48
450 | 143.5 | 116 | 203.6 | 303.7 | 703.4 | 2057 | 903.7 | 802.3 | 895.7 | 932.7 | 912.4 | 871 | 821.1 | 845.5 | 933.6 | 1064 | 1192 | 1285 | 1357 | 1425 | 1494 | 1550 | 1597 | 1654 | 1696 | 1713 | 1690 | 1638 | 1508 | 1375 | 1203 | 1038 | 863.5 | 687.3 | 521.7 | 385.8 | 288.6 | 239.7 | 205.4 | 130 | 87.83
455 | 121.8 | 162.6 | 191.2 | 293.7 | 438.8 | 1687 | 1550 | 757.9 | 815.1 | 857.8 | 873.5 | 814 | 758.8 | 770.3 | 858 | 977 | 1076 | 1177 | 1249 | 1314 | 1388 | 1446 | 1489 | 1551 | 1589 | 1606 | 1592 | 1538 | 1432 | 1291 | 1149 | 977.7 | 820.4 | 662.2 | 509.4 | 381.1 | 283.4 | 215.7 | 193.3 | 158.3 | 100.6
460 | 114.5 | 141.5 | 181.7 | 268.3 | 376.4 | 789.8 | 2316 | 908 | 764.4 | 799.7 | 794.3 | 768.8 | 697.1 | 703.8 | 774.2 | 884.7 | 986.9 | 1070 | 1139 | 1199 | 1267 | 1323 | 1373 | 1423 | 1463 | 1486 | 1471 | 1424 | 1340 | 1211 | 1069 | 925.6 | 770.7 | 629.9 | 491.9 | 368 | 276 | 205.5 | 168.9 | 163.2 | 125.3
465 | 98.9 | 106.9 | 143.5 | 240.3 | 333.7 | 424 | 1900 | 1547 | 700.7 | 708.6 | 727.2 | 696.9 | 652.4 | 643.1 | 688.8 | 796.1 | 884 | 958.9 | 1014 | 1077 | 1146 | 1205 | 1255 | 1300 | 1345 | 1356 | 1355 | 1313 | 1228 | 1111 | 991.5 | 855.9 | 722.5 | 590.5 | 461.9 | 350.2 | 266.5 | 201.4 | 157.9 | 138.9 | 134.5
470 | 119.4 | 92.96 | 155.8 | 211.9 | 292.4 | 396.4 | 798.9 | 2256 | 841.2 | 663.6 | 666.6 | 628.4 | 591 | 580.4 | 624.1 | 710.6 | 794.4 | 851.5 | 908.4 | 957.2 | 1018 | 1086 | 1129 | 1166 | 1206 | 1227 | 1228 | 1191 | 1117 | 1018 | 902.1 | 787 | 668.3 | 549.8 | 428.7 | 329.1 | 252.8 | 193.6 | 152.5 | 125.1 | 117.7
475 | 88.27 | 126.3 | 125.6 | 165.4 | 284 | 356.4 | 444 | 1819 | 1492 | 611 | 591.3 | 575.5 | 533.9 | 516 | 567.3 | 632.1 | 702.7 | 751.5 | 810.4 | 854.8 | 913.2 | 954.9 | 1007 | 1050 | 1087 | 1105 | 1100 | 1069 | 1005 | 914.5 | 821.6 | 719.6 | 605.1 | 503.8 | 404.2 | 310.7 | 238.3 | 184.7 | 151.1 | 120 | 102
480 | 71.95 | 115.4 | 116.1 | 140.9 | 236.1 | 323.3 | 386.3 | 764.1 | 2134 | 748.5 | 552.9 | 529.3 | 484.7 | 475.2 | 506.5 | 567.4 | 627.8 | 671 | 713 | 755.6 | 812.5 | 857.5 | 901.8 | 933.6 | 972.5 | 989.8 | 990.2 | 964.3 | 909.3 | 834.4 | 752.2 | 652.1 | 553.2 | 464.1 | 369.8 | 295.3 | 228.5 | 178.9 | 144.3 | 118.7 | 96.48
485 | 120.9 | 121.2 | 107.4 | 157.2 | 202.8 | 309.3 | 363.8 | 454.2 | 1738 | 1338 | 517.3 | 476.6 | 449.3 | 438 | 472 | 526 | 562.3 | 614.9 | 644.6 | 679.9 | 731.3 | 774 | 816.9 | 849.8 | 884.5 | 901.1 | 897.3 | 874.7 | 831.9 | 765.4 | 683.8 | 600.4 | 514.7 | 435.7 | 348.5 | 275.8 | 216.5 | 173 | 139.6 | 115.2 | 98.05
490 | 82.83 | 113.6 | 105.4 | 112.8 | 192.5 | 291.7 | 339.5 | 371 | 722.6 | 2013 | 626.5 | 456.1 | 430.3 | 411.9 | 435 | 476.3 | 511.3 | 556 | 578.8 | 628.2 | 661.1 | 705.5 | 738.3 | 767.1 | 797.6 | 820.4 | 817.8 | 799.9 | 753.7 | 696.4 | 634.2 | 553.7 | 482.3 | 405.9 | 333.5 | 263.6 | 210.5 | 167.2 | 138 | 114 | 96.39
495 | 81.87 | 67.54 | 91.45 | 135.3 | 140.9 | 241.8 | 303.3 | 348 | 401.3 | 1671 | 1172 | 422.1 | 400.2 | 405.8 | 409.3 | 439 | 469.6 | 500.6 | 514.6 | 551.4 | 588.3 | 632.6 | 656.6 | 686.8 | 713.9 | 737.8 | 740.3 | 726.2 | 684.3 | 634.9 | 573.4 | 508.7 | 446.2 | 379.3 | 316.6 | 252.6 | 204.8 | 164.2 | 133 | 112.3 | 96.1
500 | 43.97 | 82.36 | 67.47 | 113.1 | 149.2 | 220.6 | 298.7 | 315.7 | 349.5 | 701.3 | 1844 | 544.4 | 376.6 | 370 | 382 | 399 | 426.9 | 447.6 | 462.7 | 481.1 | 519.1 | 558.9 | 585.2 | 608 | 636.5 | 654.7 | 663.3 | 648 | 614.3 | 571.6 | 524.1 | 468 | 409.1 | 349.8 | 291.9 | 241.8 | 195.5 | 154.7 | 130.1 | 109.9 | 95.57