## Sheet1
Report date: | 15:11:02, 09/19/2024
Sample: | 1
File name:
Run date: | 15:05:36, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/340.0 | 2507
2 | 230.0/325.0 | 2589
3 | 250.0/275.0 | 271
4 | 280.0/340.0 | 5753
5 | 320.0/430.0 | 1848
6 | 325.0/435.0 | 1853
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 37.41 | 25.79 | 22.85 | 53.64 | 38.1 | 33.01 | 13.54 | 11.3 | 28.7 | 224 | 128.2 | 29.81 | 50.71 | 2785 | 6461 | 1387 | 15.02 | 7.252 | 5.285 | 3.734 | 2.676 | 2.468 | 2.741 | 2.08 | 2.162 | 1.623 | 1.964 | 1.825 | 1.978 | 2.167 | 1.738 | 1.634 | 1.531 | 1.65 | 1.451 | 1.413 | 1.427 | 1.402 | 1.299 | 1.344 | 1.023
275 | 89.42 | 46.57 | 87.11 | 116.1 | 198.4 | 138.1 | 42.31 | 14.45 | 14.87 | 76.64 | 271 | 133.7 | 79.01 | 288 | 3281 | 6219 | 1258 | 13.27 | 5.343 | 4.154 | 3.156 | 2.674 | 2.834 | 2.42 | 2.492 | 2.118 | 2.116 | 2.082 | 1.956 | 2.245 | 2.189 | 1.87 | 1.756 | 1.576 | 1.89 | 1.431 | 1.237 | 1.262 | 1.307 | 1.223 | 0.937
280 | 85.7 | 113.7 | 151.6 | 256 | 343.5 | 296.5 | 112.7 | 43.59 | 31.06 | 48.54 | 170.4 | 389.5 | 250.1 | 266 | 489.2 | 3439 | 5869 | 1129 | 14.62 | 5.854 | 3.362 | 3.201 | 2.65 | 2.625 | 2.209 | 2.349 | 2.486 | 2.033 | 2.256 | 1.912 | 1.995 | 1.689 | 1.856 | 1.807 | 1.692 | 1.339 | 1.515 | 1.297 | 1.502 | 1.386 | 1.353
285 | 170.6 | 151.1 | 211.5 | 402 | 599 | 603.7 | 347.1 | 144.6 | 68.44 | 83.39 | 140.3 | 394.5 | 652.9 | 616.3 | 711.4 | 833.8 | 3294 | 5178 | 967.2 | 12.79 | 4.891 | 3.539 | 2.99 | 2.75 | 2.421 | 2.196 | 2.058 | 2.202 | 2.03 | 2.036 | 2.134 | 1.96 | 1.703 | 1.768 | 1.514 | 1.52 | 1.394 | 1.35 | 1.37 | 1.546 | 1.382
290 | 222.6 | 196.7 | 305 | 512.7 | 915.9 | 1023 | 721.1 | 329.9 | 167.4 | 146.6 | 231.6 | 418 | 928.8 | 1254 | 1359 | 1317 | 1066 | 3120 | 4746 | 835 | 10.32 | 4.297 | 3.766 | 2.896 | 2.894 | 2.635 | 2.273 | 1.934 | 2.053 | 2.221 | 2.235 | 1.754 | 1.854 | 1.624 | 1.398 | 1.547 | 1.323 | 1.489 | 1.314 | 1.587 | 1.38
295 | 270.5 | 253.5 | 377.5 | 701 | 1214 | 1480 | 1175 | 597.2 | 329.1 | 277.2 | 349.3 | 595.4 | 1038 | 1887 | 2220 | 2077 | 1523 | 940.3 | 2876 | 4619 | 745.9 | 10.56 | 4.195 | 3.368 | 2.973 | 2.992 | 2.876 | 2.5 | 2.484 | 2.163 | 2.239 | 1.972 | 1.968 | 1.912 | 1.925 | 1.707 | 1.54 | 1.335 | 1.368 | 1.333 | 1.425
300 | 321.1 | 304 | 462 | 775.8 | 1420 | 1852 | 1595 | 925.3 | 567.8 | 482 | 555.1 | 851.3 | 1315 | 2067 | 3013 | 2927 | 2224 | 1309 | 728.3 | 2842 | 4621 | 666.9 | 9.055 | 4.194 | 3.251 | 3.067 | 3.087 | 2.612 | 2.528 | 2.008 | 2.152 | 1.916 | 1.914 | 1.823 | 1.768 | 1.774 | 1.669 | 1.449 | 1.471 | 1.348 | 1.525
305 | 320.6 | 365.2 | 533.7 | 832.8 | 1531 | 2067 | 1956 | 1308 | 880.5 | 797.1 | 845.3 | 1126 | 1618 | 2361 | 3301 | 3844 | 3090 | 2032 | 1134 | 751.6 | 2919 | 4558 | 593.9 | 6.665 | 4.433 | 3.456 | 2.869 | 2.822 | 2.631 | 2.698 | 2.6 | 2.086 | 2.331 | 1.918 | 1.846 | 1.626 | 1.672 | 1.307 | 1.527 | 1.544 | 1.336
310 | 333.2 | 380.5 | 583.9 | 893.7 | 1553 | 2285 | 2253 | 1668 | 1243 | 1121 | 1217 | 1420 | 1915 | 2677 | 3609 | 4289 | 4108 | 2901 | 1820 | 1015 | 574.1 | 2694 | 4428 | 556.3 | 6.432 | 4.123 | 3.759 | 3.081 | 2.645 | 2.772 | 2.203 | 2.143 | 1.899 | 1.891 | 1.967 | 1.578 | 1.597 | 1.517 | 1.415 | 1.584 | 1.548
315 | 357 | 437.7 | 590.3 | 942.1 | 1593 | 2271 | 2435 | 1921 | 1588 | 1460 | 1564 | 1795 | 2200 | 2941 | 3915 | 4570 | 4677 | 3858 | 2504 | 1436 | 597.4 | 345 | 2548 | 4153 | 495.1 | 5.791 | 4.108 | 3.646 | 3.118 | 2.609 | 2.462 | 2.405 | 2.294 | 2.428 | 2.303 | 1.903 | 1.506 | 1.619 | 1.737 | 1.658 | 1.403
320 | 356 | 426.2 | 633.8 | 987.9 | 1621 | 2451 | 2497 | 2112 | 1802 | 1760 | 1884 | 2127 | 2457 | 3182 | 4162 | 4915 | 4955 | 4462 | 3233 | 1803 | 768.5 | 257.1 | 247.2 | 2323 | 4051 | 467.6 | 6.155 | 4.309 | 3.408 | 2.96 | 2.585 | 2.653 | 2.123 | 2.29 | 1.912 | 2.008 | 1.792 | 1.648 | 1.532 | 1.449 | 1.291
325 | 327.4 | 453.9 | 569.5 | 973.3 | 1755 | 2415 | 2589 | 2248 | 1967 | 1980 | 2165 | 2423 | 2765 | 3464 | 4423 | 5172 | 5313 | 4656 | 3734 | 2203 | 924.5 | 319.9 | 129.2 | 208.2 | 2262 | 3947 | 438.1 | 6.502 | 4.208 | 3.399 | 3.056 | 2.663 | 2.112 | 2.17 | 2.079 | 2.136 | 1.536 | 1.723 | 1.511 | 1.454 | 1.454
330 | 280.7 | 457.6 | 647.1 | 1078 | 1807 | 2453 | 2588 | 2254 | 2065 | 2140 | 2386 | 2679 | 3054 | 3732 | 4626 | 5365 | 5525 | 4901 | 3802 | 2542 | 1118 | 398.1 | 160.6 | 86.58 | 189.2 | 2268 | 4041 | 448.7 | 6.277 | 4.221 | 3.03 | 3.006 | 2.514 | 2.712 | 2.368 | 1.877 | 1.852 | 1.523 | 1.759 | 1.557 | 1.525
335 | 309.9 | 453.1 | 646.9 | 1033 | 1782 | 2462 | 2552 | 2241 | 2069 | 2228 | 2544 | 2849 | 3307 | 3977 | 4863 | 5516 | 5644 | 5114 | 3926 | 2497 | 1399 | 522 | 211.6 | 107.2 | 65.96 | 184.7 | 2355 | 4269 | 465.5 | 6.095 | 4.052 | 3.658 | 2.388 | 2.573 | 2.541 | 2.362 | 1.874 | 1.443 | 1.521 | 1.625 | 1.59
340 | 306.7 | 397 | 629 | 1100 | 1767 | 2507 | 2464 | 2201 | 2074 | 2273 | 2594 | 3004 | 3508 | 4157 | 4987 | 5633 | 5753 | 5142 | 4017 | 2505 | 1400 | 766.6 | 290.5 | 143.6 | 81.76 | 59.07 | 189 | 2460 | 4408 | 487.3 | 6.032 | 4.085 | 3.54 | 3.184 | 2.357 | 2.414 | 1.78 | 1.892 | 1.769 | 1.681 | 1.684
345 | 292.6 | 387.3 | 579.4 | 1084 | 1855 | 2463 | 2396 | 2068 | 1967 | 2236 | 2622 | 3088 | 3595 | 4316 | 5071 | 5619 | 5674 | 5093 | 4007 | 2504 | 1354 | 814.7 | 487.5 | 196.1 | 111.5 | 75.58 | 59.11 | 197.9 | 2568 | 4661 | 569.9 | 5.919 | 4.1 | 3.352 | 2.843 | 2.541 | 1.935 | 1.682 | 1.496 | 1.525 | 1.517
350 | 259.8 | 406.7 | 644.9 | 1054 | 1830 | 2383 | 2304 | 1942 | 1914 | 2152 | 2517 | 3105 | 3644 | 4274 | 5032 | 5476 | 5536 | 4945 | 3936 | 2500 | 1374 | 735.9 | 581.1 | 345 | 155.6 | 104 | 75.82 | 61.24 | 205.1 | 2658 | 5189 | 563.6 | 6.793 | 4.644 | 3.618 | 2.508 | 2.272 | 2.055 | 1.914 | 1.807 | 1.647
355 | 314.6 | 359.4 | 591.4 | 980.3 | 1791 | 2213 | 2117 | 1793 | 1760 | 2069 | 2454 | 2957 | 3568 | 4209 | 4899 | 5313 | 5280 | 4738 | 3771 | 2450 | 1394 | 782.8 | 498.5 | 488.9 | 265.7 | 143.7 | 107.4 | 81.65 | 64.98 | 216 | 2934 | 5090 | 571.6 | 6.743 | 4.555 | 3.492 | 2.734 | 2.348 | 1.936 | 1.664 | 1.795
360 | 260.8 | 395.4 | 498 | 880.1 | 1651 | 2139 | 1970 | 1641 | 1636 | 1923 | 2332 | 2859 | 3421 | 4045 | 4686 | 5064 | 4997 | 4455 | 3585 | 2349 | 1414 | 820.3 | 516.8 | 426.8 | 440.3 | 237.8 | 151.5 | 114.3 | 83.62 | 70.53 | 238.7 | 2895 | 5361 | 625 | 7.195 | 4.016 | 3.193 | 2.701 | 2.131 | 2.039 | 1.73
365 | 241.9 | 315.3 | 485.4 | 902 | 1496 | 2018 | 1822 | 1500 | 1577 | 1776 | 2150 | 2664 | 3192 | 3812 | 4352 | 4699 | 4652 | 4154 | 3359 | 2249 | 1398 | 858.1 | 571.2 | 423.4 | 425.5 | 410.1 | 226.7 | 160.9 | 121 | 95.11 | 82.2 | 240.4 | 3084 | 5743 | 619.8 | 7.024 | 4.363 | 3.082 | 2.588 | 2.13 | 1.871
370 | 207.8 | 285.3 | 471.7 | 809.6 | 1428 | 1844 | 1662 | 1400 | 1431 | 1652 | 2006 | 2422 | 2963 | 3530 | 4013 | 4302 | 4245 | 3837 | 3126 | 2159 | 1392 | 915.1 | 631.9 | 484.9 | 405.2 | 455.8 | 395.8 | 231.9 | 174.4 | 138.8 | 105.2 | 84.79 | 254.7 | 3387 | 5791 | 589.4 | 7.572 | 3.865 | 3.079 | 2.173 | 2.274
375 | 178.9 | 281.4 | 390.9 | 768.8 | 1302 | 1688 | 1516 | 1312 | 1312 | 1497 | 1813 | 2195 | 2681 | 3180 | 3623 | 3889 | 3861 | 3499 | 2874 | 2043 | 1394 | 966.8 | 711.1 | 564.1 | 476.3 | 434.4 | 509.7 | 396 | 256.9 | 206.6 | 162 | 117.4 | 92.33 | 279.9 | 3462 | 5430 | 565 | 7.017 | 4.141 | 3.013 | 2.398
380 | 182 | 340.8 | 412.4 | 660.1 | 1197 | 1568 | 1371 | 1204 | 1223 | 1399 | 1644 | 2011 | 2399 | 2849 | 3255 | 3504 | 3455 | 3171 | 2679 | 1965 | 1398 | 1035 | 807.5 | 660 | 581.1 | 521.1 | 511.6 | 562.1 | 410.4 | 296.3 | 235.2 | 178.6 | 127.2 | 95.9 | 286.3 | 3236 | 5173 | 528.9 | 6.497 | 4.214 | 2.58
385 | 170.1 | 240.9 | 415.2 | 639.8 | 1074 | 1420 | 1348 | 1155 | 1142 | 1292 | 1512 | 1833 | 2154 | 2543 | 2914 | 3131 | 3133 | 2911 | 2509 | 1919 | 1449 | 1128 | 910.8 | 795.4 | 709.6 | 651.5 | 607.4 | 610.5 | 613.1 | 442.3 | 340.6 | 260.7 | 190.6 | 130.4 | 94.88 | 268.9 | 3053 | 4883 | 497.3 | 6.007 | 3.644
390 | 288.3 | 235.8 | 347.3 | 583.1 | 971.3 | 1304 | 1228 | 1108 | 1102 | 1189 | 1404 | 1627 | 1935 | 2241 | 2564 | 2777 | 2823 | 2667 | 2368 | 1891 | 1501 | 1234 | 1051 | 940.6 | 868.1 | 815.3 | 761.4 | 714.5 | 708.5 | 662.6 | 475.2 | 360.8 | 272.5 | 189.9 | 120 | 83.61 | 243.1 | 2842 | 4727 | 480.2 | 5.706
395 | 678.7 | 254.6 | 337.5 | 500.8 | 921.7 | 1255 | 1217 | 1096 | 1081 | 1144 | 1290 | 1489 | 1713 | 2000 | 2295 | 2500 | 2556 | 2492 | 2242 | 1885 | 1581 | 1353 | 1199 | 1094 | 1045 | 996.5 | 940 | 864.8 | 803.6 | 800.5 | 678.4 | 480.2 | 360.3 | 256.3 | 164.3 | 99.62 | 71.22 | 230.5 | 2824 | 4367 | 444.4
400 | 1091 | 386.1 | 328.3 | 541.4 | 863.9 | 1117 | 1157 | 1061 | 1066 | 1117 | 1206 | 1382 | 1547 | 1779 | 2063 | 2250 | 2340 | 2315 | 2151 | 1880 | 1641 | 1471 | 1341 | 1264 | 1226 | 1186 | 1121 | 1048 | 957.6 | 863.1 | 837.1 | 652.6 | 462.7 | 326.2 | 218.4 | 134.3 | 82.19 | 61.49 | 220.1 | 2617 | 4182
405 | 771.5 | 933.7 | 363.8 | 502.2 | 854.1 | 1073 | 1080 | 1040 | 1055 | 1110 | 1179 | 1260 | 1405 | 1610 | 1853 | 2057 | 2170 | 2165 | 2105 | 1891 | 1719 | 1596 | 1481 | 1433 | 1396 | 1362 | 1307 | 1220 | 1111 | 991.5 | 896.5 | 816 | 591.7 | 409.1 | 272.6 | 176.8 | 111 | 67.72 | 54.54 | 201.7 | 2321
410 | 286.9 | 1234 | 541.2 | 501.3 | 760.7 | 998.3 | 1038 | 1064 | 1065 | 1098 | 1159 | 1210 | 1296 | 1466 | 1686 | 1868 | 2010 | 2051 | 2031 | 1894 | 1766 | 1675 | 1609 | 1567 | 1553 | 1522 | 1456 | 1374 | 1257 | 1121 | 968.5 | 862.3 | 744 | 501.9 | 331.1 | 217 | 139.9 | 88.03 | 57.03 | 46.25 | 179.3
415 | 183 | 857.3 | 1101 | 431.8 | 750.8 | 974.8 | 1036 | 1040 | 1065 | 1058 | 1135 | 1168 | 1222 | 1337 | 1532 | 1742 | 1892 | 1959 | 1965 | 1889 | 1799 | 1748 | 1692 | 1682 | 1670 | 1647 | 1589 | 1502 | 1380 | 1226 | 1072 | 905.5 | 796.4 | 635.9 | 393.9 | 259 | 169.5 | 109.6 | 71.83 | 46.29 | 39.36
420 | 194.2 | 358.7 | 1461 | 645.3 | 696.8 | 869 | 1007 | 1003 | 1060 | 1090 | 1124 | 1124 | 1131 | 1239 | 1416 | 1633 | 1777 | 1855 | 1879 | 1842 | 1809 | 1775 | 1752 | 1750 | 1755 | 1743 | 1692 | 1609 | 1463 | 1312 | 1143 | 963.8 | 796 | 685.7 | 488.1 | 301.7 | 198.7 | 132.9 | 89.13 | 58 | 38.38
425 | 158.5 | 228.3 | 985.5 | 1252 | 612.5 | 861.8 | 957.1 | 998.5 | 1050 | 1085 | 1093 | 1055 | 1080 | 1151 | 1318 | 1528 | 1662 | 1731 | 1800 | 1806 | 1785 | 1783 | 1792 | 1807 | 1815 | 1819 | 1751 | 1667 | 1535 | 1371 | 1196 | 1015 | 827.1 | 670.8 | 559.7 | 363.3 | 227.4 | 152 | 101.7 | 68.77 | 47.36
430 | 145.5 | 204.6 | 416 | 1729 | 789.8 | 777.2 | 929.4 | 981.7 | 1055 | 1068 | 1065 | 1042 | 1039 | 1099 | 1230 | 1409 | 1568 | 1658 | 1739 | 1745 | 1759 | 1800 | 1797 | 1819 | 1848 | 1837 | 1797 | 1708 | 1584 | 1414 | 1242 | 1044 | 866.7 | 670.8 | 540.8 | 433.9 | 270.2 | 172.9 | 118.3 | 82.33 | 57.78
435 | 167.2 | 199.7 | 308.8 | 1245 | 1344 | 745.8 | 881.5 | 963.9 | 1009 | 1048 | 1047 | 1015 | 988.1 | 1022 | 1179 | 1331 | 1476 | 1586 | 1655 | 1703 | 1729 | 1756 | 1780 | 1827 | 1847 | 1853 | 1823 | 1728 | 1603 | 1433 | 1255 | 1072 | 887.6 | 695.4 | 531.7 | 436.6 | 327.5 | 199 | 133.1 | 94.1 | 65.42
440 | 162.2 | 184.8 | 268.4 | 529.4 | 1897 | 866 | 821 | 918.8 | 992.4 | 1039 | 1015 | 976.6 | 939.7 | 965.7 | 1092 | 1239 | 1390 | 1485 | 1564 | 1629 | 1676 | 1712 | 1743 | 1791 | 1830 | 1847 | 1802 | 1731 | 1597 | 1439 | 1267 | 1075 | 890.5 | 709.9 | 535.8 | 406.6 | 340.5 | 244.9 | 146.6 | 102.8 | 74.66
445 | 135.1 | 156.4 | 231.7 | 343.1 | 1476 | 1470 | 795.3 | 859.5 | 939.2 | 1001 | 968.5 | 942.4 | 900.8 | 894.2 | 1017 | 1171 | 1295 | 1382 | 1470 | 1547 | 1601 | 1643 | 1698 | 1723 | 1769 | 1781 | 1759 | 1689 | 1568 | 1414 | 1238 | 1062 | 879.6 | 700.8 | 532.6 | 397.1 | 305 | 268.4 | 178.2 | 114.4 | 81.62
450 | 115.1 | 181.8 | 223.9 | 335.3 | 673.9 | 2145 | 947.1 | 827.7 | 906.2 | 933.8 | 937.3 | 876.5 | 836.2 | 845.4 | 944.6 | 1063 | 1183 | 1289 | 1367 | 1432 | 1496 | 1555 | 1596 | 1644 | 1698 | 1702 | 1675 | 1616 | 1501 | 1358 | 1198 | 1025 | 855.5 | 682 | 522.9 | 391.5 | 292.8 | 241 | 210.2 | 133.5 | 88.94
455 | 136.6 | 159.8 | 202.4 | 267.3 | 423.5 | 1803 | 1575 | 777.7 | 804.7 | 848.5 | 866.3 | 827.8 | 771.7 | 767.2 | 849.2 | 972.6 | 1094 | 1176 | 1248 | 1306 | 1383 | 1443 | 1490 | 1532 | 1575 | 1595 | 1579 | 1527 | 1410 | 1284 | 1132 | 975.2 | 815 | 662.5 | 511.2 | 381.5 | 285.5 | 216.4 | 195.2 | 161 | 102.3
460 | 124.9 | 129.2 | 204.2 | 275.2 | 362.7 | 767.8 | 2329 | 872.6 | 782.9 | 800.4 | 807.1 | 774.5 | 711.3 | 703.2 | 779 | 891.6 | 993.5 | 1073 | 1130 | 1193 | 1254 | 1325 | 1376 | 1424 | 1462 | 1482 | 1465 | 1413 | 1326 | 1197 | 1063 | 912.9 | 768.1 | 626 | 487.9 | 371 | 279.7 | 209.6 | 168 | 165.3 | 126
465 | 106.3 | 122.5 | 156.7 | 248.7 | 317.7 | 453.5 | 1810 | 1529 | 692.8 | 740.5 | 745.5 | 700.9 | 650.4 | 636.4 | 704.3 | 799.2 | 897.5 | 973 | 1020 | 1087 | 1152 | 1201 | 1258 | 1298 | 1331 | 1351 | 1338 | 1303 | 1217 | 1102 | 984.9 | 848.9 | 716.9 | 585.7 | 467.7 | 353.3 | 266.4 | 205.2 | 160.1 | 137.7 | 137.4
470 | 116.9 | 143.3 | 165.2 | 244.7 | 316.5 | 425.2 | 761 | 2260 | 850.3 | 681.6 | 676.9 | 650.5 | 595.7 | 593.4 | 644 | 715 | 795.6 | 861.1 | 911.5 | 964.7 | 1027 | 1077 | 1126 | 1160 | 1214 | 1223 | 1211 | 1182 | 1100 | 1010 | 899.1 | 774.1 | 657.7 | 541.4 | 426.6 | 333.9 | 257.2 | 196.5 | 154.6 | 125.4 | 118.8
475 | 105.4 | 113 | 106.8 | 181.6 | 287 | 367.5 | 467.7 | 1811 | 1458 | 622.2 | 603.5 | 594.8 | 539.7 | 536.6 | 568.6 | 640.8 | 704.3 | 759 | 802.8 | 862.4 | 915.3 | 957.4 | 1005 | 1040 | 1083 | 1099 | 1090 | 1061 | 1008 | 917.3 | 815.8 | 708.4 | 604.2 | 498.5 | 400.8 | 311.1 | 243.2 | 184.9 | 149.3 | 122.6 | 102
480 | 80.4 | 80.63 | 135.5 | 184.8 | 225 | 301.5 | 407.4 | 782.3 | 2144 | 748.6 | 559.7 | 534.6 | 493.7 | 483.4 | 502.2 | 579.3 | 624.3 | 675.6 | 713.8 | 753.2 | 812.7 | 854.9 | 893.7 | 927.8 | 968.3 | 985 | 985.5 | 955 | 900.6 | 826.1 | 740.9 | 644.9 | 561.3 | 461.6 | 368.8 | 292.5 | 227.5 | 182.1 | 144.7 | 118.8 | 99.5
485 | 72.37 | 97.91 | 128.2 | 146.7 | 198.5 | 304.2 | 362.6 | 444.8 | 1748 | 1330 | 516.5 | 495.5 | 458 | 448 | 475.1 | 520.6 | 563.8 | 603.1 | 643.1 | 682.4 | 737.2 | 770.1 | 814.7 | 844.1 | 878.1 | 900.4 | 893.9 | 872.1 | 823.3 | 762.2 | 677.8 | 598 | 513.6 | 427.3 | 350.7 | 282.4 | 220.8 | 173.6 | 143.6 | 115.3 | 98.1
490 | 85.47 | 83.34 | 97.51 | 137.5 | 180.7 | 282.7 | 320.3 | 375.5 | 731.6 | 2028 | 654.2 | 460.6 | 433.4 | 416.7 | 444.4 | 480.4 | 517.9 | 548.3 | 584.9 | 613.6 | 658.6 | 699.4 | 730 | 763.4 | 794.2 | 816.4 | 814 | 797 | 751.4 | 696 | 618.1 | 552.5 | 475.9 | 401.5 | 328.8 | 266.2 | 211.5 | 168.3 | 136.3 | 114.1 | 97.69
495 | 92.53 | 57.58 | 95.87 | 133.8 | 175.7 | 258.4 | 321.6 | 352.4 | 408.7 | 1647 | 1198 | 440.8 | 413 | 392.9 | 416.5 | 440.7 | 468.8 | 497.5 | 522.7 | 547 | 592.7 | 626.6 | 664.3 | 690.1 | 717.2 | 732.3 | 733.4 | 718.9 | 689.5 | 635.9 | 569.7 | 509.6 | 443.5 | 373.9 | 313.3 | 250 | 201 | 164.8 | 135.1 | 112.7 | 95.63
500 | 56.14 | 56.39 | 75.72 | 117.1 | 146.5 | 193.8 | 293.9 | 317.5 | 361.2 | 697.4 | 1823 | 547.1 | 377.1 | 370.3 | 381.8 | 413.5 | 429.4 | 451.3 | 462.2 | 486.7 | 525.1 | 557.3 | 590.2 | 606.8 | 634.3 | 658 | 659.3 | 638.5 | 615.5 | 570.7 | 516.4 | 467 | 408.3 | 357.2 | 293.8 | 241.4 | 194.6 | 158.6 | 132.4 | 109.3 | 93.33