## Sheet1
Report date: | 15:16:27, 09/19/2024
Sample: | 1
File name:
Run date: | 15:11:00, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 230.0/325.0 | 2632
2 | 250.0/275.0 | 274.8
3 | 280.0/340.0 | 5676
4 | 305.0/425.0 | 1809
5 | 320.0/435.0 | 1855
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 33.81 | 31.6 | 30.45 | 58.05 | 44.09 | 29.85 | 11.62 | 11.44 | 33.74 | 222.2 | 129.9 | 29.7 | 46.62 | 2783 | 6293 | 1381 | 15.1 | 6.586 | 5.792 | 4.063 | 3.152 | 2.958 | 2.449 | 2.44 | 2.421 | 2.263 | 2.189 | 2.263 | 1.765 | 1.852 | 1.895 | 1.543 | 1.602 | 1.676 | 1.383 | 1.611 | 1.452 | 1.555 | 1.298 | 1.32 | 1.027
275 | 56.81 | 55.24 | 91.19 | 150.3 | 177 | 132.9 | 46.35 | 21.02 | 19.29 | 81.52 | 274.8 | 132.3 | 86.05 | 285.2 | 3151 | 5881 | 1219 | 13.62 | 5.612 | 4.403 | 3.509 | 2.888 | 2.18 | 2.247 | 2.309 | 2.348 | 2.273 | 1.868 | 1.952 | 1.894 | 1.95 | 1.837 | 1.556 | 1.745 | 1.582 | 1.515 | 1.584 | 1.585 | 1.372 | 1.34 | 1.243
280 | 105.5 | 112 | 124.9 | 243.8 | 362.2 | 281.4 | 125.8 | 42.87 | 31.38 | 47.42 | 172.9 | 377.8 | 250.8 | 262.3 | 476.2 | 3152 | 5389 | 1083 | 13.95 | 5.397 | 3.684 | 2.96 | 2.498 | 2.514 | 2.448 | 2.132 | 2.27 | 2.001 | 2.17 | 1.846 | 1.898 | 1.944 | 1.943 | 1.664 | 1.674 | 1.544 | 1.204 | 1.496 | 1.415 | 1.431 | 1.248
285 | 177.2 | 131.8 | 198.4 | 391.1 | 603.9 | 572.3 | 343.9 | 129.5 | 71.86 | 80.88 | 132.1 | 406.8 | 654.2 | 622.2 | 712.7 | 816.4 | 3108 | 4909 | 947.8 | 11.98 | 4.231 | 3.457 | 2.98 | 2.897 | 2.508 | 2.563 | 2.324 | 2.226 | 2.173 | 2.144 | 2.193 | 1.796 | 1.824 | 1.686 | 1.45 | 1.57 | 1.623 | 1.45 | 1.157 | 1.444 | 1.395
290 | 232 | 199.2 | 325 | 540.4 | 919.8 | 1102 | 713 | 342 | 172.5 | 147.4 | 225.8 | 418.5 | 940.2 | 1285 | 1374 | 1307 | 1054 | 3015 | 4569 | 840.7 | 10.92 | 4.207 | 3.151 | 3.147 | 2.533 | 2.646 | 2.39 | 2.516 | 2.034 | 2.058 | 1.901 | 2.051 | 1.84 | 1.762 | 1.761 | 1.508 | 1.586 | 1.263 | 1.44 | 1.299 | 1.576
295 | 252.2 | 276.3 | 402.8 | 741.2 | 1179 | 1528 | 1182 | 608.4 | 324.9 | 264.2 | 348.8 | 611.1 | 1040 | 1866 | 2237 | 2063 | 1539 | 936 | 2746 | 4475 | 758.9 | 10.67 | 5.093 | 3.39 | 2.774 | 3.241 | 2.924 | 2.688 | 2.502 | 2.035 | 1.904 | 2.337 | 1.833 | 1.612 | 1.559 | 1.779 | 1.707 | 1.383 | 1.368 | 1.42 | 1.358
300 | 289.4 | 304.7 | 497.1 | 806.2 | 1435 | 1870 | 1574 | 930 | 581.2 | 471.7 | 566.6 | 829.6 | 1325 | 2046 | 3045 | 2940 | 2255 | 1304 | 739 | 2697 | 4524 | 674.6 | 9.367 | 4.329 | 3.442 | 3.162 | 2.754 | 2.44 | 2.57 | 2.297 | 2.328 | 1.923 | 1.855 | 1.767 | 1.606 | 1.769 | 1.508 | 1.49 | 1.557 | 1.148 | 1.378
305 | 318.2 | 376.8 | 569.9 | 883.6 | 1531 | 2153 | 2010 | 1322 | 883.5 | 787.3 | 860.9 | 1107 | 1626 | 2353 | 3285 | 3880 | 3106 | 2049 | 1147 | 743.6 | 2823 | 4404 | 598.9 | 7.359 | 3.983 | 3.441 | 2.832 | 2.91 | 2.362 | 2.198 | 2.429 | 2.085 | 2.362 | 1.729 | 1.859 | 1.849 | 1.482 | 1.524 | 1.561 | 1.499 | 1.44
310 | 353.8 | 481.2 | 547.8 | 939.3 | 1565 | 2269 | 2254 | 1675 | 1278 | 1117 | 1207 | 1457 | 1906 | 2682 | 3595 | 4291 | 4138 | 2925 | 1840 | 1028 | 569.4 | 2606 | 4386 | 558.3 | 6.57 | 4.285 | 3.723 | 3.288 | 2.717 | 2.557 | 2.22 | 2.366 | 2.262 | 1.898 | 1.725 | 1.868 | 1.573 | 1.517 | 1.515 | 1.419 | 1.496
315 | 353.6 | 442.1 | 608.2 | 903.8 | 1605 | 2304 | 2453 | 1936 | 1565 | 1475 | 1561 | 1765 | 2180 | 2940 | 3925 | 4576 | 4694 | 3867 | 2517 | 1434 | 604.1 | 335.4 | 2503 | 4270 | 487.9 | 6.055 | 4.335 | 3.595 | 3.088 | 2.667 | 2.52 | 2.312 | 2.02 | 1.953 | 1.824 | 1.849 | 1.754 | 1.65 | 1.639 | 1.389 | 1.351
320 | 347.5 | 457 | 660.6 | 978.8 | 1653 | 2378 | 2542 | 2134 | 1828 | 1791 | 1884 | 2102 | 2473 | 3175 | 4155 | 4916 | 4986 | 4468 | 3236 | 1820 | 768.3 | 252.9 | 241.4 | 2440 | 4150 | 476.8 | 5.425 | 4.248 | 3.301 | 2.866 | 2.579 | 2.469 | 2.267 | 2.197 | 2.15 | 1.875 | 1.982 | 1.748 | 1.531 | 1.481 | 1.586
325 | 327.8 | 467.6 | 583.6 | 1023 | 1716 | 2376 | 2632 | 2176 | 1958 | 2000 | 2127 | 2404 | 2713 | 3425 | 4392 | 5150 | 5276 | 4682 | 3739 | 2211 | 925.3 | 319.3 | 131.2 | 212.2 | 2371 | 4148 | 435.7 | 5.41 | 4.149 | 3.159 | 2.874 | 2.461 | 2.647 | 2.262 | 2.03 | 1.627 | 1.937 | 1.834 | 1.541 | 1.626 | 1.662
330 | 347.8 | 451 | 607.3 | 1006 | 1618 | 2417 | 2573 | 2224 | 2055 | 2132 | 2337 | 2650 | 2981 | 3674 | 4607 | 5343 | 5519 | 4909 | 3836 | 2562 | 1121 | 394 | 164.9 | 86.38 | 197.1 | 2414 | 4027 | 427 | 5.625 | 3.763 | 3.382 | 2.877 | 2.469 | 2.649 | 2.178 | 2.139 | 1.891 | 1.864 | 1.608 | 1.655 | 1.384
335 | 283.1 | 478.4 | 624.7 | 1107 | 1738 | 2498 | 2569 | 2240 | 2089 | 2221 | 2484 | 2805 | 3213 | 3876 | 4795 | 5498 | 5666 | 5065 | 3913 | 2534 | 1404 | 519.9 | 210.7 | 107.9 | 68.43 | 194.5 | 2316 | 4012 | 440.2 | 6.097 | 4.103 | 3.375 | 2.721 | 2.714 | 2.331 | 2.316 | 1.977 | 1.938 | 1.672 | 1.685 | 1.704
340 | 339.4 | 419.3 | 709.9 | 1074 | 1834 | 2467 | 2485 | 2161 | 2035 | 2246 | 2587 | 2939 | 3412 | 4063 | 4917 | 5580 | 5676 | 5137 | 4014 | 2496 | 1386 | 760.1 | 283 | 138.9 | 83.74 | 60.88 | 189.8 | 2298 | 4173 | 483.1 | 6.038 | 4.22 | 3.12 | 3.264 | 2.338 | 2.411 | 2.185 | 2.056 | 1.625 | 1.451 | 1.428
345 | 317.8 | 436.2 | 619.3 | 1023 | 1820 | 2454 | 2397 | 2045 | 1979 | 2197 | 2582 | 3015 | 3466 | 4157 | 5006 | 5530 | 5645 | 5078 | 3990 | 2522 | 1338 | 814.7 | 482.7 | 195 | 112.2 | 75.71 | 59.35 | 186 | 2432 | 4631 | 569.9 | 6.617 | 4.406 | 3.143 | 2.808 | 2.192 | 2.126 | 1.784 | 1.876 | 1.852 | 1.609
350 | 284.3 | 402.2 | 564.8 | 1034 | 1754 | 2380 | 2287 | 1920 | 1858 | 2131 | 2478 | 2956 | 3519 | 4167 | 4897 | 5421 | 5481 | 4900 | 3877 | 2492 | 1367 | 738.3 | 584.8 | 344.9 | 157.8 | 107.3 | 78.61 | 61.86 | 197.9 | 2661 | 5257 | 570 | 6.574 | 4.546 | 3.223 | 3.129 | 2.182 | 2.149 | 1.604 | 1.947 | 1.496
355 | 250.2 | 382 | 599.2 | 996.4 | 1719 | 2172 | 2073 | 1769 | 1753 | 2004 | 2409 | 2878 | 3450 | 4092 | 4775 | 5193 | 5254 | 4738 | 3726 | 2423 | 1385 | 775.4 | 506.3 | 495.4 | 276.2 | 153.5 | 111.7 | 83.27 | 66.88 | 218.7 | 3007 | 5258 | 574.5 | 6.969 | 4.542 | 3.231 | 2.568 | 2.282 | 1.775 | 1.761 | 1.541
360 | 253.5 | 338.9 | 549.9 | 919.5 | 1604 | 2078 | 1962 | 1630 | 1638 | 1871 | 2251 | 2769 | 3290 | 3896 | 4579 | 4934 | 4946 | 4418 | 3557 | 2333 | 1403 | 824.3 | 526.2 | 437.7 | 455.8 | 248.5 | 159.6 | 118.6 | 88.67 | 71.83 | 244.5 | 3033 | 5490 | 625.2 | 7.294 | 4.514 | 3.214 | 2.341 | 2.101 | 1.944 | 1.925
365 | 230.9 | 371.3 | 525 | 833.7 | 1495 | 1926 | 1822 | 1532 | 1494 | 1723 | 2104 | 2586 | 3115 | 3698 | 4272 | 4617 | 4593 | 4130 | 3333 | 2246 | 1406 | 876 | 584.7 | 436.4 | 436.6 | 425.6 | 234.9 | 166.2 | 128.4 | 95.92 | 82.16 | 248.4 | 3212 | 5629 | 617.6 | 7.27 | 4.622 | 3.14 | 2.477 | 2.059 | 2.032
370 | 159.2 | 322.5 | 415 | 808.7 | 1420 | 1816 | 1691 | 1399 | 1386 | 1591 | 1933 | 2346 | 2891 | 3436 | 3915 | 4214 | 4177 | 3791 | 3107 | 2157 | 1393 | 928.2 | 652.8 | 494.8 | 421.7 | 472.6 | 405.9 | 239.6 | 179.4 | 138.3 | 108.1 | 83.87 | 265.1 | 3318 | 5647 | 602.4 | 6.602 | 3.798 | 2.981 | 2.624 | 2.051
375 | 180.2 | 251.7 | 417.4 | 688.2 | 1280 | 1665 | 1562 | 1283 | 1281 | 1448 | 1756 | 2150 | 2618 | 3127 | 3582 | 3828 | 3801 | 3454 | 2890 | 2056 | 1399 | 986.8 | 726.8 | 589.5 | 499 | 455.3 | 521.6 | 402.1 | 258.3 | 203.5 | 162.1 | 119.6 | 92.46 | 276 | 3349 | 5583 | 578.3 | 6.829 | 3.982 | 3.188 | 2.351
380 | 163.7 | 293.1 | 386.6 | 699.7 | 1155 | 1551 | 1344 | 1184 | 1198 | 1355 | 1602 | 1957 | 2323 | 2784 | 3221 | 3458 | 3439 | 3128 | 2678 | 1955 | 1421 | 1059 | 819.2 | 688.1 | 598.7 | 532.6 | 522.2 | 576.6 | 412.7 | 297 | 237.9 | 179.8 | 126.7 | 96.62 | 277.3 | 3248 | 5272 | 533.3 | 6.758 | 3.844 | 2.743
385 | 203.9 | 246.3 | 419.5 | 641 | 1007 | 1362 | 1282 | 1124 | 1134 | 1276 | 1460 | 1760 | 2095 | 2464 | 2837 | 3074 | 3086 | 2876 | 2515 | 1921 | 1463 | 1149 | 936.8 | 812.7 | 730.4 | 666.6 | 624.5 | 622.9 | 617.4 | 438.2 | 337.6 | 259.8 | 190.1 | 127.3 | 92.45 | 267.4 | 3109 | 4941 | 486.3 | 6.096 | 3.922
390 | 324.5 | 262.3 | 315 | 600.3 | 988.6 | 1240 | 1207 | 1092 | 1097 | 1196 | 1365 | 1617 | 1873 | 2192 | 2531 | 2759 | 2799 | 2646 | 2362 | 1903 | 1527 | 1261 | 1074 | 962.9 | 884.3 | 832.1 | 779.4 | 719 | 713.1 | 659.1 | 473.8 | 359.9 | 268.3 | 185.4 | 120.8 | 82.07 | 249.4 | 2876 | 4692 | 481 | 6.106
395 | 743.7 | 248.2 | 351.6 | 606.6 | 902 | 1190 | 1185 | 1079 | 1066 | 1149 | 1274 | 1462 | 1699 | 1975 | 2248 | 2457 | 2536 | 2466 | 2255 | 1894 | 1599 | 1372 | 1218 | 1119 | 1057 | 1003 | 945.2 | 873.2 | 799.4 | 790.1 | 675.2 | 474.2 | 353 | 255 | 158.7 | 98.13 | 69.78 | 232.8 | 2798 | 4330 | 459.4
400 | 1064 | 452.1 | 349 | 552.3 | 915.4 | 1155 | 1102 | 1076 | 1041 | 1112 | 1198 | 1372 | 1539 | 1765 | 2032 | 2239 | 2336 | 2317 | 2184 | 1901 | 1670 | 1495 | 1360 | 1279 | 1234 | 1183 | 1124 | 1051 | 949.3 | 858.4 | 830.2 | 650.6 | 455.4 | 323.3 | 215.5 | 132.4 | 79.96 | 61.79 | 219.9 | 2586 | 4255
405 | 815.4 | 998.4 | 352.8 | 535.9 | 832.8 | 1082 | 1093 | 1030 | 1033 | 1087 | 1160 | 1247 | 1384 | 1605 | 1836 | 2046 | 2165 | 2177 | 2083 | 1910 | 1735 | 1601 | 1504 | 1449 | 1401 | 1365 | 1301 | 1219 | 1106 | 975 | 881.4 | 811.2 | 588.6 | 405 | 271.1 | 175.4 | 107.9 | 68.7 | 54.71 | 199.3 | 2341
410 | 303.8 | 1421 | 520.8 | 445.9 | 760.6 | 948.8 | 1077 | 1053 | 1063 | 1082 | 1119 | 1192 | 1279 | 1442 | 1681 | 1870 | 2026 | 2072 | 2029 | 1911 | 1784 | 1699 | 1619 | 1581 | 1552 | 1515 | 1461 | 1376 | 1244 | 1110 | 957.7 | 861.8 | 742 | 497 | 327.7 | 213.9 | 138.1 | 88.7 | 56.23 | 46.11 | 179.2
415 | 166.2 | 915.6 | 1053 | 493.3 | 717.6 | 956.4 | 996.8 | 1053 | 1059 | 1089 | 1114 | 1138 | 1181 | 1345 | 1539 | 1742 | 1884 | 1963 | 1975 | 1892 | 1821 | 1755 | 1703 | 1683 | 1675 | 1648 | 1594 | 1496 | 1372 | 1220 | 1055 | 892.4 | 781.5 | 620.3 | 386.8 | 256.2 | 170.8 | 109.1 | 70.51 | 46.1 | 39.54
420 | 166.8 | 360.9 | 1491 | 612 | 680.6 | 898.5 | 1021 | 1006 | 1058 | 1090 | 1081 | 1117 | 1120 | 1240 | 1414 | 1621 | 1769 | 1854 | 1900 | 1865 | 1824 | 1799 | 1756 | 1752 | 1753 | 1731 | 1683 | 1589 | 1457 | 1301 | 1135 | 950.4 | 787.7 | 681.6 | 488.4 | 295.8 | 199.8 | 131.4 | 88.73 | 57.15 | 38.29
425 | 135.4 | 226.2 | 1086 | 1289 | 611.7 | 819.8 | 944.8 | 977 | 1044 | 1056 | 1071 | 1077 | 1070 | 1145 | 1314 | 1512 | 1672 | 1765 | 1813 | 1803 | 1808 | 1809 | 1793 | 1795 | 1798 | 1804 | 1753 | 1649 | 1520 | 1361 | 1187 | 1004 | 819.1 | 662.6 | 557.5 | 361.9 | 223.2 | 154 | 104.5 | 70.16 | 47.01
430 | 159 | 239.9 | 426.4 | 1745 | 818.7 | 793.4 | 907.7 | 963.9 | 1018 | 1054 | 1055 | 1028 | 1023 | 1064 | 1219 | 1425 | 1575 | 1661 | 1741 | 1756 | 1777 | 1793 | 1803 | 1823 | 1833 | 1837 | 1791 | 1702 | 1569 | 1411 | 1222 | 1040 | 849.2 | 665.8 | 536.4 | 436.2 | 268.9 | 174.2 | 121 | 83.29 | 56.36
435 | 162.8 | 218.9 | 307.6 | 1256 | 1314 | 761 | 907.8 | 945 | 1003 | 1037 | 1047 | 1019 | 975.5 | 1023 | 1159 | 1332 | 1488 | 1583 | 1654 | 1707 | 1727 | 1772 | 1788 | 1817 | 1855 | 1850 | 1800 | 1725 | 1579 | 1417 | 1244 | 1055 | 872.5 | 693 | 524.8 | 430.2 | 329.7 | 194.3 | 131.3 | 93.78 | 64.79
440 | 174.6 | 194 | 244.2 | 560.8 | 1986 | 880.9 | 829.3 | 911.5 | 972.7 | 1023 | 1017 | 960.8 | 938.3 | 957.8 | 1088 | 1239 | 1396 | 1503 | 1576 | 1629 | 1686 | 1717 | 1751 | 1787 | 1825 | 1826 | 1790 | 1708 | 1582 | 1422 | 1244 | 1064 | 875.9 | 701.2 | 528.7 | 399.4 | 341.6 | 243.2 | 147.8 | 103.5 | 74.81
445 | 137.2 | 187.2 | 273 | 373.1 | 1528 | 1504 | 772.1 | 863.7 | 945.2 | 968.3 | 976.2 | 948.5 | 885.4 | 901.5 | 1022 | 1172 | 1291 | 1400 | 1485 | 1548 | 1600 | 1652 | 1687 | 1728 | 1765 | 1786 | 1739 | 1661 | 1545 | 1386 | 1224 | 1040 | 860.9 | 695.8 | 531.1 | 392.7 | 307.5 | 269.7 | 181.6 | 112.9 | 81.35
450 | 160.6 | 183.5 | 210.8 | 324.8 | 676.4 | 2182 | 911 | 773.8 | 887.1 | 927.5 | 935.7 | 889.8 | 829.3 | 842.8 | 935.4 | 1072 | 1197 | 1272 | 1370 | 1431 | 1500 | 1544 | 1595 | 1639 | 1679 | 1695 | 1661 | 1590 | 1480 | 1337 | 1177 | 1014 | 842 | 673.5 | 522 | 391.3 | 292.9 | 240.4 | 208.2 | 131.1 | 91.53
455 | 116.9 | 156.2 | 270.8 | 279.9 | 426.7 | 1774 | 1596 | 723.5 | 807.2 | 858.2 | 868.4 | 819.9 | 760.4 | 762.1 | 846.9 | 967 | 1083 | 1170 | 1253 | 1323 | 1385 | 1447 | 1502 | 1524 | 1568 | 1592 | 1569 | 1505 | 1402 | 1267 | 1119 | 961.1 | 802.4 | 654 | 504.5 | 381.4 | 281.2 | 213.9 | 196.4 | 162.9 | 101.9
460 | 125.8 | 137.7 | 225.1 | 243 | 388.8 | 752.6 | 2259 | 907.4 | 748.4 | 793.3 | 811.1 | 757.5 | 714.3 | 712.2 | 778.7 | 884.8 | 990.3 | 1059 | 1134 | 1209 | 1255 | 1330 | 1373 | 1408 | 1450 | 1465 | 1455 | 1398 | 1303 | 1186 | 1046 | 909.4 | 761.4 | 613.7 | 482.3 | 367.5 | 277.8 | 210.7 | 167.7 | 163.6 | 125.4
465 | 122.3 | 110.8 | 138.1 | 242 | 313.2 | 456.9 | 1834 | 1516 | 715.6 | 738.2 | 739 | 695.8 | 654.8 | 646.3 | 700.2 | 794 | 885.6 | 974.6 | 1018 | 1084 | 1150 | 1209 | 1233 | 1287 | 1320 | 1340 | 1336 | 1285 | 1208 | 1094 | 968.3 | 832.4 | 707.1 | 578.6 | 456.6 | 351.6 | 265.9 | 204.2 | 159 | 138.4 | 137.8
470 | 94.02 | 107.8 | 134.1 | 223.2 | 285.2 | 367.8 | 766.6 | 2263 | 858.5 | 667 | 660.1 | 645.2 | 597.5 | 584.9 | 631.5 | 708.9 | 794.4 | 852.8 | 904.9 | 965.9 | 1029 | 1086 | 1118 | 1161 | 1186 | 1210 | 1205 | 1173 | 1093 | 993.2 | 889.5 | 768.8 | 647.9 | 533.1 | 428.4 | 330.4 | 258.1 | 194.5 | 153.1 | 123.8 | 117
475 | 114.9 | 90.78 | 127.3 | 207.1 | 278.6 | 341.3 | 443.8 | 1842 | 1454 | 601.2 | 600.5 | 581.3 | 543.2 | 513.5 | 565.8 | 633.2 | 688.9 | 752 | 801.7 | 855.3 | 914.5 | 957.6 | 993 | 1034 | 1067 | 1091 | 1087 | 1052 | 987.9 | 900 | 802.6 | 702 | 590.2 | 495 | 395.4 | 309 | 240.8 | 187.4 | 147.7 | 119.8 | 103
480 | 84.18 | 73.15 | 141.8 | 177.1 | 253.1 | 293.9 | 400.1 | 756.3 | 2147 | 762.2 | 538.1 | 538.7 | 488.1 | 478.6 | 497 | 559.5 | 621.2 | 664.3 | 709.9 | 759.8 | 807.8 | 863.4 | 889.6 | 927.5 | 957.1 | 986.3 | 984.3 | 947.3 | 894.8 | 817 | 729.2 | 639.5 | 547.3 | 457.7 | 366.3 | 291.8 | 228.4 | 177.2 | 144 | 118 | 99.49
485 | 80.87 | 107.9 | 111.2 | 152.6 | 227.3 | 312.8 | 346.4 | 438.8 | 1713 | 1359 | 504.6 | 494.6 | 467.5 | 445.1 | 474 | 518.1 | 566.9 | 604.9 | 636.1 | 689.3 | 732.1 | 775.9 | 813.5 | 842.2 | 865.6 | 887.4 | 882.3 | 865 | 817.8 | 747.5 | 674.7 | 589.1 | 508 | 427.3 | 348.7 | 277.4 | 219 | 174.6 | 141 | 115.9 | 97.67
490 | 76.95 | 84.56 | 116 | 133.1 | 200.8 | 298.6 | 326.3 | 368.6 | 735.9 | 2008 | 635.4 | 472.9 | 428.4 | 418.6 | 439.2 | 474.7 | 516.3 | 542.1 | 575.8 | 624.7 | 670.3 | 697.9 | 729.4 | 766.7 | 791.8 | 811.8 | 808 | 785.6 | 746.4 | 687 | 617.2 | 541.4 | 469.8 | 397.3 | 326.7 | 261.8 | 210.9 | 167.1 | 135.8 | 116.6 | 95.57
495 | 64.48 | 93.42 | 89.99 | 96.24 | 179.4 | 250.6 | 308.8 | 358.8 | 413.8 | 1673 | 1182 | 425.7 | 404.5 | 394.6 | 410.2 | 440.2 | 467.6 | 491.6 | 521 | 553.4 | 591.2 | 630.2 | 659.9 | 688.1 | 707.1 | 722.1 | 726.8 | 714.7 | 672.7 | 630.2 | 567 | 500.2 | 442.5 | 371.2 | 312.1 | 252.5 | 204.9 | 163.4 | 133.4 | 111.2 | 95.12
500 | 49.98 | 65.42 | 80.93 | 119.1 | 148.5 | 199 | 297.1 | 308.7 | 359.2 | 701.9 | 1857 | 549.2 | 385.1 | 367.2 | 381.1 | 407.2 | 423.2 | 441.7 | 457.5 | 480.6 | 529.4 | 559.2 | 585.3 | 605.1 | 633.7 | 648.7 | 651.9 | 637.4 | 605 | 563.6 | 515.1 | 457.9 | 402.4 | 347.3 | 288.3 | 237.7 | 195.7 | 158.9 | 130.4 | 107.8 | 94.48