## Sheet1
Report date: | 15:23:16, 09/19/2024
Sample: | 1
File name:
Run date: | 15:17:49, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/350.0 | 3289
2 | 235.0/415.0 | 1468
3 | 250.0/275.0 | 225.4
4 | 270.0/350.0 | 6320
5 | 320.0/425.0 | 2096
6 | 390.0/275.0 | 6.302
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 57.81 | 44.37 | 63.94 | 44.05 | 38.68 | 34.88 | 20.89 | 17.2 | 37.78 | 188.9 | 125.5 | 38.86 | 116.5 | 9999.9 | 9999.9 | 4384 | 30.32 | 14.41 | 11.65 | 8.035 | 5.775 | 5.923 | 4.33 | 4.117 | 4.47 | 3.56 | 3.634 | 3.827 | 4.051 | 3.64 | 3.442 | 3.993 | 4.023 | 3.833 | 3.654 | 4.055 | 4.997 | 5.755 | 5.271 | 3.915 | 3.631
275 | 103.7 | 84.56 | 94.63 | 89.33 | 98.68 | 67.22 | 29.68 | 24.72 | 22.9 | 72.15 | 225.4 | 122.4 | 65.12 | 754.2 | 9999.9 | 9999.9 | 3943 | 32.35 | 14.09 | 9.516 | 8.364 | 5.929 | 6.015 | 4.598 | 4.343 | 4.21 | 4.373 | 4.484 | 4.077 | 3.969 | 4 | 3.985 | 3.529 | 3.668 | 3.77 | 3.373 | 3.952 | 4.754 | 6.302 | 4.525 | 3.661
280 | 104.4 | 88.46 | 168.2 | 172.4 | 166.2 | 121.9 | 77.87 | 37.48 | 26.53 | 42.72 | 126.9 | 276.9 | 135.9 | 157.4 | 794.1 | 9999.9 | 9999.9 | 3591 | 30.16 | 13.1 | 9.158 | 6.561 | 7.041 | 5.798 | 4.666 | 4.432 | 4.163 | 4.259 | 4.438 | 4.032 | 4.098 | 3.851 | 3.632 | 3.98 | 3.876 | 3.428 | 3.221 | 3.618 | 4.667 | 5.531 | 4.712
285 | 168 | 151.3 | 187.2 | 289.8 | 387.9 | 369.3 | 291.5 | 140.1 | 79.38 | 63.99 | 98.49 | 262.7 | 414.1 | 344 | 452.9 | 1107 | 9999.9 | 9999.9 | 3243 | 28.9 | 13.69 | 9.294 | 7.508 | 6.257 | 5.983 | 4.979 | 5.127 | 4.942 | 4.582 | 4.559 | 4.285 | 4.234 | 4.404 | 3.922 | 3.826 | 3.36 | 3.671 | 3.292 | 3.624 | 4.168 | 5.042
290 | 226.1 | 221.1 | 338.7 | 506.6 | 776.8 | 916.6 | 756.6 | 402.3 | 199.1 | 136.6 | 194.8 | 313.2 | 668 | 933.6 | 1055 | 1202 | 1663 | 9999.9 | 9999.9 | 2849 | 24.31 | 12.19 | 9.462 | 6.942 | 5.968 | 5.62 | 5.835 | 5.388 | 4.936 | 4.917 | 4.914 | 4.451 | 4.212 | 4.536 | 4.055 | 3.719 | 3.578 | 2.929 | 3.127 | 3.489 | 3.761
295 | 301.4 | 348.5 | 451.8 | 695.7 | 1129 | 1512 | 1279 | 696.1 | 366.5 | 248.3 | 303.7 | 485.4 | 852.6 | 1516 | 1939 | 2046 | 1837 | 1634 | 9999.9 | 9999.9 | 2636 | 23.95 | 12.35 | 9.356 | 7.577 | 6.591 | 6.431 | 5.63 | 5.784 | 4.999 | 5.185 | 4.778 | 4.407 | 4.467 | 4.344 | 4.294 | 3.585 | 3.184 | 3.515 | 3.299 | 3.18
300 | 373 | 443.9 | 618.6 | 865 | 1542 | 1992 | 1790 | 1006 | 531.6 | 368.9 | 406.6 | 668.4 | 1120 | 1812 | 2713 | 2887 | 2483 | 1452 | 1119 | 9999.9 | 9999.9 | 2470 | 23.35 | 13.71 | 10 | 7.565 | 7.276 | 5.994 | 5.884 | 5.587 | 5.093 | 4.54 | 4.932 | 4.463 | 4.278 | 4.029 | 3.712 | 3.36 | 3.386 | 3.286 | 3.031
305 | 429.5 | 484.6 | 627.9 | 1017 | 1679 | 2238 | 2057 | 1245 | 741.1 | 531.1 | 607.8 | 909.1 | 1418 | 2176 | 3040 | 3515 | 3048 | 1804 | 688.4 | 888.1 | 9999.9 | 9999.9 | 2257 | 21.95 | 12.96 | 10.6 | 8.628 | 7.528 | 6.761 | 5.883 | 5.383 | 5.495 | 5.039 | 4.762 | 4.699 | 4.211 | 3.829 | 3.556 | 3.605 | 3.404 | 2.992
310 | 431 | 515.8 | 695 | 1031 | 1694 | 2314 | 2170 | 1455 | 963.8 | 808.2 | 994.2 | 1366 | 1912 | 2652 | 3380 | 3752 | 3540 | 2163 | 918.4 | 408.6 | 851.9 | 9999.9 | 9999.9 | 2312 | 24.66 | 14.73 | 11.31 | 9.483 | 7.653 | 7.09 | 6.145 | 5.798 | 6.041 | 5.343 | 4.884 | 4.337 | 4.131 | 3.332 | 3.243 | 2.985 | 3.13
315 | 443.4 | 583.6 | 659.7 | 1149 | 1810 | 2332 | 2272 | 1642 | 1243 | 1221 | 1485 | 1984 | 2564 | 3172 | 3776 | 3931 | 3731 | 2635 | 1267 | 606.1 | 374.9 | 880.9 | 9999.9 | 9999.9 | 2249 | 25.45 | 14.41 | 11.47 | 9.286 | 7.894 | 7.344 | 6.254 | 6.146 | 5.764 | 5.262 | 4.801 | 4.03 | 3.915 | 3.806 | 3.134 | 3.194
320 | 466.9 | 545.6 | 805.6 | 1186 | 1937 | 2397 | 2340 | 1749 | 1475 | 1620 | 2065 | 2653 | 3287 | 3856 | 4247 | 4235 | 3878 | 3024 | 1783 | 918.7 | 555.1 | 394.3 | 875.8 | 9999.9 | 9999.9 | 2450 | 26.3 | 16.45 | 13.05 | 9.662 | 8.461 | 7.339 | 7.08 | 6.223 | 5.328 | 4.942 | 4.771 | 3.716 | 3.904 | 3.214 | 3.16
325 | 466.3 | 662.8 | 826.8 | 1278 | 2137 | 2575 | 2442 | 1875 | 1727 | 2024 | 2596 | 3344 | 4007 | 4508 | 4733 | 4541 | 4219 | 3270 | 2324 | 1325 | 789.7 | 501.8 | 343.1 | 824.2 | 9999.9 | 9999.9 | 2629 | 27.94 | 17.97 | 13.59 | 10.57 | 8.577 | 7.633 | 7.042 | 6.264 | 5.526 | 4.789 | 4.546 | 3.787 | 3.46 | 3.465
330 | 419.7 | 661.8 | 934.7 | 1512 | 2318 | 2707 | 2510 | 2010 | 1946 | 2401 | 3046 | 3917 | 4661 | 5128 | 5273 | 4990 | 4621 | 3721 | 2629 | 1787 | 1069 | 664.9 | 399.8 | 238.7 | 772 | 9999.9 | 9999.9 | 2923 | 27.95 | 18.89 | 14.47 | 10.79 | 8.65 | 7.955 | 6.89 | 6.277 | 5.226 | 4.786 | 4.209 | 3.668 | 3.535
335 | 453.9 | 708.5 | 996.4 | 1614 | 2495 | 2941 | 2577 | 2089 | 2100 | 2606 | 3401 | 4374 | 5196 | 5652 | 5749 | 5414 | 5057 | 4199 | 3051 | 1971 | 1430 | 854.3 | 496.8 | 256.2 | 155.1 | 754.7 | 9999.9 | 9999.9 | 3373 | 31.35 | 20.59 | 15.16 | 11.38 | 8.812 | 8.527 | 7.078 | 6.223 | 4.84 | 4.424 | 4.147 | 3.651
340 | 447.9 | 679.3 | 1065 | 1684 | 2638 | 3148 | 2724 | 2172 | 2209 | 2771 | 3645 | 4652 | 5529 | 6041 | 6088 | 5769 | 5422 | 4599 | 3443 | 2196 | 1549 | 1126 | 608.6 | 306 | 151.9 | 122.6 | 763 | 9999.9 | 9999.9 | 3778 | 33.2 | 21.44 | 16.27 | 12.14 | 9.388 | 7.523 | 6.876 | 5.511 | 5.159 | 4.475 | 4.234
345 | 496.3 | 719.4 | 1126 | 1856 | 2725 | 3229 | 2758 | 2166 | 2299 | 2824 | 3709 | 4781 | 5726 | 6283 | 6309 | 6000 | 5682 | 4875 | 3744 | 2413 | 1617 | 1202 | 800.8 | 381.5 | 188 | 112.7 | 119.8 | 779.7 | 9999.9 | 9999.9 | 4258 | 35.64 | 23.37 | 17.55 | 12.57 | 8.692 | 7.43 | 6.13 | 5.158 | 4.629 | 4.436
350 | 452.7 | 692.3 | 1065 | 1754 | 2878 | 3289 | 2711 | 2134 | 2258 | 2783 | 3650 | 4713 | 5625 | 6199 | 6320 | 6083 | 5750 | 5016 | 3917 | 2556 | 1704 | 1173 | 912.6 | 540.2 | 247.6 | 154.4 | 115.1 | 133.8 | 790.7 | 9999.9 | 9999.9 | 4701 | 36.83 | 24.83 | 17.06 | 11.81 | 9.17 | 7.18 | 6.094 | 5.576 | 4.264
355 | 511.8 | 742.1 | 1099 | 1795 | 2887 | 3256 | 2604 | 2061 | 2149 | 2687 | 3507 | 4509 | 5364 | 6009 | 6139 | 5974 | 5736 | 5034 | 3978 | 2608 | 1768 | 1222 | 865.6 | 686.8 | 382.6 | 221.2 | 167.6 | 135.1 | 147.9 | 830.2 | 9999.9 | 9999.9 | 4832 | 38.72 | 23.43 | 17.2 | 11.92 | 8.994 | 7.067 | 5.643 | 4.901
360 | 518.5 | 654.8 | 1108 | 1797 | 2760 | 3137 | 2576 | 2005 | 2031 | 2543 | 3298 | 4220 | 5055 | 5650 | 5859 | 5754 | 5516 | 4918 | 3946 | 2627 | 1808 | 1269 | 907.7 | 669.7 | 589.4 | 355.1 | 248.3 | 199.4 | 160.2 | 168.2 | 821.4 | 9999.9 | 9999.9 | 5418 | 40.01 | 23.72 | 16.78 | 11.22 | 8.26 | 7.05 | 6.055
365 | 509.7 | 656.2 | 1020 | 1758 | 2539 | 2954 | 2403 | 1884 | 1981 | 2384 | 3034 | 3853 | 4641 | 5211 | 5502 | 5434 | 5257 | 4691 | 3812 | 2596 | 1825 | 1326 | 965.4 | 710.4 | 617.1 | 566.1 | 369.6 | 284.3 | 224.3 | 176.3 | 174.7 | 850.5 | 9999.9 | 9999.9 | 5242 | 38.78 | 23.81 | 15.98 | 10.45 | 7.62 | 6.783
370 | 455.6 | 650.9 | 963.4 | 1595 | 2419 | 2795 | 2285 | 1759 | 1846 | 2202 | 2785 | 3493 | 4194 | 4711 | 5014 | 5012 | 4913 | 4436 | 3636 | 2537 | 1846 | 1382 | 1047 | 811 | 669.8 | 666.9 | 586 | 403.3 | 312.4 | 247.7 | 186.9 | 175.4 | 861 | 9999.9 | 9999.9 | 5073 | 36.29 | 22.44 | 15.03 | 10.07 | 7.091
375 | 405.6 | 568.6 | 894.8 | 1470 | 2229 | 2623 | 2140 | 1734 | 1751 | 2030 | 2504 | 3168 | 3746 | 4246 | 4543 | 4605 | 4541 | 4128 | 3460 | 2490 | 1855 | 1444 | 1149 | 930.6 | 782.8 | 712.8 | 753.2 | 610.9 | 433.1 | 344.3 | 262.1 | 186.7 | 174.7 | 884.1 | 9999.9 | 9999.9 | 4895 | 34.83 | 21.07 | 14.38 | 8.993
380 | 434.2 | 584 | 892.2 | 1286 | 2113 | 2428 | 2079 | 1634 | 1647 | 1848 | 2289 | 2796 | 3298 | 3760 | 4068 | 4161 | 4185 | 3871 | 3295 | 2446 | 1894 | 1521 | 1257 | 1068 | 934.5 | 840.9 | 805.6 | 825.3 | 619.1 | 465.5 | 360.6 | 264.1 | 186.8 | 176.9 | 884.1 | 9999.9 | 9999.9 | 4640 | 32.94 | 19.01 | 12.86
385 | 445.7 | 564.6 | 816.2 | 1258 | 1864 | 2212 | 1930 | 1587 | 1589 | 1730 | 2049 | 2515 | 2946 | 3328 | 3633 | 3799 | 3839 | 3583 | 3145 | 2418 | 1959 | 1622 | 1395 | 1225 | 1098 | 1012 | 937.3 | 904.3 | 857.1 | 636.1 | 487.6 | 368.6 | 266.8 | 186.2 | 176.7 | 881.5 | 9999.9 | 9999.9 | 4324 | 29.69 | 18.91
390 | 505.4 | 565.3 | 740.5 | 1195 | 1637 | 1998 | 1807 | 1525 | 1552 | 1630 | 1878 | 2249 | 2595 | 2959 | 3247 | 3436 | 3516 | 3363 | 3019 | 2427 | 2021 | 1749 | 1535 | 1382 | 1276 | 1197 | 1125 | 1038 | 981.4 | 876.3 | 645.8 | 489.4 | 369.6 | 262.6 | 178.2 | 164.8 | 842.7 | 9999.9 | 9999.9 | 4192 | 29.34
395 | 802.2 | 503.6 | 710.4 | 1128 | 1579 | 1835 | 1747 | 1496 | 1500 | 1554 | 1783 | 2026 | 2316 | 2635 | 2968 | 3141 | 3257 | 3170 | 2919 | 2436 | 2087 | 1857 | 1677 | 1548 | 1454 | 1384 | 1299 | 1204 | 1082 | 1030 | 861.8 | 632.3 | 482.8 | 352.1 | 240 | 157.1 | 147.9 | 870.5 | 9999.9 | 9999.9 | 3852
400 | 1278 | 609.6 | 686.3 | 934.1 | 1440 | 1758 | 1671 | 1495 | 1467 | 1514 | 1625 | 1841 | 2080 | 2375 | 2674 | 2920 | 3033 | 3014 | 2813 | 2416 | 2152 | 1969 | 1822 | 1708 | 1642 | 1567 | 1485 | 1378 | 1234 | 1108 | 1040 | 823.7 | 610.4 | 454.2 | 315.1 | 208 | 135.8 | 141.2 | 824.2 | 9999.9 | 9999.9
405 | 880.6 | 1268 | 671.1 | 903.7 | 1324 | 1573 | 1571 | 1464 | 1453 | 1489 | 1552 | 1709 | 1904 | 2152 | 2449 | 2691 | 2864 | 2855 | 2741 | 2414 | 2192 | 2053 | 1952 | 1859 | 1789 | 1731 | 1651 | 1543 | 1388 | 1239 | 1102 | 1012 | 765.2 | 552.3 | 395.6 | 267.8 | 174.2 | 120.3 | 127.8 | 785.4 | 9999.9
410 | 448.1 | 1638 | 910.1 | 873 | 1243 | 1505 | 1494 | 1457 | 1473 | 1439 | 1486 | 1606 | 1751 | 2005 | 2270 | 2514 | 2695 | 2706 | 2615 | 2382 | 2218 | 2126 | 2043 | 1962 | 1919 | 1860 | 1789 | 1672 | 1523 | 1345 | 1185 | 1065 | 942 | 677.9 | 477.5 | 329.3 | 226.9 | 151.6 | 104.1 | 116.2 | 780.5
415 | 370.2 | 1180 | 1492 | 813.3 | 1122 | 1383 | 1451 | 1468 | 1463 | 1433 | 1431 | 1527 | 1650 | 1859 | 2118 | 2370 | 2528 | 2557 | 2503 | 2327 | 2203 | 2136 | 2091 | 2045 | 2016 | 1965 | 1894 | 1775 | 1624 | 1449 | 1278 | 1111 | 1003 | 826 | 568 | 398.8 | 280.9 | 191.1 | 130.1 | 91.72 | 108.7
420 | 328.4 | 577.9 | 1851 | 984.1 | 997.8 | 1331 | 1409 | 1453 | 1426 | 1412 | 1405 | 1449 | 1547 | 1778 | 1989 | 2255 | 2392 | 2413 | 2385 | 2253 | 2179 | 2139 | 2103 | 2083 | 2069 | 2022 | 1957 | 1851 | 1695 | 1523 | 1352 | 1180 | 1017 | 907.8 | 690.6 | 460.9 | 329.8 | 229.9 | 158 | 109.1 | 80.54
425 | 350.9 | 437.5 | 1425 | 1685 | 1075 | 1248 | 1324 | 1429 | 1433 | 1396 | 1350 | 1396 | 1505 | 1651 | 1887 | 2122 | 2235 | 2277 | 2253 | 2177 | 2127 | 2113 | 2093 | 2089 | 2096 | 2057 | 1997 | 1890 | 1744 | 1571 | 1399 | 1229 | 1052 | 897.7 | 774.8 | 548.7 | 374.9 | 267.8 | 190.3 | 133.6 | 95.21
430 | 332.6 | 380.6 | 759.3 | 2254 | 1101 | 1173 | 1321 | 1356 | 1397 | 1377 | 1337 | 1347 | 1418 | 1584 | 1790 | 2007 | 2128 | 2146 | 2127 | 2080 | 2048 | 2069 | 2084 | 2081 | 2086 | 2072 | 2009 | 1912 | 1770 | 1604 | 1438 | 1263 | 1088 | 918 | 770.3 | 630.8 | 429.5 | 300.1 | 217.2 | 157.2 | 114.9
435 | 309.1 | 406.3 | 557.7 | 1926 | 1993 | 1087 | 1283 | 1355 | 1403 | 1361 | 1315 | 1316 | 1368 | 1502 | 1708 | 1903 | 2021 | 2027 | 2025 | 1980 | 1992 | 2012 | 2034 | 2048 | 2064 | 2056 | 2012 | 1915 | 1775 | 1612 | 1437 | 1275 | 1097 | 928.6 | 761 | 636.6 | 502.8 | 334.2 | 240.2 | 175.1 | 131.4
440 | 310.2 | 344.3 | 481.9 | 834.8 | 2883 | 1279 | 1212 | 1318 | 1361 | 1338 | 1293 | 1276 | 1327 | 1453 | 1621 | 1812 | 1897 | 1903 | 1892 | 1889 | 1897 | 1934 | 1970 | 1987 | 2027 | 2013 | 1967 | 1883 | 1738 | 1588 | 1428 | 1272 | 1103 | 932 | 769.7 | 611.6 | 521.3 | 389 | 265.8 | 197.8 | 150.8
445 | 266.9 | 337.4 | 441.4 | 631.9 | 2457 | 2250 | 1104 | 1244 | 1303 | 1276 | 1240 | 1231 | 1256 | 1355 | 1518 | 1679 | 1780 | 1773 | 1750 | 1756 | 1785 | 1826 | 1860 | 1899 | 1934 | 1930 | 1899 | 1826 | 1701 | 1555 | 1389 | 1231 | 1082 | 928.9 | 762.3 | 606.1 | 489.8 | 417.5 | 302.3 | 209.5 | 164
450 | 273.4 | 308.6 | 478.6 | 583.8 | 1101 | 3548 | 1380 | 1173 | 1256 | 1250 | 1176 | 1182 | 1196 | 1280 | 1425 | 1563 | 1629 | 1627 | 1614 | 1618 | 1651 | 1698 | 1747 | 1782 | 1814 | 1831 | 1801 | 1730 | 1616 | 1481 | 1325 | 1177 | 1036 | 900.2 | 747.3 | 592.6 | 473.3 | 397.4 | 338 | 239.5 | 178.2
455 | 262.2 | 304.4 | 412.2 | 486.3 | 655.3 | 3127 | 2642 | 1100 | 1162 | 1161 | 1115 | 1092 | 1122 | 1185 | 1306 | 1446 | 1483 | 1470 | 1481 | 1481 | 1510 | 1568 | 1611 | 1655 | 1687 | 1708 | 1678 | 1618 | 1520 | 1394 | 1256 | 1117 | 989.3 | 854.8 | 715.1 | 581.5 | 461.8 | 369.5 | 327.1 | 278.8 | 201.5
460 | 229.9 | 261.9 | 385.1 | 465.7 | 574.8 | 1312 | 4516 | 1402 | 1090 | 1091 | 1041 | 1029 | 1040 | 1106 | 1179 | 1295 | 1349 | 1335 | 1315 | 1327 | 1377 | 1415 | 1475 | 1511 | 1546 | 1560 | 1553 | 1495 | 1410 | 1292 | 1162 | 1047 | 920.6 | 803.2 | 683.1 | 559.7 | 446.6 | 363.7 | 307 | 285.5 | 230.7
465 | 224 | 254.8 | 292.1 | 380.4 | 520.5 | 691.6 | 4120 | 3006 | 992.6 | 1005 | 969.8 | 949.8 | 961 | 1011 | 1085 | 1177 | 1215 | 1198 | 1182 | 1188 | 1224 | 1291 | 1326 | 1368 | 1403 | 1427 | 1423 | 1375 | 1291 | 1190 | 1074 | 960.8 | 851.3 | 749.4 | 642.2 | 532.4 | 439.2 | 359.7 | 296.6 | 263.3 | 248.2
470 | 211 | 235.4 | 311.5 | 380.8 | 439.6 | 525.3 | 1539 | 5331 | 1400 | 909.8 | 890.6 | 878.8 | 871 | 904.8 | 989.5 | 1038 | 1085 | 1071 | 1043 | 1053 | 1088 | 1136 | 1179 | 1216 | 1258 | 1285 | 1276 | 1239 | 1171 | 1078 | 970 | 876.7 | 781.7 | 696 | 595.9 | 502.9 | 417.6 | 350.3 | 292.2 | 254.1 | 235.4
475 | 167.5 | 249.7 | 296.5 | 348.1 | 433.1 | 536.2 | 717.6 | 4914 | 3274 | 858.3 | 803.5 | 801.3 | 795.7 | 826.6 | 870.3 | 926.7 | 951.2 | 933.1 | 923.6 | 927.1 | 956.5 | 992.5 | 1041 | 1081 | 1115 | 1143 | 1136 | 1110 | 1051 | 968.7 | 879.9 | 795.6 | 713.3 | 630.4 | 551.9 | 473.9 | 399.5 | 334.3 | 287 | 251.5 | 223.3
480 | 176.8 | 217.3 | 233.8 | 306.7 | 368.6 | 457.6 | 561.4 | 1733 | 5997 | 1280 | 745.3 | 758.7 | 747.8 | 773 | 802.4 | 853.2 | 865.9 | 841.5 | 805.9 | 817.3 | 848.6 | 881.7 | 916.6 | 954.3 | 989 | 1017 | 1023 | 998.5 | 942.8 | 877.8 | 799.1 | 725.6 | 656.7 | 594 | 523.9 | 448 | 385.3 | 331.4 | 285 | 251.9 | 225
485 | 129.3 | 195.7 | 242.8 | 263.7 | 373.2 | 437.8 | 517.9 | 693.3 | 5551 | 3341 | 724.3 | 705.8 | 713.2 | 750.4 | 777.5 | 814.5 | 797.9 | 758.3 | 723.9 | 727.8 | 748.7 | 778.1 | 824.4 | 863.1 | 892.4 | 912.8 | 920.6 | 903.1 | 871.6 | 809.9 | 752.1 | 685 | 625.9 | 575.9 | 511.8 | 449 | 388.4 | 335.6 | 295.7 | 260.6 | 233.2
490 | 143.4 | 165.6 | 216.9 | 235.7 | 347.6 | 420.3 | 490.8 | 557.1 | 1919 | 6233 | 1173 | 693.8 | 714.2 | 733.6 | 772 | 786.4 | 769.7 | 709.1 | 667.2 | 650.6 | 670.3 | 703.1 | 740.3 | 770.3 | 798.8 | 823.3 | 838.8 | 827.2 | 795.9 | 755.9 | 703.9 | 660.6 | 611.3 | 569.6 | 517.9 | 459.7 | 406.9 | 354.5 | 310.6 | 276.1 | 251.1
495 | 161.7 | 146.4 | 203.3 | 237 | 317.5 | 385.4 | 492.9 | 523.9 | 663.6 | 5769 | 3191 | 695.7 | 733.6 | 792.4 | 791.7 | 793.8 | 749.7 | 668.7 | 597.3 | 586.5 | 595.6 | 627.5 | 655.3 | 683.9 | 720.3 | 745.8 | 767.7 | 760.3 | 745.4 | 716.2 | 673 | 643.2 | 609.7 | 580.1 | 536.7 | 490.9 | 431.6 | 380.2 | 332.4 | 298.9 | 273.8
500 | 124.5 | 125.1 | 181.9 | 228 | 281.9 | 378.5 | 487.4 | 504 | 550.5 | 2065 | 6236 | 1127 | 748.7 | 823.6 | 828.6 | 805.6 | 727.5 | 634.8 | 544.1 | 512.1 | 528.5 | 549 | 583.8 | 607.9 | 642.4 | 663.9 | 689.7 | 696.1 | 689.9 | 673.4 | 646 | 632 | 609.5 | 595.4 | 560.5 | 522.7 | 468.5 | 410.7 | 363.4 | 320.5 | 296.9