## Sheet1
Report date: | 15:46:35, 09/19/2024
Sample: | 1
File name:
Run date: | 15:34:01, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 225.0/315.0 | 2357
2 | 225.0/340.0 | 2603
3 | 250.0/275.0 | 235.3
4 | 270.0/345.0 | 5141
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 46.83 | 68.38 | 67.99 | 66.64 | 38.38 | 31.74 | 22.84 | 17.3 | 37.29 | 198.3 | 122.2 | 41.42 | 113.2 | 9999.9 | 9999.9 | 4343 | 33.07 | 14.63 | 11.38 | 7.691 | 6.661 | 5.149 | 4.648 | 4.404 | 3.724 | 4.211 | 4.177 | 4.044 | 3.816 | 3.998 | 3.997 | 3.836 | 3.791 | 3.571 | 3.594 | 4.136 | 4.693 | 5.88 | 5.737 | 3.842 | 3.607
275 | 51.09 | 63.07 | 102.4 | 111.2 | 72.12 | 53.12 | 30.58 | 20.03 | 21.7 | 76.44 | 235.3 | 115.6 | 67.48 | 743.5 | 9999.9 | 9999.9 | 4073 | 31.09 | 13.81 | 10.63 | 7.805 | 6.123 | 6.123 | 5.528 | 4.752 | 4.684 | 4.506 | 3.89 | 4.31 | 4.196 | 4.023 | 3.985 | 3.511 | 4.001 | 3.816 | 3.712 | 4.025 | 4.453 | 5.415 | 4.609 | 3.6
280 | 64.9 | 91.4 | 147 | 152.2 | 126.8 | 125.7 | 71.9 | 42.55 | 31.3 | 39.19 | 127.5 | 271.9 | 127.4 | 156.7 | 796.6 | 9999.9 | 9999.9 | 3796 | 31.28 | 13.41 | 9.349 | 7.443 | 5.972 | 5.702 | 5.307 | 4.99 | 4.568 | 4.399 | 4.717 | 4.196 | 4.23 | 4.363 | 3.878 | 3.758 | 3.721 | 3.182 | 3.147 | 3.591 | 4.319 | 5.17 | 4.507
285 | 177.8 | 151.3 | 194.4 | 263 | 391.6 | 378 | 277.8 | 158.5 | 66.86 | 70.12 | 98.55 | 273.2 | 423.7 | 343.8 | 465.7 | 1119 | 9999.9 | 9999.9 | 3426 | 30.1 | 12.37 | 9.644 | 8.141 | 6.59 | 6.174 | 5.371 | 4.496 | 4.909 | 4.5 | 4.696 | 4.57 | 4.1 | 4.036 | 4.518 | 4.118 | 3.582 | 3.286 | 3.438 | 3.555 | 4.414 | 4.97
290 | 204.7 | 234.2 | 306.3 | 510 | 700.6 | 934.8 | 795.4 | 386.9 | 202 | 144.3 | 183.7 | 312 | 689.7 | 942.5 | 1086 | 1225 | 1695 | 9999.9 | 9999.9 | 3076 | 27.13 | 12.49 | 10.61 | 7.863 | 6.652 | 5.576 | 5.499 | 5.014 | 5.216 | 4.972 | 4.5 | 4.383 | 4.544 | 4.266 | 4.043 | 3.808 | 3.548 | 3.149 | 3.428 | 3.379 | 3.774
295 | 287.6 | 275.5 | 451.4 | 693.8 | 1144 | 1578 | 1350 | 724.5 | 358.5 | 238.3 | 287.8 | 482.4 | 857.8 | 1572 | 1988 | 2108 | 1877 | 1687 | 9999.9 | 9999.9 | 2819 | 25.58 | 13.4 | 10.61 | 8.162 | 7.14 | 6.545 | 5.734 | 5.54 | 5.166 | 5.138 | 4.748 | 4.462 | 4.442 | 4.628 | 4.008 | 3.52 | 3.179 | 3.391 | 2.879 | 3.297
300 | 358.3 | 370 | 556.2 | 816.1 | 1421 | 2051 | 1850 | 1000 | 530.1 | 363 | 401.9 | 676.8 | 1124 | 1830 | 2816 | 3002 | 2551 | 1514 | 1139 | 9999.9 | 9999.9 | 2601 | 22.84 | 13.35 | 10.21 | 7.786 | 7.406 | 6.75 | 6.256 | 5.536 | 5.043 | 4.706 | 4.991 | 4.201 | 4.52 | 4.299 | 3.586 | 3.267 | 3.064 | 3.086 | 3.092
305 | 393.7 | 459.4 | 634 | 1015 | 1723 | 2290 | 2122 | 1267 | 722.7 | 523.9 | 597.3 | 880.1 | 1426 | 2184 | 3074 | 3688 | 3106 | 1834 | 698.2 | 892.5 | 9999.9 | 9999.9 | 2419 | 23.67 | 13.5 | 10.88 | 9.195 | 7.797 | 6.866 | 6.686 | 5.739 | 5.948 | 5.192 | 4.592 | 5.137 | 4.224 | 3.393 | 3.371 | 3.227 | 3.112 | 3.032
310 | 451.1 | 506.3 | 633.4 | 996 | 1770 | 2338 | 2292 | 1447 | 926 | 786.7 | 941.9 | 1298 | 1831 | 2593 | 3354 | 3855 | 3577 | 2185 | 896.9 | 388.6 | 837.2 | 9999.9 | 9999.9 | 2500 | 26.67 | 15.57 | 11.75 | 8.887 | 7.39 | 6.795 | 6.826 | 6.221 | 5.355 | 5.672 | 5.398 | 4.498 | 3.824 | 3.554 | 3.207 | 3.259 | 3
315 | 438.5 | 495 | 676.5 | 1042 | 1682 | 2357 | 2245 | 1610 | 1129 | 1114 | 1345 | 1769 | 2332 | 3005 | 3638 | 3938 | 3737 | 2605 | 1188 | 537.7 | 324.3 | 838.8 | 9999.9 | 9999.9 | 2453 | 25.05 | 15.87 | 11.8 | 9.54 | 8.151 | 7.193 | 6.81 | 5.806 | 5.505 | 5.404 | 4.905 | 4.356 | 3.86 | 3.513 | 3.465 | 3.002
320 | 411.4 | 533.3 | 716.5 | 1084 | 1737 | 2341 | 2250 | 1721 | 1374 | 1434 | 1766 | 2280 | 2862 | 3476 | 3902 | 4077 | 3748 | 2898 | 1623 | 771 | 443.5 | 299.8 | 820.7 | 9999.9 | 9999.9 | 2642 | 26.59 | 17.44 | 13.68 | 10.07 | 7.399 | 7.137 | 6.514 | 5.713 | 5.287 | 4.978 | 4.076 | 4.424 | 3.577 | 3.467 | 3.114
325 | 388.3 | 553.9 | 734.3 | 1189 | 1821 | 2349 | 2263 | 1769 | 1541 | 1726 | 2170 | 2783 | 3372 | 3919 | 4227 | 4258 | 3949 | 3041 | 2071 | 1113 | 610.5 | 372.8 | 251.8 | 794 | 9999.9 | 9999.9 | 2795 | 27.55 | 18.26 | 14.19 | 10.63 | 8.29 | 7.704 | 7.24 | 5.782 | 5.473 | 4.705 | 4.415 | 4.136 | 3.513 | 3.371
330 | 400.3 | 533.6 | 766.4 | 1255 | 1932 | 2389 | 2279 | 1818 | 1739 | 1958 | 2524 | 3197 | 3816 | 4343 | 4524 | 4496 | 4206 | 3332 | 2269 | 1506 | 851.5 | 483 | 275.3 | 182.1 | 767 | 9999.9 | 9999.9 | 3104 | 29.08 | 19.22 | 14.89 | 11.32 | 9.126 | 7.579 | 7.172 | 6.254 | 5.16 | 4.863 | 4.092 | 3.957 | 3.766
335 | 393.6 | 529.7 | 811.6 | 1251 | 2025 | 2449 | 2307 | 1859 | 1811 | 2147 | 2739 | 3485 | 4183 | 4688 | 4817 | 4768 | 4467 | 3645 | 2567 | 1638 | 1177 | 642.6 | 345.1 | 183.7 | 140.1 | 759.8 | 9999.9 | 9999.9 | 3449 | 31.26 | 20.23 | 15.85 | 11.39 | 9.422 | 8.235 | 6.814 | 5.524 | 5.296 | 4.158 | 3.909 | 3.63
340 | 390.4 | 556.4 | 856 | 1392 | 2066 | 2603 | 2271 | 1858 | 1886 | 2251 | 2855 | 3674 | 4397 | 4898 | 5049 | 4994 | 4708 | 3954 | 2894 | 1802 | 1255 | 899.6 | 441.4 | 233.9 | 128.4 | 119.5 | 771.2 | 9999.9 | 9999.9 | 3836 | 33.29 | 21.73 | 16.6 | 12.14 | 9.408 | 6.916 | 6.749 | 5.601 | 4.548 | 4.245 | 4.032
345 | 416.2 | 588.3 | 879.5 | 1386 | 2169 | 2580 | 2279 | 1835 | 1834 | 2248 | 2947 | 3751 | 4445 | 4980 | 5141 | 5088 | 4827 | 4159 | 3115 | 1963 | 1285 | 972.7 | 640.6 | 300.2 | 164.1 | 107.7 | 119.2 | 786.3 | 9999.9 | 9999.9 | 4229 | 36.03 | 23.64 | 16.59 | 11.71 | 8.9 | 7.62 | 6.043 | 4.839 | 4.527 | 4.584
350 | 438 | 622.4 | 874.3 | 1408 | 2124 | 2524 | 2187 | 1782 | 1766 | 2232 | 2842 | 3648 | 4384 | 4919 | 5107 | 5055 | 4852 | 4222 | 3250 | 2087 | 1379 | 946.6 | 763.5 | 454 | 222.5 | 142.3 | 109.9 | 126.9 | 791.5 | 9999.9 | 9999.9 | 4669 | 37.36 | 24.42 | 17.78 | 11.26 | 8.728 | 6.999 | 5.981 | 5.24 | 4.305
355 | 417.2 | 522.6 | 805.7 | 1347 | 2126 | 2476 | 2192 | 1699 | 1742 | 2149 | 2737 | 3485 | 4206 | 4739 | 4942 | 4970 | 4772 | 4187 | 3300 | 2172 | 1451 | 991.3 | 711.3 | 618.3 | 356.6 | 208.1 | 155.3 | 126.2 | 143.1 | 829.3 | 9999.9 | 9999.9 | 4807 | 38.59 | 24.41 | 17.7 | 11.1 | 8.351 | 7.275 | 5.695 | 5.16
360 | 404.1 | 533.3 | 772.1 | 1287 | 2013 | 2346 | 2073 | 1631 | 1663 | 2004 | 2583 | 3274 | 3936 | 4454 | 4715 | 4753 | 4609 | 4077 | 3254 | 2179 | 1502 | 1074 | 750.6 | 587.7 | 547.4 | 326 | 222.4 | 181.3 | 144.9 | 158.8 | 816.8 | 9999.9 | 9999.9 | 5290 | 39.02 | 24.71 | 16.75 | 11.19 | 8.073 | 6.645 | 5.585
365 | 345.3 | 549.5 | 709.8 | 1277 | 1925 | 2371 | 1940 | 1549 | 1585 | 1910 | 2408 | 2994 | 3639 | 4111 | 4385 | 4478 | 4358 | 3902 | 3166 | 2179 | 1556 | 1129 | 820.1 | 616.5 | 565.9 | 528.4 | 326.1 | 251.9 | 198.5 | 158.5 | 165.1 | 842.6 | 9999.9 | 9999.9 | 5204 | 39.12 | 22.87 | 15.72 | 10.73 | 7.327 | 6.357
370 | 374.4 | 533.1 | 640.7 | 1172 | 1828 | 2134 | 1833 | 1472 | 1517 | 1771 | 2190 | 2771 | 3313 | 3768 | 4064 | 4141 | 4064 | 3685 | 3059 | 2148 | 1573 | 1204 | 899.6 | 702.6 | 590.2 | 604.9 | 524.7 | 353.7 | 275.7 | 218.4 | 170.8 | 166.1 | 862.1 | 9999.9 | 9999.9 | 5034 | 36.85 | 21.37 | 14.82 | 9.728 | 6.875
375 | 315.7 | 505.4 | 644.7 | 1060 | 1703 | 1964 | 1765 | 1420 | 1428 | 1652 | 2023 | 2480 | 2944 | 3374 | 3685 | 3787 | 3775 | 3492 | 2930 | 2117 | 1620 | 1266 | 998.1 | 815.4 | 693.4 | 619.6 | 676.7 | 545.2 | 379.5 | 304.6 | 238 | 172.1 | 169.7 | 871.7 | 9999.9 | 9999.9 | 4794 | 34.11 | 20.58 | 14.29 | 9.526
380 | 328.2 | 461.7 | 607 | 1013 | 1508 | 1833 | 1601 | 1384 | 1385 | 1548 | 1839 | 2200 | 2622 | 3026 | 3285 | 3461 | 3501 | 3268 | 2801 | 2125 | 1680 | 1356 | 1116 | 942.6 | 817.7 | 737.6 | 709.9 | 738 | 553.6 | 413.9 | 329.1 | 244.8 | 174.6 | 173.6 | 877.9 | 9999.9 | 9999.9 | 4579 | 32.81 | 19.34 | 13.02
385 | 309.9 | 455.1 | 590.6 | 910.9 | 1399 | 1669 | 1561 | 1333 | 1285 | 1455 | 1684 | 1988 | 2354 | 2680 | 2983 | 3148 | 3209 | 3067 | 2704 | 2137 | 1739 | 1468 | 1241 | 1087 | 967.1 | 885.5 | 823 | 812 | 781.4 | 575.4 | 446.3 | 341.5 | 250.4 | 178.5 | 168.4 | 880 | 9999.9 | 9999.9 | 4233 | 29.83 | 18
390 | 387 | 433.3 | 600.5 | 868.8 | 1292 | 1564 | 1519 | 1317 | 1280 | 1355 | 1536 | 1807 | 2104 | 2409 | 2695 | 2875 | 2986 | 2870 | 2622 | 2153 | 1820 | 1596 | 1376 | 1240 | 1130 | 1053 | 981.1 | 910.9 | 878.1 | 806.6 | 597.5 | 456.6 | 344.8 | 248.3 | 168.8 | 160.7 | 838.7 | 9999.9 | 9999.9 | 4114 | 27.74
395 | 788.2 | 431.4 | 552.2 | 785.5 | 1244 | 1471 | 1390 | 1309 | 1266 | 1319 | 1438 | 1635 | 1858 | 2143 | 2426 | 2635 | 2774 | 2751 | 2545 | 2163 | 1904 | 1702 | 1529 | 1397 | 1297 | 1232 | 1159 | 1074 | 977.2 | 948.6 | 812.2 | 592.8 | 447.7 | 336.2 | 224.7 | 148.3 | 144.7 | 865.1 | 9999.9 | 9999.9 | 3745
400 | 1328 | 637.2 | 530.9 | 759.3 | 1053 | 1360 | 1354 | 1258 | 1259 | 1259 | 1344 | 1499 | 1695 | 1958 | 2227 | 2467 | 2579 | 2629 | 2504 | 2182 | 1968 | 1801 | 1671 | 1544 | 1464 | 1409 | 1334 | 1236 | 1120 | 1016 | 976.6 | 775.6 | 569.3 | 426.9 | 298.1 | 197.3 | 129.6 | 135 | 819.4 | 9999.9 | 9999.9
405 | 895.4 | 1124 | 531.3 | 695.6 | 1040 | 1260 | 1333 | 1284 | 1244 | 1224 | 1265 | 1381 | 1560 | 1795 | 2025 | 2283 | 2444 | 2492 | 2421 | 2197 | 2023 | 1890 | 1782 | 1695 | 1632 | 1570 | 1492 | 1405 | 1271 | 1134 | 1028 | 961.1 | 723.7 | 525.5 | 377.7 | 256.1 | 169.8 | 115.4 | 124.8 | 782.2 | 9999.9
410 | 430.5 | 1548 | 733.9 | 633.2 | 991.3 | 1159 | 1255 | 1228 | 1246 | 1191 | 1232 | 1303 | 1457 | 1651 | 1896 | 2139 | 2322 | 2362 | 2337 | 2171 | 2044 | 1961 | 1866 | 1799 | 1746 | 1701 | 1622 | 1529 | 1401 | 1255 | 1116 | 1009 | 897.2 | 643.7 | 458.4 | 318.7 | 218 | 145.7 | 100.1 | 113.4 | 777
415 | 307.8 | 1051 | 1364 | 648.5 | 930.6 | 1162 | 1252 | 1240 | 1248 | 1178 | 1178 | 1263 | 1357 | 1565 | 1794 | 2050 | 2196 | 2256 | 2250 | 2140 | 2051 | 1982 | 1925 | 1880 | 1841 | 1800 | 1732 | 1632 | 1503 | 1366 | 1206 | 1051 | 956.5 | 795.3 | 547.6 | 383.1 | 268.5 | 184.8 | 126.4 | 88.45 | 105.8
420 | 279.2 | 528.5 | 1732 | 887.2 | 858 | 1009 | 1154 | 1230 | 1234 | 1195 | 1140 | 1202 | 1300 | 1471 | 1718 | 1940 | 2095 | 2148 | 2136 | 2069 | 2031 | 1998 | 1950 | 1930 | 1915 | 1872 | 1803 | 1707 | 1576 | 1432 | 1272 | 1114 | 976.5 | 871.1 | 659.8 | 446.1 | 315.4 | 220.5 | 153.7 | 107.6 | 78.7
425 | 277 | 371.8 | 1356 | 1528 | 822.6 | 996.2 | 1118 | 1212 | 1217 | 1167 | 1146 | 1181 | 1252 | 1407 | 1622 | 1847 | 1966 | 2026 | 2036 | 1986 | 1975 | 1965 | 1934 | 1934 | 1933 | 1905 | 1850 | 1752 | 1629 | 1468 | 1321 | 1165 | 1011 | 862.3 | 748.3 | 528.2 | 361 | 258 | 184.6 | 132 | 94.96
430 | 301.4 | 350.7 | 603.5 | 2043 | 972.2 | 940.2 | 1107 | 1193 | 1204 | 1165 | 1110 | 1125 | 1206 | 1346 | 1542 | 1757 | 1875 | 1908 | 1929 | 1914 | 1897 | 1921 | 1932 | 1920 | 1925 | 1918 | 1876 | 1778 | 1650 | 1503 | 1356 | 1193 | 1038 | 876.8 | 740.2 | 612.8 | 419.5 | 291.6 | 212.9 | 153.8 | 114.1
435 | 272.7 | 310.6 | 415.8 | 1670 | 1824 | 885 | 1083 | 1168 | 1186 | 1158 | 1121 | 1117 | 1160 | 1293 | 1485 | 1661 | 1779 | 1818 | 1831 | 1830 | 1847 | 1871 | 1884 | 1896 | 1922 | 1914 | 1880 | 1774 | 1665 | 1513 | 1369 | 1213 | 1053 | 894.5 | 736.8 | 624.8 | 486.3 | 327.5 | 235.5 | 176.6 | 130.3
440 | 224.6 | 298.6 | 392.6 | 692.6 | 2633 | 1132 | 1020 | 1101 | 1157 | 1119 | 1074 | 1090 | 1136 | 1240 | 1418 | 1591 | 1657 | 1703 | 1718 | 1731 | 1752 | 1803 | 1831 | 1843 | 1865 | 1877 | 1832 | 1758 | 1638 | 1507 | 1349 | 1201 | 1054 | 905.4 | 740.7 | 593.9 | 512.1 | 382.8 | 259.4 | 193.4 | 147.3
445 | 220.7 | 270.1 | 386.1 | 503.8 | 2268 | 2011 | 942.5 | 1045 | 1114 | 1064 | 1036 | 1042 | 1080 | 1178 | 1342 | 1475 | 1568 | 1571 | 1611 | 1609 | 1657 | 1704 | 1734 | 1767 | 1807 | 1811 | 1771 | 1706 | 1603 | 1461 | 1318 | 1173 | 1032 | 887.4 | 731.3 | 590.1 | 477.4 | 410.7 | 296.2 | 209.8 | 161.6
450 | 194.8 | 239.1 | 342.4 | 445.4 | 992.9 | 3381 | 1209 | 1002 | 1036 | 1020 | 983.6 | 1005 | 1029 | 1114 | 1240 | 1376 | 1440 | 1456 | 1472 | 1494 | 1537 | 1590 | 1617 | 1658 | 1693 | 1705 | 1688 | 1625 | 1529 | 1396 | 1262 | 1130 | 992.7 | 865.4 | 715.4 | 581.3 | 459.4 | 382.3 | 334.4 | 235.4 | 175.4
455 | 229.2 | 241.5 | 306.9 | 405.1 | 572.5 | 3145 | 2552 | 955.1 | 986 | 971.8 | 944.5 | 936.4 | 975 | 1048 | 1148 | 1264 | 1305 | 1321 | 1330 | 1360 | 1412 | 1465 | 1492 | 1544 | 1572 | 1586 | 1581 | 1531 | 1435 | 1315 | 1190 | 1061 | 945.8 | 821 | 690.7 | 564.9 | 448.8 | 357.9 | 321.1 | 268.5 | 190.9
460 | 182.1 | 231.6 | 321 | 396.5 | 483.6 | 1277 | 4507 | 1268 | 918.6 | 899.6 | 887.6 | 882.6 | 905.8 | 955.6 | 1045 | 1151 | 1188 | 1179 | 1195 | 1225 | 1285 | 1320 | 1367 | 1416 | 1446 | 1467 | 1455 | 1417 | 1321 | 1226 | 1104 | 990.8 | 879.3 | 772.1 | 660.5 | 538.8 | 439.5 | 352.8 | 290.3 | 269.2 | 217.5
465 | 164.7 | 190.1 | 286.8 | 362 | 384.4 | 616.3 | 4115 | 2868 | 849.3 | 825.1 | 810.8 | 817.3 | 837.7 | 884.8 | 951.1 | 1042 | 1078 | 1063 | 1077 | 1098 | 1152 | 1198 | 1236 | 1279 | 1304 | 1338 | 1337 | 1292 | 1219 | 1127 | 1015 | 917.4 | 817.6 | 719.7 | 609.8 | 509.1 | 416.8 | 340.8 | 280.5 | 248.6 | 232.5
470 | 168.3 | 204 | 253.9 | 290.9 | 426.9 | 488.9 | 1513 | 5365 | 1246 | 766.1 | 736.4 | 753.5 | 770.7 | 800.3 | 851.8 | 928.2 | 957.1 | 946.3 | 938.3 | 968.5 | 1013 | 1060 | 1096 | 1132 | 1181 | 1206 | 1193 | 1168 | 1106 | 1023 | 930.3 | 832.1 | 749.9 | 665.4 | 578.3 | 482.8 | 398.4 | 327.6 | 274.2 | 236.8 | 219.2
475 | 159.8 | 208.1 | 229.9 | 282.4 | 358.8 | 450 | 616.9 | 4937 | 3174 | 704.8 | 688.3 | 680.8 | 720.1 | 734.3 | 775.6 | 840.1 | 850.3 | 845.1 | 829.7 | 846.3 | 889.9 | 927.6 | 969.8 | 1003 | 1046 | 1064 | 1070 | 1052 | 992.6 | 922 | 835.9 | 754.9 | 688.6 | 610.4 | 533 | 449.6 | 381.6 | 316.7 | 269.6 | 233.3 | 205.7
480 | 119.2 | 162.8 | 200.9 | 245 | 312.5 | 379.9 | 495.6 | 1713 | 6034 | 1180 | 633 | 654.2 | 650.7 | 680.8 | 716 | 749.8 | 762 | 751.2 | 735.2 | 738.3 | 782.4 | 828.6 | 861.9 | 893.2 | 933.8 | 958.6 | 967.3 | 938.7 | 898.8 | 835.6 | 763.3 | 697.9 | 636.3 | 567.5 | 505.2 | 433 | 369 | 310.3 | 269.6 | 235.2 | 203.9
485 | 172.8 | 174.7 | 180.9 | 211.7 | 314.7 | 349.6 | 483.1 | 620.5 | 5383 | 3230 | 602.7 | 627.8 | 649.3 | 672.7 | 697.4 | 721.6 | 725 | 686.1 | 652.6 | 666.9 | 696.6 | 738.9 | 766.7 | 801.4 | 838.7 | 866.7 | 874.3 | 859.7 | 822.7 | 774.6 | 712.1 | 654.6 | 599.5 | 548.1 | 495.5 | 429.6 | 369.6 | 314.7 | 273.3 | 242 | 213.5
490 | 135.3 | 167.8 | 161.6 | 227.3 | 259.4 | 367.3 | 433.1 | 476.1 | 1813 | 6123 | 1071 | 618.1 | 632.5 | 685.1 | 701.9 | 725.7 | 693.1 | 639.5 | 599.1 | 598.2 | 624.6 | 661.7 | 689.1 | 720.4 | 756.3 | 780.9 | 797.8 | 788.8 | 761.1 | 719.9 | 672.5 | 621.5 | 586.1 | 544.5 | 503.9 | 439.9 | 383.1 | 334.2 | 289 | 254.2 | 230.3
495 | 78.31 | 149.5 | 146.8 | 205.4 | 252.3 | 365.7 | 417.1 | 438.1 | 590.3 | 5767 | 3054 | 621 | 658.9 | 713.6 | 726 | 718.6 | 688.9 | 608.4 | 543.6 | 533.3 | 558.8 | 587.4 | 618.1 | 650 | 682.1 | 705.9 | 720.2 | 729.7 | 709.8 | 679.6 | 642 | 610.4 | 583.2 | 553.7 | 511.8 | 465.8 | 410.7 | 358.4 | 312.3 | 277.5 | 252.8
500 | 102.7 | 130.2 | 138 | 177.6 | 244.9 | 320.3 | 381.8 | 430.4 | 472.4 | 2018 | 5944 | 1062 | 682 | 750.3 | 768 | 732.9 | 671.4 | 587.2 | 500.7 | 474.8 | 488.3 | 517.9 | 543.4 | 578.3 | 609.6 | 639.9 | 660.4 | 664.5 | 659.9 | 641.5 | 619.2 | 606.4 | 586 | 569 | 536.8 | 490.4 | 438.1 | 388.2 | 335.4 | 299.7 | 273.5