## Sheet1
Report date: | 15:53:12, 09/19/2024
Sample: | 1
File name:
Run date: | 15:47:42, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/325.0 | 2175
2 | 205.0/335.0 | 2238
3 | 210.0/320.0 | 2137
4 | 215.0/465.0 | 417.7
5 | 220.0/295.0 | 2267
6 | 220.0/315.0 | 2070
7 | 220.0/330.0 | 2176
8 | 225.0/335.0 | 2115
9 | 225.0/490.0 | 336.6
10 | 230.0/495.0 | 280.4
11 | 250.0/275.0 | 557.7
12 | 250.0/330.0 | 3966
13 | 255.0/280.0 | 699.8
14 | 265.0/295.0 | 1402
15 | 270.0/300.0 | 1915
16 | 305.0/420.0 | 862.8
17 | 310.0/425.0 | 859.7
18 | 315.0/355.0 | 445.2
19 | 320.0/360.0 | 387.5
20 | 325.0/365.0 | 338.1
21 | 330.0/375.0 | 360.4
22 | 335.0/380.0 | 368
23 | 340.0/385.0 | 359.4
24 | 345.0/395.0 | 370.2
25 | 350.0/400.0 | 383.4
26 | 355.0/405.0 | 369.8
27 | 365.0/420.0 | 293.2
28 | 380.0/440.0 | 170.5
29 | 385.0/445.0 | 148.8
30 | 390.0/450.0 | 128
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 199.4 | 145.7 | 138.7 | 136.9 | 140.5 | 97.78 | 32.94 | 16.66 | 63.93 | 441.6 | 278.8 | 50.25 | 93.27 | 5875 | 9999.9 | 2466 | 18.83 | 8.088 | 5.439 | 4.226 | 3.575 | 2.661 | 2.376 | 2.142 | 2.386 | 2.299 | 2.005 | 2.304 | 1.814 | 1.784 | 1.749 | 1.348 | 1.512 | 1.385 | 1.29 | 1.615 | 1.865 | 1.651 | 1.7 | 1.27 | 1.522
275 | 843 | 513.9 | 606 | 769.8 | 754.7 | 452.2 | 121.3 | 30.74 | 33.9 | 149.7 | 557.7 | 269.2 | 151.7 | 563.6 | 6629 | 9999.9 | 2110 | 17.53 | 6.565 | 4.171 | 3.487 | 3.348 | 2.766 | 2.625 | 2.764 | 2.232 | 1.958 | 1.696 | 1.773 | 1.734 | 1.726 | 2.039 | 1.389 | 1.639 | 1.62 | 1.593 | 1.736 | 1.805 | 2.119 | 2.139 | 1.747
280 | 1528 | 940.5 | 1014 | 1316 | 1420 | 883.2 | 243.2 | 56.8 | 49.11 | 88.89 | 307.4 | 699.8 | 364.5 | 334.1 | 732.2 | 6841 | 9999.9 | 1961 | 14.31 | 6.602 | 4.701 | 3.526 | 3.223 | 2.395 | 2.819 | 2.252 | 2.007 | 1.983 | 2.072 | 1.783 | 2.086 | 1.709 | 1.754 | 1.922 | 1.617 | 1.474 | 1.851 | 1.884 | 2.452 | 2.453 | 1.936
285 | 2163 | 1367 | 1460 | 1829 | 1868 | 1297 | 412.1 | 114.6 | 77.18 | 112.7 | 198 | 581.5 | 855.8 | 535.6 | 501.8 | 769.6 | 6363 | 9999.9 | 1726 | 13.64 | 5.917 | 4.51 | 3.582 | 3.34 | 2.842 | 2.629 | 2.422 | 1.894 | 1.629 | 2.002 | 1.785 | 1.822 | 1.742 | 1.607 | 1.733 | 2.017 | 1.562 | 2.138 | 2.877 | 2.773 | 2.627
290 | 2305 | 1460 | 1514 | 2062 | 2206 | 1637 | 614.2 | 239 | 146.2 | 159.6 | 231.7 | 377.4 | 942.3 | 1057 | 742.4 | 605.5 | 772.6 | 6656 | 9999.9 | 1556 | 13 | 5.876 | 4.16 | 3.783 | 3.569 | 3.01 | 2.286 | 2.6 | 1.951 | 1.768 | 1.89 | 1.925 | 1.715 | 1.766 | 1.838 | 1.566 | 1.922 | 2.17 | 2.864 | 2.709 | 2.335
295 | 2473 | 1655 | 1557 | 2005 | 2267 | 1724 | 866.4 | 431.8 | 295.4 | 302.8 | 375.4 | 496.5 | 709.2 | 1402 | 1291 | 907.7 | 695.1 | 828.7 | 6538 | 9999.9 | 1413 | 11.18 | 5.341 | 4.21 | 4.142 | 3.077 | 2.827 | 2.336 | 2.346 | 2.321 | 2.217 | 1.828 | 1.693 | 1.941 | 1.857 | 1.843 | 1.789 | 2.252 | 2.716 | 2.724 | 2.265
300 | 2338 | 1652 | 1633 | 1958 | 2244 | 1851 | 1142 | 725 | 596.4 | 622.1 | 712.7 | 814.9 | 915.8 | 1198 | 1915 | 1485 | 1046 | 708.9 | 732.3 | 6130 | 9999.9 | 1273 | 10.05 | 5.403 | 4.73 | 3.571 | 2.796 | 2.438 | 2.095 | 2.313 | 2.203 | 1.93 | 2.128 | 2.07 | 2.049 | 1.852 | 1.737 | 2.388 | 2.693 | 2.729 | 2.267
305 | 2096 | 1749 | 1731 | 1931 | 2116 | 1899 | 1409 | 1077 | 1057 | 1168 | 1289 | 1311 | 1314 | 1393 | 1761 | 2234 | 1551 | 1026 | 568.4 | 639.9 | 7413 | 9905 | 1087 | 9.843 | 6.167 | 4.418 | 3.671 | 2.945 | 2.651 | 2.4 | 2.096 | 2.103 | 2.343 | 2.035 | 1.913 | 1.892 | 1.96 | 2.206 | 2.26 | 2.328 | 2.39
310 | 2169 | 1855 | 1953 | 1856 | 2002 | 2001 | 1622 | 1490 | 1572 | 1816 | 2010 | 1969 | 1823 | 1701 | 1844 | 2226 | 2344 | 1443 | 811.8 | 418.3 | 629.5 | 5925 | 9196 | 1068 | 11.56 | 5.531 | 4.694 | 3.733 | 2.663 | 2.773 | 2.533 | 2.295 | 2.201 | 2.306 | 2.027 | 2.047 | 2.012 | 2.285 | 2.393 | 2.464 | 2.023
315 | 2021 | 2097 | 1968 | 1960 | 2070 | 1988 | 1833 | 1832 | 2065 | 2469 | 2735 | 2656 | 2322 | 2062 | 2110 | 2244 | 2511 | 2124 | 1120 | 574.3 | 267.9 | 492.3 | 5429 | 9134 | 1012 | 10.02 | 5.397 | 3.94 | 3.138 | 2.984 | 2.991 | 2.304 | 2.706 | 1.666 | 1.942 | 2.175 | 2.049 | 2.212 | 2.411 | 2.335 | 2.472
320 | 1924 | 2127 | 2137 | 2010 | 2052 | 2025 | 2006 | 2086 | 2452 | 3029 | 3362 | 3266 | 2792 | 2404 | 2374 | 2468 | 2440 | 2425 | 1652 | 756.3 | 336.8 | 185.5 | 444.4 | 5302 | 9999.9 | 983.5 | 8.403 | 5.626 | 4.105 | 3.347 | 2.888 | 2.658 | 2.473 | 1.913 | 2.259 | 1.928 | 2.21 | 1.989 | 2.136 | 2.552 | 2.424
325 | 1804 | 2175 | 2116 | 2012 | 2000 | 2040 | 2072 | 2215 | 2688 | 3384 | 3744 | 3657 | 3165 | 2706 | 2528 | 2623 | 2585 | 2264 | 2003 | 1078 | 430.9 | 218.8 | 149 | 410.8 | 5985 | 9413 | 890.5 | 9.633 | 4.974 | 4.064 | 3.35 | 2.865 | 2.323 | 2.401 | 1.994 | 2.294 | 2.205 | 2.11 | 2.45 | 2.403 | 2.403
330 | 1816 | 1987 | 2121 | 2017 | 2176 | 2104 | 2066 | 2228 | 2820 | 3519 | 3966 | 3878 | 3368 | 2862 | 2683 | 2710 | 2669 | 2325 | 1822 | 1422 | 609.3 | 271.8 | 161.1 | 99.1 | 430.8 | 5463 | 8716 | 909 | 8.274 | 4.896 | 4.073 | 3.429 | 3 | 2.487 | 2.581 | 2.161 | 2.3 | 2.212 | 2.353 | 2.247 | 2.258
335 | 1673 | 2238 | 2083 | 2023 | 2055 | 2115 | 2042 | 2255 | 2793 | 3478 | 3958 | 3885 | 3426 | 2905 | 2739 | 2721 | 2689 | 2381 | 1794 | 1227 | 935.1 | 374 | 190.4 | 95.09 | 71.83 | 388.8 | 5078 | 9609 | 861 | 8.425 | 5.32 | 4.651 | 3.147 | 2.792 | 2.773 | 2.62 | 2.095 | 2.087 | 2.243 | 2.404 | 2.379
340 | 1590 | 1994 | 1942 | 1991 | 2021 | 2048 | 1937 | 2130 | 2666 | 3298 | 3772 | 3782 | 3309 | 2904 | 2710 | 2710 | 2642 | 2351 | 1792 | 1117 | 816.1 | 648.3 | 245.9 | 110.4 | 61.06 | 58.53 | 363.6 | 5450 | 8178 | 864.7 | 8.145 | 4.892 | 4.462 | 3.066 | 3.058 | 2.303 | 2.457 | 2.328 | 2.137 | 2.38 | 2.532
345 | 1400 | 1752 | 1861 | 1836 | 1925 | 1930 | 1845 | 1926 | 2452 | 3036 | 3470 | 3480 | 3139 | 2772 | 2595 | 2589 | 2549 | 2269 | 1754 | 1103 | 650.4 | 623.6 | 452.7 | 140.4 | 70.87 | 48.11 | 54.78 | 387.8 | 4619 | 8450 | 890.9 | 8.395 | 4.773 | 3.977 | 3.391 | 2.745 | 2.343 | 2.518 | 2.539 | 2.384 | 2.344
350 | 1269 | 1453 | 1712 | 1777 | 1800 | 1881 | 1700 | 1736 | 2167 | 2688 | 3119 | 3186 | 2881 | 2614 | 2448 | 2467 | 2379 | 2131 | 1680 | 1060 | 624.2 | 432.5 | 520.4 | 298.6 | 95.76 | 61.07 | 46.5 | 56.68 | 330.7 | 4654 | 8442 | 883.7 | 8.345 | 5.332 | 3.819 | 3.505 | 3.169 | 2.237 | 2.365 | 2.658 | 2.484
355 | 1076 | 1377 | 1409 | 1649 | 1820 | 1720 | 1529 | 1538 | 1920 | 2390 | 2778 | 2800 | 2581 | 2341 | 2271 | 2278 | 2235 | 2012 | 1584 | 1022 | 622.7 | 395.5 | 333.7 | 445.2 | 204.7 | 83.9 | 59.85 | 47.92 | 52.7 | 338.5 | 4677 | 8348 | 854 | 8.074 | 5.471 | 4.618 | 3.335 | 2.608 | 2.37 | 2.363 | 2.134
360 | 954 | 1125 | 1301 | 1412 | 1592 | 1666 | 1339 | 1383 | 1671 | 2080 | 2379 | 2432 | 2317 | 2155 | 2068 | 2094 | 2039 | 1851 | 1469 | 957.6 | 601.7 | 399.7 | 288.3 | 294.1 | 387.5 | 161.7 | 80.3 | 61.7 | 46.96 | 54.4 | 334.8 | 4603 | 8256 | 863.3 | 8.291 | 5.333 | 4.313 | 3.094 | 2.614 | 2.613 | 2.108
365 | 861.1 | 1020 | 1138 | 1203 | 1525 | 1494 | 1268 | 1230 | 1443 | 1790 | 2023 | 2129 | 2040 | 1900 | 1875 | 1895 | 1858 | 1684 | 1339 | 899.2 | 586.3 | 403.1 | 297.2 | 231.2 | 304.4 | 338.1 | 131.5 | 79.01 | 60.43 | 46.88 | 51.9 | 330.9 | 4682 | 7954 | 819.8 | 7.927 | 4.585 | 3.54 | 2.773 | 2.511 | 2.358
370 | 697.9 | 940.7 | 1140 | 1233 | 1369 | 1367 | 1136 | 1052 | 1262 | 1546 | 1792 | 1850 | 1780 | 1683 | 1684 | 1700 | 1679 | 1539 | 1221 | 848.4 | 575.9 | 414.3 | 314.9 | 246 | 216 | 336.5 | 289.3 | 118.5 | 80.53 | 59.47 | 45.22 | 49.81 | 338.8 | 4517 | 7794 | 910.1 | 7.371 | 4.819 | 3.301 | 3.08 | 2.498
375 | 634.1 | 792.9 | 915.3 | 1066 | 1269 | 1223 | 1056 | 954.2 | 1110 | 1331 | 1524 | 1573 | 1537 | 1492 | 1510 | 1523 | 1510 | 1364 | 1131 | 806.6 | 562.5 | 429.1 | 344.8 | 283.6 | 235.5 | 237.2 | 360.4 | 249.3 | 111.5 | 82.55 | 60.52 | 46.57 | 54.11 | 328.6 | 4499 | 8817 | 767.9 | 7.495 | 4.74 | 3.462 | 2.911
380 | 578.6 | 725.4 | 832.4 | 1019 | 1119 | 1179 | 960.8 | 866.2 | 956.2 | 1168 | 1292 | 1390 | 1344 | 1310 | 1342 | 1379 | 1360 | 1259 | 1054 | 769.4 | 574.1 | 459.1 | 379.3 | 327.1 | 283.4 | 251.2 | 263.2 | 368 | 212.4 | 114.3 | 87.78 | 66.87 | 49.52 | 55.81 | 331.5 | 4987 | 7525 | 741.9 | 7.323 | 4.453 | 3.238
385 | 553.1 | 671.3 | 721.1 | 884 | 1042 | 1073 | 908.2 | 809.9 | 896.7 | 1026 | 1152 | 1200 | 1183 | 1162 | 1203 | 1232 | 1252 | 1163 | 996.8 | 763.1 | 598.6 | 500.1 | 434.4 | 384.7 | 346.3 | 309.3 | 275.6 | 308.5 | 359.4 | 191.5 | 120.4 | 93.38 | 72.18 | 53.98 | 56.23 | 362.2 | 4428 | 7104 | 657.6 | 6.662 | 4.211
390 | 684 | 622.6 | 784 | 903 | 1012 | 967.3 | 833.6 | 757.8 | 806.1 | 922.5 | 996.9 | 1031 | 1040 | 1030 | 1067 | 1126 | 1149 | 1090 | 959.4 | 778.4 | 632.2 | 561.7 | 512.5 | 465 | 420.8 | 379.1 | 335.7 | 303.3 | 346.2 | 338 | 184.4 | 129.7 | 101.1 | 77.2 | 51.14 | 54.29 | 318 | 4129 | 6401 | 652.3 | 5.595
395 | 1208 | 571.2 | 665.1 | 840.4 | 899.1 | 909.3 | 822.4 | 720.9 | 766.2 | 837 | 900.4 | 916.6 | 920.7 | 940 | 994.8 | 1039 | 1081 | 1036 | 963.3 | 802.1 | 685.3 | 622 | 588.8 | 553.8 | 507.2 | 461 | 406.3 | 356.7 | 322.2 | 370.2 | 312 | 181.1 | 132.7 | 97.15 | 67.47 | 43.47 | 46.35 | 302.8 | 3772 | 6032 | 583.8
400 | 1740 | 851.5 | 698.1 | 761.3 | 891.8 | 927.7 | 765.4 | 682.4 | 687 | 777.1 | 798.8 | 830.8 | 829.4 | 840 | 898.2 | 973.4 | 1012 | 1006 | 939.7 | 825.1 | 746 | 703.5 | 670.5 | 633.1 | 599.7 | 545.5 | 483.5 | 416.9 | 356.3 | 326.1 | 383.4 | 273.5 | 167.7 | 121.4 | 83.79 | 53.22 | 34.64 | 40.1 | 270.1 | 3591 | 5696
405 | 1377 | 1560 | 701.7 | 782.9 | 819.7 | 824.8 | 751.9 | 695.2 | 674.2 | 726.4 | 739.4 | 756.8 | 756.8 | 788.9 | 843.9 | 922.3 | 974.5 | 980 | 939.8 | 845.9 | 793.4 | 772.6 | 742.4 | 718.3 | 673.5 | 621 | 553.6 | 471.5 | 405.6 | 347.8 | 336.6 | 369.8 | 238.1 | 148.3 | 100.4 | 65.04 | 41.97 | 27.29 | 34.46 | 253.2 | 3092
410 | 634.9 | 2016 | 1004 | 685.5 | 801.3 | 809.1 | 733.7 | 664.9 | 666.4 | 673.5 | 686.7 | 698.7 | 696.3 | 721.9 | 788.9 | 884.1 | 927.6 | 963.1 | 930 | 872.8 | 830.7 | 821 | 793.8 | 776.5 | 735.8 | 678.3 | 602.5 | 518.3 | 444.2 | 376.2 | 324.1 | 336.9 | 330.2 | 191.2 | 117.6 | 79.07 | 49.55 | 32.53 | 22.54 | 30.95 | 220.4
415 | 389 | 1624 | 1848 | 711.5 | 738.2 | 758.2 | 717.2 | 649.7 | 643.9 | 637.3 | 641.8 | 649.8 | 645.9 | 685 | 751.2 | 832.5 | 908.6 | 926.1 | 922.6 | 869.2 | 848.5 | 856 | 843.3 | 818.8 | 777.3 | 725.9 | 640.7 | 551.2 | 474.3 | 406.3 | 342.4 | 297.9 | 320.9 | 275.5 | 142 | 87.66 | 57.61 | 38.14 | 27.08 | 19.36 | 27.62
420 | 440.2 | 767 | 2587 | 1006 | 717.1 | 749.5 | 681.1 | 640 | 618.1 | 602.4 | 602.7 | 614.8 | 611.1 | 636.4 | 693.5 | 781 | 868.5 | 887.6 | 891 | 872.6 | 855.9 | 862.8 | 854.1 | 839.6 | 806.5 | 738.9 | 662.1 | 577.2 | 485.8 | 419 | 357.1 | 305.6 | 270.6 | 293.2 | 210.3 | 105.3 | 68.98 | 46.17 | 31.87 | 23.22 | 18.11
425 | 430.4 | 496.5 | 2097 | 2194 | 677.1 | 678.4 | 666.9 | 608 | 587 | 589.9 | 573.8 | 569.8 | 566.2 | 607.7 | 654.8 | 749.7 | 807.7 | 838.9 | 863 | 846.2 | 846.4 | 852.2 | 859.7 | 840.5 | 802.5 | 749.8 | 669.1 | 575.7 | 494.2 | 423 | 364.4 | 309.6 | 264 | 239.5 | 250.8 | 149.5 | 77.83 | 54.9 | 39.41 | 27.64 | 20.93
430 | 392.4 | 507.5 | 872.1 | 2979 | 1000 | 653.1 | 625.4 | 602.6 | 573.5 | 535.9 | 561.7 | 540.9 | 536.9 | 575.4 | 634.7 | 714.2 | 774.1 | 808.5 | 832.8 | 812.8 | 826.9 | 841.6 | 858.3 | 829.8 | 803.4 | 743.6 | 669.4 | 583.3 | 504.8 | 432.6 | 368.6 | 311.9 | 267.6 | 219.9 | 210.2 | 206.3 | 107.3 | 63.99 | 46.24 | 33.72 | 27.34
435 | 352.8 | 506.7 | 558.9 | 2298 | 2220 | 652.4 | 589.5 | 596.7 | 580.7 | 532.3 | 550.1 | 531.2 | 531.1 | 557.9 | 611.5 | 679.8 | 723.1 | 759.5 | 789.3 | 787.1 | 804.3 | 822.1 | 828.4 | 811.9 | 782.4 | 728 | 661.3 | 571.8 | 500.1 | 429.9 | 365.9 | 315.3 | 269.9 | 223.2 | 178.3 | 187.6 | 159.5 | 82.66 | 53.93 | 42.82 | 32.48
440 | 321.4 | 506.8 | 480.5 | 958.4 | 3375 | 941.7 | 582.4 | 552.8 | 558 | 515.8 | 524.3 | 518.1 | 502.9 | 527.5 | 579.1 | 641.9 | 697.9 | 724.4 | 753.1 | 754.7 | 776.9 | 784.4 | 789.4 | 787.3 | 753.4 | 705.1 | 634.7 | 560.9 | 488.6 | 422 | 367.1 | 314.8 | 268.5 | 223.5 | 178.6 | 150.9 | 170.5 | 122.8 | 66.58 | 50.01 | 39.58
445 | 344.8 | 423.9 | 476 | 492 | 2624 | 2142 | 563 | 494.4 | 498.2 | 501.2 | 488.1 | 479.2 | 481.7 | 494.6 | 540.2 | 595.5 | 649.3 | 683.6 | 706.4 | 712.8 | 725.8 | 733.4 | 740.5 | 744.1 | 710.3 | 671.2 | 606.3 | 543.1 | 472.6 | 409.1 | 353.7 | 312.4 | 263.6 | 223 | 180.1 | 141.6 | 131.9 | 148.8 | 98.48 | 58 | 44.24
450 | 311.3 | 390 | 439 | 478.2 | 1074 | 3585 | 877.8 | 489.9 | 484.6 | 470.3 | 450.9 | 451.3 | 447 | 459 | 502.5 | 551.6 | 587.3 | 619.8 | 642.9 | 641.3 | 664.3 | 681 | 688.2 | 689.9 | 665.4 | 627.9 | 569.3 | 515.2 | 445.3 | 389.3 | 342.4 | 296.9 | 259.5 | 220.1 | 178.7 | 141.3 | 116.3 | 120.5 | 128 | 76.35 | 49.88
455 | 271.4 | 373.9 | 419.6 | 439 | 483.2 | 2955 | 2334 | 463.7 | 443 | 446.1 | 437.2 | 433.6 | 414.9 | 427.7 | 464.3 | 510.8 | 545 | 566 | 584.5 | 589.1 | 607.1 | 624.3 | 631.1 | 626 | 613 | 572.2 | 525 | 473 | 416.7 | 366 | 319.7 | 283.1 | 246.3 | 209.3 | 173.9 | 139.3 | 113.1 | 97.89 | 113.3 | 106.8 | 60.63
460 | 235.7 | 310 | 353.5 | 380.7 | 394.1 | 1025 | 3774 | 832.7 | 414.2 | 431.1 | 397.1 | 396.7 | 386.2 | 386.6 | 419 | 461.5 | 495.8 | 510.6 | 527 | 527.1 | 544.4 | 560.1 | 571.2 | 570.5 | 554.1 | 522.5 | 483 | 436.4 | 387.2 | 336.2 | 303 | 263.6 | 232.2 | 199.1 | 168 | 137.3 | 111.4 | 91.6 | 87.73 | 105.7 | 84.97
465 | 248.2 | 274.7 | 314.4 | 417.7 | 354.3 | 392.8 | 2988 | 2264 | 395.2 | 385.4 | 365 | 360.5 | 359.9 | 356.5 | 379 | 413.3 | 439.2 | 455.5 | 473.5 | 476.8 | 488.6 | 497.8 | 513 | 510.8 | 496.9 | 472.8 | 435.3 | 395.6 | 356.5 | 309.7 | 272.5 | 243.6 | 213.7 | 186.4 | 155.9 | 130 | 107.3 | 91.43 | 79.04 | 80.91 | 94.66
470 | 211.9 | 233.5 | 292.7 | 393.1 | 374.1 | 335.8 | 968.7 | 3725 | 769.5 | 352.6 | 336.4 | 334 | 328 | 319.5 | 340.9 | 367.8 | 393 | 409.6 | 415.9 | 423.8 | 431.9 | 437.5 | 449.6 | 452 | 434.3 | 414.7 | 386.2 | 353.2 | 313.3 | 279.9 | 250.2 | 220.9 | 200.8 | 173.9 | 148.8 | 123.1 | 103.9 | 87.97 | 74.9 | 66.08 | 74.34
475 | 204.5 | 204 | 256.7 | 290.5 | 372.8 | 318.9 | 356.8 | 2897 | 2185 | 333.6 | 307.3 | 300.4 | 292.5 | 299.1 | 313.4 | 327.6 | 348.9 | 354.2 | 366 | 366.1 | 377.4 | 392.1 | 393.9 | 392.6 | 382.4 | 372.5 | 345.5 | 316.4 | 284.9 | 253.5 | 225.8 | 202.6 | 182.2 | 161.1 | 138.3 | 115.9 | 99.33 | 82.96 | 70.85 | 62.5 | 57.71
480 | 129.4 | 185.6 | 229.3 | 240.4 | 320.1 | 298.7 | 290.7 | 916 | 3671 | 703.7 | 286.6 | 272.7 | 273.3 | 266.5 | 280.5 | 299.7 | 307.6 | 322.1 | 316.8 | 322 | 331.7 | 340.9 | 343.8 | 347.7 | 338.4 | 327.4 | 306.3 | 285.4 | 253.8 | 228.2 | 207.2 | 183.3 | 167.1 | 148.3 | 128.8 | 109.1 | 93.73 | 80.65 | 69.62 | 60.64 | 53.45
485 | 133 | 170.3 | 206.9 | 226.5 | 254 | 326.3 | 270.5 | 300.7 | 2825 | 2033 | 269.5 | 261.6 | 249.7 | 256.1 | 270 | 280.4 | 282.5 | 294.7 | 289.1 | 292 | 292 | 300.7 | 308.2 | 305.8 | 304.4 | 288.9 | 276.1 | 255.4 | 234.2 | 209.9 | 188 | 170.3 | 156.7 | 141.7 | 125.1 | 107.1 | 93.81 | 80.75 | 68.76 | 60.57 | 54.17
490 | 172 | 147 | 150.5 | 167.9 | 225.2 | 336.6 | 279.3 | 239.7 | 902.4 | 3436 | 589 | 248.8 | 250.4 | 255.8 | 254 | 269.7 | 263.4 | 266.3 | 257.3 | 255.4 | 260.7 | 269.2 | 273.3 | 270.9 | 271.7 | 260.5 | 250.8 | 233.1 | 210.6 | 197.3 | 176.9 | 164.1 | 153.5 | 138 | 122.9 | 107.2 | 93.38 | 80.74 | 69.7 | 61.87 | 54.56
495 | 126.8 | 157.7 | 194.1 | 170 | 197.5 | 227.2 | 280.4 | 223.6 | 268.1 | 2723 | 1817 | 244.8 | 252.9 | 257.5 | 263.9 | 265.8 | 261.8 | 247.5 | 231.3 | 231.1 | 227.1 | 234.7 | 237.8 | 239.6 | 236.4 | 230.8 | 226.9 | 208.5 | 197.3 | 181.4 | 167.1 | 154.5 | 144.5 | 133.9 | 123.6 | 108.2 | 95.33 | 84.68 | 71.64 | 64.8 | 57.78
500 | 143.2 | 127.4 | 134.9 | 176 | 176.5 | 217.4 | 277.4 | 219.4 | 224.6 | 885.4 | 3243 | 519.5 | 250.1 | 259 | 269.5 | 264.1 | 249.4 | 229.5 | 213.4 | 202.6 | 199.4 | 205.1 | 206.5 | 210.3 | 213.1 | 205.7 | 199.8 | 189.3 | 178.3 | 168.5 | 154.1 | 146.4 | 140.7 | 132.4 | 124.9 | 112.7 | 99.49 | 84.4 | 75.27 | 67.57 | 61.47