## Sheet1
Report date: | 16:00:20, 09/19/2024
Sample: | 1
File name:
Run date: | 15:54:51, 09/19/2024
Operator: | zm
Comment:
Instrument
Model: | F-7100 FL Spectrophotometer
Serial number: | 3016-010
ROM Version: | 5J14000 12
Instrument parameters
Measurement type: | 3-D scan
Data mode: | Fluorescence
EX Start WL: | 200.0 nm
EX End WL: | 400.0 nm
EX Sampling interval: | 5.0 nm
EM Start WL: | 270.0 nm
EM End WL: | 500.0 nm
EM Sampling interval: | 5.0 nm
Scan speed: | 2400 nm/min
EX Slit: | 5.0 nm
EM Slit: | 5.0 nm
PMT Voltage: | 600 V
Response: | Auto
Corrected spectra: | Off
Shutter control: | On
Contour interval: | 10
Peak integration
Integration method: | Rectangular
Sensitivity: | 1
Threshold: | 1
Peaks
No. | ApexEX/EM(nm) | Height(Data)
1 | 205.0/325.0 | 2207
2 | 210.0/335.0 | 2209
3 | 215.0/320.0 | 2148
4 | 220.0/305.0 | 2243
5 | 220.0/340.0 | 1993
6 | 220.0/475.0 | 352.3
7 | 225.0/320.0 | 2076
8 | 225.0/330.0 | 2089
9 | 225.0/490.0 | 306.5
10 | 250.0/275.0 | 551.3
11 | 250.0/335.0 | 3664
12 | 255.0/280.0 | 680.5
13 | 265.0/295.0 | 1333
14 | 270.0/300.0 | 1799
15 | 275.0/305.0 | 2151
16 | 280.0/315.0 | 2365
17 | 305.0/425.0 | 840.2
18 | 310.0/350.0 | 510.5
19 | 315.0/355.0 | 431.2
20 | 320.0/360.0 | 384
21 | 325.0/365.0 | 334.5
22 | 330.0/375.0 | 351.1
23 | 335.0/380.0 | 359.5
24 | 340.0/385.0 | 356.7
25 | 345.0/395.0 | 369.3
26 | 350.0/400.0 | 378.5
27 | 355.0/405.0 | 365.3
28 | 365.0/420.0 | 297.6
29 | 380.0/440.0 | 166.7
30 | 385.0/445.0 | 147.7
31 | 390.0/450.0 | 127.6
Wavelength data
No. | EX/EM(nm) | Height(Data)
Data points
| 200 | 205 | 210 | 215 | 220 | 225 | 230 | 235 | 240 | 245 | 250 | 255 | 260 | 265 | 270 | 275 | 280 | 285 | 290 | 295 | 300 | 305 | 310 | 315 | 320 | 325 | 330 | 335 | 340 | 345 | 350 | 355 | 360 | 365 | 370 | 375 | 380 | 385 | 390 | 395 | 400
270 | 166.1 | 108.9 | 120.5 | 113.1 | 125.1 | 77.57 | 32.28 | 14.48 | 65.21 | 447 | 254.9 | 51.91 | 84.45 | 5552 | 9999.9 | 2262 | 19.35 | 7.474 | 4.642 | 2.956 | 2.718 | 2.314 | 2.192 | 2.498 | 1.988 | 2.129 | 1.575 | 1.819 | 1.729 | 1.588 | 1.496 | 1.53 | 1.716 | 1.577 | 1.528 | 1.608 | 1.691 | 1.77 | 1.569 | 1.607 | 1.308
275 | 731.2 | 463 | 533 | 694.3 | 642.2 | 435.3 | 117.8 | 28.85 | 36.2 | 155.9 | 551.3 | 255.6 | 144.4 | 525.5 | 6265 | 9999.9 | 2034 | 17.37 | 6.915 | 4.319 | 3.434 | 2.962 | 2.944 | 2.089 | 2.4 | 2.048 | 1.97 | 1.873 | 1.791 | 1.621 | 1.654 | 1.71 | 1.584 | 1.572 | 1.537 | 1.525 | 1.457 | 1.599 | 2.041 | 2.146 | 1.804
280 | 1306 | 869.6 | 976.5 | 1365 | 1300 | 866.6 | 254.5 | 44.84 | 44.42 | 75.44 | 309.7 | 680.5 | 357.8 | 293.9 | 684.2 | 6334 | 9999.9 | 1854 | 16.36 | 6.014 | 4.513 | 3.571 | 2.533 | 2.954 | 2.288 | 2.366 | 2.136 | 1.904 | 2.19 | 1.761 | 1.921 | 1.822 | 1.54 | 1.671 | 1.695 | 1.508 | 1.972 | 2.122 | 2.478 | 2.768 | 2.036
285 | 1956 | 1245 | 1280 | 1707 | 1838 | 1265 | 391.4 | 92.33 | 73.58 | 93.43 | 182.4 | 548.6 | 845.4 | 496 | 479.6 | 724.1 | 6620 | 9999.9 | 1671 | 14.44 | 5.568 | 4.425 | 3.734 | 2.751 | 2.342 | 2.376 | 2.119 | 2.229 | 1.882 | 2.152 | 1.955 | 1.358 | 1.691 | 1.725 | 1.462 | 1.616 | 1.998 | 2.287 | 2.601 | 3.035 | 2.449
290 | 2198 | 1387 | 1586 | 1905 | 2128 | 1578 | 590.3 | 227.4 | 138.9 | 139.2 | 219 | 356.1 | 929.9 | 992.5 | 692.1 | 568 | 779.1 | 6473 | 9999.9 | 1487 | 12.54 | 5.378 | 4.452 | 3.505 | 2.894 | 2.91 | 2.277 | 2.202 | 2.355 | 2.164 | 1.827 | 1.905 | 1.6 | 1.9 | 1.684 | 1.645 | 1.604 | 2.237 | 2.923 | 2.945 | 2.219
295 | 2172 | 1437 | 1629 | 2002 | 2226 | 1713 | 838.4 | 398.3 | 281.9 | 287.3 | 348.4 | 454.1 | 672.9 | 1333 | 1207 | 862 | 661.2 | 792.6 | 6343 | 9753 | 1344 | 11.31 | 5.36 | 3.959 | 3.356 | 2.678 | 2.468 | 2.309 | 2.39 | 1.851 | 1.818 | 1.543 | 1.72 | 1.608 | 1.857 | 1.697 | 2.047 | 2.196 | 2.625 | 2.989 | 2.547
300 | 2032 | 1557 | 1714 | 1931 | 2242 | 1856 | 1130 | 691.1 | 609.6 | 604.3 | 672.4 | 760.8 | 855.4 | 1115 | 1799 | 1381 | 992.5 | 669.9 | 707 | 6001 | 9835 | 1176 | 9.721 | 5.957 | 3.892 | 3.363 | 3.065 | 3.044 | 2.534 | 2.403 | 2.198 | 1.824 | 1.896 | 1.744 | 2.027 | 1.852 | 1.803 | 2.152 | 2.463 | 2.885 | 2.455
305 | 1931 | 1728 | 1740 | 1931 | 2243 | 1934 | 1362 | 1069 | 1027 | 1078 | 1184 | 1234 | 1229 | 1272 | 1651 | 2151 | 1464 | 969.1 | 528.6 | 615.7 | 6217 | 8880 | 1064 | 9.468 | 5.397 | 4.398 | 3.661 | 3.249 | 2.803 | 2.521 | 2.248 | 1.938 | 1.771 | 1.977 | 2.013 | 1.745 | 1.686 | 2.333 | 2.23 | 2.828 | 2.497
310 | 1928 | 1798 | 1822 | 1861 | 2187 | 1962 | 1611 | 1491 | 1557 | 1720 | 1873 | 1822 | 1665 | 1571 | 1729 | 2140 | 2242 | 1346 | 761 | 380 | 538.2 | 5175 | 9157 | 1061 | 9.969 | 5.809 | 3.569 | 3.756 | 2.733 | 2.562 | 2.743 | 2.326 | 1.963 | 2.251 | 1.961 | 1.816 | 1.76 | 2.049 | 2.243 | 2.635 | 2.385
315 | 2004 | 2058 | 1842 | 2025 | 2104 | 2051 | 1840 | 1845 | 2041 | 2355 | 2562 | 2460 | 2138 | 1888 | 1956 | 2092 | 2365 | 1986 | 1047 | 519.9 | 238.6 | 435.5 | 5502 | 9227 | 937.8 | 9.307 | 5.293 | 4.466 | 3.698 | 2.742 | 2.32 | 2.738 | 2.468 | 2.243 | 2.16 | 1.79 | 1.971 | 2.207 | 2.523 | 1.965 | 2.403
320 | 1899 | 2116 | 2110 | 2148 | 2010 | 2076 | 1987 | 2023 | 2376 | 2880 | 3118 | 2992 | 2582 | 2227 | 2168 | 2269 | 2253 | 2255 | 1547 | 687.2 | 311.6 | 177.1 | 443.8 | 5334 | 8727 | 943.6 | 7.929 | 5.603 | 4.54 | 3.489 | 2.795 | 2.422 | 2.547 | 2.711 | 2.151 | 1.575 | 2.146 | 1.946 | 2.398 | 2.227 | 2.366
325 | 1825 | 2207 | 2110 | 2061 | 2015 | 2020 | 2055 | 2183 | 2600 | 3179 | 3467 | 3353 | 2875 | 2420 | 2341 | 2398 | 2357 | 2095 | 1881 | 997.7 | 393.9 | 203.2 | 142.9 | 409.4 | 5040 | 8806 | 874.7 | 9.137 | 5.929 | 4.137 | 3.593 | 2.864 | 2.929 | 2.547 | 2.319 | 2.063 | 1.991 | 2.13 | 2.507 | 2.571 | 2.413
330 | 1711 | 2121 | 2104 | 1980 | 2004 | 2089 | 2044 | 2218 | 2731 | 3301 | 3659 | 3546 | 3030 | 2593 | 2443 | 2460 | 2421 | 2127 | 1663 | 1339 | 569.5 | 248.7 | 149.4 | 98.79 | 370.7 | 5076 | 8279 | 907.5 | 8.25 | 5.186 | 4.146 | 3.567 | 2.918 | 2.308 | 2.336 | 2.139 | 2.162 | 2.151 | 2.407 | 2.31 | 2.2
335 | 1569 | 2058 | 2209 | 2003 | 1897 | 2044 | 2033 | 2210 | 2646 | 3288 | 3664 | 3561 | 3105 | 2661 | 2491 | 2502 | 2474 | 2159 | 1638 | 1143 | 892 | 351.2 | 174.8 | 90.63 | 64.71 | 363.9 | 4828 | 9999.9 | 857.6 | 7.846 | 5.213 | 3.768 | 3.357 | 2.694 | 2.827 | 2.469 | 2.209 | 2.005 | 2.377 | 2.48 | 2.718
340 | 1536 | 1866 | 1951 | 1858 | 1993 | 1977 | 1923 | 2026 | 2545 | 3106 | 3496 | 3455 | 3009 | 2611 | 2450 | 2448 | 2434 | 2142 | 1643 | 1026 | 767.7 | 624.5 | 227.5 | 102 | 56.56 | 54.99 | 345.8 | 5835 | 8539 | 868.3 | 7.703 | 4.678 | 3.862 | 3.022 | 2.988 | 2.505 | 2.298 | 2.579 | 2.301 | 2.536 | 2.132
345 | 1310 | 1601 | 1722 | 1712 | 1861 | 1887 | 1809 | 1905 | 2323 | 2855 | 3201 | 3193 | 2848 | 2520 | 2349 | 2353 | 2325 | 2059 | 1598 | 1013 | 601.3 | 605.6 | 437.3 | 132.9 | 66.49 | 45.39 | 51.65 | 410.8 | 4776 | 8384 | 860.5 | 7.665 | 5.07 | 3.629 | 3.465 | 2.665 | 2.415 | 2.399 | 2.072 | 2.18 | 2.249
350 | 1104 | 1452 | 1565 | 1659 | 1684 | 1793 | 1671 | 1670 | 2026 | 2586 | 2857 | 2865 | 2602 | 2336 | 2247 | 2218 | 2175 | 1939 | 1535 | 981.1 | 578.1 | 407.1 | 510.5 | 293.8 | 91.07 | 57.35 | 44.36 | 57.08 | 340.1 | 4585 | 8103 | 847 | 7.777 | 5.448 | 4.603 | 3.234 | 2.806 | 2.6 | 2.46 | 2.485 | 2.154
355 | 960.8 | 1209 | 1456 | 1441 | 1633 | 1651 | 1496 | 1488 | 1819 | 2207 | 2537 | 2551 | 2338 | 2135 | 2047 | 2049 | 2033 | 1827 | 1432 | 931 | 574 | 378.6 | 322.2 | 431.2 | 201 | 75.66 | 59.2 | 46.36 | 51.63 | 330.8 | 4495 | 7892 | 845.4 | 8.698 | 5.104 | 3.817 | 2.983 | 2.592 | 2.638 | 2.457 | 2.444
360 | 823.1 | 1089 | 1204 | 1412 | 1528 | 1501 | 1311 | 1317 | 1561 | 1938 | 2176 | 2253 | 2101 | 1917 | 1866 | 1872 | 1835 | 1685 | 1342 | 895.5 | 557.3 | 376 | 273.5 | 286.5 | 384 | 153 | 76.86 | 58.99 | 45.78 | 53.11 | 322.3 | 4363 | 8387 | 885.3 | 8.057 | 4.993 | 4.079 | 3.145 | 2.988 | 2.596 | 2.199
365 | 723.7 | 930.4 | 1160 | 1210 | 1423 | 1438 | 1197 | 1165 | 1372 | 1667 | 1893 | 1959 | 1843 | 1732 | 1692 | 1712 | 1676 | 1530 | 1230 | 835.3 | 546.4 | 380.5 | 282.8 | 218.2 | 299.7 | 334.5 | 124.2 | 76.32 | 59.37 | 45.06 | 50.38 | 316.7 | 4634 | 8250 | 835.2 | 8 | 4.781 | 3.492 | 3.053 | 2.915 | 2.678
370 | 662.5 | 805 | 940.2 | 1098 | 1209 | 1275 | 1040 | 1031 | 1196 | 1462 | 1646 | 1694 | 1611 | 1538 | 1519 | 1551 | 1520 | 1379 | 1131 | 781.7 | 539.8 | 391.2 | 299.9 | 236.5 | 208.2 | 326.9 | 284.8 | 111.2 | 77.23 | 59.71 | 46.65 | 50.71 | 334.8 | 4657 | 7953 | 755.2 | 7.419 | 4.433 | 3.785 | 3.047 | 2.41
375 | 596.7 | 737.9 | 853 | 953.8 | 1162 | 1168 | 988.7 | 929.2 | 1052 | 1251 | 1393 | 1486 | 1399 | 1347 | 1350 | 1385 | 1374 | 1253 | 1043 | 743.1 | 530.1 | 406.1 | 323.6 | 269.9 | 224.9 | 228.1 | 351.1 | 241.8 | 108 | 79.19 | 62.31 | 45.66 | 54.26 | 340.5 | 4585 | 7381 | 735 | 7.096 | 4.313 | 3.938 | 2.671
380 | 525.4 | 696.6 | 808.5 | 889.7 | 991.4 | 1035 | 928.9 | 843 | 922.4 | 1075 | 1225 | 1269 | 1240 | 1192 | 1203 | 1230 | 1240 | 1150 | 970.9 | 717.9 | 545.7 | 431 | 367.1 | 315 | 268.8 | 243 | 263.5 | 359.5 | 209.6 | 113.4 | 86.71 | 64.06 | 49.35 | 56.04 | 335.8 | 4222 | 7053 | 651.2 | 6.584 | 4.249 | 2.985
385 | 487 | 571.2 | 688 | 787.1 | 920.8 | 983.2 | 827.8 | 782.9 | 826.6 | 948.9 | 1060 | 1091 | 1070 | 1069 | 1090 | 1121 | 1118 | 1059 | 920.7 | 716.3 | 565.7 | 473.9 | 414.5 | 369.4 | 328.2 | 295.1 | 263.5 | 303.3 | 356.7 | 188 | 119.4 | 94.39 | 73.03 | 52.55 | 56.35 | 313 | 4115 | 6356 | 627.3 | 6.345 | 4.067
390 | 570.8 | 541 | 655.1 | 779.8 | 863.4 | 877.7 | 765.9 | 719.3 | 779.1 | 827.8 | 926.8 | 947.8 | 945.1 | 949.1 | 982 | 1022 | 1049 | 1001 | 884.9 | 725.3 | 607.1 | 529.4 | 487 | 445.7 | 406.4 | 370.2 | 326 | 288.5 | 342.4 | 333.5 | 181.7 | 129.8 | 99.87 | 72.61 | 50.24 | 50.77 | 300.2 | 3629 | 6089 | 638.7 | 5.712
395 | 1070 | 586.8 | 654.4 | 786.4 | 835.4 | 836.9 | 733.9 | 677.5 | 704.1 | 771.8 | 817.8 | 844.9 | 846.4 | 852.5 | 905.2 | 946.2 | 978.3 | 953.9 | 892.9 | 745.1 | 654.5 | 595.8 | 565.1 | 528.1 | 488.9 | 445.1 | 393.6 | 346.2 | 311.9 | 369.3 | 306.8 | 175.2 | 131.1 | 97.02 | 66.43 | 42.03 | 46.04 | 268.2 | 3571 | 5947 | 552.3
400 | 1618 | 822.6 | 630.9 | 715.1 | 814.8 | 790.5 | 689.8 | 643.5 | 669.9 | 693.9 | 733.8 | 758.3 | 773.4 | 770.3 | 826.8 | 897 | 940.7 | 935.8 | 877.3 | 776.6 | 708.5 | 673.1 | 645.9 | 615.9 | 573.7 | 526.5 | 462.8 | 402.8 | 346.2 | 320.4 | 378.5 | 273 | 165.9 | 121.1 | 82.06 | 53.89 | 36.32 | 37.23 | 257.2 | 3462 | 5401
405 | 1254 | 1658 | 656.6 | 672.2 | 711.8 | 798.4 | 707.7 | 634.7 | 626.7 | 649.9 | 695.1 | 691.5 | 697.7 | 705.7 | 772.8 | 840 | 899.5 | 908.8 | 882.1 | 808.8 | 762.7 | 735.9 | 721.6 | 696.5 | 653.4 | 601.6 | 530.3 | 459.6 | 389.1 | 335 | 328.7 | 365.3 | 235.3 | 146.7 | 97.97 | 67.26 | 41.88 | 27.55 | 34.09 | 244.2 | 2956
410 | 526.5 | 2087 | 921.7 | 626.9 | 717.4 | 753.4 | 667.6 | 594.9 | 589.3 | 608.2 | 619.8 | 624 | 648.5 | 664.6 | 731.4 | 798.2 | 862.3 | 879.1 | 879.1 | 823.1 | 799.5 | 787.7 | 776.3 | 753.2 | 719.3 | 659.1 | 588.5 | 508.3 | 438.8 | 366.6 | 321.2 | 330.3 | 329.3 | 190.7 | 118 | 78.54 | 50.97 | 32.9 | 22.38 | 30.32 | 210.9
415 | 351.8 | 1650 | 1803 | 696.1 | 703 | 715.7 | 650 | 593.7 | 593.7 | 583.6 | 558.4 | 596.9 | 579.8 | 619.2 | 674.1 | 769.7 | 821 | 863 | 863.1 | 828.5 | 819.6 | 823.8 | 815.9 | 798.8 | 759.2 | 701.9 | 625.1 | 543.4 | 460.1 | 395 | 335.3 | 294.2 | 323.4 | 274.7 | 145 | 87.63 | 58.64 | 39.28 | 26.79 | 19.35 | 26.98
420 | 389.1 | 725.2 | 2605 | 955.7 | 663.2 | 686.4 | 651.7 | 563.1 | 558.1 | 550.8 | 551.1 | 549 | 564.5 | 584 | 656.6 | 735.4 | 785.5 | 829.6 | 841.7 | 824.5 | 823 | 833 | 830.8 | 820.6 | 779.7 | 723 | 643.4 | 560.2 | 477.6 | 409.4 | 347.5 | 298.6 | 267.9 | 297.6 | 206.3 | 104.8 | 67.22 | 48.4 | 32.65 | 22.52 | 17.61
425 | 364.6 | 491.8 | 1986 | 2115 | 650.6 | 624.3 | 604 | 570.3 | 533.8 | 509.6 | 532.8 | 519.9 | 526.5 | 556.1 | 613.8 | 691.5 | 739.7 | 789.5 | 812.1 | 810 | 814.3 | 840.2 | 836.7 | 821.6 | 786.4 | 727.6 | 653.3 | 568.1 | 490 | 414.6 | 359.9 | 306.9 | 260.2 | 239.3 | 246.9 | 149.2 | 79.1 | 54.48 | 38.96 | 29.43 | 21.6
430 | 371.6 | 444.1 | 823.6 | 3110 | 983.5 | 605.4 | 553.4 | 553.4 | 517.7 | 495.6 | 488.6 | 495.5 | 503.6 | 533.5 | 597.5 | 660.5 | 720.7 | 757.7 | 787.1 | 786.4 | 794.9 | 816.8 | 826.1 | 811.7 | 776.1 | 720.3 | 648 | 572.1 | 488.6 | 421.9 | 360.4 | 310.4 | 263.4 | 216.9 | 212.2 | 203.2 | 109.1 | 63.27 | 47.39 | 34.83 | 27.63
435 | 322.2 | 518.3 | 502.3 | 2149 | 2198 | 581.7 | 562.9 | 517.7 | 484.6 | 482.1 | 478.3 | 476.9 | 476.6 | 514.1 | 548.3 | 624.6 | 679.8 | 713.8 | 748.4 | 754.9 | 779 | 792.4 | 806.3 | 799.3 | 769.5 | 717.4 | 643.4 | 566.1 | 487.5 | 421.6 | 365.3 | 318 | 264.8 | 218.2 | 181.1 | 188 | 159 | 82.61 | 55.31 | 42.2 | 32.64
440 | 293.9 | 434.2 | 466.7 | 828.1 | 3329 | 961.9 | 510.8 | 492.4 | 478.4 | 474.1 | 461.9 | 462.7 | 465.9 | 485.1 | 527.4 | 596.9 | 647.7 | 686 | 712 | 718.2 | 734.3 | 759.6 | 764.5 | 757.9 | 736.7 | 689.2 | 622.9 | 551.1 | 476.7 | 417.5 | 360.7 | 310.1 | 264.6 | 222.7 | 178.4 | 150.2 | 166.7 | 126.5 | 68.35 | 50.05 | 39.37
445 | 296.7 | 412.5 | 488.6 | 470.5 | 2602 | 2267 | 503 | 475.8 | 441.2 | 431.5 | 449.5 | 430.2 | 436.4 | 461.8 | 503.4 | 552.7 | 605.6 | 638.6 | 660 | 670.2 | 687.4 | 714.7 | 730.9 | 724.8 | 701.2 | 651.4 | 591.7 | 530.1 | 461.3 | 400.8 | 345.6 | 305.2 | 259.8 | 221.6 | 180 | 141.2 | 132.1 | 147.7 | 98.17 | 57.01 | 45.17
450 | 190 | 377.6 | 445.8 | 454.1 | 940.2 | 3702 | 845.6 | 448.7 | 427.7 | 423.6 | 421.2 | 406.1 | 416.5 | 432.4 | 459.7 | 522.2 | 557.3 | 587.5 | 611.5 | 621.1 | 640.6 | 663.9 | 674.1 | 664.3 | 647.3 | 609.6 | 554.9 | 492.7 | 436.7 | 379.2 | 330.9 | 296.4 | 256.6 | 220.3 | 178 | 143.8 | 114.6 | 122.1 | 127.6 | 76.81 | 50.33
455 | 221 | 314.1 | 433.4 | 407.6 | 442.3 | 3006 | 2310 | 410.4 | 386.5 | 407.4 | 385.7 | 374.9 | 388.4 | 397.7 | 432.4 | 469.4 | 511 | 529.8 | 552 | 558.5 | 583 | 601.4 | 614 | 609.9 | 592.2 | 558.2 | 512 | 459.2 | 404.1 | 355.4 | 316.1 | 275.6 | 245.5 | 209.7 | 173.4 | 140.7 | 114.5 | 99.09 | 114.8 | 105.7 | 61.95
460 | 213.2 | 266.7 | 330.5 | 418.7 | 380.4 | 1003 | 3866 | 771.7 | 370.4 | 358.8 | 367.8 | 358.1 | 354.2 | 359.8 | 395.8 | 431.8 | 457.6 | 487.2 | 500.7 | 514.7 | 533.3 | 546.7 | 550.8 | 557.6 | 535.3 | 506.4 | 475.1 | 423.6 | 379.5 | 331.4 | 294.4 | 258 | 231.4 | 197.9 | 166.8 | 136.7 | 110.6 | 94.34 | 88.63 | 107.8 | 84.79
465 | 171.8 | 220.4 | 332.9 | 379.9 | 346.6 | 392 | 3021 | 2204 | 356.4 | 348.6 | 335.6 | 325 | 332.3 | 325.3 | 357.2 | 386.3 | 408.5 | 435.8 | 447 | 455.1 | 467.9 | 491.3 | 490.1 | 502.3 | 477.4 | 457 | 424.6 | 383.8 | 341.8 | 305.2 | 270.7 | 243.9 | 212.7 | 187.4 | 157.5 | 129.5 | 109.3 | 91.87 | 79.69 | 82.15 | 95.83
470 | 152.6 | 205.8 | 292 | 337 | 350 | 305.5 | 938 | 3777 | 724.5 | 303.5 | 302.5 | 300.1 | 302 | 305 | 327.3 | 341.8 | 370.5 | 379.8 | 396.1 | 400.6 | 411.4 | 428.6 | 433.6 | 440.4 | 428.5 | 405.9 | 382 | 346.4 | 310 | 273.5 | 247.5 | 220.2 | 197.9 | 173.4 | 148.7 | 123.4 | 104.5 | 87.76 | 74.59 | 66.71 | 76.13
475 | 161.4 | 196.2 | 250.9 | 240.5 | 352.3 | 271.5 | 323.7 | 2965 | 2018 | 284.2 | 274.3 | 284.7 | 284.8 | 282.3 | 289.5 | 311.9 | 329.9 | 336 | 350.6 | 349.1 | 361.7 | 372.7 | 380.1 | 384.2 | 380 | 361 | 335.2 | 310.1 | 279.9 | 247.6 | 224.2 | 199 | 180.6 | 160.3 | 137.8 | 117.1 | 97.03 | 84.92 | 73.54 | 62.84 | 57.39
480 | 139.5 | 169.2 | 196.8 | 208.4 | 303.9 | 278.5 | 242.1 | 884.1 | 3504 | 632.9 | 252.9 | 251.6 | 254.2 | 249.6 | 260.1 | 282.7 | 292 | 303.6 | 309 | 303.6 | 320.4 | 326.6 | 334.2 | 332.6 | 329.3 | 322.5 | 298.9 | 273.5 | 246.2 | 223.1 | 200.1 | 183.1 | 166.7 | 148.8 | 130.6 | 111.5 | 93.95 | 80.46 | 70.1 | 62.53 | 56.36
485 | 133.4 | 143.1 | 191.9 | 186.7 | 228.8 | 277.5 | 233.1 | 269.2 | 2829 | 1865 | 252.8 | 239.5 | 244.6 | 242.4 | 247.2 | 259.8 | 270.2 | 266.4 | 270.2 | 274.4 | 283 | 288.5 | 296.9 | 291.7 | 295.5 | 284.7 | 268.7 | 250.8 | 226.9 | 205.7 | 187.4 | 172.9 | 154.4 | 140.7 | 125.3 | 108.3 | 93.69 | 80.85 | 70.33 | 61.08 | 55.56
490 | 116.9 | 156.2 | 170.7 | 174.9 | 198.7 | 306.5 | 252.1 | 217 | 846.6 | 3236 | 541.4 | 238.6 | 234.1 | 245.9 | 253.3 | 250.3 | 244.7 | 258 | 246.6 | 238.9 | 247.5 | 258.2 | 263.3 | 268.5 | 262.6 | 252.3 | 240.6 | 225.1 | 207.6 | 193.5 | 174.6 | 161.9 | 148.1 | 137 | 122.9 | 109.1 | 94.22 | 81.33 | 70.14 | 62.51 | 55.84
495 | 88.99 | 123.4 | 169.4 | 168.3 | 193.3 | 266 | 278.5 | 197.2 | 243.5 | 2724 | 1642 | 234.6 | 238.7 | 242.6 | 251.8 | 250.5 | 241.2 | 233.1 | 223.7 | 218.2 | 220.4 | 228.7 | 232.2 | 234.9 | 232 | 228.1 | 216.1 | 207.1 | 193.9 | 176.3 | 164.9 | 153.1 | 143.4 | 133.5 | 121.8 | 109 | 95.42 | 83.92 | 72.87 | 63.34 | 58.47
500 | 87.07 | 128.9 | 125.7 | 136.7 | 165.6 | 199.1 | 303.7 | 196.3 | 192.9 | 871.9 | 3030 | 485.3 | 237.5 | 244.5 | 259.9 | 251.8 | 237.5 | 211.7 | 204.2 | 189.2 | 192.6 | 201.9 | 205.4 | 207.7 | 201.2 | 202.4 | 190.7 | 184.2 | 173.1 | 163.9 | 154.5 | 147.5 | 139.5 | 132.3 | 123.5 | 109.7 | 97.21 | 86.63 | 76.84 | 64.64 | 61.05